## ER Summary
ER SUMMARY- Juniper 120 MW
ER Comparison |  | Current Monitoring Period |  | Net Electricity Generation (MWh) | EFgrid,CM,y | Emission Reduction (tCO2)
Capacity (MW) | 120 | 2023-01-01 | 2023-06-30 | 160663.78 | 0.9419 | 151329
Start Date of Monitoring Period | 2023-01-01
End Date of Monitoring Period | 2023-06-30
Number of Days for Current Monitoring Period | 181
Annual Net generation as per Registered PDD (MWh/yr) | 292335
Annual ER Estimation as per Registered PDD (tCO2e) | 275350
EFgrid,CM,y (tCO2e/MWh) | 0.9419 | SDG Indicator |  | SDG | Values achieved | Unit
Net generation Estimation for Current Monitoring Period (MWh) | 144966.1233
ER Estimation for Current Monitoring Period (tCO2e) | 136543.4247 | Affordable and Clean Energy |  | SDG 7 | 160663.78 | MWh
Actual Net generation for Current Monitoring Period (MWh) | 160663.78 | Decent Work and Economic Growth |  | SDG 8 | 19 | Number of employees
Actual ER for Current Monitoring Period (tCO2e) | 151329 |  |  |  | 23 | Number of Trainings
Change in Net generation (%) | 10.83% |  |  |  | 3948968 | Income generation
Change in Emission Reductions (%) | 10.83% | Climate Action |  | SDG 13 | 151329 | tCO2e per annum
277355.996
298072
0.9419
280754.0168
275305
5449.0168

## PLF Analysis
PLF Comparison
(Current Monitoring period i.e., 6 months) |  |  | (Current + Previous Monitoring period i.e., 1 Year)
Estimated PLF as per registerd PDD |  | 28.36% | Estimated PLF as per registerd PDD |  | 28.36%
Current monitoring period |  | Actual Generation (MWh) | Current monitoring period |  | Actual Generation (MWh)
Total no. of days |  | 181 | Total no. of days |  | 365
2023-01-01 | 2023-06-30 |  | 2022-07-01 | 2023-06-30
Total generation |  | 160663.78 | Total generation |  | 296829
Capacity |  | 120 | Capacity |  | 120
Actual PLF |  | 30.82% | Actual PLF |  | 28.24%
Percentage Variation in PLF with respect to Registered PDD |  | 8.678% | Percentage Variation in PLF with respect to Registered PDD |  | -0.4332%
As per registered PDD IRR for the project activity was 8.26% at the PLF of 28.36 % and the IRR benchmark was 14.17%. As per sensitivty analysis project will breach the benchmark of 14.17% when the PLF increases by 22.30% ie. when PLFx(1+22.30%) = 28.36% * (1+22.30%) = 34.68% |  | 34.68% | As per registered PDD IRR for the project activity was 8.26% at the PLF of 28.36 % and the IRR benchmark was 14.17%. As per sensitivty analysis project will breach the benchmark of 14.17% when the PLF increases by 22.30% ie. when PLFx(1+22.30%) = 28.36% * (1+22.30%) = 34.68% |  | 34.68%
*Above results clearly show that the PLF with breaching value is higher than actual PLF hence project is additional
279582

## SDG 07
GS: 7572 - 120 MW SOLAR PV PLANT BY JUNIPER GREEN SIGMA PRIVATE LTD. IN GUJARAT
SPV | Monitoring Period: 01-01-2023 to 30-06-2023 (Inclusive of both the period) | [5 empty] | Total (120 MW)
Village/ Taluka | 45 |  | 35 |  | 40
Month(s) | Export | Import | Export | Import | Export | Import | Export | Import | Export | Import
| (JMR) |  | (JMR) |  | (JMR) |  | As Per JMR |  | As Per Invoice
2023-01-01 | 9533.282 | 36.82 | 7796.479 | 25.523 | 8785.349 | 30.132 | 26115.11 | 92.475 | 26115.11 | 92.475
2023-02-01 | 10329.25 | 31.539 | 7701.975 | 22.535 | 9150.641 | 28.253 | 27181.866 | 82.327 | 27181.866 | 82.327
2023-03-01 | 10117.424 | 33.413 | 8046.362 | 23.963 | 8953.591 | 28.152 | 27117.377 | 85.528 | 27117.377 | 85.528
2023-04-01 | 10122.735 | 30.237 | 8293.492 | 21.865 | 9682.596 | 25.272 | 28098.823 | 77.374 | 28098.823 | 77.374
2023-05-01 | 11174.622 | 29.352 | 8845.983 | 21.277 | 10113.458 | 25.202 | 30134.063 | 75.831 | 30134.063 | 75.831
2023-06-01 | 7899.287 | 28.058 | 6562.436 | 19.505 | 8038.726 | 22.81 | 22500.449 | 70.373 | 22500.45 | 70.37

## SDG 8
Quality of employment - Training Record |  |  |  | Quantity of employment
Site | Date | Topic | No. of attendees | Type | Quantity
Khadol | 2023-01-23 | Road Safety Training | 4 | Skilled | 19
| 2023-02-17 | PPEs Training | 3 | Unskilled | 0
| 2023-02-21 | Section 111A Training | 5 | Total | 19
| 2023-03-23 | National Safety video demonstration video training | 5 | *No new employees hired during current monitoring period
| 2023-04-29 | Fire Safety Training | 7
| 2023-06-12 | Waste Management | 3
Babsar | 2023-04-22 | Fire Safety Training | 4
| 2023-02-05 | PPEs Training | 5
| 2023-01-21 | Road Safety Training | 4
| 2023-02-22 | Section 111A Training | 4
| 2023-03-20 | National Safety video demonstration video training | 4
| 2023-05-26 | Section 111A Training | 1
| 2023-06-09 | Rear Parking Training | 4
| 2023-06-16 | Training on Battery server room | 3
| 2023-06-21 | Height work on IDT transformer | 3
Bhordu | 2023-01-05 | PTW (Permit To Work) Training | 5
| 2023-01-20 | Road Safety Training | 6
| 2023-02-23 | Section 111A Training | 4
| 2023-02-25 | PPEs Training | 4
| 2023-03-27 | National Safety video demonstration video training | 6
| 2023-04-24 | Fire Safety Training | 4
| 2023-05-25 | Emergency Response Training | 4
| 2023-05-26 | Section 111A Training | 3
Total |  | 23 Trainings

## SDG 13
From | To | Month | Generation value (as per JMR) | Generation value (as per Invoice) | Check | Net Electricity Generation (MWh) | Grid Emission Factor (tCO2 / MWh) | Baseline Emission (tCO2) | Vintage wise Emission (tCO2)
2023-01-01 | 2023-01-31 | 2023-01-01 | 26022.635 | 26022.635 | 0 | 26022.635 | 0.9419 | 24510.7199 | 151329
2023-02-01 | 2023-02-28 | 2023-02-01 | 27099.539 | 27099.539 | 0 | 27099.539 | 0.9419 | 25525.0558
2023-03-01 | 2023-03-31 | 2023-03-01 | 27031.849 | 27031.849 | 0 | 27031.849 | 0.9419 | 25461.2986
2023-04-01 | 2023-04-30 | 2023-04-01 | 28021.449 | 28021.449 | 0 | 28021.449 | 0.9419 | 26393.4028
2023-05-01 | 2023-05-31 | 2023-05-01 | 30058.232 | 30058.232 | 0 | 30058.232 | 0.9419 | 28311.8487
2023-06-01 | 2023-06-30 | 2023-06-01 | 22430.076 | 22430.08 | -0.004 | 22430.076 | 0.9419 | 21126.8886
TOTAL |  |  | 160663.78 | 160663.784 |  | 160663.78 | 0.9419 | 151329.2144 | 151329
Formulas:
Month = [From]