## ER Cal
Project Title: 15 MW Biomass Residue Based Power Project at Ghazipur, India
VCS Ref. no: | 624
Monitoring period under consideration: 01/01/2012 to 31/12/2017
Years | Gross power generation (MWh) | Auxiliary Consumption (MWh) | Net power generation (MWh) | EGy (EGproject plant, y) | EFelectricity,y | ERelectricity,y (tCO2) | Ny | AVDy (Monthly average of round trip distance) Km | EFkm,CO2 | PETy (tCO2) | ERy Emission Reductions (tCO2)
2012 | 106941.25 | 9878.715 | 97062.535 | 97062.535 | 0.8 | 77650 | 10834 | 144.3333 | 0.00044 | 689 | 76961
2013 | 85877.5 | 8381.463 | 77496.037 | 77496.037 | 0.8 | 61996 | 9191 | 100.06 | 0.00044 | 405 | 61591
2014 | 72590 | 7529.938 | 65060.062 | 65060.062 | 0.8 | 52048 | 9334 | 97.8467 | 0.00044 | 402 | 51646
2015 | 99175 | 9324.866 | 89850.134 | 89850.134 | 0.8 | 71880 | 6890 | 81.8167 | 0.00044 | 249 | 71631
2016 | 106440 | 12279.599 | 94160.401 | 94160.401 | 0.8 | 75328 | 11018 | 55.7833 | 0.00044 | 271 | 75057
2017 | 94595 | 10337.264 | 84257.736 | 84257.736 | 0.8 | 67406 | 15540 | 96.1833 | 0.00044 | 658 | 66748
Total | 565618.75 | 57731.845 | 507886.905 | 507886.905 |  | 406308 | 62807 | 96.0039 |  | 2674 | 403634

## Monitored data
Electricity | [5 empty] | Biomass Received
Months | M3 (Gen/kWh) | M4 (Gen/kWh) | M6 (Gen/kWh) | Net power generation (MWh) (M6-M3-M4) | Crosscheck of net generation (based on site data) | Month | No. of Trips | Round Trip (km) | Nett Wt. Quintals | Crosscheck of biomass quantity based on site data (Quintals)
2012-01-01 | 582335 | 373512 | 10530000 | 9574153 | 9574153 | 2012-01-29 | 1772 | 91.9 | 189028.4 | 189028.4
2012-02-01 | 570782 | 352931 | 10588750 | 9665037 | 9665037 | 2012-02-01 | 1900 | 94.1 | 198292.5 | 198292.45
2012-03-01 | 647382 | 336740 | 11178750 | 10194628 | 10194628 | 2012-03-31 | 1941 | 97.7 | 213824.2 | 213824.25
2012-04-01 | 570754 | 365412 | 10425000 | 9488834 | 9488834 | 2012-04-01 | 756 | 169.4 | 73058.4 | 73058.45
2012-05-01 | 378414 | 536765 | 10393750 | 9478571 | 9478571 | 2012-05-01 | 921 | 175.2 | 89001 | 89001.05
2012-06-01 | 629848 | 259740 | 9342500 | 8452912 | 8452912 | 2012-06-01 | 563 | 170.7 | 54170.2 | 54170.25
2012-07-01 | 639324 | 263897 | 9163750 | 8260529 | 8260529 | 2012-07-01 | 626 | 169 | 66122.3 | 66122.35
2012-08-01 | 217884 | 203597 | 3892500 | 3471019 | 3471019 | 2012-08-01 | 446 | 179.5 | 47656.2 | 47656.25
2012-09-01 | 282468 | 66858 | 3010000 | 2660674 | 2660674 | 2012-09-01 | 176 | 144.5 | 15774.5 | 15774.5
2012-10-01 | 669390 | 227716 | 9917500 | 9020394 | 9020394 | 2012-10-01 | 226 | 117.4 | 18869.8 | 18869.8
2012-11-01 | 629824 | 131890 | 8272500 | 7510786 | 7510786 | 2012-11-01 | 264 | 161.4 | 24755.9 | 24755.93
2012-12-01 | 767710 | 173542 | 10226250 | 9284998 | 9284998 | 2012-12-01 | 1243 | 161.2 | 132184.4 | 132184.45
2013-01-01 | 859632 | 173226 | 11375000 | 10342142 | 10342142 | 2013-01-01 | 2133 | 169 | 213731.4 | 213731.4
2013-02-01 | 706384 | 175306 | 9525000 | 8643310 | 8643310 | 2013-02-01 | 2354 | 158.2 | 261728.7 | 261728.75
2013-03-01 | 781944 | 215167 | 10723750 | 9726639 | 9726639 | 2013-03-01 | 1023 | 130.1 | 99193.5 | 99193.5
2013-04-01 | 817090 | 161208 | 10496250 | 9517952 | 9517952 | 2013-04-01 | 553 | 73.8 | 57972.3 | 57972.35
2013-05-01 | 613182 | 131886 | 7361250 | 6616182 | 6616182 | 2013-05-01 | 645 | 73.6 | 62771 | 62771.05
2013-06-01 | 725524 | 149588 | 8870000 | 7994888 | 7994888 | 2013-06-01 | 610 | 71.9 | 63231.3 | 63231.35
2013-07-01 | 796578 | 162407 | 9892500 | 8933515 | 8933515 | 2013-07-01 | 370 | 75.5 | 36327.5 | 36327.55
2013-08-01 | 120794 | 41845 | 1233750 | 1071111 | 1071111 | 2013-08-01 | 122 | 68.4 | 12389.7 | 12389.75
2013-09-01 | 357394 | 83934 | 4011250 | 3569922 | 3569922 | 2013-09-01 | 28 | 109.1 | 2850.1 | 2850.15
2013-10-01 | 64758 | 15625 | 0 | -80383 | -80383 | 2013-10-01
2013-11-01 | 188894 | 124657 | 2913750 | 2600199 | 2600199 | 2013-11-01
2013-12-01 | 614954 | 299486 | 9475000 | 8560560 | 8560560 | 2013-12-01 | 1353 | 71 | 140125.5 | 140125.55
2014-01-01 | 872046 | 171631 | 11116250 | 10072573 | 10072573 | 2014-01-01 | 1432 | 73.6 | 146562.7 | 146562.7
2014-02-01 | 801616 | 149822 | 10121250 | 9169812 | 9169812 | 2014-02-01 | 1454 | 73.1 | 148790.4 | 148790.44
2014-03-01 | 601100 | 125316 | 7453750 | 6727334 | 6727334 | 2014-03-01 | 2112 | 72.9 | 207433.4 | 207433.38
2014-04-01 | 797015 | 163270 | 10631250 | 9670965 | 9670965 | 2014-04-01 | 512 | 110.3 | 50593.4 | 50593.4
2014-05-01 | 658081 | 141345 | 8083750 | 7284324 | 7284324 | 2014-05-01 | 1354 | 153.4 | 146173.4 | 146173.4
2014-06-01 | 617548 | 202812 | 8142500 | 7322140 | 7322140 | 2014-06-01 | 450 | 137 | 45421.3 | 45421.3
2014-07-01 | 444980 | 93966 | 4707500 | 4168554 | 4168554 | 2014-07-01 | 222 | 99.8 | 23479.1 | 23479.15
2014-08-01 | 86140 | 16776 | 0 | -102916 | -102916 | 2014-08-01 | 144 | 77.6 | 14188.1 | 14188.15
2014-09-01 | 158320 | 40941 | 1440000 | 1240739 | 1240739 | 2014-09-01 | 152 | 70.8 | 15804 | 15804
2014-10-01 | 167328 | 43679 | 1687500 | 1476493 | 1476493 | 2014-10-01 | 49 | 61.9 | 4646.4 | 4646.45
2014-11-01 | 182728 | 63594 | 1528750 | 1282428 | 1282428 | 2014-11-01 | 746 | 102.8 | 66817.7 | 66817.71
2014-12-01 | 640216 | 289668 | 7677500 | 6747616 | 6747616 | 2014-12-01 | 707 | 140.96 | 73793.4 | 73793.43
2015-01-01 | 562288 | 507506 | 9638750 | 8568956 | 8568956 | 2015-01-01 | 1567 | 150.6 | 167293.2 | 167293.23
2015-02-01 | 495556 | 431424 | 9123750 | 8196770 | 8196770 | 2015-02-01 | 275 | 152.9 | 24664.5 | 24664.5
2015-03-01 | 36732 | 482052 | 10451250 | 9932466 | 9932466 | 2015-03-01 | 790 | 150.4 | 74332.3 | 74332.33
2015-04-01 | 36952 | 406438 | 8057500 | 7614110 | 7614110 | 2015-04-01 | 950 | 70.8 | 106611.4 | 106611.4286
2015-05-01 | 16392 | 330834 | 8173750 | 7826524 | 7826524 | 2015-05-01 | 705 | 118.5 | 76389.9 | 76389.9211
2015-06-01 | 292012 | 332888 | 5288750 | 4663850 | 4663850 | 2015-06-01 | 315 | 76.6 | 37533.9 | 37533.9
2015-07-01 | 712096 | 335938 | 10743750 | 9695716 | 9695716 | 2015-07-01 | 122 | 28.9 | 12151.8 | 12151.8158
2015-08-01 | 396308 | 188054 | 5510000 | 4925638 | 4925638 | 2015-08-01 | 125 | 30.2 | 11476.1 | 11476.1
2015-09-01 | 756096 | 260422 | 9246250 | 8229732 | 8229732 | 2015-09-01 | 35 | 34.6 | 2860.5 | 2860.5
2015-10-01 | 648916 | 273256 | 8462500 | 7540328 | 7540328 | 2015-10-01 | 14 | 46.7 | 983.7 | 983.7
2015-11-01 | 0 | 657988 | 3873750 | 3215762 | 3215762 | 2015-11-01 | 425 | 39.1 | 44901.5 | 44901.5458
2015-12-01 | 0 | 1164718 | 10605000 | 9440282 | 9440282 | 2015-12-01 | 1567 | 82.5 | 170011.3 | 170011.325
2016-01-01 | 613267 | 1115516 | 10950000 | 9221217 | 9221217 | 2016-01-01 | 1987 | 55.2 | 218550.1 | 218550.1
2016-02-01 | 738609 | 891770 | 9851250 | 8220871 | 8220871 | 2016-02-01 | 1672 | 37.5 | 179537.2 | 179537.2
2016-03-01 | 633468 | 365072 | 10963750 | 9965210 | 9965210 | 2016-03-01 | 172 | 22 | 17294.5 | 17294.5
2016-04-01 | 812664 | 249444 | 10756250 | 9694142 | 9694142 | 2016-04-01 | 2021 | 64.7 | 234871.4 | 234871.36
2016-05-01 | 807732 | 255388 | 9943750 | 8880630 | 8880630 | 2016-05-01 | 1766 | 120.8 | 169863.1 | 169863.149
2016-06-01 | 482376 | 165748 | 5306250 | 4658126 | 4658126 | 2016-06-01 | 1455 | 79.6 | 151646.8 | 151646.86
2016-07-01 | 326200 | 89762 | 2941250 | 2525288 | 2525288 | 2016-07-01 | 606 | 33.7 | 64760.3 | 64760.29
2016-08-01 | 837748 | 168644 | 10582500 | 9576108 | 9576108 | 2016-08-01 | 210 | 30 | 21933.3 | 21933.27
2016-09-01 | 768916 | 130216 | 9617500 | 8718368 | 8718368 | 2016-09-01 | 1 | 80 | 40 | 40
2016-10-01 | 782584 | 3549 | 7530000 | 6743867 | 6743867 | 2016-10-01 | 225 | 46 | 21165 | 21165
2016-11-01 | 824972 | 151156 | 7492500 | 6516372 | 6516372 | 2016-11-01 | 453 | 51.9 | 41769.2 | 41769.2
2016-12-01 | 909548 | 155250 | 10505000 | 9440202 | 9440202 | 2016-12-01 | 450 | 48 | 47990.5 | 47990.487
2017-01-01 | 843432 | 145614 | 9566250 | 8577204 | 8577204 | 2017-01-01 | 1540 | 74.5 | 165197.5 | 165197.531
2017-02-01 | 643068 | 129384 | 6358750 | 5586298 | 5586298 | 2017-02-01 | 389 | 141.4 | 41621.8 | 41621.819
2017-03-01 | 916568 | 161018 | 10423750 | 9346164 | 9346164 | 2017-03-01 | 2452 | 160 | 264978 | 264978.09
2017-04-01 | 900844 | 158876 | 10252500 | 9192780 | 9192780 | 2017-04-01 | 1430 | 76 | 145462 | 145462
2017-05-01 | 869388 | 168606 | 8575000 | 7537006 | 7537006 | 2017-05-01 | 1350 | 108 | 124432 | 124432
2017-06-01 | 767576 | 169756 | 8600000 | 7662668 | 7662668 | 2017-06-01 | 1120 | 68 | 103245 | 103245
2017-07-01 | 344036 | 88684 | 2990000 | 2557280 | 2557280 | 2017-07-01 | 1202 | 96 | 121321 | 121321
2017-08-01 | 580296 | 326408 | 8468750 | 7562046 | 7562046 | 2017-08-01 | 903 | 90 | 91324 | 91324
2017-09-01 | 470776 | 249456 | 6410000 | 5689768 | 5689768 | 2017-09-01 | 1102 | 60 | 102134 | 102134
2017-10-01 | 444832 | 255916 | 6116250 | 5415502 | 5415502 | 2017-10-01 | 1870 | 83.4 | 197787 | 197787.06
2017-11-01 | 353960 | 265308 | 5808750 | 5189482 | 5189482 | 2017-11-01 | 302 | 142 | 28959.6 | 28959.65
2017-12-01 | 604380 | 479082 | 11025000 | 9941538 | 9941538 | 2017-12-01 | 1880 | 54.9 | 194103.2 | 194103.18
| 39490949 | 18240896 | 565618750 |  |  |  | 62807 | 95.888 | 6495958.7

## Meters
Energy Meters
Meter ID no. | Meter Sr. No. | Make/Model | Accuracy class | Date of calibration
M6 | 20070325010057/2008 | WASION/DSSD33 1 | 0.5s | 2011-08-23 | 2012-08-22 | 2013-08-19 | 2014-08-16 | 2015-08-14 | 2016-08-13 | 2017-08-11
M3 | 144917/135263-1008 | Conzerv/6400 | 1 | 2011-08-22 | 2012-08-22 | 2013-08-19 | 2014-08-16 | 2015-08-14 | 2016-08-13 | 2017-08-11
M4 | 144917/135265/1008 | Conzerv/6400 | 1 | 2011-08-22 | 2012-08-22 | 2013-08-19 | 2014-08-16 | 2015-08-14 | 2016-08-13 | 2017-08-11
Weigh Bridge
Capacity | Serial No. | Accuracy class | Date of calibration
40 Tons | 0411032K | Class III | 2011-05-20 | 2011-08-22: 2012-05-19; 2012-08-22: 2015-05-08; 2013-08-19: 2016-05-08; 2014-08-16: 2017-05-30
100 Tons | 2001732 | Class III | 2011-12-17 | 2011-08-22: 2013-12-12; 2012-08-22: 2014-12-08; 2013-08-19: 2016-03-03; 2014-08-16: 2017-03-03
Steam flow meter
Make | Model | Serial number | Date of calibration
YOKOGAWA | EJA 110 A | 91H542351 | 2011-08-24 | 2012-08-22 | 2013-08-19 | 2014-08-16 | 2015-08-14 | 2016-08-13 | 2017-08-11