## ER Summary
ER SUMMARY- LNB 20 MW
For Monitoring Period 01/01/2023 to 29/03/2024
Title of the project: 20 MW Solar Project in Sanwreej, Jodhpur, Rajasthan
ER Sheet Version no: 03 and dated on 28/01/2025
ER Comparison |  | Current Monitoring Period |  | Net Electricity Generation (MWh) | EFgrid,CM,y | Emission Reduction (tCO2)
Capacity (MW) | 20 | 2023-01-01 | 2023-12-31 | 38923.2 | 0.9777 | 38055
Start Date of Monitoring Period | 2023-01-01 | 2024-01-01 | 2024-03-29 | 9682.1226 | 0.9777 | 9466
End Date of Monitoring Period | 2024-03-29 | Total |  | 48605.3226 |  | 47521
Number of Days for Current Monitoring Period | 454
Annual Net generation as per Registered PDD | 35678
Annual ER Estimation as per Registered PDD | 34882
EFgrid,CM,y | 0.9777 | SDG Indicator |  | SDG | Values achieved | Unit
Net generation Estimation for Current Monitoring Period | 44377.5671
ER Estimation for Current Monitoring Period | 43387.474 | Affordable and Clean Energy |  | SDG 7 | 48605.3226 | MWh
Actual Net generation for Current Monitoring Period | 48605.3226 | Decent Work and Economic Growth |  | SDG 8 | 34 | Number of employees
Actual ER for Current Monitoring Period | 47521 |  |  |  | 12 | Number of Trainings
Change in Net generation | 9.527% |  |  |  | 3222610 | Income generation
Change in Emission Reductions | 9.527% | Climate Action |  | SDG 13 | 47521 | tCO2e per annum

## SDG 7
Generation Data
SPV |  | LNB 20 MW | [11 empty] | Total
Project |  | Project I (10 MW) | [5 empty] | Project II (10 MW)
Month(s) |  | Export as per JMR (kWh) | Import as per JMR (kWh) | Net generation as per JMR | Export as per invoice (kWh) | Import as per invoice (kWh) | Net generation as per invoice | Export as per JMR (kWh) | Import as per JMR (kWh) | Net generation as per JMR | Export as per invoice (kWh) | Import as per invoice (kWH) | Net generation as per invoice | Export (kWh) | Import (kWh) | Export (kWh) | Import (kWh)
[14 empty] | As Per JMR |  | As Per Invoice
2023-01-01 | 2023-01-31 | 1379100 | 6600 | 1372500 | 1379100 | 6600 | 1372500 | 1420650 | 7050 | 1413600 | 1420650 | 7050 | 1413600 | 2799750 | 13650 | 2799750 | 13650
2023-02-01 | 2023-02-28 | 1608300 | 5700 | 1602600 | 1608300 | 5700 | 1602600 | 1611600 | 7050 | 1604550 | 1611600 | 7050 | 1604550 | 3219900 | 12750 | 3219900 | 12750
2023-03-01 | 2023-03-31 | 1859250 | 6150 | 1853100 | 1859250 | 6150 | 1853100 | 1832550 | 6600 | 1825950 | 1832550 | 6600 | 1825950 | 3691800 | 12750 | 3691800 | 12750
2023-04-01 | 2023-04-30 | 1887150 | 5850 | 1881300 | 1887150 | 5850 | 1881300 | 1873650 | 6000 | 1867650 | 1873650 | 6000 | 1867650 | 3760800 | 11850 | 3760800 | 11850
2023-05-01 | 2023-05-31 | 1898400 | 5700 | 1892700 | 1898400 | 5700 | 1892700 | 1874100 | 6450 | 1867650 | 1874100 | 6450 | 1867650 | 3772500 | 12150 | 3772500 | 12150
2023-06-01 | 2023-06-30 | 1767900 | 5250 | 1762650 | 1767900 | 5250 | 1762650 | 1740150 | 5850 | 1734300 | 1740150 | 5850 | 1734300 | 3508050 | 11100 | 3508050 | 11100
2023-07-01 | 2023-07-31 | 1657800 | 6000 | 1651800 | 1657800 | 6000 | 1651800 | 1634550 | 6300 | 1628250 | 1634550 | 6300 | 1628250 | 3292350 | 12300 | 3292350 | 12300
2023-08-01 | 2023-08-31 | 1525500 | 6150 | 1519350 | 1525500 | 6150 | 1519350 | 1516050 | 7200 | 1508850 | 1516050 | 7200 | 1508850 | 3041550 | 13350 | 3041550 | 13350
2023-09-01 | 2023-09-30 | 1596600 | 6000 | 1590600 | 1596600 | 6000 | 1590600 | 1604700 | 7350 | 1597350 | 1604700 | 7350 | 1597350 | 3201300 | 13350 | 3201300 | 13350
2023-10-01 | 2023-10-31 | 1763100 | 6300 | 1756800 | 1763100 | 6300 | 1756800 | 1746000 | 7350 | 1738650 | 1746000 | 7350 | 1738650 | 3509100 | 13650 | 3509100 | 13650
2023-11-01 | 2023-11-30 | 1218000 | 6450 | 1211550 | 1218000 | 6450 | 1211550 | 1221150 | 6750 | 1214400 | 1221150 | 6750 | 1214400 | 2439150 | 13200 | 2439150 | 13200
2023-12-01 | 2023-12-31 | 1423950 | 6900 | 1417050 | 1423950 | 6900 | 1417050 | 1417950 | 7950 | 1410000 | 1417950 | 7950 | 1410000 | 2841900 | 14850 | 2841900 | 14850
2024-01-01 | 2024-01-31 | 1419300 | 6750 | 1412550 | 1419300 | 6750 | 1412550 | 1421100 | 8700 | 1412400 | 1421100 | 8700 | 1412400 | 2840400 | 15450 | 2840400 | 15450
2024-02-01 | 2024-02-29 | 1603800 | 5850 | 1597950 | 1603800 | 5850 | 1597950 | 1602150 | 6750 | 1595400 | 1602150 | 6750 | 1595400 | 3205950 | 12600 | 3205950 | 12600
2024-03-01 | 2024-03-29 | 1840751.6129 | 5612.9032 | 1835138.7097 | 1840751.6129 | 5612.9032 | 1835138.7097 | 1834998.3871 | 6314.5161 | 1828683.871 | 1834998.3871 | 6314.5161 | 1828683.871 | 3675750 | 11927.4194 | 3675750 | 11927.4194
*As the current monitoring period spans from 01/01/2023 to 29/03/2024, and the monthly JMRs for March 2024 are issued for the period 01/03/2024 to 31/03/2024. Considering this, the electricity generation for March 2024 has been apportioned for 2 days i.e., for 30th and 31st for both projects—10 MWAC (Project-I) and 10 MWAC (Project-II), totaling 20 MWAC. The formula applied to apportion the net electricity exported to the grid for March 2024 is as follows: D = (A/B) * C Where; D = Net electricity exported to the grid A = Difference of number of days which are not matching of billing period and monitoring period. B = Number of days of the billing period/ month which was not matched with the monitoring period. C = Net Electricity supplied to the grid for that given billing period/ month. The calculated value after apportioning has been used for calculation of emission reductions during that period.

## SDG 8
SDG 8: Decent Work and Economic Growth
Parameter | Vintage | Project value | Baseline Value | Net Benefit
Number of training provided to employees & O&M staff | 01/01/2023 to 31/12/2023 | 9 | 0 | 9
| 01/01/2024 to 29/03/2024 | 3 | 0 | 3
| Total | 12 | 0 | 12
Parameter | Vintage | Project value | Baseline Value | Net Benefit
Income generation (INR) | 01/01/2023 to 31/12/2023 | 2552563.13 | 0 | 2552563.13
| 01/01/2024 to 29/03/2024 | 670047.82 | 0 | 670047.82
| Total | 3222610 | 0 | 3222610
Parameter | Vintage | Project value | Baseline Value | Net Benefit
Number of O&M Staff involved | 01/01/2023 to 31/12/2023 | 34 | 0 | 34
| 01/01/2024 to 29/03/2024 | 34 | 0 | 34
| Average | 34 | 0 | 34
Employee details |  |  |  | S.No. | Date | Topics | No. of participants | Total No. of Trainings in the month
Organisation | Number of employees |  |  | 1 | 2023-05-01 | Inverter voltage value and cable check | 5 | 1
Permanent Employees | 6 |  |  | 2 | 2023-10-02 | Use of Fire Extinguisher | 5 | 1
Temporary Employees | 28 |  |  | 3 | 2023-02-03 | Earthing testing | 5 | 1
Total Employment | 34 |  |  | 4 | 2023-06-05 | Trouble shoot method for HT panel | 6 | 1
|  |  |  | 5 | 21/6/2023 | Battery bank voltage checking | 6 | 1
|  |  |  | 6 | 14/7/2023 | Module testing | 5 | 1
|  |  |  | 7 | 2023-12-09 | AC&DC cable tightness check | 5 | 1
|  |  |  | 8 | 24/10/2023 | CT & PT testing | 5 | 1
|  |  |  | 9 | 2023-03-11 | LT&HT cable tightness check transformer | 5 | 1
|  |  |  | 10 | 2024-01-01 | Oil BDV value check transformer | 6 | 1
|  |  |  | 11 | 2024-01-02 | SCB maintenance | 6 | 1
|  |  |  | 12 | 27/3/2024 | VD4 Breaker 110V Moter check | 6 | 1
|  |  |  | Total |  |  |  | 12

## SDG 13
From | To | Month | Generation value (as per JMR) | Generation value (as per Invoice) | Check | Net Electricity Generation (kWh) | Net Electricity Generation (MWh) | Grid Emission Factor (tCO2 / MWh) | Baseline Emission (tCO2) | Vintage wise Emission (tCO2)
2023-01-01 | 2021-01-31 | 2023-01-01 | 2786100 | 2786100 | 0 | 2786100 | 2786.1 | 0.9777 | 2723.97 | 38055
2023-01-02 | 2021-02-28 | 2023-02-01 | 3207150 | 3207150 | 0 | 3207150 | 3207.15 | 0.9777 | 3135.6306
2023-01-03 | 2021-03-31 | 2023-03-01 | 3679050 | 3679050 | 0 | 3679050 | 3679.05 | 0.9777 | 3597.0072
2023-01-04 | 2021-04-30 | 2023-04-01 | 3748950 | 3748950 | 0 | 3748950 | 3748.95 | 0.9777 | 3665.3484
2023-01-05 | 2021-05-31 | 2023-05-01 | 3760350 | 3760350 | 0 | 3760350 | 3760.35 | 0.9777 | 3676.4942
2023-01-06 | 2021-06-30 | 2023-06-01 | 3496950 | 3496950 | 0 | 3496950 | 3496.95 | 0.9777 | 3418.968
2023-01-07 | 2021-07-31 | 2023-07-01 | 3280050 | 3280050 | 0 | 3280050 | 3280.05 | 0.9777 | 3206.9049
2023-01-08 | 2021-08-31 | 2023-08-01 | 3028200 | 3028200 | 0 | 3028200 | 3028.2 | 0.9777 | 2960.6711
2023-01-09 | 2021-09-30 | 2023-09-01 | 3187950 | 3187950 | 0 | 3187950 | 3187.95 | 0.9777 | 3116.8587
2023-01-10 | 2021-10-31 | 2023-10-01 | 3495450 | 3495450 | 0 | 3495450 | 3495.45 | 0.9777 | 3417.5015
2023-01-11 | 2021-11-30 | 2023-11-01 | 2425950 | 2425950 | 0 | 2425950 | 2425.95 | 0.9777 | 2371.8513
2023-01-12 | 2021-12-31 | 2023-12-01 | 2827050 | 2827050 | 0 | 2827050 | 2827.05 | 0.9777 | 2764.0068
2024-01-01 | 2024-01-31 | 2024-01-01 | 2824950 | 2824950 | 0 | 2824950 | 2824.95 | 0.9777 | 2761.9536 | 9466
2024-02-01 | 2024-02-28 | 2024-02-01 | 3193350 | 3193350 | 0 | 3193350 | 3193.35 | 0.9777 | 3122.1383
2024-03-01 | 2024-03-29 | 2024-03-01 | 3663822.5806 | 3663822.5806 | 0 | 3663822.5806 | 3663.8226 | 0.9777 | 3582.1193
Total |  |  | 48605322.5806 | 48605322.5806 | 0 | 48605322.5806 | 48605.3226 |  | 47521.4239 | 47521
Formulas:
Month = [From]

## Ex-ante estimate
Start date of Monitoring period | 2023-01-01
End date of Monitoring period | 2024-03-29
Total days in the Monitoring period | 454
Details | SDG 13 | SDG 7 | SDG 8
| Emission Reduction (tCO2e) | Electricity Generation (MWh) | Number of Trainings conducted | Income generation (Lakh INR) | Number of Employment
PDD Estimate/Year | 34882 | 35678 | 1 | NA | 37
Estimated for this monitoring period | 43387.474 | 44377.5671 | 2 | NA | 37
Actual Benefit for the monitoring peirod | 47521 | 48605.3226 | 12 | 3222610 | 34
Difference | 9.527% | 9.527% | 500% | NA | -8.108%
|  | 13486667 | 23333.3339
|  | 2018-08-01 | 2020-02-29 | 578
|  | 2020-03-01 | 2020-12-31 | 306 | 7140000.1765
|  | 2021-01-01 | 2021-12-31 | 365 | 8516666.8772
|  | 2022-01-01 | 2022-12-31 | 365 | 8516666.8772
24173333.9308