## ER comparison
ER Sheet Version Number | 3
Title of the project | 200 MW Wind Power Project in Tamil Nadu by Orange Sironj
Version Dated | 29/01/2024
ER calculation
Start Date Of MP | 2022-01-01
End Date Of MP | 2022-12-31
Total Days | 365 | Days
Actual Total Net Generation in this Monitoring Period | 530885.97 | MWh
Emission Factor | 0.9652 | tCO2/MWh
Actual ERs achieved in this MP | 512411 | tCO2e
Annual Net Generation Estimated in the PDD | 635976 | MWh/year
Estimated generation equivalent to this MP | 635976 | MWh/year
Annual ER Estimated in the PDD | 613844 | tCO2/year
Estimated ER equivalent to this MP | 613844 | tCO2e
Actual ERs achieved in this MP | 512411 | tCO2e
% Difference in ER | -16.52%
200 MW Wind Power Project in Tamil Nadu by Orange Sironj
Vintage wise | Generation | ERs
2022 | 530885.97 | 512411
Total | 530885.97 | 512411

## SDG 13
Billing Month |  | Export (kWh) As per Regional Energy Account**/Credit note | Export (kWh) As per Invoice | Net Generation in MWh | Emission Factor (tCO2/MWh) | Baseline Emission Reduction(tCO2) | Project Emission (tCO2) | Leakage Emission (tCO2) | Emission Reduction (tCO2)
2022-01-01 | 31/01/2022 | 37039520 | 37039520 | 37039.52 | 0.9652 | 35750.5447 | 0 | 0 | 35750.5447
2022-02-01 | 28/02/2022 | 30396880 | 30396880 | 30396.88 | 0.9652 | 29339.0686 | 0 | 0 | 29339.0686
2022-03-01 | 31/03/2022 | 32618605 | 32618605 | 32618.605 | 0.9652 | 31483.4775 | 0 | 0 | 31483.4775
2022-04-01 | 30/04/2022 | 19900945 | 19900945 | 19900.945 | 0.9652 | 19208.3921 | 0 | 0 | 19208.3921
2022-05-01 | 31/05/2022 | 59055385 | 59055385 | 59055.385 | 0.9652 | 57000.2576 | 0 | 0 | 57000.2576
2022-06-01 | 30/06/2022 | 67112415 | 67112415 | 67112.415 | 0.9652 | 64776.903 | 0 | 0 | 64776.903
2022-07-01 | 31/07/2022 | 70539580 | 70539580 | 70539.58 | 0.9652 | 68084.8026 | 0 | 0 | 68084.8026
2022-08-01 | 30/08/2022 | 68463785 | 68463785 | 68463.785 | 0.9652 | 66081.2453 | 0 | 0 | 66081.2453
2022-09-01 | 30/09/2022 | 59995790 | 59995790 | 59995.79 | 0.9652 | 57907.9365 | 0 | 0 | 57907.9365
2022-10-01 | 31/10/2022 | 32229770 | 32229770 | 32229.77 | 0.9652 | 31108.174 | 0 | 0 | 31108.174
2022-11-01 | 30/11/2022 | 17963690 | 17963690 | 17963.69 | 0.9652 | 17338.5536 | 0 | 0 | 17338.5536
2022-12-01 | 31/12/2022 | 35569605 | 35569605 | 35569.605 | 0.9652 | 34331.7827 | 0 | 0 | 34331.7827
Total Vintage wise 2022 |  | 530885970 | 530885970 | 530885.97 |  | 512411 | 0 | 0 | 512411
Total |  | 530885970 | 530885970 | 530885.97 |  |  |  |  | 512411

## SDG 7
SDG 7 Affordable and Clean Energy :
Parameter | Vintage | Project value | Baseline Value | Net Benefit
Net Electricity supplied to grid (MWh) | 01/01/2022 to 31/12/2022 | 530885.97 | 0 | 530885.97
| Total | 530885.97 | 0 | 530885.97

## SDG 8
SDG 8: Decent Work and Economic Growth
Parameter | Vintage | Project value | Baseline Value | Net Benefit
Number of training provided to employees & O&M staff | 01/01/2022 to 31/12/2022 | 21 | 0 | 21
| Total | 21 | 0 | 21
Parameter | Vintage | Project value | Baseline Value | Net Benefit
Income generation (Lakh INR) | 01/01/2022 to 31/12/2022 | 104849000 | 0 | 104849000
| Total | 104849000 | 0 | 104849000
Parameter | Vintage | Project value | Baseline Value | Net Benefit
Number of O&M Staff involved | 01/01/2022 to 31/12/2022 | 77 | 0 | 77
| Average | 77 | 0 | 77
Employee details
Organisation | Number of employees |  |  | S.No. | Date | Topics | Total No. of Trainings in the month | Total no. of attendees
Greenko Staffs | 7 |  |  | 1 | 2022-05-23 | Heat stress and fire fighting | 1 | 4
O&M contractors (Siemens Gamesa, Voltech O&M Services, BSA, REVA) | 41 |  |  | 2 | 2022-05-23 | EHS Engagement Program(EHS Manual,H&S Plan, PTW, LOTOTO, Element Ownership) | 1 | 4
Security Services | 29 |  |  | 3 | 2022-06-18 | LOTOTO | 1 | 19
Total | 77 |  |  | 4 | 2022-06-18 | WTG Gear Box system | 1 | 4
|  |  |  | 5 | 2022-06-24 | Training on confined space | 1 | 3
Temporary employees | 3 |  |  | 6 | 2022-07-16 | GIMS | 1 | 2
Permanent employees | 74 |  |  | 7 | 2022-07-23 | PTR OLTC Operation & function | 1 | 1
|  |  |  | 8 | 2022-07-30 | Electrical Safety, Energy Isolation/LOTO/ awareness on incident management | 1 | 4
Male employees | 77 |  |  | 9 | 2022-07-30 | Procedure for power transformer maintenance | 1 | 2
Female employees | 0 |  |  | 10 | 2022-08-06 | Importance of 33kV line maintenance | 1 | 2
|  |  |  | 11 | 2022-08-19 | External training on defensive Driving | 1 | 8
|  |  |  | 12 | 2022-08-19 | External training on defensive Driving | 1 | 8
|  |  |  | 13 | 2022-08-27 | Working at Height (Scaffolding safety / Ladder safety) | 1 | 3
|  |  |  | 14 | 2022-08-27 | Awarness on Confined Space | 1 | 3
|  |  |  | 15 | 2022-09-17 | Awarness knowledge on EHS plan and emergency response plan | 1 | 2
|  |  |  | 16 | 2022-09-17 | Introduction to SAPPM Module | 1 | 2
|  |  |  | 17 | 2022-09-17 | Portable Electrical Hand Tools / Machine Guarding | 1 | 4
|  |  |  | 18 | 2022-09-17 | Personnel Protective Equipment's | 1 | 4
|  |  |  | 19 | 2022-10-15 | Training on GIMS policy | 1 | 4
|  |  |  | 20 | 2022-10-15 | Contractor Safety Management (CSM) | 1 | 3
|  |  |  | 21 | 2022-10-18 | Safety alert (awareness training on ladder climb) | 1 | 5
|  |  |  | Total |  |  | 21 | 91

## Ex-ante estimate
Start date of Monitoring period | 2022-01-01
End date of Monitoring period | 2022-12-31
Total days in the Monitoring period | 365
Details | SDG 7 | SDG 8 |  |  | SDG 13
| Electricity Generation (MWh) | Training | Income generation (Lakh INR) | Employment | ER (tCO2)
PDD Estimate/Year | 635976 | 1 | NA | 15 | 613844
Estimated for this monitoring period | 635976 | 1 | NA | 15 | 613844
Actual Benefit for the monitoring peirod | 530885.97 | 21 | 104849000 | 77 | 512411
Difference | -16.52% | 95.24% | NA | 413.3% | -16.52%