## ER Summary
21 MW Wind Energy Project by Shree Cement Limited
GS4GG 6999
Version 05
|  | Date | 2024-03-08
Year | Net Electricity Export(MWh) | Baseline Emission Factor(tCO2/MWh) | Baseline Emissions(tCO2) | Project Emissions(tCO2) | Leakgae Emissions(tCO2) | Emissions Reductions(tCO2)
2021 | 44678.967 | 0.9368 | 41855 | 0 | 0 | 41855
2022 | 40749.6285 | 0.9368 | 38174 | 0 | 0 | 38174
2023 | 8175.022 | 0.9368 | 7658 | 0 | 0 | 7658
Total | 93603.6175 |  | 87687 | 0 | 0 | 87687
GHG ER Comparison
|  | Start Date of Monitoring Period | 2021-01-01
|  | End Date of Monitoring Period | 2023-03-27
|  | Number of opertaional Days for Current Monitoring Period | 816
|  | Annual estimated Net Electricity Export (MWh) | 47829
|  | Annual (365 Days) estimation ER as per Design Certified PDD (tCO2e) | 44806
|  | Estimation of net electricity export in this monitoring period (MWh) | 106927.2986
|  | GHG Emission Reductions Estimation for Current Monitoirng Period (tCO2e) | 100169.0301
|  | Actual GHG Emission Reductions for Current Monitoring Period (tCO2e) | 87687
|  | Variation in Actual Vs Estimated GHG Emission Reductions (%) | -12.461

## SDG Summary data
| Annual estimated net electricity export as per design certified PDD (MWh) | 47829 |  | Annual estimated GHG emission reductions as per designed certified PDD (tCO2e) | 44806 |  | Annual estimated number of employments | 10 | Annual estimated number of trainings | 1
SDG 7- Affordable and Clean Energy
Vintage | Start date | End date | Number of days | Actual Net Electricity Export (MWh) | Estimated Net Electricity Export (MWh)
2021 | 2021-01-01 | 2021-12-31 | 365 | 44678.967 | 47829
2022 | 2022-01-01 | 2022-12-31 | 365 | 40749.6285 | 47829
2023 | 2023-01-01 | 2023-03-27 | 86 | 8175.022 | 11269.2986
SDG 8 - Descent Work and Economic Growth
Vintage | Start date | End date | Number of days | Actual Number of employment | Estimated Number of employment | Actual number of trainings provided | Estimated number of trainings provided per year
2021 | 2021-01-01 | 2021-12-31 | 365 | 36 | 10 | 3 | 1
2022 | 2022-01-01 | 2022-12-31 | 365 | 34 | 10 | 3 | 1
2023 | 2023-01-01 | 2023-03-27 | 86 | 14 | 2.3562 | 1 | 1
SDG 13- Climate Action
Vintage | Start date | End date | Number of days | Achieved GHG Emission Reductions (tCO2e) | Estimated GHG Emission Reductions (tCO2e)
2021 | 2021-01-01 | 2021-12-31 | 365 | 41855 | 44806
2022 | 2022-01-01 | 2022-12-31 | 365 | 38174 | 44806
2023 | 2023-01-01 | 2023-03-27 | 86 | 7658 | 10557.0301

## Monthly Generation
21 MW Wind Energy Project by Shree Cement Limited
Start date | End date | AS per JMR (B-Form)
|  | Electricity Exported(kWh) | Electricity Imported(kWh) | 115% of Electricity Imported (kWh) | Transmission Losses(kWh) | Net Electricity Exported(kWh) | Net Energy Exported (MWh) | Net Electricity Exported as per Electricity Bill | Cross Check
2021-01-01 | 2021-01-31 | 3066000 | 7500 | 8625 | 27545 | 3029830 | 3029.83 | 3029830 | Yes
2021-02-01 | 2021-02-28 | 2977500 | 1500 | 1725 | 24809 | 2950966 | 2950.966 | 2950966 | Yes
2021-03-01 | 2021-03-31 | 3286500 | 7500 | 8625 | 39619 | 3238256 | 3238.256 | 3238256 | Yes
2021-04-01 | 2021-04-30 | 2274000 | 10500 | 12075 | 26873 | 2235052 | 2235.052 | 2235052 | Yes
2021-05-01 | 2021-05-31 | 4209000 | 7500 | 8625 | 54990 | 4145385 | 4145.385 | 4145385 | Yes
2021-06-01 | 2021-06-30 | 6399000 | 6000 | 6900 | 88366 | 6303734 | 6303.734 | 6303734 | Yes
2021-07-01 | 2021-07-31 | 6903000 | 0 | 0 | 94609 | 6808391 | 6808.391 | 6808391 | Yes
2021-08-01 | 2021-08-31 | 5008500 | 3000 | 3450 | 57017 | 4948033 | 4948.033 | 4948033 | Yes
2021-09-01 | 2021-09-30 | 5299500 | 0 | 0 | 61232 | 5238268 | 5238.268 | 5238268 | Yes
2021-10-01 | 2021-10-31 | 1510500 | 13500 | 15525 | 16942 | 1478033 | 1478.033 | 1478033 | Yes
2021-11-01 | 2021-11-30 | 2064000 | 9000 | 10350 | 16458 | 2037192 | 2037.192 | 2037192 | Yes
2021-12-01 | 2021-12-31 | 2305500 | 12000 | 13800 | 25873 | 2265827 | 2265.827 | 2265827 | Yes
2022-01-01 | 2022-01-31 | 1984500 | 12000 | 13800 | 18782 | 1951918 | 1951.918 | 1951918 | Yes
2022-02-01 | 2022-02-28 | 2122500 | 10500 | 12075 | 17453 | 2092972 | 2092.972 | 2092972 | Yes
2022-03-01 | 2022-03-15 | 1816500 | 0 | 0 | 10053 | 1806447 | 1806.447 | 1806450 | Yes
2022-03-16 | 2022-03-31 | 946950 | 6300 | 7245 | 5801 | 933904 | 933.904 | 933900 | Yes
2022-04-01 | 2022-04-30 | 1812000 | 15900 | 18285 | 18280 | 1775435 | 1775.435 | 1775435 | Yes
2022-05-01 | 2022-05-31 | 5059050 | 1650 | 1897.5 | 52630 | 5004522.5 | 5004.5225 | 5004522.5 | Yes
2022-06-01 | 2022-06-30 | 5672250 | 1350 | 1552.5 | 65576 | 5605121.5 | 5605.1215 | 5605121.5 | Yes
2022-07-01 | 2022-07-31 | 6687750 | 4050 | 4657.5 | 94972 | 6588120.5 | 6588.1205 | 6588120.5 | Yes
2022-08-01 | 2022-08-31 | 5713650 | 4500 | 5175 | 77348 | 5631127 | 5631.127 | 5631127 | Yes
2022-09-01 | 2022-09-30 | 3675900 | 8250 | 9487.5 | 45321 | 3621091.5 | 3621.0915 | 3621091.5 | Yes
2022-10-01 | 2022-10-31 | 1635300 | 15450 | 17767.5 | 19551 | 1597981.5 | 1597.9815 | 1597981.5 | Yes
2022-11-01 | 2022-11-30 | 1698750 | 7800 | 8970 | 16646 | 1673134 | 1673.134 | 1673134 | Yes
2022-12-01 | 2022-12-31 | 2497950 | 4500 | 5175 | 24921 | 2467854 | 2467.854 | 2467854 | Yes
2023-01-01 | 2023-01-31 | 3088500 | 7350 | 8452.5 | 36717 | 3043330.5 | 3043.3305 | 3043330.5 | Yes
2023-02-01 | 2023-02-28 | 2124150 | 8100 | 9315 | 23097 | 2091738 | 2091.738 | 2091738 | Yes
2023-03-01 | 2023-03-27 | 3082050 | 4050 | 4657.5 | 37439 | 3039953.5 | 3039.9535 | 3039953.5 | Yes
Total | [5 empty] | 93603617.5 | 93603.6175
Transmission losses for the period 01-03-2023 to 27-03-2023 is not available separately, so transmission losses for this period has been considered as the same for the period 01-03-2023 to 31-03-2023 as available in Form B(JMR) of March 2023 as conservaive approach | Monitoring period covers first 27 days (01-03-2023 to 27-03-2023) in March 2023 while the monthly generation statement or invoice is applicable for the entire month of March 2023 i.e. for the period 01-03-2023 to 31-03-2023 | Banked energy is obtained by the equation Eb i =[ Eg *(1-B-C)]+ Eb (i-1) – Et | In the period 01-03-2022 to 15-03-2022, the values considered for electricity export, import and transmission losses have been taken as per Check Maeter data as Main Meter found faulty on 15/03/2022 and it was replaced immediately with a new Main Meter; Check meter was properly calibrated and was functional throughout the monitoring period | For the period 01-03-2022 to 15-03-2022, Check Meter data has been considered to calculate GHG ER as mian meter was faulty in that period
Where
Eb i = Banked energy at the end of the month including previous month banked energy carried forward during the correspondence ToD time block
E b (i-1) = Banked energy at the end of the previous month during the corresponding ToD time block
Eg = Generated energy injected to the grid at the point of injection in a month as recorded by the export register of the meter, during the corresponding ToD time block, less 115% of energy recorded by import meter during the corresponding ToD time block
B = Banking charges in kind expressed in percentage
C = Transmission and/wheeling charges expressed in percentage
Et = Actual energy consumed in a month during the corresponding ToD time block by the Exclusive consumers and/or Non-Excusive consumers and/or captive consumers

## March 2023 Generation
Date | Export (kWh) | Import (kWh) | Net Generation (kWh)
2023-03-01 | 183450 | 0 | 183450
2023-03-02 | 187650 | 0 | 187650
2023-03-03 | 161250 | 0 | 161250
2023-03-04 | 133350 | 0 | 133350
2023-03-05 | 136650 | 0 | 136650
2023-03-06 | 126600 | 0 | 126600
2023-03-07 | 180600 | 0 | 180600
2023-03-08 | 183600 | 0 | 183600
2023-03-09 | 155400 | 300 | 155100
2023-03-10 | 125100 | 0 | 125100
2023-03-11 | 134850 | 0 | 134850
2023-03-12 | 148650 | 0 | 148650
2023-03-13 | 115950 | 0 | 115950
2023-03-14 | 98550 | 0 | 98550
2023-03-15 | 90150 | 0 | 90150
2023-03-16 | 22500 | 600 | 21900
2023-03-17 | 47400 | 600 | 46800
2023-03-18 | 86850 | 750 | 86100
2023-03-19 | 90900 | 0 | 90900
2023-03-20 | 59850 | 300 | 59550
2023-03-21 | 68850 | 450 | 68400
2023-03-22 | 112650 | 0 | 112650
2023-03-23 | 72900 | 0 | 72900
2023-03-24 | 55500 | 300 | 55200
2023-03-25 | 86700 | 450 | 86250
2023-03-26 | 83550 | 300 | 83250
2023-03-27 | 132600 | 0 | 132600
2023-03-28 | 88650 | 0 | 88650
2023-03-29 | 84300 | 300 | 84000
2023-03-30 | 92100 | 300 | 91800
2023-03-31 | 52350 | 300 | 52050
Total | 3399450 | 4950 | 3394500
During the period from 01/01/2023 to 27/03/2023 | 3082050 | 4050