## ITA
From | To | Export (kWh) | Import (kWh) | Net Export (MWh) | Year | Actual Net Generation (MWh) | Net Generation considered for ER calculation (MWh) | Grid Emission Factor (tCO2/MWh) | Basline emission (tCO2) | Project Emission (tCO2) | Emission Reduction (tCO2)
2019-07-02 | 2019-07-31 | 989790.6 | 3532.49 | 986.2581 | Year 2019 | 6521.4081 | 6521.4081 | 0.93 | 6064 | 0 | 6064
2019-08-01 | 2019-08-31 | 1111704.99 | 3878.55 | 1107.8264 | Year 2020 | 11637.2621 | 11637.2621 | 0.93 | 10822 | 0 | 10822
2019-09-01 | 2019-09-30 | 1094494.15 | 5149.62 | 1089.3445 | Total | 18158.6702 | 18158.6702 |  | 16886 | 0 | 16886
2019-10-01 | 2019-10-31 | 1189552.39 | 5730.22 | 1183.8222
2019-11-01 | 2019-11-30 | 1125517.9 | 5470.55 | 1120.0473
2019-12-01 | 2019-12-31 | 1039967.6 | 5858.05 | 1034.1095
2020-01-01 | 2020-01-31 | 929003.05 | 6037.8 | 922.9652
2020-02-01 | 2020-02-29 | 821452.1 | 5968.72 | 815.4834
2020-03-01 | 2020-03-31 | 950029.56 | 6596.11 | 943.4335
2020-04-01 | 2020-04-30 | 976867.9 | 5743.16 | 971.1247
2020-05-01 | 2020-05-31 | 929654.89 | 6588.69 | 923.0662
2020-06-01 | 2020-06-30 | 991825.53 | 5462.29 | 986.3632
2020-07-01 | 2020-07-31 | 1009468.76 | 5932.96 | 1003.5358
2020-08-01 | 2020-08-31 | 1108109.64 | 5841.8 | 1102.2678
2020-09-01 | 2020-09-30 | 1142092.28 | 5595.25 | 1136.497
2020-10-01 | 2020-10-31 | 1113187.12 | 5502 | 1107.6851
2020-11-01 | 2020-11-30 | 1020594.51 | 4964.61 | 1015.6299
2020-12-01 | 2020-12-31 | 715099.3 | 5889.16 | 709.2101
Total |  | 18258412.27 | 99742.03 | 18158.6702

## ITB
From | To | Export (kWh) | Import (kWh) | Net Export (MWh) | Year | Actual Net Generation (MWh) | Net Generation considered for ER calculation (MWh) | Grid Emission Factor (tCO2/MWh) | Basline emission (tCO2) | Project Emission (tCO2) | Emission Reduction (tCO2)
2019-07-02 | 2019-07-31 | 1021186.25 | 5701.78 | 1015.4845 | Year 2019 | 6787.2405 | 6787.2405 | 0.93 | 6312 | 0 | 6312
2019-08-01 | 2019-08-31 | 1166044.58 | 5685.41 | 1160.3592 | Year 2020 | 12192.0885 | 12192.0885 | 0.93 | 11338 | 0 | 11338
2019-09-01 | 2019-09-30 | 1176755.39 | 5337.72 | 1171.4177 | Total | 18979.329 | 18979.329 |  | 17650 | 0 | 17650
2019-10-01 | 2019-10-31 | 1241171.98 | 5391.15 | 1235.7808
2019-11-01 | 2019-11-30 | 1149900.19 | 5305.28 | 1144.5949
2019-12-01 | 2019-12-31 | 1065156.59 | 5553.12 | 1059.6035
2020-01-01 | 2020-01-31 | 962706.8 | 5520.25 | 957.1866
2020-02-01 | 2020-02-29 | 871976.79 | 5591.53 | 866.3853
2020-03-01 | 2020-03-31 | 1012122.88 | 6185.62 | 1005.9373
2020-04-01 | 2020-04-30 | 980025.94 | 5430.57 | 974.5954
2020-05-01 | 2020-05-31 | 996110.09 | 6077.47 | 990.0326
2020-06-01 | 2020-06-30 | 1042590.95 | 5209.01 | 1037.3819
2020-07-01 | 2020-07-31 | 1094085.39 | 5411.24 | 1088.6741
2020-08-01 | 2020-08-31 | 1160865.52 | 5208.87 | 1155.6566
2020-09-01 | 2020-09-30 | 1174784.15 | 5265.69 | 1169.5185
2020-10-01 | 2020-10-31 | 1154099.31 | 5477.54 | 1148.6218
2020-11-01 | 2020-11-30 | 1037856.31 | 4897.37 | 1032.9589
2020-12-01 | 2020-12-31 | 770915.91 | 5776.4 | 765.1395
Total |  | 19078355.02 | 99026.02 | 18979.329

## ITC
From | To | Export (kWh) | Import (kWh) | Net Export (MWh) | Year | Actual Net Generation (MWh) | Net Generation considered for ER calculation (MWh) | Grid Emission Factor (tCO2/MWh) | Basline emission (tCO2) | Project Emission (tCO2) | Emission Reduction (tCO2)
2019-07-02 | 2019-07-31 | 926306.96 | 3626.98 | 922.68 | Year 2019 | 6158.0502 | 6158.0502 | 0.93 | 5726 | 0 | 5726
2019-08-01 | 2019-08-31 | 1046779.33 | 3644.83 | 1043.1345 | Year 2020 | 11204.2463 | 11204.2463 | 0.93 | 10419 | 0 | 10419
2019-09-01 | 2019-09-30 | 1056999.88 | 3384.3 | 1053.6156 | Total | 17362.2965 | 17362.2965 |  | 16145 | 0 | 16145
2019-10-01 | 2019-10-31 | 1183728.66 | 5204.8 | 1178.5239
2019-11-01 | 2019-11-30 | 1064022.79 | 5605.21 | 1058.4176
2019-12-01 | 2019-12-31 | 907682.61 | 6003.87 | 901.6787
2020-01-01 | 2020-01-31 | 926987.03 | 5908.84 | 921.0782
2020-02-01 | 2020-02-29 | 890000.74 | 6113.69 | 883.8871
2020-03-01 | 2020-03-31 | 905064.1 | 7117.02 | 897.9471
2020-04-01 | 2020-04-30 | 942845.98 | 6404.14 | 936.4418
2020-05-01 | 2020-05-31 | 934115.29 | 6339.24 | 927.776
2020-06-01 | 2020-06-30 | 983621.41 | 5374.6 | 978.2468
2020-07-01 | 2020-07-31 | 947081.64 | 5468.69 | 941.613
2020-08-01 | 2020-08-31 | 997844.02 | 5514.3 | 992.3297
2020-09-01 | 2020-09-30 | 1056297.97 | 5280.28 | 1051.0177
2020-10-01 | 2020-10-31 | 941918.9 | 5439.37 | 936.4795
2020-11-01 | 2020-11-30 | 927296.31 | 5068.14 | 922.2282
2020-12-01 | 2020-12-31 | 820290.06 | 5088.89 | 815.2012
Total |  | 17458883.68 | 96587.19 | 17362.2965

## ITL
From | To | Export (kWh) | Import (kWh) | Net Export (MWh) | Net Export Considered for GS verification (excluding I-REC claim) (MWh) | Year | Actual Net Generation (MWh) | Net Generation considered for ER calculation (MWh) | Grid Emission Factor (tCO2/MWh) | Basline emission (tCO2) | Project Emission (tCO2) | Emission Reduction (tCO2)
2019-09-05 | 2019-09-30 | 2359121.08 | 8799.44 | 2350.3216 | 2350.3216 | Year 2019 | 10142.2503 | 10142.2503 | 0.94 | 9533 | 0 | 9533
2019-10-01 | 2019-10-31 | 2586086.74 | 12309.42 | 2573.7773 | 2573.7773 | Year 2020 | 29587.2469 | 27367.4463 | 0.94 | 25725 | 0 | 25725
2019-11-01 | 2019-11-30 | 2662726.76 | 13223.75 | 2649.503 | 2649.503 | Total | 39729.4973 | 37509.6966 |  | 35258 | 0 | 35258
2019-12-01 | 2019-12-31 | 2583333.12 | 14684.75 | 2568.6484 | 2568.6484
2020-01-01 | 2020-01-31 | 2834075.7183 | 14650.5164 | 2819.4252 | 2819.4252
2020-02-01 | 2020-02-29 | 2314342.229 | 13825.1041 | 2300.5171 | 2300.5171
2020-03-01 | 2020-03-31 | 2762237.7092 | 14314.5625 | 2747.9231 | 2747.9231
2020-04-01 | 2020-04-30 | 2888756.2985 | 14459.257 | 2874.297 | 2874.297
2020-05-01 | 2020-05-31 | 2731050.1777 | 13375.8947 | 2717.6743 | 2717.6743
2020-06-01 | 2020-06-30 | 2265134.0499 | 14214.6453 | 2250.9194 | 2250.9194
2020-07-01 | 2020-07-31 | 2329278.9542 | 13187.0783 | 2316.0919 | 2316.0919
2020-08-01 | 2020-08-31 | 2412030.7117 | 13370.7778 | 2398.6599 | 2398.6599
2020-09-01 | 2020-09-30 | 2381892.1303 | 13277.563 | 2368.6146 | 2368.6146
2020-10-01 | 2020-10-31 | 2365428.1846 | 15474.1661 | 2349.954 | 2349.954
2020-11-01 | 2020-11-30 | 2236082.5322 | 12712.864 | 2223.3697 | 2223.3697
2020-12-01 | 2020-12-31 | 2233783.6502 | 13982.9823 | 2219.8007
Total |  | 30728173.5485 | 160415.1961 | 39729.4973 | 37509.6966
Note on F17: Author: Not consider as it is claimed under I-REC

## SDG 13
Summary of Emission Reduction (tCO2)
Year | ITA | ITB | ITC | ITL | Total
Year 2019 | 6064 | 6312 | 5726 | 9533 | 27635
Year 2020 | 10822 | 11338 | 10419 | 25725 | 58304
Total | 16886 | 17650 | 16145 | 35258 | 85939

## SDG 3
NO | Date |  | Activity | IDR | USD | Number of Beneficiaries | Remark
| From | To
1 | 2019-01-11 | 2019-01-13 | Street Light at Pringgabaya Utara Village | IDR 86.800.000 | 5786 | Around of 400 familys | Donation from PT. ITA regarding transmission line in Pringgabaya
2 | 2019-03-03 | 2019-03-14 | Donation MTQ in Sengkol | IDR 1.500.000 | 100 | 15 Children from the village of Sengkol took part in the MTQ competition at the subdistrict level | Community contribution request ITB
3 | 2019-01-29 | 2019-04-10 | Clean Water Program (Deepwell) at Geres Village | 96800000 | 6453.3333 | One Village in Selong Project | Donation from PT.ITB to Geres Village regarding Community request
4 | 2019-05-23 | 2019-05-28 | Donation of safari romadhan (ITC) | 20000000 | 1333.3333 | 100 People | ITC Breaking the past with orphans and stakehoders
5 | 2019-05-23 | 2019-05-29 | Donation of safari romadhan (ITB) | 15000000 | 1000 | 50 People | ITB Breaking the past with orphans and stakehoders
6 | 2019-05-23 | 2019-05-30 | Donation of safari romadhan (ITA) | 15000000 | 1000 | 51 People | ITA Breaking the past with orphans and stakehoders
7 | 2019-07-06 | 2019-08-10 | Turnament village youth group soccer at sengkol | 500000 | 33.3333 | 12 People | Community contribution request ITC
8 | 2019-07-15 | 2019-08-18 | Donation of ceromony head of sub village geres | 1000000 | 66.6667 | 5 Hamlet | ITB support of ceremony
9 | 2019-07-16 | 2019-08-19 | Donation material (Cemen) for contruction mosque | 300000 | 20 | One of Hamlet | Community contribution request ITA
10 | 2019-08-05 | 2019-08-10 | Daontion of Idul adha at Pringgabaya Utara Village | 2500000 | 166.6667 | 20 - 30 People Pringgabaya Utara Village | Community contribution request ITA
11 | 2019-08-05 | 2019-08-10 | Daontion of Idul adha at Geres Village | 2000000 | 133.3333 | 21 - 30 People Pringgabaya Utara Village | Community contribution request ITB
12 | 2019-08-05 | 2019-08-10 | Daontion of Idul adha at Sengkol Village | 2000000 | 133.3333 | 22 - 30 People Pringgabaya Utara Village | Community contribution request ITC
13 | 2019-08-05 | 2019-08-14 | Support Independence day at Sengkol Village | 2090000 | 139.3333 | 25 People at Sengkol Village Office | Community contribution request ITC
14 | 2019-08-05 | 2019-08-14 | Support Independence day at Sub-district | 1500000 | 100 | 25 People at Labuhan Haji Subdistrict Office | Community contribution request ITB
15 | 2019-08-05 | 2019-08-14 | Support Independence day at Geres Village | 1500000 | 100 | 25 People at Geres Village office | Community contribution request ITB
16 | 2019-08-05 | 2019-08-14 | Support Independence day at Sub-district Pringgabaya | 1500000 | 100 | 25 People at Pringgabaya Subdistrict office | Community contribution request ITA
17 | 2019-08-05 | 2019-08-14 | Support Independence day at Pringgabaya Utara Village | 1500000 | 100 | 26 People at Pringgabaya utara village office | Community contribution request ITA
18 | 2019-11-23 | 2019-11-23 | Dontaion to Peduli Anak Fondation | 28000000 | 2000 | 125 Children and 50 staff | Community contribution request ITC
19 | 2019-12-02 | 2019-12-02 | On Job Training (OJT) Program by CSR | 300000 | 21.4286 | 1 (One) Student | Community contribution request ITC
20 | 2019-12-31 | 2019-12-31 | Donation for support birthday even Pringgabaya Utara Village | 1000000 | 71.4286 | One Village Pringgabaya utara | Community contribution request ITA
21 | 2019-07-16 | 2019-07-17 | Free Health Clinic Program for Local Community | 150000000 | 10000 | Local community in Wineru Village | Community contribution request ITL
22 | 2019-07-22 | 2019-07-22 | Donation for community Kindergarten | 4222350 | 281.49 | Students and teachers of PAUD Wineru | Community contribution request ITL
23 | 2019-11-11 | 2019-11-18 | Material Supports for Kitchen Reparations of 2 Groups of Local Women | 16440000 | 1096 | 2 Groups of Local Women | Community contribution request ITA
No | Date |  | Corporate Social Responsibility | IDR | USD | Number of Beneficiaries | Location
| From | To
1 | 2020-03-02 | 2020-03-13 | Event - Awarding trophies to the winners of the Pringgabaya village CUP tournament 2020 | 1350000 | 90 | All Yout Group and Community at Pringgabaya Utara Village | Pringgabaya (ITA)
2 | 2020-03-18 | 2020-12-30 | CDP- Agriculture program for farmers at Sengkol site | 32500000 | 2166.6667 | 2 Family (Demplot) | Sengkol (ITC)
3 | 2020-01-16 | 2020-12-30 | CDP- Demplot Agriculture progaram for farmers at Pringgabaya site | 12500000 | 833.3333 | 3 Family (Demplot) | Pringgabaya (ITA)
4 | 2020-03-31 | 2020-04-10 | Event- Support the banner and disenfektant Covid -19 | 875000 | 58.3333 | 1 Village Community | Sengkol (ITC)
5 | 2020-03-31 | 2020-04-10 | Event-Support the banner and disenfektant Covid -19 | 875000 | 58.3333 | 1 Village Community | Geres/Selong (ITB)
6 | 2020-04-02 | 2020-04-12 | Event-Support the banner and disenfektant Covid -19 | 875000 | 58.3333 | 2 Village Community | Pringgabaya (ITA)
7 | 2020-04-07 | 2020-04-07 | Event-Support on provision of Electricity meters for a Mosque at Geres Village | 1500000 | 100 | One Mosque Building | Geres/Selong (ITB)
8 | 2020-05-03 | 2020-05-03 | Sponsorship/Events - Support the Al- quran to “Yayasan Taman Pendidikan Al-qur’an” | 1500000 | 100 | Around 30 Students | Pringgabaya (ITA)
9 | 2020-05-11 | 2020-08-19 | Sponsorship/Events - Support 1000 Maskers for Gvenment East Lombok and distribution to All Community near site ITA | 10000000 | 666.6667 | All Community at Subdistrict Pringgbaya | Pringgabaya (ITA)
10 | 2020-05-11 | 2020-08-19 | Sponsorship/Events -Support 1000 Maskers for Gverment East Lombok and distribution to All Community near site ITB | 10000000 | 666.6667 | All Community at Subdistrict Labuhan Haji | Geres/Selong (ITB)
11 | 2020-05-12 | 2020-05-12 | Sponsorship/Events -Support 1200 Maskers for Gverment Central Lombok and distribution to All Community near site ITC | 12000000 | 800 | All Community at Subdistrict Pujut | Sengkol (ITC)
12 | 2020-06-29 | 2020-06-29 | Event- Support the banner regarding HUT POLRI 74 | 250000 | 16.6667 | Government Institution | Sengkol (ITC)
13 | 2020-06-30 | 2020-06-30 | Event-Support the banner regarding HUT POLRI 74 | 250000 | 16.6667 | Government Institution | Geres / Selong (ITB)
14 | 2020-06-30 | 2020-06-30 | Support the banner regarding HUT POLRI 74 | 250000 | 16.6667 | Government Institution | Pringgabaya (ITA)
15 | 2020-07-01 | 2020-07-01 | Event-Support the banner to Police regarding Heal Village Competition. | 840000 | 56 | Government Institution | Sengkol (ITC)
16 | 2020-07-29 | 2020-08-17 | Event - Lombok solar farm project support celebrating the religion event (Idul Adha) & Indonesia Independence Day | 5500000 | 366.6667 | Community and Government Institution | Pringgabaya (ITA)
17 | 2020-07-29 | 2020-08-17 | Event - Lombok solar farm project support celebrating the religion event (Idul Adha) & Indonesia Independence Day | 10500000 | 700 | Community and Government Institution | Geres / Selong (ITB)
18 | 2020-07-29 | 2020-08-17 | Event - Lombok solar farm project support celebrating the religion event (Idul Adha) & Indonesia Independence Day | 10500000 | 700 | Community and Government Institution | Sengkol (ITC)
19 | 2020-08-14 | 2020-08-14 | Support the Banner to Warning Community about Land fire | 800000 | 53.3333 | Government Institution | Pringgabaya (ITA)
20 | 2020-08-14 | 2020-08-14 | Support the Banner to Warning Community about Land fire | 600000 | 40 | Government Institution | Geres/Selong (ITB)
21 | 2020-08-14 | 2020-08-14 | Support the Banner to Warning Community about Land fire | 600000 | 40 | Government Institution | Sengkol (ITC)
22 | 2020-08-27 | 2020-08-27 | CDP- Public Consultation on local community ekonomic development (Women Program) | 20800000 | 1386.6667 | 20 Womens | Geres/Selong (ITB)
23 | 2020-09-26 | 2020-10-05 | Support Bollavoley Youth Group Sengkol Village | 2400000 | 160 | 12 youth Group | Sengkol (ITC)
24 | 2020-11-11 | 2020-11-15 | Support the Rice for orphans | 1750000 | 116.6667 | 30 Orphans | Pringgabaya (ITA)
25 | 2020-11-18 | 2020-11-18 | West management | 1785000 | 119 | Farmers | Pringgabaya (ITA)
26 | 2020-11-18 | 2020-11-18 | West management | 1785000 | 119 | Farmers | Geres/Selong (ITB)
27 | 2020-11-18 | 2020-11-18 | West management | 1785000 | 119 | Farmers | Sengkol (ITC)
28 | 2020-12-21 | 2020-12-22 | Vena Energy Go To School | 18100000 | 1206.6667 | Renewable Energy Training for 40 Students of SMKN 1 Pringgabaya | Pringgabaya (ITA)
29 | 2020-04-15 | 2020-04-16 | Preventive Action to Stop The Spreading of Corona Virus (COVID-19) | 979800 | 65.32 | Community of Wineru Village | ITL
30 | 2020-12-16 | 2020-12-16 | Supporting Children Education by giving them school bags and books | 80627400 | 5375.16 | Elementary and Kindergarten Students of Wineru Village | ITL
|  | 2019 | 23
|  | 2020 | 30
|  | Total | 53

## SDG 7
Summary of Net electricity Generation (MWh)
Year | ITA | ITB | ITC | ITL | Total
Year 2019 | 6521.4081 | 6787.2405 | 6158.0502 | 10142.2503 | 29608.9492
Year 2020 | 11637.2621 | 12192.0885 | 11204.2463 | 29587.2469 | 64620.8438
Total | 18158.6702 | 18979.329 | 17362.2965 | 39729.4973 | 94229.793

## SDG 8a
Quality of employment
2019 Training
No | Project Name | Course Training Title | Traning Date | Duration of the Training (Hours) | No. of Participants | Total No. of Training Hours
1 | Likupang | BIA / BCP Workshop | Dec | 16 | 2 | 32
2 | Likupang | Fire awareness training & Drill | 2019-04-01 | 1.5 | 12 | 18
3 | Likupang | PV Module cleaning Training | 30-0ct-19 | 1 | 5 | 5
4 | Likupang | Process flow power plant | 2019-12-01 | 1 | 4 | 4
5 | Likupang | Site Safety Induction | 2019-09-01 | 5 | 10 | 50
6 | Likupang | Basic Fire Fighting (APAR) | 2019-10-04 | 1 | 8 | 8
7 | Likupang | Manual Handling Training | 2019-09-12 | 1 | 7 | 7
8 | Likupang | DDC Training | 2019-11-16 | 12 | 10 | 120
9 | Likupang | Drill Community Protest | 2019-12-14 | 3 | 20 | 60
10 | Likupang | Fatigue Management | 2019-12-20 | 1 | 7 | 7
11 | Likupang | General Electrical Safety | 2019-10-18 | 1 | 4 | 4
12 | Likupang | Safety Behaviour | 2019-12-12 | 1 | 6 | 6
13 | Pringgabaya | Introduction to IMS | Mar | 1 | 4 | 4
14 | Pringgabaya | Risk Management | Mar | 1 | 4 | 4
15 | Pringgabaya | Isolation / LOTO | Mar | 1 | 4 | 4
16 | Pringgabaya | Event Investigation | Mar | 1 | 4 | 4
17 | Pringgabaya | Crisis / Incident Management | Mar | 1 | 4 | 4
18 | Pringgabaya | BIA / BCP Workshop | Dec | 16 | 3 | 48
19 | Pringgabaya | Fire awareness training & Drill | 2019-09-16 | 1 | 4 | 4
20 | Pringgabaya | Safety Observation Training | 2019-10-28 | 1 | 5 | 5
21 | Pringgabaya | Fire extiguisher | 18 Des 19 | 1 | 8 | 8
22 | Pringgabaya | Fisrt Aid Training | 2 Des 19 | 1 | 5 | 5
23 | Selong | Introduction to IMS | Mar | 1 | 4 | 4
24 | Selong | Risk Management | Mar | 1 | 4 | 4
25 | Selong | Isolation / LOTO | Dec | 1 | 3 | 3
26 | Selong | Event Investigation | Mar | 1 | 4 | 4
27 | Selong | Crisis / Incident Management | Mar | 1 | 4 | 4
28 | Selong | BIA / BCP Workshop | Dec | 16 | 2 | 32
29 | Selong | Induction Training | 2020-10-19 | 1 | 1 | 1
30 | Selong | Induction Training | 2020-09-19 | 1 | 2 | 2
31 | Selong | Fire awareness training & Drill | 2019-09-30 | 1 | 7 | 7
32 | Selong | Safety Observation Training | 2019-10-27 | 1 | 3 | 3
33 | Selong | Fire extiguisher | 26 Des 19 | 1 | 8 | 8
34 | Selong | Fisrt Aid Training | 1 Des 19 | 1 | 4 | 4
35 | Sengkol | Introduction to IMS | Mar | 1 | 4 | 4
36 | Sengkol | Risk Management | Mar | 1 | 4 | 4
37 | Sengkol | Isolation / LOTO | 2019-09-24 | 1 | 2 | 2
38 | Sengkol | Event Investigation | Mar | 1 | 4 | 4
39 | Sengkol | Crisis / Incident Management | Mar | 1 | 4 | 4
40 | Sengkol | BIA / BCP Workshop | Dec | 16 | 2 | 32
41 | Sengkol | Induction Training | 17 Des 19 | 1 | 28 | 28
42 | Sengkol | Induction Training | 2020-09-19 | 1 | 2 | 2
43 | Sengkol | Induction Training | 2020-10-19 | 1 | 1 | 1
44 | Sengkol | Fire awareness training & Drill | 2019-09-26 | 1 | 6 | 6
45 | Sengkol | Induction Training | 17 Des 19 | 1 | 26 | 26
46 | Sengkol | Induction Training | 2019-09-20 | 1 | 7 | 7
47 | Sengkol | Safety Observation Training | 2019-10-26 | 1 | 5 | 5
48 | Sengkol | Fire extiguisher | 17 Des 19 | 1 | 7 | 7
49 | Sengkol | Fisrt Aid Training | 2019-09-30 | 1 | 2 | 2
Training 2020
No | Project Name | Course Training Title | Traning Date | Duration of the Training (Hours) | No. of Participants | Total No. of Training Hours
1 | Likupang | Site safety induction | 2020-01-07 | 1 | 1 | 1
2 | Likupang | Site safety induction | 2020-02-25 | 9 | 9 | 81
3 | Likupang | Site safety induction | 2020-03-07 | 1 | 1 | 1
4 | Likupang | BIA / BCP Covid-19 | Mar | 3 | 3 | 9
5 | Likupang | Site safety induction | 2020-05-05 | 4 | 4 | 16
6 | Likupang | Site safety induction | 2020-06-23 | 5 | 5 | 25
7 | Likupang | Site safety induction | 2020-07-06 | 5 | 5 | 25
8 | Likupang | Site safety induction | 2020-08-25 | 1 | 1 | 1
9 | Likupang | PV Clening Training | 2020-01-20 | 1 | 1 | 1
10 | Likupang | Working At Height Training | 2020-06-08 | 1 | 5 | 5
11 | Likupang | Angle Grinder Safety to field worker | 2020-07-30 | 1 | 6 | 6
12 | Likupang | Work permit system & JSA | 2020-09-06 | 2 | 7 | 14
13 | Likupang | Hazard and Risk Assessment Training On JSA | 2020-09-07 | 1 | 7 | 7
14 | Likupang | Safety Basics Electrical | 2020-07-19 | 1 | 6 | 6
15 | Likupang | Angle Grinder safety | 2020-07-14 | 1 | 1 | 1
16 | Likupang | Coronavirus and Covid Preventive | 2020-07-17 | 1 | 1 | 1
17 | Likupang | Electrical Safety | 2020-07-06 | 1 | 1 | 1
18 | Likupang | Heat Hazard | 2020-07-06 | 1 | 1 | 1
19 | Likupang | Preventing Slips and trips | 2020-07-30 | 1 | 1 | 1
20 | Likupang | Safety Driving | 2020-07-06 | 1 | 1 | 1
21 | Likupang | Safety Manual Handling | 2020-07-02 | 1 | 1 | 1
22 | Likupang | Safety Behaviour | 2020-06-22 | 1 | 1 | 1
23 | Likupang | Unsafe Acts | 2020-06-30 | 1 | 1 | 1
24 | Likupang | Working From Home | 2020-07-24 | 1 | 1 | 1
25 | Likupang | COC Training | 2020-07-29 | 1 | 1 | 1
26 | Pringgabaya | BIA / BCP Workshop (update the covid-19 risk) | 2020-02-01 | 3 | 3 | 9
27 | Pringgabaya | Induction Training | 2020-08-25 | 1 | 1 | 1
28 | Pringgabaya | Induction Training | 2020-09-02 | 1 | 2 | 2
29 | Pringgabaya | Induction Training | 2020-01-20 | 1 | 2 | 2
30 | Pringgabaya | Induction Training | 2020-10-20 | 1 | 5 | 5
31 | Pringgabaya | Induction Training | 2020-06-20 | 1 | 5 | 5
32 | Pringgabaya | Induction Training | 2020-04-02 | 1 | 1 | 1
33 | Pringgabaya | Behavioral safety | 2020-06-10 | 1 | 5 | 5
34 | Pringgabaya | Electrical | 2020-06-10 | 1 | 5 | 5
35 | Pringgabaya | LOTO | 2020-06-10 | 1 | 5 | 5
36 | Pringgabaya | Safe Drive | 2020-06-10 | 1 | 5 | 5
37 | Pringgabaya | Working at height | 2020-06-10 | 1 | 5 | 5
38 | Pringgabaya | Working at height | 2020-02-26 | 1 | 5 | 5
39 | Pringgabaya | First Aid | 2020-03-10 | 1 | 2 | 2
40 | Pringgabaya | Fire extinguisher | 2020-04-02 | 1 | 1 | 1
41 | Pringgabaya | Fire extinguisher | 2020-02-26 | 1 | 5 | 5
42 | Selong | BIA / BCP Workshop (update the covid-19 risk) | Mar | 3 | 3 | 9
43 | Selong | Induction Training | 2020-09-26 | 1 | 2 | 2
44 | Selong | Induction Training | 2020-06-18 | 1 | 5 | 5
45 | Selong | Induction Training | 2020-11-08 | 1 | 1 | 1
46 | Selong | Induction Training | 2020-01-20 | 1 | 1 | 1
47 | Selong | Induction Training | 2020-04-02 | 1 | 1 | 1
48 | Selong | Induction Training | 2020-10-20 | 1 | 1 | 1
49 | Selong | Induction Training | 2020-03-14 | 1 | 7 | 7
50 | Selong | Behavioral safety | 2020-06-11 | 1 | 6 | 6
51 | Selong | Electrical | 2020-06-11 | 1 | 6 | 6
52 | Selong | Manual Handling | 2020-06-11 | 1 | 6 | 6
53 | Selong | LOTO | 2020-06-11 | 1 | 6 | 6
54 | Selong | Working at height | 2020-06-11 | 1 | 5 | 5
55 | Selong | Working at height | 2020-06-27 | 1 | 2 | 2
56 | Selong | Fire extinguisher | 2020-03-26 | 1 | 4 | 4
57 | Sengkol | BIA / BCP Workshop (update the covid-19 risk) | Mar | 3 | 3 | 9
58 | Sengkol | Induction Training | 2020-03-10 | 1 | 3 | 3
59 | Sengkol | Induction Training | 2020-08-20 | 1 | 1 | 1
60 | Sengkol | Induction Training | 2020-09-20 | 1 | 2 | 2
61 | Sengkol | Induction Training | 2020-01-20 | 1 | 8 | 8
62 | Sengkol | Induction Training | 2020-10-20 | 1 | 2 | 2
63 | Sengkol | Induction Training | 2020-06-20 | 1 | 3 | 3
64 | Sengkol | Permit to work | 2020-09-11 | 1 | 3 | 3
65 | Sengkol | Behavioral safety | 2020-06-13 | 1 | 6 | 6
66 | Sengkol | Electrical | 2020-06-13 | 1 | 6 | 6
67 | Sengkol | Unsafe act | 2020-06-13 | 1 | 6 | 6
68 | Sengkol | Preven slip trip and fall | 2020-06-13 | 1 | 6 | 6
69 | Sengkol | Manual Handling | 2020-07-17 | 1 | 5 | 5
70 | Sengkol | Safe Drive | 2020-07-16 | 1 | 5 | 5
71 | Sengkol | LOTO | 2020-06-13 | 1 | 5 | 5
72 | Sengkol | Working at height | 2020-06-11 | 1 | 5 | 5
73 | Sengkol | Working at height | 2020-06-19 | 1 | 4 | 4
74 | Sengkol | First Aid | 2020-02-19 | 1 | 4 | 4
75 | Sengkol | Fire extinguisher | 2020-02-19 | 1 | 4 | 4
76 | Sengkol | Fire extinguisher | 2020-03-06 | 1 | 2 | 2
| 2019 | 49
| 2020 | 76
| Total | 125

## SDG 8b
Quantitative employment and income generation
O&M Cost | ITA | ITB | ITC | ITL | Total
O&M Cost of Year 2019 | 92452 | 73014 | 72522 | 193284 | 431272 | USD | As per Audited financials
O&M Cost of Year 2020 | 51878 | 115069 | 65413 | 230617 | 462977 | USD | As per Unaudited Financials
Total O&M Cost | 144330 | 188083 | 137935 | 423901 | 894249 | USD
[5 empty] | 0.89425 | Mn USD
A. ITA 7MW | Year 2019 | [6 empty] | year 2020
Company | DAVs | Regency | Province | National | Foreigner | Total Manpower |  | DAVs | Regency | Province | National | Foreigner | Total Manpower
ITA (VE) | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
Nari | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
Syntek | 6 | 4 | 0 | 0 | 0 | 10 |  | 6 | 4 | 0 | 0 | 0 | 10
CV. Rajawali Buana Agung (RBA) | 4 | 0 | 0 | 0 | 0 | 4 |  | 4 | 0 | 0 | 0 | 0 | 4
Total Manpower | 10 | 4 | 0 | 0 | 0 | 14 |  | 10 | 4 | 0 | 0 | 0 | 14
B. ITB 7MW
Company | DAVs | Regency | Province | National | Foreigner | Total Manpower |  | DAVs | Regency | Province | National | Foreigner | Total Manpower
ITA (VE) | 0 | 3 | 0 | 0 | 0 | 3 |  | 0 | 3 | 0 | 0 | 0 | 3
Nari | 0 | 1 | 0 | 0 | 0 | 1 |  | 0 | 1 | 0 | 0 | 0 | 1
Syntek | 8 | 0 | 0 | 0 | 0 | 8 |  | 8 | 0 | 0 | 0 | 0 | 8
CV. Rajawali Buana Agung (RBA) | 4 | 0 | 0 | 0 | 0 | 4 |  | 4 | 0 | 0 | 0 | 0 | 4
Total Manpower | 12 | 4 | 0 | 0 | 0 | 16 |  | 12 | 4 | 0 | 0 | 0 | 16
B. ITC 7MW
Company | DAVs | Regency | Province | National | Foreigner | Total Manpower |  | DAVs | Regency | Province | National | Foreigner | Total Manpower
ITA (VE) | 0 | 1 | 0 | 0 | 0 | 1 |  | 0 | 1 | 0 | 0 | 0 | 1
Nari | 1 | 0 | 0 | 0 | 0 | 1 |  | 1 | 0 | 0 | 0 | 0 | 1
Syntek | 10 | 0 | 1 | 0 | 0 | 11 |  | 10 | 0 | 1 | 0 | 0 | 11
CV. Rajawali Buana Agung (RBA) | 4 | 0 | 0 | 0 | 0 | 4 |  | 4 | 0 | 0 | 0 | 0 | 4
Total Manpower | 15 | 1 | 1 | 0 | 0 | 17 |  | 15 | 1 | 1 | 0 | 0 | 17
LOMBOK ALL
Company | DAVs | Regency | Province | National | Foreigner | Total Manpower |  | DAVs | Regency | Province | National | Foreigner | Total Manpower
ITA (VE) | 0 | 4 | 0 | 0 | 0 | 4 |  | 0 | 4 | 0 | 0 | 0 | 4
Nari | 1 | 1 | 0 | 0 | 0 | 2 |  | 1 | 1 | 0 | 0 | 0 | 2
Syntek | 24 | 4 | 1 | 0 | 0 | 29 |  | 24 | 4 | 1 | 0 | 0 | 29
CV. Rajawali Buana Agung (RBA) | 12 | 0 | 0 | 0 | 0 | 12 |  | 12 | 0 | 0 | 0 | 0 | 12
| 37 | 9 | 1 | 0 | 0 | 47 |  | 37 | 9 | 1 | 0 | 0 | 47
B. ITL 21MW
Company | DAVs | Regency | Province | National | Foreigner | Total Manpower |  | DAVs | Regency | Province | National | Foreigner | Total Manpower
ITL (VE) | 0 | 0 | 2 | 2 | 0 | 4 |  | 0 | 0 | 2 | 2 | 0 | 4
Syntek | 13 | 0 | 2 | 0 | 0 | 15 |  | 13 | 0 | 2 | 0 | 0 | 15
Pingan Service (Catering & Maintenance) | 6 | 1 | 1 | 0 | 0 | 8 |  | 6 | 1 | 1 | 0 | 0 | 8
PP (Construction) | 4 | 0 | 0 | 1 | 0 | 5 |  | 4 | 0 | 0 | 1 | 0 | 5
| 23 | 1 | 5 | 3 | 0 | 32 |  | 23 | 1 | 5 | 3 | 0 | 32
Year 2019 | 79
Year 2020 | 79
Average | 79