## Emission Factors
Factor | (tCO2/MWh) | References:
OM | 0.7258 | https://enerji.gov.tr/evced-cevre-ve-iklim-turkiye-ulusal-elektrik-sebekesi-emisyon-faktoru
BM | 0.4153 | https://enerji.gov.tr//Media/Dizin/EVCED/tr/%C3%87evreVe%C4%B0klim/%C4%B0klimDe%C4%9Fi%C5%9Fikli%C4%9Fi/T%C3%BCrkiyeUlusalElektrik%C5%9EebekesiEmisyonFakt%C3%B6r%C3%BC/Belgeler/EK-2.pdf
CM | 0.6482

## Monitoring Plan
Generation During Total Crediting Period
For SDG 7 - Annual Electricity Generation of Bandırma WPP: |  |  | 182700 | MWh/year | 1278900 | MWh/year
For SDG 13 - Calculation of Emission Reduction of Bandırma WPP
[8 empty] | 365 | 80588.2192
Year |  | Days | Estimation of project activity emissions (tonnes of CO2e) | Estimation of baseline emissions (tonnes of CO2e) | Estimation of leakage (tonnes of CO2e) | Estimation of overall emission reductions (tonnes of CO2e) |  | 161 | 102111.7808 | 182700
2022-07-24 | 2022-12-31 | 161 | 0 | 72677.874 | 0 | 72677.874
2023 |  | 365 | 0 | 118426 | 0 | 118426 | Annual Average for CO2 |  | 118426
2024 |  | 365 | 0 | 118426 | 0 | 118426
2025 |  | 365 | 0 | 118426 | 0 | 118426
2026 |  | 365 | 0 | 118426 | 0 | 118426
2027 |  | 365 | 0 | 118426 | 0 | 118426
2028 |  | 365 | 0 | 118426 | 0 | 118426
2029-01-01 | 2029-07-23 | 204 | 0 | 45748.126 | 0 | 45748.126
Total (tonnes of CO2e) |  |  | 0 | 828982 | 0 | 828982
For SDG 13 - Calculation of Reduction of CO and NMVOC Emission Amounts for Air Quality Indicator | [6 empty] | Year |  | Days | Avoided CO Emissions by PA (tons) | Avoided NMVOC Emissions by PA (tons) | Avoided NOx Emissions by PA (tons)
Emissions | Emission Amount due to Electricity Generation in 2019* (tons) | Net Electricity Generation in 2020** (GWh) | Emission per GWh (tons/GWh) | Net Annual Electricity Generation of Project Activity (GWh/y) | Avoided Emission Amount by Project Activity per year (tons/y)
CO | 29700 | 292664.055 | 0.10148 | 182.7 | 18.54 |  | 2022-07-24 | 2022-12-31 | 161 | 8.1779 | 0.78515 | 94.9459
NMVOC | 2860 |  | 0.0097723 |  | 1.78 |  | 2023 |  | 365 | 18.54 | 1.78 | 215.25
NOx | 344810 |  | 1.1782 |  | 215.25 |  | 2024 |  | 365 | 18.54 | 1.78 | 215.25 | Annual Average for CO | 18.54
[7 empty] | 2025 |  | 365 | 18.54 | 1.78 | 215.25
*For CO: | https://unfccc.int/documents/271541 |  |  | IMPORTANT NOTE : Turkey's most recent CO data belongs to 2019. |  |  | 2026 |  | 365 | 18.54 | 1.78 | 215.25 | Annual Average for NMVOC | 1.78
*For NMVOC | https://unfccc.int/documents/271541 |  |  | IMPORTANT NOTE : Turkey's most recent NMVOC data belongs to 2019. |  |  | 2027 |  | 365 | 18.54 | 1.78 | 215.25
*For NOx | https://unfccc.int/documents/271541 |  |  | IMPORTANT NOTE : Turkey's most recent NMVOC data belongs to 2019. |  |  | 2028 |  | 365 | 18.54 | 1.78 | 215.25
** Net electrcity Generation for 2020 | https://webapi.teias.gov.tr/file/e15261ce-c442-4fb6-ae82-25a690d85fd1?download |  |  | IMPORTANT NOTE : Turkey's most recent electricity generation data belongs to 2020. |  |  | 2029-01-01 | 2029-07-23 | 204 | 10.3621 | 0.99485 | 120.3041 | Annual Average for NOx | 215.25
[7 empty] | TOTAL |  | 2555 | 129.78 | 12.46 | 1506.75
For SDG 6 - Calculation of Avoidance of Wastewater Discharge Amount for Water Quality and Quantity Indicator of Sustainable Development Matrix
Total Waste Water Discharged by Thermal Power Plants in 2020 (x1000 m3) (1) | Total Electricty Generation in 2020 (GWh) (2) | Average Amount of Cooling Waste Water Discharged per each GWh Electricity Generation in 2020 (x1000 m3/GWh) (3) | Annual Electricity Generation of Project Activity (GWh/y) | Amount of Avoided Cooling Wastewater Discharge per year by Project Activity (x1000 m3/y) | Amount of Generated Domestic Wastewater Discharge by Project Activity per year (m3/y) (3) | Amount of Avoided Wastewater Discharge by Project Activity per year (x1000 m3/y) |  |  |  | Year |  | Days | Avoided Wastewater Discharge by PA (x1000m3)
7986526.188 | 306703.096 | 26.0399 | 182.7 | 4757.4946 | 690 | 4067.49
(1) For 2020 Wastewater Discharged: | https://data.tuik.gov.tr/Bulten/Index?p=Su-ve-Atiksu-Istatistikleri-2020-37197 |  | Please see: Table 3-Cell G8 | IMPORTANT NOTE : Turkey's most recent wastewater data belongs to 2020. | [5 empty] | 2022-07-24 | 2022-12-31 | 161 | 1794.1531
(2) For 2020 Electricity Generation | https://webapi.teias.gov.tr/file/e15261ce-c442-4fb6-ae82-25a690d85fd1?download |  |  | IMPORTANT NOTE : Turkey's most recent electricity generation data belongs to 2020. | [5 empty] | 2023 |  | 365 | 4067.49
(3) Water will be used only for daily consumption. 10 workers will be employed during operation. Daily water usage per worker is 0,189 m3 |  |  |  |  | https://data.tuik.gov.tr/Bulten/Index?p=Su-ve-Atiksu-Istatistikleri-2020-37197 |  |  |  |  | 2024 |  | 365 | 4067.49
Hence total wastewater production in power plant per year becomes: 10*0,189*365 = 690 m3/year | [9 empty] | 2025 |  | 365 | 4067.49
[10 empty] | 2026 |  | 365 | 4067.49
[10 empty] | 2027 |  | 365 | 4067.49
[10 empty] | 2028 |  | 365 | 4067.49
For SDG 8 - Quantitative employment and income generation | [9 empty] | 2029-01-01 | 2029-07-23 | 204 | 2273.3369
[10 empty] | TOTAL |  | 2555 | 28472.43
The project will lead to employment opportunities which would not have been possible in the baseline scenario. The project provides between 4 and 12 employment. Also, at least 1 training are to be provided to each employee annually during the crediting period.
[10 empty] | Annual Average for Wastewater Discharge |  | 4067.49
Note on C6: Shikha Sharma: Project title is inconsistent Hazal: Revised