## Project Details
Title of the project activity | 9.6 MW Wind Energy Project at Jamvadi & Navagam & Kalavad, Jamnagar, Gujarat, India of Rohit Surfactants Pvt. Ltd.
Version of ER- Sheet | 3
Reference number of the project activity | 7589 (UNFCCC ID: 4470)
https://registry.goldstandard.org/projects/details/2204
Date of Preliminary Review Submission | 2020-01-07
Monitoring period number and duration of this monitoring period | Monitoring period No: 01
21/10/2018 to 31/12/2020 (Both days Included)
No. of Days in the current Monitoring Period | 803
Annual (365 Days) estimation of CERs as per Registered PDD | 16491
Emission Factor | 0.9225
Estimated amount of GHG emission reductions or net anthropogenic GHG removals by sinks for this monitoring period in the registered PDD (tCO2e) | 36280
Net Electricity Supplied for this monitoring period | 30303.8827
Actual CERs Obtained during the current Monitoring Period (tCO2e) | 27955
% Change in estimation values | 22.95%
Vintage wise Calculation
|  | Year | SDG 7 | SDG 13 | SDG 8 ( Employment):[Skilled+Unskilled] | SDG 8 ( Trainings )
|  | 2018 | 2498.8724 | 2304.878 | 16:[11+5] | 1
|  | 2019 | 15751.5981 | 14530.8492 | 16:[11+5] | 2
|  | 2020 | 12053.4122 | 11119.2727 | 16:[11+5] | 2
|  | Total | 30303.8827 | 27955 | 16:[11+5] | 5
|  | GS Serial Number Calculation | Total credits
|  | Total Credits claimed in CDM | 57340
|  | 2% SOP | 1147
|  | Net Issuance from CDM | 56193
|  | GS Credits Claimed | 27955
|  |  | Start of serial Number | End of serial Number | Total credits
|  | 2% SOP Deduction | 297844979 | 297846125 | 1147
|  | CER Range after CDM SOP Deduction | 297846126 | 297902318 | 56193
|  | GSCER Serial Range | 297874364 | 297902318 | 27955
Vintage Breakup
|  | 2018 | 297874364 | 297876667.878 | 2304.878
|  | 2019 | 297876668.878 | 297891198.7273 | 14530.8492
|  | 2020 | 297891199.7273 | 297902318 | 11119.2727
Note on G23: Abhishek Anjan: Average values taken for the 3 years vintage.

## Emission Reduction Calculation
Month |  | Quantity of net electricity supplied to the grid as a result of the implementation of the CDM project activity in year y, EGBL, y with double of accuracy class error factor (whereever delay in calibration applicable) | Baseline emission factor in tCO2/MWh EFCO2, grid, y | Baseline Emissins BEy = EGBL, y * EFCO2, grid, y | Project Emissions, PEy | Leakage, Ly | Emisssion Reduction ERy= BEy-PEy-Ly
2018-10-21 | 2018-10-31 | 203.8494 | 0.9225 | 188.0511 | 0 | 0 | 188.0511
2018-11-01 | 2018-11-30 | 1145.095 | 0.9225 | 1056.3501 | 0 | 0 | 1056.3501
2018-12-01 | 2018-12-31 | 1149.928 | 0.9225 | 1060.8086 | 0 | 0 | 1060.8086
2019-01-01 | 2019-01-31 | 1305.417 | 0.9225 | 1204.2472 | 0 | 0 | 1204.2472
2019-02-01 | 2019-02-28 | 1169.32 | 0.9225 | 1078.6977 | 0 | 0 | 1078.6977
2019-03-01 | 2019-03-31 | 1218.55 | 0.9225 | 1124.1124 | 0 | 0 | 1124.1124
2019-04-01 | 2019-04-30 | 1468.074 | 0.9225 | 1354.2983 | 0 | 0 | 1354.2983
2019-05-01 | 2019-05-31 | 1487 | 0.9225 | 1371.7575 | 0 | 0 | 1371.7575
2019-06-01 | 2019-06-30 | 1681.4791 | 0.9225 | 1551.1644 | 0 | 0 | 1551.1644
2019-07-01 | 2019-07-31 | 2434.462 | 0.9225 | 2245.7912 | 0 | 0 | 2245.7912
2019-08-01 | 2019-08-31 | 1488.82 | 0.9225 | 1373.4364 | 0 | 0 | 1373.4364
2019-09-01 | 2019-09-30 | 578.265 | 0.9225 | 533.4495 | 0 | 0 | 533.4495
2019-10-01 | 2019-10-31 | 720.804 | 0.9225 | 664.9417 | 0 | 0 | 664.9417
2019-11-01 | 2019-11-30 | 703.832 | 0.9225 | 649.285 | 0 | 0 | 649.285
2019-12-01 | 2019-12-31 | 1495.575 | 0.9225 | 1379.6679 | 0 | 0 | 1379.6679
2020-01-01 | 2020-01-31 | 1013.259 | 0.9225 | 934.7314 | 0 | 0 | 934.7314
2020-02-01 | 2020-02-29 | 982.618 | 0.9225 | 906.4651 | 0 | 0 | 906.4651
2020-03-01 | 2020-03-31 | 1052.12 | 0.9225 | 970.5807 | 0 | 0 | 970.5807
2020-04-01 | 2020-04-30 | 1180.253 | 0.9225 | 1088.7834 | 0 | 0 | 1088.7834
2020-05-01 | 2020-05-31 | 1774.091 | 0.9225 | 1636.5989 | 0 | 0 | 1636.5989
2020-06-01 | 2020-06-30 | 793.2702 | 0.9225 | 731.7917 | 0 | 0 | 731.7917
2020-07-01 | 2020-07-31 | 592.934 | 0.9225 | 546.9816 | 0 | 0 | 546.9816
2020-08-01 | 2020-08-31 | 1486.139 | 0.9225 | 1370.9632 | 0 | 0 | 1370.9632
2020-09-01 | 2020-09-30 | 410.688 | 0.9225 | 378.8597 | 0 | 0 | 378.8597
2020-10-01 | 2020-10-31 | 593.829 | 0.9225 | 547.8073 | 0 | 0 | 547.8073
2020-11-01 | 2020-11-30 | 1059.951 | 0.9225 | 977.8048 | 0 | 0 | 977.8048
2020-12-01 | 2020-12-31 | 1114.26 | 0.9225 | 1027.9048 | 0 | 0 | 1027.9048
Total |  | 30303.8827 |  | 27955.3318 | 0 | 0 | 27955

## Generation Details
Month |  | Quantity of net electricity supplied to the grid as a result of the implementation of the CDM project activity in year y EG BL, y (taken from GETCO share certificates) (MWh) | Quantity of net electricity supplied to the grid as a result of the implementation of the CDM project activity in year y EG BL, y (taken from respective Invoices) (KWh) | Quantity of net electricity supplied to the grid as a result of the implementation of the CDM project activity in year y EG BL, y (taken from GETCO share certificates) (MWh) with double of accuracy class error factor (wherever applicable) | Electricity generated at the Cluster Meter(CM) (EG CM) (MWh) | Electricity generated by each WTG (EG y,WTG) (MWh) | Quantity of electricity exported to GUVNL facility EGy, Export (KWh) | Quantity of electricity imported from GUVNL facility EGy,Import (KWh)
2018-10-21 | 2018-10-31 | 203.8494 | 440951 | 203.8494 | 449.5495 | 458.917 | 21018000 | 68000
2018-11-01 | 2018-11-30 | 1145.095 | 1145095 | 1145.095 | 1167.4244 | 604.264 | 29017000 | 31000
2018-12-01 | 2018-12-31 | 1149.928 | 1149928 | 1149.928 | 1172.6966 | 1178.589 | 58875000 | 9000
2019-01-01 | 2019-01-31 | 1305.417 | 1305417 | 1305.417 | 1331.2643 | 1339.363 | 62760000 | 14000
2019-02-01 | 2019-02-28 | 1169.32 | 1169320 | 1169.32 | 1192.4725 | 1199.518 | 53824000 | 10000
2019-03-01 | 2019-03-31 | 1218.55 | 1218550 | 1218.55 | 1242.6773 | 1247.209 | 55230000 | 9000
2019-04-01 | 2019-04-30 | 1468.074 | 1468074 | 1468.074 | 1497.1419 | 1506.818 | 64476000 | 2000
2019-05-01 | 2019-05-31 | 1487 | 1487000 | 1487 | 1516.4426 | 1524.566 | 64544000 | 1000
2019-06-01 | 2019-06-30 | 1688.232 | 1688232 | 1681.4791 | 1721.659 | 1737.074 | 77818000 | 17000
2019-07-01 | 2019-07-31 | 2434.462 | 2434462 | 2434.462 | 2482.6643 | 2511.114 | 107833000 | 9000
2019-08-01 | 2019-08-31 | 1488.82 | 1488820 | 1488.82 | 1518.2986 | 1532.533 | 62049000 | 2000
2019-09-01 | 2019-09-30 | 578.265 | 578265 | 578.265 | 589.7146 | 600.036 | 25205000 | 50000
2019-10-01 | 2019-10-31 | 720.804 | 720804 | 720.804 | 735.0759 | 743.184 | 30567000 | 29000
2019-11-01 | 2019-11-30 | 703.832 | 703832 | 703.832 | 717.7679 | 724.07 | 26398000 | 60000
2019-12-01 | 2019-12-31 | 1495.575 | 1495575 | 1495.575 | 1525.1874 | 1530.318 | 69270000 | 4000
2020-01-01 | 2020-01-31 | 1013.259 | 1013259 | 1013.259 | 1033.3215 | 1038.096 | 49456000 | 8000
2020-02-01 | 2020-02-29 | 982.618 | 982618 | 982.618 | 1002.0738 | 1007.534 | 49029000 | 6000
2020-03-01 | 2020-03-31 | 1052.12 | 1052120 | 1052.12 | 1072.952 | 1078.908 | 49116000 | 4000
2020-04-01 | 2020-04-30 | 1180.253 | 1180253 | 1180.253 | 1203.622 | 1209.087 | 52512000 | 0
2020-05-01 | 2020-05-31 | 1774.091 | 1774091 | 1774.091 | 1809.218 | 1818.113 | 74734000 | 1000
2020-06-01 | 2020-06-30 | 796.456 | 796456 | 793.2702 | 812.3055 | 821.009 | 37756000 | 29000
2020-07-01 | 2020-07-31 | 592.934 | 592934 | 592.934 | 604.7334 | 618.529 | 23495000 | 40000
2020-08-01 | 2020-08-31 | 1486.139 | 1486139 | 1486.139 | 1515.7132 | 1525.23 | 60532000 | 23000
2020-09-01 | 2020-09-30 | 410.688 | 410688 | 410.688 | 418.8607 | 428.794 | 18581000 | 41000
2020-10-01 | 2020-10-31 | 593.829 | 593829 | 593.829 | 605.6462 | 610.336 | 28791000 | 12000
2020-11-01 | 2020-11-30 | 1059.951 | 1059951 | 1059.951 | 1081.044 | 1089.358 | 50045000 | 10000
2020-12-01 | 2020-12-31 | 1114.26 | 1114260 | 1114.26 | 1136.4338 | 1139.216 | 52977000 | 17000
Total |  | 30313.8214 |  | 30303.8827 | 31155.9609 | 30821.783 | 1355908 | 506
|  | Note 1 |  | Since delay in calibration frequency has been observed as per the registered PDD, and breakup of export and import is not available for this parameter hence error factor has been applied double than that of accuracy class of meters to retain conservativeness. The accuracy class of meter is 0.2%, thus double of accuracy class i.e 0.4% error factor is applied for net electricty supplied to grid parameter as a most conservative approach.
|  | Note 2 |  | The Parameters "Electricity generated at the Cluster Meter(CM) (EG CM) (MWh)" , "Quantity of electricity exported to GUVNL facility EGy, Export (KWh)" and " Quantity of electricity imported from GUVNL facility EGy,Import (KWh)" are not directly used for ER calculations and are mentioned as a part of monitoring plan. Hence though there is delay in calibration for these meters, the same is not applied or not shown in above data. The net electricity supplied to grid is considered from share certificate and same is used for ER Calculations, the error factor ( double of accuracy class) is applied for this net electricity supplied to grid parameter.
Note on D3: Abhishek Anjan: The Net Electricity has been apportioned according to Daily Generation Data for the intervening period.
Note on I30: Abhishek Anjan: Value in MWh
Note on J30: Abhishek Anjan: Value in MWh

## SubstationMeter Readings
S.NO. | DATE |  | TRANFORMER NO-01 |  |  | TRANSFORMER NO-02 |  |  | TRANSFORMER NO-03 |  |  | TRANSFORMER NO-04 |  |  | TOTAL Import_KWH | TOTAL Export_KWH | TOTAL NETKWh
|  |  | EXPORT KWh | IMPORT KWh | NET KWh | EXPORT KWh | IMPORT KWh | NET KWh | EXPORT KWh | IMPORT KWh | NET KWh | EXPORT KWh | IMPORT KWh | NET KWh
1 | 2018-10-21 | 2018-10-31 | 5283000 | 17000 | 5266000 | 4308000 | 14000 | 4294000 | 4774000 | 17000 | 4757000 | 6653000 | 20000 | 6633000 | 21018000 | 68000 | 20950000
2 | 2018-11-01 | 2018-11-30 | 3554000 | 7000 | 3547000 | 9636000 | 9000 | 9627000 | 7494000 | 7000 | 7487000 | 8333000 | 8000 | 8325000 | 29017000 | 31000 | 28986000
3 | 2018-12-01 | 2018-12-31 | 5326000 | 2000 | 5324000 | 20594000 | 4000 | 20590000 | 16409000 | 1000 | 16408000 | 16546000 | 2000 | 16544000 | 58875000 | 9000 | 58866000
4 | 2019-01-01 | 2019-01-31 | 15978000 | 5000 | 15973000 | 13237000 | 3000 | 13234000 | 14954000 | 3000 | 14951000 | 18591000 | 3000 | 18588000 | 62760000 | 14000 | 62746000
5 | 2019-02-01 | 2019-02-28 | 13581000 | 3000 | 13578000 | 11650000 | 3000 | 11647000 | 12133000 | 2000 | 12131000 | 16460000 | 2000 | 16458000 | 53824000 | 10000 | 53814000
6 | 2019-03-01 | 2019-03-31 | 13711000 | 2000 | 13709000 | 11902000 | 3000 | 11899000 | 13537000 | 2000 | 13535000 | 16080000 | 2000 | 16078000 | 55230000 | 9000 | 55221000
7 | 2019-04-01 | 2019-04-30 | 15974000 | 0 | 15974000 | 14420000 | 1000 | 14419000 | 14718000 | 0 | 14718000 | 19364000 | 1000 | 19363000 | 64476000 | 2000 | 64474000
8 | 2019-05-01 | 2019-05-31 | 15266000 | 1000 | 15265000 | 15098000 | 0 | 15098000 | 16632000 | 0 | 16632000 | 17548000 | 0 | 17548000 | 64544000 | 1000 | 64543000
9 | 2019-06-01 | 2019-06-30 | 17826000 | 4000 | 17822000 | 17613000 | 5000 | 17608000 | 21056000 | 4000 | 21052000 | 21323000 | 4000 | 21319000 | 77818000 | 17000 | 77801000
10 | 2019-07-01 | 2019-07-31 | 25584000 | 3000 | 25581000 | 24433000 | 2000 | 24431000 | 25627000 | 2000 | 25625000 | 32189000 | 2000 | 32187000 | 107833000 | 9000 | 107824000
11 | 2019-08-01 | 2019-08-31 | 14802000 | 1000 | 14801000 | 14946000 | 1000 | 14945000 | 14653000 | 0 | 14653000 | 17648000 | 0 | 17648000 | 62049000 | 2000 | 62047000
12 | 2019-09-01 | 2019-09-30 | 5703000 | 12000 | 5691000 | 6126000 | 13000 | 6113000 | 5882000 | 12000 | 5870000 | 7494000 | 13000 | 7481000 | 25205000 | 50000 | 25155000
13 | 2019-10-01 | 2019-10-31 | 0 | 0 | 0 | 12443000 | 10000 | 12433000 | 9312000 | 10000 | 9302000 | 8812000 | 9000 | 8803000 | 30567000 | 29000 | 30538000
14 | 2019-11-01 | 2019-11-30 | 1766000 | 1000 | 1765000 | 11665000 | 21000 | 11644000 | 11551000 | 19000 | 11532000 | 1416000 | 19000 | 1397000 | 26398000 | 60000 | 26338000
15 | 2019-12-01 | 2019-12-31 | 17351000 | 1000 | 17350000 | 14924000 | 1000 | 14923000 | 14850000 | 2000 | 14848000 | 22145000 | 0 | 22145000 | 69270000 | 4000 | 69266000
16 | 2020-01-01 | 2020-01-31 | 14059000 | 2000 | 14057000 | 9074000 | 2000 | 9072000 | 10591000 | 1000 | 10590000 | 15732000 | 3000 | 15729000 | 49456000 | 8000 | 49448000
17 | 2020-02-01 | 2020-02-29 | 10689000 | 1000 | 10688000 | 11750000 | 1000 | 11749000 | 13055000 | 3000 | 13052000 | 13535000 | 1000 | 13534000 | 49029000 | 6000 | 49023000
18 | 2020-03-01 | 2020-03-31 | 11340000 | 1000 | 11339000 | 11323000 | 1000 | 11322000 | 12128000 | 1000 | 12127000 | 14325000 | 1000 | 14324000 | 49116000 | 4000 | 49112000
19 | 2020-04-01 | 2020-04-30 | 12182000 | 0 | 12182000 | 12237000 | 0 | 12237000 | 12053000 | 0 | 12053000 | 16040000 | 0 | 16040000 | 52512000 | 0 | 52512000
20 | 2020-05-01 | 2020-05-31 | 17464000 | 1000 | 17463000 | 17678000 | 0 | 17678000 | 18090000 | 0 | 18090000 | 21502000 | 0 | 21502000 | 74734000 | 1000 | 74733000
21 | 2020-06-01 | 2020-06-30 | 8394000 | 7000 | 8387000 | 8521000 | 8000 | 8513000 | 9457000 | 7000 | 9450000 | 11384000 | 7000 | 11377000 | 37756000 | 29000 | 37727000
22 | 2020-07-01 | 2020-07-31 | 5441000 | 7000 | 5434000 | 4791000 | 9000 | 4782000 | 3995000 | 16000 | 3979000 | 9268000 | 8000 | 9260000 | 23495000 | 40000 | 23455000
23 | 2020-08-01 | 2020-08-31 | 14166000 | 6000 | 14160000 | 13848000 | 5000 | 13843000 | 14575000 | 6000 | 14569000 | 17943000 | 6000 | 17937000 | 60532000 | 23000 | 60509000
24 | 2020-09-01 | 2020-09-30 | 4574000 | 12000 | 4562000 | 4252000 | 9000 | 4243000 | 4345000 | 9000 | 4336000 | 5410000 | 11000 | 5399000 | 18581000 | 41000 | 18540000
25 | 2020-10-01 | 2020-10-31 | 7321000 | 5000 | 7316000 | 5834000 | 3000 | 5831000 | 6526000 | 2000 | 6524000 | 9110000 | 2000 | 9108000 | 28791000 | 12000 | 28779000
26 | 2020-11-01 | 2020-11-30 | 12550000 | 2000 | 12548000 | 10492000 | 3000 | 10489000 | 10884000 | 3000 | 10881000 | 16119000 | 2000 | 16117000 | 50045000 | 10000 | 50035000
27 | 2020-12-01 | 2020-12-31 | 13643000 | 5000 | 13638000 | 11153000 | 4000 | 11149000 | 11466000 | 4000 | 11462000 | 16715000 | 4000 | 16711000 | 52977000 | 17000 | 52960000
TOTAL |  |  | 303528000 | 108000 | 303420000 | 323948000 | 135000 | 323813000 | 330747000 | 133000 | 330614000 | 397685000 | 130000 | 397555000 | 1355908000 | 506000 | 1355402000

## DGR Oct_2018
Net Export from 01/10/2018 to 31/10/2018 in KWh |  |  |  |  | 458917
Net Export from 21/10/2018 to 31/10/2018 in KWh |  |  |  |  | 212155
Generation Ratio |  |  |  |  | 0.46229
Export as per GETCO Share Certificate from 01/10/2018 to 31/10/2018 in KWh |  |  |  |  | 440951
Apportioned value of Net Export from 21/10/2018 to 31/10/2018 in KWh |  |  |  |  | 203849.4094
Apportioned value of Net Export from 21/10/2018 to 31/10/2018 in MWh |  |  |  |  | 203.8494
Date | RSPLJV-01 (0927) | RSPLJV-02 (0928) | RSPLJV-03 (0929) | RSPLJV-04 (0930) | RSPLJV-05 (0931) | RSPLJV-06 (0932) | RSPLJV-07 (0933) | RSPLDD-08 (01029) | RSPLDD-09 (01030) | RSPLDD-10 (01031) | RSPLDD-11 (10132) | RSPLDD-12 (01033) | Total(KWh)
2018-10-01 | 805 | 573 | 812 | 856 | 959 | 1139 | 1173 | 1270 | 1411 | 722 | 1218 | 1058 | 11996
2018-10-02 | 1568 | 1334 | 1446 | 1342 | 1152 | 1156 | 932 | 1284 | 1388 | 1016 | 1153 | 916 | 14687
2018-10-03 | 1505 | 1395 | 1438 | 1421 | 1393 | 1493 | 1109 | 1488 | 1626 | 1351 | 1386 | 1310 | 16915
2018-10-04 | 729 | 626 | 651 | 614 | 492 | 493 | 366 | 493 | 602 | 425 | 568 | 676 | 6735
2018-10-05 | 615 | 620 | 553 | 616 | 437 | 521 | 600 | 620 | 558 | 649 | 593 | 652 | 7034
2018-10-06 | 554 | 469 | 540 | 522 | 395 | 433 | 473 | 555 | 570 | 565 | 538 | 563 | 6177
2018-10-07 | 626 | 514 | 620 | 538 | 470 | 539 | 511 | 536 | 606 | 597 | 649 | 581 | 6787
2018-10-08 | 1187 | 1048 | 1080 | 1014 | 939 | 953 | 936 | 866 | 984 | 961 | 948 | 934 | 11850
2018-10-09 | 704 | 544 | 677 | 531 | 577 | 606 | 607 | 448 | 539 | 381 | 443 | 433 | 6490
2018-10-10 | 1908 | 1629 | 1682 | 1719 | 1590 | 1789 | 1795 | 1813 | 1942 | 1663 | 1844 | 1776 | 21150
2018-10-11 | 2922 | 2535 | 2866 | 2900 | 2832 | 2733 | 2213 | 2710 | 2727 | 2246 | 2378 | 2382 | 31444
2018-10-12 | 2207 | 1918 | 2026 | 2000 | 1858 | 1748 | 1337 | 1757 | 1815 | 1477 | 1587 | 1678 | 21408
2018-10-13 | 1748 | 1709 | 1789 | 1728 | 1633 | 1569 | 1116 | 1684 | 1872 | 1178 | 1602 | 1609 | 19237
2018-10-14 | 1392 | 1382 | 1467 | 1520 | 1534 | 1530 | 1349 | 1804 | 1891 | 1694 | 1829 | 1790 | 19182
2018-10-15 | 1683 | 1501 | 1522 | 1341 | 1150 | 1170 | 954 | 1276 | 1431 | 1067 | 1246 | 1139 | 15480
2018-10-16 | 505 | 345 | 457 | 416 | 355 | 376 | 381 | 353 | 383 | 291 | 276 | 289 | 4427
2018-10-17 | 557 | 196 | 495 | 445 | 401 | 478 | 503 | 475 | 507 | 414 | 400 | 378 | 5249
2018-10-18 | 638 | 276 | 577 | 544 | 478 | 551 | 611 | 694 | 738 | 629 | 588 | 565 | 6889
2018-10-19 | 759 | 449 | 657 | 753 | 540 | 626 | 696 | 608 | 618 | 546 | 515 | 499 | 7266
2018-10-20 | 575 | 511 | 485 | 700 | 469 | 346 | 696 | 567 | 437 | 582 | 462 | 529 | 6359
2018-10-21 | 1785 | 1882 | 1808 | 1968 | 1538 | 1552 | 2004 | 2258 | 1834 | 2417 | 2224 | 2394 | 23664
2018-10-22 | 2041 | 1943 | 1865 | 1766 | 1932 | 1408 | 1452 | 1340 | 1896 | 1718 | 1652 | 1626 | 20639
2018-10-23 | 2306 | 1910 | 2126 | 1955 | 1901 | 2118 | 1480 | 2909 | 2869 | 2480 | 2614 | 2408 | 27076
2018-10-24 | 1467 | 1467 | 1495 | 1579 | 1452 | 1569 | 1521 | 1693 | 1856 | 1560 | 1621 | 1579 | 18859
2018-10-25 | 1414 | 1209 | 1347 | 1233 | 980 | 892 | 759 | 966 | 916 | 846 | 944 | 1038 | 12544
2018-10-26 | 1177 | 1157 | 1078 | 985 | 772 | 658 | 1001 | 1155 | 1169 | 1208 | 1224 | 1314 | 12898
2018-10-27 | 554 | 653 | 494 | 573 | 490 | 533 | 564 | 382 | 327 | 225 | 360 | 352 | 5507
2018-10-28 | 851 | 1228 | 861 | 1177 | 1001 | 1044 | 1180 | 1365 | 828 | 1362 | 1226 | 1357 | 13480
2018-10-29 | 895 | 1136 | 931 | 1084 | 521 | 918 | 1183 | 1324 | 860 | 1472 | 1428 | 1544 | 13296
2018-10-30 | 1743 | 1760 | 1696 | 1495 | 1506 | 1555 | 1517 | 1042 | 1103 | 1077 | 1104 | 1060 | 16658
2018-10-31 | 5303 | 5164 | 4983 | 4423 | 4034 | 3902 | 3958 | 2921 | 3137 | 3177 | 3275 | 3257 | 47534
Total | 42723 | 39083 | 40524 | 39758 | 35781 | 36398 | 34977 | 38656 | 39440 | 35996 | 37895 | 37686 | 458917