## Project Details
Title of the project activity | 9.6 MW Wind Energy Project at Jamvadi & Navagam & Kalavad, Jamnagar, Gujarat, India of Rohit Surfactants Pvt. Ltd.
Version of ER- Sheet | 1
GS Reference number of the project activity | 7589
https://registry.goldstandard.org/projects/details/2204
Monitoring period number and duration of this monitoring period | Monitoring period No: 01
01/04/2020 to 07/09/2021 (Both days Included)
No. of Days in the current Monitoring Period | 525
Annual (365 Days) estimation of Clean Electricity as per Registered PDD | 14019
Annual (365 Days) estimation of Emission Reduction as per Registered PDD | 12932
Estimated amount of clean electricity for this monitoring period in the registered PDD (MWh) | 20164.3151
Estimated amount of GHG emission reductions or net anthropogenic GHG removals by sinks for this monitoring period in the registered PDD (tCO2e) | 18600
Actual CERs Obtained during the current Monitoring Period (tCO2e) | 17979
% Change in estimation values | 3.339%
Vintage wise Calculation
|  | Year | SDG 7 | SDG 13 | SDG 8 ( Employment):[Skilled+Unskilled] | SDG 8 ( Trainings )
|  | 2020 | 9005.4152 | 8307.4955 | 16:[11+5] | 2
|  | 2021 | 10484.1709 | 9671.6477 | 16:[11+5] | 3
|  | Total | 19489.5861 | 17979.1432 | 32:[22+10] | 5

## Emission Reduction Calculation
Month | Quantity of net electricity supplied to the grid as a result of the implementation of the CDM project activity in year y, EGBL, y with double of accuracy class error factor (whereever delay in calibration applicable) | Baseline emission factor in tCO2/MWh EFCO2, grid, y | Baseline Emissins BEy = EGBL, y * EFCO2, grid, y | Project Emissions, PEy | Leakage, Ly | Emisssion Reduction ERy= BEy-PEy-Ly
2020-04-01 | 1180.253 | 0.9225 | 1088.7834 | 0 | 0 | 1088.7834
2020-05-01 | 1774.091 | 0.9225 | 1636.5989 | 0 | 0 | 1636.5989
2020-06-01 | 793.2702 | 0.9225 | 731.7917 | 0 | 0 | 731.7917
2020-07-01 | 592.934 | 0.9225 | 546.9816 | 0 | 0 | 546.9816
2020-08-01 | 1486.139 | 0.9225 | 1370.9632 | 0 | 0 | 1370.9632
2020-09-01 | 410.688 | 0.9225 | 378.8597 | 0 | 0 | 378.8597
2020-10-01 | 593.829 | 0.9225 | 547.8073 | 0 | 0 | 547.8073
2020-11-01 | 1059.951 | 0.9225 | 977.8048 | 0 | 0 | 977.8048
2020-12-01 | 1114.26 | 0.9225 | 1027.9048 | 0 | 0 | 1027.9048
2021-01-01 | 1195.242 | 0.9225 | 1102.6107 | 0 | 0 | 1102.6107
2021-02-01 | 774.647 | 0.9225 | 714.6119 | 0 | 0 | 714.6119
2021-03-01 | 878.162 | 0.9225 | 810.1044 | 0 | 0 | 810.1044
2021-04-01 | 888.195 | 0.9225 | 819.3599 | 0 | 0 | 819.3599
2021-05-01 | 1481.7 | 0.9225 | 1366.8682 | 0 | 0 | 1366.8682
2021-06-01 | 1550.2312 | 0.9225 | 1430.0883 | 0 | 0 | 1430.0883
2021-07-01 | 2343.958 | 0.9225 | 2162.3013 | 0 | 0 | 2162.3013
2021-08-01 | 1163.003 | 0.9225 | 1072.8703 | 0 | 0 | 1072.8703
2021-09-07 | 209.0327 | 0.9225 | 192.8327 | 0 | 0 | 192.8327
Total | 19489.5861 |  | 17979 | 0 | 0 | 17979

## Generation Details
Month | Quantity of net electricity supplied to the grid as a result of the implementation of the CDM project activity in year y EG BL, y (taken from GETCO share certificates) (MWh) | Quantity of net electricity supplied to the grid as a result of the implementation of the CDM project activity in year y EG BL, y (taken from respective Invoices) (KWh) | Quantity of net electricity supplied to the grid as a result of the implementation of the CDM project activity in year y EG BL, y (taken from GETCO share certificates) (MWh) with double of accuracy class error factor (wherever applicable) | Quantity of electricity exported to GUVNL facility EGy, Export (KWh) | Quantity of electricity imported from GUVNL facility EGy,Import (KWh)
2020-04-01 | 1180.253 | 1180253 | 1180.253 | 52512000 | 0
2020-05-01 | 1774.091 | 1774091 | 1774.091 | 74734000 | 1000
2020-06-01 | 796.456 | 796456 | 793.2702 | 37756000 | 29000
2020-07-01 | 592.934 | 592934 | 592.934 | 23495000 | 40000
2020-08-01 | 1486.139 | 1486139 | 1486.139 | 60532000 | 23000
2020-09-01 | 410.688 | 410688 | 410.688 | 18581000 | 41000
2020-10-01 | 593.829 | 593829 | 593.829 | 28791000 | 12000
2020-11-01 | 1059.951 | 1059951 | 1059.951 | 50045000 | 10000
2020-12-01 | 1114.26 | 1114260 | 1114.26 | 52977000 | 17000
2021-01-01 | 1195.242 | 1195242 | 1195.242 | 57870000 | 4000
2021-02-01 | 774.647 | 774647 | 774.647 | 35428000 | 9000
2021-03-01 | 878.162 | 878162 | 878.162 | 42461000 | 18000
2021-04-01 | 888.195 | 888195 | 888.195 | 39367000 | 6000
2021-05-01 | 1481.7 | 1481700 | 1481.7 | 64701000 | 1000
2021-06-01 | 1556.457 | 1556457 | 1550.2312 | 69278000 | 5000
2021-07-01 | 2343.958 | 2343958 | 2343.958 | 101203000 | 33000
2021-08-01 | 1163.003 | 1163003 | 1163.003 | 25071000 | 29000
2021-09-07 | 641.747 | 641747 | 209.0327 | 23036000 | 29000
Total | 19931.712 |  | 19489.5861 | 857838 | 307
| Note 1 |  | Since delay in calibration frequency has been observed as per the registered PDD, and breakup of export and import is not available for this parameter hence error factor has been applied double than that of accuracy class of meters to retain conservativeness. The accuracy class of meter is 0.2%, thus double of accuracy class i.e 0.4% error factor is applied for net electricty supplied to grid parameter as a most conservative approach.
Note on E20: Abhishek Anjan: The Net Export value has been apportioned in accordance with the DGR
Note on F21: Abhishek Anjan: Value in MWh
Note on G21: Abhishek Anjan: Value in MWh

## SubstationMeter Readings
S.NO. | DATE |  | TRANFORMER NO-01 |  |  | TRANSFORMER NO-02 |  |  | TRANSFORMER NO-03 |  |  | TRANSFORMER NO-04 |  |  | TOTAL Import_KWH | TOTAL Export_KWH | TOTAL NETKWh
|  |  | EXPORT KWh | IMPORT KWh | NET KWh | EXPORT KWh | IMPORT KWh | NET KWh | EXPORT KWh | IMPORT KWh | NET KWh | EXPORT KWh | IMPORT KWh | NET KWh
1 | 2020-04-01 | 2020-05-01 | 12182000 | 0 | 12182000 | 12237000 | 0 | 12237000 | 12053000 | 0 | 12053000 | 16040000 | 0 | 16040000 | 52512000 | 0 | 52512000
2 | 2020-05-01 | 2020-06-01 | 17464000 | 1000 | 17463000 | 17678000 | 0 | 17678000 | 18090000 | 0 | 18090000 | 21502000 | 0 | 21502000 | 74734000 | 1000 | 74733000
3 | 2020-06-01 | 2020-07-01 | 8394000 | 7000 | 8387000 | 8521000 | 8000 | 8513000 | 9457000 | 7000 | 9450000 | 11384000 | 7000 | 11377000 | 37756000 | 29000 | 37727000
4 | 2020-07-01 | 2020-08-01 | 5441000 | 7000 | 5434000 | 4791000 | 9000 | 4782000 | 3995000 | 16000 | 3979000 | 9268000 | 8000 | 9260000 | 23495000 | 40000 | 23455000
5 | 2020-08-01 | 2020-09-01 | 14166000 | 6000 | 14160000 | 13848000 | 5000 | 13843000 | 14575000 | 6000 | 14569000 | 17943000 | 6000 | 17937000 | 60532000 | 23000 | 60509000
6 | 2020-09-01 | 2020-10-01 | 4574000 | 12000 | 4562000 | 4252000 | 9000 | 4243000 | 4345000 | 9000 | 4336000 | 5410000 | 11000 | 5399000 | 18581000 | 41000 | 18540000
7 | 2020-10-01 | 2020-11-01 | 7321000 | 5000 | 7316000 | 5834000 | 3000 | 5831000 | 6526000 | 2000 | 6524000 | 9110000 | 2000 | 9108000 | 28791000 | 12000 | 28779000
8 | 2020-11-01 | 2020-12-01 | 12550000 | 2000 | 12548000 | 10492000 | 3000 | 10489000 | 10884000 | 3000 | 10881000 | 16119000 | 2000 | 16117000 | 50045000 | 10000 | 50035000
9 | 2020-12-01 | 2021-01-01 | 13643000 | 5000 | 13638000 | 11153000 | 4000 | 11149000 | 11466000 | 4000 | 11462000 | 16715000 | 4000 | 16711000 | 52977000 | 17000 | 52960000
10 | 2021-01-01 | 2021-02-01 | 15847000 | 0 | 15847000 | 12069000 | 1000 | 12068000 | 14265000 | 1000 | 14264000 | 15689000 | 2000 | 15687000 | 57870000 | 4000 | 57866000
11 | 2021-02-01 | 2021-03-01 | 7855000 | 3000 | 7852000 | 8822000 | 3000 | 8819000 | 9454000 | 2000 | 9452000 | 9297000 | 1000 | 9296000 | 35428000 | 9000 | 35419000
12 | 2021-03-01 | 2021-04-01 | 8996000 | 4000 | 8992000 | 10430000 | 4000 | 10426000 | 11290000 | 5000 | 11285000 | 11745000 | 5000 | 11740000 | 42461000 | 18000 | 42443000
13 | 2021-04-01 | 2021-05-01 | 9255000 | 2000 | 9253000 | 9267000 | 2000 | 9265000 | 10358000 | 1000 | 10357000 | 10487000 | 1000 | 10486000 | 39367000 | 6000 | 39361000
14 | 2021-05-01 | 2021-06-01 | 14866000 | 1000 | 14865000 | 14877000 | 0 | 14877000 | 17402000 | 0 | 17402000 | 17556000 | 0 | 17556000 | 64701000 | 1000 | 64700000
15 | 2021-06-01 | 2021-07-01 | 15995000 | 1000 | 15994000 | 15959000 | 2000 | 15957000 | 18599000 | 1000 | 18598000 | 18725000 | 1000 | 18724000 | 69278000 | 5000 | 69273000
16 | 2021-07-01 | 2021-08-01 | 23281000 | 8000 | 23273000 | 23319000 | 7000 | 23312000 | 26949000 | 9000 | 26940000 | 27654000 | 9000 | 27645000 | 101203000 | 33000 | 101170000
17 | 2021-08-01 | 2021-09-01 | 3054000 | 6000 | 3048000 | 8037000 | 8000 | 8029000 | 6947000 | 8000 | 6939000 | 7033000 | 7000 | 7026000 | 25071000 | 29000 | 25042000
18 | 2021-09-01 | 2021-10-01 | 3118000 | 7000 | 3111000 | 7147000 | 7000 | 7140000 | 6733000 | 7000 | 6726000 | 6038000 | 8000 | 6030000 | 23036000 | 29000 | 23007000
TOTAL |  |  | 198002000 | 77000 | 197925000 | 198733000 | 75000 | 198658000 | 213388000 | 81000 | 213307000 | 247715000 | 74000 | 247641000 | 857838000 | 307000 | 857531000

## DGR_Sept 2021
| Net Export from 01/09/2021 to 30/09/2021 in KWh |  |  |  |  | 664669
| Net Export from 01/09/2021 to 07/09/2021 in KWh |  |  |  |  | 216499
| Generation Ratio |  |  |  |  | 0.32572
| Export as per GETCO Share Certificate from 01/09/2021 to 30/09/2021 in KWh |  |  |  |  | 641747
| Apportioned value of Net Export from 01/09/2021 to 07/09/2021 in KWh |  |  |  |  | 209032.7422
| Apportioned value of Net Export from 01/09/2021 to 07/09/2021 in MWh |  |  |  |  | 209.0327
Date | RSPLJV-01 (0927) | RSPLJV-02 (0928) | RSPLJV-03 (0929) | RSPLJV-04 (0930) | RSPLJV-05 (0931) | RSPLJV-06 (0932) | RSPLJV-07 (0933) | RSPLDD-08 (01029) | RSPLDD-09 (01030) | RSPLDD-10 (01031) | RSPLDD-11 (10132) | RSPLDD-12 (01033) | Total(KWh)
2021-09-01 | 1821 | 1682 | 1797 | 1789 | 1423 | 1615 | 1736 | 2059 | 2057 | 1907 | 1849 | 1579 | 21314
2021-09-02 | 1368 | 1221 | 1366 | 1109 | 1287 | 1257 | 1246 | 1103 | 1394 | 1253 | 1262 | 1232 | 15098
2021-09-03 | 6509 | 6098 | 6560 | 5823 | 6005 | 6128 | 6217 | 5439 | 6006 | 5907 | 5799 | 5540 | 72031
2021-09-04 | 6019 | 6143 | 5876 | 5606 | 5331 | 5285 | 5159 | 2145 | 4772 | 4765 | 4735 | 4665 | 60501
2021-09-05 | 2131 | 2156 | 1988 | 1862 | 1726 | 1617 | 1792 | 1703 | 1732 | 1905 | 2008 | 1891 | 22511
2021-09-06 | 943 | 893 | 841 | 793 | 712 | 676 | 706 | 911 | 847 | 822 | 861 | 839 | 9844
2021-09-07 | 1328 | 1290 | 1290 | 1309 | 1041 | 1122 | 1130 | 1521 | 1439 | 1292 | 1225 | 1213 | 15200
2021-09-08 | 5081 | 4887 | 4661 | 4396 | 828 | 4318 | 3784 | 5418 | 5646 | 4847 | 5423 | 5308 | 54597
2021-09-09 | 2752 | 2758 | 2631 | 2379 | 289 | 2007 | 2052 | 2250 | 2258 | 2492 | 2532 | 2473 | 26873
2021-09-10 | 1914 | 1866 | 1834 | 1773 | 1740 | 1763 | 1686 | 1776 | 1833 | 2021 | 2140 | 2008 | 22354
2021-09-11 | 2414 | 2194 | 2351 | 2385 | 1912 | 1985 | 2091 | 695 | 680 | 642 | 637 | 669 | 18655
2021-09-12 | 6246 | 5699 | 4999 | 5108 | 4399 | 4719 | 5049 | 0 | 0 | 0 | 0 | 0 | 36219
2021-09-13 | 1260 | 1210 | 1181 | 1120 | 1041 | 732 | 918 | 0 | 0 | 6907 | 0 | 5908 | 20277
2021-09-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2021-09-15 | 9723 | 10861 | 9683 | 8896 | 1 | 1 | 1 | 7612 | 7735 | 1 | 7589 | 1 | 62104
2021-09-16 | 1728 | 1780 | 1765 | 1551 | 36 | 33 | 0 | 0 | 12 | 0 | 0 | 0 | 6905
2021-09-17 | 2170 | 2223 | 2172 | 2093 | 64 | 163 | 0 | 0 | 26 | 0 | 0 | 0 | 8911
2021-09-18 | 1338 | 1415 | 1392 | 1359 | 56 | 125 | 0 | 0 | 0 | 0 | 0 | 0 | 5685
2021-09-19 | 1819 | 1859 | 1703 | 1599 | 272 | 461 | 111 | 0 | 0 | 0 | 0 | 0 | 7824
2021-09-20 | 2111 | 2122 | 2007 | 1866 | 433 | 1154 | 616 | 410 | 0 | 192 | 49 | 262 | 11222
2021-09-21 | 3099 | 2935 | 2620 | 2581 | 778 | 2156 | 1094 | 1240 | 0 | 811 | 491 | 1063 | 18868
2021-09-22 | 4677 | 4497 | 3802 | 3559 | 955 | 3265 | 97 | 1595 | 26 | 1173 | 284 | 1461 | 25391
2021-09-23 | 2457 | 2517 | 852 | 1942 | 1966 | 1829 | 1971 | 1332 | 572 | 1622 | 1123 | 1759 | 19942
2021-09-24 | 1653 | 1643 | 105 | 1511 | 1451 | 1475 | 1379 | 733 | 849 | 1102 | 700 | 1367 | 13968
2021-09-25 | 1988 | 2030 | 249 | 1567 | 1837 | 1916 | 1658 | 347 | 361 | 358 | 338 | 345 | 12994
2021-09-26 | 702 | 760 | 226 | 672 | 552 | 591 | 603 | 1265 | 1380 | 1315 | 1225 | 1606 | 10897
2021-09-27 | 957 | 1027 | 677 | 1023 | 261 | 739 | 796 | 674 | 642 | 543 | 521 | 47 | 7907
2021-09-28 | 473 | 573 | 519 | 538 | 111 | 602 | 605 | 585 | 603 | 471 | 496 | 526 | 6102
2021-09-29 | 2791 | 2794 | 515 | 580 | 68 | 535 | 522 | 1491 | 303 | 884 | 1199 | 3267 | 14949
2021-09-30 | 8851 | 6964 | 301 | 295 | 2277 | 1630 | 1304 | 2172 | 1703 | 286 | 1177 | 8566 | 35526
Total | 86323 | 84097 | 65963 | 67084 | 38852 | 49899 | 44323 | 44476 | 42876 | 43518 | 43663 | 53595 | 664669