Key Project Information & project Design Document (PDD)

###### PUBLICATION DATE  14.10.2020
VERSION  v. 1.2 
RELATED SUPPORT

###### - TEMPLATE GUIDE Key Project Information & Project Design Document v.1.2

This document contains the following Sections

Key Project Information

SECTION A – Description of project

SECTION B - Application of approved Gold Standard Methodology (ies) and/or    demonstration of SDG Contributions

SECTION C – Duration and crediting period

SECTION D – Summary of Safeguarding Principles and Gender Sensitive Assessment

SECTION E – Outcome of Stakeholder Consultations

Appendix 1 – Safeguarding Principles Assessment (mandatory)

Appendix 2 - Contact information of Project participants (mandatory)

Appendix 3 - LUF Additional Information (project specific)

Appendix 3 - Summary of Approved Design Changes (project specific)

### KEY PROJECT INFORMATION

| GS ID of Project | GS735 |
| --- | --- |
| Title of Project | Aliağa Wind Farm |
| Time of First Submission Date | 27/05/2011 |
| Date of Design Certification | 03/04/2012 |
| Version number of the PDD | 06 |
| Completion date of version | 09/03/2023 |
| Project Developer | Bergama RES Enerji Üretim A.Ş. |
| Project Representative | Bergama RES Enerji Üretim A.Ş. |
| Project Participants and any communities involved | Bergama RES Enerji Üretim A.Ş. |
| Host Country (ies) | Turkey |
| Activity Requirements applied | Community Services Activities Renewable Energy Activities Land Use and Forestry Activities/Risks & Capacities N/A |
| Scale of the project activity | Micro scale Small Scale Large Scale |
| Other Requirements applied | N/A |
| Methodology (ies) applied and version number | 01- ACM0002: Grid-connected electricity generation from renewable sources --- Version 20.0 |
| Product Requirements applied | GHG Emissions Reduction & Sequestration Renewable Energy Label N/A |
| Project Cycle: | Regular Retroactive |

Table 1 – Estimated Sustainable Development Contributions

| ## Sustainable Development Goals Targeted | ## SDG Impact (defined in B.6.) | ## Estimated Annual Average | ## Units or Products |
| --- | --- | --- | --- |
| ## SDG 13 Climate Action | ## Emission Reductions | ## CO2: 191,154 tCO2/yr VERs |  |
| ## SDG 7 Affordable and clean energy | ## MWh of renewable energy generated | ## 294,900 MWh/yr MWh/yr |  |
| ## SDG 8 Decent work and economic growth | ## Number of employees and Training given | ## 15 people Number ## 1 Training/employee/yr |  |

#### SECTION A. DESCRIPTION OF PROJECT

##### A.1 Purpose and general description of project

Bergama RES Enerji Üretim A.Ş., installed 36 wind turbines, each having a capacity of 2.5 MW with a total capacity of 90 MW (Aliağa WFP). EMRA granted Aliağa WFP with a Generation License on 17/07/2008. The partial commissioning was achieved on 09/04/2010 and the complete commissioning on 16/06/2010. With a total capacity of 90 MW, the plant's estimated electricity generation is 294,900 MWh per year. The voltage is stepped up to 154 kV, and the power is fed to the grid through the Viking TM (Substation) of the Turkish Electricity Transmission Company (TEİAŞ). An estimated generation of 294.9 GWh per year by the efficient utilization of the available wind energy by project activity replaces the grid electricity, which comprises different fuel sources, mainly fossil fuels. EMRA revised the Generation License of the Project Activity on 13/03/2013 to have a total capacity of 120 MW. On 01/07/2016, two additional turbines, each having a capacity of 3.0 MW, started generating electricity and on 02/09/2016, two other additional turbines, each having a capacity of 3.0 MW started generating electricity and lastly on 12/08/2018, six additional turbines, each having a capacity of 3.0 MW, so that the total capacity of the project reached 120 MW. There are currently 46 wind turbines operating in the project activity. As per the Generation License for the installed capacity of 120 MW, the Project Activity will produce 420,000 MWh of electricity per year. However, since the Project did not undergo a design change procedure under GS, emission reduction claims will be conducted with the 90 MW registered capacity. As per the registered PDD for 90 MW registered capacity a 294,900 MWh electricity will be generated yearly. Considering this yearly generation amount stated in the license, the project activity will result in an annual emission reduction of 191,154 tons of CO2e. Moreover, project activities will further disseminate wind energy and extension of national power generation.

Table 2: Project Implementation Schedule

| Date (DD/MM/YYYY) | Activity |
| --- | --- |
| 02/06/2008 | Investment decision Date |
| 17/07/2008 | Generation License Date |
| 08/10/2008 | Signing of VERPA Agreement |
| 07/11/2008 | Local Stakeholder Meeting |
| 07/04/2009 | Revision of Generation License |
| 08/05/2009 | Turbine Supply and Installation Agreement |
| 20/05/2009 | Agreement with the VVB |
| 17/07/2009 | Construction/ Recruitment Start Date |
| 25/08/2009 | Site Visit Conducted |
| 03/09/2009 | LSC Report Uploaded to GS Registry |
| 15/10/2009 | LSC Feedback report uploaded |
| 09/04/2010 | Start Date of First Crediting Period |
| 09/04/2010 | Partial Commissioning Date |
| 16/06/2010 | Full Commissioning Date |
| 09/04/2010 – 31/12/2011 | First Monitoring Period |
| 01/01/2012 – 30/06/2012 | Second Monitoring Period |
| 03/04/2012 | Gold Standard Registration |
| 01/07/2012 – 31/12/2012 | Third Monitoring Period |
| 13/03/2013 | Revision of the Generation License for 120 MW |
| 26/08/2013 | Date of “EIA is not Required” Certificate |
| 01/07/2016 | Operation Start date of two additional turbines |
| 12/08/2016 | Operation Start date of six additional turbines |
| 02/09/2016 | Operation Start date of two additional turbines |
| 08/04/2017 | End Date of the First Crediting Period |
| 09/04/2017 | Start Date of the Second Crediting Period |
| 08/04/2024 | End Date of the Second Crediting Period |

The Project Activity has undergone three verifications, as seen from the above table. However, between 01/01/2013 – 08/04/2017, no verification was conducted due to the fact that the VER credits prices were quite low during those times in which this project should have held its verification process. Unfortunately, considering the cost of consultancy, VVB and GS fees for a verification process, it was not additional financial burden for Project Owner without meaningful revenue, to verify and issue the associated VERs. This was why the Project Owner of Soma Wind Power Plant did not initiate a verification process back then.

Eligibility of the project under Gold Standard

The project activity meets the eligibility criteria as per section 3.1.1 of the GS4GG Principles & Requirements document as described below:

- The Project applies ACM0002: Grid-connected electricity generation from renewable sources --- Version 20.0.

- The project type is power generation using Wind Energy, an eligible project type per 2.1.2 a) and 2.1.2 b) of the Eligible Project Types under Renewable Energy Activity Requirements.

- The project activity results in the displacement of electricity from thermal power plants while contributing to the sustainable development of Turkey. Hence, the Project contributes to the Gold Standard Vision and Mission.

- Wind power is an approved project type and does not require approval from Gold Standard.

- This project activity is not associated with geo-engineering or energy generated from fossil fuel or nuclear fossil fuel switch, nor does it enhance or prolong such energy generation.

- The Project is not registered with any other schemes.

- General Eligibility Criteria under Renewable Energy Activity Requirements Project Type: The project type is eligible as discussed above. Aliaga WFP is a wind power project. There is no change regarding the type of the project during this renewal of the crediting period.

- Project Location: The Project is located in Turkey, which is not located in an HCV area. The location of the project is given under Section A.2 of this report. For this renewal of crediting period, there is no change in the location of the Aliaga WFP.  Aliaga wind farm project seeks registration only in the GS4GG program. The proposed project activity has not participated in other emissions trading programs, other binding limits, other forms of environmental credits or other GHG programs. Any other GHG programs do not reject this Project. Therefore, no double counting of impacts is potentially in this project activity. This information is confirmed in the no-double counting declaration by the project owner. Thus, the Project is eligible.

- Project Scale: The Project is a large-scale project.

- Host Country Requirements: There are no additional laws that came into force that have an impact on the project activity, and the project activity is still in line with the available law and regulations. The proposed project activity complies with applicable Turkey's laws and environmental, ecological and social regulations, including the law on investment, the law on environmental protection, the electricity law, the labour code, the law on gender equality, the land law. Bergama RES Enerji Üretim A.Ş. has been granted a generation license as WPP for a 120 MW wind power plant by EMRA. "Environmental Impact Assessment (EIA) Is Not Required" certificate was granted on 26 August 2013 to the Project Activity for 120 MW installed capacity by the Ministry of Environment and Urban Planning.

Contact Details: This information has been given under Appendix 2 in this PDD. There is no change regarding information about the contact details of the Aliaga WFP.

- Legal Ownership: This information has been given in PDD. The Legal Ownership specified in the first crediting period has not changed after the renewal of crediting period. Bergama RES Enerji Üretim A.Ş. which is legal developer and owner of the project.

- Other Rights: This information has been given in PDD. The legal rights specified in this crediting period have not changed after the crediting period renewal process. Bergama RES Enerji Üretim A.Ş. has the legal rights for the VER credits that will be issued under Gold Standard.

- Official Development Assistance (ODA) Declaration: The project developer has already submitted the Official Development Assistance (ODA) declaration.

- The project helps Turkey stimulate and commercialise the use of grid-connected renewable energy technologies and markets. After the renewal of crediting period, the project type has not changed. So, it is still an eligible type under Gold Standard for the Global Goals. In addition, Aliaga WFP demonstrates its contribution to the Sustainable Development Goals and impact on SDG 13, SDG 8 and SDG 7. The project contributed to mentioned SDGs (SDG 13, SDG 8 and SDG 7) before the renewal of crediting period.  The project also will continue to contribute with many Safeguarding Principles as it did in the first crediting period. There was no update after the renewal of crediting period regarding this issue.

- The emissions reduction calculations are based on two main parameters: the energy produced and the grid emission factor. The project baseline is still the “ACM0002 “Grid-connected electricity generation from renewable sources”.  The project activity is still in line with the first crediting period. There will be no changes to the Eligibility Principles, Criteria and Requirements during this new crediting period.

- After the renewal of crediting period, there were no updates to the Gold Standard activity, product, and methodology specific Requirements. For this crediting period, the specified product requirements are the same; Product Requirements applied: GHG Emissions Reduction & Sequestration, Units/Products: VERs

Aliaga WFP is not registered with any other voluntary or compliance schemes, and no potential exists for double counting of impacts. No GHG related environmental credits are applied to the Turkish power sector. Moreover, Turkey's GS735 Aliaga Wind Farm Project is not included in an ETS or other GHG trading mechanism. Since an ETS is not implemented in Turkey, an emission reduction cap has not been enforced for any sector. As an ETS is not implemented in Turkey, no double-counting risk exists for Turkey and this project.

This information is confirmed in the no-double counting declaration by the Bergama RES Enerji Üretim A.Ş. If any such risk of double counting exists in Turkey, the Project Developer (Bergama RES Enerji Üretim A.Ş.) shall retire eligible units equal to the quantity of Gold Standard VERs.

Legal ownership of products generated by the project and legal rights to alter use of resources required to service the project

Bergama RES Enerji Üretim A.Ş. is the developer and owner of the Project. The Republic of Turkey is the host country. Turkey has recently ratified the Kyoto Protocol (on 5 February of 2009). Turkish National Focal Point to the UNFCCC is the Ministry of Environment and Forestry.

As the project developer, Bergama RES Enerji Üretim A.Ş. believes that efficient utilization of all kinds of natural resources with harmony coupled with responsible environmental considerations is vital for the sustainable development of Turkey and the World. This has been a guiding factor for the shareholders towards the designation and installation of a wind power project. Other than the objective of climate change mitigation through a significant reduction in greenhouse gas (GHG) emissions, the Project has been carried out to provide a social and economic contribution to the region in a sustainable way. The benefits that the realization of the Project will gain compared to the business-as-usual scenario can be summarized under four primary indicators:

Environmental

The project activities replace the grid electricity, which comprises different fuel sources causing greenhouse gas emissions. By substituting in the consumption of these fuels, it contributes to the conservation of water, soil, flora, and faunas. It transfers these natural resources and the additional supply of these primary energy sources to future generations. In the absence of the project activity, an equivalent amount of electricity would have been generated from the power plants connected to the grid, most of which are based on fossil fuels. Thus, the Project is replacing the greenhouse gas emissions (CO2, CH4) and other pollutants (SOX, NOX, particulate matters) from extraction, processing, transportation, and burning of fossil fuels for power generation connected to the national grid.

Economical

Firstly, the Project helps accelerate the growth of the wind power industry and stimulate the designation and production of renewable energy technologies in Turkey. Then, other entrepreneurs, irrespective of the sector, are encouraged to invest in wind power generations. It also assists in reducing Turkey’s increasing energy deficit and diversifying the electricity generation mix while reducing import dependency. Importantly, rural development is maintained in the areas around the project site by providing infrastructural investments to these remote villages.

Social

All project activities enhance local employment during the construction and operation of the wind farm. As a result, increased job opportunities and project trade activities partially eliminated local poverty and unemployment. Construction materials for the foundations, cables, and other auxiliary equipment were preferentially sourced locally. Moreover, as a contribution of the Project to the region's welfare, the quality of the electricity consumed in the region is increased by local electricity production, which also contributes to decreasing distribution losses.

Technological

The proposed Project's implementation contributes to the broader deployment of wind power technology locally and nationally. It demonstrates the viability of larger grid-connected wind farms that support improved energy security, alternative sustainable energy, and renewable energy industry development. This will also strengthen the pillars of the Turkish electricity supply based on ecologically sound technology.

##### A.2 Location of project

The turbines are located on top of the four hills, namely Danişment, Dutluyayla, Halayık and Sıyırdım. The residential areas nearby are İsmailli, Seklik and Atçılar. Seklik Village and Atçılar Villages are approximately 1 km away, and İsmailli Village is 2 km away from the Project Area; the closest turbine to the nearest house in Seklik village is the turbine numbered T48 about 600 m away.

Figure 1. Location of Project Activity

Figure 2. Location of Turbines

Table 3: Geographical Coordinates of the turbines operational in the Project Activity

| Wind Turbine No. | Latitude (E) | Longitude (N) | Wind Turbine No. | Latitude (E) | Longitude (N) |
| --- | --- | --- | --- | --- | --- |
| 1 | 51 68 54 | 43 09 160 | 24 | 51 56 69 | 43 06 476 |
| 2 | 51 69 53 | 43 08 893 | 25 | 51 58 35 | 43 06 262 |
| 3 | 51 71 00 | 43 08 549 | 26 | 51 59 50 | 43 06 014 |
| 4 | 51 67 77 | 43 08 033 | 27 | 51 49 33 | 43 08 637 |
| 5 | 51 71 03 | 43 08 152 | 28 | 51 62 97 | 43 05 555 |
| 6 | 51 72 12 | 43 07 907 | 29 | 51 65 28 | 43 05 390 |
| 7 | 51 73 58 | 43 07 663 | 30 | 51 67 43 | 43 05 219 |
| 8 | 51 75 87 | 43 07 526 | 31 | 51 69 90 | 43 05 106 |
| 9 | 51 78 30 | 43 07 424 | 32 | 51 71 78 | 43 04 868 |
| 10 | 51 80 94 | 43 07 362 | 33 | 51 72 46 | 43 04 337 |
| 11 | 51 82 78 | 43 07 172 | 34 | 51 74 56 | 43 04 162 |
| 12 | 51 56 12 | 43 08 895 | 35 | 51 75 79 | 43 03 920 |
| 13 | 51 57 27 | 43 08 637 | 36 | 51 77 04 | 43 03 679 |
| 14 | 51 52 22 | 43 08 540 | 37 | 51 47 21 | 43 07 670 |
| 15 | 51 54 37 | 43 08 354 | 38 | 51 49 81 | 43 07 520 |
| 16 | 51 56 57 | 43 08 197 | 39 | 51 53 01 | 43 07 433 |
| 17 | 51 58 59 | 43 08 019 | 40 | 51 83 01 | 43 07 697 |
| 18 | 51 60 73 | 43 07 830 | 41 | 51 61 18 | 43 08 483 |
| 19 | 51 62 18 | 43 07 602 | 42 | 51 64 51 | 43 08 050 |
| 20 | 51 62 25 | 43 07 149 | 43 | 51 67 13 | 43 09 419 |
| 21 | 51 64 87 | 43 06 972 | 44 | 51 82 44 | 43 08 429 |
| 22 | 51 53 58 | 43 06 901 | 45 | 51 82 63 | 43 08 120 |
| 23 | 51 54 90 | 43 06 677 | 46 | 51 85 75 | 43 07 200 |

##### A.3 Technologies and/or measures

The project currently comprises 46 wind turbines, 36 of which have a unit capacity of 2500 kW, and 10 of them have a unit capacity of 3000 kW. Nordex is decided as an equipment provider due to the outstanding features of its product regarding safety factors, simple, durable design for low maintenance and long-life operation, high efficiency, and pleasing visual appearance. The key parameters about the technical design of the selected model Nordex N90 turbines are listed below in Table 4; and, the key parameters about the technical design of the chosen model Nordex N117 turbines are listed below in tables 4 and 5.

Table 4: Technical specifications of Nordex N90 turbines

| Specifications | Nordex N90 |
| --- | --- |
| Rated Power (kW) | 2,500 |
| Rotor Diameter (m) | 90 |
| Hub Height (m) | 80 |
| Num. of Blades | 3 |
| Swept Area (m²) | 6,362 |
| Cut-out wind speed (m/s) | 25 |

Table 5: Technical specifications of Nordex N117 turbines

| Specifications | Nordex N117 |
| --- | --- |
| Rated Power (kW) | 3,000 |
| Rotor Diameter (m) | 116,8 |
| Hub Height (m) | 91 |
| Num. of Blades | 3 |
| Swept Area (m²) | 10,715 |
| Cut-out wind speed (m/s) | 25 |

The project activity will achieve emission reductions by avoiding CO2 emissions from the business-as-usual scenario electricity generation produced by mainly fossil fuel-fired power plants within the Turkish national grid (Figure 2). Total emission reduction over the 7-year crediting period is expected to reach 1,133,895 tCO2e with the assumed annual total registered net electricity generation of 294,900 MWh.

Figure 3. Share of Sources in Electricity Generation 2019

Although Turkey has an excellent wind resource, substantial space, a reasonably good electrical infrastructure, and an impending electricity shortage, it uses negligible capacity (less than 4%) of its onshore potential, estimated as 39,791 MW by the Renewable Energy General Directorate. Lack of attractive incentives and tax advantages, limited grid access, and limited turbine supply constitutes the significant barriers to wind energy.

Renewable energy law, enacted in 2005, which had amendments at the end of 2010 regarding feed-in tariffs, stipulates a purchase obligation by the retail companies for 10 years with a purchase price of 7.3 USD/kWh (~5.5 €c/kWh) for the power plants put in operation by the end of 2015. This tariff was much below the average remuneration in the leading wind markets. It did not constitute a sufficient incentive for investments in Turkey's minor experienced wind energy sector. The revenues calculated according to these regulations are considered in the investment planning of the projects. They do not lead to returns that allow the Project to be profitable or attractive for capital investors and lenders.

These numbers and figures show the contribution of a wind power project like Aliaga WFP to the development of environmentally friendly electricity generation instead of the described Turkish mix of hydroelectric and fossil-fuelled power plants, which are better known financially more attractive from an investor's point of view. The emission reductions would not occur in the absence of the proposed project activity because of various real and perceived risks that impede the provision of financing.

Aliaga WFP, as a large wind power plant project, is a perfect project to demonstrate the long-term potential of wind energy to efficiently reduce GHG emissions and diversify and increase the security of the local energy supply contributing to sustainable development. Wind-driven turbines will rotate in generators, and electricity generated here will be transferred to the grid for the consumer without any greenhouse gas emissions. The Gold Standard certification shall help realize this seminal technology by compensating for the lack of financial incentives in the Turkish renewable energy market.

The second 7-year crediting period is expected to be from 09/04/2017 to 08/04/2024.

The end date for the First Crediting Period was 08/04/2017. For this reason, the CPII start date is now set as 09/04/2017. And accordingly, the end date of the CPII is now set as 08/04/2024. Due to a delay in the completion of re-validation beyond the last date of the Second Crediting Period, no ERs will be issued for the delay period. The first submission to GS for the design certification renewal is on 18/07/2022. The Project Activity will be eligible to certify the period from 18/07/2022 to 08/04/2024.

Voluntary carbon markets sustained a loss after 2012, which has continued until 2020. Carbon certification processes created an extra expense, not revenue, for this period. Due to low VER credits prices, it was an additional financial burden for Project Owner without meaningful revenue to take action considering the cost of consultancy, VVB and GS fees. Since the carbon credits sold were low in the market during this period, the project proponent wanted to observe the market and wait a little bit for meaningful revenue. However, Project Owner started the certification process as soon as the conditions prevailed.

##### A.4 Scale of the project

Since the Project's installed capacity per license issued by EMRA (Energy market Regulatory Authority) is 120.0 MWe, which consists of a total of 46 turbines ((36x2.5 MWe) + (10x3.0 MWe)), the Aliaga WFP project is a large-scale project.

##### A.5 Funding sources of project

A significant amount of bank loan has been received for this project. Therefore, the project activity doesn't have any public funding or Official Development Assistance (ODA) funding.

#### SECTION B. APPLICATION OF APPROVED GOLD STANDARD METHODOLOGY (IES) AND/OR DEMONSTRATION OF SDG CONTRIBUTIONS

##### B.1. Reference of approved methodology (ies)

For the determination of the baseline, the official methodology ACM0002 version 20.0.0, "Grid-connected electricity generation from renewable sources" , is applied, using conservative options and data as presented in the following section. This methodology refers to four Tools, which are:

1.	Tool to calculate the emission factor for an electricity system (Version 07.0.0);

2.	Tool for the demonstration and assessment of additionality (Version 5.2);

3.	Tool to determine the remaining lifetime of equipment (Version 01.0.0)

4.	Assessment of the validity of the original/current baseline and update of the baseline at the renewal of the crediting period (Version 03.0.1)

##### B.2. Applicability of methodology (ies)

The choice of methodology ACM0002 v20 is justified as the proposed project activity meets its applicability criteria:

| Applicability Conditions of ACM002 | Applicability to This Project Activity |
| --- | --- |
| This methodology is applicable to grid-connected renewable energy power generation project activities that: - Install a Greenfield power plant; - Involve a capacity addition to (an) existing plant(s) - Involve a retrofit of (an) existing operating plants/units - Involve a rehabilitation of (an) existing plant(s)/unit(s) or - Involve a replacement of (an) existing plant(s)/unit(s) | Aliaga WFP is a grid-connected renewable power generation project activity that install a wind power plant at a site where no renewable power plant was operated prior to the implementation of the project activity (Greenfield plant). Thus, it meets the said applicability condition. |
| The project activity may include renewable energy power plant/unit of one of the following types: hydro power plant/unit with or without reservoir, wind power plant/unit, geothermal power plant/unit, solar power plant/unit, wave power plant/unit or tidal power plant/unit. | The project activity is the installation of 46 wind turbine generators (as previously discussed). Hence, meets this criterion. |
| In the case of capacity additions, retrofits, rehabilitations or replacements (except for wind, solar, wave or tidal power capacity addition projects the existing plant/unit started commercial operation prior to the start of a minimum historical reference period of five years, used for the calculation of baseline emissions and defined in the baseline emission section, and no capacity expansion, retrofit, or rehabilitation of the plant/unit has been undertaken between the start of this minimum historical reference period and the implementation of the project activity. | The project activity does not involve capacity additions, retrofits, rehabilitations or replacements. Hence this criterion is not applicable to the project activity. |
| In case of hydro power plants, one of the following conditions shall apply: - The project activity is implemented in existing single or multiple reservoirs, with no change in the volume of any of the reservoirs, or - The project activity is implemented in existing single or multiple reservoirs, where the volume of the reservoir(s) is increased and the power density calculated using equation (3), is greater than 4 W/m2, or - The project activity results in single or multiple reservoirs and the power density, calculated using equation (3), is greater than 4 W/m2 or - The project activity is an integrated hydro power project involving multiple reservoirs, where the power density for any of the reservoirs, calculated using equation (3), is lower than or equal to 4 W/m2, all of the following conditions shall apply: - The power density calculated using the total installed capacity of the integrated project, as per equation (4), is greater than 4 W/m2 - (ii) Water flow between reservoirs is not used by any other hydropower unit which is not a part of the project activity - Installed capacity of the power plant(s) with power density lower than or equal to 4 W/m2 shall be: - Lower than or equal to 15 MW, and - Less than 10 per cent of the total installed capacity of integrated hydro power project | The project activity is not a hydro power plant. Hence this applicability criterion is not relevant to the project activity. |
| In the case of integrated hydro power projects, project proponent shall: - Demonstrate that water flow from upstream power plants/units spill directly to the downstream reservoir and that collectively constitute to the generation capacity of the integrated hydro power project, or - Provide an analysis of the water balance covering the water fed to power units, with all possible combinations of reservoirs and without the construction of reservoirs. The purpose of water balance is to demonstrate the requirement of specific combination of reservoirs constructed under CDM project activity for the optimization of power output. This demonstration has to be carried out in the specific scenario of water availability in different seasons to optimize the water flow at the inlet of power units. Therefore this water balance will take into account seasonal flows from river, tributaries (if any), and rainfall for minimum five years prior to implementation of CDM project activity. | The project activity is not a hydro power plant. Hence this applicability criterion is not relevant to the project activity. |
| The methodology is not applicable to: - Project activities that involve switching from fossil fuels to renewable energy sources at the site of the project activity, since in this case the baseline may be the continued use of fossil fuels at the site; - Biomass fired power plants/units | Project activity does not involve: - Switching from fossil fuels to renewable energy sources at the site of the project activity. - Biomass fired plants. Hence this criterion is not applicable. |
| In the case of retrofits, rehabilitations, replacements, or capacity additions, this methodology is only applicable if the most plausible baseline scenario, as a result of the identification of baseline scenario, is “the continuation of the current situation, i.e. to use the power generation equipment that was already in use prior to the implementation of the project activity and undertaking business as usual maintenance”. | The project is not a retrofit, rehabilitations, replacements, or capacity addition; hence this applicability criterion is not relevant. |
| In addition, the applicability conditions included in the tools referred to above apply. | Applicability conditions of the applied tool are justified. |

| Applicability Conditions of the Tools employed | Applicability of the Tool to This Project Activity |
| --- | --- |
| Tool to calculate the emission factor for an electricity system (Version 07.0.0) |  |
| - This tool may be applied to estimate the OM, BM and/or CM when calculating baseline emissions for a project activity that substitutes grid electricity that is where a project activity supplies electricity to a grid or a project activity that results in savings of electricity that would have been provided by the grid (e.g. demand-side energy efficiency projects) - Under this tool, the emission factor for the project electricity system can be calculated either for grid power plants only or, as an option, can include off-grid power plants. In the latter case, two sub-options under the step 2 of the tool are available to the project participants, i.e. option IIa and option IIb. If option IIa is chosen, the conditions specified in “Appendix 1: Procedures related to off-grid power generation” should be met. Namely, the total capacity of off-grid power plants (in MW) should be at least 10 per cent of the total capacity of grid power plants in the electricity system; or the total electricity generation by off-grid power plants (in MWh) should be at least 10 per cent of the total electricity generation by grid power plants in the electricity system; and that factors which negatively affect the reliability and stability of the grid are primarily due to constraints in generation and not to other aspects such as transmission capacity. - In case of CDM projects the tool is not applicable if the project electricity system is located partially or totally in an Annex I country. - Under this tool, the value applied to the CO2 emission factor of biofuels is zero | - This condition is applicable to the Project Activity since the project activity substitutes grid electricity, and thus, the Project results in savings of electricity that the grid would have provided. - The emission factor used for this Project Activity has been calculated for grid power plants only. - This Project is not a CDM Project. - This Project Activity doesn’t employ biofuels. |
| Tool for the demonstration and assessment of additionality (Version 5.2) |  |
| - The use of the “Tool for the demonstration and assessment of additionality” is not mandatory for project participants when proposing new methodologies. Project participants may propose alternative methods to demonstrate additionality for consideration by the Executive Board. They may also submit revisions to approved methodologies using the additionality tool. - Once the additionally tool is included in an approved methodology, its application by project participants using this methodology is mandatory | - The additionality of this Project Activity was evaluated at the First Crediting Period employing the Tool for the demonstration and assessment of additionality (Version 5.2). Thus, no new additionality assessment was carried out during this Crediting Period Renewal. - The additionality of this Project Activity was evaluated at the First Crediting Period. Thus, no new additionality assessment was carried out during this Crediting Period Renewal. |
| Tool to determine the remaining lifetime of equipment (Version 01.0.0) |  |
| - The tool may be used for project activities which involve the replacement of existing equipment with new equipment or which retrofit existing equipment as part of energy efficiency improvement activities. | - The tool is used for this Project Activity to determine the project’s total lifetime. Although this Project Activity doesn’t involve the replacement of existing equipment during the Second Crediting Period there were newly added turbines. This tool states that: Project participants may use one of the following options to determine the remaining lifetime of the equipment: (a) Use manufacturer’s information on the technical lifetime of equipment and compare to the date of first commissioning; (b) Obtain an expert evaluation; (c) Use default values. Option c is chosen and the default values stated in the methodology is used. From the table in this tool it can be seen that for the technical lifetime onshore wind turbines 25 years can be accepted. |
| Assessment of the validity of the original/current baseline and update of the baseline at the renewal of the crediting period (Version 03.0.1) |  |
| - This tool provides a stepwise procedure to assess the continued validity of the baseline and to update the baseline at the renewal of a crediting period, as required by paragraph 49 (a) of the modalities and procedures of the clean development mechanism. The tool consists of two steps. The first step provides an approach to evaluate whether the current baseline is still valid for the next crediting period. The second step provides an approach to update the baseline in case that the current baseline is not valid anymore for the next crediting period. | - Detailed assessment of the validity of the original baseline as per the Tool was carried out in Section B.4 of this PDD. Please see Section B.4. |

##### B.3. Project boundary

As per the Approved Large Scale Consolidated Methodology ACM0002, the project boundary is "The spatial extent of the project boundary includes the project power plant and all power plants connected physically to the electricity system that the CDM project power plant is connected to." Correspondingly, the project boundaries include the project site and all power plants attached to the Turkish National Grid in this project activity.

The Project uses wind energy to produce electricity. The kinetic power of the wind is converted to electrical energy, which then will be transferred to the grid. Back-up power generators in the wind farm will only be used when the wind farm is out of service and power cannot be supplied from the grid. Hence, emissions due to usage of backup power generation are expected to be very low and are taken to be zero complying with the Tool.

The project activity and baseline scenario are defined as the greenhouse gasses and emission sources. As a result, the project boundary for Aliaga WFP is as demonstrated in Figure 4 below:

Figure 4. Project Boundary

Based on the above operation diagram, the baseline and project activity related greenhouse gases which are considered in baseline calculation is given below, in Table 6:

Table 6: Emissions sources included in or excluded from the project boundary

| Source |  | GHGs | Included? | Justification/Explanation |
| --- | --- | --- | --- | --- |
| Baseline scenario | CO2 Emissions from electricity generation in fossil fuel-fired power plants that are displaced due to the project activity | CO2 | Yes | Main emission source: Fossil fuels fired for electricity generation cause CO2 emissions. It is included in the baseline calculation to find the displaced amount by the project activity. |
|  |  | CH4 | No | Even though there may be some CH4 and N2O emissions during electricity generation are negligible and not included in the baseline calculation to be conservative and comply with Table-1 of the methodology (ACM0002 v20.0) (page 5). |
|  |  | N2O | No |  |
| Project scenario | Emissions during construction and operation of the project activity | CO2 | No | Even though there may be some CO2 emissions during construction are negligible |
|  |  | CH4 | No | There are no CH4 emissions during construction and operation. |
|  |  | N2O | No | There are no N2O emissions during construction and operation. |

##### B.4. Establishment and description of baseline scenario

The baseline scenario is identified according to the "Baseline Methodology Procedure" of ACM0002 ver.20. The project activity is the installation of a new grid-connected wind farm with 36 turbines and is not modification/retrofit of an existing grid-connected power plant. So, the first identification of this procedure is selected for the proposed project activity, which is described as:

"Electricity delivered to the grid by the project activity would have otherwise been generated by the operation of grid-connected power plants and by the addition of new generation sources, as reflected in the combined margin (CM) calculation of Ministry of Energy and Natural Resources of Turkey".

The methodological tool "Assessment of the validity of the original/current baseline and update of the baseline at the renewal of the crediting period" (version 03.0.1) is adopted to assess the continued validity of the baseline and to update the baseline. This Tool provides a stepwise procedure to determine the continued validity of the baseline and to update the baseline at the renewal of a crediting period, as required by paragraph 49 (a) of the modalities and procedures of the clean development mechanism. According to this tool, the following steps are applied.

Step 1: Assess the validity of the current baseline for the next crediting period

The validity of the current baseline is assessed using the following Sub-steps:

Step 1.1 Assess compliance of the current baseline with relevant mandatory national and/or sectoral policies.

During the First Crediting Period, the baseline scenario for the project had been defined as:

“Electricity delivered to the grid by the project would have otherwise been generated by the operation of grid-connected power plants.”

The current baseline of the project is the same as the first crediting period and complies with the existing legal framework. No additional laws that impacted the project activity came into force, and the project activity is still in line with the available law and regulations.

Step 1.2 Assess the impact of circumstances.

There has been no significant deviation or change in the market characteristic during the first crediting period.

To describe the baseline and its development for the project activity, Turkey's long-term electricity demand and supply projections are assessed.

Turkey's long-term electricity demand and supply projections are assessed to describe the baseline and development for the project activity.

Demand for electricity in Turkey is growing rapidly, with an average of 4.2% for the previous ten years. TEİAŞ, responsible for grid reliability, has prepared an electricity demand projection for the next ten years (2019-2028) for Turkey and announced on July 2019, given in Figure 3 and Figure 4, reflecting the continuation of current demand growth.

Table 7: Low and High Demand Projection Scenarios for Ten Years Period (TWh)

| Scenarios | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| High Scenario | 316,503 | 332,057 | 348,662 | 366,385 | 385,177 | 404,287 | 422,303 | 440,654 | 458,917 | 477,553 |
| Low Scenario | 313,832 | 327,285 | 340,511 | 353,200 | 366,767 | 380,401 | 392,610 | 404,628 | 416,619 | 428,791 |

Figure 5. Electricity Demand Projections for Ten Years

This projection also forecasted electricity supplies considering all operational power plants under construction and newly licensed. Generation projection based on project generation is given in Figure 6.

Figure 6. Total Installed Capacity in Turkey as of the Resources shares (%)

According to the 5-year projection, it is clear that fossil fuels will remain the primary source for electricity generation (46% in 2023). Natural gas will continue to dominate the market while total imported fuel will still be 11%. Hydro will account for 30% of the mix, whereas all non-hydro renewable combined (geothermal/biogas/waste/wind) will be accountable for 15% of all electricity generation. This projection is consistent with continuing fossil fuel-dependent characteristics of the Turkish electricity sector.

Table 8. By Primary Energy Resources, Installed Capacity of Turkey (2009-2019)

|  |  |  |  |  |  |  |  |  | Unit :MW |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Coal | Fuel Oils | Natural Gas | RES (renewable energy sources) + Waste + Waste Heat | Multi Fuel | Hydro | Geothermal | Wind | Solar | TOTAL |
| 2009 | 10,590.3 | 1,699.1 | 11,825.6 | 86.5 | 5,137.6 | 14,553.3 | 77.2 | 791.6 | - | 44,761.2 |
| % | 23.66 | 3.79 | 26.42 | 0.19 | 11.48 | 32.51 | 0.17 | 1.77 | - | 100.00 |
| 2019 | 19,570.4 | 189.356 | 21,843.6 | 1,170.5 | 4,889.1 | 28,503.0 | 1,514.7 | 7,591.2 | 5,995.2 | 91,267.0 |
| % | 21.44 | 0.21 | 23.93 | 1.28 | 5.36 | 31.23 | 1.66 | 8.32 | 6.57 | 100.00 |

In the light of the above analysis for the baseline scenario (continuation of the current situation), which is given by Table 3, it can be concluded that:

- Conclusion-1: Energy demand in Turkey has been increasing at significant rates for ten years, and it is expected to continue at least for the next ten years.

- Conclusion-2: Even all operational plants, construction phase plants, and licensed ones are considered to lack supply is projected after the year 2028. So, there is a significant need for electricity generation investments to satisfy demand. New power plants would otherwise generate the project activity to avoid power shortages in the coming years.

- Conclusion-3: Fossil fuels will dominate the generation mix for at least a midterm period (till the end of 2023) with a 46% share. Hydro included renewable will remain low with a 30% share, and non-hydro energy contribution will stay negligible with only 15% of the total share by the end of that period. This also shows that most new capacity additions will be fossil fuel-fired power plants.

The combination of the trends above indicates that the continuation of energy generation of Aliaga WFP would decrease the power amount from new grid-connected thermal plants.

Step 1.3 Assess whether the continuation of use of current baseline equipment(s) or an investment is the most likely scenario for the crediting period for which renewal is requested.

The technical lifetime of the project activity (including wind turbines) is defined as 25 years, and the equipment lifetime exceeds the crediting period for which renewal is requested. Equipment only requires regular maintenance. The baseline scenario identified at the validation of the project activity was the continuation of grid-connected electricity generation from renewable sources. Under this scenario, no investment from the project’s proponent or a third party (or parties) has been envisioned later specifically for the project.

Step 1.4 Assessment of validity of the data and parameters.

The emissions reduction calculations are based on two main parameters: The energy produced and the grid emission factor. The latter will be updated as explained in the next paragraph.

The emission factors and values for the calculation of the baseline emissions have been determined for the whole crediting period and parameters not monitored have been changed. Therefore, Step 2 has been applied.

Step 2: Update the current baseline and the data and parameters

This step is applicable since Step 1.4 showed that the current baseline needs to be updated accordingly with the new officially published national emission factor data.

Step 2.1: Update the current baseline

As confirmed in Step 1, during the First Crediting Period, the baseline scenario for the project had been defined as:

“Electricity delivered to the grid by the project would have otherwise been generated by the operation of grid-connected power plants.”

The current baseline of the project is the same as the first crediting period and complies with the existing legal framework. No additional laws that impacted the project activity came into force, and the project activity is still in line with the available law and regulations. No additional laws that impacted the project activity came into force, and the project activity is still in line with the available law and regulations. This conforms to the provisions of the latest version of the approved applicable methodology to the project activity, namely: ACM0002 version 20.0, “Grid-connected electricity generation from renewable sources”.

Step 2.2: Update the data and parameters

The new national circumstances impact the emission factor of the grid and thus on the project’s current baseline emissions. Accordingly, the grid emission factor is updated according to the Turkish Ministry of Energy and Natural Resources publication, which indicates Turkey’s National Electric Grid Emission Factor for the year 2019.

So, that were used to calculate estimated emission reductions, the Turkish Ministry of Energy and Natural Resources published that Turkey’s National Electric Grid Emission Factor (0.6482 tCO2/MWh) was used for the second crediting period of this project

##### B.5. Demonstration of additionality

Additionality has been evaluated using the Tool for the demonstration and assessment of additionality (Version 5.2) in the first CP and that information is repeated in this PDD and no new additionality assessment is done for this renewal of the Crediting Period. Investment analysis conducted during the First Crediting Period shows that the project is not economically feasible without GS VER credit income. Also, the sensitivity analysis conducted confirms that the proposed project activity is unlikely to be financially attractive without the revenues from VERs as the IRR result (8.21% for 90 MW) is below the benchmark, which is 10.68%. Consequently, the project activity was deemed as additional. These analyses haven’t been performed again for the renewal of the Crediting Period. The analyses conducted in the First Crediting Period are repeated in the following sections and paragraphs.

For the explanation of how and why the project activity leads to emission reductions that are additional to what would have occurred in the absence of the project activity, the Baseline Methodology refers to the consolidated “Tool for the demonstration and assessment of additionality”, which defines a step-wise approach to be applied to the proposed project.

Step 1 - Identification of Alternatives to the project activity consistent with current laws and regulations

Sub-step 1a - Define alternatives to the project activity:

Project activities that apply the tool in context of approved consolidated methodology ACM0002 only need to identify that there is at least one credible and feasible alternative that would be more attractive than the proposed project activity. The following two alternatives to the Project activity are considered here in detail:

Scenario (a): The proposed Project activity undertaken without being registered as a GS VER project activity, i.e. the construction of a new wind electricity generation plant with an installed capacity of 90 MW, connected to the local grid, and implemented without considering VER revenues.

Scenario (b): Continuation of the current situation, i.e. electricity will continue to be generated by the existing generation mix operating in the Turkey regional grid.

Outcome of Step 1a: The only realistic and credible alternative scenario to the project activity is Scenario (b) Supply of equal amount of electricity by the existing grid.

Sub-step 1b. Consistency with mandatory laws and regulations:

The alternative Scenario (b) is in compliance with all mandatory applicable and legal and regulatory requirements. New power generation capacity is regulated by Electricity Market Regulation Authority (EMRA) who issues the licenses for electricity generation and is responsible for ensuring that new capacity applies with its rules and regulations.

Outcome of Step 1b: The alternative scenario to the project activity is the supply of electricity by the existing grid with additional capacity is in compliance with mandatory legislation and regulations.

Step 2 - Investment analysis

Investment analysis conducted during the First Crediting Period shows that the project is not economically feasible without GS VER credit income. Also, the sensitivity analysis confirms that the proposed project activity is unlikely to be financially attractive without the revenues from VERs as the IRR result (8.21% for 90 MW) is below the benchmark, which is 10.68%. Consequently, the project activity was deemed as additional. These analyses haven’t been performed again for the renewal of the Crediting Period. The analyses conducted in the First Crediting Period are repeated in the following sections and paragraphs.

The “the proposed project activity is not the most economically and financially attractive” is demonstrated below:

Sub-step 2a - Determine appropriate analysis method

There are three options for investment analysis method:

- Simple Cost Analysis

- Investment Comparison Analysis and

- Benchmark Analysis

Simple Cost Analysis is not applicable because project generates economic benefits from sale of electricity to grid. Investment Comparison Analysis is also eliminated since the baseline for the project is generation of electricity by the grid and no similar investment alternatives exist. Therefore, Benchmark Analysis is the most appropriate approach for the evaluation of the project investment.

Sub-step 2b - Option III-Apply benchmark analysis

IRR is the most appropriate financial indicator for analysing the project.

The Tool for the Demonstration and Assessment of Additionality Version 5.2 and its Guidelines issued at EB 39 state that “Discount rates and benchmarks shall be derived from a) Government bond rates, increased by a suitable risk premium to reflect private investment and/or project type . . . or documented by official publicly available financial data”.

Eurobond Rates

In this analysis, we use the return on Turkish government issued Eurobonds at the time the investment decision for the project was made, increased by a suitable risk premium that reflects an equity investment in a wind energy project. The premium is determined using the Capital Asset Pricing model and the Weighted Average Cost of Capital Model.

In line with the Tool for the Demonstration and Assessment of Additionality Version 5.2, the Eurobond rate from Government issued bonds is taken to be the benchmark or most basic and low risk return available to Turkish Investors. Investment in the Project is made primarily in Euros (not Turkish Lira), therefore, the investment analysis is done by comparing the return on the Project to returns relatively risk free government Eurobonds. On the investment decision date, June 2nd, 2008, Turkish Government issued Euro denominated Eurobonds maturing in 2019 were yielding 7.15%10

Capital Asset pricing Model

The Capital Asset Pricing Model (CAPM)11 provides the asset-appropriate required return rate and can be utilised as a bench mark to compare the IRR value of the project since the model provides us with the rate at which future cash flows produced by the asset should be discounted given that asset's relative risks. The model is expressed by the following formula

Where, E(Ri) strands for the expected return on the capital asset

Rf stands for the risk-free rate of interest such as interest arising from government bonds E(Rm) stands for the expected return of the market

E(Rm)-E(Rf) is also sometimes known as the market premium or risk premium (the difference between the expected market rate of return and the risk-free rate of return).

And,

Bi stands for the sensitivity of the expected excess asset returns to the expected excess market returns, formulated as :

Since beta reflects asset-specific sensitivity to non-diversifiable, i.e. market risk, the market as a whole, by definition, has a beta of “one”. In our case as it is not possible to derive a Beta value specific to renewable energy investments with Turkey, it is reasonable to assume Beta as one and expect that this investment will behave parallel to the entire risk behavior of the Turkish market.

Turkish Equity Risk Prem. = U.S. ERP (5.0%) x Istanbul Stock Exchange Volatility12 (37%) / Volatility of S&P500 22%13

= 8.41%

And where Cost of Equity = EuroBond (7.15) + Beta (1) x Equity Risk Premium (8.41%)

= 15.56%

Weighted Average Cost of Capital

The Weighted Average Cost of Capital is a measure of the returns required from a project that is funded by both debt and equity. It may be formulated as:

WACC=(Wd.Cd) +( We.Ce)

Where:

Wd = % of debt (77.16%) Cd = Cost of Debt (9.24%) We = % of Equity (15.31%)

Ce = Cost of Equity (15.56%)

Solving using the figures above:

WACC = (22.84 * 15.56) + (77.16 * 9.24)

WACC = 10.68%

Based on these external factors, the project requires an Internal Rate of Return of 8.21% to exceed the benchmark.

Sub-step 2c - Calculation and comparison of financial indicators

(7) The main parameters used for evaluation of the investment are given in Table 7 and further parameters are given in the Investment Analysis workbook provided to the DOE.

Table 8. Financial parameters used in investment analysis

The value of the investment has been depreciated on a reducing balance basis over 20 years.

The turbines have a life of 20 years. The value applied at the end of the 20 year period (as required by the Guidelines) is an estimate of the scrap value of the metals included and is taken as EUR 864,000 (EUR 24,000 per turbine pylon14). This is a nominal value, as it is difficult to predict with any degree of certainty what the actual value will be.

Wind power investments are highly capital intensive projects. The initial investment (costs for the WT itself, foundations, electrical equipment and grid-connection) constitutes approximately 75% of the electricity production cost. Therefore, the major factor for determining the return of investment in wind power projects is the cost of capital15

For the Aliağa Wind Farm project, the Internal Rate of Return (IRR) on Capital without the carbon credit income is calculated as 8.21%. This is below the benchmark of 10.68 discussed above.

Sub-step 2d - Sensitivity Analysis

In order to determine whether the investment decision is the most attractive alternative financially, a sensitivity analysis has been done. Four parameters used for analysis:

- Operating Cost

- Electricity Price

- Electricity Generation Amount

- Construction Cost

For a range of ±10% fluctuations in parameters above, the figures in Table 8 have been obtained. Following the guidelines of EB 51 Annex 58 when any of the key variables are increased or decreased by 10%, the benchmark is not exceeded.

Table 9. Sensitivity Analysis

|  | -10% | -5% | 5% | 10% | Exceed Benchmark? |
| --- | --- | --- | --- | --- | --- |
| Operating Cost | 8.47% | 8.34% | 8.07% | 7.93% | No |
| Electricity Price | 6.37% | 7.30% | 9.08% | 9.94% | No |
| Generation | 6.37% | 7.30% | 9.08% | 9.94% | No |
| Construction Cost | 9.71% | 8.93% | 7.54% | 6.92% | No |

Figure 7. Sensitivity analysis  of Capital IRR without carbon revenue

To exceed the benchmark, the generation or electricity price must increase by about 21.00% over the life of the project, or the investment cost must be reduced by about 21.73%. As the Renewable energy law only guaranties a minimum price of EUR0.055 per kWh, the former is unlikely. As wind farms typically underperform compared to design, an increased generation of 21.00% is also unlikely

Adding in carbon revenues to the project increases the IRR to 9.76%. While this is lower than the benchmark, it is significantly closer to it than when carbon is not considered. It is also high enough to pay the cost of debt, although giving a slightly lower return on capital than expected. The carbon finance is therefore required in order to make a positive investment decision

Outcome of Step 2:

Without carbon revenue the return on capital falls below the benchmark giving a return of 8.21%. A variation in the key parameters of + / - 10% does not make the project exceed the benchmark. However, once the income from carbon credits is included, the returns increase from 8.21% to 9.76% which makes the investment decision possible and the project additional

Step 3 - Barrier Analysis

The “Tool for the demonstration and assessment of additionality” states that project participants may choose to apply Step 2 (Investment Analysis), OR Step 3 (Barrier Analysis) to demonstrate Project additionality. Given the low IRR of the Project, Step 3 is not used to demonstrate additionality of the proposed Project

Step.4. Common practice analysis

Sub-step 4a: Analyse other activities similar to the proposed project activity:

According to the Tool for the demonstration and assessment of additionality, projects are taken to be similar if they are,

“in the same country are of a broadly similar technology, are of a similar scale and a comparable investment climate other CDM project activities (registered project activities and project activities which have been published on the UNFCCC website for global stakeholder consultation as part of the validation process) are not to be included in this analysis.”

Wind power plant projects in Turkey under operation, are listed in Table.8.Investments in wind power have increased from 2006 to 2008 as it can be seen from the table. The capacities of the plants which became operational in 2006 are much higher than the plants previously commissioned in 1998 and 2000.

In the past, the very few wind farms that were built in Turkey were developed as Build and Operate (BO) or Build Operate and Transfer (BOT) protocols with the government in accordance with Energy Market Law. This model is no longer available and the reduced risk that the government-backed contracts provided is no longer available. Therefore, these early projects are not seen as being under the same investment climate and should not be used for comparison.

Most of the projects constructed in 2006 and thereafter have been registered as either Gold Standard (GS) or Verified Emission Reduction (VER) projects and are benefiting from carbon finance to make them financially attractive and overcome the other barriers they face. They are developed by the private sector without any guarantee of transfer to the government and so are considered “similar”

Table 10. Wind Projects in Turkey

Sub-step 4b: Discuss any similar Options that are occurring:

Following the guidelines in “The tool for the demonstration and assessment of additionality”, there are no similar activities that are occurring as all projects are not comparable to the project activity in terms of scale. Further, the project under operation being closest the project capacity amongst those listed are 7, 9 and 10 have all been implemented after taking CDM into consideration. Thus the project activity is not a common practice in the region.

B.5.1 Prior Consideration

N/A. According To PDD Template Guide, “only (non-CER) retroactive projects and all projects undergoing Design Changes to include new technologies/measures are required to demonstrate Prior consideration”. Since the Project is regular and has no Design Change, it is marked as N/A.

B.5.2 Ongoing Financial Need

Investment analysis conducted during the First Crediting Period shows that the project is not economically feasible without GS VER credit income. Also, the sensitivity analysis confirms that the proposed project activity is unlikely to be financially attractive without the revenues from VERs as the IRR result (8.21% for 90 MW) is below the benchmark, which is 10.68%. Consequently, the project activity was deemed as additional.

Furthermore, the agreement signed with the turbine provider (Nordex) established a maintenance regime of the equipment. In line with this agreement, maintenance work is being carried out by Nordex every 6 months a year. This maintenance work of the turbines proves to be a significant financial burden for the Project Activity. Additionally, system usage fees that need to be paid by the Project Activity to the TEİAS is another important factor contributing to the project's expenditure. Therefore, carbon revenues derived from Gold Standard certification have played an essential role in helping Project Owners pay maintenance works of the equipment and system usage fees.

Moreover, IRR analysis conducted during the previous Crediting Period Renewal process was re-performed again with the carbon revenue added to show that the resulted IRR still stays below benchmark value. Carbon revenue is assumed to be 3.00 EUR per tonne. And the income generated by the carbon revenue is calculated with the estimated emission reductions amounts during the previous crediting period and the applicable 3.00 EUR per tonne. The new IRR result (8.78 with the added carbon revenue shows that the resulting IRR (8.78%) still stays below the project activity's benchmark value (10.68%). This is further proof that the project needs the financial support that the carbon certification will enable.

The project activity satisfies all the "Tool for demonstrating and assessing additionality" criteria. Therefore, the Project is additional and still has ongoing financial need.

##### B.6. Sustainable Development Goals (SDG) outcomes

| Sustainable Development Goals Targeted | Most relevant SDG Target | SDG Impact |
| --- | --- | --- |
|  |  | Indicator (Proposed or SDG Indicator) |
| SDG 13: Climate Action (mandatory) | N/A | Emission reduction: 191,154 tCO2/yr |
| SDG 7: Affordable and clean energy | 7.2 by using renewable energy systems | 294,900 MWh/yr |
| SDG 8: Decent work and economic growth | 8.8 by employment and decent work | 15 employees |

B.6.1 Explanation of methodological choices/approaches for estimating the SDG Impact

- SDG 7

- Firstly, the Project helps accelerate the growth of the wind power industry and stimulates the designation and production of renewable energy technologies in Turkey. Then, other entrepreneurs, irrespective of the sector, are encouraged to invest in wind power generations. It also reduces Turkey's increasing energy deficit and diversifies the electricity generation mix while reducing import dependency, especially natural gas. Importantly, rural development is maintained in the areas around the project site by providing infrastructural investments to these remote villages. The Project is expected to generate 294,900 MWh/annually. The Project contributes to the following indicators 7.2.1 "Renewable energy share in the total final energy consumption" and following target: 7.2 "By 2030, increase the share of renewable energy in the global energy mix substantially".

The project contributes to the following indicators 7.2.1 “Renewable energy share in the total final energy consumption” and following target: 7.2 ‘’By 2030, increase substantially the share of renewable energy in the global energy mix”

- SDG 8

The employment of local people with the necessary technical qualifications for the required post is the priority and enhanced by all project activities during the wind farm operation. As a result, increased job opportunities and project business activities partially eliminated local poverty and unemployment. Construction materials for the foundations, cables and other auxiliary equipment were/are preferentially sourced locally. Moreover, as a contribution of the Project to the region's welfare, the quality of the electricity consumed in the region is increased by local electricity production, which also contributes to decreasing distribution losses.

The Project led to employment opportunities that would not have been possible in the baseline scenario. The Project provides local employment during the operation phase. It contributes to the following target 8.8. and following indicator 8.8.2.  Furthermore, all workers are trained on health and safety issues during each monitoring period. Health and safety Training records or certificates will be provided during each monitoring period.

- SDG 13

- The annual emission reduction estimated by the Project is 191,154 tonnes of tCO2/year. While this amount of emissions is mitigated, technology transfer is also realized as benefitting from wind energy.

- The Project contributes to improving the environmental situation in the region and the country as avoiding fossil fuel-based electricity will enhance the air quality and help to reduce the adverse effects on the climate. Through renewable technologies and wind-based electricity, sustainable and climate-friendly development is promoted.

- This Project is expected to remove CO2: 191,154 tCO2/year.

- It contributes to the following target 13.3 and following indicator 13.3.1.

- For the emission factors that were used to calculate estimated emission reductions, the publication of the Turkish Ministry of Energy and Natural Resources, which indicates Turkey's National Electric Grid Emission Factor for the year 2019, was used. The publication includes calculated Emission Factor values that are Operating Margin (OM), Growth Based Margin (Build Margin-BM) and Combined Margin (CM) Emission Factors, for the relevant year with the usage of the IPCC's Clean Development Methodology Tool 07-V06.0. For this calculation, information regarding the data set is given below in detail;

- TEİAŞ Turkey's electricity generation-consumption and loss statistics,

- Common prepared report under Turkey's National Greenhouse Gas Inventory Reporting Format. - Common Reporting Format (CRF) tables for electricity generation (1.A.1.a.i) emission values

- Chronological order of power generation plants from TEİAŞ Load Dispatch Department with commissioning dates, plant names, fuel types, installed power values, electricity generation for the calculated year

- Checking off Volunteers from the websites of Gold Standard (GS) and Verified Carbon Standard (VCS) for the ownership status of the carbon reduction certificate and,

- From Clean Development Mechanism (CDM) Tool 009- V2.0, Power plant efficiency figures are used

- According to this publication;

- Operating Margin-OM; 0.7258 tCO2/MWh

- Build Margin-BM; 0.4153 tCO2/MWh

- Combined Margin-CM (for solar and wind); 0.6482 tCO2/MWh

Project emissions

The proposed project activity involves the generation of electricity by the development of a wind farm. The generation of electricity does not result in greenhouse gas emissions and therefore is taken as 0 tCO2/year.

Leakage

LEy is 0, as it is not considered according to ACM0002 (page 10) PEy is 0 because Project is a wind power generation activity (Only for geothermal and hydro project activities, it should be considered according to ACM0002 page 7).

Then: ERy = BEy

Baseline emissions

Baseline emissions include only CO2 emissions from electricity generation in fossil fuel fired power plants that are displaced due to the project activity, calculated as follows:

BEy = (EGy - EGbaseline) x EFgrid,CM,y		(6)

Where:

BEy	 = Baseline emissions in year y (tCO2/yr).

EGy 	 = Electricity supplied by the project activity to the grid (MWh).

EGbaseline= Baseline electricity supplied to the grid in the case of modified or retrofit facilities (MWh). For new power plants this value is taken as zero.

EFgrid,CM,y = Combined margin CO2 emission factor for grid-connected power generation in year y calculated using the latest version of the "Tool to calculate the emission factor for an electricity system". (tCO2/MWh) (v.4).

The project activity is the installation of a new grid-connected renewable power plant so, EGbaseline = 0

Then:

ERy = BEy = EGy * EFgrid,CM,y = 294,900 MWh/year * 0.6482 tCO2/MWh = 191,154 tCO2/year

The baseline scenario is identified and described in B.4. Emission reductions due to project activity will be calculated according to "Tool to calculate the emission factor for an electricity system" (Tool) version 7.0.0 as indicated in ACM0002 ver. 20.0.

A brief explanation of this methodology is given in Tool as (page 4):

This methodological tool determines the CO2 emission factor for the displacement of electricity generated by power plants in an electricity system by calculating the "combined margin" emission factor (CM) of the electricity system

B.6.2 Data and parameters fixed ex ante

SDG13

| Data/parameter | EFgrid,CM,y |
| --- | --- |
| Unit | tCO2/MWh |
| Description | For the combined margin CO2 emission factor that were used to calculate estimated emission reductions, publication of Turkish Ministry of Energy and Natural Resources which is indicating Turkey's National Electric Grid Emission Factor for the year of 2019 was used. |
| Source of data | Please see: https://enerji.gov.tr/Media/Dizin/BHIM/tr/Duyurular//Bilgi_Formu_Web_Sitesi_2019_202110071443.pdf |
| Value(s) applied | 0.6482 |
| Choice of data or Measurement methods and procedures | The baseline emissions are the product of electrical energy baseline expressed in MWh of electricity produced by the renewable generating unit multiplied by an emission factor. |
| Purpose of data | To show CO2e reduction in order to monitor the SDG 13 Indicator. |
| Additional comment |  |

B.6.3 Ex ante estimation of SDG Impact

- Calculation of the Operating Margin Emission Factor

For OM factor calculation, the Chronological order of power generation plants from TEİAŞ Load Dispatch Department with fuel types, electricity generation for the calculated year were used as input data. By using all of the data which were mentioned above, the Turkish Ministry of Energy and Natural Resources calculated EFgrid,OMsimple,y. :

EFgrid,OMsimple,y = 0.7258(tCO2/MWh)

- Calculation of the Build Margin Emission Factor

For BM factor calculation, the Chronological order of power generation plants from TEİAŞ Load Dispatch Department with commissioning dates, plant names, fuel types, installed power values, electricity generation for the calculated year were used as input data. Consequently, the Turkish Ministry of Energy and Natural Resources calculated EFgrid,BM,y.

EFgrid,BM,y =  0.4153 tCO2/MWh

- Calculating of the Combined Margin Emission Factor

- The combined margin emission factor is calculated by using weighted average CM as per the tool formula below:

- EFgrid,BM,y = Build margin CO2 emission factor in year y (tCO2/MWh)

- EFgrid,OM,y = Operating margin CO2 emission factor in year y (tCO2/MWh)

- wOM = Weighting of operating margin emissions factor (%)

- wBM = Weighting of build margin emissions factor (%)

- According to the Tool for wind power generation project activities;

- wOM = 0.75 and wBM = 0.25

- Then:

- EFgrid,CM,y = 0.7258 tCO2/MWh * 0.75 + 0.4153 tCO2/MWh * 0.25 = 0.6482 tCO2/MWh

EFgrid,CM,y= 0.6482  tCO2/MWh

Emission reductions are calculated as follows:

ERy = BEy − PEy – LEy                                                                   (5)

Where:

ERy = Emission reductions in year y (t CO2/yr).

BEy = Baseline emissions in year y (t CO2/yr).

PEy = Project emissions in year y (t CO2/yr).

LEy = Leakage emissions in year y (t CO2/yr).

Baseline emissions

Baseline emissions include only CO2 emissions from electricity generation in fossil fuel-fired power plants that are displaced due to the project activity, calculated as follows:

BEy = (EGy - EGbaseline) x EFgrid,CM,y					(6)

Where:

BEy	 = Baseline emissions in year y (tCO2/yr).

EGy 	 = Electricity supplied by the project activity to the grid (MWh).

EGbaseline = Baseline electricity supplied to the grid in the case of modified or retrofit facilities (MWh). For new power plants, this value is taken as zero.

EFgrid,CM,y 	 = Combined margin CO2 emission factor for grid-connected power generation in year y calculated using the latest version of the "Tool to calculate the emission factor for an electricity system". (tCO2/MWh) (v.4).

Leakage

LEy is 0, as it is not considered according to ACM0002 (page 10) PEy is 0 because Project is a wind power generation activity (Only for geothermal and hydro project activities, it should be considered according to ACM0002 page 7).

Then: ERy = BEy

Emission Reduction

The project activity is the installation of a new grid-connected renewable power plant so, EGbaseline = 0

Then:

ERy = BEy = EGy * EFgrid,CM,y = 294,900 MWh/year * 0.6482 tCO2/MWh = 191,154 tCO2/year

SDG 7 Affordable and Clean Energy:

The project is expected to generate 294,900 MWh/annually.

SDG 8 Decent Work and Economic Growth:

The project provides at least 15 employment.

B.6.4 Summary of ex ante estimates of each SDG Impact

- SDG 13 Climate Action

Due to a delay in the completion of re-validation beyond the last date of the First Crediting Period, no ERs will be issued for the delay period. The Project’s crediting period is from 09/04/2017 to 08/04/2024; however, due to the fact that first submission to GS for the design certification renewal is on 18/07/2022. The Project Activity will be eligible to certify the period from 18/07/2022 to 08/04/2024.

CO2 Emissions

| Year | Baseline estimate | Project estimate | Net benefit |
| --- | --- | --- | --- |
| 09/04/2017 – 31/12/2017 | 139,306 | 0 | 139,306 |
| 2018 | 191,154 | 0 | 191,154 |
| 2019 | 191,154 | 0 | 191,154 |
| 2020 | 191,154 | 0 | 191,154 |
| 2021 | 191,154 | 0 | 191,154 |
| 01/01/2022 – 17/072022 | 103,694 | 0 | 103,694 |
| 18/07/2022 – 31/12/2022 | 87,460 | 0 | 87,460 |
| 2023 | 191,154 | 0 | 191,154 |
| 1/01/2024 – 8/04/2024 | 51,847 | 0 | 51,847 |
| Total | 330,461 | 0 | 330,461 |
| Total number of crediting years | 7 |  |  |

| Annual average over the crediting period | 191,154 | 0 | 191,154 |
| --- | --- | --- | --- |

SDG 7 Affordable and Clean Energy

The baseline for the Project is no project, thus leading to generation in the relevant grid dominated by fossil fuel. The clean energy generated by the Project is calculated based on the amount of electricity generated by the Project per annum.

The Project is expected to generate 294,900 MWh of clean energy per annum.

| Year | Baseline estimate | Project estimate | Net benefit |
| --- | --- | --- | --- |
| 09/04/2017 – 31/12/2017 | 0 | 214,913 | 214,913 |
| 2018 | 0 | 294,900 | 294,900 |
| 2019 | 0 | 294,900 | 294,900 |
| 2020 | 0 | 294,900 | 294,900 |
| 2021 | 0 | 294,900 | 294,900 |
| 01/01/2022 – 17/07/2022 | 0 | 159,973 | 159,973 |
| 18/07/2022 – 31/12/2022 | 0 | 134,927 | 134,927 |
| 2023 | 0 | 294,900 | 294,900 |
| 1/01/2024 – 8/04/2024 | 0 | 79,987 | 79,987 |
| Total | 0 | 509,813 | 509,813 |
| Total number of crediting years | 7 |  |  |

| Annual average over the crediting period | 0 | 294,900 | 294,900 |
| --- | --- | --- | --- |

SDG 8 Decent Work and Economic Growth

The Project will lead to employment opportunities that would not have been possible in the baseline scenario. The Project provides local employment. Also, project activity improves the quality of employment by giving Health and safety training to the employee. Thus, a series of Health and safety training will be organised within Aliaga WFP. In the below table, it is possible to see the number of employees employed for this Project Activity. Health and Safety training will be provided annually for all employees.

| Year | Baseline estimate | Project estimate | Net benefit |
| --- | --- | --- | --- |
| 2017 | 0 | 15 | 15 |
| 2018 | 0 | 15 | 15 |
| 2019 | 0 | 15 | 15 |
| 2020 | 0 | 15 | 15 |
| 2021 | 0 | 15 | 15 |
| 2022 | 0 | 15 | 15 |
| 2023 | 0 | 15 | 15 |
| 2024 | 0 | 15 | 15 |
| Total | 0 | 45 | 45 |
| Total number of crediting years | 7 |  |  |

| Annual average over the crediting period | 0 | 15 | 15 |
| --- | --- | --- | --- |

Trainings

| Year | Baseline estimate | Project estimate | Net benefit |
| --- | --- | --- | --- |
| 2017 | 0 | 1 | 1 |
| 2018 | 0 | 1 | 1 |
| 2019 | 0 | 1 | 1 |
| 2020 | 0 | 1 | 1 |
| 2021 | 0 | 1 | 1 |
| 2022 | 0 | 1 | 1 |
| 2023 | 0 | 1 | 1 |
| 2024 | 0 | 1 | 1 |
| Total | 0 | 3 | 3 |
| Total number of crediting years | 7 |  |  |

| Annual average over the crediting period | 0 | 1 | 1 |
| --- | --- | --- | --- |

##### B.7. Monitoring plan

B.7.1 Data and parameters to be monitored

SDG 13 Climate Action

Target: 13.3

Indicator: 13.3.1

| Data / Parameter | ERy |
| --- | --- |
| Unit | tons of CO2e/year |
| Description | Baseline emissions correspond to emission reductions and are calculated as the net electricity generated by the project activity, multiplied with the combined margin CO2 emission factor for grid-connected power generation in year y. |
| Source of data | Both measured and calculated Emission reductions will be calculated considering the EPIAS records for the net electricity generated and the emission factor for the grid, 0.6482 tCO2/MWh, which is calculated and published by The Ministry of Energy and Natural Resources of Turkey As per the monitoring plan sheet of registered CM Excel, the results shall be obtained from the Actual ER excel file during the verification. |
| Value(s) applied | 191,154 |
| Measurement methods and procedures | The amount of annual net electricity generation calculated by monthly settlement notifications of EPIAS based on monthly meter readings will be used to calculate estimated CO2 emission reduction by project activity. |
| Monitoring frequency | Annually |
| QA/QC procedures | Calculation of amount of emission reduction will be calculated on an excel document and provided in each monitoring period |
| Purpose of data | Calculation of combined margin CO2 emission factor and thus the baseline emissions-to demonstrate contribution to SDG Target 13.3: Improve education, awareness-raising and human and institutional capacity on climate change mitigation, adaptation, impact reduction and early warning |
| Additional comment | - |

SDG 7 Affordable and Clean Energy

Target: 7.2

Indicator: 7.2.1

| Data / Parameter | EGPJ,y |
| --- | --- |
| Unit | MWh/yr |
| Description | Net electricity generation |
| Source of data | Feasibility Study & Registered PDD. (During performance certification monthly meter reading will be used as source of data). |
| Value(s) applied | 2,900 MWh/y |
| Measurement methods and procedures | • Regarding the electricity meters: four meters are placed (two main and two reserve) at the Aliaga WFP, which meters the electricity transferred to TEİAŞ substation. TEIAS seals these meters, and intervention by the project proponent is not possible. The fact that four meters are installed in a redundant manner keeps the uncertainty level of the only parameter for baseline calculation low. This parameter's high data quality is not only in the interest of emission reduction monitoring but paramount for the business relationship between the plant operator and the electricity buyers. Measured hourly and readings monthly. Monthly settlement notifications of EPIAS consist hourly electricity production and withdrawn from the grid. EPİAŞ reading will be used as a base data on the other hand; electricity meter reading will be used to crosscheck the accuracy of the data. Authenticity will be increased by the aid of data crosschecks between EPİAŞ data and electricity meter readings. This means that the main source is the EPIAS data. TEIAS notices are used to cross-check the EPİAŞ records. TEIAS sends an electronic spreadsheet that includes daily and monthly electricity generation and withdrawn amounts for each power plant. Thus, cross-check source is the TEIAS meter readings. Since the meters are reading electricity supplied to the system and withdrawn from the system separately, the net electricity amount provided to the grid is calculated by electricity supplied minus electricity withdrawn, which is taken from monthly settlement notifications. Due to the fact that only the registered capacity’s electricity generation amount will be relevant for this new Crediting Period, the total electricity generation by the registered capacity (for 90MW) will be calculated with the help of the SCADA system. SCADA system employed in the Project Activity provides the monthly electricity generation values for each ten additional turbines. Electricity generation for registered capacity will be calculated by deducting the net electricity generation values obtained from the SCADA system for the last ten turbines from the total generation data received from the EPIAS recordings. The SCADA screenshots showing the monthly generation amount of the latest added ten turbines will be provided for monitoring. TEIAS meter readings will be used for cross-check. The above-described measurement method follows Article 81 of the official regulation "Electricity Market Balancing And Settlement Regulation." Name; Serial Number; Brand – Model; Date Of Calibration; Accuracy Class; Year of Manufacture. Main Meter (TR2) after 24/11/2019; 8923685; EMH – LZQJ-XC; 11/10/2019 25/07/2021; 0.2s; 2019. Backup Meter (TR2) after 22/12/2019; 8923686; EMH – LZQJ-XC; 11/10/2019 25/07/2021; 0.2s; 2019. Main meter (TR1) after 24/11/2019; 8923715; EMH– LZQJ-XC; 22/10/2019 25/07/2021; 0.2s; 2019. Backup Meter (TR1) after 22/12/2019; 8923684; EMH– LZQJ-XC; 11/10/2019 25/07/2021; 0.2s; 2019. |
| Monitoring frequency | Continuous measurement and Monthly Recording |
| QA/QC procedures | According to Article 2 of the Communiqué of Meters in Electricity Sector: 'The meters to be used in the electricity market shall be compliant with the standards of Turkish Standards Institute or IEC and have obtained "Type and System Approval" certificate from the Ministry of Trade and Industry.' Therefore, the Ministry of Trade and Industry (Ministry) is responsible for controlling and calibrating the meters. Also, according to Article 11 of this Communiqué, meters shall be in the class of 0.2s, which means the error interval for measuring is in the acceptable range according to rules. Paragraph b) of the Article 9 of the 'Regulation of Metering and Testing of Metering Systems' (Regulation) of Ministry states that: 'b) Periodic tests of meters of electricity, water, coal gas, natural gas and current and voltage transformers are done every 10 years.' Therefore periodic calibration of the meters will be done every 10 years. Also, according to Article 67 (page 20) of this regulation, the calibration shall be done in calibration stations that have been tested and approved by the Ministry of Trade and Industry. Article 10 d) of Communiqué requires the meters shall be three phases four-wire and Article 64 of Regulation clearly states how calibration shall be performed for this kind of meters. As above mentioned, the data acquisition and management and quality assurance procedures that are anyway in place, no additional procedures have to be established for the monitoring plan. |
| Purpose of data | To exhibit renewable electricity generation performance of the plant |
| Additional comment | Plant Manager will be responsible for monitoring data. |

SDG 8 Decent Work and Economic Growth

Target: 8.8

Indicator: 8.8.2

| Data / Parameter | Quantitative employment and income generation |
| --- | --- |
| Unit | - |
| Description | Number of local employment |
| Source of data | SGK (Social Security Institution) Records of the company |
| Value(s) applied | The company will provide job opportunities for at least 15 employee. |
| Measurement methods and procedures | Social Security System (SGK) records |
| Monitoring frequency | Each monitoring period. |
| QA/QC procedures | SGK records of employees are provided during each monitoring period |
| Purpose of data | Employment and decent work for all |
| Additional comment | - |

SDG 8 Decent Work and Economic Growth

Target: 8.8

Indicator: 8.8.2

| Data / Parameter | Quality of employment |
| --- | --- |
| Unit | - |
| Description | Quality of employment |
| Source of data | Health & Safety trainings |
| Value(s) applied | HSE trainings will be held for all employees (including local employees) at the plant. |
| Measurement methods and procedures | Training attendance list and/or certificates for HSE trainings. |
| Monitoring frequency | Annually (Once at the end of each monitoring period). |
| QA/QC procedures | Attendance records or training certificates are provided during each monitoring period. Safety measures and equipment will be shown to VVB during each verification. |
| Purpose of data | To exhibit employment performance of the plant |
| Additional comment | - |

Principle 3. Community Health, Safety and Working Conditions

| Data / Parameter | Livelihood of the poor |
| --- | --- |
| Unit | - |
| Description | Making various contributions to the poorest people in the vicinity of the project area |
| Source of data | Donation Statements by Project Proponent |
| Value(s) applied | The project makes contributions to the poorest people in the vicinity of the project area. |
| Measurement methods and procedures | Statements by PP or receipts of donations. |
| Monitoring frequency | Once during each MP. |
| QA/QC procedures | Donation records or statements will be provided once during each monitoring period. Donation records or statements will be shown to VVB during each verification. |
| Purpose of data | To exhibit employment performance of the plant |
| Additional comment | - |

Principle 3. Community Health, Safety and Working Conditions

| Data / Parameter | Public Health and Safety |
| --- | --- |
| Unit | - |
| Description | Taking precautions to protect public from any potential high voltage hazard |
| Source of data | Project Proponent |
| Value(s) applied | - |
| Measurement methods and procedures | Photographic evidences of the precautions taken |
| Monitoring frequency | Only Once at the First Monitoring of the Second Crediting Period |
| QA/QC procedures | The project will safeguard public from any potential electricity related risks, the site is safeguarded and access to project site is only possible under the supervision of the security team. In addition to all the turbines are fenced and the fences are grounded to avoid any third party injury or accident related to high voltage. Similarly the immediate switch gear area and the main control chamber and substation is also fenced and guarded. |
| Purpose of data | Precautions to ensure the public health and safety |
| Additional comment | The project owner takes all necessary precautions in order to safeguard public from any potential electricity related risks. |

Principle 9.4 - Release of pollutants

| Data / Parameter | Water quality and quantity |
| --- | --- |
| Unit | - |
| Description | Disposal of wastewater |
| Source of data | Records of transfer of wastewater by sewage truck and statement of the wastewater treatment plant |
| Value(s) applied | Wastewater transfer records |
| Measurement methods and procedures | Wastewater generated will be collected in tanks/containers, and these waters will be transported and disposed of by the local municipality. |
| Monitoring frequency | At least one wastewater disposal record in one monitoring period. |
| QA/QC procedures |  |
| Purpose of data | Avoidance of wastewater discharge to the environment |
| Additional comment | - |

Principle 9.4 - Release of pollutants

| Data / Parameter | Solid waste |
| --- | --- |
| Unit | - |
| Description | a) Solid household waste b) Waste oil etc. (gearbox oil waste, oil filters etc.) |
| Source of data | a) Garbage bins' photos b) Removal invoices. |
| Value(s) applied | a) Garbage bins' photos b) Removal invoices will be provided. |
| Measurement methods and procedures | a) Solid household waste: By visual inspection. b) Waste oil: By checking invoices. |
| Monitoring frequency | a) Each monitoring period b) At least one waste oil (gearbox oil waste, oil filters etc.) disposal record in a one monitoring period. |
| QA/QC procedures |  |
| Purpose of data | Sustainably manage forests, combat desertification, halt and reverse land degradation, halt biodiversity loss. |
| Additional comment | - |

Principle 9.4 - Release of pollutants

| Data / Parameter | Noise Pollution |
| --- | --- |
| Unit | - |
| Description | Noise resulted from the turbines’ rotations |
| Source of data | Project Owner |
| Value(s) applied | - |
| Measurement methods and procedures | Local People living in vcinity of the project site will be interviewed for the noise resulted from the turbines’ rotations. |
| Monitoring frequency | Only Once Each Monitoring Period during this Crediting Period |
| QA/QC procedures | Interviews conducted with the local people |
| Purpose of data | To guarantee no negative impact of noise of the project activity to the habitants |
| Additional comment | - |

Principle 9.10 High Conservation Value Areas and Critical Habitats

| Data / Parameter | Biodiversity |
| --- | --- |
| Unit | - |
| Description | Bird strikes to the turbines |
| Source of data | Statement from appointed personnel who is constantly on the site. |
| Value(s) applied | Bird strikes to the turbines will be monitored. |
| Measurement methods and procedures | Interviews with local people will be conducted at each monitoring period. The appointed employee will complete an assessment form regarding the bird deaths around the site to record the monitoring outcome. |
| Monitoring frequency | Only Once Each monitoring period |
| QA/QC procedures | The appointed personnel of Project Proponent carries out monitoring. |
| Purpose of data | To prove that the project activity does not affect or alter ecosystems, critical habitats, landscapes, key biodiversity areas or sites. |
| Additional comment | - |

B.7.2 Sampling plan

N/A

B.7.3 Other elements of monitoring plan

The Monitoring Plan for the project includes the net electricity generation by the project activity in the scope of monitoring SDG 7. The electricity generated is metered by TEİAŞ by two meters placed on the switchgear station where the plant is connected to the national grid. Those meters provide official data, which is read and recorded monthly by TEİAŞ officers and is co-signed into a protocol between the project owner and TEİAŞ. The maintenance and calibration of the meters are also done by TEİAŞ, which ensures the accuracy and quality of the measurements. In the scope of monitoring SDG 13, the monthly electricity generation values will be monitored during monitoring periods. The employment records and Health and safety training provided to the employees will be monitored during the monitoring period in the scope of monitoring SDG 8.

The following shows the organisational structure for the Aliağa Wind Farm Project (Figure 8)

Figure 8: Organisational Structure for Aliağa WFP

The role of the staff that will be involved in the implementation of the monitoring plan is given in the following table (Table 7).

Table 11. Table indicating the role and responsibilities of the staff who will be involved in the implementation of the monitoring plan.

| Who | Role |
| --- | --- |
| General Coordinator | Data entry in an Excel workbook. Responsible for QA/QC, including archiving. Requests calibration and maintenance certificates, |
| Plant Manager | Electricity meter(s) reading Attends monthly meter reading with TEIAS representative |
| GS VER Consultant | Prepares emission report and accompanies verification(s). Quality check of the monitoring data reported in the monitoring workbook |
| Grid operator | Maintenance and calibration of main and control meters. Electricity meter(s) reading. |

#### SECTION C. DURATION AND CREDITING PERIOD

##### C.1. Duration of project

C.1.1 Start date of project

The project activity begins in 09/04/2010, first commissioning date.

C.1.2 Expected operational lifetime of project

The expected lifetime of the Aliaga WFP is 25 years 0 months.

##### C.2. Crediting period of project

C.2.1 Start date of crediting period

Start date of the second crediting period: 09/04/2017

End date of the second crediting period: 08/04/2024

C.2.2 Total length of crediting period

7 years

#### SECTION D. SUMMARY OF SAFEGUARDING PRINCIPLES AND GENDER SENSITIVE ASSESSMENT

##### D.1 Safeguarding Principles that will be monitored

| Principles | Mitigation Measures added to the Monitoring Plan |
| --- | --- |
| Principle 3. Community Health, Safety and Working Conditions | The project will safeguard public from any potential electricity related risks, the site is safeguarded and access to project site is only possible under the supervision of the security team. In addition to all the turbines are fenced and the fences are grounded to avoid any third-party injury or accident related to high voltage. Similarly, the immediate switch gear area and the main control chamber and substation is also fenced and guarded. Moreover, the positive contributions to the local community to increase the livelihood of the poor will be monitored. Donation records to the local activities will be provided as proof. |
| Principle 6.1 Labour Rights | The company will provide job opportunities to local people. SGK records of employees will be provided during each monitoring period. Moreover, health and safety training will be provided to all of the employees |
| Principle 9.4 Release of pollutants | Wastewater generated will be collected in septic tanks and transported to the Municipality's wastewater treatment plant. In this way, discharge of wastewater will not be allowed. |
| Principle 9.4 Release of pollutants | Waste oil will be vacuumed by vacuum trucks regularly. In this way, discharge of plant-sourced waste oil will not be allowed. |
| Principle 9.4 Release of pollutants | Garbage bins' photos will be provided for solid household waste. In this way, solid waste disposal will not be allowed. |
| Principle 9.4 Release of pollutants | To guarantee no negative impact of noise of the project activity to the habitants noise resulted from the turbines’ rotations will be monitored. Local People living in vicinity of the project site will be interviewed for the noise resulted from the turbines’ rotations once during each Monitoring Period. |
| Principle 9.10 High Conservation Value Areas and Critical Habitats | The Project is not located in a high conservation value area or within critical natural habitats or critical biodiversity areas or sites identified. Therefore, the project activity does not affect or alter ecosystems, critical habitats, landscapes, key biodiversity areas or sites identified. However, bird nests and carcasses on the project site will be observed by appointed personnel periodically. |

##### D.2. Assessment that project complies with GS4GG Gender Sensitive requirements

| Question 1 - Explain how the Project reflects the key issues and requirements of Gender Sensitive design and implementation as outlined in the Gender Policy? | Gold Standard Gender Policy (https://globalgoals.goldstandard.org/101-1-g-gold-standard-gender-policy/), p. 10 "Foundational gender-sensitive requirement - This strengthens Gold Standard's 'do no harm' approach and addresses safeguards to prevent or mitigate adverse impacts on women or men and girls and boys. Such action is mandatory for all projects seeking Gold Standard certification and includes compliance with the gender 'do no harm' safeguards, gender gap analysis and gender-sensitive stakeholder consultations." The Project is a renewable energy project and not gender-sensitive Project. The Project does not impact women or men negatively. |
| --- | --- |
| Question 2 - Explain how the Project aligns with existing country policies, strategies and best practices | The Project does not involve and is not complicit in discrimination based on gender, race, religion, sexual orientation or any other basis. Turkey signed the convention of the International Labour Organization. The related articles are 100 and 111. The project owner respects Article 5/8425 of Labour Law; Which states no discrimination based on gender, race, religion, sexual orientation, or other basis is allowed. |
| Question 3 - Is an Expert required for the Gender Safeguarding Principles & Requirements? | No. The Project does not involve and is not complicit in any form of discrimination based on gender, race, religion, sexual orientation or any other basis. |
| Question 4 - Is an Expert required to assist with Gender issues at the Stakeholder Consultation? | No. At the Stakeholder Consultation, women are free to say anything regarding the Project. Their opinions and comments are also considered while evaluating the Project at the Stakeholder Consultation. |

#### SECTION E. SUMMARY OF LOCAL STAKEHOLDER CONSULTATION

The below is a summary of the 2 step GS4GG Consultation for monitoring purposes. Please refer to the separate Stakeholder Consultation Report for a complete report on the initial consultation and stakeholder feedback round.

##### E.1 Summary of stakeholder mitigation measures

A Local Stakeholder Consultation Meeting in line with Gold Standard Requirements was held on 07 November 2008 to develop the Project as a Gold Standard VER project. The Gold Standard Organization process for VER includes two round stakeholder process. The second part of the Consultation is the Stakeholder Feedback Round held from February 2009 till April 2009. The participants were provided information about the Project's ongoing activities and let to provide their comments. The comments from the participants were positive for Aliağa WFP. During the first crediting period, general concerns of the participants regarded the employment opportunities that project activity would enable, the radiation effect of the turbines, developments on the vegetation. The project proponent ensured that the project activity enabled more employment opportunities in the area, and the employees were selected from the local people.

Regarding radiation concerns, the project proponent ensured that the project does not cause any electromagnetic radiation like a base station erected for wireless communication.

Moreover, while the project area is plain agricultural land, no distinct flora is affected by project activities. Furthermore, Project Documents and Feedback forms were enabled for the stakeholders to access from February 2009 till April 2009, and within this period, no comments were received. A grievance mechanism was established with the support of the Mukhtar for stakeholders to forward their requests or concerns regarding the project activities. In Turkey, mukhtars are the most relevant persons in the villages for establishing a grievance mechanism. Their offices are some of the few places the locals visit very often for different purposes, such as requesting some official letters. Whenever a problem arises in the village as the first thing, locals go to the mukhtars office to express their concerns, situations to find solutions and reflect on their issues with the Mukhtar. It has been decided that the Mukhtar will also take an active role in monitoring the requests of the participants so that a grievance mechanism situating the Mukhtar at the centre was established for this project activity. Mukhtar was provided all the contact information of the responsible persons from the project activity. Whenever a complaint arises from the local people or Mukhtar himself arises a concern regarding the project activity, he can directly contact the relevant responsible persons.

For the CP renewal, no other meeting for this project was conducted apart from the remote site visit due to the travel restrictions imposed due to the COVID-19 pandemic. However, an announcement poster, which indicates that the project will continue its operation, was hung in the village where everyone could see it. Also, in the poster, local stakeholders were informed that a Continuous Input Process Book was provided to Muhtar of Atçılar village so that they could inform their complaints and feedback for 30 days regarding the project if they have. Also, on that poster, they can reach the contact information of the responsible person of the project to inform their complaints directly on the phone. During this time (input/grievance process for two months), no feedback or complaints were reported on the Continuous Input Process Book (logbook), which was provided to Muhtar of Atçılar village.

During the online site visit conducted with VVB, the local people were interviewed, and the general outcome of the interviews was positive verbally. Opinions of the stakeholders have been taken in the online site visit, and no complaints or problems were recorded regarding the Aliağa WFP. So, no negative feedback has been received from Aliağa WFP personnel or local people regarding this Project. Moreover, when the outcome was evaluated in general, it was seen that the Project had a positive effect on the stakeholders. A stakeholder feedback round was held between 11/01/2022 and 11/03/2022. Contact information of the Project Owner was shared with the stakeholders when any negative situation arose regarding the Project Activity. Although the general outcome of the discussions with the local people was positive during the remote site visit, the Project Owner agreed to regularly follow up with the local people whether they have any problems or requests. With the Grievance Mechanism established, local stakeholders will have a chance to submit their requests and complaints to the Project Owner about the project. Moreover, all project information was published on web site of Life Enerji Ltd. Şti from 11.01.2022 to 11.03.2022 (https://lifeenerji.com/blog/aliaga-ruzgar-enerji-santrali/), enabling all stakeholders to reach and comment on the documents. At the end of the SFR period, no feedback or complaints were received on the Life Enerji Website.

##### E.2 Final continuous input / grievance mechanism

| Method | Include all details of Chosen Method (s) so that they may be understood and, where relevant, used by readers. |
| --- | --- |
| - Continuous Input / Grievance Expression Process Book - Electronically Grievance Expression - Other | - Continuous Input Process Book was provided to Muhtar of Atcılar village. Muhtar is the representative of the village and the most appropriate person to handle the book and complaints from the village. - All project information regarding the Project will be on the website of Life Enerji enabling stakeholders to reach and comment. - Other than the mukhtar, the locals can directly call or reach (go to his office) Mr Burak Karatop regarding the problems related to the project activity. Burak Karatop is the responsible person from the project activity who is constantly on site. |
| GS Contact (mandatory) | help@goldstandard.org |
| Muhtar of Atcılar Village: | Rasim Akdeniz |
| Other (Responsible person at the Project Site): | Burak Karatop E-Mail: burak.karatop @gmail.com Phone: +90 533 865 32 98 |

### Appendix 1 - Safeguarding Principles Assessment

| Assessment Questions/ Requirements | Justification of Relevance (Yes/potentially/no) | How Project will achieve Requirements through design, management or risk mitigation. | Mitigation Measures added to the Monitoring Plan (if required) |  |
| --- | --- | --- | --- | --- |
| Principle 1. Human Rights |  |  |  |  |
| - The Project Developer and the Project shall respect internationally proclaimed human rights and shall not be complicit in violence or human rights abuses of any kind as defined in the Universal Declaration of Human Rights - The Project shall not discriminate with regards to participation and inclusion | 1.Yes 2.Yes | 1. Turkey is a party to Universal Declaration of Human Rights: http://ua.mfa.gov.tr/detay.aspx?2634 Turkey is a party to the Universal Declaration of Human Rights, therefore does not violate these rights and it's not a matter of discussion for Turkey. Therefore, the project developer and the project do respect nationally and internationally proclaimed human rights and is not complicit in violence or human rights abuses of any kind. The project respects internationally proclaimed human rights including dignity, cultural property. 2. Turkey is a party to Universal Declaration of Human Rights: http://ua.mfa.gov.tr/detay.aspx?2634 Therefore, the project will not discriminate with regards to participation and inclusion. | 1.N/A 2.N/A |  |
| Principle 2. Gender Equality |  |  |  |  |
| - The Project shall not directly or indirectly lead to/contribute to adverse impacts on gender equality and/or the situation of women - Projects shall apply the principles of non-discrimination, equal treatment, and equal pay for equal work - The Project shall refer to the country's national gender strategy or equivalent national commitment to aid in assessing gender risks - (where required) Summary of opinions and recommendations of an Expert Stakeholder(s) | 1.Yes 2.Yes 3.Yes 4.- | 1. The project does not adversely affect men and women in marginalized or vulnerable communities because it creates stable jobs and incomes for local men and women. The project does not reduce or put at risk women’s access to or control of resources, entitlements and benefits because the project owner comply with the Labor Code. In the main office of the project owner company there are women employees as well. Therefore, Project contributes to recognition of women rights implicitly. Turkey is also party to Convention on Discrimination since 1967 to prevent any form of discrimination; http://ua.mfa.gov.tr/files.ashx?872 2. The project owner complies with regulations of Turkey’s law. Therefore, the project will not discriminate with regards to participation. Men and women are paid equally for work of equal value. 3. Turkey has ratified ILO convention 100, 111, 122 and 142, which provides gender equality and promotes women’s employment http://www.ilo.org/ankara/areas-of-work/equality-discrimination/lang--tr/index.htm 4.- | 1. N/A 2. N/A 3. N/A 4. N/A |  |
| Principle 3. Community Health, Safety and Working Conditions |  |  |  |  |
| - The Project shall avoid community exposure to increased health risks and shall not adversely affect the Health of the workers and the community | 1.Yes | 1. The project leads to safe working condition and improvement in health as it will replace coal as fuel with wind which is clean and safe. Further, periodic Health and safety trainings are being implemented for all employees to ensure prevention of any unsafe working condition. Turkey has ratified ILO convention 155 and about work safety and precautions https://www.ilo.org/global/standards/subjects-covered-by-international-labour-standards/occupational-safety-and-health/WCMS_356966/lang--en/index.htm | 1. Health and Safety trainings are provided for all employees regularly. |  |
| Principle 4.1 Sites of Cultural and Historical Heritage |  |  |  |  |
| Does the Project Area include sites, structures, or objects with historical, cultural, artistic, traditional or religious values or intangible forms of culture? | No | According to the approved exemption of environmental impact assessment, the project area does not include sites, structures, or objects with historical, cultural, artistic, traditional or religious values or intangible forms of culture. | N/A |  |
| >> |  |  |  |  |
| Principle 4.2 Forced Eviction and Displacement |  |  |  |  |
| Does the Project require or cause the physical or economic relocation of peoples (temporary or permanent, full or partial)? | No | For the project activity, no resettlement is required. | N/A |  |
| >> |  |  |  |  |
| Principle 4.3 Land Tenure and Other Rights |  |  |  |  |
| Does the Project require any change, or have any uncertainties related to land tenure arrangements and/or access rights, usage rights or land ownership? | No | There is no need for expropriation. Land acquisition was done according to the Turkish Expropriation Laws and Regulations. | N/A |  |
| >> |  |  |  |  |
| Principle 5. Corruption |  |  |  |  |
| - The Project shall not involve, be complicit in or inadvertently contribute to or reinforce corruption or corrupt Projects | 1.Yes | The Project does not involve any kind of corruption. Turkey is a party to United Nation Convention against Corruption since 2006; http://ua.mfa.gov.tr/detay.aspx?15042 Moreover, Turkey has ratified several conventions on bribery and corruption including OECD and UN conventions http://www.masak.gov.tr/en/LaunderingProceedsofCrime/Chronology.htm | The Project owner has not any negative track record related to corruption or any such activity whatsoever. |  |
| Principle 6.1 Labour Rights |  |  |  |  |
| - The Project Developer shall ensure that all employment is in compliance with national labour occupational health and safety laws and with the principles and standards embodied in the ILO fundamental conventions - Workers shall be able to establish and join labour organisations - Working agreements with all individual workers shall be documented and implemented and include: - Working hours (must not exceed 48 hours per week on a regular basis), AND - Duties and tasks, AND - Remuneration (must include provision for payment of overtime), AND - Modalities on health insurance, AND - Modalities on termination of the contract with provision for voluntary resignation by employee, AND - Provision for annual leave of not less than 10 days per year, not including sick and casual leave. - No child labour is allowed (Exceptions for children working on their families' property requires an Expert Stakeholder opinion) - The Project Developer shall ensure the use of appropriate equipment, training of workers, documentation and reporting of accidents and incidents, and emergency preparedness and response measures | 1.Yes 2.Yes 3.Yes 4.Yes 5.Yes | Project owner protects labours rights of all employees within this company. Workers might have occupational accidents during construction and operation phase. According to project developer, during construction and operational phase of the project "Health and Occupational Safety Regulation" will be followed. Regulation could be found under this link too: http://www.mevzuat.gov.tr/MevzuatMetin/1.5.6331.pdf 1. Turkey has ratified ILO 87 and 98 conventions. All employee are recruited according to the national legislations. Turkey is a party of IPEC (http://www.ilo.org/ipec/programme/lang--en/index.htm and http://www.ilo.org/ipec/Regionsandcountries/lang--en/index.htm) since 1992 and ratified ILO convention 138 and 182 ( http://www.ilo.org/public/turkish/region/eurpro/ankara/about/sozlesmeler.htm). Turkey has ratified ILO convention 155 and about work safety and precautions. 2. In accordance with the Labour Code of Turkey, workers should have the right to establish and join the organization that they consider necessary 3. The project owner follows regulations of Labour Code of Turkey. All employee are provided with labour contracts, medical insurance and regular health-check as well as social insurance and unemployment insurance. 4. Trained technicians are involved in construction and operation and maintenance of plants. Therefore, no child labour is involved. 5. Necessary health and safety measures will be taken during operation phase according the regulation of health and safety reguirements in construction Works (http://www.resmigazete.gov.tr/eskiler/2013/10/20131005-2.htm). Additionally, relevant staff will be trained to be able to work with high voltages, high heights and heavy machineries. | 1. N/A 2. N/A 3. N/A 4. N/A 5. N/A |  |
| Principle 6.2 Negative Economic Consequences |  |  |  |  |
| - Does the Project cause negative economic consequences during and after project implementation? | No | The project activity involves electricity generation from local and renewable sources. Since Turkey is dependent on import fuel (mainly natural gas and coal), project will not generate any risk but contribute to local economy. Project Activity provides job opportunities for local people. By this way, it contributes improvement of economy. | N/A |  |
| >> |  |  |  |  |
| Principle 7.1 Emissions |  |  |  |  |
| Will the Project increase greenhouse gas emissions over the Baseline Scenario? | No | The Project will reduce the emission of 191,154 tCO2e/year compared to the Baseline Scenario as it replaces electricity generated from fossil fuel fired power plants with zero emissions electricity from the wind power plant. On the contrary, it helps to reduce GHG emissions by producing green energy. | N/A |  |
| >> |  |  |  |  |
| Principle 7.2 Energy Supply |  |  |  |  |
| Will the Project use energy from a local grid or power supply (i.e., not connected to a national or regional grid) or fuel resource (such as wood, biomass) that provides for other local users? | Partially | The Project’s purpose is to supply clean energy from the wind power plant to the national grid. Plant sometimes can use energy from local grid in the absence of wind. However, this amount is really small when compared to its production of green energy amount. | N/A |  |
| >> |  |  |  |  |
| Principle 8.1 Impact on Natural Water Patterns/Flows |  |  |  |  |
| Will the Project affect the natural or pre-existing pattern of watercourses, ground-water and/or the watershed(s) such as high seasonal flow variability, flooding potential, lack of aquatic connectivity or water scarcity? | No | According to the PIF, there is no aqua production and protected aquifers close to the plant. No lakes or streams are found in the vicinity of the project area. | N/A |  |
| >> |  |  |  |  |
| Principle 8.2 Erosion and/or Water Body Instability |  |  |  |  |
| Could the Project directly or indirectly cause additional erosion and/or water body instability or disrupt the natural pattern of erosion? | No | The Project is being implemented in a proper way (by considering the concerns indicated via the entire principle 4.2.2 Erosion and/or Water Body Instability): There is no interruption to the hydrological systems in a WPP | N/A |  |
| >> |  |  |  |  |
| Principle 9.1 Landscape Modification and Soil |  |  |  |  |
| Does the Project involve the use of land and soil for production of crops or other products? | No | The Project is being implemented in a proper way (by considering the concerns indicated via the entire principle Landscape Modification and Soil): Only potential impact to soil would be observed due to construction activities of the Project, and these negligible impacts are not permanent. Furthermore, there is an access road to the project area so that there is no problem in accessing the area. The necessary attention to be paid to the speed limits of the trucks and the material inside the trucks will be covered. Trucks to be loaded in line with the axle load and will not be overloaded, the top 10% of the material to be moisturised. | N/A |  |
| >> |  |  |  |  |
| Principle 9.2 Vulnerability to Natural Disaster |  |  |  |  |
| Will the Project be susceptible to or lead to increased vulnerability to wind, earthquakes, subsidence, landslides, erosion, flooding, drought or other extreme climatic conditions? | No | The Project is being implemented in a proper way (by considering the concerns indicated via the entire principle Vulnerability to Natural Disaster): The project area is not a place to specific extreme climatic conditions and harmful natural events such as earthquake. |  | N/A |
| >> |  |  |  |  |
| Principle 9.3 Genetic Resources |  |  |  |  |
| Could the Project be negatively impacted by or involve genetically modified organisms or GMOs (e.g., contamination, collection and/or harvesting, commercial development, or take place in facilities or farms that include GMOs in their processes and production)? | No | The Project is being implemented in a proper way (by considering the concerns indicated via the entire principle 4.3.3 Genetic Resources): There is no relevance to GMO of a Wind Power Plant. |  | N/A |
| >> |  |  |  |  |
| Principle 9.4 Release of pollutants |  |  |  |  |
| Could the Project potentially result in the release of pollutants to the environment? | No | During this Crediting Period the Project Activity will produce domestic waste due to employee but it will be collected appropriately. Also, waste oil will be generated due to operation of the wind turbines and they will also be collected and disposed following related regulations and precautions defined by the laws and the Municipality. Moreover, wastewater generated by the employee use will be collected and disposed appropriately following relevant regulations. According to PIF, nearest settlement (Seklik Village) is 1 km away from the project site. Distance-noise calculation for construction period of the project activity shows that the noise level for this length is 40.59 dBA, which is below minimum legal limit values i.e. 50 dBA for night and 60 dBA for daylight. The noise level from turbines during operation is low and under legal limits. Therefore, no negative impact of noise of the project activity to the habitants is expected during operation period. The same is valid for shadow flickering effect. Since the nearest residential house is 600m away from the closest turbine there is no shadow flickering effect. |  | Wastewater produced will be collected in an impermeable septic tank and will be periodically transferred to treatment plant. This process will be handled according to the Regulation of Ministry of Environment and Forestry. Waste oil will be vacuumed by vacuum truck regularly. By this way, discharge of plant sourced waste oil will not be allowed. Following PIF, all waste generated by the workers and machines will be collected in separate closed bins (plastic, metals etc.) and then they will be collected by Seklik Municipality. Non recyclable wastes will be collected in impermeable closed bins. Garbage bins' photos will be provided for solid household waste. By this way, solid waste disposal will not be allowed. |
| >> |  |  |  |  |
| Principle 9.5 Hazardous and Non-hazardous Waste |  |  |  |  |
| Will the Project involve the manufacture, trade, release, and/ or use of hazardous and non-hazardous chemicals and/or materials? | No | The proposed Project activity is a renewable energy project and doesn't involve any hazardous chemicals & other materials. The host party has its credible legislation "Health and Occupational Safety Regulation". Regulation could be found under this link too: http://www.resmigazete.gov.tr/eskiler/ 2012/06/20120630-1.htm Hazardous waste including lubricant, grease, light bulb, accumulator, etc. may release during the maintenance process of equipment; and Non-hazardous waste including domestic solid waste and domestic waste water are generated from worker’s activities. |  | The following mitigation measures will be applied to the project activity. Hazardous wastes are collected and treated by the third authorized party in accordance with local laws and related regulations; Non-hazardous wastes are collected and treated in accordance with local laws and related regulations. All relevant legal building codes will be applied appropriately. |
| >> |  |  |  |  |
| Principle 9.6 Pesticides & Fertilisers |  |  |  |  |
| Will the Project involve the application of pesticides and/or fertilisers? | No | The Project’s purpose is to supply clean energy from the wind power plant to the national grid. Therefore the Project does not involve the application of pesticides and/or fertilizers. |  | N/A |
| >> |  |  |  |  |
| Principle 9.7 Harvesting of Forests |  |  |  |  |
| Will the Project involve the harvesting of forests? | 1.No | The Project is being implemented in a proper way (by considering the concerns indicated via the entire principle 4.3.7 Harvesting of Forests): There has not been a significant forestation during the construction phase (i.e. project has been approved as EIA positive) and the Project does not involve an operation that requires forest harvesting. |  | N/A |
| >> |  |  |  |  |
| Principle 9.8 Food |  |  |  |  |
| Does the Project modify the quantity or nutritional quality of food available such as through crop regime alteration or export or economic incentives? | 1.No | The Project is being implemented in a proper way (by considering the concerns indicated via the entire principle 4.3.8 Food): The Project does not modify the quantity or nutritional quality of food available such as through crop regime alteration or export or economic incentives. |  | N/A |
| >> |  |  |  |  |
| Principle 9.9 Animal husbandry |  |  |  |  |
| Will the Project involve animal husbandry? | 1.No | The Project is being implemented in a proper way (by considering the concerns indicated via the entire principle 4.3.9 Animal husbandry): The Project does not involve any operation that disrupt husbandry and agriculture in the region. |  | N/A |
| >> |  |  |  |  |
| Principle 9.10 High Conservation Value Areas and Critical Habitats |  |  |  |  |
| Does the Project physically affect or alter largely intact or High Conservation Value (HCV) ecosystems, critical habitats, landscapes, key biodiversity areas or sites identified? | 1.No | There is no endangered flora or fauna in the region. The project site has no protection status in terms of National Park, Land Fence, Protection of Cultural and Natural Assets and similar laws. The project is not located in an area within a high conservation value area or within critical natural habitats or key biodiversity areas or site identified. Therefore, the project activity does not affect or alter ecosystems, critical habitats, landscapes, key biodiversity areas or sites identified. The project area is not on the migration path of birds therefore the effect on birds by the project activity is negligible. However, proper mitigation measures will be applied to the project activity including: painting over turbine with white color and installation of warning lights. |  | N/A |
| >> |  |  |  |  |
| Principle 9.11 Endangered Species |  |  |  |  |
| Are there any endangered species identified as potentially being present within the Project boundary (including those that may route through the area)? AND/OR Does the Project potentially impact other areas where endangered species may be present through transboundary affects? | 1.No 2.No | 1. According to the PIF, the project area is not in natural protection zone. There are no endangered species identified as potentially being present the project Boundary. 2. According to PIF and also the bird routes map of Doga Dernegi (an environmental NGO in Turkey), the project is not on the route of migration birds. The project doesn’t affect adversely the migration of birds. |  | N/A |
| >> |  |  |  |  |

### Appendix 2- Contact information of project participants

| Organization name | Bergama RES Enerji Üretim A.Ş. |
| --- | --- |
| Registration number with relevant authority |  |
| Street/P.O. Box | Kuleli Sokak No:87 GOP Çankaya |
| Building |  |
| City | Ankara |
| State/Region |  |
| Postcode | 06700 |
| Country | Turkey |
| Telephone | +90312 446 30 23 |
| E-mail | contact@bilgin.com.tr |
| Website | https://bilgin.com.tr/tr |
| Contact person | Kadir Coşar |
| Title | Project Engineer |
| Salutation | Mr |
| Last name | Coşar |
| Middle name |  |
| First name | Kadir |
| Department |  |
| Mobile | +90 535 357 17 18 |
| Direct tel. | +90 216 460 00 55 |
| Personal e-mail | kadir.cosar@bilgin.com.tr |

### Appendix 4-Summary of Approved Design Changes

Please refer to Design Change Requirements for more information on procedures governing Design Changes

##### Revision History

| Version | Date | Remarks |
| --- | --- | --- |
| 1.2 | 14 October 2020 | Hyperlinked section summary to enable quick access to key sections Improved clarity on Key Project Information Inclusion criteria table added Gender sensitive requirements added Prior consideration (1 yr rule) and Ongoing Financial Need added Safeguard Principles Assessment as annex and a new section to include applicable safeguards for clarity Improved Clarity on SDG contribution/SDG Impact term used throughout Clarity on Stakeholder Consultation information required Provision of an accompanying Guide to help the user understand detailed rules and requirements |
| 1.1 | 24 August 2017 | Updated to include section A.8 on ‘gender sensitive’ requirements |
| 1.0 | 10 July 2017 | Initial adoption |

See, 37.5 and 52.5 MW Provisional Acceptance Letter (total 90 MW)

DEWI Micrositing Report 0719302A

Necessary Commitment Letter has been provided to the VVB.

UNFCCC, list of the National Focal Points https://unfccc.int/process/parties-non-party-stakeholders/parties/national-focal-point

Please See Page 17 of the latest PIF dated 04/2013

Geographical coordinates of the turbines are taken from the Generation License of the Project Activity.

See, TEİAŞ, Annual Development of Electricity Generation- Consumption and Losses in Turkey (2019):, https://webapi.teias.gov.tr/file/345a1333-4709-4506-a1b7-24c6332d32d0?download

See, Page 40, https://www.mmo.org.tr/sites/default/files/T%C3%BCrkiyeEnerjiG%C3%B6r%C3%BCn%C3%BCm%C3%BC_2018_Sunumu_%2812.04.2018%29.pdf

See : http://www.epdk.org.tr/documents/elektrik/mevzuat/kanun/Elk_Kanun_Yek_Kanun.doc (List I in page 10)

https://cdm.unfccc.int/methodologies/DB/XP2LKUSA61DKUQC0PIWPGWDN8ED5PG

https://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-07-v7.0.pdf

https://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-01-v7.0.0.pdf

This tool is applied to demonstrate the total lifetime of the onshore wind turbines https://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-10-v1.pdf

https://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-11-v3.0.1.pdf

See, https://www.teias.gov.tr/tr-TR/ilgili-raporlar  10 Yıllık talep tahminleri raporu https://webapi.teias.gov.tr/file/144aa8fe-8af6-4448-bea1-0a5141cbd22d?download

See, https://www.teias.gov.tr/tr-TR/ilgili-raporlar  10 Yıllık talep tahminleri raporu https://webapi.teias.gov.tr/file/144aa8fe-8af6-4448-bea1-0a5141cbd22d?download

See, https://www.epdk.gov.tr/Detay/DownloadDocument?id=GTRjtj8aTa8=  (page 104)

See, https://webapi.teias.gov.tr/file/163dfadf-80d8-4271-baf8-bc0b76710177?download

See: https://enerji.gov.tr/evced-cevre-ve-iklim-turkiye-ulusal-elektrik-sebekesi-emisyon-faktoru or https://enerji.gov.tr/Media/Dizin/BHIM/tr/Duyurular//Bilgi_Formu_Web_Sitesi_2019_202110071443.pdf

Version 6, http://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-01-v6.0.0.pdf (page 4)

Payments made by the PO to the Nordex for the maintenance work are provided to the VVB for review.

System Usage payments are now provided to the VVB for review.

Declaration of the project owner on this issue has been provided to the VVB.

Please See Figure 10 on Page 39 of the https://openknowledge.worldbank.org/bitstream/handle/10986/22630/9781464807251.pdf?sequence=5&isAllowed=y

DEWI Micrositing Report 0719302A

https://enerji.gov.tr/Media/Dizin/BHIM/tr/Duyurular//Bilgi_Formu_Web_Sitesi_2019_202110071443.pdf

https://enerji.gov.tr/Media/Dizin/BHIM/tr/Duyurular//Bilgi_Formu_Web_Sitesi_2019_202110071443.pdf

https://enerji.gov.tr/Media/Dizin/BHIM/tr/Duyurular//Bilgi_Formu_Web_Sitesi_2019_202110071443.pdf

https://enerji.gov.tr/Media/Dizin/BHIM/tr/Duyurular//Bilgi_Formu_Web_Sitesi_2019_202110071443.pdf

See page 63, https://www.epdk.gov.tr/Detay/DownloadDocument?id=daAg8BGM+14=

See, https://www.epdk.gov.tr/Detay/DownloadDocument?id=+6B2PMv4N4A=

See, https://www.mevzuat.gov.tr/mevzuat?MevzuatNo=6381&MevzuatTur=7&MevzuatTertip=5

The operational lifetime of the Aliaga WFP is determined using the methodological Tool 10 Tool to determine the remaining lifetime of equipment. https://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-10-v1.pdf. Also, the technical brochure of the turbines used states that “the wind turbine should produce high yields over a service life of at least 20 years” (Page 17 of N90 2500 Turbine technical Specifications Brochure) which was provided to the VVB for review

Start date of the first crediting period: 09/04/2010; End date of the first crediting period: 08/04/2017

Logbook and the muhtar’s statement regarding logbook were provided to the VVB.