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KEY PROJECT INFORMATION
	GS ID of Project 
	634

	Title of Project
	AY-YILDIZ 15 MW WPP

	Time of First Submission Date 
	03.09.2024

	Date of Design Certification
	05.07.2010

	Version number of the PDD
	04

	Completion date of version
	09.04.2025

	Project Developer 
	Life İklim ve Enerji Ltd. Şti.

	Project Representative
	Akenerji Elektrik Üretim A.Ş.

	Project Participants and any communities involved 
	1 - Akenerji Elektrik Üretim A.Ş.
2 - Life İklim ve Enerji Ltd. Şti.

	Host Country (ies)
	Türkiye

	Activity Requirements applied

	|_| Community Service Activity 
[bookmark: Check8]|X| Renewable Energy
|_| Land-Use and Forests Activity Requirements/Risks & Capacities
|_| N/A 

	Scale of the project activity
	|_| Micro scale
|_| Small Scale
[bookmark: Check3]|X| Large Scale

	Other Requirements applied
	N/A

	Methodology (ies) applied and version number
	ACM0002: Grid-connected electricity generation from renewable sources (Version 22.0)

	Product Requirements applied
	
|_| GHG Emissions Reduction & Sequestration 
[bookmark: Check5]|X| Renewable Energy Label 
|_| N/A 

	Project Cycle:
	|_| Regular
[bookmark: Check24]|X| Retroactive 






Table 1 – Estimated Sustainable Development Contributions
	SUSTAINABLE DEVELOPMENT GOALS TARGETED
	SDG IMPACT 
(DEFINED IN B.6)
	ESTIMATED ANNUAL AVERAGE
	UNITS OR PRODUCTS

	13 Climate Action (mandatory)
	Emission Reductions

	63,876
	t CO2e

	7 Affordable and Clean Energy
	Energy Generation
	98.7
	GWh

	8 Decent Work and Economic Growth
	Employees
	5
	Number of employments

	8 Decent Work and Economic Growth
	Employee Trainings
	5
	Quality of employment (Trainings)


[bookmark: _Ref49515919]
[bookmark: _Ref128431685]SECTION A. DESCRIPTION OF PROJECT
A.1 Purpose and general description of project 
AY-YILDIZ 15 MW WPP (refered to as “the project” hereon) has been developed by Akenerji Elektrik Üretim A.Ş. (hereon referred to as the “project participant”), which is the one of the largest and most credible companies of Turkey. Such projects will gap some of the national energy deficit, will contribute the development of local industries as it will allow the use of cheaper energy for industrialists and gain advantage in a competitive environment. 

AY-YILDIZ 15 MW WPP is located within the  boundaries of Bandırma District of Balıkesir province of  Turkey. Project has been commissioned in 01/09/2009 with 80 meter high wind 5 turbines, each having 3 MWe capacity, a 34.5 kV switchyard, and 28. 2 MWe total installed capacity with the purpose of contributing to national economy and providing a portion of growing electricity demand. In 2017, addition of four new turbine each having 3.3 MW capacity has been approved and permission for increasing total installed capacity to 28.2 MWe has been granted. In final layout of the project, total number of turbine installed has been 9 turbines (5×3 MWe + 4×3.3 MWe) with total installed capacity of 28.2 MWm/MWe. 

The project activity will generate greenhouse gas (GHG) emission reductions by avoiding CO2 emissions from electricity generation by fossil fuel power plants connected to Turkish National Power Grid. Total expected generation has increased from 51.32 GWh to 98.7 GWh after extension. With this extension, expected total emission reduction is calculated as 63,876 tCO2e per year, 447,132 tCO2e throughout the crediting period.

License application for the Wind Energy Power Plant was made to the Energy Market Regulatory  Authority and the Production License was awarded in accordance with the Electricity Market Law  (No: 4628) for a period of 49 years by the decision numbered EU/973-2/739 on November 11th, 2006.
Table 2 Milestone table
	Milestone
	Date

	License Issuance
	09/11/2006

	Carbon Certification Agreement
	10/06/2008

	License Amendment
	23/10/2008

	Equipment Purchase Contract
	05/11/2008

	Start of Construction
	01/03/2009

	LSC Meeting
	19/09/2008

	Commissioning Date/Start of 1st crediting Period
	01/09/2009

	Ministry approval for capacity extension
	23/01/2017

	License Issuance for capacity extension
	20/01/2017

	Commissioning of extension part
	27/01/2017

	End date of 1st crediting period
	31/08/2016

	Start date of 2nd  crediting period
	23/11/2017

	End date of 2nd crediting period
	22/11/2024	

	Start date of 3rd crediting period
	23/11/2024

	End date of 3rd crediting period
	22/11/2031



Eligibility of the project under Gold Standard
The project activity meets the eligibility criteria as per section 3.1.1 of the GS4GG Principles & Requirements document as described below: 
· The Project applies ACM0002: Grid-connected electricity generation from renewable sources --- Version 22.0. 
· The project type is power generation using wind energy, an eligible project type per 2.1.2 a) and 2.1.2 b) of the Eligible Project Types under Renewable Energy Activity Requirements. 
· The project activity results in the displacement of electricity from thermal power plants while contributing to the sustainable development of Türkiye. Hence, the Project contributes to the Gold Standard Vision and Mission. 
· Wind power is an approved project type and does not require approval from Gold Standard. 
· This project activity is not associated with geo-engineering or energy generated from fossil fuel or nuclear fossil fuel switch, nor does it enhance or prolong such energy generation. 
· The Project is not registered with any other schemes.
General Eligibility Criteria under Renewable Energy Activity Requirements 

Project Type: The project type is eligible as discussed above. The project is a wind power project. There is no change regarding the type of project during this renewal of the crediting period.

Project Location: The Project is located in Türkiye, which is not located in an HCV area. The location of the project is given under Section A.2 of this report. For this renewal of crediting period, there is no change in the location of the project. 
Project Area, Project Boundary and Scale:  The project is a large-scale project. For this renewal of crediting period, there is no change in the scale of the project. The project is not 
[bookmark: _Hlk182386638]Project Scale: The project seeks registration only in the GS4GG program. The proposed project activity has not participated in other emissions trading programs, other binding limits, other forms of environmental credits or other GHG programs. The project did not apply to or get rejected from any other GHG program. The project is not registered with any other voluntary or compliance schemes, and no potential exists for double counting of impacts. No GHG related environmental credits are applied to the Turkish power sector. Moreover, Türkiye's AY-YILDIZ WPP is not included in an ETS or other GHG trading mechanism. Since an ETS is not implemented in Türkiye, an emission reduction cap has not been enforced for any sector. As an ETS is not implemented in Türkiye, no double-counting risk exists for Türkiye and this project. 
Host Country Requirements: There are no additional laws that came into force that have an impact on the project activity, and the project activity is still in line with the available law and regulations. The project activity complies with applicable Türkiye’s laws and environmental, ecological and social regulations, including the law on investment, the law on environmental protection, the electricity law, the labour code, the law on gender equality, the land law.
Contact Details: This information has been given under Appendix 2 in this PDD. There is no change regarding information about the contact details of the project.
Legal Ownership: This information has been given in PDD. The Legal Ownership specified has not changed from the last crediting period.
Other Rights: This information has been given in PDD. The legal rights specified in the second crediting period have not changed after the crediting period renewal process. Akenerji Elektrik Üretim A.Ş. has the legal rights for the VER credits that will be issued under Gold Standard.
Official Development Assistance (ODA) Declaration: Project does not use any ODA or government incentive.

The emissions reduction calculations are based on two main parameters: the energy produced and the grid emission factor. The project baseline is still the “ACM0002 “Grid-connected electricity generation from renewable sources” Version 22.0. The project activity is still in line with the second crediting period. There will be no changes to the Eligibility Principles, Criteria and Requirements during this new crediting period.

After the renewal of crediting period, there were no updates to the Gold Standard activity, product, and methodology specific Requirements. For this crediting period, the specified product requirements are the same; 
· Product Requirements applied: Renewable Energy Label,
· Units/Products: VERs
Legal ownership of products generated by the project and legal rights to alter use of resources required to service the project
[bookmark: _Hlk182386728]Akenerji Elektrik Üretim A.Ş. is the developer and owner of the Project. The legal ownership of the products generated by the project belong to Akenerji Elektrik Üretim A.Ş., and the legal rights to alter use of resources required to service the project as well. The Republic of Türkiye is the host country. Türkiye ratified the Kyoto Protocol (on 5 February of 2009). Turkish National Focal Point to the UNFCCC is the Environment Ministry.

As the project developer, Akenerji Elektrik Üretim A.Ş. believes that efficient utilization of all kinds of natural resources with harmony coupled with responsible environmental considerations is vital for the sustainable development of Türkiye and the World. This has been a guiding factor for the shareholders towards the designation and installation of a wind power project. Other than the objective of climate change mitigation through a significant reduction in greenhouse gas (GHG) emissions, the Project has been carried out to provide a social and economic contribution to the region in a sustainable way. The benefits that the realization of the Project will gain compared to the business-as-usual scenario can be summarized under four primary indicators:

Environmental 
The project activities replace the grid electricity, which comprises different fuel sources causing greenhouse gas emissions. By substituting in the consumption of these fuels, it contributes to the conservation of water, soil, flora, and faunas. It transfers these natural resources and the additional supply of these primary energy sources to future generations. In the absence of the project activity, an equivalent amount of electricity would have been generated from the power plants connected to the grid, most of which are based on fossil fuels. Thus, the Project is replacing the greenhouse gas emissions (CO2, CH4) and other pollutants (SOX, NOX, particulate matters) from extraction, processing, transportation, and burning of fossil fuels for power generation connected to the national grid. 

Economical 
Firstly, the Project helps accelerate the growth of the wind power industry and stimulate the designation and production of renewable energy technologies in Türkiye. Then, other entrepreneurs, irrespective of the sector, are encouraged to invest in wind power generations. It also assists in reducing Türkiye’s increasing energy deficit and diversifying the electricity generation mix while reducing import dependency. Importantly, rural development is maintained in the areas around the project site by providing infrastructural investments to these remote villages. 

Social 
All project activities enhance local employment during the construction and operation of the wind farm. As a result, increased job opportunities and project trade activities partially eliminated local poverty and unemployment. Construction materials for the foundations, cables, and other auxiliary equipment were preferentially sourced locally. Moreover, as a contribution of the Project to the region's welfare, the quality of the electricity consumed in the region is increased by local electricity production, which also contributes to decreasing distribution losses. 

Technological 
The proposed Project's implementation contributes to the broader deployment of wind power technology locally and nationally. It demonstrates the viability of larger grid-connected wind farms that support improved energy security, alternative sustainable energy, and renewable energy industry development. This will also strengthen the pillars of the Turkish electricity supply based on ecologically sound technology.
A.2 Location of project
The project is located at Ayyıldız Hill near the Edincik town of Bandırma in the province of Balıkesir in Marmara, Türkiye. 
Figure 1 Location of the project activity
[image: ]



Figure 2 Project Site[footnoteRef:1] [1:  Please see Project Information File Named Kapasite Artışı 28.2 MW page 123] 

[image: ]
Table 3 Turbine coordinates[footnoteRef:2] [2:  Please see Provisional Acceptance 2017 Page 4/5] 

	Turbine No.

	Turbine coordinates (UTM ED 50)


	
	Latitude
	Longitude

	T1 
	574.923 
	4.467.686 

	T2 
	575.171 
	4.467.514 

	T3 
	575.482 
	4.468.079 

	T4 
	575.774 
	4.467.996 

	T5 
	576.023 
	4.467.825 

	T6 
	574655 
	4.467.279 

	T7 
	575542 
	4.468.554 

	T8 
	576049 
	4.468.376 

	T9 
	576361 
	4.468.359 



Figure 3 Turbines[footnoteRef:3] [3:  Please see Project Information File Named Kapasite Artışı 28.2 MW page 120] 

[image: ]



The wind turbines installed at the project site have a technical lifetime of 25 years[footnoteRef:4] as per CDM Tool 10 (Tool to determine the remaining lifetime of equipment Version 01). The estimated remaining lifetimes based on the commissioning years are as follows. The turbines commissioned in 2009 have 10 years remaining, having been in operation for 15 years. The turbines commissioned in 2017 have 18 years remaining, having been in operation for 7 years. The project ensures proper maintenance and operational best practices, supporting the full expected technical lifetime of the turbines. [4:  Tool 10 Version 01 
https://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-10-v1.pdf] 


There were no major technical failures or unexpected breakdowns recorded during this monitoring period. Maintenance and repair activities are conducted in a designated, sealed area to prevent environmental contamination, in accordance with the "Toprak Kirliliğinin Kontrolü ve Noktasal Kaynaklı Kirlenmiş Sahalara Dair Yönetmelik."[footnoteRef:5] Routine maintenance includes oil changes for generators and turbines, resulting in the generation of waste oil, which is stored in impermeable containers and managed per the "Atık Yağların Kontrolü Yönetmeliği."[footnoteRef:6] The site adheres to strict waste handling protocols, ensuring hazardous materials are properly categorized, labeled, and disposed of following regulatory requirements. Additionally, measures such as overflow prevention mechanisms and separate storage systems for different oil types are implemented to minimize environmental impact. [5:  Please see Project Information File named Kapasite Artışı 28.2 Page 20]  [6:  Please see Project Information File named Kapasite Artışı 28.2 Page 20
] 

Table 4 Technical Details of Wind Turbines
	Turbine Type

	
	Vestas V90/3000kW
	Vestas V112/3300kW

	Rotor

	Diameter
	90 m
	112 m

	Swept Area
	6362 m2
	9852 m2

	Speed, Dynamic Operation Range
	8.6 – 18.4
	6.2-17.7

	Number of Blades
	3
	3

	Tower

	Hub Height
	80 m/105 m
	84 m/94 m

	Operational Data

	Cut-in Wind Speed
	4m/s
	3 m/s

	Nominal Wind Speed
	15 m/s
	15 m/s

	Cut-out Wind Speed
	25 m/s
	25 m/s

	Generator

	Type Description
	Double fed asynchronous with wound rotor and slip rings
	Asynchronous with cage rotor

	Rated Power
	3.0 MW
	3500 kW

	Frequency
	50 Hz
	0-100 Hz



A.3 Technologies and/or measures
Wind Power Plants use wind energy converte bhyrs (WEC), called wind turbines to convert the wind energy into electrical energy. These turbines usually have usable lifetime of 20-25 years.[footnoteRef:7] [7:  https://www.twi-global.com/technical-knowledge/faqs/how-long-do-wind-turbines-last#:~:text=A%20good%20quality%2C%20modern%20wind,correct%20maintenance%20procedures%20being%20followed.
] 


The project uses 5 WEC’s of 3 MW each, with 90 meters rotor diameter and 4 four turbines with 3.3MW each . The average net capacity factor is calculated as 38.48% as per the feasibility report (page 6-2) submitted to DOE and annual electricity generation from these turbines are estimated to be 98.7 GWh. This energy is converted to 34.5 kV at the site switchyard and connected to the national grid.

The technical data of Vestas V90/3000kW and V112–3.3 MW used at site are given below.

A.4 Scale of the project
The project is a large scale project.
A.5 Funding sources of project 
The project activity doesn't have any public funding or Official Development Assistance (ODA) funding.


[bookmark: _Ref49515954]SECTION B. APPLICATION OF APPROVED GOLD STANDARD METHODOLOGY (IES) AND/OR DEMONSTRATION OF SDG CONTRIBUTIONS 
B.1. Reference of approved methodology (ies) 
The United Nations approved consolidated baseline and monitoring methodology applicable to this project is “Consolidated Methodology for Grid-connected electricity generation from renewable sources,” Version 22, valid as of 31/05/2024 (referred to as ACM0002 from here on).

ACM0002 refers to the following tools:
· “Tool to calculate the emission factor for an electricity system,” Version 07 (referred to as “Tool 07” from here on),
· “Tool to determine the remaining lifetime of equipment,” Version 1 (referred to as “Tool 10” from here on), and
· “Assessment of the validity of the original/current baseline and update of the baseline at the renewal of the crediting period,” Version 3.0.1, (referred to as “Tool 11” from here on).
B.2. Applicability of methodology (ies)
As the project’s installed capacity is over 15MW, it is considered a large-scale project per CDM rules, justifying the decision to use the large-scale ACM0002 Version 22.0 methodology.

The “Scope” Section in ACM0002 states:

“This methodology applies to grid-connected renewable energy generation project 
activities that include:
(a) Construction and operation of a Greenfield power plant; or
(b) Retrofitting, rehabilitation (or refurbishment), replacement or capacity addition of 
an existing power plant.” 

The project falls under the category of installing a Greenfield power plant, making this methodology applicable.
· Further, the methodology applies to grid-connected renewable energy generation project activities which integrate Battery Energy Storage System (BESS) to a Greenfield power plant or to an existing solar photovoltaic or wind power plant.

As there is no Battery Energy Storage System (BESS) integration, this condition is not applicable.

· Furthermore, the methodology applies to a grid-connected Greenfield pumped storage project (PSP) which is connected to a Greenfield renewable energy plant through a dedicated line and/or through the grid.

Also, this condition is not applicable as project acvtivity does not involve a grid-connected Greenfield pumped storage project which is not connected to a Greenfield renewable energy plant through a dedicated line and/or through the grid.

The applicability criteria and conditions are discussed in more detail as follows:

	Applicability Condition
	Justification

	This methodology is applicable to grid-connected renewable energy power generation project activities that:
(a) Install a Greenfield power plant;
(b) Involve a capacity addition to (an) existing plant(s);
(c) Involve a retrofit of (an) existing operating plant(s)/unit(s);
(d) Involve a rehabilitation of (an) existing plant(s)/unit(s); or
(e) Involve a replacement of (an) existing plant(s)/unit(s); or
(f) Install a Greenfield power plant together with a grid-connected Greenfield pumped storage power plant. The greenfield power plant may be directly connected to the PSP or connected to the PSP through the grid.
	Only condition “(a)” is applicable as the project activity involves the installation of a Greenfield power plant.

	 In case the project activity involves the integration of a BESS, the methodology is applicable to grid-connected renewable energy power generation project activities that:
0. a) Integrate BESS with a Greenfield power plant;
0. c) Integrate a BESS together with implementing a capacity addition to (an) existing solar photovoltaic[footnoteRef:8] or wind power plant(s)/unit(s); [8: 	In case of retrofit or capacity addition for concentrated solar power projects, stakeholders may submit a request for revision to this methodology, providing an apportioning approach to calculate the project emissions due to any fossil fuel consumption attributed to the increased electricity generation from the BESS.] 

0. c) Integrate a BESS to (an) existing solar photovoltaic or wind power plant(s)/unit(s) without implementing any other changes to the existing plant(s);
0. d) Integrate a BESS together with implementing a retrofit of (an) existing solar photovoltaic or wind power plant(s)/unit(s).

	As there is no Battery Energy Storage System (BESS) integration, this condition is not applicable.

	1. The methodology is applicable under the following conditions:
1. a) Hydro power plant/unit with or without reservoir, wind power plant/unit, geothermal power plant/unit, solar power plant/unit, wave power plant/unit or tidal power plant/unit;
1. b) In the case of capacity additions, retrofits, rehabilitations or replacements (except for wind, solar, wave or tidal power capacity addition projects) the existing plant/unit started commercial operation prior to the start of a minimum historical reference period of five years, used for the calculation of baseline emissions and defined in the baseline emission section, and no capacity expansion, retrofit, or rehabilitation of the plant/unit has been undertaken between the start of this minimum historical reference period and the implementation of the project activity;
1. c) In case of Greenfield project activities applicable under paragraph 5 (a) above, the project participants shall demonstrate that the BESS was an integral part of the design of the renewable energy project activity (e.g. by referring to feasibility studies or investment decision documents);
1. [bookmark: _Ref118302226][bookmark: _Hlk118146524]d) The BESS should be charged with electricity generated from the associated renewable energy power plant(s). Only during exigencies[footnoteRef:9] may the BESS be charged with electricity from the grid or a fossil fuel electricity generator. In such cases, the corresponding GHG emissions shall be accounted for as project emissions following the requirements under section 5.4.4 below. The charging using the grid or using fossil fuel electricity generator should not amount to more than 2 per cent of the electricity generated by the project renewable energy plant during a monitoring period. During the time periods (e.g. week(s), months(s)) when the BESS consumes more than 2 per cent of the electricity for charging, the project participant shall not be entitled to issuance of the certified emission reductions for the concerned periods of the monitoring period. [9: 	 For example, upon deep discharge of the batteries.] 


	This greenfield wind farm is a wind power plant/unit, satisfying condition “a”. Conditions “b” and “c” do not apply to the project as it is a greenfield project. Condition “d” is not applicable since there is no BESS.

	1. In case of hydro power plants, one of the following conditions shall apply:
2. a) The project activity is implemented in existing single or multiple reservoirs, with no change in the volume of any of the reservoirs; or
2. b) The project activity is implemented in existing single or multiple reservoirs, where the volume of the reservoir(s) is increased and the power density, calculated using equation (7), is greater than 4 W/m2; or
2. c) The project activity results in new single or multiple reservoirs and the power density, calculated using equation (7), is greater than 4 W/m2; or
2. d) The project activity is an integrated hydro power project involving multiple reservoirs, where the power density for any of the reservoirs, calculated using equation (7), is lower than or equal to 4 W/m2, all of the following conditions shall apply:
3. i) The power density calculated using the total installed capacity of the integrated project, as per equation (8), is greater than 4 W/m2;
3. ii) Water flow between reservoirs is not used by any other hydropower unit which is not a part of the project activity;
3. iii) Installed capacity of the power plant(s) with power density lower than or equal to 4 W/m2 shall be:
2.         a)Lower than or equal to 15 MW; and
2.         b) Less than 10 per cent of the total     installed capacity of integrated hydro power project.

	This condition applies to hydro power plants only, and is not relevant to the project activity.

	1. In the case of integrated hydro power projects, project participants shall:
3. a) Demonstrate that water flow from upstream power plants/units spill directly to the downstream reservoir and that collectively constitute to the generation capacity of the integrated hydro power project; or
3. b) Provide an analysis of the water balance covering the water fed to power units, with all possible combinations of reservoirs and without the construction of reservoirs. The purpose of water balance is to demonstrate the requirement of specific combination of reservoirs constructed under CDM project activity for the optimization of power output. This demonstration has to be carried out in the specific scenario of water availability in different seasons to optimize the water flow at the inlet of power units. Therefore, this water balance will take into account seasonal flows from river, tributaries (if any), and rainfall for minimum of five years prior to the implementation of the CDM project activity.

	This condition applies to integrated hydro power projects, which is not applicable to the project, which is a 15 MW greenfield wind farm.

	1. The methodology is not applicable to:
4. a) Project activities that involve switching from fossil fuels to renewable energy sources at the site of the project activity, since in this case the baseline may be the continued use of fossil fuels at the site;
4. b) Biomass fired power plants/units.

	The project does not involve switching from fossil fuels to renewable energy sources at the project site (a), and it is not a biomass fired power plant/unit (b). Thus, the project complies with the non-applicability conditions of this article.

	1. In the case of retrofits, rehabilitations, replacements, or capacity additions, this methodology is only applicable if the most plausible baseline scenario, as a result of the identification of baseline scenario, is “the continuation of the current situation, that is to use the power generation equipment that was already in use prior to the implementation of the project activity and undertaking business as usual maintenance”.

	This condition is relevant for retrofits, rehabilitations, replacements, or capacity additions. As the project is a greenfield wind farm, the article does not apply.



The project activity also meets the following applicability conditions of Tool 07, with justifications provided below.
	Applicability condition
	Applicability to this project activity

	This tool may be applied to estimate the OM, BM and/or CM when calculating baseline emissions for a project activity that substitutes grid electricity, i.e. where a project activity supplies electricity to a grid or a project activity that results in savings of electricity that would have been provided by the grid (e.g. demand-side energy efficiency projects). 
	Applicable.

The project activity is the implementation of a greenfield wind power,  thus substituting grid electricity that would be required otherwise without the project. 

	Under this tool, the emission factor for the project electricity system can be calculated either for grid power plants only or, as an option, can include off-grid power plants. In the latter case, two sub-options under the step 2 of the tool are available to the project participants, i.e. option IIa and option IIb. If option IIa is chosen, the conditions specified in “Appendix 1: Procedures related to off-grid power generation” should be met. Namely, the total capacity of off-grid power plants (in MW) should be at least 10 per cent of the total capacity of grid power plants in the electricity system; or the total electricity generation by off-grid power plants (in MWh) should be at least 10 per cent of the total electricity generation by grid power plants in the electricity system; and that factors which negatively affect the reliability and stability of the grid are primarily due to constraints in generation and not to other aspects such as transmission capacity.
	Applicable.

The project activity is the implementation of a greenfield wind power,  thus substituting grid electricity that would be required otherwise without the project. The emission factor is being calculated for grid power plants only.

	In case of CDM projects the tool is not applicable if the project electricity system is located partially or totally in an Annex I country. 
	Not applicable.

The project activity takes place in an Annex I country, yet this condition is not applicable, and the project is not a CDM project.

	Under this tool, the value applied to the CO2 emission factor of biofuels is zero
	Not Applicable.

The project activity is the implementation of a greenfield wind power,  thus substituting grid electricity that would be required otherwise without the project. It does not involve any kind of biofuels. However, if any biofuel plant is involved in the emission factor calculation, the zero value for the emission factor will be applied.




The applied methodology ACM0002 also refers to Tool 10, which is to determine the remaining lifetime of the equipment. Thus, Tool 10 is utilized for the project activity. As per this tool, a default value can be used if:
i. The project participants can demonstrate that the equipment has been operated and maintained according to the recommendations of the equipment supplier,
ii. There are no periodic replacement schedules or scheduled replacement practices specific to the industrial facility, that require early replacement of equipment before the expiry of the technical lifetime; and
iii. The equipment has no design fault or defect and did not have any industrial accident due to which the equipment cannot operate at rated performance levels.

The project activity follows a set of standard procedures to maintain the well-being of the equipment, and maintenance works are carried out by the manufacturing firm in line with the maintenance and service agreement. The plant also does not go through any periodic replacement schedules or scheduled replacement practices. The project activity also does not involve any design faults or defects and the plant did not have any industrial accidents due to which the equipment cannot operate at rated performance levels. 

Hence, Tool 10 and its default equipment lifetime values can be applied to the project activity.
B.3. Project boundary
According to the applied methodology, ACM0002 Version 22, the project boundary’s spatial extent contains the project power plant and all power plants physically connected to the electricity system as defined in Tool 07. In the case of the proposed project, the electricity generated at the plant is connected to Türkiye’s national electricity grid. Hence, the project boundary is considered the Host Country’s national electricity grid.

The table below provides an overview of the emissions sources included or excluded from the project boundary for the determination of baseline and project emissions.
	Source
	GHGs
	Included?
	Justification/Explanation

	Baseline scenario
	CO2 emissions from electricity generation in fossil fuel fired power plants that are displaced due to the project activity
	CO2
	Yes

	Main emission source

	
	
	CH4
	No
	Minor emission source

	
	
	N2O
	No
	Minor emission source

	Project scenario
	For wind power plants, emissions of CO2 from the project activity
	CO2
	No
	No emission source

	
	
	CH4
	No
	No emission source

	
	
	N2O
	No
	No emission source



B.4. Establishment and description of baseline scenario
The baseline scenario formulated in ACM0002 Version 22 in Section 5.2.1 parapgraph 27, is as follows:
“If the project activity is the installation of a Greenfield power plant with or without a BESS as described under paragraph 5(a) or paragraph 7(a) or paragraph 7(e) above, the baseline scenario is electricity delivered to the grid by the project activity that would have otherwise been generated by the operation of grid-connected power plants and by the addition of new generation sources, as reflected in the combined margin (CM) calculations described in TOOL07.”[footnoteRef:10] [10:  ACM0002 v.22 Section 5.2.1.] 

To calculate the GHG emission reductions, one would need BM, OM, and CM emission factor values per the Tool 7. The emission factor values calculated in the initial project description document have lost their validity. Since Türkiye’s Energy and Natural Resources Ministry began to publish factsheets containing emission factors’ values, it is required to use the official values and update the baseline accordingly. 
Hence, in accordance with ACM0002, the baseline scenario should be updated via the application of the Tool 11. Per the tool, two steps should be followed for the update briefing.
Regarding changes required for methodology implementation and baseline scenario in the second and third crediting periods, ACM0002 Version 22 Section 5.8 paragraph 74 suggests project participants refer to the Tool 11[footnoteRef:11].  This article is also valid for the proposed project activity as the BM, OM, and CM emission factors have changed. The previous BM, OM, and CM factors were calculated from scratch. This report has seen no need for such calculations since Türkiye’s Energy and Natural Sources Ministry started to issue factsheets for the value of the said factors in recent years. [11:  ACM0002 v.22 Section 5.8.] 

[bookmark: _Hlk190423609]Step 1: Assess the validity of the current baseline for the next crediting period
The current baseline’s validity is assessed using the following sub-steps.
Step 1.1: Assess compliance of the current baseline with relevant mandatory national and/or sectoral policies
The Project baseline is the “grid-connected electricity generation from renewable sources”. The Project is still in compliance with Electricity Market Law with Number 6446 dated 30/03/2013 and Law on Utilization of Renewable Energy Resources for the Purpose of Generating Electrical Energy with Number 5346 and dated 18/05/2005 (currrent legal framework, all required relevant regulations and laws). There is no changes or revision of these laws and legislation. The conclusion is that the baseline of the project activity complies and will continue to comply with the laws and regulations in the sector for the next crediting period.
Step 1.2: Assess the impact of circumstances
New circumstances in Türkiye impact the grid’s emission factor and, thus, on the project activity’s current baseline emissions. Accordingly, the emission factors for the second crediting period have been updated in line with the latest version of the “Türkiye’s National Electric Grid Emission Factor” for 2021, which is the latest available data published by official sources. There has been no major deviation or change in the market characteristics during the first crediting period.
Step 1.3: Assess whether the continuation of use of current baseline equipment(s) or an investment is the most likely scenario for the crediting period for which renewal is requested.
Türkiye is an energy importing country and the electricity is mostly generated by fossil fuels, which also has the largest share in energy expenses.  As a developing country with a fast-growing population, Türkiye attaches a great deal of importance to its energy diversification and security to reduce energy dependence on fossil sources.
According to Turkish Electricity Transmission Corporation (TEİAŞ) projections, the demand for energy in the country will reach 395.9 GWh by 2030.[footnoteRef:12]   In 2011, the total electricity consumption was at 230.3 GWh whereas in 2020, this figure reached 306.1 GWh – indicating at a 32 percent hike in a decade. [footnoteRef:13]  The figure below demonstrates the demand projections, with a realistic average of 3.3 percent increase per year. [12:  TEİAŞ Generation Capacity Projection for 2021-2025, Section 2.4 [TEİAŞ GCP]]  [13:  TEİAŞ GCP, Section 2.3] 

Figure 4 Energy Demand projection, Türkiye 2021-2030
[image: ]
[bookmark: _Hlk190423887]As seen in the figure below, coal and natural gas has been and continue to be dominant in Türkiye’s energy supply mix. In 2020, Türkiye supplied 106.2 GWh of electricity to its grid from coal, 69.3 GWh from natural gas, 78.1 GWh from hydro, 24.7 GWh from wind, 11.2 GWh from solar PV and 9.9 GWh from geothermal sources.[footnoteRef:14] [14:  International Energy Agency, Türkiye Data browser, Electric generation by source 1990-2020
data:text/csv;header=present;charset=utf-8,Source:%20IEA%20Electricity%20Information%20https://www.iea.org/data-and-statistics/data-product/electricity-information%0D%0ADocumentation:%20https://iea.blob.core.windows.net/assets/910f28b7-5276-4599-a349-097ab58aeea8/Ele_documentation.pdf%0D%0AThis%20data%20is%20subject%20to%20the%20IEA's%20terms%20and%20conditions:%20https://www.iea.org/terms%0D%0A%0A,Coal,Oil,Natural%20gas,Hydro,Geothermal,Biofuels,Wind,Waste,Other%20sources,Solar%20PV,Units%0D%0A1990,20181,3942,10192,23148,80,,,,,,GWh%0D%0A1995,28047,5772,16579,35541,86,222,,,,,GWh%0D%0A2000,38187,9311,46216,30879,76,166,33,8,46,,GWh%0D%0A2005,43192,5483,73445,39561,94,34,59,10,78,,GWh%0D%0A2010,55047,2180,98144,51796,668,332,2916,14,111,,GWh%0D%0A2015,76166,2224,99218,67146,3425,1241,11652,22,495,194,GWh%0D%0A2020,106269,323,69331,78119,9929,4390,24703,30,1072,11265,GWh
] 

Figure 5 Electricity supply projection by source, Türkiye 2020-2025
[image: Chart, bar chart

Description automatically generated]
[bookmark: _Hlk190423939]Thus, for the analysis of the baseline scenario it can be concluded that:
· Energy demand in Türkiye has been increasing and will continue to, for the foreseeable future.
· There is a crucial need for electricity generation investments to satisfy the demand which indicated that the proposed project activity’s energy generation would otherwise be generated by other power plants.
· Fossil fuels will continue to dominate the generation mix while hydro-included renewable sources will remain low and non-hydro energy contribution will stay negligible. This also demonstrates that the most of new capacity additions will consist of fossil-fuel fired power plants.
All of the aforementioned factors indicate that if Ay-yıldız WPP does not generate renewable energy, the power from a new grid-connected thermal plant would be the most likely scenario – which would increase the amount of GHGs released to the atmosphere.
Step 1.4: Assessment of the validity of the data and parameters
Emission reduction calculations are based on two main parameters; energy generation and grid emission factor. As a methodology requirement, the grid emission factor has been updated during the renewal of the crediting period.
Step 2: Update the current baseline and the data and parameters
Step 2.1: Update the current baseline
As mentioned in Step 1 of this section, ACM0002 Version 22 prescribes the baseline scenario for projects being “installation of a Greenfield power plant” as follows:
“The baseline scenario is that the electricity delivered to the grid by the project activity would have otherwise been generated by the operation of grid-connected power plants and by the addition of new generation sources, as reflected in the combined margin (CM) calculations described in ‘TOOL07: Tool to calculate the emission factor for an electricity system’.”[footnoteRef:15] [15:  ACM0002 v.2 Section 5.2.1.] 

Thus, there has been no deviation in the baseline scenario.
Step 2.2.: Update the data and parameters
The grid emission factor has been updated in compliance with the Energy and Natural Resources Ministry’s publication, which includes emission factor values calculated for the year 2021.[footnoteRef:16] [16:  https://enerji.gov.tr//Media/Dizin/EVCED/tr/%C3%87evreVe%C4%B0klim/%C4%B0klimDe%C4%9Fi%C5%9Fikli%C4%9Fi/TUESEmisyonFktr/Belgeler/TUESEF_Bilgi_Formu.pdf
The emission factor PDF file has also been shared with the VVB as the link might not work outside of Türkiye.] 



B.5. Demonstration of additionality
This section has been assessed during registration.
B.5.1 Prior Consideration 
Only (non-CER) retroactive projects and all projects undergoing Design Changes to include new technologies/measures are required to demonstrate Prior consideration by submission timelines.
B.5.2 Ongoing Financial Need
The project activity has been making progress in the voluntary carbon market with regular validation and verification processes. Since 2010, the project has been issuing and retiring VERs which demonstrate the project’s dedication to the VCM. The revenue generated from the sale of VERs, help the project to pay some of its operational expenses.  
In just two years, from January 2022 to December 2024, the system usage and operation fees increased by 647%. Hence, the project needs to continue acquiring VERs to be able to pay these expenses.
B.6. Sustainable Development Goals (SDG) outcomes
Relevant Target/Indicator for each of the three SDGs
	SUSTAINABLE DEVELOPMENT 
GOALS TARGETED
	MOST RELEVANT 
SDG TARGET
	SDG IMPACT

	
	
	
INDICATOR (PROPOSED OR SDG INDICATOR)

	13 Climate Action 
(mandatory)
	13.2 Integrate climate change measures into national policies, strategies and planning
	Emission Reductions, Avoidance in Air and Water Pollution
13.2.2 Total greenhouse gas emissions per year

	7 Affordable and Clean Energy
	7.2. By 2030, increase substantially the share of renewable energy in the global energy mix
	MWh of renewable energy generated
7.2.1 Renewable energy share in the total final energy consumption

	8 Decent Work and Economic Growth
	8.8 Protect labour rights and promote safe and secure working environments for all workers, including migrant workers, in particular women migrants, and those in precarious employment
	Number of people employed and trained
8.8.2 Level of national compliance with labour rights (freedom of association and collective bargaining) based on International Labour Organization (ILO) textual sources and national legislation, by sex and migrant status



B.6.1 Explanation of methodological choices/approaches for estimating the SDG Impact
[bookmark: _Hlk111043363]
The project contributes to climate change mitigation by displacing fossil fuels while meeting the host country’s growing energy demand. The impact is measured via the calculation of ERy emission reductions per year, in line with the applied methodology.
 
where,
		= Emission reductions in year y (t CO2)
 		= Baseline emissions in year y (t CO2)
 		= Project emissions in year y (t CO2)

and,
 
where,
		= Baseline emissions in year y (t CO2)
	= Quantity of net electricity generation that is produced and fed into the grid as a result of the implementation of the CDM project activity in year y (MWh)
 	= Combined margin CO2 emission factor for grid connected power generation in year y calculated using the latest version of Tool 7 (t CO2/MWh)

SDG 7 Affordable and Clean Energy
The project increases the renewable energy share in Türkiye’s energy production mix. The wind power plant directly contributes to the SDG target, because the project activity delivers renewable energy which would otherwise be provided by fossil-fuel dominated grid-connected power plants.
Calculation of Electricity Generation of the project is as follows:


SDG 8 Decent Work and Economic Growth
The project activity directly contributes to the achievement of the SDG target because it promotes the increase of employment opportunities for the local community and crease short and long-term employment to dozens of workers, while providing a safe working environment. The project also provides health and safety trainings to all employees, contributing to the corresponding SDG Target 8.8.2. The number of people employed due to the project activity can be measured via official employment records of the state. The number of trainings provided can be measured via the records kept at the plant such as training participation lists, tests taken after the trainings and certificates.
B.6.2 Data and parameters fixed ex ante 
SDG13
	Data/parameter
	EFgrid,CM,y

	Unit
	t CO2/MWh

	Description
	Türkiye’s Energy and Natural Sources Ministry’s factsheet, including the most recent emission factor values calculations, has been used for the proposed project activity’s CM factor.

	Source of data
	OM: TUESEF_Bilgi_Formu.pdf (enerji.gov.tr)
BM: GS PDD_30-05-2018.pdf can be accessed via https://platform.sustain-cert.com/public-project/1201

	Value(s) applied
	0.6472

	Choice of data or Measurement methods and procedures 
	Methodology implementation and baseline scenario in the second and third crediting periods have been changed as ACM0002 Version 22 suggests project participants refer to the Tool 11[footnoteRef:19]. While the OM, and CM emission factors have changed for the third crediting period, the BM value from the second crediting period has been used as Tool 07 stiupulations.  [19:  ACM0002 v.22 Section 5.8.] 


In the registered PDD, BM, OM, and CM factors were calculated from scratch as Türkiye had not been sharing the emission factor at the time. However, this report has seen no need for such calculations sincet ürkiye’s Energy and Natural Sources Ministry started to issue factsheets for the value of the said factors in recent years.

Hence, in accordance with ACM0002, the baseline scenario should be updated via the application of the Tool 11. Per the tool, two steps should be followed for the update briefing.

Data is retrieved from the Host Country’s Energy and Natural Resources Ministry’s official calculations.

According to Tool 7’s stipulations[footnoteRef:20], for the third crediting period, the build margin emission factor calculated for the second crediting period should be used: [20:  Tool 08 v.07, Section 6.5 ] 



where,
 	= Build margin CO2 emission factor in year y (t CO2/MWh)
 	= Operating margin CO2 emission factor in year y (t CO2/MWh)
		= Weighting of operating margin emissions factor (per cent)
		= Weighting of build margin emissions factor (per cent)

as, 


Thus,




	Purpose of data
	The data is utilized to calculate baseline emissions, which demonstrates the proposed project activity’s contribution to SDG Target 13.2.

	Additional comment
	This parameter is fixed ex-ante for the third crediting period.



B.6.3 Ex ante estimation of SDG Impact 
Calculation of Operating Margin Emission Factor
For OM factor calculation, the chronological order of power generation plants from TEİAŞ Load Dispatch Department with fuel types and electricity generation for the calculated year were used as input data. By using all of the data which were mentioned above, the Turkish Energy and Natural Resources Ministry calculated  as:

Calculation of Build Margin Emission Factor
The ministry used input data concerning the chronological order of electricity generation plants’ commissioning dates, their names, fuel types, installed power values, and electricity generation for the calculated year to measure the BM emission factor. The following is the result:

Calculation of Combined Margin Emission Factor
Tool 07 “determines the CO2 emission factor for the displacement of electricity generated by power plants in an electricity system, by calculating the ‘combined margin’ emission factor (CM) of the electricity system.” For wind and solar projects, the CM value is calculated by the ministry as follows:

The ministry’s CM calculation is also in line with Tool 07, which formulates the calculation as:

where
	= Build margin CO2 emission factor in year y (t CO2/MWh)
	= Operating margin CO2 emission factor in year y (t CO2/MWh)
		= Weighting of build margin emissions factor (per cent)
		= Weighting of operating margin emissions factor (per cent)
According to the tool, for wind power generation activities,  and .[footnoteRef:22] [22:  Tool 07 v.07, Section 6.6.1.] 


Project emissions
The proposed project activity involves the generation of electricity by using wind power. Electricity generated via wind turbines does not result in GHG emissions. Thus, according to the applied methodology:

Leakage
ACM0002 describes this section as “[…] emissions potentially arising due to activities such as power plant construction and upstream emissions from fossil fuel use […] are neglected.”[footnoteRef:23] [23:  ACMOOO2 v.20, Section 5.6.] 

Therefore, the leakage emissions are quantified as “0.”
Baseline emissions
Baseline emissions include only CO2 emissions from electricity generation in fossil fuel-fired power plants displaced due to the project activity. The methodology assumes that all project electricity generation above baseline levels would have been generated by existing grid-connected power plants and the addition of new grid-connected power plants. The baseline emissions are to be calculated as follows: 

where

		= Baseline emissions in year y (tCO2/yr)
		= Quantity of net electricity generation that is produced and fed into the grid as a result  of the implementation of the CDM project activity in year y (MWh/yr)
	= Combined margin CO2 emission factor for grid-connected power generation in year y calculated using the latest version of “TOOL07: Tool to calculate the emission factor for an electricity system” (tCO2/MWh)
ACM0002 states that in the case of wind plants, it is assumed that the capacity addition does not significantly affect the electricity generated by existing plants and “electricity fed into the grid by the added power plants/units shall be directly metered and used to determine .”[footnoteRef:24]  [24:  ACM0002 v.20, Section 5.5.1.2.] 

Thus, 

where
		= Quantity of net electricity generation that is produced and fed into the grid as a result  of the implementation of the CDM project activity in year y (MWh/yr)
	= Quantity of net electricity generation supplied to the grid in year y by the project plant/unit that has been added under the project activity (MWh/yr) 
 


B.6.4 Summary of ex ante estimates of each SDG Impact
SDG 13
	YEAR
	BASELINE ESTIMATE
	PROJECT ESTIMATE
	NET BENEFIT

	23/11/2024-31/12/2024
	6,825 
	0
	6,825 

	2025
	63,876 
	0
	63,876 

	2026
	63,876 
	0
	63,876 

	2027
	63,876 
	0
	63,876 

	2028
	63,876 
	0
	63,876 

	2029
	63,876 
	0
	63,876 

	2030
	63,876 
	0
	63,876 

	01/01/2031-22/11/2031
	57,051 
	0
	57,051 

	Total
	447,132 

	0
	447,132 


	Total number of crediting years
	7

	Annual average over the crediting period
	63,876 /y



SDG 7
	YEAR
	BASELINE ESTIMATE
	PROJECT ESTIMATE
	NET BENEFIT

	23/11/2024-31/12/2024
	0
	10,546 MWh
	10,546 MWh

	2025
	0
	98,700 MWh
	98,700 MWh

	2026
	0
	98,700 MWh
	98,700 MWh

	2027
	0
	98,700 MWh
	98,700 MWh

	2028
	0
	98,700 MWh
	98,700 MWh

	2029
	0
	98,700 MWh
	98,700 MWh

	2030
	0
	98,700 MWh
	98,700 MWh

	01/01/2031-22/11/2031
	0
	88,154 MWh
	88,154 MWh

	Total
	0
	690,900 MWh

	690,900 MWh


	Total number of crediting years
	7

	Annual average over the crediting period
	98,700 MWh/y



SDG 8 (Employment)
	YEAR
	BASELINE ESTIMATE
	PROJECT ESTIMATE
	NET BENEFIT

	23/11/2024-31/12/2024
	0
	5
	5

	2025
	0
	5
	5

	2026
	0
	5
	5

	2027
	0
	5
	5

	2028
	0
	5
	5

	2029
	0
	5
	5

	2030
	0
	5
	5

	01/01/2031-22/11/2031
	0
	5
	5

	Total
	0
	5
	5

	Total number of crediting years
	7

	Annual average over the crediting period
	5



B.7. Monitoring plan
B.7.1 Data and parameters to be monitored
SDG 7 Affordable and Clean Energy
Target: 7.2
Indicator: 7.2.1
	Data / Parameter
	EGfacility,y

	Unit
	MWh

	Description
	Net Electricity generated and delivered to the grid by the project in year y

	Source of data
	Electricity meter(s)

	Value(s) applied
	Estimated annual generation forming the basis for emission reduction calculation is 98.7 GWh.

	Measurement methods and procedures
	Generation data are being recorded continuously by two metering energy meters whose serial numbers are 51255642 (main meter) and 51222783 (auxiliary meter). These records provide the data for the monthly invoicing to TEİAŞ. Generation is being recorded via remote reading system. The quantity of electricity supplied by the project plant/unit to the grid (UEVM) and the quantity of electricity delivered to the project plant/unit from the grid (UECM) is being measured. Net generation is being calculated via subtracting energy delivered by the project activity to the grid and internal consumption by the project activity.

	Monitoring frequency
	Continuous measurement / Monthly recording

	QA/QC procedures
	Maintenance and calibration of the metering devices (located at the project site) has been made on 24/10/2009 and sealed by Başkent Elektrik Dağıtım A.Ş.. In case of significant different between two devices, maintenance will be done before waiting for periodical maintenance according to regulations of TEİAŞ. No maintenance/calibration has been required during monitoring period. Meters used in the plant is 0.5S class. As per the regulations, meters should not require calibration before 10 years.

	Purpose of data
	Calculation of baseline emissions or baseline net GHG removals by sinks

	Additional comment
	N/A



SDG 13 Climate Action
Target: 13.3
Indicator: 13.2.2
	Data / Parameter
	ERy

	Unit
	tCO2e

	Description
	Emission reductions by the project activity in year y (t CO2/yr). In accordance with ACM0002, baseline emissions include CO2 from electricity generation in power plants that are displaced due to the project activity. And baseline emissions correspond to emission reductions and are calculated as the net electricity generated by the project activity, multiplied with combined margin CO2 emission factor for grid connected power generation in year y.

	Source of data
	Both measured and calculated Emission reductions are calculated as considering the EPİAŞ records for the net electricity generated and the emission factor for the grid, 0.6472 tCO2/MWh, calculated using the TEİAŞ annual data and GS PDD_30-05-2018.

	Value(s) applied
	Estimated annual emission reduction is 63,876 tCO2e.

	Measurement methods and procedures
	Refer actual ER Sheet for the same

	Monitoring frequency
	Annually

	QA/QC procedures
	Please check section B.7.3 in the registered PDD for the monitoring plan

	Purpose of data
	Calculation of combined margin CO2 emission factor and thus the baseline emissions-to demonstrate contribution to SDG Target 13.3: Improve education, awareness-raising and human and institutional capacity on climate change mitigation, adaptation, impact reduction and early warning

	Additional comment
	N/A



SDG 8 Decent Work and Economic Growth
Target: 8.8
Indicator: 8.8.2
	Data / Parameter
	Number of trainings

	Unit
	Number

	Description
	Number of trainings sessions held

	Source of data
	Training certificates or training attendance records

	Value(s) applied
	5

	Measurement methods and procedures
	Training certificates or training attendance records

	Monitoring frequency
	Once for each monitoring period

	QA/QC procedures
	Training certificates or training attendance records are provided during each monitoring period.

	Purpose of data
	Monitoring the trainings to justify contribution to SDG 8.

	Additional comment
	N/A



SDG 8 Decent Work and Economic Growth
Target: 8.8
Indicator: 8.5.2
	Data / Parameter
	Number of employments

	Unit
	Number

	Description
	Number of people permanently working for the operation of the project

	Source of data
	Social Security System (SGK) 

	Value(s) applied
	5

	Measurement methods and procedures
	Social Security System (SGK) records

	Monitoring frequency
	Once for each monitoring period

	QA/QC procedures
	SGK records of employees are provided during each monitoring period.

	Purpose of data
	To monitor SDG 8 Contributions.

	Additional comment
	N/A



Principle 9.4 Hazardous and Non-hazardous wastes
	Data / Parameter
	Records for transport of wastewater

	Unit
	Number

	Description
	Disposal of wastewater as required by the Law on Water Pollution Control

	Source of data
	Project owner

	Value(s) applied
	N/A

	Measurement methods and procedures
	By asssessing disposal methods during site visits and checking waste disposal records

	Monitoring frequency
	Annually

	QA/QC procedures
	Accumulated wastewater would be removed by an authorized company or Municipality.

	Purpose of data
	To ensure wastewater is kept and stored under confined conditions and disposed in line with the regulations.

	Additional comment
	N/A



Principle 9.10 HCV Areas and Critical Habitats
	Data/parameter
	Impact on Bird and Bat Population

	Unit
	Number

	Description
	Possible impact on the ecosystem

	Source of data
	Ornithology and Bat Reports

	Value(s) applied
	Number of effected species

	Measurement methods and procedures 
	An ornithology and bat monitoring report will be used to prove the expert approach on the issue. According to the said reports, no impact is expected on bird or bat species. 

	Monitoring frequency
	Once in the crediting period

	QA/QC procedures
	GS VVB will assess the expert opinion on the issue.

	Purpose of data
	Assess the project’s contribution to Principle 9.10.

	Additional comment
	N/A



B.7.2 Sampling plan
The data and parameters monitored in Section B.7.1 are not determined by a sampling approach. Hence, sampling is not required for the project activity.

B.7.3 Other elements of monitoring plan
Monitoring is a key procedure to verify the proposed project’s real and measurable emission reductions. The monitoring plan has been established to guarantee the proposed project’s real, measurable and long-term GHG emission reductions. In order to demonstrate the emission reduction, only the required data is the net electricity delivered to the grid by the project activity. Net electricity generation will be measured and recorded by both grid operator and project owners for billing purposes therefore no new additional protocol will be needed monitoring emission reduction. Power Plant Manager, will be responsible for the electricity generated, gathering all relevant data and keeping the records. He will be informed about VER concepts and mechanisms and how to monitor and collect the data which will be used for emission reduction calculations. Generation data collected during crediting period will be submitted to Life İklim ve Enerji who will be responsible for calculating the emission reduction subject to verification. Generation data will be used to prepare monitoring reports which will be used to determine the vintage from the project activity. These reports will be submitted to the duly authorized and appointed VVB before each verification period.

Installation of meter and data monitoring will be carried out according to the regulations by TEİAŞ. Two metering devices (one of them used as spare) will be used for monitoring the electricity generated. Readings will be done using main metering devices and spare metering device will be used for comparison only. Emission reduction calculation is done by EPİAŞ (which is one of the TEİAŞ associations) records.  The records of EPİAŞ are prepared by using metering device using at transformer centre. There are also two more metering device in power plant and these devices (one of them used as spare) can be used to crosscheck the results of EPİAŞ records. All data will be kept for at least two years after the crediting period for QA/QC purposes. 

According to the Article 2 of the Communiqué of Meters in Electricity Sector [footnoteRef:25]: ‘The meters to be used in the electricity market shall be compliant with the standards of Turkish Standards Institute or IEC and have obtained “Type and System Approval” certificate from the Ministry of Trade and Industry.’ Therefore, Ministry of Trade and Industry is responsible from control and calibration of the meters. Also, according to Article 11 of this Communiqué, meters shall be in class of 0.5s, which means error interval for measuring is in +-0.5% range which is well acceptable according to rules. [25:  See, https://www.epdk.gov.tr/Detay/DownloadDocument?id=+6B2PMv4N4A= 
] 


Paragraph b) of the Article 9 of the “Regulation on Inspection of Measurement and Measuring Instruments [footnoteRef:26]”  (Regulation) of Ministry states that: “b) Periodic tests of meters of electricity, water, coal gas, natural gas and current and voltage transformers are done every 10 years.” Therefore, periodic calibration of the meters will be done every 10 years according to the regulation.  [26:  See, http://www.mevzuat.gov.tr/Metin.Aspx?MevzuatKod=7.5.6381&MevzuatIliski=0&sourceXmlSearch=] 


Furthermore, Article 67 of the same regulation stipulated that, the calibration shall be done in calibration stations which have been tested and approved by Ministry of Trade and Industry. Article 10 d) of Communiqué requires the meters shall be three phase four wire and Article 64 of Regulation clearly states how calibration shall be performed for this kind of meters. 

As mentioned, the data acquisition and management and quality assurance procedures that are anyway in place, no additional procedures have to be established for the monitoring plan.
	Type
	Brand & Model
	Serial No.
	Accuracy Class
	Calibration Date

	Main Meter
	Landis+Gyr E550
	51255642
	0.5S
	04/11/2016

	Back-up Meter
	Landis+Gyr E550
	51222783
	0.5S
	04/11/2016



The members of the VER Team are expected to include:

Plant Manager: Overall responsibility of compliance with VER monitoring plan
Accounting Manager: Responsible for keeping data about power sales, invoicing and purchasing.
Control Operators & Electrical Maintenance: Staff will be responsible for day-to-day operation and maintenance of the plant and equipment. All staff will be trained and have certificates for work/ing with high voltage equipment.
Like İklim ve Enerji: Responsible for emission reduction calculations, preparing monitoring report and periodical verification process.

The details for the monitoring team are provided in the figure below.
Figure 5 Authority and responsibility of project management

[bookmark: _Ref49515970]SECTION C. DURATION AND CREDITING PERIOD
C.1. Duration of project 
C.1.1 Start date of project 
Project implementation has started in 01/03/2009 (start date of construction), and 11/04/2016 is the capacity extension construction agreement date.

C.1.2 Expected operational lifetime of project 
Expected lifetime of the project is 25 years according to Tool 10.
C.2. Crediting period of project 
C.2.1 Start date of crediting period
· First crediting period of the project was between 01/09/2009-31/08/2016. 
· The second crediting period of the project was between 23/11/2017- 22/11/2024. 
· This is the third crediting period of the project and it covers the dates 23/11/2024- 22/11/2031.

C.2.2 Total length of crediting period
[bookmark: check1][bookmark: _Ref49515984][bookmark: _Ref49848946]Renewable crediting period is chosen for the project activity, which is renewable twice 21 years. This crediting period is 7 years.
[bookmark: _Ref128431741]SECTION D. SUMMARY OF SAFEGUARDING PRINCIPLES AND GENDER SENSITIVE ASSESSMENT 
D.1 Safeguarding Principles that will be monitored
A completed Safeguarding Principles Assessment is in Appendix 1, ongoing monitoring is summarised below. 
	PRINCIPLES
	MITIGATION MEASURES ADDED TO THE MONITORING PLAN

	Principle 9.5 Hazardous and Non-hazardous wastes
	Wastewater and solid waste are expected to be generated at the plant due to domestic use from employees’ daily routines. The generated wastewater will be collected in tanks/containers, and will be transported and disposed of by the local municipality. Likewise, solid waste will be collected in separate closed bins and will be picked up by the municipality regularly.

	Principle 9.10 HCV Areas and Critical Habitats
	The Project is not located in a high conservation value area or within critical natural habitats or critical biodiversity areas or sites identified. Therefore, the project activity does not affect or alter ecosystems, critical habitats, landscapes, key biodiversity areas or sites identified. 


D.2. Assessment that project complies with GS4GG Gender Sensitive requirements
	Question 1 - Explain how the project reflects the key issues and requirements of Gender Sensitive design and implementation as outlined in the Gender Policy?
	Gold Standard Gender Policy (https://globalgoals.goldstandard.org/101-1- g-gold-standard-gender-policy/),   p.   10: "Foundational gender-sensitive requirement - This strengthens Gold Standard's 'do no harm' approach and addresses safeguards to prevent or mitigate adverse impacts on women or men and girls and boys. Such action is mandatory for all projects seeking Gold Standard certification and includes compliance with the gender 'do no harm' safeguards, gender gap analysis and gender- sensitive stakeholder consultations."
The Project is a renewable energy project and not gender-sensitive Project. The Project does not impact women or men negatively.

	Question 2 - Explain how the project aligns with existing country policies, strategies and best practices
	The Project does not involve and is not complicit in discrimination based on gender, race, religion, sexual orientation or any other basis. Türkiye signed the convention of the International Labour Organization. The related articles are 100 and 111. The project participant respects Article 5/8425 of Labour Law; which states no discrimination based on gender, race, religion, sexual orientation, or other basis is allowed.

	Question 3 - Is an Expert required for the Gender Safeguarding Principles & Requirements?
	No. The Project does not involve and is not complicit in any form of discrimination based on gender, race, religion, sexual orientation or any other basis.

	Question 4 - Is an Expert required to assist with Gender issues at the Stakeholder Consultation?
	No. At the Stakeholder Consultation, women are free to say anything regarding the Project. 



[bookmark: _Ref49515999]SECTION E. SUMMARY OF LOCAL STAKEHOLDER CONSULTATION 
[bookmark: _Ref47423348]E.1 Summary of stakeholder mitigation measures 
The grievance mechanism as suggested by the Gold Standard is fully functional. A related form is available at the village head’s office at all times. There is no stakeholder grievance/compliant from the local stakeholders in the beginning of the second crediting period. The village head has the responsible person’s contact information. This ensures the continuous contact between the project owner and local community. The project owner regularly checks with the village head and in case of any complaint, request and need, the locals can directly get in touch with the project owner. The logbook and forms that can be filled by local stakeholders for any grievance is kept at the village head’s office. 

Furthermore, an announcement was published on the website of the project representative on 20/06/2024[footnoteRef:27] and further comments from local and global stakeholders were encouraged. On the same day, a logbook was also left at the village head’s office and declaration from the village head was obtained that no negative feedback has been received regarding the project since the start of its GS processes. After the 2-month long stakeholder consultation round, no comments were received from the stakeholder regarding to the documents or other related influence of the project activity. Another declaration was taken from the village head on 20/08/2024 to ensure that no comments were received from local stakeholders within those three months. No legal disputes exist about the project. [27:  https://life-climate.com/projeler/ay-yildiz-ruezgar-enerji-santrali ] 

E.2 Final continuous input / grievance mechanism
	METHOD
	INCLUDE ALL DETAILS OF CHOSEN METHOD (S) SO THAT THEY MAY BE UNDERSTOOD AND, WHERE RELEVANT, USED BY READERS.

	Continuous Input / Grievance Expression Process Book (mandatory)
	A logbook was provided to the Mukhtar. This logbook is being checked at regular intervals to see whether there have been any complaints from the local stakeholders. Further, no grievances have been reported.

	GS Contact (mandatory)
	help@goldstandard.org 

	Other
	All project information regarding the Project will be on the website of Life Enerji enabling stakeholders to reach and comment.

Other than the mukhtar, the locals can directly call or reach (go to his office) Mr. Osman Elçi regarding the problems related to the project activity. Osman Elçi is the responsible person from the project activity who is constantly on site.
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[bookmark: _Appendix_1_-][bookmark: _Ref128431792]Appendix 1 - Safeguarding Principles Assessment 
Complete the Assessment below and copy all Mitigation Measures for each Principle into SECTION D above. Please refer to the instructions in the Guide to Completing this Form.

	SOCIAL SAFEGUARDING PRINCIPLES

	Reference requirement 
	Question
	Response

	P.1 |Human Rights

	P.1.1.1 |
	Does the project developer, its representatives and the Project disrespect internationally proclaimed human rights? 
	☐ YES
☒  NO

	P.1.1.1 |
	Is the project involved or complicit in violence or human rights abuses of any kind as defined in the Universal Declaration of Human Rights?
	☐ YES
☒  NO

	P.1.1.2 |
	Have local communities or individuals raised human rights concerns regarding the project (e.g., during the stakeholder engagement process, grievance processes, public statements)?
	☐ YES
☒  NO

	P.1.1.3 |
	Is there a risk that rights-holders (e.g., Project-affected stakeholders) do not have the capacity to claim their rights?
	☐ YES
☒  NO

	P.1.1.3 |
	Does this project undermine national or regional measures for the realisation of the right to development?
	☐ YES
☒ NO

	If the answer to any of the questions above is "yes," please explain the reason and how the project will ensure compliance with applicable requirements.

	Please add text here…

	Would the project potentially involve or lead to:

	P.1.1.1 |
	adverse impacts on enjoyment of the human rights (civil, political, economic, social or cultural) of the affected population and particularly of marginalised groups?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.1.1.2 |
	inequitable or discriminatory impacts on affected populations, particularly people living in poverty or marginalised or excluded individuals or groups, including persons with disabilities?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.1.1.3 |
	restrictions in availability, quality of and/or access to resources or basic services, in particular to marginalised individuals or groups, including persons with disabilities?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.1.1.3 |
	exacerbation of conflicts among and/or the risk of violence to project-affected communities and individuals?
	☐ YES
☐ POTENTIALLY
☒ NO

	Briefly describe below how the project incorporates a human rights-based approach. 
For example, by describing how the project design: 
· is informed by human rights analysis, including from UN human rights mechanisms (human rights treaty bodies, universal periodic review, special procedures)
· includes measures to assist the government to realise (respect, protect and fulfil) human rights under international law and to implement human rights-related standards in national law (whichever is higher) 
· enhances the availability, accessibility and quality of benefits and services for potentially marginalised individuals and groups, and to increase their inclusion in decision-making processes that may impact them (consistent with the non-discrimination and equality human rights principle)
· provides reasonable accommodations to strengthen inclusivity and accessibility of project benefits and services to persons with disabilities.

	Please add text here…. 
The project does not involve any conflict with livelihood of local people and respect all human rights. Türkiye, the host country, prohibits discrimination on the basis of a person's race, sex, religion, place of birth, or social status. The project does not involve and is not complicit in any form of discrimination based on gender, race, religion, sexual orientation, or any other bass. Türkiye ratified the Universal Declaration of Human Rights  and the European Convention on Human Rights  in 1949 and 1954, respectively. Respecting human rights and prohibiting any type of discrimination are also binding by the Turkish Constitution.

	P.2 |Gender Equality and Women’s Empowerment

	P.2.1.1 |
	Have women’s groups/leaders raised gender equality concerns regarding the project, (e.g., during the stakeholder engagement process, grievance processes, public statements)?
	☐ YES
☒ NO


	P.2.1.2 |
	Does the project undermine the principles of non-discrimination, equal treatment, and equal pay for equal work?
	☐ YES
☒ NO


	P.2.1.2 |
	Does the project prevent men and women from having equal opportunities to participate in identified tasks and activities, whether through paid work, volunteer work, or community contributions, as appropriate?
	☐ YES
☒ NO


	P.2.1.2 |
	Does the project limit the participation of women or men based on pregnancy, maternity/paternity leave, or marital status?
	☐ YES
☒ NO

	P.2.1.2 |
	Is information about project objectives being communicated in a way that is inappropriate for the local context and not tailored to the methods of understanding of both women and men, which could hinder their participation?
	☐ YES
☒ NO

	P.2.1.3 |
	Has the project assessed gender risks without referencing the country's gender strategy or equivalent national commitment?
	☐ YES
☒ NO

	P.2.1.4 |
	Has expert stakeholder(s) been involved, and has their input been requested for the project design on gender equality and women's empowerment?
	☐ YES
☒ NO

	If the answer to any of the questions above is "yes," please explain the reason and how the project will ensure compliance with applicable requirements.

	Please add text here….


	Would the project potentially involve or lead to:
	

	P.2.1.1 |
	adverse impacts on gender equality and/or the situation of women and girls?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.2.1.1 |
	exacerbation of risks of gender-based violence? For example, through the influx of workers to a community, changes in community and household power dynamics, increased exposure to unsafe public places and/or transport, etc.
	☐ YES
☐ POTENTIALLY
☒ NO

	P.2.1.2 |
	reproducing discriminations against women based on gender, especially regarding participation in design and implementation or access to opportunities and benefits?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.2.1.2 |
	limitations on women’s ability to use, develop and protect natural resources, taking into account different roles and positions of women and men in accessing environmental goods and services?
For example, activities that could lead to natural resources degradation or depletion in communities who depend on these resources for their livelihoods and well-being.
	☐ YES
☐ POTENTIALLY
☒ NO

	Briefly describe below how the project is addressing any identified risk to gender equality and women’s empowerment.

	Türkiye has ratified ILO conventions, which provides gender equality. It also shows parallelism with national strategies prepared for women employment by creating opportunities for all. The project participant respects Article 5/8425 of Labour Law , which states no discrimination based on gender, race, religion, sexual orientation or any other basis is allowed. The project’s aim is to generate clean electricity from wind power and to replace fossil fuel power. The project abides the rules of equality accordingly and does not involve and is not complicit in any form of discrimination.  Qualified local residents are recruited to work for the project without any bias. During stakeholders’ consultation process, comments were collected from the local people, including both men and women. Employees’ salaries are not determined based on their genders or gender identities, but rather the position they are working in. (engineer, janitor etc.) The project follows and respects the rules of equality. 

	P.3 |Community Health AND Safety

	P.3.1.1 |
	Does the project involve potential risks to the health and safety of affected communities during its life cycle?
	☐ YES
☒ NO

	P.3.1.2 |
	Does the project involve any potential risks to the workers' safety and health?
	☐ YES
☒ NO

	If the answer to any of the questions above is "yes," please explain the reason and how the project will ensure compliance with applicable requirements.

	Please add text here….


	Would the project potentially involve or lead to:

	P.3.1.1 |
	construction and/or infrastructure development (e.g., roads, buildings, dams)?
	☐ YES
☒ NO

	P.3.1.2 |
	air pollution, noise, vibration, traffic, injuries, physical hazards, poor surface water quality due to runoff, erosion, sanitation?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.3.1.2 |
	harm or losses due to failure of structural elements of the project (e.g., collapse of buildings or infrastructure)?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.3.1.2 |
	risks of water-borne or other vector-borne diseases (e.g., temporary breeding habitats), communicable and noncommunicable diseases, nutritional disorders, mental health?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.3.1.2 |
	transport, storage, and use and/or disposal of hazardous or dangerous materials (e.g., explosives, fuel and other chemicals during construction and operation)?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.3.1.2 |
	adverse impacts on ecosystems and ecosystem services relevant to communities’ health (e.g., food, surface water purification, natural buffers from flooding)?
	☐ YES
☐ POTENTIALLY
☒ NO

	Briefly describe below how the project is addressing any identified risk related to community health and safety.

	The project produces electricity from renewable sources and by nature of its technology, it does not have exposure to increased health risks and shall not adversely affect the health of the workers and the community. According to the noise measurement report conducted for the project, the sound level that would be heard from the closes village is 30.6 dBA, while the legal limit is 70 dBA. The closes settlement to the project activity is located at more than 3 kilometers away (with bird’s eye view) and does not impact the nearby population. All the safety and hygiene measures are being ensured in order to maintain a safe and healthy environment for the workers at site. The employees receive trainings and learn how to act in case of emergencies. Thus, necessary health and safety measures are being taken by both the project participant and the employees, who receive the trainings provided. The project is also in compliance with all national laws and regulations.

	P.4 |Cultural Heritage, Indigenous People, Displacement and Resettlement

	P.4.1 |Sites of Cultural and Historical Heritage

	P.4.1.1 |
	Does the project involve altering, damaging, or removing sites, objects, or structures of significant cultural heritage?
	☐ YES
☒ NO

	If the answer to question above is "yes," please explain the reason and how the project will ensure compliance with applicable requirements.

	Please add text here….


	Would the project potentially involve or lead to:

	P.4.1.1 |
	activities adjacent to or within a cultural heritage site?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.4.1.1 |
	significant excavations, demolitions, movement of earth, flooding or other environmental changes?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.4.1.1 |
	alterations to landscapes and natural features with cultural significance?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.4.1.1 |
	adverse impacts to sites, structures, or objects with historical, cultural, artistic, traditional or religious values or intangible forms of culture (e.g., knowledge, innovations, practices)? (Note: projects intended to protect and conserve Cultural Heritage may also have inadvertent adverse impacts)
	☐ YES
☐ POTENTIALLY
☒ NO

	P.4.1.2 |
	utilisation of tangible and/or intangible forms (e.g., practices, traditional knowledge) of Cultural Heritage
for commercial or other purposes?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.4.1.2 |
	If answer to question above is “YES” or “POTENTIALLY” - are the communities made aware of their right under the law, scope and nature of proposed development and its potential consequences?
	☐ YES
☐ NO
☒ NA 

	P.4.1.3 |
	If answer to question above is “YES” - does the project provide equitable sharing of benefits from commercialisation of such knowledge, innovation, or practice, consistent with their customs and traditions?
	☐ YES
☐ NO
☒ NA

	P.4.1.4 |
	If answer to question above is “YES” - are opinions and recommendations of an Expert Stakeholder(s) not sought and demonstrated as being included in the project design?
	☐ YES
☐ NO
☒ NA

	P.4.1.4 |
	If answer to question above is “YES”, has project design been changed, modified, updated considering opinions and recommendations of an Expert Stakeholder?
	☐ YES
☐ NO
☒ NA

	If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements.

	Please add text here….


	P.4.2 |Forced Eviction and Displacement

	P.4.2.1 |
	Does the project involve any risks related to involuntary relocation of people?
	☐ YES
☒ NO

	If the answer to question above is "yes," please explain the reason and how the project will ensure compliance with applicable requirements.

	Please add text here….


	Would the project potentially involve or lead to:

	P.4.2.1 |
	risk of forced evictions or involuntary relocation of people?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.4.2.2 |
	temporary or permanent and full or partial physical displacement (including people without legally recognisable claims to land)?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.4.2.2 |
	economic displacement (e.g., loss of assets or access to resources due to land acquisition or access restrictions – even in the absence of physical relocation)?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.4.2.2 |
	If answer to question above is “YES” or “POTENTIALLY”, 
· has the project developed Resettlement Action Plan or Livelihood Action Plan in consultation and agreement with affected individual, group or community?
· has the project integrated Resettlement Action Plan or Livelihood Action Plan into the Project design?
	☐ YES
☐ NO
☒ NA 

	P.4.2.3 |
	If answer to question above is “YES” - are opinions and recommendations of an Expert Stakeholder(s) not sought and demonstrated as being included in the project design?
	☐ YES
☐ NO
☒ NA

	P.4.2.3 |
	If answer to question above is “YES”, have project design been changed, modified, updated considering opinions and recommendations of an Expert Stakeholder?
	☐ YES
☐ NO
☒ NA

	If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements.

	Please add text here….


	P.4.3 |Land tenure and other rights

	P.4.3.1 |
	Does the project involve any risks related to identifying and managing legitimate tenure rights that may be affected by the project?
	☐ YES
☒ NO

	If the answer to question above is "yes," please explain the reason and how the project will ensure compliance with applicable requirements.

	Please add text here….


	Would the project potentially involve or lead to:

	P.4.3.1 |
	impacts on or changes to land tenure arrangements and/or community-based property rights/customary rights to land, territories and/or resources?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.4.3.1 |
	uncertainties with regards to land tenure, access rights, usage rights or land ownership?
Examples include, but are not limited to water access rights, community-based property rights and customary rights.
	☐ YES
☐ POTENTIALLY
☒ NO

	P.4.3.2 |
	Changes in legal arrangements, if yes, are the changes done in line with relevant laws and regulations?

	☐ YES
☒ NO
☐ NA 

	P.4.3.2 |
	Changes in legal arrangements, if yes, are these changes agree with free, prior and informed consent of the involved stakeholders?
	☐ YES
☒ NO
☐ NA

	P.4.3.3 |
	Does some other entity (other than the project developer) hold uncontested land title for the entire Project Boundary?	
	☐ YES
☒ NO
☐ NA

	P.4.3.4 |
	Are opinions and recommendations of an Expert Stakeholder(s) not sought and demonstrated as being included in the project design?
	☐ YES
☒ NO
☐ NA

	P.4.3.4 |
	If answer to question above is “YES”, have project design been changed, modified, updated considering opinions and recommendations of an Expert Stakeholder?
	☐ YES
☒ NO
☐ NA

	P.4.3.5 |
	Have project developer in consultation with stakeholders established a functioning mechanism to receive, process, resolve, communicate and record grievances? 
	☒ YES
☐ NO
☐ NA

	If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements.

	A Continuous Input Process Book was provided to Mukhtar of Edincik Mahallaesi. Mukhtar is the representative of the village and the most appropriate person to handle the book and complaints from the village.  Other than the mukhtar, the locals can directly call or reach Mr Osman Elçi in his office, regarding the problems related to the project activity. Osman Elçi is the responsible person from the project activity who is constantly on site.


	P.4.4 |Indigenous peoples

	P.4.4.1 |
	Does the project involve Indigenous People within the Project area of influence who may be affected directly or indirectly by the Project?
	☐ YES
☒ NO

	If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements.

	Please add text here….


	Would the project potentially involve or lead to:

	P.4.4.1 |
	affect areas where indigenous peoples are present (including project area of influence) 
	☐ YES
☐ POTENTIALLY
☒ NO

	P.4.4.1 |
	affect areas, land and territory claimed by indigenous peoples?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.4.4.1 |
	impacts (positive or negative) to the human rights, lands, natural resources, territories, and traditional livelihoods of indigenous peoples?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.4.4.7 |
	If answer to above questions is ’’YES’’ or “POTENTIALLY”, 
· Is it determined that the proposed project may affect the rights, lands, resources, or territories of indigenous people?
· Has an "Indigenous People Plan" (IPP) or "Indigenous People Plan Framework" been elaborated and included in the project documentation?
· Was the plan developed in accordance with the effective and meaningful participation of indigenous peoples and in accordance with UNDP Guidelines?
	☐ YES
☒ NO
☐ NA 

	P.4.4.3 |
	risk of forcibly removing indigenous people from their lands and territories?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.4.4.4 |
	utilisation and/or commercial development of natural resources on lands and territories claimed by indigenous peoples?

Consider, and where appropriate ensure, consistency with the answers under Principle 4.1 above
	☐ YES
☐ POTENTIALLY
☒ NO

	P.4.4.5 |

P.4.4.6 |
	If answer to question above is “YES” or “POTENTIALLY”
· Did the project obtain free, prior and informed consent from indigenous people before taking their cultural, intellectual, religious, and/or spiritual property?

· Does the project ensure that the indigenous people receive an equitable sharing of benefits resulting from the use of their traditional knowledge and practices? ?

· Does the project ensure that the sharing of benefits resulting from the use of indigenous peoples' traditional knowledge and practices is culturally appropriate and inclusive?

· Does the project ensure that the provision of equitable sharing of benefits does not impede land rights or equal access to basic services including health services, clean water, energy, education, safe and decent working conditions, and housing?
	☐ YES
☒ NO
☐ NA

	P.4.4.8 |
	Does the project lack appropriate feedback and grievance channels for Indigenous Peoples and their representatives?
	☐ YES
☒ NO
☐ NA

	P.4.4.8 |
	Has a grievance mechanism not been established at the beginning of programme or project implementation with due consideration given to customary dispute settlement mechanisms among the Indigenous Peoples concerned and will it remain operational throughout the project cycle?
	☐ YES
☒ NO
☐ NA

	P.4.4.9 |
	Are opinions and recommendations of an Expert Stakeholder(s) not sought and demonstrated as being included in the project design?
	☐ YES
☒ NO
☐ NA

	P.4.4.9 |
	If answer to question above is “YES”, have project design been changed, modified, updated considering opinions and recommendations of an Expert Stakeholder?
	☐ YES
☒ NO
☐ NA

	If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements.

	Please add text here….


	P.5 |Corruption

	P.5.1.1 |
	Does the project involve, or is it complicit in, contributing to or reinforcing corruption or corrupt projects?
	☐ YES
☒ NO

	P.5.1.1 |
	Does the project have a risk of encouraging bribery, kickbacks, or other unethical behavior?
	☐ YES
☒ NO

	If the answer to any of the questions above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements.

	Please add text here….



	ECONOMIC SAFEGUARDING PRINCIPLES

	P.6 |Economic Impacts

	P.6.1 |Labour Rights and Working Conditions

	P.6.1.1 |
	Does the project involve, facilitate, or condone forced labor, or pose a potential risk of forced labor?
	☐ YES
☒ NO

	P.6.1.1 |
	Does the project violate any labor or health and safety laws, international obligations, or ILO conventions?
	☐ YES
☒ NO

	P.6.1.2 |
	Does the project violate the principles of equal opportunity and fair treatment in its employment decisions?
	☐ YES
☒ NO

	P.6.1.3 |

	Does the project violate national laws, if available regarding non-discrimination in employment?
	☐ YES
☒ NO

	P.6.1.4 |
P.6.1.5 |
	Does the project allow child labor?
	☐ YES
☒ NO

	P.6.1.7 |
P.6.1.8 |
	Does the project have insufficient processes and measures in place to ensure the safety and health of project workers?
	☐ YES
☒ NO

	P.6.1.9 |
	Does the project have insufficient measures to safeguard and support vulnerable project workers, such as women, people with disabilities, migrant workers, and young workers, and to prevent any kind of harassment, abuse, bullying, or exploitation, including gender-based violence (GBV)?
	☐ YES
☒ NO

	P.6.1.10 |
	Does the project have no grievance mechanism available for workers to voice workplace concerns? Is information about this mechanism not provided to workers at the time of recruitment, or is it not easily accessible?
	☐ YES
☒ NO

	If the answer to any of the questions above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements.

	Please add text here….


	Would the project potentially involve or lead to: 
(note: applies to both project and contractor workers)

	P.6.1.1 |
	use of forced labour?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.6.1.1 |
	working conditions that do not meet national labour laws and international commitments?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.6.1.1 |
	working conditions that may deny freedom of association and collective bargaining?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.6.1.1 |
	absence of documented working agreements with all individual workers 

if such agreements do not exist, or do not address working conditions and terms of employment, the project developer shall provide reasonable working conditions and terms of employment.   
	☐ YES
☐ POTENTIALLY
☒ NO

	P.6.1.1 |
	use of migrant workers?

if engaged, the developer shall ensure that they are engaged substantially equivalent terms and conditions to non-migrant workers carrying out similar work.
	☐ YES
☐ POTENTIALLY
☒ NO

	P.6.1.1 |
	having no arrangements for basic services[footnoteRef:28] for workers? [28:  Basic services requirements refer to minimum space, supply of water, adequate sewage and garbage disposal system, appropriate protection against heat, cold, damp, noise, fire, and disease-carrying animals, adequate sanitary and washing facilities, ventilation, cooking and storage facilities and natural and artificial lighting, and in some cases basic medical services.
] 


the project developer shall put in place and implement policies on the quality and management of the accommodation and provision of basic services in a manner consistent with the principles of non-discrimination and equal opportunity. Workers’ accommodation arrangements should not restrict workers’ freedom of movement or of association
	☐ YES
☐ POTENTIALLY
☒ NO

	P.6.1.2 |
	any form of discrimination or harassment based on factors unrelated to job requirements, such as gender, race, nationality, ethnicity, social or indigenous origin, religion or belief, disability, age, or sexual orientation?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.6.1.2 |
	any form of discrimination in any aspect of employment, such as recruitment, compensation, working conditions, training, job assignment, promotion, termination, or discipline?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.6.1.2 |
	harassment, intimidation, and/or exploitation, especially in regard to women?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.6.1.3 |
	discriminatory working conditions and/or lack of equal opportunity where national law provides provision to address non-discrimination in employment?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.6.1.4 |
	use of child labour? (including third-party engaged workers)
	☐ YES
☐ POTENTIALLY
☒ NO

	P.6.1.4 |
	inadequate and verifiable mechanisms for age verification?
	☐ YES
☒ NO

	P.6.1.7 |
	no processes and measures in place for the safety and health of project workers?
	☐ YES
☒ NO

	P.6.1.7 |
	No provision of safety and health training provisions, including on the proper use and maintenance of personal protective equipment conducted by competent persons and the maintenance of training records?
	☐ YES
☒ NO

	P.6.1.7 |
	No provision to record and document accidents, diseases, incidents, and any resulting injuries, illnesses, or deaths?
	☐ YES
☒ NO

	P.6.1.8 |
	occupational health and safety risks due to physical, chemical, biological and psychosocial hazards (including violence and harassment) throughout the project life-cycle?
	☐ YES
☒ NO

	P.6.1.9 |
	No measures to protect vulnerable project workers from harassment, exploitation, and gender-based violence (GBV)? This includes women, people with disabilities, migrant workers, and young workers.
	☐ YES
☒ NO

	P.6.1.10 |
	No grievance mechanism available for workers to voice workplace concerns.
	☐ YES
☒ NO

	P.6.1.11 |
	No measures for due diligence and the establishment of policies and procedures to manage and monitor the performance of third-party employees in the project?
	☐ YES
☒ NO

	If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements.

	Please add text here….


	P.6.2 |Negative Economic Consequences

	P.6.2.1 |
	Is there a risk of project failure during implementation or after project certification due to a lack of financial resources?
	☐ YES
☒ NO

	P.6.2.2 |
	Does the project have potential negative impacts or pose a risk to the local economy?
	☐ YES
☒ NO

	P.6.2.2 |
	Are there any potential risks or negative impacts this project may have on vulnerable or marginalised social groups, despite the benefits it may bring?
	☐ YES
☒ NO

	If the answer to any of the questions above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements.

	Please add text here…


	Would the project involve or lead to:

	P.6.2.2 |
	economic impacts (negative/detrimental) to the local economy?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.6.2.2 |
	negative economic consequences during and after project implementation, e.g., for vulnerable and marginalised social groups in targeted communities?
	☐ YES
☐ POTENTIALLY
☒ NO

	If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements.

	Please add text here….


	P.7 |Climate and Energy

	P.7.1 |GHG Emissions

	P.7.1.1 |
	Does the project have a risk of increasing greenhouse gas emissions over the Baseline Scenario?
	☐ YES
☒ NO

	If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements.

	Please add text here….



	Would the project involve or lead to:

	P.7.1.1 |
	increase greenhouse gas emissions over the Baseline Scenario?
	☐ YES
☐ POTENTIALLY
☒ NO

	If the answer is "yes" or "potentially" to the above question, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements.

	Please add text here….



	P.7.2 |Energy supply

	P.7.2.1 |
	Does the project pose a risk to the availability and reliability of energy supply to other users?
	☐ YES
☒ NO

	If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements.

	Please add text here….



	Would the project involve or lead to:

	P.7.2.1 |
	negative impact on the availability and reliability of energy supply to other users?
	☐ YES
☐ POTENTIALLY
☒ NO

	If the answer is "yes" or "potentially" to the above question, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements.

	Please add text here….



	P.8 |Water

	P.8.1 |Impact on Natural Water Patterns/Flows

	P.8.1.1 |
	Does the project increase water usage to a level that will not allow for the maintenance of environmental flows?
	☐ YES
☒ NO

	P.8.1.1 |
	Does the project result in the discharge of wastewater that does not meet the required standard for beneficial reuse and could therefore negatively impact the environmental flow?
	☐ YES
☒ NO

	P.8.1.1 |
	Does the project have the potential risk to exceed the rate of recharge for the groundwater source?
	☐ YES
☒ NO

	P.8.1.1 |
	Does the project involve any processes or activities that could contaminate the groundwater and render it unsuitable for use?
	☐ YES
☒ NO

	If the answer to any of the questions above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements.

	Please add text here….



	Would the project involve or lead to:

	P.8.1.1 |
	affect the natural or pre-existing pattern of watercourses, groundwater and/or the watershed(s) such as high seasonal flow variability, flooding potential, lack of aquatic connectivity or water scarcity?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.8.1.1 |
	Wastewater discharge of quality that does not meet the required standard for beneficial reuse?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.8.1.1 |
	significant extraction, diversion of ground water? For example, construction of dams, reservoirs, river basin developments, groundwater extraction
	☐ YES
☐ POTENTIALLY
☒ NO

	P.8.1.2 |
	Are opinions and recommendations of an Expert Stakeholder(s) not sought and demonstrated as being included in the project design?
	☐ YES
☒ NO
☐ NA

	If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements.

	Please add text here….



	P.8.2 |Erosion and/or Water Body Instability

	P.8.2.1 |
	Does the project have a risk of negatively impacting the catchment and has it been assessed and addressed?
	☐ YES
☒ NO

	If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements.

	Please add text here….



	Would the project involve or lead to:

	P.8.2.2 |
· 
P.8.2.5 |
	negatively impact on the catchment area?

If yes, Erosion prevention measures, including soil and slope protection measures, must be implemented before project commencement. These measures should involve natural terracing, infiltration strips, permanent ground cover, hedge and tree rows, and effective slope length assessment. Regular reassessment of these measures is necessary.
	☐ YES
☐ POTENTIALLY
☒ NO

	P.8.2.6 |
	Are opinions and recommendations of an Expert Stakeholder(s) not sought and demonstrated as being included in the project design?
	☐ YES
☒ NO
☐ NA

	If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements.

	Please add text here….



	P.9 |Environment, ecology and land use

	P.9.1 |Landscape Modification and Soil

	P.9.1.1 |
-
P.9.1.3 |
	Is there any risk of soil resource degradation or loss of ecosystem services provided by soils in the project?

If yes, the project shall maintain healthy soils by minimising negative impacts on soil health, productivity, structure, and water retention. Steps to minimise soil degradation include crop rotation, composting, using N-fixing plants, and reducing tillage and ecologically harmful substances.
	☐ YES
☒ NO

	If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements.

	Please add text here….



	Would the project involve or lead to:

	P.9.1.4 |
	production, harvesting, and/or management of living natural resources by small-scale landholders and/or local communities?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.9.1.4 |
	if answer to above question “yes” or “potentially”, does project adopt appropriate and culturally sensitive sustainable resource management practices?
	☐ YES
☒ NO
☐ NA

	If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements.

	Please add text here….



	P.9.2 |Vulnerability to Natural Disaster

	P.9.2.1 |
	Does the project have any risks associated with natural or man-made hazards that could result from land use changes due to the project?
	☐ YES
☒ NO

	If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements.

	Please add text here….



	Would the project involve or lead to:

	P.9.2.2 |
	any potential risks that require emergency preparedness and response planning?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.9.2.2 |
	if answer to above question “yes” or “potentially”, did the project developer disclose appropriate information about emergency preparedness and response to affected communities?
	☐ YES
☐ NO
☒ NA

	If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements.

	Please add text here….



	P.9.3 |Biosafety and Genetic Resources

	P.9.3.1 |
	Does the project involve the transfer, handling, and use of genetically modified organisms/living modified organisms that may result in adverse effects on biological diversity?
	☐ YES
☒ NO

	If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements.

	Please add text here….


	Would the project involve or lead to:

	P.9.3.1 |
	the transfer, handling and use of genetically modified organisms/living modified organisms (GMOs/LMOs) that result from modern biotechnology
	☐ YES
☐ POTENTIALLY
☒ NO

	P.9.3.1 |
	If answer to above question is “yes” has a risk assessment by a competent Expert stakeholder been carried out in accordance with Annex iii of the Cartagena protocol on biosafety to the convention on biological diversity?
	☐ YES
☐ NO
☒ NA

	P.9.3.2 |
	If answer to above question is “yes” has any risks identified in the risk assessment?
	☐ YES
☐ NO
☒ NA

	P.9.3.3 |
	Forestry (for example Afforestation/Reforestation) involving GMO planting?

Note - Forestry projects (for example Afforestation/ Reforestation) involving GMO planting are not eligible for Certification under Gold Standard for the Global Goals.
	☐ YES
☐ NO
☒ NA

	If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements.

	Please add text here….



	P.9.4 |Release of pollutants

	P.9.4.1 |
	Does the project have a risk of releasing pollutants to air, water, and land in routine, non-routine, or accidental circumstances?
	☐ YES
☒ NO

	If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements.

	Please add text here….



	Would the project involve or lead to:

	P.9.4.1 |
	any potential risk of pollutant release that cannot be avoided?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.9.4.3 |
	If answer to above question is “Yes” or “potentially”, has the project identified all potential pollution sources that may degrade the quality of soil, air, surface, and groundwater in the project area?
	☐ YES
☒ NO
☐ NA

	P.9.4.2 |
	If answer to above question is “Yes” or “potentially”, do the pollution prevention and control technologies and practices applied during the project life cycle align with national regulations or international best practices?
	☐ YES
☒ NO
☐ NA

	P.9.4.3 |
	If answer to above question is “Yes”, is there a monitoring plan to ensure that mitigation measures are implemented, and resources are protected?
	☐ YES
☒ NO
☐ NA

	If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements.

	Please add text here….



	P.9.5 |Hazardous and Non-hazardous Waste

	P.9.5.1 |
	Does the project involve the generation of waste materials (both hazardous and non-hazardous)?
	☒ YES
☐ NO

	P.9.5.3 |
	Does the project involve risk of release of hazardous materials resulting from their production, transportation, handling, storage, or use?
	☒ YES
☐ NO

	P.9.5.5 |
	Does the project involve the use of any chemicals or materials subject to international bans or phase-outs?
	☐ YES
☒ NO

	If the answer to any of the questions above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements.

	Wastewater produced will be collected in an impermeable septic tank and will be periodically transferred to treatment plant of the Municipality. This process will be handled according to the Regulation of Ministry of Environment and Forestry. Solid waste generated due to domestic use will also be collected in separate closed-bin containers and will be picked up by the municipality, in line with the Waste Management Regulation.


	Would the project involve or lead to:

	P.9.5.1 |
	 the generation and management of waste materials?
	☐ YES
☒ POTENTIALLY
☐ NO

	P.9.5.1 |
	treatment, destruction, or disposal of waste material?
	☐ YES
☒ NO
☐ NA

	P.9.5.1 |
	If answer to above question is “Yes”, does the project involve an environmentally friendly method that includes appropriate control of emissions and residues resulting from the handling and processing of waste material?
	☐ YES
☒ NO
☐ NA

	P.9.5.3 |
	risk of release of hazardous materials resulting from their production, transportation, handling, storage, or use? 
	☐ YES
☐ NO
☒ NA

	P.9.5.3 |
	If answer to above question is "yes”, does project has measures in place to address health risks?
	☐ YES
☒ NO
☐ NA

	P.9.5.4 |
	Involve manufacture, trade, and use of chemicals and hazardous materials subject to international bans or phase-outs due to their high toxicity to living organisms, environmental persistence, potential for bioaccumulation, or potential for depletion of the ozone layer
	☐ YES
☐ POTENTIALLY
☒ NO

	If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements.

	Wastewater produced will be collected in an impermeable septic tank and will be periodically transferred to treatment plant of the Municipality. This process will be handled according to the Regulation of Ministry of Environment and Forestry. Solid waste generated due to domestic use will also be collected in separate closed-bin containers and will be picked up by the municipality, in line with the Waste Management Regulation.

	P.9.6 |Pesticides & Fertilisers

	P.9.6.1 |
	Does the project involve the use of chemical pesticides? 
	☐ YES
☒ NO

	P.9.6.5 |
	Does the project involve purchase, store, manufacture, trade or use products that fall in Classes IA (extremely hazardous) and IB (highly hazardous)
	☐ YES
☒ NO

	P.9.6.6 |
	Does the project use fertilisers, and if so, are measures being taken to minimise their use and nutrient losses to the environment?
	☐ YES
☒ NO

	If the answer to any of the questions above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements.

	Please add text here….



	Would the project involve or lead to:

	P.9.6.1 |
	 chemical pesticides use for pest management?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.9.6.4 |
	If answer to question above is “yes” or “potentially”, does project has documented Chemical Pesticides Policy in place?
	☐ YES
☐ NO
☒ NA

	P.9.6.5 |
	purchase, store, use, manufacture, or trade in Class II (moderately hazardous) pesticides?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.9.6.5 |
	If answer to question above is “yes” or “potentially”, does project has appropriate controls on manufacture, procurement, or distribution and/or use of these chemicals?
	☐ YES
☐ NO
☒ NA

	If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements.

	Please add text here….



	P.9.7 |Harvesting of Forests

	P.9.7.1 |
	Does the project have a risk of unsustainable forest management, including timber harvesting?
	☐ YES
☒ NO

	P.9.7.1 |
	Does the project pose a risk of depleting biodiversity and ecosystem functionality in areas where improved forest management is undertaken?
	☐ YES
☒ NO

	P.9.7.1 |
	Does the project risk not meeting requirements for environment-friendly, socially beneficial, and economically viable plantations using native species whenever possible?
	☐ YES
☒ NO

	If the answer to any of the questions above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements.

	Please add text here….



	P.9.8 |Food Security

	P.9.8.1 |
	Does the project involve the risk of negatively influencing access to and availability of food for people affected?
	☐ YES
☒ NO

	If the answer to the question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements.

	Please add text here….



	Would the project involve or lead to:

	P.9.8.1 |
	modification of the quantity or nutritional quality of food available such as through crop regime alteration or export or economic incentives?
	☐ YES
☐ POTENTIALLY
☒ NO

	If the answer is "yes" or "potentially" to the above question, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements.

	Please add text here….



	P.9.9 | Animal Welfare

	P.9.9.1 |
	Does the project involve any risks to animal welfare?

Animal welfare shall be ensured by providing access to water and food, appropriate environment, humane treatment, and staff training. Evidence of mistreatment will be treated as an immediate non-conformity.
	☐ YES
☒ NO

	P.9.9.2 |
	Does the project involve any potential risk of excessive or inadequate use of veterinary medicines?
	☐ YES
☒ NO

	P.9.9.4 |
	Does the project involve the risk of administering synthetic growth promoters, including hormones?
	☐ YES
☒ NO

	If the answer to any of the questions above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements.

	Please add text here….



	Would the project involve or lead to:

	P.9.9.1 |
	animal husbandry or harvesting of fish populations or other aquatic species?[footnoteRef:29] [29:  'Involve' means if the project mechanism and/or impact(s) are achieved via changing animal husbandry practices in some way.] 

	☐ YES
☒ NO
☐ NA

	P.9.9.1 |
	limiting access for animals to basic needs like drinking water, adequate food, daylight, appropriate shelter etc.?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.9.9.3 |
	inadequate measures to isolate sick animals and control the spread of disease, especially zoonotic diseases? 
	☐ YES
☒ NO
☐ NA

	P.9.9.5 |
	inadequate low-stress methods, equipment, and facilities that facilitate calm animal movement.
	☐ YES
☒ NO
☐ NA

	P.9.9.6 |
	inadequate measures to ensure that animals are exposed to the least stress possible during transportation and slaughtering?
	☐ YES
☒ NO
☐ NA

	P.9.9.7 |
	inappropriate spacing per animal and stocking rates per land unit?
	☐ YES
☒ NO
☐ NA

	P.9.9.8 |
	inadequate measures to address the specific needs of aquatic animals?
	☐ YES
☒ NO
☐ NA

	P.9.9.9 | P.9.9.10 |
	primary production of living natural resources such as animal husbandry, aquaculture, and fisheries?

If the answer is yes, implement industry-standard sustainable management practices in line with to one or more relevant and credible standards and utilise available technologies.
	☐ YES
☒ NO
☐ NA

	If the answer is "yes" or "potentially" to any of the above question, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements.

	Please add text here….



	P.9.10 |High Conservation Value Areas and Critical Habitats

	P.9.10.1 |
	Does the project have the risk of negatively impacting HCV areas and/or critical habitats? 
	☐  YES
☒ NO

	P.9.10.2 |
	Does the project in the project area or area of downstream impacts have risks to the following: native tree patches, individual native trees, freshwater resources (including rivers, lakes, swamps, temporary water bodies, and wells), habitats of rare, threatened, and endangered species, and biodiversity-enhancing areas?
	☐ YES
☒ NO

	If the answer to any of the questions above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements.

	The Project is not located in a high conservation value area or within critical natural habitats or critical biodiversity areas or sites identified. Therefore, the project activity does not affect or alter ecosystems, critical habitats, landscapes, key biodiversity areas or sites identified. 

	Would the project involve or lead to:

	P.9.10.1 |
	identified habitats as HCV areas and or Critical habitats?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.9.10.1 |
	If answer to above question is “yes”, does the project have any risks that could negatively impact the catchment, project success, and surrounding HCV and ecological assets, as well as any measurable adverse impacts on the criteria or biodiversity values for which the critical habitat was designated, and on the ecological processes supporting that biodiversity? 
	☐ YES
☐ NO
☒ NA

	P.9.10.1 |
	If answer to above question is “yes”, is a robust, appropriately designed, and long-term Habitats and Biodiversity Action Plan absent which will make the project unable to achieve net gains of those biodiversity values for which the critical habitat was designated?
	☐ YES
☐ NO
☒ N/A

	P.9.10.2 |
	Does the project area or area of downstream impacts have native tree patches, individual native trees, freshwater resources (including rivers, lakes, swamps, temporary water bodies, and wells), habitats of rare, threatened, and endangered species, and biodiversity-enhancing areas?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.9.10.2 |
	If the answer to the above question is “yes”, will the project have any adverse effects on these areas?
	☐ YES
☐ No
☒ NA

	P.9.10.3 |
	If the answer to above question is “yes”, does the project has opportunities to minimise unwarranted conversion or degradation of the habitat and to enhance the habitat as part of its development?
	☐ YES
☐ No
☒ NA

	P.9.10.4 |
	Is the project applying Land Use & Forest Activity Requirements and managing a minimum 10% of the project area to protect or enhance the biological diversity of native ecosystems following HCV approach as per the given requirements?
	☐ YES
☐ No
☒ NA

	P.9.10.5 |
	Are opinions and recommendations of an Expert Stakeholder(s) not sought and demonstrated as being included in the project design?
	☐ YES
☒ NO
☐ NA 

	If the answer is "yes" or "potentially" to any of the above question, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements.

	Please add text here….



	P.9.11 |Endangered Species

	P.9.11.1 |
	Does the project lead to the reduction or negative impact on any recognised Endangered, Vulnerable or Critically Endangered species?
	☐ YES
☒ NO

	If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements.

	Please add text here….



	Would the project involve or lead to:

	P.9.11.2 | 
	distortion of habitats of endangered species? 
	☐ YES
☐ POTENTIALLY
☒ NA

	P.9.11.2 |
	If answer to the above question is “yes”, does the project plan to protect and enhance them?
	☐ YES
☐ POTENTIALLY
☐ NO
☒ N/A

	P.9.11.2 |
	Are opinions and recommendations of an Expert Stakeholder(s) not sought and demonstrated as being included in the project design?
	☐ YES
☒ NO
☐ NA

	If the answer is "yes" or "potentially" to any of the above question, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements.

	Please add text here….



	P.9.12 |Invasive Alien species

	P.9.12.1 |
	Does project introduce any alien species (not currently established in the country or region of the project) into new environments?
	☐ YES
☒ NO


	If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements.

	Please add text here….



	Would the project involve or lead to:

	P.9.12.1 |
	risk of introducing any alien species with a high risk of invasive behaviour regardless of whether such introductions are permitted under the existing regulatory framework?
	☐ YES
☐ POTENTIALLY
☒ NO

	P.9.12.1 |
	risk of potential accidental or unintended introductions including the transportation of substrates and vectors (such as soil, ballast, and plant materials) that may harbour alien species.
	☐ YES
☐ POTENTIALLY
☒ NO

	P.9.12.2 |
	risk of spreading alien species  into areas in which they have not already been established?
	☐ YES
☐ POTENTIALLY
☒ NO

	If the answer is "yes" or "potentially" to any of the above question, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements.

	Please add text here….







[bookmark: _Ref49516032][bookmark: _Ref128431799]Appendix 2 - Contact information of project developer(s)

	Organization name
	Akenerji Elektrik Üretim A.Ş.

	Registration number with relevant authority
	N/A

	Street/P.O. Box
	Miralay Şefik Bey Sokak

	Building
	Akhan No:15 Kat:3-4 

	City
	İstanbul

	State/Region
	N/A

	Postcode
	34437

	Country
	Türkiye

	Telephone
	+90 212 249 82 82

	E-mail
	info@akenerji.com.tr

	Website
	https://www.akenerji.com.tr/

	Contact person
	[bookmark: _Hlk182386751]Özlem Palabıyık

	Title
	Manager

	Salutation
	Mrs.

	Last name
	Palabıyık

	Middle name
	N/A

	First name
	Özlem

	Department
	Strategy

	Mobile
	+90 212 249 82 82

	Direct tel.
	N/A

	Personal e-mail
	N/A


[bookmark: _Ref49516052]

[bookmark: _Ref128431806][bookmark: _Ref38872069][bookmark: _Toc39582327][bookmark: _Ref42257033]Appendix 3 - LUF Additional Information
	Risk of change to the Project Area during Project Certification Period:
	

	Risk of change to the Project activities during Project Certification Period:
	

	Land-use history and current status of Project Area:
	

	Socio-Economic history:
	

	Forest management applied (past and future)
	

	Forest characteristics (including main tree species planted)
	

	Main social impacts (risks and benefits)
	

	Main environmental impacts (risks and benefits)
	

	Financial structure
	

	Infrastructure (roads/houses etc):
	

	Water bodies:
	

	Sites with special  significance  for  indigenous  people and  local  communities ‐ resulting  from the Stakeholder  Consultation:
	

	Where indigenous people and local communities are situated:
	

	Where indigenous people and local communities have legal rights, customary rights or sites with special cultural, ecological, economic, religious or spiritual significance:
	



[bookmark: _Ref128431812]Appendix 4 - Design Changes
[bookmark: _Hlk128433891]A4.1. Details of proposed or actual design change 
>> 


A4.2. Describe the impacts of design change on the following
a. Additionality
>>

b. Applicability of methodology and other methodological regulatory documents with which the project activity has been certified
>>

c. Compliance with the monitoring plan of the applied methodology
>>

d. Level of accuracy and completeness in the monitoring of the project activity compared with the requirements contained in the registered monitoring plan
>>

e. Scale of the project activity 
>>

f. Stakeholder consultation
>>

g. Sustainable development criteria 
>>

h. Safeguarding assessment
>>

i. Compliance with applicable legislation
>>

j. Only for LUF Projects: Transparent summary of all approved changes in Project Area, Eligible Area and accompanying changes in ex-ante emissions removals. 
	DATE OF APPROVED DESIGN 
CHANGE (MM/DD/YYYY)
	PROJECT AREA (HA)
	ELIGIBLE AREA (HA)
	EX-ANTE ESTIMATE (TCO2E)

	
	INCREASE OR DECREASE?
	VALUE (HA)
	INCREASE OR DECREASE?
	VALUE (HA)
	INCREASE OR DECREASE?
	PERCENTAGE (%)

	 
	 
	 
	 
	 
	 
	 

	
	
	
	
	
	
	

	
	
	
	
	
	
	





DOCUMENT History

	Version
	Date
	Remarks

	1.5
	29 June 2023
	Editorial changes to match V2.1 of the Safeguarding Principles Requirements

	1.4
	21 June 2023
	Editorial changes to match V2.0 of the Safeguarding Principles Requirements

	1.3
	14 April 2023
	Integrated the design change memo as annex of the document.

Editorial changes

	1.2
	14 October 2020
	Hyperlinked section summary to enable quick access to key sections
Improved clarity on Key Project Information
Inclusion criteria table added
Gender sensitive requirements added 
Prior consideration (1 yr rule) and Ongoing Financial Need added
Safeguard Principles Assessment as annex and a new section to include applicable safeguards for clarity
Improved Clarity on SDG contribution/SDG Impact term used throughout
Clarity on Stakeholder Consultation information required
Provision of an accompanying Guide to help the user understand detailed rules and requirements

	1.1
	24 August 2017
	Updated to include section A.8 on ‘gender sensitive’ requirements

	1.0
	10 July 2017
	Initial adoption
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