## Emission Reduction Calculation
Project Title :5 MW Small Scale Wind Based Power Generation for Captive Use by Balkrishna Industries Limited (BIL) in Rajasthan, India(VCS 267)
Actual Emission Reduction considering the monitoring period (tCO2e/year) |  |  | 37319
Monitoring Period Start Date |  |  | 2009-08-01
Monitoring Period End Date |  |  | 2016-03-27
Total Days |  |  | 2431
Emission Reduction as per the registererd PDD (tCO2e/year) |  |  | 8059
Emission Reduction as per the registererd PDD (tCO2e) |  |  | 80590
Emission Reduction as per the registererd PDD for this monitoring period(tCO2e) |  |  | 53675.1479
Variation in the emission reduction |  |  | -43.83%
Year | Net annual electricity supplied to the grid by the project EGy (MWh) | EFGrid,CM,y (in tCO2e/MWh) | BEy (in tCO2e) | PEy (in tCO2e) | Ley (in tCO2e) | Emission Reduction (ERy) (in tCO2e)
01-Aug-2009 to 31-Dec-2009 | 3056.7981 | 0.9075 | 2774 | 0 | 0 | 2774
01-Jan-2010 to 31-Dec-2010 | 6104.2299 | 0.9075 | 5539 | 0 | 0 | 5539
01-Jan-2011 to 31-Dec-2011 | 6825.678 | 0.9075 | 6194 | 0 | 0 | 6194
01-Jan-2012 to 31-Dec-2012 | 6793.6683 | 0.9075 | 6165 | 0 | 0 | 6165
01-Jan-2013 to 31-Dec-2013 | 6609.0322 | 0.9075 | 5997 | 0 | 0 | 5997
01-Jan-2014 to 31-Dec-2014 | 6591.8013 | 0.9075 | 5982 | 0 | 0 | 5982
01-Jan-2015 to 31-Dec-2015 | 4374.048 | 0.9075 | 3969 | 0 | 0 | 3969
01-Jan-2016 to 27-Mar-2016 | 770.9828 | 0.9075 | 699 | 0 | 0 | 699
Total | 41126 |  | 37319 | 0 | 0 | 37319

## 2015
Months | Quantity of electricity exported to the grid, EGBL,y, export (KWh) | Quantity of electricity imported to the grid, EGBL,y, import (KWh) | Net quantity of electricity exported to the grid, EGBL,y (KWh) | Net quantity of electricity exported to the grid(As per Invoice )
2015-01-01 | 247493 | 2975 | 244518 | 244518
2015-02-01 | 376390 | 2721 | 373669 | 373669
2015-03-01 | 334467 | 1653 | 332814 | 332814
2015-04-01 | 244620 | 1481 | 243139 | 243139
2015-05-01 | 458427 | 952 | 457475 | 457475
2015-06-01 | 334969 | 1455 | 333514 | 333514
2015-07-01 | 483337 | 2526 | 480811 | 480811
2015-08-01 | 559043 | 1255 | 557788 | 557788
2015-09-01 | 414414 | 3131 | 411283 | 411283
2015-10-01 | 459838 | 2669 | 457169 | 457169
2015-11-01 | 312645 | 3324 | 309321 | 309321
2015-12-01 | 179701 | 7154 | 172547 | 172547
Total (MWh) | 4405.344 | 31.296 | 4374.048 | 4374.048

## 2014
Months | Quantity of electricity exported to the grid, EGBL,y, export (KWh) | Adjusted Export as per EB 52 Annex 60 | Quantity of electricity imported to the grid, EGBL,y, import (KWh) | Adjusted Import as per EB 52 Annex 60 | Net quantity of electricity exported to the grid, EGBL,y (KWh) | Net quantity of electricity exported to the grid(As per Invoice )
2014-01-01 | 478034 | 477077.932 | 2309 | 2313.618 | 474764.314 | 475725
2014-02-01 | 323644 | 323644 | 3659 | 3659 | 319985 | 319985
2014-03-01 | 382326 | 382326 | 3953 | 3953 | 378373 | 378373
2014-04-01 | 241357 | 241357 | 2019 | 2019 | 239338 | 239338
2014-05-01 | 451426 | 451426 | 1658 | 1658 | 449768 | 449768
2014-06-01 | 1412205 | 1412205 | 232 | 232 | 1411973 | 1411973 | Error Factor is applied due to delay in calibration
2014-07-01 | 1008216 | 1008216 | 1001 | 1001 | 1007215 | 1007215
2014-08-01 | 818425 | 818425 | 1361 | 1361 | 817064 | 817064
2014-09-01 | 757114 | 757114 | 872 | 872 | 756242 | 756242
2014-10-01 | 306848 | 306848 | 4482 | 4482 | 302366 | 302366
2014-11-01 | 206121 | 206121 | 4211 | 4211 | 201910 | 201910
2014-12-01 | 237772 | 237772 | 4969 | 4969 | 232803 | 232803
Total (MWh) | 6623.488 |  | 30.726 |  | 6591.8013 | 6592.762

## 2013
Months | Quantity of electricity exported to the grid, EGBL,y, export (KWh) | Adjusted Export as per EB 52 Annex 60 | Quantity of electricity imported to the grid, EGBL,y, import (KWh) | Adjusted Import as per EB 52 Annex 60 | Net quantity of electricity exported to the grid, EGBL,y (KWh) | Net quantity of electricity exported to the grid(As per Invoice )
2013-01-01 | 196764 | 196764 | 6523 | 6523 | 190241 | 190241
2013-02-01 | 438622 | 438622 | 1217 | 1217 | 437405 | 437405
2013-03-01 | 419821 | 419821 | 4026 | 4026 | 415795 | 415795
2013-04-01 | 382577 | 382577 | 3456 | 3456 | 379121 | 379121
2013-05-01 | 939626 | 939626 | 1531 | 1531 | 938095 | 938095
2013-06-01 | 1070091 | 1070091 | 1255 | 1255 | 1068836 | 1068836
2013-07-01 | 797259 | 797259 | 809 | 809 | 796450 | 796450
2013-08-01 | 844615 | 844615 | 612 | 612 | 844003 | 844003 | Error Factor is applied due to delay in calibration
2013-09-01 | 766831 | 766831 | 1676 | 1676 | 765155 | 765155
2013-10-01 | 284055 | 284055 | 4807 | 4807 | 279248 | 279248
2013-11-01 | 214858 | 214858 | 4351 | 4351 | 210507 | 210507
2013-12-01 | 288829 | 288251.342 | 4067 | 4075.134 | 284176.208 | 284762
Total (MWh) | 6643.948 |  | 34.33 |  | 6609.0322 | 6609.618

## 2012
Months | Quantity of electricity exported to the grid, EGBL,y, export (KWh) | Adjusted Export as per EB 52 Annex 60 | Quantity of electricity imported to the grid, EGBL,y, import (KWh) | Adjusted Import as per EB 52 Annex 60 | Net quantity of electricity exported to the grid, EGBL,y (KWh) | Net quantity of electricity exported to the grid(As per Invoice )
2012-01-01 | 291861 | 291861 | 5505 | 5505 | 286356 | 286356
2012-02-01 | 369831 | 369831 | 3152 | 3152 | 366679 | 366679
2012-03-01 | 491442 | 490459.116 | 3388 | 3394.776 | 487064.34 | 488054
2012-04-01 | 448476 | 448476 | 3041 | 3041 | 445435 | 445435
2012-05-01 | 742378 | 742378 | 1248 | 1248 | 741130 | 741130
2012-06-01 | 1357983 | 1357983 | 601 | 601 | 1357382 | 1357382
2012-07-01 | 1272619 | 1272619 | 513 | 513 | 1272106 | 1272106 | Error Factor is applied due to delay in calibration
2012-08-01 | 758726 | 758726 | 2011 | 2011 | 756715 | 756715
2012-09-01 | 403428 | 403428 | 3825 | 3825 | 399603 | 399603
2012-10-01 | 208792 | 208792 | 7513 | 7513 | 201279 | 201279
2012-11-01 | 138241 | 138241 | 7279 | 7279 | 130962 | 130962
2012-12-01 | 352792 | 352792 | 3835 | 3835 | 348957 | 348957
Total (MWh) | 6836.569 |  | 41.911 |  | 6793.6683 | 6794.658

## 2011
Months | Quantity of electricity exported to the grid, EGBL,y, export (KWh) | Quantity of electricity imported to the grid, EGBL,y, import (KWh) | Net quantity of electricity exported to the grid, EGBL,y (KWh) | Net quantity of electricity exported to the grid(As per Invoice )
2011-01-01 | 365797 | 2608 | 363189 | 363189
2011-02-01 | 308290 | 3316 | 304974 | 304974
2011-03-01 | 417114 | 4308 | 412806 | 412806
2011-04-01 | 540525 | 3568 | 536957 | 536957
2011-05-01 | 1126409 | 1238 | 1125171 | 1125171
2011-06-01 | 1278884 | 1873 | 1277011 | 1277011
2011-07-01 | 842208 | 1673 | 840535 | 840535
2011-08-01 | 560798 | 2467 | 558331 | 558331
2011-09-01 | 627599 | 992 | 626607 | 626607
2011-10-01 | 369276 | 6956 | 362320 | 362320
2011-11-01 | 144943 | 9084 | 135859 | 135859
2011-12-01 | 287930 | 6012 | 281918 | 281918
Total (MWh) | 6869.773 | 44.095 | 6825.678 | 6825.678

## 2010
Months | Quantity of electricity exported to the grid, EGBL,y, export (KWh) | Adjusted Export as per EB 52 Annex 60 | Quantity of electricity imported to the grid, EGBL,y, import (KWh) | Adjusted Import as per EB 52 Annex 60 | Net quantity of electricity exported to the grid, EGBL,y (KWh) | Net quantity of electricity exported to the grid(As per Invoice )
2010-01-01 | 336191 | 335518.618 | 2756 | 2761.512 | 332757.106 | 333435
2010-02-01 | 347234 | 346539.532 | 3167 | 3173.334 | 343366.198 | 344067
2010-03-01 | 412193 | 411368.614 | 5239 | 5249.478 | 406119.136 | 406954
2010-04-01 | 620004 | 618763.992 | 3761 | 3768.522 | 614995.47 | 616243
2010-05-01 | 980429 | 980429 | 1958 | 1958 | 978471 | 978471
2010-06-01 | 1106541 | 1106541 | 1242 | 1242 | 1105299 | 1105299
2010-07-01 | 630933 | 630933 | 3860 | 3860 | 627073 | 627073
2010-08-01 | 469554 | 469554 | 5097 | 5097 | 464457 | 464457
2010-09-01 | 290864 | 290864 | 5617 | 5617 | 285247 | 285247
2010-10-01 | 375819 | 375819 | 7065 | 7065 | 368754 | 368754
2010-11-01 | 239154 | 239154 | 5005 | 5005 | 234149 | 234149 | Error Factor is applied due to delay in calibration
2010-12-01 | 347345 | 347345 | 3803 | 3803 | 343542 | 343542
Total (MWh) | 6156.261 |  | 48.57 |  | 6104.2299 | 6107.691

## 2016
Months | Quantity of electricity exported to the grid, EGBL,y, export (KWh) | Adjusted Export as per EB 52 Annex 60 | Quantity of electricity imported to the grid, EGBL,y, import (KWh) | Adjusted Import as per EB 52 Annex 60 | Net quantity of electricity exported to the grid, EGBL,y (KWh) | Net quantity of electricity exported to the grid(As per Invoice )
2016-01-01 | 183423 | 183056.154 | 7416 | 7430.832 | 175625.322 | 176007
2016-02-01 | 304896 | 304286.208 | 6732 | 6745.464 | 297540.744 | 298164
2016-03-01 | 302382.452 | 301777.6871 | 3953 | 3960.906 | 297816.7811 | 342419
Total (MWh) | 790.7015 |  | 18.101 |  | 770.9828 | 816.59
The apportioning procedure is followed since there is mismatch in end date of crediting period and JMR monthly billing cycle.
Error Factor is applied due to delay in calibration

## 2009
Months | Quantity of electricity exported to the grid, EGBL,y, export (KWh) | Adjusted Export as per EB 52 Annex 60 | Quantity of electricity imported to the grid, EGBL,y, import (KWh) | Adjusted Import as per EB 52 Annex 60 | Net quantity of electricity exported to the grid, EGBL,y (KWh) | Net quantity of electricity exported to the grid(As per Invoice )
2009-08-01 | 1126017 | 1123764.966 | 484 | 484.968 | 1123279.998 | 1125533
2009-09-01 | 1012081 | 1010056.838 | 1744 | 1747.488 | 1008309.35 | 1010337
2009-10-01 | 275441 | 274890.118 | 5475 | 5485.95 | 269404.168 | 269966
2009-11-01 | 333255 | 332588.49 | 5099 | 5109.198 | 327479.292 | 328156 | Error Factor is applied due to delay in calibration
2009-12-01 | 332670 | 332004.66 | 3672 | 3679.344 | 328325.316 | 328998
Total (MWh) | 3079.464 |  | 16.474 |  | 3056.7981 | 3062.99

## DGR-March'16
Balkrishna Industries Limited (BIL)
Date | Electricity Export (KWh) | Electricity Export including Line Loss (4.6%) in kWh
2016-03-01 | 5651 | 5391.054 | Generation data from 01/03/2016 to 31/03/2016 | 348951.258
2016-03-02 | 9415 | 8981.91 | Generation data from 01/03/2016 to 27/03/2016 | 304634.142
2016-03-03 | 4130 | 3940.02 | Generation ratio from 01/03/2016 to 27/03/2016 | 0.873
2016-03-04 | 14030 | 13384.62
2016-03-05 | 12691 | 12107.214
2016-03-06 | 7818 | 7458.372
2016-03-07 | 18032 | 17202.528
2016-03-08 | 2994 | 2856.276
2016-03-09 | 3577 | 3412.458
2016-03-10 | 18521 | 17669.034
2016-03-11 | 35721 | 34077.834
2016-03-12 | 18428 | 17580.312
2016-03-13 | 8063 | 7692.102
2016-03-14 | 3373 | 3217.842
2016-03-15 | 6266 | 5977.764
2016-03-16 | 14794 | 14113.476
2016-03-17 | 25316 | 24151.464
2016-03-18 | 2740 | 2613.96
2016-03-19 | 6373 | 6079.842
2016-03-20 | 18257 | 17417.178
2016-03-21 | 15734 | 15010.236
2016-03-22 | 9280 | 8853.12
2016-03-23 | 13271 | 12660.534
2016-03-24 | 12801 | 12212.154
2016-03-25 | 16615 | 15850.71
2016-03-26 | 6224 | 5937.696
2016-03-27 | 9208 | 8784.432
2016-03-28 | 2439 | 2326.806
2016-03-29 | 6172 | 5888.088
2016-03-30 | 19098 | 18219.492
2016-03-31 | 18745 | 17882.73