[image: image7.png]




[image: image8.png]re- carhun




Boreas Enerji Üretim Sistemleri Sanayi ve Ticaret A.Ş.
Boreas-1 Enez Wind Power Plant
IN
Turkey
MONITORING PERIOD: 
From 18/03/2019 to 31/07/2021 (both days included)
	Organizational Unit:
	Re Carbon Ltd. Carbon Department
	

	Project Title:
	Boreas-1 Enez Wind Power Plant
	

	Project Number:
	Client:
	Current MR Version:

	740
	Boreas Enerji Üretim Sistemleri San. Ve Tic. A.Ş.
	05

	Date of First Issue:
	Date of Current Version:
	Version Number:
	Number of Pages:

	08/10/2021
	27/02/2022
	2.1
	73

	Verification Number:
	Registration Number:
	Monitoring Period:

	03
	GS702
	From: 18/03/2019
	To: 31/07/2021

	Summary:
Host Country: Turkey 
Project is Reviewed Against:
 Kyoto Protocol        UNFCCC CDM rules and regulations and associated documents  
 Gold Standard rules and regulations   Other (Please Specify)

	Methodology: AMS I.D.                                  Version:  18.0
Verified Emissions Reductions: 69,291 tCO2e
Project Size:  Large Scale      Small Scale    Micro Scale

	Project Participants: 
	Boreas Enerji Üretim Sistemleri San. ve Tic. A.Ş.

	Verification Stages:
 Desk Review                   Site Visit (Remote)                   Follow-up Interviews 
 Resolution of Outstanding Issues

	Verification Findings: 
During the verification 19 Corrective Action Requests, 02 Clarification Requests were issued, all of which were closed out before the issuance of this verification report. No Forward Action Requests were issued during the verification. 
In summary, it is Re Carbon Ltd.’s opinion that the project activity “Boreas-1 Enez Wind Power Plant” in Turkey, is in compliance with the monitoring plan described in the registered PDD, version 13 dated 30/05/2019. The GHG emission reductions are calculated correctly as per the applied methodology and the emission reductions given in the monitoring report version 05 dated 24/02/2021 are fairly stated. 

	Verification Team Leader:
	Sandeep Kanda
	Indexing Terms:

	Verification Team Members:
	Öykü Yakupoğlu (Interpreter)
	 No distribution without permission of the client or responsible organizational unit

	Approved By
(Technical Reviewer):
	Name:
	Signature:
	 Limited Distribution

	
	Fikriye Seda ATABEK
	[image: image9.png]re- carhun




	 Unrestricted Distribution


Abbreviations 
CAR
: Corrective Action Request
CDM
: Clean Development Mechanism
CEF
: Carbon Emission Factor
CER
: Certified Emission Reduction(s)
CL
: Clarification request
CO2
: Carbon dioxide
CO2e
: Carbon dioxide equivalent
DNA
: Designated National Authority
DOE
: Designated Operational Entity
DR
: Document Review
EF
: Emission Factor
ER
: Emission Reductions
ERPA
: Emission Reduction Purchase Agreement
FAR
: Forward Action Request
GHG
: Greenhouse gas(es)
GS
: Gold Standard
GWP
: Global Warming Potential
I
: Interview
IPCC
: Intergovernmental Panel on Climate Change
kWh
: Kilo Watt Hour
MP
: Monitoring Plan
MoV
: Means of Verification
MW
: Mega Watt
MWh
: Mega Watt Hour
NGO
: Non-governmental Organisation
ODA
: Official Development Assistance
PDD
: Project Design Document
PP
: Project Participant(s)
tCO2e
: Tonnes of CO2 equivalents
UNFCCC: United Nations Framework Convention on Climate Change
TABLE OF CONTENTS
1.
EXECUTIVE SUMMARY– VERIFICATION AND CERTIFICATION OPINION
7
2.
Introductıon
8
2.1.
Objective
8
2.2.
Scope
8
2.3.
Description of the Project Activity
8
2.4.
Parties Involved
8
2.5.
Verification Period Covered
8
3.
Methodology
9
3.1.
Verification Team and ITR Selection
10
3.2.
Desk Review of Documents
11
3.3.
On-Site Visits
12
3.4.
Reporting of Findings via the Verification Protocol
13
3.5.
Follow-Up Interviews
13
3.6.
Resolution of Outstanding Issues
13
3.7.
Internal Quality Control
14
4.
Verıfıcatıon Fındıngs
15
4.1.
Remaining Issues From Previous Validation or Verifications
15
4.2.
Compliance of the Project Implementation with the Registered PDD
15
4.3.
Compliance of the Monitoring Plan with the Monitoring Methodology
15
4.4.
Compliance of the Monitoring with the Registered Monitoring Plan
16
4.5.
Completeness of Monitoring
16
4.6.
Sustainability Monitoring
16
4.7.
Compliance with the Calibration Frequency Requirements for Measuring Instruments
16
4.8.
Assessment of Data and Calculation of Emission Reductions
16
4.9.
Quality of Evidence
17
4.10.
Management System and Quality Assurance
17
4.11.
Materiality
17
4.12.
Verification of Sampling Plan
18
4.13.
Post Registration Changes
18
4.13.1.
Temporary deviations
18
4.13.2.
Corrections
18
4.13.3.
Changes to the start date of the crediting period
19
4.13.4.
Permanent changes
19
4.13.5.
Changes to the project design
19
5.
Lıst of Persons Intervıewed
20
6.
Lıst of Documents Revıewed
21
7.
Verıfıcatıon Team and ITR Competence
22
7.1.
Appointment Certificates
22
8.
Verıfıcatıon and certifıcatıOn opınıon
23
annex 1: verıfıcatıon protocol
25


1. EXECUTIVE SUMMARY– VERIFICATION AND CERTIFICATION OPINION
Re Carbon Ltd. has performed the third periodic verification (1st monitoring period of 2nd crediting period) of the “Boreas-1 Enez Wind Power Plant” which is a Gold Standard project with the registry reference number “GS702” for the period between 18/03/2019 and 31/07/2021. The scope of the activities covers the verification and certification of GHG emissions reductions reported in Monitoring Report Version 05 dated 24/02/2022 of “Boreas-1 Enez Wind Power Plant”.
Re Carbon Ltd. hereby confirms that the project activity “Boreas-1 Enez Wind Power Plant” in Turkey, is implemented in accordance with the validated and registered PDD version 13 dated 30/05/2019. The monitoring system is in place and the emission reductions are calculated without material misstatements as per the applied approved methodology, which is AMS I.D., version 18.0.
Re Carbon Ltd. confirms the following based on the results of document review and on-site assessment: 
The implementation of the project has resulted in 69,291 tCO2e during the monitoring period 18/03/2019 up to 31/07/2021.
2. Introductıon
2.1. Objective
Re Carbon Ltd. has been appointed by “Boreas Enerji Üretim Sistemleri San. ve Tic. A.Ş.” to perform the third periodic verification (1st monitoring period of 2nd crediting period) of the “Boreas-1 Enez Wind Power Plant” with the service agreement dated 01/06/2021. The objective of this verification activity is to assess, with objective evidence:
· if the monitoring report dated “24/02/2022” conforms with the requirements of the monitoring plan of the registered PDD and the approved methodology
· if the project activity conforms with the monitoring report and the registered PDD, and
· if the data reported in the monitoring report are complete and transparent.
2.2. Scope
The scope of the verification is the independent and objective review of the monitored GHG reductions. The verification activity is based on the validated and registered PDD version 13 dated 30/05/2019. 
The project activity and the monitoring report are assessed against the requirements of the Article 12 of the Kyoto Protocol, CDM Modalities and Procedures as agreed in the Marrakech Accords under decision 3/CMP.1, the annexes to this decision, “AMS I.D., version 18.0”, subsequent decisions and guidance made by COP/MOP & CDM Executive Board and other related rules, according to the guidance given in the CDM Validation and Verification Standard version 3.0, CDM Project Standard version 3.0, CDM Project Cycle Procedure version 3.0 and Gold Standard for Global Goals version 1.2.
The only purpose of the verification and certification is its usage during the issuance process as part of the GS project cycle. Therefore, Re Carbon Ltd. can’t be held liable by any party for decisions made or not made based on the verification and certification opinion, which will go beyond that purpose.
2.3. Description of the Project Activity 
Boreas Enerji Üretim Sistemleri San. ve Tic. A.Ş., has installed and commissioned a 15 MW wind power plant with six Nordex N90 turbines, each having a capacity of 2.5 MW and with 80m hub height. The project is located in Enez district of Edirne in Turkey and nearest village is Hisarli Village which is approximately 1 km away from the project area.
The project supplies electric power to the Turkish National grid through the substation Enez TM, 154 Kv bara via 10 km transmission line.
Subsequently, the installed capacity of the project has been increased to 20 MW with the revision. Two units have been added to the project as of 16/04/2015 and 02/08/2016, respectively. The added units are also from the same turbine supplier-Nordex N100 turbines with an installed capacity of 3.3 MW. However, the N100 turbines are operated as 2.5 MW due to power limitation according to the generation license. However, as the Gold Standard rules require the capacity addition approval to be submitted within one year of its start date i.e., by 02/08/2017 which did not happen, therefore, the capacity addition component is not eligible anymore under Gold Standard and so, the renewal of the crediting period is without the capacity addition component. Gold Standard registered capacity of the project (15 MW) is considered, and the electricity generation and the emission reduction of the added units hadn’t been included for the renewal of the crediting period and in this verification period.
The annual net electricity production of the initially registered 15 MW project is expected to be 52.74 GWh per year.
The first crediting period start date of the project was 01/05/2011 with choice of renewable crediting period. The PDD submitted for renewal of crediting period indicates the second renewable crediting period start date as 18/03/2019 and the end date as 17/03/2026.
2.4. Parties Involved
Boreas Enerji Üretim Sistemleri San. ve Tic. A.Ş. is the project participant and host country is Turkey.
2.5. Verification Period Covered
This is the 3rd verification period (1st monitoring period of 2nd crediting period) from 18/03/2019 to 31/07/2021 (both days included).

3. Methodology
The verification of this GS project activity includes the following steps:
· Assessment of the conformity of the actual project activity and its operation with the registered PDD version 13 dated 30/05/2019
· A remote audit in lieu of site visit was conducted on 28/09/2021 to assess that all physical features of the project activity proposed in the registered PDD are in place and that the project participants has operated the project activity as per the registered PDD.
· Assessment of the compliance of the monitoring plan with the monitoring methodology AMS I.D., version 18.0.
· Assessment of the compliance of monitoring with the monitoring plan
· Assessment of data and calculation of greenhouse gas emission reductions
· Issuance of the verification report
· Independent technical review
· Approval of the verification report and request of issuance
The Verification Protocol is used for the assessment of each requirement during the execution of verification activities and is given in Annex-1 of this verification report.
The Verification Protocol consists of three tables: 
· Table 1 (Monitoring Report and CDM verification requirements) 
· Table 2 (Additional Gold Standard (GS) requirements) and 
· Table 3 (Resolution of Corrective Action, Forward Action and Clarification Requests)
The usage description of Table-1 in Verification Protocol is explained in Table 3-1 below:
Table 3-: Explanation about Table-1 in Verification Protocol

	Question
	Reference
	MoV*
	Findings, comments, references and document sources
	Draft & Final Conclusion

	The requirements related 
with the monitoring report and verification  
	Gives reference to the legislation or documents where the relevant requirement is found
	Explains how conformance with question is investigated. Examples of means of verification are Document Review (DR), Interview (I) and Not Applicable (NA)
	Is used to elebarote and discuss the question and/or conformance to the question by giving related references and document sources based on which the finding is issued or evidence is checked
	Either acceptable based on the evidence provided (OK), non-compliance with the requirement (CAR),  further clarification (CL) due to insufficient, unclear or not transparent information, forward action request (FAR) that needs to be solved during the next periodic verification 


The usage description of Table-2 in Verification Protocol is explained in Table 3-2 below:
Table 3-: Explanation about Table-2 in Verification Protocol

	Question
	Reference
	MoV*
	Findings, comments, references and document sources
	Draft & Final Conclusion

	The additional requirements related with Gold Standard  
	Gives reference to the legislation or documents where the relevant requirement is found
	Explains how conformance with question is investigated. Examples of means of verification are Document Review (DR), Interview (I) and Not Applicable (NA)
	Is used to elebarote and discuss the question and/or conformance to the question by giving related references and document sources based on which the finding is issued or evidence is checked
	Either acceptable based on the evidence provided (OK), non-compliance with the requirement (CAR),  further clarification (CL) due to insufficient, unclear or not transparent information, forward action request (FAR) that needs to be solved during the next periodic verification 


The usage description of Table-3 in Verification Protocol is explained in Table 3-3 below:
Table 3-: Explanation about Table-3 in Verification Protocol

	Draft Report Clarifications, Forward Action and Corrective Action Requests by Verification Team
	Ref. to Questions in Table-1 and Table-2
	Summary of Project Participants’ Response
	Verification Team Conclusion

	The all CL, FAR and CARs determined during the draft verification report should be listed here
	Gives reference to the checklist questions in Table-1 of Verification Protocol
	Is used to summarize the responses by project participants regarding the non-conformities
	Is used to summarize the responses by verification and their conclusions 


The Verification Protocol is fulfilled by the verification team in line with the descriptions above and all the CARs, CLs and FARs are listed in a transparent and clear manner. 
3.1. Verification Team and ITR Selection
The appointment process of the verification team takes into account the technical area(s), sectoral scope(s), and relevant host country experience required amongst team members for the verification of the emission reductions achieved by the project activity in the relevant monitoring period for this verification. The relevant GS verification and previous ITR experiences are also assessed during the selection of the team members and Independent Technical Reviewer (ITR), respectively. The verification team and ITR are assigned to this verification activity on 18/05/2021 taking all the above factors into consideration and as a result of the contract review process.
The verification team and ITR details are given in Table 3-4 below:
Table 3-: Verification team and ITR details

	Name
	Role
	Host Country Experience
	Scope Coverage
	Technical Expertise
	Financial Expertise
	Involvement*

	Sandeep KANDA
	Team Leader
	
	
	
	
	DR, R, SV, A

	Öykü YAKUPOĞLU
	Interpreter                          
	
	
	
	
	DR, SV

	Fikriye Seda ATABEK
	ITR
	
	
	
	
	ITR


*
Explanations for the abbreviations used for involvement types are as follows:
A
: Administrative
DR
: Desk Review
SV
: Online Site Visit
R
: Reporting
ITR
: Independent Technical Review
3.2. Desk Review of Documents
The basis for the verification activity is the monitoring report version 01, dated 26/09/2021 which was submitted to the verification team on 07/10/2021. This monitoring report was revised several times due to the issued CARs and CLs, version 05 dated 24/02/2022 being the final version. The monitoring report and the monitoring activities were assessed against the registered PDD, version 13 dated 30/05/2019, the AMS I.D., version 18.0, the relevant CDM rules and regulations, CDM Validation and Verification Standard version 3.0, Gold Standard for Global Goals version 1.2 and the final validation report of Re-carbon Ltd., dated 31/05/2019 and the previous second periodic verification report of Re-carbon Ltd., dated 15/04/2019. 
The following actions were involved in the desk review:
· A review of the data and information presented to verify their completeness
· A review of the monitoring plan and monitoring methodology, paying particular attention to the frequency of measurements, the quality of metering equipment including calibration requirements, and the quality assurance and quality control procedures
· An evaluation of data management and the quality assurance and quality control system in the context of their influence on the generation and reporting of emission reductions
A list of all the documents that were reviewed can be found in Section 6 of this verification report.
3.3. On-Site Visits
As a part of the verification activities a site visit was performed to the project activity site, details of which can be seen in the below Table 3-5:
Table 3-: Site visit details
	Date
	28/09/2021

	Location
	Online (remote)

	Participant
	Company Name
	Role in the Organization / Role in the Site Visit

	Ahmet AYDOĞDU
	Hisarlı Village
	Resident-Male

	Vedat AVCU
	Yazır Village
	Muhtar (Headman)

	Mehmet Ersan ŞILAK
	BOREAS
	Chief of Power Plant

	Sabri Ozan ORSAN
	BOREAS
	Company Manager

	Sıla DURAN
	SEKANS
	Consultant

	Points Verified
	Source of Information

	Implementation and operation of the proposed GS project activity as per the registered PDD
	Document review, online site visit and interviews with PP representatives and consultant

	Review of information flows for generating, aggregating and reporting the monitoring parameters
	Document review, online site visit and interviews with PP representatives and consultant

	Interviews with relevant personnel to confirm that the operational and data collection procedures are implemented in accordance with the monitoring plan in the PDD including sustainable development goal (SDG) parameters
	Interviews with PP representatives and local stakeholders

	Cross-check between information provided in the monitoring report and data from other sources such as plant log books, inventories, purchase records or similar data sources
	Document review and online site visit 

	Check of the monitoring equipment including calibration performance and observations of monitoring practices against the requirements of the PDD and the selected methodology
	Document review, online site visit and interviews with the PP representatives, consultant and local stakeholders

	Review of calculations and assumptions made in determining the GHG data and emission reductions
	Document review

	Identification of quality control and quality assurance procedures in place to prevent or identify and correct any errors or omissions in the reported monitoring parameters 
	Document review and interviews with PP representatives and consultant


3.4. Reporting of Findings via the Verification Protocol
During the verification period, a Verification Protocol which is attached in Annex 1 to this verification report was used to submit the findings to the project participants. 
In line with the CDM Validation and Verification Standard the team reports the non-conformities in the forms of Corrective Action Requests (CARs), Clarification Requests (CLs) and Forward Action Requests (FARs). When and for which type of non-conformities CARs, CLs and FARs are issued are explained below:
· The Verification team raises a CAR if one of the following occurs:
· Non-conformities with the monitoring plan or methodology are found in the monitoring and reporting, or if the evidence provided to prove conformity is insufficient;
· Mistakes have been made in applying assumptions, data or calculations of emission reductions that will impair the estimate of emission reductions;
· Issues identified in a FAR during validation to be verified during verification have not been resolved by the project participants.
· The Verification team raises a CL if information is insufficient or not transparent not clear enough to determine whether the applicable CDM requirements have been met.
· The Verification team raises a FAR during verification for actions if the monitoring and reporting require attention and/or adjustment for the next verification period.
According to these principles total of 19 CARs and 02 CLs were issued all of which are listed in the Verification Protocol.
3.5. Follow-Up Interviews
During the verification period follow-up interviews were realized by the verification team to further analyze the correctness and accurateness of the information provided. A list of persons interviewed is given in Section 5 of this Verification Report.
3.6. Resolution of Outstanding Issues
During the verification activities CARs and CLs were issued to clarify the issues that are not transparent enough to reach a positive verification opinion and to approve the achieved GHG emission reductions. 
If there are any findings issued as Forward Action Requests (FARs) indicated in previous validation and/or verification reports were discussed during this phase. 
Issues issued in the FARs from previous reports, and CLs and CARs from this verification activity, were resolved, during the written and oral communications between the Project Participant and Re Carbon Ltd. Verification Team members. These communications are backed up with objective evidence that were sent to the verification team as a proof of compliance. Concerns issued in the desk review, the on-site audit assessments and the follow up interviews and the responses provided for the issued concerns are documented in Annex 1 (Verification Protocol) to guarantee the transparency of the verification process.
Table 3-: Timeline of verification activities
	Activity
	Date

	Desk review started
	28/09/2021

	Remote Audit
	28/09/2021

	1st Protocol submission to client and subsequent rounds
	08/10/2021 – 21/12/2021

	Closure of all CARs and CLs
	21/12/2021

	Submission for Technical Review
	21/12/2021

	Submission for final approval
	03/01/2022

	Final documents submitted to client
	04/01/2022

	Revisions based on GS review comments
	27/02/2022


Information or clarifications provided as a response to a CAR, CL or FAR could also lead to a new request. This can also be seen transparently in the Verification Protocol provided in Annex 1 of this Verification Report.
3.7. Internal Quality Control
As a final step of verification, the final documentation including the verification report and its annexes have to undergo an internal quality control by the Re Carbon Ltd.. This quality control is also referred to as Independent Technical Review process.
The Independent Technical Review is performed by another Team Leader who hasn’t involved in the verification activities of this project activity. When the Team Leader finalizes the Verification Report, the report is sent to Independent Technical Reviewer, at this stage not only the report but all the supporting documents like emission factor calculations, additionality justifications, relevant excel sheets etc. are reviewed. 
Further CLs and CARs can be issued by the Independent Technical Reviewer during this review, to cover all the points that may need further clarification.
After all the CLs and CARs are closed, the verification report is reviewed and approved by the Team Leader, ITR and the Certification Manager/General Manager, and the request of issuance is submitted to the Gold Standard Organization in line with the positive verification opinion and along with all relevant documents.
4. Verıfıcatıon Fındıngs
4.1. Remaining Issues From Previous Validation or Verifications
There hasn’t been any FARs issued in the renewal validation report and the previous second periodic verification report and GS issuance, and renewal review documents provided by PP. 
4.2. Compliance of the Project Implementation with the Registered PDD
The project is fully implemented according to the description presented in the registered PDD. The project currently has 8 turbines installed as against 6 cited in the initially registered PDD with 15 MW capacity. The installed capacity of the project has been increased to 20 MW with the revision. Two units have been added to the project as of 16/04/2015 and 02/08/2016, respectively. The added units are also from the same turbine supplier-Nordex N100 turbines with an installed capacity of 3.3 MW. However, the N100 turbines are operated as 2. 5 MW due to power limitation according to the generation license. However, as the Gold Standard rules require the capacity addition approval to be submitted within one year of its start date i.e. by 02/08/2017 which did not happen, therefore, the capacity addition component is not eligible anymore under Gold Standard and so, the renewal of the crediting period is without the capacity addition component. Gold Standard registered capacity of the project (15 MW) is considered and the electricity generation and the emission reduction of the added units hadn’t been included
The verifier confirms, through the remote audit inspection that all physical features of the project activity including data collecting systems and storage have been implemented in accordance with the registered PDD. Electricity meters were also seen through remote audit. The project activity is completely operational and the same has been confirmed.
According to the registered PDD, with 6 wind turbines and 15 MW capacity, the estimated annual emission reduction is 29,948 tCO2e and corresponding total estimated amount for the monitoring period is 71,055 tCO2e. The actual values achieved for the current monitoring period is 69,291 tCO2e. The actual amount of emission reduction for the current monitoring period is 2% less than estimated emission reduction amount. 
The difference between the values of the data presented in the MR and the stated data in the registered PDD is not significant. The difference in the values does not lead to a substantial increment of the ER in this period in relation to the estimates in the registered PDD.
4.3. Compliance of the Monitoring Plan with the Monitoring Methodology
The monitoring plan is in accordance with the approved methodology, AMS I.D. Version 18.0, applied by the project activity.
In line with the methodology, the only information to be monitored is the amount of net electricity delivered to the grid by the project activity.
4.4. Compliance of the Monitoring with the Registered Monitoring Plan
The net electricity is measured continuously by one main electricity meter at the grid interface and recorded monthly. There is also one backup electricity meter.
The meters used are in line with the regulatory requirements for electricity meters. The serial numbers of the meters are 5316624 for the main meter and 5316625 for the backup meter, respectively. The accuracy class of the meters is 0.2s and they have been controlled and maintained by the grid owner. The quantity of net electricity delivered to the grid has been calculated with the EPİAŞ (the financial settlement centre of TEIAS) records provided to the PP by TEIAS. All readings and billings are done via EPİAŞ system which is the legal database of the Ministry.
There are always internal reviews of the metered data which is checked by different parties. SCADA system is available from which daily reports are taken. The data collected daily is saved in plant manager computer and backed up. Logbooks were checked and sampled during remote audit and there were no differences in data.
4.5. Completeness of Monitoring
All parameters required by the methodology and Gold Standard are monitored. In line with the methodology, the only information to be monitored is the amount of net electricity exported to the grid by the project activity for SDG 7- Clean and Affordable Energy and SDG 13: Climate Action. The other sustainable development indicator cited in the renewed is SDG 8: Decent Work and Economic Growth with number of employment generation and trainings imparted.
As there are no missing parameters, monitoring is complete.
4.6. Sustainability Monitoring
Sustainability measures are in line with Section G of the registered Gold Standard Passport. For verification of sustainability parameters in the current monitoring period, document review, on site visit observations and interviews with local stakeholders were used.  
Compliance check of the parameters indicated in the sustainability monitoring plan of the GS-Passport has been carried out, as follows in Table 4-1 below:
Table 4-: Sustainability monitoring parameters
	Relevant SDG
	Relevant SDG Target and Indicator
	Relevant Parameter
	Measurement Methods
	Compliance check

	SDG-7: Affordable and Clean Energy
	Target 7.2. By 2030, increase substantially the share of renewable energy in the global energy mix
Indicator 7.2.1. Renewable energy share in the total final energy consumption

	EGPJ,y,facility (MWh/yr)
	The net electricity is measured continuously by a power meter at the grid interface and recorded monthly. EPIAS records are the source of the exact electricity generation of the project and the imports from the grid. The quantity of net electricity delivered to the grid is cross checked with the meter reading records (OSF forms-OSOS) which are provided to the company by TEIAS.
	The net electricity generation has been checked from the EPİAŞ records.

	SDG-8 Decent Work and Economic Growth

	Target 8.5. By 2030, achieve full and productive employment and decent work for all women and men
Indicator 8.5.2. Unemployment rate, by sex, age and persons with disabilities
	Number of employment
	Through social Security System (SGK) records
	As per the social security records checked and on-site visit, there are 8 employees of which 6 are locals. Among these, 5 employees (2 operations and 3 for maintenance) are working directly on behalf of PP. Besides that, there are some subcontractor employees including 6 security staff and 1 service staff.

In total there are 13 number of employees including the contracted security staff.

	SDG-8 Decent Work and Economic Growth
	Target 8.8. Protect labour rights and promote safe and secure working environments for all workers, including migrant workers, in particular women migrants, and those in precarious employment
Indicator 8.8.1. Frequency rates of fatal and non-fatal occupational injuries, by sex and migrant status
	Number of trainings
	Through training attendance records or training certificates
	As per the training records and certificates checked, the trainings were on working at height in 2019 and first aid in 2021. Due to absence of records, no training is cited for 2020.
The safety measures and usage of personal protection equipment by PP project site employees were also confirmed during the remote audit interviews.

	SDG 13 - Climate Action
	Target 13.3. Improve education awareness-raising and human and institutional capacity on climate change mitigation, adaptation, impact reduction and early warning
Indicator 13.3.2. Number of countries that have communicated the strengthening of institutional, systemic and individual capacity-building to implement adaptation, mitigation and technology transfer, and development actions
	ERy (tCO2/y)
	Emission reductions will be calculated as considering the EPIAS records for the net electricity generated and the emission factor for the grid (0.5678 tCO2/MWh)
	The net electricity generation has been checked from the EPİAŞ records and the CO2 emission factor due to electricity generation is taken as: 0.5678 tCO2/MWh, as fixed ex-ante in the registered PDD.



Besides that, the social security records provided by PP including all PP site employees and since there hasn’t been any complaint by the interviewed PP site employees during the remote audit. 
Besides that, there hadn’t been any complaint by the interviewed local stakeholders during the remote audit regarding the waste management practices. Based on the audit findings, no concerns regarding biodiversity have been observed.
Therefore, based on the observations and provided documents DOE confirms that sustainability parameters are monitored in line with the renewed PDD. 
4.7. Compliance with the Calibration Frequency Requirements for Measuring Instruments
During validation calibrated meters were installed as per the regulations. The initial calibration of the electricity meters was done on 26/11/2015 along with the meter change process in which currently available meters were installed by TEIAS. Although, re-calibration is required after ten years, nevertheless, in case of irregular difference between main and cross-check spare meters, TEIAS responsible are informed for the intervention. That means, TEIAS is responsible for the calibration and maintenance of the devices. Previous meter tests for the meters were performed on 02/12/2017, respectively.
The serial numbers of the main and back up meters before meter change process was 5316624 and 5316625 with EMH make. All documents regarding meter quality and approvals/acceptance have been presented for the verification.
All data collected as part of monitoring will be archived electronically by the project owner and be kept at least for 2 years after the end of the last crediting period.
4.8. Assessment of Data and Calculation of Emission Reductions
EPİAŞ records are presented to DOE for all months of the monitoring period. All data in emission reductions table are checked with EPİAŞ records. EPIAS records are the main data source whereas TEIAS meter reading protocols have been utilized as the cross check data source. The net electricity generated during the current monitoring period was as follows in Table 4-2 below:
Table 4-: Net electricity generation

	Period
	Amount
	Compliance check

	18/03/2019 – 31/12/2019
	Export to Grid: 59,698.55 MWh
Import from Grid: 64.48 MWh
Net electricity supplied to grid: 59,634.07 MWh

Adjusted net electricity supplied to grid: 39,087.18 MWh
	Monthly EPİAŞ records

	01/01/2020 – 31/12/2020
	Export to Grid: 84,884.23 MWh
Import from Grid: 82.20 MWh
Net electricity supplied to grid: 84,802.03 MWh

Adjusted net electricity supplied to grid: 55,583.53 MWh
	Monthly EPİAŞ records

	01/01/2021 – 31/07/2021
	Export to Grid: 41,802.71 MWh
Import from Grid: 50.79 MWh
Net electricity supplied to grid: 41,751.92 MWh

Adjusted net electricity supplied to grid: 27,366.32 MWh
	Monthly EPİAŞ records

	Total (18/03/2019 – 31/07/2021)
	Total adjusted net electricity supplied to grid: 122,037.02 MWh
	


The aforementioned monitored net electricity is adjusted after discounting the expected generation of added capacity and after capacity increase (from turbines T7 and T8 as 0.1914 and 0.1532 ratio respectively for generation from these turbines with the total expected generation, for which emission reductions cannot be claimed) to arrive at the claimable net generation. DOE confirms that the data used for emission reductions are correct. The grid emission factor taken is 0.5678 tCO2/MWh and the value is same as fixed ex-ante in the registered PDD.
DOE also confirms that the methods and formulae used for calculating baseline emissions are in line with the methodology and the registered PDD. The net electricity generation is multiplied with the grid emission factor to arrive at the emission reductions.
The grid emission factor and data and parameters available before validation are also applied in line with the registered PDD and baseline excel sheet for validation.
Besides that, the DOE has checked the I-REC Registry (https://registry.irecservices.com/Public/ReportDevices/), wherein only 22 projects from Turkey are listed, namely: Bagarasi Wind Power Plant, Bayramhacili HEPP, Gundogdu Wind Power Plant, Dayıcık 1 Solar Power Plant, Kiyikoy Wind Power Plant, Kuredagi Wind Power Plant, Boreas 1 Enez Wind Power Plant, Seferihisar Wind Power Plant, Manastır Wind Power Plant, Petkim Wind Power Plant, Pamuklu Solar Power Plant, Kargı HEPP, Yedigöl HEPP, Azmak HEPP, Andirin HEPP, Susurluk Wind Power Plant, Sırımtas HEPP, Kayadüzü Wind Power Plant, Killik Wind Power Plant and Menzelet HEPP, Bafa Wind Power Plant and Cingilli Solar Power Plant. Though the project is listed in the I-REC registry, only the the capacity of added turbines has been registered  for future opportunities and it is not related with the GS registered project activity
Similarly, VCS project database (http://vcsprojectdatabase.org/#/home) was checked and this project isn’t available within VCS project database. Given that CDM projects are not applicable in Turkey, no domestic REC scheme is implemented yet and the project does not appear on I-REC and VCS registries, it could be confirmed that no RECs and other VER carbon credits are being issued for the project at the time of validation.
4.9. Quality of Evidence
According to the PDD the estimated emission reduction for this monitoring period would be 71,055 tCO2e. However, the project in operation totally reached 69,291 tCO2e in this period.
The vintage break-up of the emission reductions during the current monitoring period was as follows in Table 4-3 below:
Table 4-: Emission reduction

	Period
	Emission reductions (tCO2e)

	18/03/2019 – 31/12/2019
	22,193

	01/01/2020 – 31/12/2020
	31,560

	01/01/2021 – 31/07/2021
	15,538

	Total (18/03/2019 – 31/07/2021)
	69,291


Calculations have been reproduced by DOE and the source data (EPİAŞ records) are presented by PP.
4.10. Management System and Quality Assurance
There were two meters attached to the power plant for measurement of the generated electricity which were installed to the plant. The meters used in the powerhouse are in line with the EMRA requirements for the electricity meters. Both these meters are bi-directional (meter the energy in two directions – consumption and production). If there is a measuring difference between these two meters and one of the parties (TEIAS or the PP) requests for calibration of the meters, in this case, the meters will be calibrated without waiting for the periodical check. This calibration process is made by an accredited party under the control of TEIAS and the PP is not responsible for calibration of the meters in Turkey according to the local standards and requirements.
4.11. Materiality
Verification DOE checked all data set (EPİAŞ records from 18/03/2019 – 31/07/2021) and each day of production is included in these readings. These readings are exact and are the basis for billing. They are recorded and saved automatically by government authority and there is no base for any option of material information.
Level of materiality is ensured by application of “Guideline on the Application of Materiality in Verifications” version 02. To guarantee this level of assurance all data that is used in the GHG emission reduction calculations have been reviewed without any sampling.
4.12. Verification of Sampling Plan
No sampling approach is used.
4.13. Post Registration Changes
4.13.1. Temporary deviations
N/A.
4.13.2. Corrections 
N/A.
4.13.3. Changes to the start date of the crediting period
N/A.
4.13.4. Permanent changes 
N/A.
4.13.5. Changes to the project design
N/A.

5. Lıst of Persons Intervıewed
The list of people who were interviewed during the verification period is given in the Table 5-1 below:
Table 5-: List of persons interviewed
	Reference Number
	Means of Interview

	Full Name
	Title
	Organization

	I01 
	
	Ahmet AYDOĞDU
	Resident-Male
	Hisarlı Village

	I02
	
	Vedat AVCU
	Muhtar (Headman)
	Yazır Village

	I03
	
	Mehmet Ersan ŞILAK
	Chief of Power Plant
	BOREAS

	I04
	
	Sabri Ozan ORSAN
	Company Manager
	BOREAS

	I05
	
	Sıla DURAN
	Consultant
	SEKANS

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	


6. Lıst of Documents Revıewed
The list of the documents which were reviewed during the verification period is given in the Table 6-1 below: 
Table 6-: List of documents reviewed
	Document Number
	Document Name
	Version
	Date (dd/mm/yyyy)

	D01
	Revised PDD for Renewal of Crediting Period “Boreas-1 Enez Wind Power Plant”
	13
	30/05/2019

	D02
	GS4GG_Crediting_Period_Review_GS702
	-
	08/07/2019

	D03
	Validation Report by Re-Carbon for 2nd CP
	03
	31/05/2019

	D04
	Verification Report by Re-Carbon for 2nd MR
	02.1
	15/04/2019

	D05
	Issuance_Review_Feedback_Form_GS_702
	-
	22/04/2019

	D06
	Verification Service Agreement
	-
	01/06/2021

	D07
	AMS-I.D.: Grid connected renewable electricity generation
	18
	28/11/2014

	D08
	CDM Validation and Verification Standard for Project Activities
	3.0
	09/09/2021

	D09
	CDM Project Standard for Project Activities
	3.0
	09/09/2021

	D10
	CDM Project Cycle Procedure for Project Activities
	3.0
	09/09/2021

	D11
	Gold Standard for Global Goals
	1.2
	-

	D12
	Monitoring report
	01
	26/09/2021

	D13
	Monitoring report
	02
	25/11/2021

	D14
	Monitoring report
	03
	20/12/2021

	D15
	Monitoring report
	04
	21/12/2021

	D16
	ER Calculation Excel Sheet
	01
	26/09/2021

	D17
	ER Calculation Excel Sheet
	02
	25/11/2021

	D18
	ER Calculation Excel Sheet
	03
	20/12/2021

	D19
	ER Calculation Excel Sheet
	04
	21/12/2021

	D20
	EPIAS records
	-
	03/2019 to 07/2021

	D21
	OSF 
	-
	03/2019 to 07/2021

	D22
	Social Security Records of PP Site Staff 
	-
	-

	D23
	Meter Test Reports
	-
	17/10/2020

	D24
	Meter photographs
	-
	-

	D25
	Waste records
	-
	-

	D26
	Training records
	-
	11/04/2019

	D27
	Main Meter Change Protocol
	-
	26/11/2015

	D28
	Back-up Meter Change Protocol
	-
	26/11/2015

	D29
	Guarantee For the Meters
	-
	-

	D30
	Scada Screenshots T 1 – 6
	-
	03/2019 to 07/2021

	D31
	Grıevance book declaration
	-
	08/02/2022

	D32
	No dispute declaration
	-
	08/02/2022

	D33
	Domestıc waste declaration
	-
	08/02/2022

	D34
	Monitoring report
	05
	24/02/2022


7. Verıfıcatıon Team and ITR Competence
Sandeep KANDA holds a degree in Mechanical Engineering, Masters in Energy systems engineering from Indian Institute of Technology – Bombay and Post Graduate Diploma in Industrial Safety & Environmental Management from National Institute of Industrial Engineering in India. He has more than ten years of work experience with auditing and consultancy firms, seven years thereof with Designated Operational Entities under the CDM. He is experienced working on diversified areas of energy and environmental management, including policies, Clean Development Mechanism (CDM), Corporate Sustainability Reporting (CSR) Audits, energy audits, utility audits and product development. As CDM auditor and technical reviewer for TÜV Süd, he has audited more than 30 CDM projects as technical reviewer; 40 projects as lead auditor and 7 PoAs in various capacities; covering a broad range of sectoral scopes, such as Energy industries (renewable - / non-renewable sources), Energy distribution, Energy demand, Manufacturing industries, Chemical industries, Transport, Metal production, Waste handling & disposal and Agriculture. He has been working as a contracted team leader, technical reviewer, TA 1.1 and renewable energy expert in the context of Re Carbon.
Öykü YAKUPOĞLU holds a B.Sc. degree in “Environmental Engineering” from Middle East Technical University/Ankara and currently undergoes a M.Sc. program in Chemical Engineering. She is experienced in ISO 14001: 2015 - Environment Management System, ISO 50001: 2018- Energy Management System , ISO 45001: 2018 - Occupational Health and Safety, Management System, ISO 9001: 2015 - Quality Management System Internal Auditor, ISO 14001: 2015 - Environment Management System Internal, Auditor, ISO 50001: 2018- Energy Management System Internal Auditor. With re-carbon, Öykü is a Validator/Verifier Trainee.
Fikriye Seda ATABEK, B.Sc. in Chemical Engineering has completed her M.Sc. degree in Istanbul Technical University in Energy Science and Technology. She is a lead auditor and trainer for ISO 50001 and has been working about management systems, ISO 14064 and energy management in industry since 2004. She has been involved in more than 80 GS and VCS projects as a team leader/validator/verifier especially in the energy sector. She has been working as contracted voluntary market projects’ team leader/validator/verifier and CDM validator/verifier in the context of Re Carbon.
7.1.  Appointment Certificates

[image: image1.emf]

[image: image2.emf]
[image: image3.emf][image: image4.emf]
8. Verıfıcatıon and certifıcatıOn opınıon
Re Carbon Ltd. has performed the third periodic verification (1st monitoring period of 2nd crediting period) of Gold Standard “Boreas-1 Enez Wind Power Plant” which is a project with the registry reference number “GS702” for the period between 18/03/2019 and 31/07/2021. The scope of the activities covers the verification and certification of GHG emissions reductions reported (GS-VERs) in Monitoring Report Version 05 dated 24/02/2022 of “Boreas-1 Enez Wind Power Plant”.
Boreas Enerji Üretim Sistemleri San. ve Tic. A.Ş. is responsible for the preparation of the GHG emissions data and the reported GHG emissions reductions of the project on the basis set out within the project Monitoring Plan indicated in the final PDD. The development and maintenance of records and reporting procedures in accordance with that plan, including the calculation and determination of GHG emission reductions from the project, is the responsibility of the management of the Project. The development and maintenance of the records and the related monitoring procedures are in accordance with the Monitoring Report Version 05.
The verification has been performed by a verification team consisting of “Sandeep Kanda as Team Leader, Öykü Yakupoğlu as Trainee Verifier, and Fikriye Seda Atabek as ITR.”, and the project activity was checked against the applicable rules and regulations of CDM including Section I of CDM Modalities and Procedures, the relevant guidance and decisions of the COP/MOP, CDM EB and CDM Validation and Verification Standard version 3.0, CDM Project Standard for project activities, version 3.0, and CDM Project Cycle Procedure for project activities, version 3.0, and GS For Global Goals version 1.2”.
Re Carbon Ltd. hereby confirms that the project activity “Boreas-1 Enez Wind Power Plant” in Turkey, is implemented in accordance with the validated and registered PDD version 13 dated 30/05/2019. The monitoring system is in place and the emission reductions (GS-VERs) are calculated without material misstatements as per the applied approved methodology, which is AMS I.D., version 18.0.
Re Carbon Ltd. confirms the following based on the results of document review and on-site assessment: 

	Project Title
	Boreas-1 Enez Wind Power Plant

	Applicable Period
	3rd Monitoring Period (18/03/2019 to 31/07/2021 both days included)

	Baseline Emissions
	69,291 tCO2e (18/03/2019 to 31/12/2019: 22,193 tCO2e; 2019: 31,560 tCO2e; 01/01/2021 to 31/07/2021: 15,538 tCO2e)

	Project Emissions
	0 tCO2e

	Leakage Emissions
	0 tCO2e

	Emission Reductions
	69,291 tCO2e (18/03/2019 to 31/12/2019: 22,193 tCO2e; 2019: 31,560 tCO2e; 01/01/2021 to 31/07/2021: 15,538 tCO2e)


	[image: image5.emf]
	
	[image: image6.jpg]




	Sandeep KANDA
	Fikriye Seda ATABEK
	Esin TUNALI

	Team Leader
	ITR
	Certification Manager

	27/02/2022
	27/02/2022
	27/02/2022


annex 1: verıfıcatıon protocol
Table 1 – GS4GG Monitoring Report (MR) Form Requirements 
	Question
	Reference
	Means of verification*
	Findings, comments, references and
document sources
	Draft opinion
	Final opinion

	Cover Page
	
	
	
	
	

	1. Has the following information been provided on the cover page of the MR?
	GS4GG-MR-FORM version 1.1
	DR
	Please see in below.
	OK
	OK

	1.1. Gold Standard project ID;
	GS4GG-MR-FORM version 1.1
	DR
	Yes, the reference number (GS702) has been provided.
	OK
	OK

	1.2. Title of the project;
	GS4GG-MR-FORM version 1.1
	DR
	Yes, title of the project (Boreas-1 Enez Wind Power Plant) has been provided.
	OK
	OK

	1.3. Version number of PDD applicable to this monitoring report;
	GS4GG-MR-FORM version 1.1
	DR
	Yes, version 13.0 is applicable
	OK
	OK

	1.4. Version number of the monitoring report;
	GS4GG-MR-FORM version 1.1
	DR
	Yes, the version number is available.
	OK
	OK

	1.5. Completion date of the monitoring report (DD/MM/YYYY);
	GS4GG-MR-FORM version 1.1
	DR
	Yes, the completion date is available.
	OK
	OK

	1.6. Date of the project design certification (DD/MM/YYYY);
(The date of design certification is the last day of the design review period (even if the review is concluded after this date). GS4GG Design Review is 4 weeks).
	GS4GG-MR-FORM version 1.1
	DR
	Please clarify and correct the design certification date, as the GS registration date is cited as 25/04/2013 in the GS review documents
	CAR-1
	OK

	1.7. Date of last annual report;
(Registered/design certified GS projects must submit an annual report or complete the verification by the end of the next calendar year that follows the end of a verified monitoring period).
	GS4GG-MR-FORM version 1.1
	DR
	n/a
	OK
	OK

	1.8. Monitoring period number;
	GS4GG-MR-FORM version 1.1
	DR
	This is the third periodic verification, however 1st for the 2nd crediting period.
	OK
	OK

	1.9. Duration of this monitoring period (DD/MM/YYYY– DD/MM/YYYY));
	GS4GG-MR-FORM version 1.1
	DR
	18/03/2019 – 30/09/2021
	OK
	OK

	1.10. Project representative(s);
	GS4GG-MR-FORM version 1.1
	DR
	Sekans Danışmanlık
	OK
	OK

	1.11. Host country;
	GS4GG-MR-FORM version 1.1
	DR
	Turkey
	OK
	OK

	1.12. Activity requirements applied;
	GS4GG-MR-FORM version 1.1
	DR
	Renewable Energy Activities
	OK
	OK

	1.13. Methodology (ies) applied and version number;
	GS4GG-MR-FORM version 1.1
	DR
	AMS-I.D, version 18.0
	OK
	OK

	1.14. Product requirements applied;
(GHG Emissions Reduction & Sequestration: required to issue VERs/PERs and label CERs)
	GS4GG-MR-FORM version 1.1
	DR
	n/a
	OK
	OK

	2. Has the achieved sustainable development contributions been summarized in Table-1 using the relevant tabular format provided?

	GS4GG-MR-FORM version 1.1
	DR
	Yes, SDG contributions indicated in table 1
	OK
	OK

	3. Has the product vintages been included in Table-2 using the relevant tabular format provided?
(Gold Standard products can only be generated by following product Requirements and/or a Gold Standard approved methodology).
	GS4GG-MR-FORM version 1.1
	DR
	Please clarify and correct the monitoring period end date stated inconsistently as 31/07/2021 whereas earlier it was cited as 30/09/2021.
	CAR-2
	OK

	
	
	
	
	
	

	A. Description of project
	
	
	
	
	

	A.1. General description of project
	
	
	
	
	

	A.1.1. Has a brief summary of the detailed description given in the section B.1 provided under section A.1of the MR?
	GS4GG-MR-FORM version 1.1
	DR
	Yes, the brief summary of the project is available under section A.1 of the MR.
	OK
	OK

	A.1.2. Has the purpose of the project and the measures taken to reduce greenhouse gas emissions been provided under section A.1 of the MR?
	GS4GG-MR-FORM version 1.1
	DR
	
	OK
	OK

	A.1.3. Has a brief description of the installed technology and equipments been provided under section A.1 of the MR?
	GS4GG-MR-FORM version 1.1
	DR
	Yes, brief description of the installed technology and equipments been provided.
	OK
	OK

	A.1.4. Has the relevant dates for the project activity (e.g. construction, commissioning, continued operation periods, etc.) been provided under section A.1 of the MR?
	GS4GG-MR-FORM version 1.1
	DR
	Please include the relevant dates for the project activity including continued operations, previous verifications and the reasons for the break in continuity of monitoring dates (2nd monitoring period end date and third monitoring period start date).
	CAR-3
	OK

	
	
	
	
	
	

	A.2. Location of project
	
	
	
	
	

	A.2.1. Has complete information on the location of the project activity, including town, city, country, map and GPS coordinates been provided under section A.2 of the MR?
	GS4GG-MR-FORM version 1.1
	DR
	The coordinates of 8 turbines has been cited. Please clearly indicate the turbines included and excluded in the project activity.
	CAR-4
	OK

	
	
	
	
	
	

	A.3. Reference of applied methodology
	
	
	
	
	

	A.3.1. Has a complete reference of the methodology, referred tools and standardized baselines, if applicable, applied been provided under section A.3 including the version numbers and titles? 
(UNFCCC CDM website should be referred for the exact reference of the applied methodologies and tools.)
	GS4GG-MR-FORM version 1.1
	DR
	Yes, the methodology and referred tools along with the relevant versions are provided in the Section A.3.
	OK
	OK

	
	
	
	
	
	

	A.4. Crediting period of project 
	
	
	
	
	

	A.4.1. Has the crediting period including the crediting period start and end dates, choice and length of the crediting period been provided under section A.4 of the MR?
(If the CP start date is wrong in the PDD, the PDD must be updated with the correct information).
	GS4GG-MR-FORM version 1.1
	DR
	The start date of second crediting period is indicated as 18/03/2019 and end date as 17/03/2019. Please also include a note for the break in continuity of the crediting period.
	CAR-5
	OK

	
	
	
	
	
	

	B. Implementation of project
	
	
	
	
	

	B.1. Description of implemented project
	
	
	
	
	

	B.1.1. Has the installed technology(ies), technical process and equipment, including the diagrams, where appropriate, been included in section B.1 of the MR?
	GS4GG-MR-FORM version 1.1
EB101 Report Annex 1
§258
	DR
	Please include brief technical details about the used wind turbines within the context of the project activity in the Section B.1 of the MR.
	CAR-6
	OK

	B.1.2. Has the information on the implementation and actual operation of the project activity (including relevant dates, construction, commissioning, continued operation periods etc.)  been provided under section B.1 of the MR?
	EB101 Report Annex 1 §256b
	DR
	The information on the implementation and actual operation of the project activity, ın partıcular the commissioning, continued operation periods etc.) hasn’t been provided in tabular format. 
Please also clarify about the claim of I-RECs from the project.
	CAR-7, 
CL-1
	OK

	B.1.3. If the project activity consists of more than one site, has the status of implementation and starting date of operation for each site been clearly described under section B.1 of the MR?
	EB101 Report Annex 1 §256b
	DR
	The project consists of only one site.
	OK
	OK

	B.1.4. If the implementation of the project planned to be realized in different phases, has the progress of the proposed GS project achieved in each phase been indicated under section B.1 of the MR?
	EB101 Report Annex 1 §256b
	DR
	N/A
	OK
	OK

	B.1.5. Do the actual project and its operation comply with the registered PDD?
	EB101 Report Annex 2 §354a
	DR
	Refer to CAR above
	CAR-6
	OK

	B.1.6. Have the PPs implemented and operated the GS project as per the descriptions contained in the registered PDD?
	EB101 Report Annex 2 §354b
	DR
	Refer to CAR above
	CAR-6
	OK

	B.1.1. Forward action requests (FARs) identified during validation and/or previous verification
	
	
	
	
	

	B.1.1.1. Is there any remaining FARs from the validation and/or previous verification activities?
	GS4GG-MR-FORM version 1.1
EB101 Report Annex 2 §343
	DR
	No FAR has been raised in previous reports
	OK
	OK

	B.1.1.2. If there any remaining FARs from the validation and/or previous verification activities, have the PPs addressed these FARs in the MR?
	GS4GG-MR-FORM version 1.1
EB101 Report Annex 2 §343
	DR
	N/A
	OK
	OK

	B.1.1.3. Has the FARs been resolved?
(If the issues identified in a FAR during validation to be verified during verification or previous verification(s) have not been resolved by the PPs, the verification team shall raise a CAR in the verification report.)
	GS4GG-MR-FORM version 1.1
EB101 Report Annex 2 §343
§346
	DR
	N/A
	OK
	OK

	
	
	
	
	
	

	B.2. Post design certification (registration) changes
	
	
	
	
	

	B.2.1. Temporary deviations from registered monitoring plan, applied methodology or applied standardized baseline
	
	
	
	
	

	B.�.1.�. Is it indicated whether any temporary deviations have been applied during this monitoring period?
	GS4GG-MR-FORM version 1.1
EB101 Report Annex 1 §231
EB101 Report Annex 2 §282
	DR
	N/A
	OK
	OK

	B.�.1.�. If there are temprorary deviations from the registered monitoring plan or applied methodology or standardized baseline, have PPs described the nature, extent and duration of the non-conforming monitoring and the proposed alternative monitoring of the project activity in the MR?
	GS4GG-MR-FORM version 1.1
EB101 Report Annex 1 §231

	DR
	N/A
	OK
	OK

	B.�.1.�. If there are temprorary deviations from the registered monitoring plan or applied methodology or standardized baseline, do the description of deviations include the following? 
	GS4GG-MR-FORM version 1.1
	DR
	N/A
	OK
	OK

	B.�.1.�.�. How it deviates from the monitoring plan and/or applied methodology(ies),
	GS4GG-MR-FORM version 1.1
	DR
	N/A
	OK
	OK

	B.�.1.�.�. The duration for which the deviation(s) is(are) applicable
	GS4GG-MR-FORM version 1.1
	DR
	N/A
	OK
	OK

	B.�.1.�.�. Justification on the conservativeness of the approach.
	GS4GG-MR-FORM version 1.1
	DR
	N/A
	OK
	OK

	B.�.1.�. If there are temprorary deviations from the registered monitoring plan or applied methodology or standardized baseline, have PPs applied conservative assumptions or discount factors to the calculations to the extent required to ensure that GHG emission reductions will not be over-estimated as a result of the deviation?
	EB101 Report Annex 1 §231a EB101 Report Annex 2 
§284
	DR
	N/A
	OK
	OK

	B.2.2. Corrections
	
	
	
	
	

	B.1.2.1. Has it been indicated whether there are any corrections to project information or parameters fixed at the registration?
(Any corrections to project information or parameters fixed at validation, as described in the registered PDD, made by PPs in a revised PDD must comply with the requirements of the Project Standard.)
	GS4GG-MR-FORM version 1.1
	DR
	N/A
	OK
	OK

	B.1.2.1. Is the corrected information an accurate reflection of actual project information?
	EB101 Report Annex 2 §288a
	DR
	N/A
	OK
	OK

	B.1.2.2. Are the corrected parameters in accordance with the applied methodology, selected monitoring plan and/or the applied standardized baseline?
	EB101 Report Annex 2 §288b
	DR
	N/A
	OK
	OK

	
	
	
	
	
	

	B.2.3. Changes to start date of crediting period
	
	
	
	
	

	B..1.3. Is it indicated whether any changes to the start date of the crediting period? 
(The start date of the crediting period as mentioned in the registered PDD cannot be postponed by more than 2 years).
	EB93 Report Annex 4
 §236 §237
EB93 Report Annex 5
§290 
	DR
	N/A
	OK
	OK

	
	
	
	
	
	

	B.2.4. Permanent changes from registered monitoring plan, applied methodology or applied standardized baseline
	
	
	
	
	

	B.4.4.1. Is it indicated whether any permanent changes from the registered monitoring plan or applied methodologies or standardized baseline?
(Any material and permanent changes to the design of the project i.e. additionality, scale of the project, validity/applicability of the applied methodology, stakeholder consultation, sustainable development criteria and monitoring plan have occurred shall be indicated).
	GS4GG-MR-FORM version 1.1
EB101 Report Annex 1 §238
	DR
	N/A
	OK
	OK

	B.4.4.2. If there are such changes, have they been listed providing the version number and completion date of the revised design certified (i.e. approved) PDD for each?
	GS4GG-MR-FORM version 1.1

	DR
	N/A
	OK
	OK

	B.4.4.3. Are the changes to the monitoring plan contained in the registered PDD in compliance with the applied methodology and, where applicable, the applied standardized baseline?
	EB101 Report Annex 2 §296
	DR
	N/A
	OK
	OK

	B.4.4.4. Do the changes reduce the level of accuracy of the monitoring compared with the requirements contained in the registered monitoring plan?
	EB101 Report Annex 2 §297
	DR
	N/A
	OK
	OK

	B.4.4.5. If the permanent changes are likely to lead to a reduction in the accuracy of the calculation of emission reductions, do the PPs apply conservative assumptions or discount factors to the calculations to the extent required to ensure that emission reductions will not be over-estimated as a result of the permanent change?
	EB101 Report Annex 2 §298
	DR
	N/A
	OK
	OK

	
	
	
	
	
	

	B.2.5. Changes to project design of approved project
	
	
	
	
	

	B.1.5.1. Are there proposed or actual changes to the project design of the approved project?
	GS4GG-MR-FORM version 1.1 EB101 Report Annex 2 §300
	DR
	Please clarify and correct the section B.2.5, as there has been increase in capacity from 15 MW to 20 MW although the increased capacity doesn’t form part of the registered PDD.
	CAR-8
	OK

	B.1.5.2. Do the actual changes comply with the monitoring plan, the applied monitoring methodology and tools and/or, where applicable, the applied standardized baseline, and/or the level of accuracy of the monitoring activity?
	EB101 Report Annex 2 §302
	DR
	Please clarify about the monitoring approach to exclude the two turbines added later and their corresponding generation.
	CAR-9
	OK

	B.1.5.3. Does the revised PDD comply with the applied monitoring methodology and tools and/or standardized baseline or any later version of the methodology and/or standardized baseline or the requirements of another methodology and/or the standardized baseline that is applicable to the project activity?
	EB101 Report Annex 2 §303
	DR
	The renewed PDD already addresses the change in capacity.
	OK
	OK

	B.1.5.4. Does the changes to project activity include the following?
	EB101 Report Annex 1 §241
	DR
	The renewed PDD already addresses the change in capacity.
	OK
	OK

	B.1.5.1.4. Increase in the capacity specified in the registered PDD with the following conditions:
	EB101 Report Annex 1  §241a
	DR
	The renewed PDD already addresses the change in capacity.
	OK
	OK

	B.1.5.2.4. If the project activity is large-scale: CERs may be claimed up to an amount calculated based on the increased capacity by 20 per cent of the capacity specified in the originally registered PDD; or
	EB101 Report Annex 1  §241a
	DR
	N/A
	OK
	OK

	B.1.5.3.4. If the project activity is large-scale: CERs may be claimed for the full amount calculated based on the increased capacity if the project participants can demonstrate that the reason for the increase is not within the control of the project participants;
	EB101 Report Annex 1  §241a
	DR
	N/A
	OK
	OK

	B.1.5.4.4. If the project activity is small-scale, CERs may be claimed for the full amount calculated based on the increased capacity, provided that the resulting project activity does not exceed the small-scale threshold for the corresponding small-scale project type (i.e. Type I, II or III);

	EB101 Report Annex 1  §241a
	DR
	N/A
	OK
	OK

	B.1.5.5.4. Decrease in the capacity specified in the registered PDD;

	EB101 Report Annex 1  §241b
	DR
	N/A
	OK
	OK

	B.1.5.6.4. Addition of new components or extension/addition of technologies/measures that introduce complimentary technologies/measures involving mass and/or energy transfer to/from the technologies/measures specified in the originally registered PDD;

	EB101 Report Annex 1 §241c
	DR
	N/A
	OK
	OK

	B.1.5.7.4. Removal of a component or technology/measure specified in the registered PDD;

	EB101 Report Annex 1  §241d
	DR
	N/A
	OK
	OK

	B.1.5.8.4. Changes to the technologies/measures that result in the same technologies/measures as in the originally registered technologies/measures 
	EB101 Report Annex 1  §241e
	DR
	N/A
	OK
	OK

	B.1.5.9.4. Removal or addition of one or more site(s) of the project activity registered with multiple sites;

	EB101 Report Annex 1  §241f
	DR
	N/A
	OK
	OK

	B.1.5.10.4. Removal of a project activity from a bundle of small-scale CDM project activities; methodologies, or voluntary change to other methodologies, provided all requirements in the updated/changed methodologies are met.
	EB101 Report Annex 1  §241g
	DR
	N/A
	OK
	OK

	B.1.5.11.4. Actual operational parameters that are within the control of the project participants, differing from the expected parameters;
	EB101 Report Annex 1  §241h
	DR
	N/A
	OK
	OK

	B.1.5.12.4. Any consequential changes to the application of methodologies, standardized baselines and/or other methodological regulatory documents resulting from the changes referred to in questions B.2.6.7.1-B.2.6.7.4 above
	EB101 Report Annex 1  §241i
	DR
	N/A
	OK
	OK

	B.1.5.13.4. Voluntary update of the applied methodologies or the other applied methodological regulatory documents to a later valid version of them, or voluntary change to other methodologies, provided all requirements in the updated/changed methodologies and the other applied methodological regulatory documents are met
	EB101 Report Annex 1  §241j
	DR
	N/A
	OK
	OK

	B.1.5.2. Do the PPs report in the revised PDD the impacts of the proposed or actual changes to the registered project activity on the following: 
	EB101 Report Annex 1  §242
	DR
	N/A
	OK
	OK

	B.1.5.5.1. The applicability and application of the applied methodology and, where applicable, the applied standardized baseline under which the project activity has been registered;
	EB101 Report Annex 1  §242a 
EB101 Report Annex 2  §303c
	DR
	N/A
	OK
	OK

	B.1.5.5.2. Compliance of the monitoring plan with the applied methodology and, where applicable, the applied standardized baseline; 
	EB101 Report Annex 1  §242b 
EB101 Report Annex 2  §303d
	DR
	N/A
	OK
	OK

	B.1.5.5.3. The level of accuracy and completeness in the monitoring of the project activity; 
	EB101 Report Annex 1  §242c
	DR
	N/A
	OK
	OK

	B.1.5.5.4. The additionality of the project activity;
	EB101 Report Annex 1  §242d 
EB101 Report Annex 2  §303a
	DR
	N/A
	OK
	OK

	B.1.5.5.5. The scale of the project activity.
	EB101 Report Annex 1  §242e 
EB101 Report Annex 2  §303b
	DR
	N/A
	OK
	OK

	B.1.5.2. In the case of investment analysis, have PPs modified the key parameters in the original spreadsheet calculations affected by the proposed or actual modifications to the project activity?
	EB101 Report Annex 1  §243a 
EB101 Report Annex 2 §304a
	DR
	N/A
	OK
	OK

	B.1.5.3. In cases where only barriers have been claimed to demonstrate additionality, have PPs demonstrated that the barriers are still valid under the new circumstances? 
(If a proposed or actual modification adversely impacts the additionality of the project activity, subsequent requests for issuance based on such modifications will be rejected.)
	EB101 Report Annex 1  §243b 
EB101 Report Annex 2  §304b
	DR
	N/A
	OK
	OK

	B.1.5.4. If the PPs can’t demonstrate compliance with the requirements of the applied methodology and, where applicable, the applied standardized baseline under which the project activity has been registered, has PPs revised the PDD applying the latest version of the methodology and, where applicable, the applied standardized baseline?
	EB101 Report Annex 1  §245
	DR
	N/A
	OK
	OK

	B.1.5.5. If another methodology and, where applicable, the applied standardized baseline is applied to the project activity, has PPs demonstrated compliance with the requirements of the selected methodology and/or the selected standardized baseline?
	EB101 Report Annex 1  §245a-i
	DR
	N/A
	OK
	OK

	C. Description of monitoring system applied by the project
	
	
	
	
	

	C.1. Has a description of the monitoring system been provided under section C of the MR?
	GS4GG-MR-FORM version 1.1
EB101 Report Annex 1
§258
	DR
	Yes, description of the monitoring system been provided under section C of the MR.
	OK
	OK

	C.2. Has information about the data collection procedures, including following been provided under section C of the MR? 
	GS4GG-MR-FORM version 1.1
EB101 Report Annex 1
§258
	DR
	Please clarify and correct about the data collection procedures for the two additional turbines which are not included in the project activity. Also, clarify the reference to section B.2.4 and the two turbines, T171 and T179, of Soma III Wind Farm (GS 3253).
	CAR-10
	OK

	C.2.1. Information flow including data generation
	EB101 Report Annex 1
§258
	DR
	Refer to CAR above
	CAR-10
	OK

	C.2.2. Data aggregation
	EB101 Report Annex 1
§258
	DR
	Refer to CAR above
	CAR-10
	OK

	C.2.3. Data recording
	EB101 Report Annex 1
§258
	DR
	Refer to CAR above
	CAR-10
	OK

	C.2.4. Data calculation
	EB101 Report Annex 1
§258
	DR
	Refer to CAR above
	CAR-10
	OK

	C.2.5. Data reporting
	EB101 Report Annex 1
§258
	DR
	Refer to CAR above
	CAR-10
	OK

	C.3. Has organizational structure, roles and responsibilities of personnel, and emergency procedures for the monitoring system been provided under section C of the MR?
	GS4GG-MR-FORM version 1.1
EB101 Report Annex 1
§258
	DR
	The emergency procedures for the monitoring system have been provided.
	OK
	OK

	C.4. Regarding to the management and operational system, are the responsibilities and authorities for monitoring and reporting in accordance with the responsibilities and authorities stated in the monitoring plan?
	EB101 Report Annex 2
§361b-(iv)
	DR
	Yes, the responsibilities and authorities for monitoring and reporting in accordance with the responsibilities and authorities stated in the monitoring plan.
	OK
	OK

	C.5. Have quality assurance and quality control procedures been applied in accordance with the monitoring plan?
	EB101 Report Annex 2
§361e
	DR
	Please provide the details of the meters measuring the electricity generated from the two turbines that are excluded from the project activity. Also, the corresponding calibration certificates are to be submitted.
	CAR-11
	OK

	C.6. Has line diagram(s) showing all relevant monitoring points been provided under section C of the MR?
	EB101 Report Annex 1
§258
	DR
	Please clarify and present the monitoring points in the simplified line diagram.
	CAR-12
	OK

	C.7. Have the monitoring plan been properly implemented and followed by the PPs?
	EB101 Report Annex 2 §361a §364a
	DR
	Refer to CAR above
	CAR-12
	OK

	C.8. Has the monitoring of parameters (baseline / project / leakage / emission reduction) in the project activity been implemented in accordance with the monitoring plan contained in the registered PDD or any accepted revised monitoring plan?
	EB101 Report Annex 2 §361b-(i)-(ii)-(iii)
	DR
	Refer to CAR above
	CAR-12
	OK

	C.9. Have all parameters stated in the monitoring plan, the applied methodology and relevant CDM EB decisions been sufficiently monitored and updated as applicable?
	EB101 Report Annex 2 §361b
	DR
	Refer to CAR above
	CAR-12
	OK

	C.10.  Are monitoring results consistently recorded and stored as per the approved frequency?
	EB101 Report Annex 2 §361d
	DR
	Refer to CAR above
	CAR-12
	OK

	
	
	
	
	
	

	D. Data and Parameters
	
	
	
	
	

	D.1. Data and parameters fixed ex ante or at renewal of crediting period
	
	
	
	
	

	D.1.1. Has all the data that is determined only once for the crediting period but are used after registration of the project, been listed under section D.1 using the tabular format? 
(Data that are fixed before registration and/or at the renewal of crediting period and are used during thismonitoring period should be included under section D.1 of MR.)
	GS4GG-MR-FORM version 1.1
	DR
	Please include only the grid emission factor fixed ex-ante in the renewed PDD instead of the underlying parameters
	CAR-13
	OK

	D.1.2. If all the data that is determined only once for the crediting period but are used after registration of the project, does the listed data include all the parameters used to calculate baseline, project and leakage emissions as well as other relevant parameters required by the approved methodology and the monitoring plan? (Where applicable for data and parameters determined at registration)
	GS4GG-MR-FORM version 1.1
	DR
	Refer to CAR above
	CAR-13
	OK

	D.1.3. In the data/parameter tables provided under section D.1 of the MR, for each SDG Indicator given in accordance with the approved PDD?
	GS4GG-MR-FORM version 1.1
	DR
	Refer to CAR above
	CAR-13
	OK

	D.1.4. In the data/parameter tables provided under section D.1 of the MR, for each data has the name of the data/parameters given in accordance with the approved PDD and the applied approved methodology?
	GS4GG-MR-FORM version 1.1
	DR
	Refer to CAR above
	CAR-13
	OK

	D.1.5. In the data/parameter tables provided under section D.1 of the MR, for each data has the unit of the data/parameters given in accordance with the approved PDD and the applied approved methodology?
	GS4GG-MR-FORM version 1.1
	DR
	Refer to CAR above
	CAR-13
	OK

	D.1.6. In the data/parameter tables provided under section D.1 of the MR, for each data has the description of the data/parameters given in accordance with the approved PDD and the applied approved methodology?
	GS4GG-MR-FORM version 1.1
	DR
	Refer to CAR above
	CAR-13
	OK

	D.1.7. In the data/parameter tables provided under section D.1 of the MR, for each data has the source of the data/parameters given in accordance with the approved PDD and the applied approved methodology?
	GS4GG-MR-FORM version 1.1
	DR
	Refer to CAR above
	CAR-13
	OK

	D.1.8. In the data/parameter tables provided under section D.1 of the MR, for each data has the values applied of the data/parameters given in accordance with the approved PDD and the applied approved methodology?
	GS4GG-MR-FORM version 1.1
	DR
	Refer to CAR above
	CAR-13
	OK

	D.1.9. In the data/parameter tables provided under section D.1 of the MR, for each data has it been indicated what measurement methods and procedures have been used? 
	GS4GG-MR-FORM version 1.1
	DR
	Refer to CAR above
	CAR-13
	OK

	D.1.10. In the data/parameter tables provided under section D.1 of the MR, for each data has it been indicated what the data/parameters are used for (baseline/project/leakage emission calculations)? 
	GS4GG-MR-FORM version 1.1
	DR
	Refer to CAR above
	CAR-13
	OK

	
	
	
	
	
	

	D.2. Data and parameters monitored
	
	
	
	
	

	D.2.1. Has all the data that are monitored been listed under section D.2 of the MR using the tabular format?
	GS4GG-MR-FORM version 1.1
	DR
	Please clarify and correct section D.2 of the MR for the following points:
1) As the net generation is indicated as electricity supplied to the grid minus the electricity consumption from the grid the corresponding export and import values should be provided.
2) Please clarify, how has the value for the part month of March 2019 been derived.
3) The monitoring period end date is stated inconsistently as 31/09/2021 earlier and as 31/07/2021 in this section.
4) Please provide the measured value of electricity generated from the turbines T7 and T8.
5) Please provide the meter details for measurement of the generation from T7 and T8.
6) Please include the training details corresponding to the monitoring period in the MR.
7) The grid emission factor applied as 0.5678 is to be clarified and corrected as the validation report for renewal indicates the values as 0.5676 tCO2/MWh.
8) The adjusted net electricity has been computed based on ratio of expected generation rather than the actual generation from T7 and T8 turbines.
9) The value for May 2021 indicated as 5791.445 is not matching with the EPIAS records wherein the value is 5792.445.
10) The data and corresponding documentary evidence of EPIAS records for August and September 2021 has not been submitted and included.
	CAR-14
	OK

	D.2.2. In the data/parameter tables provided under section D.2 of the MR, for each data has the name of the SDG Indicator and data/parameters given in accordance with the approved PDD and the applied approved methodology?
	GS4GG-MR-FORM version 1.1
	DR
	Refer to CAR above
	CAR-14
	OK

	D.2.3. In the data/parameter tables provided under section D.2 of the MR, for each data has the unit of the data/parameters given in accordance with the registered PDD and the applied approved methodology?
	GS4GG-MR-FORM version 1.1
	DR
	Refer to CAR above
	CAR-14
	OK

	D.2.4. In the data/parameter tables provided under section D.2 of the MR, for each data has it been described how the data is monitored? (It must be indicated whether the data are measured, calculated or default. Where data are measured continuously, they shall be presented using an appropriate time interval (e.g. monthly for a monitoring period of six months or more; weekly if the monitoring period is less than six months; daily if the monitoring period is one month or less). For default values (such as an IPCC value), where it is ex post confirmed, the most recent value shall be applied.)
	GS4GG-MR-FORM version 1.1
	DR
	Refer to CAR above
	CAR-14
	OK

	D.2.5. In the data/parameter tables provided under section D.2 of the MR, for each data has the source of data been indicated (like logbooks, daily records, surveys, etc.)?
	GS4GG-MR-FORM version 1.1
	DR
	Refer to CAR above
	CAR-14
	OK

	D.2.6. In the data/parameter tables provided under section D.2 of the MR, for each data has the values of the monitoring parameter been indicated?
	GS4GG-MR-FORM version 1.1
	DR
	Refer to CAR above
	CAR-14
	OK

	D.2.7. In the data/parameter tables provided under section D.2 of the MR, for each data has the QA/QC procedures being applied been given?
	GS4GG-MR-FORM version 1.1
	DR
	Refer to CAR above
	CAR-14
	OK

	D.2.8. In the data/parameter tables provided under section D.2 of the MR, for each data has it been indicated what types of equipment are used to monitor each parameter, including following, if applicable as per the monitoring plan?
	GS4GG-MR-FORM version 1.1
	DR
	Refer to CAR above
	CAR-14
	OK

	D.8.8.1. Details on accuracy class
	GS4GG-MR-FORM version 1.1
	DR
	Refer to CAR above
	CAR-14
	OK

	D.8.8.2. Calibration frequency
	GS4GG-MR-FORM version 1.1
	DR
	Refer to CAR above
	CAR-14
	OK

	D.8.8.3. Serial number
	GS4GG-MR-FORM version 1.1
	DR
	Refer to CAR above
	CAR-14
	OK

	D.8.8.4. Calibration date
	GS4GG-MR-FORM version 1.1
	DR
	Refer to CAR above
	CAR-14
	OK

	D.8.8.5. Validity of the calibration
	GS4GG-MR-FORM version 1.1
	DR
	Refer to CAR above
	CAR-14
	OK

	D.2.9. In the data/parameter tables provided under section D.2 of the MR, for each data has the measurement and recording frequency been indicated?
	GS4GG-MR-FORM version 1.1
	DR
	Refer to CAR above
	CAR-14
	OK

	D.2.10. Is the calibration frequency for measuring equipments specified in the monitoring methodology, in the applied standardized baselines or in the monitoring plan?
	EB101 Report Annex 2
§370

	DR
	Refer to CAR above
	CAR-14
	OK

	D.2.11. If the calibration frequency for measuring equipments isn’t specified in the monitoring methodology, in the applied standardized baselines or the monitoring plan, are the equipments calibrated either in accordance with the specifications of the local/national standards, or as per the manufacturer’s specification?
	EB101 Report Annex 2
§370
	DR
	Refer to CAR above
	CAR-14
	OK

	D.2.12. If neither local/national standards nor the manufacturer’s specification are available, have the international standards been used?
	EB101 Report Annex 2
§370
	DR
	Refer to CAR above
	CAR-14
	OK

	D.2.13. Is the calibration of the measuring equipments that have an impact on the claimed emission reductions conducted by the PPs at a frequency specified in the applied monitoring methodology and/or the monitoring plan?
	EB101 Report Annex 2
§371
	DR
	Refer to CAR above
	CAR-14
	OK

	D.2.14. Has the calibration been delayed and has the calibration been implemented after the monitoring period in consideration (i.e. the results of delayed calibration are available) for the certain monitoring period?
	EB101 Report Annex 2 §366
	DR
	Refer to CAR above
	CAR-14
	OK

	D.2.15. If the calibration is delayed and if the calibration is implemented after the monitoring period in consideration (i.e. the results of delayed calibration are available) for the certain monitoring period, are one of the following approaches adopted by the PPs for the calculation of emission reductions?
	EB101 Report Annex 2 §366
	DR
	Refer to CAR above
	CAR-14
	OK

	D.15.8.1. Applying the maximum permissible error of the instrument to the measured values taken during the period between the scheduled date of calibration and the actual date of calibration, if the results of the delayed calibration do not show any errors in the measuring equipment, or if the error is smaller than the maximum permissible error; or
	EB101 Report Annex 2 §366a
	DR
	Refer to CAR above
	CAR-14
	OK

	D.15.8.2. Applying the error identified in the delayed calibration test, if the error is beyond the maximum permissible error of the measuring equipment.
	EB93 Report Annex 5
§369b
	DR
	Refer to CAR above
	CAR-14
	OK

	C.1.1. If calibration is delayed and if the calibration is implemented after the monitoring period in consideration (i.e. the results of delayed calibration are available) for the certain monitoring period, has the error been applied  in following ways?
	EB101 Report Annex 2 §367
	DR
	Refer to CAR above
	CAR-14
	OK

	D.�.1.�. The adjusted measured values of the delayed calibration result in fewer claimed emission reductions?
	EB101 Report Annex 2 §367a
	DR
	Refer to CAR above
	CAR-14
	OK

	D.�.1.�. For all measured values taken during the period between the scheduled date of calibration and the actual date of calibration?
	EB101 Report Annex 2 §367b
	DR
	Refer to CAR above
	CAR-14
	OK

	C.1.2. If the results of the delayed calibration aren’t available, have Pss calculated the emission reductions conservatively?
	EB101 Report Annex 2 §368
	DR
	Refer to CAR above
	CAR-14
	OK

	C.1.3. If the results of the delayed calibration aren’t available, have post registration requirements been followed by the PPs?
	EB101 Report Annex 2 §369
	DR
	Refer to CAR above
	CAR-14
	OK

	C.1.4. Have any information about appropriate emission factors, IPCC default values and any other reference values that have been used in the calculation of emission reductions been given in detail in the MR?
	GS4GG-MR-FORM version 1.1
	DR
	Refer to CAR above
	CAR-14
	OK

	C.1.5. If the data that are monitored been listed under section D.2 using the tabular format, does the listed data include all the parameters used to calculate baseline, project and leakage emissions as well as other relevant parameters required by the approved methodology and, where applicable, the applied standardized baseline and the monitoring plan?
	GS4GG-MR-FORM version 1.1
EB101 Report Annex1 §260
	DR
	Refer to CAR above
	CAR-14
	OK

	C.1.6. Is a complete set of data available for the specified monitoring period? 
(If only partial data are available because activity levels or non-activity parameters have not been monitored in accordance with the registered monitoring plan, the verification team shall assess whether:
a) The most conservative values approach is applied to the parameters for the entire non-monitoring period in accordance with the provisions relating to the temporary deviation from the registered monitoring plan, the applied methodologies or the applied standardized baselines in the “CDM project standard for project activities”; or
b) Alternative monitoring arrangements for the non-monitoring period are described, whether they apply conservative assumptions or discount factors to the calculations, and whether the alterative monitoring arrangements have been approved by the Board under the prior-approval track or to be approved by the Board under the issuance track in accordance with the provisions relating to temporary deviation from the registered monitoring plan, the applied methodologies or the applied standardized baselines in the “CDM project standard for project activities”;
	EB101 Report Annex 2 §373
	DR
	Refer to CAR above
	CAR-14
	OK

	
	
	
	
	
	

	C.2. Comparison of monitored parameters with last monitoring period
	
	
	
	
	

	C.2.1. In case of community service activities, has the monitored parameters been stated and compared with the previous monitoring period?
(This section shall be marked as not applicable for non- community service activities).
	GS4GG-MR-FORM version 1.1

	DR
	n/a
	OK
	OK

	C.2.2. In case of community service activities, has the short explanation for any values that have increased or are less conservative been provided?
(This section shall be marked as not applicable for non- community service activities).
	GS4GG-MR-FORM version 1.1
	DR
	n/a
	OK
	OK

	
	
	
	
	
	

	C.3. Implementation of sampling plan
	
	
	
	
	

	C.3.1. If data and parameters monitored described in section D.2 of the MR are determined by a sampling approach, has the description on how PPs implemented the sampling for those data and parameters according to the sampling plan been provided? 
(The verification team shall check the requirements in the latest applicable version of “Standard for Sampling and Surveys for CDM Project Activities and Programme of Activities”.)
	GS4GG-MR-FORM version 1.1
EB105 Report Annex 1
EB86 Report Annex 4
	DR
	n/a
	OK
	OK

	C.3.2. If data and parameters monitored described in section D.2 of the MR are determined by a sampling approach, has the following been included? 
(In order to determine the size of the sample for field/onsite check, the validation team should specify in advance, using own professional judgment: 
· Acceptable quality level or the Level of Assurance, i.e. the proportion of discrepancies between the PPs record and DOE record that are acceptable, e.g. 1%; 
· The proportion of discrepancies between the PPs record and DOE record that are unacceptable, e.g. 20%. 
The maximum errors associated with the determination of sample size should  remain at levels indicated below: 
· A 10% chance that the DOE will wrongly reject the PPs records (i.e. reject a set of records of acceptable quality and this is called producer’s risk.);
· A 10% chance that the DOE will wrongly accept the PPs records (i.e. accept a set of records which is unacceptable and this is called consumer’s risk.)
In line with the sample size and maximum errors, the validation team should determine: 
· n: the size of the sample (The validation team shall determine a sample size for each parameter. 
If there are multiple parameters, the validation team should take the largest sample size from the different parameters, for example if the sample size for parameter-1 is 50 and sample size for parameter-2 is 55, sample size chosen to cover both the parameters is 55.) ; 
· c: the acceptance number. 
If the validation team observes greater than c discrepant records in the sample then the PPs set of records is not accepted. 
If the number of discrepant records is equal to or less than c then the PPs set of records is accepted.
Additionally, “Table 1. Sample size and acceptance number based on producer and consumer risk” in the latest applicable version of Standard: Sampling and Surveys for CDM Project Activities And Programmes of Activities may be used as reference by the validation team.
The verification team may also select a different sample size than the one indicated above, either by choosing a different value for the consumer risk and producer risk (e.g. 20% for the consumer risk) when applying acceptance sampling or by using another approach, if any of the following conditions apply: 
· The estimated volume of annual emission reductions of the project activity being verified is equal to or less than 100,000 tCO2e; or 
· The security conditions in the project region prevents inspection of many samples (e.g. conflict zones); or 
· The project activity is located in a least developed country or a host Party with 10 or less registered CDM project activities at the end of the monitoring period being verified.)
	GS4GG-MR-FORM version 1.1
EB105 Report Annex 1 §29 §30 §31
§32 §33 §39
	DR
	n/a
	OK
	OK

	D.4.1.1. Description of implemented sampling design;
	GS4GG-MR-FORM version 1.1
	DR
	n/a
	OK
	OK

	D.4.1.2. Collected data (electronic spreadsheets may be attached and referenced);
	GS4GG-MR-FORM version 1.1
	DR
	n/a
	OK
	OK

	D.4.1.3. Analysis of the collected data;
	GS4GG-MR-FORM version 1.1
	DR
	n/a
	OK
	OK

	D.4.1.4. Demonstration on whether the required confidence/precision has been met.
	GS4GG-MR-FORM version 1.1
	DR
	n/a
	OK
	OK

	D.4.1.5. Demonstration that the samples were randomly selected and are representative of the population.
	GS4GG-MR-FORM version 1.1
	DR
	n/a
	OK
	OK

	
	
	
	
	
	

	D. Calculation of SDG Impacts
	
	
	
	
	

	D.1. Calculation of baseline value or estimation of baseline situation of each SDG impact
	
	
	
	
	

	D.1.1. Has all the formulae used to calculate the baseline value been provided under section E.1 of the MR?
	GS4GG-MR-FORM version 1.1
	DR
	Yes, the formulae used to calculate the baseline emissions have been provided.
	OK
	OK

	D.1.2. Has sample calculations for all formulae used and calculation of baseline values been provided under section E.1 of the MR?
(The of values in the F-CDM-MR should be in an internationally recognized format, for example digit grouping should be done in thousands and a decimal point should be marked with a dot (.), not with a comma (,))
	GS4GG-MR-FORM version 1.1
	DR
	Refer to CAR above
	CAR-14
	OK

	D.1.3. Has all electronic spreadsheets to present full calculations in the monitoring report been attached?
	GS4GG-MR-FORM version 1.1
	DR
	Please submit the revised ER sheet with terms in English and clarifying and correcting the monitoring period too.
	CAR-15
	OK

	D.1.4. Have any assumptions used in baseline calculations been justified?
	EB101 Report Annex 2 §373d
	DR
	Refer to CAR above
	CAR-14
	OK

	C.1.1. If applicable, are the appropriate factors used for the baseline calculations in line with the good guidance practices? (e.g. IPCC default values and other reference values)
	EB101 Report Annex 2 §373e
	DR
	Refer to CAR above
	CAR-14
	OK

	
	
	
	
	
	

	C.2. Calculation of project value or estimation of project situation of each SDG outtcome
	
	
	
	
	

	C.2.1. Has all the formulae used to calculate the project value been provided under section E.2 of the MR?
	GS4GG-MR-FORM version 1.1
	DR
	Yes 
	OK
	OK

	C.2.2. Has sample calculations for all formulae used and calculation of project values been provided under section E.2 of the MR?
(The of values in the F-CDM-MR should be in an internationally recognized format, for example digit grouping should be done in thousands and a decimal point should be marked with a dot (.), not with a comma (,))
	GS4GG-MR-FORM version 1.1
	DR
	Please correct the value for SDG 7 under section E.2.
	CAR-16
	OK

	C.2.3. Has all electronic spreadsheets to present full calculations in the monitoring report been attached?
	GS4GG-MR-FORM version 1.1
	DR
	Refer to CAR above
	CAR-15
	OK

	C.2.4. Have any assumptions used in project calculations been justified?
	EB101 Report Annex 2 §373d
	DR
	Refer to CAR above
	CAR-14
	OK

	C.2.5. If applicable, are the appropriate factors used for the project calculations in line with the good guidance practices? (e.g. IPCC default values and other reference values)
	EB101 Report Annex 2 §373e
	DR
	N/A
	OK
	OK

	
	
	
	
	
	

	C.3. Calculation of leakage
	
	
	
	
	

	C.3.1. Has all the formulae used to calculate the leakage value been provided under section E.3 of the MR?
	GS4GG-MR-FORM version 1.1
	DR
	N/A
	OK
	OK

	C.3.2. Has sample calculations for all formulae used and calculation of leakage values been provided under section E.3 of the MR?
(The of values in the F-CDM-MR should be in an internationally recognized format, for example digit grouping should be done in thousands and a decimal point should be marked with a dot (.), not with a comma (,))
	GS4GG-MR-FORM version 1.1
	DR
	N/A
	OK
	OK

	C.3.3. Has all electronic spreadsheets to present full calculations in the monitoring report been attached?
	GS4GG-MR-FORM version 1.1
	DR
	N/A
	OK
	OK

	C.3.4. Have any assumptions used in leakage calculations been justified?
	EB101 Report Annex 2 §373d
	DR
	N/A
	OK
	OK

	C.3.5. If applicable, are the appropriate factors used for the leakage calculations in line with the good guidance practices? (e.g. IPCC default values and other reference values)
	EB101 Report Annex 2 §373e
	DR
	N/A
	OK
	OK

	
	
	
	
	
	

	C.4. Calculation of net benefits or direct calculation for each SDG impact
	
	
	
	
	

	C.4.1. Has all the net benefits as difference of baseline and project values or direct calculations for each SDG outcome provided under section E.4 of the MR?
(The project estimate shall account for leakage, where applicable.
The estimates for each design certified SDG impact for each numbered SDG shall be listed starting with SDG 13 first).
	GS4GG-MR-FORM version 1.1
	DR
	Please correct the values of the baseline and project for SDG 13 and SDG 7 respectively in section E.4 of the MR.
	CAR-17
	OK

	C.4.2. Has all electronic spreadsheets to present full calculations in the monitoring report been attached?
	GS4GG-MR-FORM version 1.1
	DR
	Refer to CAR above
	CAR-14
	OK

	
	
	
	
	
	

	C.5. Comparison of actual SDG impacts with estimates in approved PDD
	
	
	
	
	

	C.5.1. Has a comparison of actual values of the SDG impact of the project achieved during the monitoring period with the estimations in the approved PDD been given under section E.5 of the MR?
	GS4GG-MR-FORM version 1.1
EB101 Report Annex 1 §266
	DR
	Please correct the values of the baseline and project for SDG 13 and SDG 7 respectively in section E.5 of the MR.
	CAR-18
	OK

	C.5.2. If the comparison of actual values of the SDG outcome of the project achieved during the monitoring period with the estimations in the approved PDD is given under section E.5 of the MR, has this comparison been given using the tabular format provided?
	GS4GG-MR-FORM version 1.1
	DR
	Refer to CAR above
	CAR-18
	OK

	
	
	
	
	
	

	C.6. Remarks on difference from estimated value in approved PDD
	
	
	
	
	

	C.6.1. Has an explanation of the cause of any increase in the actual values achieved during the current monitoring period (e.g. higher water availability, higher load plant factor, etc.), including all information (i.e. data and/or parameters) that is different from that stated in the approved PDD, been provided under section E.6 of the MR?
	GS4GG-MR-FORM version 1.1
	DR
	Please correct the table 6 presented in section E.6 of the MR.
	CAR-19
	OK

	
	
	
	
	
	

	E. Safeguards Reporting
	
	
	
	
	

	E.1. Has the report on the safeguarding principles that were available the in monitoring plan been provided including the following?
	GS4GG-MR-FORM version 1.1
	DR
	With regards to safeguards, please provide the waste oil and wastewater records.
	CL-2
	OK

	E.1.1. An update on the implementation including information on relative success and failures, or improvements to proposed mitigation measures
	GS4GG-MR-FORM version 1.1
	DR
	N/A
	OK
	OK

	E.1.2. Monitoring and reporting on any key indicators identified, including against pre-set tolerances
	GS4GG-MR-FORM version 1.1
	DR
	N/A
	OK
	OK

	E.1.3. Information on any assessment questions answered ‘potentially’ or where requirements call for regular re-assessment
	GS4GG-MR-FORM version 1.1
	DR
	N/A
	OK
	OK

	
	
	
	
	
	

	F. Stakeholder Inputs and Legal Disputes
	
	
	
	
	

	F.1. List all inputs and grievances which have been received via the continuous input and grievance mechanism together with their respective responses/mitigations
	
	
	
	
	

	F.1.1. Is the list of all inputs/grievances which have been received for the project during the monitoring period together with their respective answers/actions provided in section G.1 of the MR?
	GS4GG-MR-FORM version 1.1
	DR
	No complaints received during interviews with local stakeholders
	OK
	OK

	
	
	
	
	
	

	F.2. Report on any stakeholder mitigations that were agreed to be monitored
	
	
	
	
	

	F.2.1. If there any remaining inputs/grievances from previous monitoring period where follow up action/mitigation measure is to be verified in this monitoring period from the validation and/or previous verification activities, have the PPs addressed these in section G.2 of the MR?
	GS4GG-MR-FORM version 1.1
	DR
	n/a
	OK
	OK

	
	
	
	
	
	

	F.3. Provide details of any legal contest that has arisen with the project during the monitoring period
	
	
	
	
	

	F.3.1. Has there been any legal contest or dispute that has arisen with the project during the monitoring period and are such details and resolution provided in section G.3 of the MR?
(GS projects must be in compliance with the host country’s legal, environmental, ecological and social regulations. 
If a legal challenge has arisen that claims a project is not in compliance with regulation, the certification process must consider this. Failure to transparently declare events taking place during a monitoring period may result in decertification of the project by GS Organization).
	GS4GG-MR-FORM version 1.1
	DR
	n/a
	OK
	OK

	
	
	
	
	
	


Table 2 – Resolution of Corrective Action, Forward Action and Clarification Requests

	Draft Report Clarifications, Forward Action and Corrective Action Requests
By Verification Team
	Ref. to Checklist Questions in Table-1 
	Summary of
Project Participants’ Response
	Verification Team Conclusion

	CAR-1
Please clarify and correct the design certification date, as the GS registration date is cited as 25/04/2013 in the GS review documents
	1.6
	It’s been corrected.
	Review-1:
Ok closed (The MR has been edited)

	CAR-2
Please clarify and correct the monitoring period end date stated inconsistently as 31/07/2021 whereas earlier it was cited as 30/09/2021.
	3
	The monitoring period end date is 31/07/2021. 30/09/2021 has been corrected.
	Review-1:
Ok closed (The MR has been edited with monitoring period end date as 31/07/2021)

	CAR-3
Please include the relevant dates for the project activity including continued operations, previous verifications and the reasons for the break in continuity of monitoring dates (2nd monitoring period end date and third monitoring period start date).
	A.1.4
	Table 3 has been revised accordingly.
	Review-1:
Ok closed (The MR has been edited. Also, the table has been shifted to section B.1 of the MR)

	CAR-4
The coordinates of 8 turbines has been cited. Please clearly indicate the turbines included and excluded in the project activity.
	A.2.1
	Please see the footnote as providing the details.
	Review-1:
Ok closed (Noting the footnote included, acknowledging the registered project activity, the clear distinction of T7 and T8 turbines not being part of the project) 

	CAR-5
The start date of second crediting period is indicated as 18/03/2019 and end date as 17/03/2019. Please also include a note for the break in continuity of the crediting period.
	A.4.1
	Section A.4 has been revised accordingly.
Review-1:
Please see the registered PDD. During revalidation, in accordance with the application those time, the delay period was directly  reduced from the CP2.
	Review-1:
Given that the first crediting period ended on 24/04/2018, the 2nd crediting period start date should be 25/04/2018 ending on 24/04/2025. Also acknowledging that due to delay in submission for renewal the credits cannot be claimed from 25/04/2018 to 17/03/2019. Please correct the MR accordingly.
Review-2:
Ok closed (With reference to the renewed PDD)

	CAR-6
Please include brief technical details about the used wind turbines within the context of the project activity in the Section B.1 of the MR.
	B.1.1
	Section B1 has been revised accordingly.
	Review-1:
Please clarify further regarding the technical details along with the turbine numbering too.
Review-2:
Ok closed (The MR has been edited)

	CAR-7
The information on the implementation and actual operation of the project activity, ın partıcular the commissioning, continued operation periods etc.) hasn’t been provided in tabular format. 
	B.1.2
	Section B1 has been revised accordingly.
Review-1:
It’s been added
Review-2:
Table 4 has been revised including the commissioning details along with the turbine numbering 
	Review-1:
Please clarify further regarding the commissioning details along with the turbine numbering too.
Review-2:
The commissioning details along with the turbine numbering are not provided in the table 4.
Review-3:
Ok closed (The information is now included in the revised MR)

	CAR-8
Please clarify and correct the section B.2.5, as there has been increase in capacity from 15 MW to 20 MW although the increased capacity doesn’t form part of the registered PDD.
	B.2.5.1
	Section B.2.5 has been revised accordingly.
Review-1:
Project design has not ben realized during this MP, so the related statement was written. However, it’s been corrected. 
	Review-1:
Please correct the section B.2.5 as the statements made therein are inconsistent. 
Review-2:
Ok closed (The MR has been edited)

	CAR-9
Please clarify about the monitoring approach to exclude the two turbines added later and their corresponding generation.
	B.2.5.2
	Section B.2.4 has been revised accordingly.
	Review-1:
Ok closed (The changes though already incorporated in the design certified monitoring plan for renewed PDD are different as in the applied methodology). 

	CAR-10
Please clarify and correct about the data collection procedures for the two additional turbines which are not included in the project activity. Also, clarify the reference to section B.2.4 and the two turbines, T171 and T179, of Soma III Wind Farm (GS 3253).
	C.2
	Section has been revised accordingly and the typo has been corrected.
	Review-1:
Ok closed (The MR has been edited)

	CAR-11
Please provide the details of the meters measuring the electricity generated from the two turbines that are excluded from the project activity. Also, the corresponding calibration certificates are to be submitted.
	C.5
	There are no separate meters for the two turbines. For the aim of reaching the actual values derived from the registered capacity, the ratio between the feasibility studies of the registered and added capacities are be considered. The ratios are fixed during the previous verification period.
Review-1:
Meter protocols have been provided.
	Review-1:
The calibration and test certificates of the meters are to be submitted.
Review-2:
Ok closed (The meter test and meter change protocols have been submitted.)

	CAR-12
Please clarify and present the monitoring points in the simplified line diagram.
	C.6
	Single line diagram has been provided to the VVB.
	Review-1:
Ok closed (The line diagram is included in the MR)

	CAR-13
Please include only the grid emission factor fixed ex-ante in the renewed PDD instead of the underlying parameters
	D.1.1
	Section D1 has been revised accordingly
Review-1:
These latter values being fixed ex-ante are not fixed in the PDD for crediting renewal. The adjusted net generation has been calculated in the same way which was verified and approved during the previous verification. Therefore, we have not added as a fixed parameter.
	Review-1:
Given that the adjusted net generation is calculated based on monitored net electricity after discounting the expected generation of added capacity and after capacity increase. These latter values being fixed ex-ante should also be included in section D.1.1.
Review-2:
Ok closed (The values have been checked from previous reports too.)

	CAR-14
Please clarify and correct section D.2 of the MR for the following points:
1) As the net generation is indicated as electricity supplied to the grid minus the electricity consumption from the grid the corresponding export and import values should be provided.
2) Please clarify, how has the value for the part month of March 2019 been derived.
3) The monitoring period end date is stated inconsistently as 31/09/2021 earlier and as 31/07/2021 in this section.
4) Please provide the measured value of electricity generated from the turbines T7 and T8.
5) Please provide the meter details for measurement of the generation from T7 and T8.
6) Please include the training details corresponding to the monitoring period in the MR.
7) The grid emission factor applied as 0.5678 is to be clarified and corrected as the validation report for renewal indicates the values as 0.5676 tCO2/MWh.
8) The adjusted net electricity has been computed based on ratio of expected generation rather than the actual generation from T7 and T8 turbines.
9) The value for May 2021 indicated as 5791.445 is not matching with the EPIAS records wherein the value is 5792.445.
10) The data and corresponding documentary evidence of EPIAS records for August and September 2021 has not been submitted and included.
	
	1) It’s been revised accordingly.
2) Since the crediting period was started on 18th March 2019, it’s been calculated as it’s in the ER Calculations Sheet (Please see cell B6 in the calculation sheet)
3) It’s been corrected as 31/07/2021.
4) Scada generations (screenshots) have been provided to the VVB.
5) There is no separate meter for these two turbines.
6) The parameter, “8.8.1. Frequency rates of fatal and non-fatal occupational injuries, by sex and migrant status” has been revised accordingly.Trainings organized in 2019 have been provided to the VVB.
7) The other documents and the ER calculation sheet states as 0.5678 tCO2/MWh. Since the Validation Report has been prepared by Re-Carbon, we kindly request your check.
8) Same ratio approved during the previous verification has been used.
9) The value and related parts have been corrected.
10) August and September 2021 are not within the monitoring period.
Review-2:
6) There are trainings organized in 2020, however no date has been noted. Therefore, we do not specify.

	Review-1:
1) Ok closed (The adjusted net electricity values are presented in the section and the underlying data points are provided in the ER sheet.)
2) The value for March 2019 is to be clarified and corrected as the apportioning with 18/31 is not correct, given that the monitoring period starts from 18th March.
3) Ok closed (The monitoring period end date is corrected as 31/07/2021)
4) For cross-check purpose, please provide the generation values of individual turbines T1 – T8.
5) Ok closed (Not relevant with the approved monitoring arrangements accepted during renewal)
6) Please clarify whether no trainings were conducted in 2019 and 2020.
7) Ok closed (Noting the grid EF in the registered PDD and ER sheet submitted for renewal with an indication of 0.5678)
8) Ok closed (Not relevant with the approved monitoring arrangements accepted during renewal)
9) Ok closed (The value has been corrected)
10) Ok closed (The monitoring period end date is considered as 31/07/2021)
Review-2:
2) Ok closed (The MR and ER sheet has been corrected, apportioning with 14/31)
4) Ok closed (The generation SCADA screenshots has been submitted)
6) The trainings for 2019 have been included in the MR. However, please clarify and include of no trainings being done in 2020.
Review-3:
6) Ok closed (clarified, in absence of records no trainings for 2020 are cited)

	CAR-15
Please submit the revised ER sheet with terms in English and clarifying and correcting the monitoring period too.
	E.1.3
	All has been corrected and the revised ER sheet has been provided. 
Review-1:
ER sheet has been revised as taking into account changes March 2019 value correction.
Review-2:
Section E1 has been revised as taking into account changes March 2019 value correction.

	Review-1:
The revised ER sheet is to be submitted taking into account the changes to March 2019 value correction.
Review-2:
The section has not been revised. Please also provide separate response rather than overwriting the previous response to have clear trail. Also submit a track change and clean version of the MR.
Review-3:
Ok closed (The MR section has been corrected)

	CAR-16
Please correct the value for SDG 7 under section E.2.
	E.2.2
	Review-1
It’s been corrected.
Review-2:
Section E2 has been revised as taking into account changes March 2019 value correction.

	Review-1:
The value is to be corrected taking into account the changes to March 2019.
Review-2:
The section has not been revised. Please also provide separate response rather than overwriting the previous response to have clear trail. 
Review-3:
Ok closed (The MR section has been corrected)

	CAR-17
Please correct the values of the baseline and project for SDG 13 and SDG 7 respectively in section E.4 of the MR.
	E.4.1
	Sections have been corrected.
	Review-1:
The values are to be corrected taking into account the changes to March 2019.
Review-2:
Ok closed (The MR has been corrected)

	CAR-18
Please correct the values of the baseline and project for SDG 13 and SDG 7 respectively in section E.5 of the MR.
	E.5.1
	All values have been corrected.
	Review-1:
The values are to be corrected taking into account the changes to March 2019.
Review-2:
Ok closed (The MR has been corrected)

	CAR-19
Please correct the table 6 presented in section E.6 of the MR.
	E.6.1
	The table has been corrected.
Review-2:
The number of days for 2020 has been corrected.
	Review-1:
The values are to be corrected taking into account the changes to March 2019.
Review-2:
The number of days for 2020 are to be corrected.
Review-3:
Ok closed (The MR section has been corrected)

	CL-1
Please also clarify about the claim of I-RECs from the project.
	B.1.2
	The registered project activity is not included in IREC.
	Review-1:
Ok closed (apart from confirmation by PP also checked with IREC registry to confirm avoidance of double counting).

	CL-2
With regards to safeguards, please provide the waste oil and wastewater records.
	F.1
	The records are available to the VVB. 
Regarding the monitoring period, wastewater transfer has been realized only in 2021.
	Review-1:
Please submit the 2021 records with respective file name too.
Review-2:
Ok closed (The 2021 records have been submitted)


VERIFICATION AND CERTIFICATION REPORT








� SV: Online site visit; T: Telephone; EM: E-mail





R-C-18 / 12.03.2021- 03 

_2147483647.unknown

_2147483646.unknown

