Key Project Information & project Design Document (PDD)

###### PUBLICATION DATE  29.06.2023
VERSION  v. 1.5 
RELATED SUPPORT

###### - TEMPLATE GUIDE Key Project Information & Project Design Document

SECTION A. DESCRIPTION OF PROJECT

SECTION B. APPLICATION OF APPROVED GOLD STANDARD METHODOLOGY (IES) AND/OR DEMONSTRATION OF SDG CONTRIBUTIONS

SECTION C. DURATION AND CREDITING PERIOD

SECTION D. SUMMARY OF SAFEGUARDING PRINCIPLES AND GENDER SENSITIVE ASSESSMENT

SECTION E. SUMMARY OF LOCAL STAKEHOLDER CONSULTATION

Appendix 1 - Safeguarding Principles Assessment (mandatory)

Appendix 2 - Contact information of project developer(s) (mandatory)

Appendix 3 - LUF Additional Information (project specific)

Appendix 4 - Design Changes

### KEY PROJECT INFORMATION

| GS ID of Project | GS574 |
| --- | --- |
| Title of Project | Cataltepe 16 MW Wind Farm Project, Turkey |
| Time of First Submission Date | 01/12/2024 |
| Date of Design Certification | 23/09/2009 CP1 09/08/2023 CP2 |
| Version number of the PDD | 04 |
| Completion date of version | 03/06/2025 |
| Project Developer | Alize Enerji Elektrik Üretim A.Ş. |
| Project Representative | Rüzgar Karbon ve Enerji Danışmanlık Sanayi Ticaret Limited Şirketi |
| Project Participants and any communities involved | Alize Enerji Elektrik Üretim A.Ş.-Rüzgar Karbon ve Enerji Danışmanlık Sanayi Ticaret Limited Şirketi |
| Host Country (ies) | Türkiye |
| Activity Requirements applied | Community Services Activities X Renewable Energy Activities (GS4GG) Land Use and Forestry Activities/Risks & Capacities N/A |
| Scale of the project activity | Micro scale Small Scale Large Scale |
| Other Requirements applied | - |
| Methodology (ies) applied and version number | Sectoral Scope 1, category “Energy industries (renewable - / non-renewable sources)” and ACM0002: Grid connected electricity generation from renewable electricity generation - Version 22.0 |
| Product Requirements applied | GHG Emissions Reduction & Sequestration Renewable Energy Label N/A |
| Project Cycle: | Regular Retroactive |

Table 1 – Estimated Sustainable Development Contributionstimated Sustainable Development Contributions

| ## SUSTAINABLE DEVELOPMENT GOALS TARGETED | ## SDG IMPACT (DEFINED IN B.6) | ## ESTIMATED ANNUAL AVERAGE | ## UNITS OR PRODUCTS |
| --- | --- | --- | --- |
| ## 13 Climate Action (mandatory) | ## Emission ## Reduction | ## 26,154 tCO2/year VERs |  |
| ## 7 Affordable and ## Clean Energy | ## Generating Clean ## Energy | ## 41,000.000 MWh |  |
| ## 8 Decent Work and ## Economic Growth | ## Employment | ## 7 people ## One Health and Safety Training per year |  |

#### SECTION A. DESCRIPTION OF PROJECT

## A.1 Purpose and general description of project

The Cataltepe 16 MW Wind Farm Project, Turkey hereafter referred to as the project, involves a grid-connected onshore wind farm project in the Kocadağ village, Havran district of Balıkesir Province. The project consists of 8 wind turbines with an installed capacity of 2000 kW (E) each. With a total installed power generation capacity of 16 MW, the project is estimated to supply grid as 62,414 MWh and 39,618 tCO2-eq emission reduction per annum over the first 7-year crediting period and 41,000 MW and 26,693 CO2-eq per annum during for the 2nd 7-year crediting period.

To be realist and conservative side, the average annual value of Cataltepe 16 MW Wind Farm Project, Turkey’s electricity generation between 2012 and 2023 has been used for CP3 renewal crediting period as CP2. So, the project is estimated to supply grid as 41,000.000 MWh and expected annual emission reductions of the project is approximately 26,154 tCO2/year during for this 3rd crediting period.

The Project aims to generate electricity from wind energy and feed it to the national electricity grid.  The project foresees to install 8 wind turbines with 2,000 kW installed capacity each and to feed this electricity without storing to the national grid via a transmission line of 15 km at the Edremit II transformer station.

The Project Proponent has been granted a 49-year generation license by the Turkish Energy Market Regulatory Authority for the proposed Project under the provisions of Law No. 4628 governing the electricity market in the Republic of Turkey.

The purpose of the project activity is to produce renewable electricity using wind as the power source and to contribute to Turkey is growing electricity demand through a sustainable and low carbon technology. The project displaces the same amount of electricity generated by the grid dominated with fossil fired power plants.

The project activity produces positive environmental and economic benefits through the following aspects:

- Displacing the electricity generated by fossil fuel fired power plants by utilising the renewable resources to avoid environmental pollution and GHG emissions,

- Contributing the economic development of the region by providing sustainable energy resources,

- Increasing the income and local standard of living by providing job opportunities for the local people.

- Production of pillar and other equipment in Turkey indirectly cause the know-how transfer and empower the local industry.

The project area belongs to the Ministry of Environment and the proposed project activity has been the installation of a grid-connected renewable power plant/unit. In the absence of the project activity, the electrical energy would have been delivered to the grid through a mix of existing power generation resources.

The project’s capacity was increased to 27.75 MW in 2019 but PP has used only 16 MW for this GS registered project for SDG7 and SDG13.  And monitoring of net energy generation (SDG7), PP has simply subtracted the SCADA values of unregistered turbines from gross generation data of EPIAS and SDG13 has been calculated accordingly.

Time schedule of the project activity may be seen in in table 2 as followed

Table 2 Time schedule of the Cataltepe 16 MW Wind Farm Project, Turkey activity

| Event | Actual / Expected | Date |
| --- | --- | --- |
| Starting and ending of first crediting period | Actual | 19/04/2011- 18/04/2018 |
| Commissioning of T1,T8 and First Acceptance Protocol of Ministry of Energy | Actual | 19/04/2011 |
| Gold Standards registration of Project Activity | Actual | 23/09/2009 |
| First Monitoring Period | Actual | 19/04/2011-31/07/2012 |
| Commissioning of T10 and T13 Acceptance Protocol of Ministry of Energy* | Actual | 08/02/2019 |
| Commissioning of T9, T11 and T12 Acceptance Protocol of Ministry of Energy** | Actual | 28/02/2019 |
| Starting and Ending of Second Crediting Period | Actual | 19/04/2018-18/04/2025 |
| Second Monitoring Period | Actual | 20/01/2023-28/02/2024 |
| Starting and Ending of Third Crediting Period | Actual | 19/04/2025-18/04/2032 |

*** These turbines’s electricity generation are not using the renewable electricity generation(SDG 7) and calculation of emission reduction(SDG13) in this CP3 period.

    - Eligibility of the project under Gold Standard

The project activity meets the eligibility criteria of GS4GG Principles & Requirements document as described below.

- The project applies methodology ACM0002 Version 22.0, which is an approved methodology under Gold Standard.

- The project type is wind which is an eligible project type as it is in accordance with Eligible Project Types & Scope under Renewable Energy Activity Requirements v1.4.

- The project activity results in displacement of electricity from thermal power stations while contributing to sustainable development of Turkey. Hence, the project contributes to the Gold Standard vision and mission.

- Wind is an approved project type and does not require approval from Gold Standard.

- This project activity is not associated with geo-engineering or energy generated from fossil fuel or nuclear, fossil fuel switch, nor does it enhance or prolongs such energy generation.

General Eligibility Criteria under Renewable Energy Activity Requirements

Project Type: Wind, As discussed above, the project type is eligible.

Project Location: The project is in Havran district of Balıkesir province, Turkey. Thus, the project is eligible.

Project scale: The project activity is a 16 MWm /16MWe Wind power plant and thus qualifies under large scale projects.

There is no possibility to trade emissions that include the scope of the project in Turkey and no risk of double counting now.

Host Country Requirements: The project owner has not applied for emission reduction credits or labels under any other schemes other than GS.  If the Turkey (host country) has the possibility to trade emissions that include the scope of the project and if a such risk of double counting exists, the project developer commits to retire eligible units equal to the quantity of GS VERs.

Contact Details: Contact details of the project participants, Alize Enerji Elektrik Üretim Anonim Şirketi and Rüzgar Karbon ve Enerji Danışmanlık Sanayi Ticaret Limited Şirketi have been included in the Appendix 1 of this GS PDD.

Legal Ownership and Other Rights: The project participant is Alize Enerji Elektrik Üretim Anonim Şirketi is the legal owner of the project and has the legal rights for the credits. Rüzgar Danışmanlık act as carbon consultants for the Project. Contact details are provided in Annex 1.

No public funds or ODA (Official Development Assistance) is involved in this project activity

    - Legal ownership of products generated by the project and legal rights to alter use of resources required to service the project

The project participant is Alize Enerji Elektrik Üretim A.Ş. is the legal owner of the project and has the legal rights for the credits.

Rüzgar Karbon ve Enerji Danışmanlık Sanayi Ticaret Limited Şirketi act as carbon consultants for the Project. Contact details are provided in Annex 1.

##### A.2 Location of project

The Cataltepe 16 MW Wind Farm Project, Turkey is located in Kocadağ village, Havran district of Balıkesir province, Marmara Region. The geographical location of the Project covers an area between 39ο 31’ N, 27 ο 08’ E and 39ο 30’ N, 27 ο 09’ E approximately.

Please see below the maps showing the location of the project activity in Turkey

Figure 1  The location of the project activity in Marmara Region, Turkey

The Project location has a distance of 1 km to Hacımahmutlar neighbourhood, 2 km to Kocadağ village, 2.5 km to Damlar village, 5 km to Havran and 85 km to Balikesir.

Table 3 Turbine Coordinates

Please find below the all turbines coordinates of the Cataltepe 16 MW Wind Farm Project, Turkey according to generation license. T9, T10, T11, T12 and T13 are unregistered turbines for this Cataltepe 16 MW Wind Farm Project, Turkey. The electricity generation of these 5 turbines will not be included during the monitoring periods of CP2.

A.3 Technologies and/or measures

The Project Activity involves the generation of renewable energy from wind. It thereby displaces grid electricity that is partly generated from fossil fuel fired power plants. The wind-driven blades are connected to an electricity generator, which produces electrical energy and supplies it to the grid without storage. Within the scope of the project, all precautions have been taken for the environment during the design phase and the project has been implemented in line with the environmental law and related regulations.

Enercon, a German turbine manufacturer, has been selected as technology provider due to the quality of its products in terms of high reliability, grid friendliness, low maintenance requirements and low noise levels. The turbines have been delivered from Germany to the project site. Blades and masts have been produced in Turkey.

The Project have been composed of gearless, variable speed, variable pitch control wind turbines with a total installed capacity of 16 MW. The Project includes 8 units of E82 turbines with an output of 2,000 kW and a rotor diameter of 82 m. The Project does not include additional 5 units of E92 turbines with an output of 2,350 kWe/2,350 kWm and a rotor diameter of 92 m.

This Cataltepe 16 MW Wind Farm Project, Turkey has been connected to the 34.5 medium-voltage 15km transmission lines to the Edremit II transformer station. The metering has been done at substation before electricity is fed into the grid.

The Project reduces greenhouse gas emissions by displacing electricity from grid connected fossil fuel fired power plants, thereby contributing to climate change mitigation along with other environmental benefits. The lifetime of the project activity has been supposed as 25 years.

The main equipment used in the Project is wind turbines with the following specifications.

Table 4:  Technical specifications of the Enercon E82 turbines

| Parameter | Value |
| --- | --- |
| Manufacturer | Enercon |
| Type of Turbines Used | E82 2,000 kW each |
| Number of turbines | 8xE82 |
| Turbine concept | Gearless, variable pitch control |
| Rotor diameter | 82 m (E82) |
| Rotational speed | 6-19.5 rpm(E82) |
| Cut out wind speed | 28-34 m/s |
| Remote monitoring: | Enercon SCADA |

The amount of electricity generated by the project is not influenced by factors outside the project boundary such as other power plants or demand for electricity. Rather, the governing factor is the wind speed at the project site.

PLF in case of wind energy has been calculated as follows: 1. In case of past period: The data such as actual power generated in a year and the capacity of a particular wind mill will determine the PLF.

Plant Load Factor is the ratio of the actual output of a power plant over a period of time and it’s output if it had operated a full capacity of that time period.

Plant Load Factor = Gross Generation / (Installed Capacity * Number of Hours) For this project, plant load factor is %29.16 as below:

PLF= 41,000.000/ (16*8,760) *100=%29.16

All requirements and specifications of the meters have been done according to Communique on the counter to be used in the Electricity Market by Energy Market Regulatory Authority on 22/04/2011.

##### A.4 Scale of the project

This is large scale project.

##### A.5 Funding sources of project

The project activity does not have any public funding or Official Development Assistance (ODA) funding. This is renewal crediting period and still does not have any funding.

#### SECTION B. APPLICATION OF APPROVED GOLD STANDARD METHODOLOGY (IES) AND/OR DEMONSTRATION OF SDG CONTRIBUTIONS

##### B.1. Reference of approved methodology (ies)

The project applies CDM-EB approved “ACM0002: Grid-connected electricity generation from renewable sources - Version 22.0”

The methodology refers to:

- “Tool for the demonstration and assessment of additionality”, Version 07.0.

- “Combined tool to identify the baseline scenario and demonstrate additionality”, Version 07.0

- “Tool to calculate project or leakage CO2 emissions from fossil fuel combustion”, Version 03.0

- “Tool to calculate the emission factor for an electricity system”, Version 07.0.

- “Tool to determine the remaining lifetime of equipment”, Version 01

- Tool 11 “Assessment of the validity of the original/current baseline and update of the baseline at the renewal of the crediting period” Version 3.0.1

##### B.2. Applicability of methodology (ies)

- The methodology ACM0002 “Large scale Consolidated baseline methodology for grid‐connected electricity generation from renewable sources” is applicable to grid-connected renewable power generation project activities that a) install a new power plant at a site where no renewable power plant was operated prior to the implementation of the project activity (greenfield); b) involve a capacity addition c) involve a retrofit of (an) existing plant(s); or d) involve a replacement of (an) existing plant(s).

- Since the proposed project activity install a new power plant at a site where no renewable power plant was operated prior to the implementation of the project activity (greenfield), ACM0002 “Large scale Consolidated baseline methodology for grid‐connected electricity generation from renewable sources ” version 22.0. is applicable.

The choice of methodology ACM0002/Version 22.0 is justified as the proposed project activity meets relevant applicability criteria

The applicability criteria and conditions may be seen in more detail as below:

Table 5: Applicability of ACM0002 Version 22.0

| Applicability Condition | Justification |
| --- | --- |
| This methodology is applicable to project activities that: - Install a Greenfield power plant; - Involve a capacity addition to (an) existing plant(s); - Involve a retrofit of (an) existing operating plants/units; - Involve a rehabilitation of (an) existing plant(s)/unit(s); or - Involve a replacement of (an) existing plant(s)/unit(s). - Install a Greenfield power plant together with a grid-connected Greenfield pumped storage power plant. The greenfield power plant may be directly connected to the PSP or connected to the PSP through the grid | The project activity involves installation of a power plant at a site where there was no renewable energy power plant operating prior to the implementation of the project activity. The proposed project activity is a greenfield project activity. |
| In case the project activity involves the integration of a BESS, the methodology is applicable to grid-connected renewable energy power generation project activities that - Integrate BESS with a Greenfield power plant; - Integrate a BESS together with implementing a capacity addition to (an) existing solar photovoltaic or wind power plant(s)/unit(s); - Integrate a BESS to (an) existing solar photovoltaic or wind power plant(s)/unit(s) without implementing any other changes to the existing plant(s); - Integrate a BESS together with implementing a retrofit of (an) existing solar photovoltaic or wind power plant(s)/unit(s); - Integrate a BESS together with a Greenfield power plant that is operating in coordination with a PSP. The BESS is located at site of the greenfield renewable power plant | The proposed project activity is a wind project activity. So there is no BESS activity. |
| The methodology is applicable under the following conditions: - a) Hydro power plant/unit with or without reservoir, wind power plant/unit, geothermal power plant/unit, solar power plant/unit, wave power plant/unit or tidal power plant/unit; b) In the case of capacity additions, retrofits, rehabilitations or replacements (except for wind, solar, wave or tidal power capacity addition projects) the existing plant/unit must have started commercial operation prior to the start of a minimum historical reference period of five years. The reference period is used for the calculation of baseline emissions and defined in the baseline emission section. Furthermore, no capacity expansion, retrofit, or rehabilitation of the plant/unit has been undertaken between the start of this minimum historical reference period and the implementation of the project activity - c) In case of Greenfield project activities applicable under paragraph ‎7(a) above, the project participants shall demonstrate that the BESS was an integral part of the design of the renewable energy project activity (e.g., by referring to feasibility studies or investment decision documents); - d)The BESS should be charged with electricity generated from the associated renewable energy power plant(s). Only during exigencies may the BESS be charged with electricity from the grid or a fossil fuel electricity generator. In such cases, the corresponding GHG emissions shall be accounted for as project emissions following the requirements under section 5.4.4 below. The charging using the grid or using fossil fuel electricity generator should not amount to more than 2 per cent of the electricity generated by the project renewable energy plant during a monitoring period. During the time periods (e.g., week(s), months(s)) when the BESS consumes more than 2 per cent of the electricity for charging, the project participant shall not be entitled to issuance of the certified emission reductions for the concerned periods of the monitoring period. - e) In case the project activity involves PSP, the PSP shall utilize the electricity generated from the renewable energy power plant(s) that is operating in coordination with the PSP during pumping mode. | a)This condition is not applicable to the project activity as it does not involve the installation of a hydro power plant. b)The project activity does not involve capacity additions, retrofits, rehabilitations or replacements. Hence this criterion is not applicable to the project activity. c-d) The proposed project activity is a wind project activity. So there is no BESS activity. e)The proposed project activity is a wind project activity. So, this project does not involve PSP. |
| In case of hydro power plants, one of the following conditions shall apply: - a) The project activity is implemented in existing single or multiple reservoirs, with no change in the volume of any of the reservoirs; or - b) The project activity is implemented in existing single or multiple reservoirs, where the volume of the reservoir(s) is increased and the power density, calculated using equation (7), is greater than 4 W/m2; or - c) The project activity results in new single or multiple reservoirs and the power density, calculated using equation (7), is greater than 4 W/m2; or - d)The project activity is an integrated hydro power project involving multiple reservoirs, where the power density for any of the reservoirs, calculated using equation (7), is lower than or equal to 4 W/m2, and all of the following conditions shall apply: - The power density calculated using the total installed capacity of the integrated project, as per equation (8), is greater than 4 W/m2; - Water flow between reservoirs is not used by any other hydropower unit which is not a part of the project activity; - Installed capacity of the power plant(s) with power density lower than or equal to 4 W/m2 are: - Lower than or equal to 15 MW; and - Less than 10 per cent of the total installed capacity of integrated hydro power project | This condition is not applicable to the project activity as it does not involve the installation of a hydro power plant |
| In the case of integrated hydro power projects, project participants shall: - Demonstrate that water flow from upstream power plants/units spill directly to the downstream reservoir and that collectively constitute to the generation capacity of the integrated hydro power project; or - Provide an analysis of the water balance covering the water fed to power units, with all possible combinations of reservoirs and without the construction of reservoirs. The purpose of water balance is to demonstrate the requirement of specific combination of reservoirs constructed under CDM project activity for the optimization of power output. This demonstration has to be carried out in the specific scenario of water availability in different seasons to optimize the water flow at the inlet of power units. Therefore, this water balance will take into account seasonal flows from river, tributaries (if any), and rainfall for minimum of five years prior to the implementation of the CDM project activity. | The project activity is not a hydro power plant. Hence this applicability criterion is not relevant to the project activity. |
| In the case of PSP, the project participants shall demonstrate in the PDD that the project is not using water which would have been used to generate electricity in the baseline. | The project activity is not a hydro power plant. Hence this apis not relevant to the project activity |
| The methodology is not applicable to: - a) Project activities that involve switching from fossil fuels to renewable energy sources at the site of the project activity, since in this case the baseline may be the continued use of fossil fuels at the site; - b) Biomass fired power plants/units. | Project activity does not involve: a) Switching from fossil fuels to renewable energy sources at the site of the project activity. b) Biomass fired plants. Hence this criterion is not applicable |
| In the case of retrofits, rehabilitations, replacements, or capacity additions, this methodology is only applicable if the most plausible baseline scenario, as a result of the identification of baseline scenario, is “the continuation of the current situation, that is to use the power generation equipment that was already in use prior to the implementation of the project activity and undertaking business as usual maintenance”. | The project is not a retrofit, rehabilitations, replacements or capacity addition; hence this applicability criterion is not relevant. |
| In addition, the applicability conditions included in the tools referred to above apply. | Applicability conditions of the applied tool are justified. |

From the above it is concluded that the project activity meets all the applicability conditions of the methodology ACM0002 version 22.0 “Grid connected electricity generation from renewable sources”.

The project activity also meets the following applicability conditions of “Tool to calculate the emission factor for an electricity system”.

Applicability Conditions of “Tool to Calculate The Emission Factor For an Electricity System” for Cataltepe 16 MW Wind Farm Project, Turkey as follow :

| SI No | Applicability condition | Applicability to this project activity |
| --- | --- | --- |
| 1 | This tool may be applied to estimate the OM, BM and/or CM when calculating baseline emissions for a project activity that substitutes grid electricity, i.e. where a project activity supplies electricity to a grid or a project activity that results in savings of electricity that would have been provided by the grid (e.g. demand-side energy efficiency projects). | The project activity substitutes grid electricity by supplying renewable power to grid. Hence this criterion is applicable. |
| 2 | In case of CDM projects the tool is not applicable if the project electricity system is located partially or totally in an Annex I country. | Project electricity system is not located in an Annex I country. |

The project activity also meets the applicability conditions given in “Tool for the demonstration and assessment of additionality”.

The project activity also meets the applicability conditions given in “Tool to determine the remaining lifetime of equipment” This tool is used to determine the remaining lifetime of baseline or project equipment. Average lifetime of turbines is assumed as 25 years. Other tools mentioned in the methodology are not applicable for this project activity

##### B.3. Project boundary

The spatial extent of the project boundary includes the project power plant and all power plants connected physically to the electricity system. The greenhouse gasses and emission sources are defined for the project activity and the baseline scenario. As a result, the project boundary for Cataltepe 16 MW Wind Farm Project, Turkey is as demonstrated in the figure below:

Figure 2: Project Boundary

Turkish National Electricity System

UEDAŞ Electricity Meter

Proposed Project Activity

Edremit II Switchyard from

Cataltepe 16 MW Wind Farm Project, Turkey

In addition, please see the justification of the given project boundary in the table below:

Table 6: The greenhouse gases and emission sources

| Source |  | GHGs | Included? | Justification/Explanation |
| --- | --- | --- | --- | --- |
| Baseline scenario | CO2 emissions from electricity generation in fossil fuel fired power plants that are replaced due to the project activity | CH4 | No | The major source of emissions in the baseline |
|  |  | N2O | No | The minor emission source in the baseline. |
|  |  | CO2 | Yes | Main emission source. The dominant emissions from power plants are in the form of CO2, therefore CO2 emissions from fossil fuel fired power plants connected to the grid is considered in baseline calculations. |
| Project scenario scenario | Construction and operation of the project activity | CO2 | No | Minor emission source. The project activity has a diesel generator, however the use of fossil fuels for the back up or emergency purposes (e.g. diesel generators) can be neglected as per the applicable methodology. As suggested by the baseline methodology, project emissions (PEy) are assumed to be 0 and it is not considered |
|  |  | CH4 | No |  |
|  |  | N2O | No |  |

Potential leakage emissions in the context of power sector projects are emissions that arise from the project activities such as power plant construction, fuel handling and land inundation. According to ACM0002 / Version 22.0, such emissions do not need to be taken into account.

The following figure represents the line diagram of the project activity:

Figure 3 Line Diagram of Cataltepe 16 MW Wind Farm Project,Turkey

The scheme shows the connection points of Cataltepe 16 MW Wind Farm Project, Turkey with the national grid. The wind farm is connected to Edremit II transformer station on 34.5 kV medium voltage level. Two electricity meters are installed at Cataltepe 16 MW Wind Farm Project, Turkey. These meters are working in parallel.

##### B.4. Establishment and description of baseline scenario

The project applies for a renewal of the crediting period under the requirements of The Gold Standard Foundation so the Methodological Tool “Assessment of the validity of the original/current baseline and update of the baseline at the renewal of the crediting period”, Version 03.0.1 has been applied to demonstrate that the baseline of the project is still valid.

The Tool consists of two steps:

Step 1: Assess the validity of the current baseline for the next crediting period

The “Procedures for the renewal of the crediting period of a registered CDM project activity” approved by the CDM Executive Board require assessing the impact of new relevant national and/or sectoral policies and circumstances on the baseline. The validity of the current baseline is assessed using the following Sub-steps:

Step 1.1: Assess compliance of the current baseline with relevant mandatory national and/or sectoral policies.

The Project baseline is the “grid-connected electricity generation from renewable sources”. The Project is still in compliance with Electricity Market Law with Number 4628 and dated 03/03/2001 and Law on Utilization of Renewable Energy Resources for the Purpose of Generating Electrical Energy with Number 5346 and dated 18/05/2005 (current legal framework, all required relevant regulations and laws). There is no changes or revision of these laws and legislation.

The conclusion is that the baseline of the project activity complies and will continue to comply with the laws and regulations in the sector for the next crediting period.

Step 1.2: Assess the impact of circumstances

The conditions used to determine the baseline emissions in the previous crediting period are still valid.

The electricity generation is predominantly composed by fossil fuel fired power plants in Turkey. The share of resources in the electricity generation in Turkey may be seen in Figure 4.

Figure 4: The share of resources in the electricity generation

As per the 5-year capacity projection of TEIAS (Türkiye Electricity Transmission Company), it is obvious that fossil fuels would continue being the main sources for electricity generation (approximately 51% in 2025). High growth rate of energy demand is forecasted to continue over coming decade. Fossil fuels will be dominant in the electricity generation mix, with an expected share of 51% in 2024.Renewables including wind energy would have a limited share of then 49 %. For this reason, main part of the new capacity will be fossil fuel based.

Figure 5 Capacity projection, 2020-2025

Turkey as an advanced developing nation has looked at dealing with energy security by developing and constructing high-capacity coal and natural gas power plants. The development of thermal power plants has been also encouraged by the large natural resource availability in Turkey, especially the abundance of economically accessible lignite.

Step 1.3: Assess whether the continuation of use of current baseline 	equipment(s) or an investment is the most likely scenario for the crediting 	period for which renewal is requested.

The same circumstances are valid for the price of electric energy.

The baseline scenario identified at the validation of the project activity was the continuation of grid-connected electricity generation from renewable sources. Under this scenario, no investment from the project’s proponent or third party (or parties) has been envisioned later specifically for the project. Thus, this step 	in not applicable.

The technical lifetime of turbine is 25 years and there is no change about their technology.

There is no change in investment and technology affecting project implementation so related conditions used to determine the baseline emissions in 	the previous crediting period are still valid.

Step 1.4: Assessment of the validity of the data and parameters

The emissions reduction calculations are based on two main parameters: the 	energy produced and the grid emission factor.

Since the energy generated under the project activity is monitored, only the 	grid emission factor should be updated for the purpose of the crediting period renewal.

The emission factors and values for the calculation of the baseline emissions 	have been determined for the whole crediting period and parameters not monitored have been changed. Therefore, Step 2 has been applied.

According to the methodology, baseline scenario was identified as “the electricity delivered to the grid by the project activity that otherwise would have been generated by the operation of grid-connected power plants and by the addition of new generation sources”.

Step 2: Update the current baseline and the data and parameters.

Step 2.1: Update the current baseline.

As confirmed in Step 1, under the current context of the sectoral policies and circumstances, the project baseline for the next crediting period is the use of electricity from the national grid. This is conformed to the provisions of the latest version of the approved applicable methodology to the project activity namely: ACM0002 version 21.0, “Large-scale Consolidated baseline methodology for grid-connected electricity generation from renewable sources”.

Step 2.2: Update the data and parameters.

The grid emission factor has been updated according to the version of the tool: Tool to calculate the emission factor for an electricity system (Version 07.0).

According to tool three options has provided. The PP has used Option 1 of Paragraph 17 for national EF by Turkish Republic Ministry of Energy for OM and use CP2 value for BM and then calculated Combined Margin accordingly.

B.5. Demonstration of additionality

The initial stakeholder consultation was held in Salih Tozan Kültür Merkezi, Balıkesir on 30/04/2008, before every process starts. The meeting was attended by representatives from the local authorities and local residents of the project activity. In addition to the local meeting, Gold Standard supporting NGOs in Turkey have been invited by email to send their comments on the project activity. In addition to this, during the financial analysis done for the investment decision, the VER revenue has been taken into account. Everything is still same related with additionality assessment during the CP3 renewal process.

The project activity consists of the installation of a new grid-connected renewable power plant. The respective baseline scenario would be the generation of grid-connected power, which would have otherwise been generated by the operation of grid-connected power plants and by the addition of new generation sources, as reflected in the combined margin (CM) calculations described in the “Tool to calculate the emission factor for an electricity system”.

The project activity is a green field investment, which does not modify or retrofit any existing electricity generation facility. The emission factors are calculated with the recent data available at the date of PDD compilation. The additionality methodology consists of the following steps;

- Identification of alternatives to the project activity;

- Investment analysis to determine that the proposed project activity is either: 1) not the most economically or financially attractive, or 2) not economically or financially feasible;

- Barrier’s analysis; and

- Common practice analysis

STEP 1. Identification of alternatives to the project activity consistent with current laws and regulations

This step involves the definition of realistic and credible alternatives to the project activity that can be part of the baseline scenario.

Sub-step 1a. Define alternatives to the project activity:

The Project involves the generation of electricity and sales of VER credits. It will help Turkey to stimulate and commercialise the use of grid connected renewable energy technologies and markets. The two alternatives identified to the project activity are;

Alternative A. The proposed project activity will be undertaken without the generation and sale of VER credits.

The Project Owner’s experience and knowledge is focused on wind energy only. The Project Owner has no alternative plan, e.g. hydro or fossil-fuel fired power plants that it would realize as an alternative option. The Project owner has no such power plant under its ownership, no intention or any license or permit application regarding such alternatives. Therefore, the Project activity is the only scenario that the Project owner can realize.

Alternative B. Continuation of the current situation: The project activity is not realized, and investors do not take any actions.

In this alternative, the same amount of electricity to be produced by the project activity will be generated by other power plants connected to grid, where the energy mix is dominated by fossil fuel fired power plants.

No realistic and credible alternative scenarios to the proposed project activity can be identified that deliver electricity with comparable quality, properties, and application areas. The national grid is already increasing its installed capacity through expansion of existing power plants and constructing new power plants. As similar activities, only wind farms are identified, since organisational, technical, economical and sustainability aspects of other renewable energy technologies (e.g., hydropower, geothermal, solar etc.) are not directly comparable to wind energy. Hydropower plants are not directly comparable to wind farms, since a specific HEPP that provides the same amount of energy can have much lower or higher plant load factors7 (i.e., installed capacity and capital expenditure) than the Project activity, making it difficult to compare them on an economical basis. Environmental and social aspects of HEPPs also vary widely (some having serious negative impacts while others can have mitigated low impacts), therefore it would not be correct to suggest that HEPPs provide the same product (clean energy) as the Project does. Furthermore, several HEPPs in Turkey require additional revenues from carbon credits, therefore they should not be regarded as alternatives to the Project. For these reasons, hydropower technology cannot be considered as an alternative to the Project activity. There is no specific HEPP project by any investor that is known to be planned as an alternative to the Project activity. Other technologies like PV, solar thermal, geothermal or biomass are also not plausible alternatives, because economic incentives are not high enough in Turkey to make them economically viable and financially feasible. In the host country, electricity generated from these resources are priced the same as hydro, wind or thermal, and these technologies have not reached maturity to compete with them on the price basis. Only a few biogases or geothermal power plants exist in Turkey, which are carbon projects. Commercial solar plants do not exist at all, showing that these are not alternatives to the Project either.

There is no indication (i.e., power generation license, relevant permits etc.) that another specific investor is or would be planning a specific renewable energy or thermal power plant in the host country as an alternative to the Project activity (that would be built in case the Project is not built). Thus, continuation of the current situation, with the electricity generated by the operation of grid connected power plants and by the addition of new generation sources in the Turkish National Grid can be considered as a realistic alternative for the project activity and no other alternatives other than both above mentioned alternatives have been considered as potential baseline scenarios.

Outcome of Step 1a: Identified realistic and credible alternative scenario(s) to the project activity

Alternative B is identified as the baseline scenario, since Alternative A is not applicable, which will be further elaborated in Section B.5. According to the baseline scenario, the electricity delivered to grid will continue to be fed by a power plant portfolio, which is highly fossil fuel dependent and CO2 intensive (see figures below).

Figure 6 Electricity generation mix in Turkey

Figure 6 shows the current practice of electricity generation in Turkey; the weight of fossil fuels in electricity generation has been around 70-75% for the last five years and is not expected to change much in the future as highlighted in Figure 7.

Figure 7 Electricity Generation Forecasts

The official forecasts as displayed in Figure 7 suggest that in the future power generation in Turkey will be dominated by fossil fuel sources covering more than 70% of the overall electricity supply. In this framework, the continuation of the current situation (Alternative B) would mean carrying on this fossil fuel dominated trend.

The same forecasts show that wind energy is expected to cover around 1% of Turkey’s electricity demand during 2007-2016. Thus, wind farm projects most likely will not become business as usual soon.

Sub-step 1b. Consistency with mandatory laws and regulations

Both alternatives as well as the project activity are subject to the following laws;

There are various regulations in connection with these laws as well. The mandatory preliminary permits have been obtained for the project activity, showing that it is in compliance with the current laws and regulations. Turkey did not ratify the Kyoto Protocol and has no national legal binding emission reduction goals for power plants. Hence, both alternatives, A and B, are consistent with the applicable legislation.

Outcome of Step 1b: As mentioned above, if the project activity is not feasible and will not be realized, project participants do not have an alternative investment plan that would generate electricity with a comparable quality and similar amount. Alternative A cannot be considered as a plausible scenario because of financial, investment, technological and prevailing practice barriers that would prevent the project activity from being implemented, which will be further elaborated under Section B.5. Therefore, the only plausible baseline scenario to the Project is Alternative B: the continuation of the current situation without realization of the proposed Project Activity.

For the demonstration of additionality, a barrier analysis or an investment analysis, or both can be conducted. Barrier analysis is applied.

STEP 2. Investment Analysis

The Investment Analysis is not applied.

STEP 3. Barrier Analysis

This analysis determines whether the proposed project activity faces barriers that:

- Prevent the implementation of this type of proposed project activity; and

- Do not prevent the implementation of at least one of the alternatives.

Sub-step 3a. Identify barriers that would prevent the implementation of the proposed project activity:

Investment -, technical -, prevailing practice - and other barriers are explained below for the scenario identified as Alternative A, which assumes that the project activity being implemented without consideration of revenues from VER credits.

(a) Investment barriers

o Lack of Infrastructure: Legally UEDAŞ is required to construct the 154 kV HV transmission line to connect the project site to the national grid. However, in practice such transmission line constructions are not in the annual investment plan of UEDAŞ The project is located in a relatively remote location, therefore the project participants are required to pre-finance the 32 km-long transmission line in advance, which puts further difficulties in finding funding for the already high initial investment budget, as in general transmission line construction is a costly investment. Although associated costs are later “compensated” by UEDAŞ, the official internal price tariffs are structured such that this compensation is not based on actual costs, resulting in a significant loss on behalf of the project participant.

o As of PDD development date, no similar wind energy project has been taken into operation without VER credits in Turkey.

o Access to finance: Although being one of the leading and credited wind energy companies in Turkey, the project participants have experienced some difficulties in securing the finance for the Project because of the following reasons.

- Transmission Fee: The transmission line system usage fee depends on the project location and can differ significantly. It constitutes a significant operating cost item for the Project, since this fee is the second highest among 23 distribution grids in Turkey, reducing the feasibility of this Project in particular. Furthermore, the expected privatization process of these distribution networks contains the risk of distribution fee increases.

- Equipment Selection: Enercon wind turbines, which are chosen for the Project, have higher prices than comparable turbines. This choice is justified by their timely delivery, high quality, technical reliability, extensive technical support, grid friendliness, low maintenance requirements and low noise. However, it amplifies the investment volume, thus posing further barriers.

- After the recent credit crunch and the related global financial crisis, the international and the local financial sector is having a wide range of challenges. With several banks gone bankrupt or taken over by governments/competitors, the financial world has shifted its focus more to internal difficulties rather than financing projects. Nowadays, several banks have stopped new loans and even started calling their loans back before maturity. Project developers in Turkey are also facing the same difficulties, adding very significant barriers to the feasibility of the Projects. The Project proponents are not sure anymore whether financial institutions have been able to supply loans for the Projects with comparable conditions as before.

The Turkish financial market is experiencing such high difficulties that some commercial Turkish banks are even exercising their “call back” option for their loans, which means that banks take extreme measures to ensure their survival. This, on the other hand, leaves companies in very difficult positions. Turkish banks have lately been criticized by the government for acting too much on their behalf without paying attention on their customers, and these arguments have been accepted even by the Turkish Banks’ Association. In this environment, companies have very serious financial problems and new projects are having various challenges for finding finance. These developments leave no doubts about the financial additionality of the Projects under validation

As a result of these changes, the ongoing loan discussions with the bank have been halted abruptly by the bank until February 2009. Further discussions revealed that the bank’s loan conditions are not attractive for the Project Owner and the talks have been stopped in December 2009. The Project Owner has initiated talks with another commercial bank in January 2010 and has signed the loan agreement as of February 2010. The delay in securing finance clearly demonstrates the financial barriers faced.

(b) Other Barriers

o Institutional Capacity: A significant portion of the required technology and know-how must be imported. The former wind farm projects of the same Project proponents have resulted in the formation of a joint venture for wind turbine blade manufacturing, demonstrating the know how transfer caused by similar projects. As of today, this JV is selling blades to internal and external buyers. Moreover, the selected Enercon wind turbines for the Project activity are grid friendly units, allowing further expansion capacity of wind power plants in the grid, which is an additional benefit of the Project. However, UEDAŞ prefers to limit the wind power capacity at each transformer station without differentiating between different wind turbine specifications. Therefore, the Project had to apply for a generation license with a lower installed capacity.

o Legal and bureaucratic difficulties: The first licensing application for the Project has been submitted on 29.12.2003 to EMRA. Upon consecutive requests, additional documentation is supplied until 21.01.2004. Following the license fee payment on 11.03.2004 and an inspection and examination period for more than 2 years, an information and permit update has been requested by EMRA on 31.05.2006. Desired documents are submitted on 14.09.2006. The license has been obtained on May 10th, 2007. On 26.07.2007, EMRA asked bigger turbines to be used, therefore a license amendment application is made. Apart from this aspect, a legal judgement regarding a law concerning forestry areas resulted in an abrupt halt of some energy projects in Turkey, which shows the unforeseeable nature of legal, political and bureaucratic risks investors are faced with. However, this judgement has been lifted later on, and the project is compliance with the legislative frameworks. The chronological history of the Project is provided below:

Outcome of Step 3a:

The identified barriers are sufficient grounds for demonstration of additionality since they prevent potential project proponents from carrying out the proposed project activity undertaken without being registered as a VER project activity. The barriers mentioned above prevent the realization of Alternative A (the proposed Project Activity undertaken without VER credits).

Sub-step 3b. Show that the identified barriers would not prevent the implementation of at least one of the alternatives (except the proposed project activity)

Identified barriers explained in Sub-step 3a would not prevent the implementation of the Alternative B, which is mainly the continuation of fossil fuel and hydro power plant construction because of the following reasons:

Investment Barriers: Investment barriers partly affect ongoing power plant investments; however, as the current practice of financial institutions also shows, fossil fuel powered power plant investments often face considerably lower investment barriers as a result of:

o Smaller initial investment volumes compared to similar-capacity renewable energy projects. The Project’s technology has a higher investment volume per MW compared to fossil fuel fired power plants. It took one and a half years to close the financing of the Project. Therefore, project’s alternatives (i.e. mostly fossil-fuel fire power plants) are not affected by the same financial and institutional barriers.

o Familiarity of financiers, investors, and authorities: The Project had to apply for a lower capacity (as MW) because of the insufficient institutional capacity of relevant public bodies (please refer to “institutional capacity” barrier for details). Fossil fuel fired power plants are very well known by public authorities and financial institutions as they dominate electricity generation of Turkey. Only licensing, apart from other permits, took about 4 years. Therefore, the barriers do not apply to the alternatives.

Technological Barriers: Large hydro - and fossil fuel fired thermal power plants, which constitute a big portion in the installed capacity forecasts, utilize conventional technologies, which are well known and mature. In Turkey there are technically competent equipment suppliers, technical planners, contractors, maintenance staff etc. regarding such investments. Therefore, the continuation of the current situation does not involve any identifiable technological barriers.

Prevailing Practice: This alternative already involves the current practice and is therefore not applicable.

- Other Barriers: In general, there is an oversupply of imported natural gas in Turkey because of Turkey’s international take-or-pay purchase contracts. Therefore, the national energy policy supports the expansion of natural gas networks stimulating the demand. Furthermore, the Turkish energy policy is based on a strategy acting as an energy bridge between the Eastern and the Western oil and gas markets, thereby securing its own fossil fuel supply and gaining strategic position in global energy markets. This strategy prioritizes fossil fuels at political levels, whereby renewable resources and their strategic importance are seen as secondary. In terms of licensing procedure, renewable energy investors are faced with additional permit bureaucracy (e.g. wind farm license applications are not being accepted by EMRA as of the date of GS application, projects on overlapping areas need to pay additional fees or settle with other project applicants etc.), which thermal power plant projects are not faced with, since such conventional projects do not require to be set up on natural resources).

These reasons stated above prevent Alternative B being affected by the barriers, whereas these barriers seriously affect the Alternative A.

B.5.1 Prior Consideration

N/A

##### B.5.2 Ongoing Financial Need

##### The initial IRR spreadsheet has been submitted to demonstrate the additionality of the project when during first registration. Unfortunately, the project is not financially attractive.

The project has not continued the verification process because of the economic situation of cost and carbon credit’s price. The project is not financially attractive. Therefore, carbon revenues are crucial for the project.   The income of the GS VER is very important for the financial performance of the project. So, the results of the financial analysis still same for the project, with the decision to go ahead was made before the starting crediting period, both with and without VER financing despite there are no VERs issuance for period 01/08/2012 to 19/04/2018. And second crediting period start on 19/04/2018 to 18/04/2025. The related performance review of CP2 has just finished on 12/08/2024, so there is no income from GSVERs yet.

Below you can find the electricity sales income, operational costs (including depreciation), carbon sales income and carbon certification expenses. They are all

normalized to the income (divided by income).

| For Crediting Period | % to Net Income |
| --- | --- |
| Income | 100 |
| Costs | 26.68 |
| Net Income | 73.32 |

| Carbon Income | 0.21 |
| --- | --- |
| Carbon Costs | 0.45 |
| Net Carbon Income | -0.23 |

The overall expenses cost (including depreciation costs) make up 26.68% and net income is 73.32% of the income. (Income occurring from electricity sales (sole income except carbon revenues). Revenues from carbon credit sales make only 0.21 percent of income. Carbon certification costs amount to 0.45 percent of the income and net carbon sales income amount -0.23 percent of net electric sales income.

B.6. Sustainable Development Goals (SDG) outcomes

B.6.1 Explanation of methodological choices/approaches for estimating the SDG Impact

Relevant Target/Indicator for each of the three SDGs

| SUSTAINABLE DEVELOPMENT GOALS TARGETED | MOST RELEVANT SDG TARGET | SDG IMPACT |
| --- | --- | --- |
|  |  | INDICATOR (PROPOSED OR SDG INDICATOR) |
| 13 Climate Action (mandatory) | T:13.3. Improve education, awareness-raising and human and institutional capacity on climate change mitigation, adaptation, impact reduction and early warning | I:13.3.2 Number of countries that have communicated the strengthening of institutional, systemic and individual capacity-building to implement adaptation, mitigation and technology transfer, and development actions |
| 7 Affordable and Clean Energy | T:7.2 By 2030, increase substantially the share of renewable energy in the global energy mix | I: 7.2.1 “Renewable energy share in the total final energy consumption |
| 8 Decent Work and Economic Growth | T: 8.5 By 2030 achieve full and productive employment and decent work for all women and men | I: 8.5.2 Unemployment rate, by sex, age and persons with disabilities |

SDG 7: Affordable and Clean Energy

The baseline for the project is no project, thus leading to generation in the relevant grid which is dominated by fossil fuel. The clean energy generated by the project is calculated based on the amount of electricity generated by the project per annum. The project is expected to generate 41,000.000 MWh of clean energy per annum.Net generation will be as below.

Net Generation (MWh) = Electricity Supplied to the Grid (MWh)– Electricity Consumption from the Grid (MWh)

The net generation and internal consumption identified and approved by authorized EPIAS.

The project contributes to the following indicators 7.2.1 “Renewable energy share in the total final energy consumption” and following target: 7.2 ‘’By 2030, increase substantially the share of renewable energy in the global energy mix.”

SDG 8: Decent Work and Economic Growth

The project leads to employment opportunities which would not have been possible in the baseline scenario. The project provides employment to 7 people during the operation phase.

The project contributes to the following indicators 8.5.2 “Unemployment rate, by sex, age and persons with disabilities” and following target: “8.5 By 2030, achieve full and productive employment and decent work for all women and men, including for young people and persons with disabilities, and equal pay for work of equal value”

The target will be monitored by the number of full-time employees with the SGK records during the verification process. Because of the social conditions of the project area, employment of woman and persons with disabilities is not possible.

The project contributes to the following indicators 8.5.2 “Unemployment rate, by sex, age and persons with disabilities” and following target: “8.5 By 2030, achieve full and productive employment and decent work for all women and men, including for young people and persons with disabilities, and equal pay for work of equal value”

The target will be monitored by the number of full-time employees with the SGK records during the verification process. Because of the social conditions of the project area, employment of woman and persons with disabilities is not possible.

SDG13: Climate Action:

The project leads to mitigation of 26,154 tCO2 per annum.

The project contributes to the following indicators 13.3.2 “Number of countries that have communicated the strengthening of institutional, systemic and individual capacity-building to implement adaptation, mitigation and technology transfer, and development actions” and following target 13.3 “Improve education, awareness-raising and human and institutional capacity on climate change mitigation, adaptation, impact reduction and early warning”.

The project’s contribution is done through training and awareness raising of local people and setting good example by investing to the climate friendly technology.

As developing the baseline and calculation of the emission reductions for the proposed project activity are calculated according to “Tool to calculate the emission factor of an electricity system” version 07.0. Emission Reductions

The emission reductions are calculated based on the below formula:

ERy=BEy-PEy- LEy

Where:

ERy = Emission reductions in year y (tCO2e/yr)

BEy = Baseline emissions in year y (tCO2/yr)

PEy= Project emissions in year y (tCO2e/yr)

LEy = Leakage emissions in year y (t CO2/y)

Project Emissions

As the proposed project activity is a new grid-connected wind power plant. For this reason, PEy is considered as “0” in line with ACM0002 Version 22.0

PEy=0

Leakage

Leakage emission (LEy) is considered as “0” as suggested in ACM0002 Version 22.0

LEy=0

Baseline Emissions

The baseline emissions are calculated as follows:

BEy=EGy * EFCO2,i,y

Where:

BEy            = Baseline emissions in year y (tCO2/yr)

EG m,y        = Net quantity of electricity generated and delivered to the grid by power 		unit m in year y (MWh)

EFCO2,i,y    = CO2 emission factor of fuel type i in year y  (t CO2/MWh)

According the “Tool to Calculate the Emission Factor for an Electricity System v 07.0.0”. Option 1 has been selected.

Option 1

A delineation of the project electricity system and connected electricity systems published by the DNA or the group of the DNAs of the host country(ies), In case a delineation is provided by a group of DNAs, the same delineation should be used by all the project participants applying the tool in these countries.

Operating, Build and Combined Margin Emission Factors have been published by the Ministry of Energy and Natural resources. The Ministry has calculated the factors as using the “Tool to calculate the emission factor for an electricity system”. Since it’s the latest available data, published by the ministry, these factors have been considered.

Calculation of the Operating Margin Emission Factor

It’s been published as 0.7279 tCO2/MWh by the Ministry of Energy and Natural Resources.

Calculation of the Build Margin Emission Factor

It’s 0.368 tCO2/MWh according to CP2 value of registered second PDD.

Calculating of the Combined Margin Emission Factor

It’s been calculated as 0.6379 tCO2/MWh. It has been calculated ex-post and has been fixed for the crediting as CM= 0.75xOM+0.25xBM.

CM=0.75*0.7279+0.25*0.368

CM=0.6379 tCO2/MWh

B.6.2 Data and parameters fixed ex ante

I: 7.2.1 “Renewable energy share in the total final energy consumption”

| Data/parameter | EFCO2,i,y |
| --- | --- |
| Unit | tCO2/MWh |
| Description | Combined margin CO2 emission factor for the project electricity system in year y |
| Source of data | Republic of Turkey Ministry of Energy in Emission Factor 2021 and CP2 value for MB |
| Value(s) applied | 0.6379 |
| Choice of data or Measurement methods and procedures | Calculate baseline emission |
| Purpose of data | Calculation of baseline emissions - to demonstrate contribution to SDG7- 7.2.1 Renewable energy share in the total final energy consumption |

B.6.3 Ex ante estimation of SDG Impact

SDG 7: Affordable and Clean Energy

The baseline for the project is no project, thus leading to generation in the relevant grid which is dominated by fossil fuel. The clean energy generated by the project is calculated based on the amount of electricity generated by the project per annum. The project is expected to generate 41,000.000 MWh of clean energy per annum. Net generation will be as below.

Net Generation (MWh) = Electricity Supplied to the Grid (MWh)– Electricity Consumption from the Grid (MWh)

SDG 8: Decent Work and Economic Growth

The project leads to employment opportunities which would not have been possible in the baseline scenario. The project provides employment to7 people during the operation phase.

SDG13: Climate Action:

The project contributes to the following indicators 13.3.2 Number of countries that have communicated the strengthening of institutional, systemic and individual capacity-building to implement adaptation, mitigation and technology transfer, and development actions” following target 13.3. Improve education, awareness-raising and human and institutional capacity on climate change mitigation, adaptation, impact reduction and early warning.

The project leads to mitigation of 26,154 tCO2 per annum.

Baseline emissions

As per ACM0002, the baseline emissions are calculated as the net electricity generated by the project activity, multiplied with the baseline emission factor for the project grid.

Baseline emissions calculated as explained in section B.6.1 above are summarized as below.

BEy = EGm,y *  EFCO2,i,y

Where,

BEy            = Baseline emissions in year y (tCO2/yr)

EGm,y         = Net quantity of electricity generated and delivered to the grid by power   unit m in year y (MWh)

EFCO2,i,y          = CO2 emission factor of fuel type i in year y  (t CO2/MWh)

Hence,

BEy = 41,000.000 MWh/yr * 0.6379 tCO2/MWh

BEy = 26,154 tCO2e

Project emissions

The proposed project activity involves the generation of electricity by development of a large-scale wind power project. The generation of electricity does not result in greenhouse gas emissions and therefore:

PEy = 0 tCO2/year

Leakage

The energy generating equipment is not transferred from or to another activity. Therefore, leakage does not have to be taken into account, and:

LEy = 0 tCO2/year

Emission reductions

ERy = BEy – PEy- LEy

ERy = BEy

ERy = 26,154 tCO2

B.6.4 Summary of ex ante estimates of each SDG Impact

SDG 7: Affordable and Clean Energy

The baseline for the project is no project, thus leading to generation in the relevant grid which is dominated by fossil fuel. The clean energy generated by the project is calculated based on the amount of electricity generated by the project per annum.

| YEAR | BASELINE ESTIMATE | PROJECT ESTIMATE | NET BENEFIT |
| --- | --- | --- | --- |
| 19/04/2025-31/12/2025 | 0 | 28,868.493 | 28,868.493 |
| 2026 | 0 | 41,000.000 | 41,000.000 |
| 2027 | 0 | 41,000.000 | 41,000.000 |
| 2028 | 0 | 41,000.000 | 41,000.000 |
| 2029 | 0 | 41,000.000 | 41,000.000 |
| 2030 | 0 | 41,000.000 | 41,000.000 |
| 2031 | 0 | 41,000.000 | 41,000.000 |
| 01/01/2032-18/04/2032 | 0 | 12,131.507 | 12,131.507 |
| Total | 0 | 287,000.000 | 287,000.000 |
| Total number of crediting years | 7 |  |  |
| Annual average over the crediting period | 0 | 41,000.000 | 41,000.000 |

SDG 8: Decent Work and Economic Growth

The project leads to employment opportunities which would not have been possible in the baseline scenario. The project has been provided employment 7 people.

This helps to achieve SDG 8 with indicators 8.5.2 “Unemployment rate, by sex, age and persons with disabilities” and following target: 8.5 “By 2030, achieve full and productive employment and decent work for all women and men, including for young people and persons with disabilities, and equal pay for work of equal value”.

SDG 13 Climate Action

The project contributes to the following indicators 13.3.2 Number of countries that have communicated the strengthening of institutional, systemic and individual capacity-building to implement adaptation, mitigation and technology transfer, and development actions” and following target 13.3. Improve education, awareness-raising and human

and institutional capacity on climate change mitigation, adaptation, impact reduction and early warning.

| YEAR | BASELINE ESTIMATE | PROJECT ESTIMATE | NET BENEFIT |
| --- | --- | --- | --- |
| 19/04/2025-31/12/2025 | 18,415 | 0 | 18,415 |
| 2026 | 26,154 | 0 | 26,154 |
| 2027 | 26,154 | 0 | 26,154 |
| 2028 | 26,154 | 0 | 26,154 |
| 2029 | 26,154 | 0 | 26,154 |
| 2030 | 26,154 | 0 | 26,154 |
| 2031 | 26,154 | 0 | 26,154 |
| 01/01/2032-18/04/2032 | 7,738 | 0 | 7,738 |
| Total | 183,077 | 0 | 183,077 |
| Total number of crediting years | 7 |  |  |
| Annual average over the crediting period | 26,154 | 0 | 26,154 |

##### B.7. Monitoring plan

B.7.1 Data and parameters to be monitored

SDG 7: Affordable and Clean Energy

7.2.1 “Renewable energy share in the total final energy consumption

| Data / Parameter | EG Pj,grid,y |
| --- | --- |
| Unit | MWh |
| Description | Quantity of electricity generated and supplied by the project power plant to the grid in year y |
| Source of data | EPIAS Records |
| Value(s) applied | 41,000.000 |
| Measurement methods and procedures | The net electricity generation supplied to the grid will be measured continuously by UEDAS meters (both main and spare) and recorded monthly. |
| Monitoring frequency | Continuous measurement and at least monthly recording. (Automatic meter reading system-OSOS) CURRENT METERS Electricity Meter(Primary); Electricity Meter (Secondary). Manufacturer; Landis; EMH. Model; Gyr; LZQJ-XC-P2FB. Serial number; 51052836; 6839363. Date of installation; 06/10/2017; 10/11/2017. Date of initial calibration; 15/01/2015; 07/06/2017. The accuracy of meters; 0.2s active 0.5 re-active; 0.2s active 0.5 re-active. Calibration frequency: According to the Article 9 of the relevant regulation , periodical inspections of “gauges for electric, water, coal gas, natural gas and, current and voltage measuring transformers will be made once in 10 years”. This is in line with the monitoring plan and national requirements. UEDAŞ is deciding when to carry out the next calibration. The Project owner has no control over or access to the measurement devices and is not entitled to perform any type of maintenance or calibration. Date of initial calibration: The calibration of the monitoring equipment was carried out according to the information provided in the PDD. The PDD mainly includes the following obligation for the calibration of the appropriate meters: “UEDAŞ is responsible for calibration and maintenance of the devices. If any difference occurs between primary and secondary device UEDAŞ performs necessary calibration” |
| QA/QC procedures | - Measurements are undertaken using energy meters. - Concerning metering system accuracy, project participant has to comply with relevant national legislation. The project must ensure that the metering devices are in line with the technical requirements which are set out by the Communiqué for Metering Devices to be used in the Electricity Market, which describes the minimum accuracy requirement the metering devices have to fulfil, which are categorized according to the installed capacity. - Maintenance and calibration of UEDAŞ meters will be carried out according to the System Usage Agreement. Since UEDAŞ meters are sealed by UEDAŞ the project proponent cannot intervene with the devices. - Main source of electricity generation and consumptions are EPIAS records. And they will be crosschecked with the “Monthly electricity meter readings" records (OSOS-OSF) |
| Purpose of data | Baseline/emission reductions calculations |
| Additional comment | - |

SDG 8: Decent Work and Economic Growth

8.5.2. Unemployment rate, by sex, age and persons with disabilities

| Data / Parameter | Number of employment generation |
| --- | --- |
| Unit | Number |
| Description | Number of people employed directly due to the project activity |
| Source of data | SGK Records |
| Value(s) applied | The project provides 7 employments |
| Measurement methods and procedures | The total number of persons working in the plant would be calculated based on the SGK Records |
| Monitoring frequency | Once for each monitoring period |
| QA/QC procedures | Social insurance registries of employees will be provided annually. |
| Purpose of data | - |
| Additional comment | - |

| Relevant SDG Indicator | 8.8.2 Increase in national compliance of labour rights (freedom of association and collective bargaining) based on International Labour Organization (ILO) textual sources and national legislation, by sex and migrant status. |
| --- | --- |
| Data / Parameter | Health and Safety Training Records |
| Unit | Number of people per monitoring period |
| Description | Number of people trained on health and safety issues during per monitoring period |
| Source of data | Training Records or Certificates |
| Value(s) applied | The project will provide health and safety training to employees at each monitoring period |
| Measurement methods and procedures | The total number of Health and Safety training based on Training Records or Certificates |
| Monitoring frequency | Once for period each monitoring |
| QA/QC procedures | Training records or certificates will be provided |
| Purpose of data | Monitoring the health and safety trainings of employees to demonstrate contribution to SDG8-8.8 Protect labour rights and promote safe and secure working environments for all workers, including migrant workers, in particular women migrants, and those in precarious employment |
| Additional comment | n.a |

SDG 13 Climate Action

13.3.2 Number of countries that have communicated the strengthening of institutional, systemic and individual capacity-building to implement adaptation, mitigation and technology transfer, and development actions” and following.

| Data / Parameter | ERy |
| --- | --- |
| Unit | tCO2/y |
| Description | Emission Reductions in year y (t CO2/yr) As per ACM0002 V 22.0, the baseline emissions (emission reductions) are calculated as the net electricity generated by the project activity, multiplied with the baseline emission factor for the project grid. |
| Source of data | Measured and calculated. (The emission reduction value the emission factor of the grid to which the project exports electricity (0.6379 tCO2/MWh) and net electricity generated) |
| Value(s) applied | 26,154 tCO2 |
| Measurement methods and procedures | Please see B.6.2 for more detailed description of the monitoring plan. |
| Monitoring frequency | Once for each monitoring period |
| QA/QC procedures | Republic of Turkey Ministry of Energy in Emission Factor 2021 and registered PDD |
| Purpose of data | - |
| Additional comment | - |

B.7.3 Other elements of monitoring plan

According to the Turkish Law and Regulations, the methods of monitoring the net electricity fed to the grid and quality control and assures are explained below:

Data processing and archiving: Monitoring data is collected in accordance with the agreement done between the project owner and UEDAŞ Electricity Distribution Company (UEDAŞ) which provides the infrastructure for the connection to the national grid. The metering system is defined in the agreement as two groups: main meter and secondary meter. The design of the metering system is checked and approved by UEDAŞ before commissioning of the plant. The technical specifications of the power meters should be in line with Measure and Metering Devices Regulation by Ministry of Industry and Trade. In addition, the Communique for Power Meters announced by Energy Market Regulations Authority (EMRA) requires all meters to be in line with either Turkish Standards Institution or International Electro Technical Commissions Standards. The meters are placed at the point the electricity is fed to the grid and sealed on behalf of both parties. This prevents any intervention and assures the accuracy and quality of the measurements. All requirements and specifications of the meters will be done according to Communique on the counter to be used in the Electricity Market by Energy Market Regulatory Authority on 22/04/2011. The Enercon SCADA system also stores various data (e.g. electricity generated by each turbine, energy supplied etc.) electronically.

Data has been stored electronically, during the crediting period and at least two years after the last issuance of credits for the wind farm project activity in the concerning crediting period. The project participants also archived a hardcopy of meter reading protocols, scanned them, and stored them. The invoices are kept by the Project owner as hardcopies. Furthermore, the EPIAS system stores the reports electronically, which is accessible to the Project owner whenever necessary.

The project’s capacity was increased to 27.75 MW in 2019.

And monitoring net energy generation (SDG7), PP will simply subtract the SCADA values of unregistered turbines from gross generation data of EPIAS.

QA/QC procedures: The main and secondary meter readings are recorded monthly and cross-checked whether calibration is required. The capacity of the transmission line connected is to 34.5 kV, the accuracy class for power meters have been defined in the Communiqué for Power Meters.  The calibration frequency of the meters is 10 years. It is under the responsibility of UEDAŞ. Since UEDAŞ meters are sealed by UEDAŞ, the project proponent cannot intervene with the devices. The net electricity export/supplied to a grid is the difference between the measured quantities of the grid electricity export and the import. Data measured by meters have been crosschecked with the Monthly Electricity Meter Reading records.

#### Roles and responsibilities: The authority and responsibility for registration, monitoring, measurement, reporting and reviewing of the data rests with the project proponent. PP proposed the following structure for data monitoring, collection, data archiving and calibration of equipment’s for this project activity.

#### Plant engineer is responsible for the information flow and monitoring procedures in the name of the Project owner. These responsibilities include proper implementation of the monitoring plan, ensuring the information flow between the Project owner company and the VVB and management of the monitoring and verification procedures. The Electrical Engineer of Cataltepe 16 MW Wind Farm Project, Turkey, responsible for monitoring issues on site.

The internal control procedures maintain the reliability and accuracy in the data transfer and calculations. The plant personal records the data on regular basis from both meters and compares the values for consistency. The responsible engineer performs regular checks of this procedure each month and controls the monthly data of main and second meters. If any difference occurs between the two meters, UEDAŞ has to be informed for further actions. Reliability and accuracy of monthly values is reached by comparative readings both from the project participant and UEDAŞ, where high accuracy is guaranteed and needed by the requirements of billing purposes.

*The Service Technician can be changed according to their work schedule. And Alize Enerji Elektrik Üretim A.Ş. has only responsible of wind farm electrical engineer, HV Switchgear Operators, Security personals and forest officer. (7 people).

#### SECTION C. DURATION AND CREDITING PERIOD

##### C.1. Duration of project

C.1.1 Start date of project

10/08/2008 The investment decision is met by ordering wind turbines on this date which is the starting date of the Project activity.

C.1.2 Expected operational lifetime of project

25 years and o months

##### C.2. Crediting period of project

Renewable crediting period is chosen for the Cataltepe 16 MW Wind Farm Project, Turkey

##### C.2.1 Start date of crediting period

##### Starting and ending date of the first crediting period:  19/04/2011-18/04/2018

Starting and ending date of the second crediting period:  19/04/2018-18/04/2025

Starting and ending date of the second crediting period:  19/04/2025-18/04/2032

C.2.2 Total length of crediting period

7 years and 0 months. This crediting period is third and last crediting period.

Date of the third crediting period: 19/04/2025-18/04/2032

#### SECTION D. SUMMARY OF SAFEGUARDING PRINCIPLES AND GENDER SENSITIVE ASSESSMENT

##### D.1 Safeguarding Principles that will be monitored

A completed Safeguarding Principles Assessment is in Appendix 1, ongoing monitoring is summarised below.

| Relevant SDG Indicator/Safeguarding Principle | Safeguarding Principle 9.4: Release of pollutants |
| --- | --- |
| Data / Parameter | Water Quality and Quantity (Disposal of the waste water) |
| Unit | N/A |
| Description | During the construction and operation phases, domestic wastewater produced by workers collected in impermeable septic tanks. This wastewater are collected by vacuum trucks of the Metropolitan Municipality of Balıkesir and disposed according to Regulation on Waste Water Control. |
| Source of data | Records of transfer of waste water from power plant by vacuum truck |
| Value(s) applied | N/A |
| Measurement methods and procedures | N/A |
| Monitoring frequency | Once for each monitoring period |
| QA/QC procedures | N/A |
| Purpose of data | To monitor compliance to Safeguarding Principle 4.3.4 (Release of pollutants) |
| Additional comment | - |

| Relevant SDG Indicator/Safeguarding Principle | Safeguarding Principle 9.5: Hazardous and Non-hazardous Waste |
| --- | --- |
| Data / Parameter | Waste oil disposal |
| Unit | N/A |
| Description | Waste oil produced have been collected in an oil-proof container and disposed via accredited abatement companies |
| Source of data | Official record by accredited abatement companies for regular transfer of waste oil from power plant |
| Value(s) applied | N/A |
| Measurement methods and procedures | N/A |
| Monitoring frequency | Once for each monitoring period |
| QA/QC procedures | N/A |
| Purpose of data | To monitor compliance to Safeguarding Principle 9.5 (Hazardous and Non-hazardous Waste) |
| Additional comment | Regarding the waste oil used as lubricant in the turbines, national legal disposal requirements have been applied. Licensed private companies have collected the waste oil on site and dispose it properly. The selected Enercon turbines have minimal moving components and can operate for years without oil change. The turbines are also equipped with oil absorption systems which prevent any leaks, thereby minimizing the risk of spillage and soil contamination. |

| Relevant SDG Indicator/Safeguarding Principle | Principle 9.10 High Conservation Value Areas and Critical Habitats |
| --- | --- |
| Data / Parameter | Birds observation |
| Unit | N/A |
| Description | Ensuring that the project creates no disturbance to the regional habitat |
| Source of data | Regular site vetting for bird/bat nests and carcasses and recording on logbook by appointed personnel |
| Value(s) applied | N/A |
| Measurement methods and procedures | Observations around the project area will be done for monitoring birds and carcass |
| Monitoring frequency | Once for each monitoring period |
| QA/QC procedures | Records of regular observations will be kept |
| Purpose of data | To monitor compliance to Safeguarding Principle 9.10 |
| Additional comment | - |

##### D.2. Assessment that project complies with GS4GG Gender Sensitive requirements

| Question 1 - Does the project reflect the key issues and requirements of Gender Sensitive design and implementation as outlined in the Gender Policy? Explain how. | As per Gold Standard Gender Policy (https://globalgoals.goldstandard.org/101-1-g-gold-standard-gender-policy/), p. 10 “Foundational gender-sensitive requirement - This strengthens Gold Standard’s ‘do no harm’ approach and addresses safeguards to prevent or mitigate adverse impacts on women or men and girls and boys. Such action is mandatory for all projects seeking Gold Standard certification and includes compliance with the gender ‘do no harm’ safeguards, gender gap analysis and gender sensitive stakeholder consultations.” The project being a wind power project is not gender sensitive project. The project does not adversely impact women or men. |
| --- | --- |
| Question 2 - Does the project align with existing country policies, strategies and best practices? Explain how. | The project does not involve and is not complicit in any form of discrimination based on gender, race, religion, sexual orientation or any other basis. Turkey is party to Convention on Discrimination since 1972 to prevent any form of discrimination. (https://www.mfa.gov.tr/convention-on-the-elimination-of-all-forms-of-discrimination-against-women.en.mfa) |
| Question 3 - Does the project address the questions raised in the Gold Standard Safeguarding Principles & Requirements document? Explain how. | The Project shall complete the following gender assessment questions (https://globalgoals.goldstandard.org/101-4-gold-standard-for-the-global-goals-safeguarding-principles-requirements/) below: 1. Is there a possibility that the Project might reduce or put at risk women’s access to or control of resources, entitlements and benefits? No, the Project is wind power project does not reduce access to or control of resources for women. 2. Is there a possibility that the Project can adversely affect men and women in marginalised or vulnerable communities (e.g., potential increased burden on women or social isolation of men)? No, the Project beneficiaries in terms of employment and social upliftment of the area are common for both the gender. The project does not involve in any form discrimination in any kind of form. 3. Is there a possibility that the Project might not take into account gender roles and the abilities of women or men to participate in the decisions/designs of the project’s activities (such as lack of time, childcare duties, low literacy or educational levels, or societal discrimination)? No, this project does not involve in any form discrimination in any kind of form. 4. Does the Project take into account gender roles and the abilities of women or men to benefit from the Project’s activities (e.g., Does the project criteria ensure that it includes minority groups or landless peoples)? Yes the project takes into account gender roles and abilities of women/men. Job profile is allocated based on the type of work to be carried out. 5. Does the Project design contribute to an increase in women’s workload that adds to their care responsibilities or that prevents them from engaging in other activities? No, on the contrary the project leads to increased availability of electricity in the regional grid thereby uplifting the living standards. 6. Would the Project potentially reproduce or further deepen discrimination against women based on gender, for instance, regarding their full participation in design and implementation or access to opportunities and benefits? No, since the project is a renewable electricity generation project, thus it will not have discriminated against women. 7.Would the Project potentially limit women’s ability to use, develop and protect natural resources, taking into account different roles and priorities of women and men in accessing and managing environmental goods and services? No, in fact, the project leads to improved electricity in the regional grid. |
| Question 4 - Does the project apply the Gold Standard Stakeholder Consultation & Engagement Procedure Requirements? Explain how. | The project is applying for regular GS registration and the Stakeholder Consultation & Engagement Procedure Requirements has been done as explained below. The project owner has organized the complimentary stakeholder consultation meeting according to related requirements of GS4GG for Cataltepe 16 MW Wind Farm Project, Turkey. In developing a Project, “taking gender issues into account would require that local stakeholder consultation processes reach a wide range of community representatives in ways that ensure equal and effective participation of women and men in consultation, and that gender issues are fully factored into comprehensive social and environmental impact assessments." The general outcome of the stakeholder consultation interview was positive verbally and mukhtar of the Kocadağ village has given their comment with a letter. (This letter has been provided to the VVB for CP renewal crediting process.) That’s why there is no need to make physical local stakeholder consultation meeting for renewal crediting period. The stakeholders stated that they are in favour of the project and underlined the significant contribution of the project to regions sustainable image and stressed the importance of renewable and clean energy every time. |

#### SECTION E. SUMMARY OF LOCAL STAKEHOLDER CONSULTATION

##### E.1 Summary of stakeholder mitigation measures

The stakeholders to the project activity was defined jointly by the project owner and Rüzgar Karbon ve Enerji Danışmanlık Sanayi Ticaret Limited Şirketi , who is the consultant to the GS project cycle, taking into account the characteristics and possible impacts of the project activity.

Complementary Stakeholder Consultation

The documents including the non-technical project summary for renewal crediting period and the Environmental and Social Impact questionnaire related with the Sustainable Development Indicators (SD Assessment) (according to GS4GG requirements) have been delivered to the stakeholders who have been selected as stakeholders to the project activity. The main communication method has been through e-mails and delivery of hard copies of the mentioned documents for those who don’t have an email address (specifically the locals) to the mukhtar of Kocadağ village.

The feedback request for renewal crediting period has started on 01/08/2024 with sending out the documents to the stakeholders officially, and verbally on the same day the mukhtar of Kocadağ village and no  comment or feedback has been received until 01/10/2024.

The beginning of Complementary Stakeholder Feedback Round has been announced from the mukhtar’s offices, mosques, and coffee houses of the Kocadağ village. This public leaflet announcement, emails and documents contain information such as location of available these documents, the procedure to commit comments, timing, and the contact's details.

##### The stakeholders stated that they are in favour of the project and underlined the significant contribution of the project to regions sustainable image and stressed the importance of renewable and clean energy.

List of stakeholders invited to the Complementary stakeholder consultation for the renewal of crediting period:

| Category code | Organisation (if relevant) | Name of invitee | Way of invitation | Date of invitation | Confirmation received? Y/N |
| --- | --- | --- | --- | --- | --- |
| C | Ministry of Environment and Urbanization | Mehrali Ecer | Via E-mail and phone mecer@cob.gov.tr 0 312 5863052 | 01/08/2024 | Y |
| C | Ministry of Environment and Urbanization | General | Via E-mail and phone iklim@csb.gov.tr 0 312 5863167 | 01/08/2024 | Y |
| B | Balıkesir Provincial Directorate of Environment and Urban Planning | General | Via E-mail and phone balikesir@csb.gov.tr 0 266 224 47 15 | 01/08/2024 | Y |
| B | Balıkesir Forest Regional Directorate | General | Via E-mail and phone balikesirobm@ogm.gov.tr 0 266 243 66 92 | 01/08/2024 | Y |
| B | Balıkesir Provincial Directorate of Food, Agriculture and Livestock | General | Via E-mail and phone balikesir@tarimorman.gov.tr 0 266 246 26 70 | 01/08/2024 | Y |
| B | Mayor of Balıkesir | Yücel Yılmaz | Via E-mail and phone balikesir.bbb@hs01.kep.tr 0266 239 15 19 | 01/08/2024 | Y |
| D | Balıkesir Chamber of Commerce and Endustry | General | Via E-mail and phone ibso@bso.org.tr info@batu.org.tr 0 266 281 11 80 | 01/08/2024 | Y |
| D | REC Regional Environmental Centre | General | Via E-mail info@rec.org.tr | 01/08/2024 | Y |
| A | Headman of Kocadağ Village | Ahmet Küsür | Via face to face | 01/08/2024 | Y |
| F | Greenpeace | Genaral | Via E-mail and phone bilgi.tr@greenpeace.org 0 212 292 76 19 | 01/08/2024 | Y |
| F | WWF | General | Via E-mail info@wwf.org.tr 0212 528 20 30 | 01/08/2024 | Y |
| E | Gold Standard Foundation | General | Via E-mail help@goldstandard.org | 01/08/2024 | Y |
| F | REEP | Info | Via E-mail info@reeep.org | 01/08/2024 | Y |
| F | MERCY CORPS | Bria Justus | Via E-Mail bjustus@mercycorps.org | 01/08/2024 | Y |
| F | Concern Health Education Project | Mr. Isaac Ampomah | Via E-mail Isaac.ampomah34@gmail.com | 01/08/2024 | Y |

##### E.2 Final continuous input / grievance mechanism

# Comments apart from the meetings

Until the GS registration of the project activity in 2011 and 2024 complimentary local stakeholder process for second crediting period no comments from the invited stakeholders apart from the meetings have been received, neither by phone calls, by e-mail, by post nor by fax during these seven operational years until 13st of May 2022.

The continuous input/grievance mechanism expression method and discussed with the locals which place is convenient for the grievance book (logbook) during the LSC meeting. As a result of discussion, the grievance book was given to the mukhtar of Kocadağ village. At the same time, the contact details of the project owner, consultant and the GS Managers were shared with the stakeholders. All these details have been given in the logbook for stakeholders to make any comments they want to write. The PP has checked the comments in the book on a regular basis, and record responses. The grievance (logbook) book was checked and no complaints about the project until now. The PP are in a good relationship with the local stakeholders.

In addition, all these documents have been made available under the GS registry webpage as required by GS4GG.

| METHOD | INCLUDE ALL DETAILS OF CHOSEN METHOD (S) SO THAT THEY MAY BE UNDERSTOOD AND, WHERE RELEVANT, USED BY READERS. |
| --- | --- |
| Continuous Input / Grievance Expression Process Book (mandatory) | The process book has been located at mukhtar of Kocadağ village because of the stakeholders’ chosen place. Justification: Project Participant is checking the comments in the book on a regular basis, and record responses. They are respectful to the views of stakeholders and suggest alternative solutions or compromises wherever possible. It is chosen as main mechanism. |
| GS Contact (mandatory) | help@goldstandard.org |
| Other | Project Owner (Alize Enerji Elektrik Üretim A.Ş.) Address: Mazhar Osman Sok. No:9/1 Feneryolu Kadıköy İSTANBUL Tel: +90 (216) 336 42 23 E-Mail: gokhan.ulug@demirerholding.com Project Developer: Rüzgar Karbon ve Enerji Danışmanlık Sanayi Ticaret Limited Şirketi Tel: +90 216 355 09 68 E-Mail: cagla@ruzgardanismanlik.net Justification: This information has been explained to the local people and also provided in the Continuous Input / Grievance Expression Process Book |

### Appendix 1 - Safeguarding Principles AssessmenT

| SOCIAL SAFEGUARDING PRINCIPLES |  |  |  |  |
| --- | --- | --- | --- | --- |
| Reference | Question | Response |  |  |
| P.1 ¦HUMAN RIGHTS |  |  |  |  |
| P.1.1.1 | Does the Project Developer, its representatives and the Project respect internationally proclaimed human rights and are they complicit in violence or human rights abuses of any kind as defined in the Universal Declaration of Human Rights? | ☒ YES ☐ NO |  |  |
| P.1.1.1 | Have local communities or individuals raised human rights concerns regarding the project (e.g. during the stakeholder engagement process, grievance processes, public statements)? | ☒ YES ☐ NO |  |  |
| P.1.1.2 | Is there a risk that rights-holders (e.g. Project-affected stakeholders) do not have the capacity to claim their rights? | ☒ YES ☐ NO |  |  |
| P.1.1.3 | Does this project undermine national or regional measures for the realization of the right to development? | ☒ YES ☐ NO |  |  |
| If the answer to any of the questions above is "yes," please explain the reason and how the project will ensure compliance with applicable requirements. |  |  |  |  |
| The Project is not in conflict with the economic livelihood or other issue of the local community. Thus, the Project does not cause any human rights abuse and respects internationally proclaimed human rights issue. Project activities are not expected to cause any human rights abuse. As a member of United Nations and part of UN Agreement on Human Rights, it is ensured by law in Turkey that no action can be taken against human rights. |  |  |  |  |
| Would the project potentially involve or lead to: |  |  |  |  |
| P.1.1.1 | adverse impacts on enjoyment of the human rights (civil, political, economic, social or cultural) of the affected population and particularly of marginalized groups? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.1.1.1 | inequitable or discriminatory impacts on affected populations, particularly people living in poverty or marginalized or excluded individuals or groups, including persons with disabilities? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.1.1.2 | restrictions in availability, quality of and/or access to resources or basic services, in particular to marginalized individuals or groups, including persons with disabilities? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.1.1.3 | exacerbation of conflicts among and/or the risk of violence to project-affected communities and individuals? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| Briefly describe below how the project incorporates a human rights-based approach. For example, by describing how the project design: |  |  |  |  |
| As explained above. |  |  |  |  |
| P.2 ¦GENDER EQUALITY AND WOMEN’S EMPOWERMENT |  |  |  |  |
| P.2.1.1 | Have women’s groups/leaders raised gender equality concerns regarding the project, (e.g. during the stakeholder engagement process, grievance processes, public statements)? | ☐ YES ☒ NO |  |  |
| P.2.1.2 | Does the project undermine the principles of non-discrimination, equal treatment, and equal pay for equal work? | ☐ YES ☒ NO |  |  |
| P.2.1.2 | Does the project prevent men and women from having equal opportunities to participate in identified tasks and activities, whether through paid work, volunteer work, or community contributions, as appropriate? | ☐ YES ☒ NO |  |  |
| P.2.1.2 | Does the project limit the participation of women or men based on pregnancy, maternity/paternity leave, or marital status? | ☐ YES ☒ NO |  |  |
| P.2.1.2 | Is information about project objectives being communicated in a way that is inappropriate for the local context and not tailored to the methods of understanding of both women and men, which could hinder their participation? | ☐ YES ☒ NO |  |  |
| P.2.1.3 | Has the project assessed gender risks without referencing the country's gender strategy or equivalent national commitment? | ☐ YES ☒ NO |  |  |
| P.2.1.4 | Has expert stakeholder(s) been involved, and has their input been requested for the project design on gender equality and women's empowerment? | ☐ YES ☒ NO |  |  |
| If the answer to any of the questions above is "yes," please explain the reason and how the project will ensure compliance with applicable requirements. |  |  |  |  |
| The Project does not diconsider gender roles and in fact actively engages both women and men. Community meetings are scheduled considering participation by both Men and Women. The project does not adversely affect men and women in marginalized or vulnerable communities because it creates stable jobs and incomes for local men and women. The project does not reduce or put at risk women’s access to or control of resources, entitlements. Cataltepe 16 MW Wind Farm Project, Turkey does not involve in any form discrimination in any kind of form. Turkey ratified ILO 100 Equal Remuneration Convention and 111 Discrimination (Employment and Occupation) Convention. Therefore, the safeguarding principle related to Gender Equality and Women’s Rights is not triggered during the project design and implementation. The project does not have any scope to apply gender strategy. |  |  |  |  |
| Would the project potentially involve or lead to: |  |  |  |  |
| P.2.1.1 | adverse impacts on gender equality and/or the situation of women and girls? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.2.1.1 | exacerbation of risks of gender-based violence? For example, through the influx of workers to a community, changes in community and household power dynamics, increased exposure to unsafe public places and/or transport, etc. | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.2.1.2 | reproducing discriminations against women based on gender, especially regarding participation in design and implementation or access to opportunities and benefits? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.2.1.2 | limitations on women’s ability to use, develop and protect natural resources, taking into account different roles and positions of women and men in accessing environmental goods and services? For example, activities that could lead to natural resources degradation or depletion in communities who depend on these resources for their livelihoods and well being. | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| Briefly describe below how the project is addressing any identified risk to gender equality and women’s empowerment. |  |  |  |  |
| There is no possibility of adverse effect because of this project. The project does not decrease women´s access to or control of resources. The project does not discriminate on basis of gender, caste or religion. |  |  |  |  |
| P.3 ¦COMMUNITY HEALTH AND SAFETy |  |  |  |  |
| P.3.1.1 | Does the project involve potential risks to the health and safety of affected communities during its life cycle? | ☐ YES ☒ NO |  |  |
| P.3.1.2 | Does the project involve any potential risks to the workers' safety and health? | ☐ YES ☒ NO |  |  |
| If the answer to any of the questions above is "yes," please explain the reason and how the project will ensure compliance with applicable requirements. |  |  |  |  |
| The project owner is committed to the safe and healthy working conditions during all phases of the project. All employees will attend trainings health & safety. This issue is protected by Labor Law and regulations and UN Agreement on Human Rights . |  |  |  |  |
| Would the project potentially involve or lead to: |  |  |  |  |
| P.3.1.1 | construction and/or infrastructure development (e.g. roads, buildings, dams)? | ☐ YES ☒ NO |  |  |
| P.3.1.2 | air pollution, noise, vibration, traffic, injuries, physical hazards, poor surface water quality due to runoff, erosion, sanitation? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.3.1.2 | harm or losses due to failure of structural elements of the project (e.g. collapse of buildings or infrastructure)? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.3.1.2 | risks of water-borne or other vector-borne diseases (e.g. temporary breeding habitats), communicable and noncommunicable diseases, nutritional disorders, mental health? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.3.1.2 | transport, storage, and use and/or disposal of hazardous or dangerous materials (e.g. explosives, fuel and other chemicals during construction and operation)? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.3.1.2 | adverse impacts on ecosystems and ecosystem services relevant to communities’ health (e.g. food, surface water purification, natural buffers from flooding)? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| Briefly describe below how the project is addressing any identified risk related to community health and safety. |  |  |  |  |
| All the employees will be trained about health and safety issues during operation phase of the project. |  |  |  |  |
| P.4 ¦CULTURAL HERITAGE, INDIGENOUS PEOPLE, DISPLACEMENT AND RESETTLEMENT |  |  |  |  |
| P.4.1 ¦Sites of Cultural and Historical Heritage |  |  |  |  |
| P.4.1.1. | Does the project involve altering, damaging, or removing sites, objects, or structures of significant cultural heritage? | ☐ YES ☒ NO |  |  |
| If the answer to question above is "yes," please explain the reason and how the project will ensure compliance with applicable requirements. |  |  |  |  |
| During the operation of the Cataltepe 16 MW Wind Farm Project, Turkey has not be any damage, alteration or removal to the critical cultural heritage. Cultural and environmental heritage is protected against alteration, damage or removal by the law . |  |  |  |  |
| Would the project potentially involve or lead to: |  |  |  |  |
| P.4.1.1 | activities adjacent to or within a cultural heritage site? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.4.1.1 | significant excavations, demolitions, movement of earth, flooding or other environmental changes? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.4.1.1 | alterations to landscapes and natural features with cultural significance? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.4.1.1 | adverse impacts to sites, structures, or objects with historical, cultural, artistic, traditional or religious values or intangible forms of culture (e.g. knowledge, innovations, practices)? (Note: projects intended to protect and conserve Cultural Heritage may also have inadvertent adverse impacts) | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.4.1.2 | utilization of tangible and/or intangible forms (e.g. practices, traditional knowledge) of Cultural Heritage for commercial or other purposes? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.4.1.2 | If answer to question above is “YES” or “POTENTIALLY” - are the communities made aware of their right under the law, scope and nature of proposed development and its potential consequences? | ☐ YES ☐ NO ☒ NA |  |  |
| P.4.1.3 | If answer to question above is “YES” - does the project provide equitable sharing of benefits from commercialization of such knowledge, innovation, or practice, consistent with their customs and traditions? | ☐ YES ☐ NO ☒ NA |  |  |
| P.4.1.4 | Are opinions and recommendations of an Expert Stakeholder(s) sought and demonstrated as being included in the project design? | ☐ YES ☐ NO ☒ NA |  |  |
| P.4.1.4 | If answer to question above is “YES”, have project design been changed, modified, updated considering opinions and recommendations of an Expert Stakeholder? | ☐ YES ☐ NO ☒ NA |  |  |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |  |  |
| The project’s majority area is forest land and most of them belongs to Forestry Directorate |  |  |  |  |
| P.4.2 ¦Forced Eviction and Displacement |  |  |  |  |
| P.4.2.1 | Does the project involve any risks related to involuntary relocation of people? | ☐ YES ☒ NO |  |  |
| If the answer to question above is "yes," please explain the reason and how the project will ensure compliance with applicable requirements. |  |  |  |  |
| The project does not involve any settlement areas. Thus, this project does not cause the physical or economic relocation of peoples. The Land for the project have been approved by the several local Authorities. |  |  |  |  |
| Would the project potentially involve or lead to: |  |  |  |  |
| P.4.2.1 | risk of forced evictions or involuntary relocation of people? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.4.2.2 | temporary or permanent and full or partial physical displacement (including people without legally recognizable claims to land)? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.4.2.2 | economic displacement (e.g. loss of assets or access to resources due to land acquisition or access restrictions – even in the absence of physical relocation)? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.4.2.2 | If answer to question above is “YES” or “POTENTIALLY”, - has the project developed Resettlement Action Plan or Livelihood Action Plan in consultation and agreement with affected individual, group or community? - has the project integrated Resettlement Action Plan or Livelihood Action Plan into the Project design? | ☐ YES ☐ NO ☒ NA |  |  |
| P.4.2.3 | Are opinions and recommendations of an Expert Stakeholder(s) sought and demonstrated as being included in the project design? | ☐ YES ☐ NO ☒ NA |  |  |
| P.4.2.3 | If answer to question above is “YES”, have project design been changed, modified, updated considering opinions and recommendations of an Expert Stakeholder? | ☐ YES ☐ NO ☒ NA |  |  |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |  |  |
| N/A |  |  |  |  |
| P.4.3 ¦LAND TENURE AND OTHER RIGHTS |  |  |  |  |
| P.4.3.1 | Does the project involve any risks related to identifying and managing legitimate tenure rights that may be affected by the project? | ☐ YES ☒ NO |  |  |
| If the answer to question above is "yes," please explain the reason and how the project will ensure compliance with applicable requirements. |  |  |  |  |
| This Cataltepe 16 MW Wind Farm Project, Turkey is not involving land-use tenure and does not require any changes to land tenure arrangements or other rights. Furthermore, there is not any uncertainties with regards land tenure, access rights, usage rights or land ownership. The land of the project had approved by the several local Authorities. |  |  |  |  |
| Would the project potentially involve or lead to: |  |  |  |  |
| P.4.3.1 | impacts on or changes to land tenure arrangements and/or community based property rights/customary rights to land, territories and/or resources? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.4.3.1 | uncertainties with regards to land tenure, access rights, usage rights or land ownership? Examples include, but are not limited to water access rights, community-based property rights and customary rights. | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.4.3.2 | Changes in legal arrangements, if yes, are the changes done in line with relevant laws and regulations? | ☐ YES ☐ NO ☒ NA |  |  |
| P.4.3.2 | Changes in legal arrangements, if yes, are these changes agree with free, prior, and informed consent of the involved stakeholders? | ☐ YES ☐ NO ☒ NA |  |  |
| P.4.3.3 | Does the Project Developer hold uncontested land title for the entire Project Boundary? | ☐ YES ☐ NO ☒ NA |  |  |
| P.4.3.4 | Are opinions and recommendations of an Expert Stakeholder(s) sought and demonstrated as being included in the project design? | ☐ YES ☐ NO ☒ NA |  |  |
| P.4.3.4 | If answer to question above is “YES”, have project design been changed, modified, updated considering opinions and recommendations of an Expert Stakeholder? | ☐ YES ☐ NO ☒ NA |  |  |
| P.4.3.5 | Have project developer in consultation with stakeholders established a functioning mechanism to receive, process, resolve, communicate and record grievances? | ☒ YES ☐ NO ☐ NA |  |  |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |  |  |
| As explained above |  |  |  |  |
| P.4.4 ¦INDIGENOUS PEOPLES |  |  |  |  |
| P.4.4.1 | Does the project involve Indigenous People within the Project area of influence who may be affected directly or indirectly by the Project? | ☐ YES ☒ NO |  |  |
| If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |  |  |
| No cultural heritage/ indigenous people are displaced due to the project |  |  |  |  |
| Would the project potentially involve or lead to: |  |  |  |  |
| P.4.4.1 ¦ | areas where indigenous peoples are present (including project area of influence) | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.4.4.1 ¦ | areas, land and territory claimed by indigenous peoples? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.4.4.1 ¦ | impacts (positive or negative) to the human rights, lands, natural resources, territories, and traditional livelihoods of indigenous peoples? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.4.4.7 ¦ | If answer to above questions is ’’YES’’ or “POTENTIALLY”, - Is it determined that the proposed project may affect the rights, lands, resources, or territories of indigenous people? - Has an "Indigenous People Plan" (IPP) or "Indigenous People Plan Framework" been elaborated and included in the project documentation? - Was the plan developed in accordance with the effective and meaningful participation of indigenous peoples and in accordance with UNDP Guidelines? | ☐ YES ☐ NO ☒ NA |  |  |
| P.4.4.3 ¦ | risk of forcibly removing indigenous people from their lands and territories? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.4.4.4 ¦ | utilization and/or commercial development of natural resources on lands and territories claimed by indigenous peoples? Consider, and where appropriate ensure, consistency with the answers under Principle 4.1 above | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.4.4.5 ¦ P.4.4.6 ¦ | If answer to question above is “YES” or “POTENTIALLY” - Did the project obtain free, prior and informed consent from indigenous people before taking their cultural, intellectual, religious, and/or spiritual property? - Does the project ensure that the indigenous people receive an equitable sharing of benefits resulting from the use of their traditional knowledge and practices? ? - Does the project ensure that the sharing of benefits resulting from the use of indigenous peoples' traditional knowledge and practices is culturally appropriate and inclusive? - Does the project ensure that the provision of equitable sharing of benefits does not impede land rights or equal access to basic services including health services, clean water, energy, education, safe and decent working conditions, and housing? | ☐ YES ☐ NO ☒ NA |  |  |
| P.4.4.8 ¦ | Does the project lack appropriate feedback and grievance channels for Indigenous Peoples and their representatives? | ☐ YES ☐ NO ☒ NA |  |  |
| P.4.4.8 ¦ | Has a grievance mechanism not been established at the beginning of programme or project implementation with due consideration given to customary dispute settlement mechanisms among the Indigenous Peoples concerned and will it remain operational throughout the project cycle? | ☐ YES ☐ NO ☒ NA |  |  |
| P.4.4.9 ¦ | Are opinions and recommendations of an Expert Stakeholder(s) sought and demonstrated as being included in the project design? | ☐ YES ☐ NO ☒ NA |  |  |
| P.4.4.9 ¦ | If answer to question above is “YES”, have project design been changed, modified, updated considering opinions and recommendations of an Expert Stakeholder? | ☐ YES ☐ NO ☒ NA |  |  |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |  |  |
| NA |  |  |  |  |
| P.5 ¦CORRUPTION |  |  |  |  |
| P.5.1.1 ¦ | Does the project involve, or is it complicit in, contributing to or reinforcing corruption or corrupt projects? | ☐ YES ☒ NO |  |  |
| P.5.1.1 ¦ | Does the project have a risk of encouraging bribery, kickbacks, or other unethical behavior? | ☐ YES ☒ NO |  |  |
| If the answer to any of the questions above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |  |  |
| Cataltepe 16 MW Wind Farm Project, Turkey does not involve and is not complicit in any kind of corruption Turkey has ratified UN Convention against Corruption and the OECD Convention on Combating Bribery of Foreign Public Officials in International Business Transactions. |  |  |  |  |
| ECONOMIC SAFEGUARDING PRINCIPLES |  |  |  |  |
| P.6 ¦Economic Impacts |  |  |  |  |
| P.6.1 ¦Labour Rights and Working Conditions |  |  |  |  |
| P.6.1.1 ¦ | Does the project involve, facilitate, or condone forced labor, or pose a potential risk of forced labor? | ☐ YES ☒ NO |  |  |
| P.6.1.1 ¦ | Does the project violate any labor or health and safety laws, international obligations, or ILO conventions? | ☐ YES ☒ NO |  |  |
| P.6.1.2 ¦ | Does the project violate the principles of equal opportunity and fair treatment in its employment decisions? | ☐ YES ☒ NO |  |  |
| P.6.1.3 ¦ | Does the project violate national laws, if available regarding non-discrimination in employment? | ☐ YES ☒ NO |  |  |
| P.6.1.4 ¦ P.6.1.5 ¦ | Does the project allow child labor? | ☒ YES ☐ NO |  |  |
| P.6.1.7 ¦ P.6.1.8 ¦ | Does the project have insufficient processes and measures in place to ensure the safety and health of project workers? | ☐ YES ☒ NO |  |  |
| P.6.1.9 ¦ | Does the project have insufficient measures to safeguard and support vulnerable project workers, such as women, people with disabilities, migrant workers, and young workers, and to prevent any kind of harassment, abuse, bullying, or exploitation, including gender-based violence (GBV)? | ☐ YES ☒ NO |  |  |
| P.6.1.10 ¦ | Does the project have no grievance mechanism available for workers to voice workplace concerns? Is information about this mechanism not provided to workers at the time of recruitment, or is it not easily accessible? | ☐ YES ☒ NO |  |  |
| If the answer to any of the questions above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |  |  |
| Alize Enerji Elektrik Üretim A.Ş. and their subcontractors complying with all relevant national laws. Alize Enerji Elektrik Üretim A.Ş. does not employ children in any shape or form for their works. Turkey has ratified ILO 138 Minumum Age Conventions and 182 Worst Forms of Child Labour Convention |  |  |  |  |
| Would the project involve or lead to or lack of: (note: applies to project and contractor workers) |  |  |  |  |
| P.6.1.1 ¦ | use of forced labour? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.6.1.1 ¦ | working conditions that do not meet national labour laws and international commitments? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.6.1.1 ¦ | working conditions that may deny freedom of association and collective bargaining? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.6.1.1 ¦ | documented working agreements with all individual workers if such agreements do not exist, or do not address working conditions and terms of employment, the project developer shall provide reasonable working conditions and terms of employment. | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.6.1.1 ¦ | use of migrant workers? if engaged, the developer shall ensure that they are engaged substantially equivalent terms and conditions to non-migrant workers carrying out similar work. | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.6.1.1 ¦ | making arrangements for basic services for workers? If yes, the project developer shall put in place and implement policies on the quality and management of the accommodation and provision of basic services in a manner consistent with the principles of non-discrimination and equal opportunity. Workers’ accommodation arrangements should not restrict workers’ freedom of movement or of association | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.6.1.2 ¦ | any form of discrimination or harassment based on factors unrelated to job requirements, such as gender, race, nationality, ethnicity, social or indigenous origin, religion or belief, disability, age, or sexual orientation? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.6.1.2 ¦ | any form of discrimination in any aspect of employment, such as recruitment, compensation, working conditions, training, job assignment, promotion, termination, or discipline? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.6.1.2 ¦ | measures to prevent and address harassment, intimidation, and/or exploitation, especially in regard to women? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.6.1.3 ¦ | discriminatory working conditions and/or lack of equal opportunity where national law provides provision to address non-discrimination in employment? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.6.1.4 ¦ | use of child labour? (including third-party engaged workers) | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.6.1.4 ¦ | adequate and verifiable mechanisms for age verification? | ☐ YES ☒ NO |  |  |
| P.6.1.7 ¦ | implementation of processes and measures for the safety and health of project workers? | ☒ YES ☒ NO |  |  |
| P.6.1.1 ¦ | safety and health training provisions, including on the proper use and maintenance of personal protective equipment conducted by competent persons and the maintenance of training records? | ☒ YES ☐ NO |  |  |
| P.6.1.1 ¦ | provision to record and document accidents, diseases, incidents, and any resulting injuries, illnesses, or deaths? | ☒ YES ☐ NO |  |  |
| P.6.1.1 ¦ | occupational health and safety risks due to physical, chemical, biological and psychosocial hazards (including violence and harassment) throughout the project life-cycle? | ☒ YES ☐ NO |  |  |
| P.6.1.1 ¦ | measures to protect vulnerable project workers from harassment, exploitation, and gender-based violence (GBV)? This includes women, people with disabilities, migrant workers, and young workers. | ☒ YES ☐ NO |  |  |
| P.6.1.1 ¦ | grievance mechanism available for workers to voice workplace concerns. | ☒ YES ☐ NO |  |  |
| P.6.1.1 ¦ | measures for due diligence and the establishment of policies and procedures to manage and monitor the performance of third-party employees in the project? | ☒ YES ☐ NO |  |  |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |  |  |
| All the employees have been trained about health and safety issues during operation phase of the project. The project owner is committed to the safe and healthy working conditions all phases of the project. This issue is protected by Labor Law and regulations and UN Agreement on Human Rights Alize Enerji Elektrik Üretim A.Ş. and appointed subcontractors will not involve in any form forced or compulsory labour Turkey has ratified ILO 29 Forced Labour Convention Furthermore, the Cataltepe 16 MW Wind Farm Project, Turkey has a positive impact on the social and economic benefits. |  |  |  |  |
| P.6.2 ¦Negative Economic Consequences |  |  |  |  |
| P.6.2.1 ¦ | Is there a risk of project failure during implementation or after project certification due to a lack of financial resources? | ☐ YES ☒ NO |  |  |
| P.6.2.2 ¦ | Does the project have potential negative impacts or pose a risk to the local economy? | ☐ YES ☒ NO |  |  |
| P.6.2.2 ¦ | Are there any potential risks or negative impacts this project may have on vulnerable or marginalized social groups, despite the benefits it may bring? | ☐ YES ☒ NO |  |  |
| If the answer to any of the questions above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |  |  |
| The project has only one activity and it is producing electricity using wind energy. It provides the produced energy to the national grid. Other than providing clean energy to the nation, it has no negative impact on local economy during and after project implementation. Furthermore, it has positive impact by providing employment, to local people. |  |  |  |  |
| Would the project involve or lead to: |  |  |  |  |
| P.6.2.2 ¦ | economic impacts (negative) to the local economy? |  | ☐ YES ☐ POTENTIALLY ☒ NO |
| P.6.2.2 ¦ | negative economic consequences during and after project implementation, e.g., for vulnerable and marginalized social groups in targeted communities? |  | ☐ YES ☐ POTENTIALLY ☒ NO |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |  |
| NA |  |  |  |
| P.7 ¦Climate and Energy |  |  |  |  |
| P.7.1 ¦GHG Emissions |  |  |  |  |
| P.7.1.1 ¦ | Does the project have a risk of increasing greenhouse gas emissions over the Baseline Scenario | ☐ YES ☒ NO |  |  |
| If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |  |  |
| The Project reduce the emission of 26,154 tCO2e/year compared to the Baseline Scenario as it replaces electricity generated from fossil fuel fired power plants with zero emissions electricity from the wind power plant |  |  |  |  |
| Would the project involve or lead to: |  |  |  |  |
| P.7.1.1 ¦ | increase greenhouse gas emissions over the Baseline Scenario? | ☒ YES ☐ POTENTIALLY ☒ NO |  |  |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |  |  |
| NA |  |  |  |  |
| P.7.2 ¦Energy supply |  |  |  |  |
| P.7.2.1 ¦ | Does the project pose a risk to the availability and reliability of energy supply to other users? | ☐ YES ☒ NO |  |  |
| If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |  |  |
| The Project’s purpose is to supply clean energy from the wind power plant to the national grid. It does not use energy from a local grid or power supply or fuel resource that provides for other local users. |  |  |  |  |
| Would the project involve or lead to: |  |  |  |  |
| P.7.2.1 ¦ | negative impact on the availability and reliability of energy supply to other users? | ☒ YES ☐ POTENTIALLY ☒ NO |  |  |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |  |  |
| NA |  |  |  |  |
| P.8 ¦Water |  |  |  |  |
| P.8.1 ¦Impact on Natural Water Patterns/Flows |  |  |  |  |
| P.8.1.1 ¦ | Does the project increase water usage to a level that will not allow for the maintenance of environmental flows? | ☐ YES ☒ NO |  |  |
| P.8.1.1 ¦ | Does the project result in the discharge of wastewater that does not meet the required standard for beneficial reuse and could therefore negatively impact the environmental flow? | ☐ YES ☒ NO |  |  |
| P.8.1.1 ¦ | Does the project have the potential risk to exceed the rate of recharge for the groundwater source? | ☐ YES ☒ NO |  |  |
| P.8.1.1 ¦ | Does the project involve any processes or activities that could contaminate the groundwater and render it unsuitable for use? | ☐ YES ☒ NO |  |  |
| If the answer to any of the questions above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |  |  |
| The project is wind power project thus there is no impact of water resources, natural or pre-existing pattern of watercourses, groundwater and/or the watershed due to the project. This Cataltepe 16 MW Wind Farm Project, Turkey has not impacted of water resources due to the project. Staffs produce the insignificant amount of waste waters, and this wastewater has been collected in an impermeable septic tank and collected via vacuum trucks by municipality and disposed according to Regulation on Control of Water Contamination |  |  |  |  |
| Would the project involve or lead to: |  |  |  |  |
| P.8.1.1 ¦ | affect the natural or pre-existing pattern of watercourses, groundwater and/or the watershed(s) such as high seasonal flow variability, flooding potential, lack of aquatic connectivity or water scarcity? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.8.1.1 ¦ | Wastewater discharge of quality that does not meet the required standard for beneficial reuse? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.8.1.1 ¦ | significant extraction, diversion of ground water? For example, construction of dams, reservoirs, river basin developments, groundwater extraction | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.8.1.2 ¦ | Are opinions and recommendations of an Expert Stakeholder(s) sought and demonstrated as being included in the project design? | ☐ YES ☐ NO ☒ NA |  |  |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |  |  |
| N/A |  |  |  |  |
| P.8.2 ¦Erosion and/or Water Body Instability |  |  |  |  |
| P.8.2.1 ¦ | Does the project have a risk of negatively impacting the catchment and has it been assessed and addressed? | ☐ YES ☒ NO |  |  |
| If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |  |  |
| The Project directly or indirectly does not cause additional erosion and/or water body instability or disrupt the natural pattern of erosion. The project is susceptible to decreased vulnerability to erosion, flooding, drought or water body instability. |  |  |  |  |
| Would the project involve or lead to: |  |  |  |  |
| P.8.2.2 ¦ P.8.2.5 ¦ | negatively impact on the catchment area? If yes, Erosion prevention measures, including soil and slope protection measures, must be implemented before project commencement. These measures should involve natural terracing, infiltration strips, permanent ground cover, hedge and tree rows, and effective slope length assessment. Regular reassessment of these measures is necessary. | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.8.2.6 ¦ | Are opinions and recommendations of an Expert Stakeholder(s) sought and demonstrated as being included in the project design? | ☒ YES ☐ NO ☒ NA |  |  |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |  |  |
| NA |  |  |  |  |
| P.9 ¦Environment, ecology and land use |  |  |  |  |
| P.9.1 ¦Landscape Modification and Soil |  |  |  |  |
| P.9.1.1 ¦ - P.9.1.3 ¦ | Is there any risk of soil resource degradation or loss of ecosystem services provided by soils in the project? If yes, the project shall maintain healthy soils by minimizing negative impacts on soil health, productivity, structure, and water retention. Steps to minimize soil degradation include crop rotation, composting, using N-fixing plants, and reducing tillage and ecologically harmful substances. | ☐ YES ☒ NO |  |  |
| If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |  |  |
| This project activity is to generate electricity from wind. It does not involve the use of land and soil for production of crops or other products. The project area has been rented from the Ministry of Forestry (Provincial Directorate of Environment and Forestry).The land of the project had approved by the several local Authorities. |  |  |  |  |
| Would the project involve or lead to: |  |  |  |  |
| P.9.1.4 ¦ | production, harvesting, and/or management of living natural resources by small-scale landholders and/or local communities? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.9.1.4 ¦ | if answer to above question “yes” or “potentially”, does project adopt appropriate and culturally sensitive sustainable resource management practices? | ☐ YES ☐ No ☒ NA |  |  |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |  |  |
| NA |  |  |  |  |
| P.9.2 ¦Vulnerability to Natural Disaster |  |  |  |  |
| P.9.2.1 ¦ | Does the project have any risks associated with natural or man-made hazards that could result from land use changes due to the project? | ☐ YES ☒ NO |  |  |
| If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |  |  |
| The project is not susceptible to decreased vulnerability to wind, earthquakes, subsidence, landslides, erosion, flooding, drought or other extreme conditions. |  |  |  |  |
| Would the project involve or lead to: |  |  |  |  |
| P.9.2.2 ¦ | any potential risks that require emergency preparedness and response planning? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.9.2.2 ¦ | if answer to above question “yes” or “potentially”, did the Project Developer disclose appropriate information about emergency preparedness and response to affected communities? | ☐ YES ☐ No ☒ NA |  |  |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |  |  |
| NA |  |  |  |  |
| P.9.3 ¦Biosafety and Genetic Resources |  |  |  |  |
| P.9.3.1 ¦ | Does the project involve the transfer, handling, and use of genetically modified organisms/living modified organisms that may result in adverse effects on biological diversity? | ☐ YES ☒ No |  |  |
| If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |  |  |
| Cataltepe 16 MW Wind Farm Project, Turkey does not affect the herbal life negatively. Furthermore, the fauna and flora inventories in the project area are prepared and as a result it was seen that here is no endangered flora or fauna in the region. |  |  |  |  |
| Would the project involve or lead to: |  |  |  |  |
| P.9.3.1 ¦ | the transfer, handling and use of genetically modified organisms/living modified organisms (GMOs/LMOs) that result from modern biotechnology | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.9.3.1 ¦ | If answer to above question is “yes” has a risk assessment by a competent Expert stakeholder been carried out in accordance with Annex iii of the Cartagena protocol on biosafety to the convention on biological diversity? | ☒ YES ☐ No ☒ NA |  |  |
| P.9.3.2 ¦ | If answer to above question is “yes” has any risks identified in the risk assessment? | ☐ YES ☐ No ☒ NA |  |  |
| P.9.3.3 ¦ | Forestry (for example Afforestation/Reforestation) involving GMO planting? Note - Forestry projects (for example Afforestation/ Reforestation) involving GMO planting are not eligible for Certification under Gold Standard for the Global Goals. | ☐ YES ☐ No ☒ NA |  |  |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |  |  |
| NA |  |  |  |  |
| P.9.4 ¦Release of pollutants |  |  |  |  |
| P.9.4.1 ¦ | Does the project have a risk of releasing pollutants to air, water, and land in routine, non-routine, or accidental circumstances? | ☐ YES ☒ No |  |  |
| If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |  |  |
| All wastes are disposed of according to related regulations. The environment is also protected by several Laws and Regulations in Turkey (Host Country). The purpose of the “Law on Environmental Protection” is to protect the environment with principles of sustainable development and environment. According to some scientific studies, to mention any harm to the human health, annual shadow flicker needs to be at least 30 hours and the risk is low with large modern models. Briefly, there is significant shadow and noise effects are expected. The Project utilises Enercon wind turbines, which have the unique feature of gearless power transmission. This not only results in less heat generation, but it also means less waste oil and less noise because of lower friction. This shows that the project is not expected to exceed legal noise limits. |  |  |  |  |
| Would the project involve or lead to: |  |  |  |  |
| P.9.4.1 ¦ | any potential risk of pollutant release that cannot be avoided? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.9.4.3 ¦ | If answer to above question is “Yes” or “potentially”, has the project identified all potential pollution sources that may degrade the quality of soil, air, surface, and groundwater in the project area? | ☐ YES ☐ No ☒ NA |  |  |
| P.9.4.2 ¦ | If answer to above question is “Yes” or “potentially”, do the pollution prevention and control technologies and practices applied during the project life cycle align with national regulations or international best practices? | ☒ YES ☐ No ☐ NA |  |  |
| P.9.4.3 ¦ | If answer to above question is “Yes”, is there a monitoring plan to ensure that mitigation measures are implemented and resources are protected? | ☒ YES ☐ No ☐ NA |  |  |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |  |  |
| The management of all fractions of waste should be carried out in accordance with the legislation on waste and individual waste types. |  |  |  |  |
| P.9.5 ¦Hazardous and Non-hazardous Waste |  |  |  |  |
| P.9.5.1 ¦ | Does the project involve the generation of waste materials (both hazardous and non-hazardous)? | ☐ YES ☒ NO |  |  |
| P.9.5.3 ¦ | Does the project involve risk of release of hazardous materials resulting from their production, transportation, handling, storage, or use? | ☐ YES ☒ NO |  |  |
| P.9.5.5 ¦ | Does the project involve the use of any chemicals or materials subject to international bans or phase-outs? | ☐ YES ☒ NO |  |  |
| If the answer to any of the questions above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |  |  |
| The Project producing electricity from the wind power plant to the national grid. Therefore, this WPP does not produce any chemicals or hazardous waste (NOx, SOx, VOC, mercury) quantity and just waste oil has been collected by accredited abatement companies. The selected Enercon turbines have minimal moving components and can operate for years without oil change. The turbines are also equipped with oil absorption systems which prevent any leaks. The solid waste on site have been generated by the personnel, and not from processes. This domestic solid waste has been stored in closed containers on site and disposed of properly according to related regulation. |  |  |  |  |
| Would the project involve or lead to: |  |  |  |  |
| P.9.5.1 ¦ | the generation and management of waste materials? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.9.5.1 ¦ | treatment, destruction, or disposal of waste material? | ☒ YES ☒ No ☐ NA |  |  |
| P.9.5.1 ¦ | If answer to above question is “Yes”, does the project involve an environmentally friendly method that includes appropriate control of emissions and residues resulting from the handling and processing of waste material? | ☐ YES ☐ No ☒ NA |  |  |
| P.9.5.3 ¦ | risk of release of hazardous materials resulting from their production, transportation, handling, storage, or use? | ☐ YES ☐ No ☒ NA |  |  |
| P.9.5.3 ¦ | If answer to above question is "yes”, does project has measures in place to address health risks? | ☐ YES ☐ No ☒ NA |  |  |
| P.9.5.4 ¦ | Involve manufacture, trade, and use of chemicals and hazardous materials subject to international bans or phase-outs due to their high toxicity to living organisms, environmental persistence, potential for bioaccumulation, or potential for depletion of the ozone layer | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |  |  |
| NA |  |  |  |  |
| P.9.6 ¦Pesticides & Fertilisers |  |  |  |  |
| P.9.6.1 ¦ | Does the project involve the use of chemical pesticides? | ☐ YES ☒ NO |  |  |
| P.9.6.5 ¦ | Does the project involve purchase, store, manufacture, trade or use products that fall in Classes IA (extremely hazardous) and IB (highly hazardous) | ☐ YES ☒ NO |  |  |
| P.9.6.6 ¦ | Does the project use fertilizers, and if so, are measures being taken to minimize their use and nutrient losses to the environment? | ☐ YES ☒ NO |  |  |
| If the answer to any of the questions above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |  |  |
| The Project is generating electricity from the wind power plant to the national grid. Therefore, the Project does not involve the application of pesticides and/or fertilizers. |  |  |  |  |
| Would the project involve or lead to: |  |  |  |  |
| P.9.6.1 ¦ | chemical pesticides use for pest management? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.9.6.4 ¦ | If answer to question above is “yes” or “potentially”, does project has documented Chemical Pesticides Policy in place? | ☐ YES ☐ No ☒ NA |  |  |
| P.9.6.5 ¦ | purchase, store, use, manufacture, or trade in Class II (moderately hazardous) pesticides? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.9.6.5 ¦ | If answer to question above is “yes” or “potentially”, does project has appropriate controls on manufacture, procurement, or distribution and/or use of these chemicals? | ☐ YES ☐ No ☒ NA |  |  |
| If the answer is "yes" or "potentially" to any of the above questions, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |  |  |
| NA |  |  |  |  |
| P.9.7 ¦Harvesting of Forests |  |  |  |  |
| P.9.7.1 ¦ | Does the project have a risk of unsustainable forest management, including timber harvesting? | ☐ YES ☒ NO |  |  |
| P.9.7.1 ¦ | Does the project pose a risk of depleting biodiversity and ecosystem functionality in areas where improved forest management is undertaken? | ☐ YES ☒ NO |  |  |
| P.9.7.1 ¦ | Does the project risk not meeting requirements for environment-friendly, socially beneficial, and economically viable plantations using native species whenever possible? | ☐ YES ☒ NO |  |  |
| If the answer to any of the questions above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |  |  |
| This Cataltepe 16 MW Wind Farm Project, Turkey area is forestry area, and it can generally be described as scrub. Therefore, the project does not involve harvesting of forest. |  |  |  |  |
| P.9.8 ¦Food Security |  |  |  |  |
| P.9.8.1 ¦ | Does the project involve the risk of negatively influencing access to and availability of food for people affected? | ☐ YES ☒ NO |  |  |
| If the answer to the question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |  |  |
| The Project is generating electricity from the wind power plant to the national grid. Therefore, the Project does not modify the quantity or nutritional quality of food available such as through crop regime alteration or export or economic incentives. |  |  |  |  |
| Would the project involve or lead to: |  |  |  |  |
| P.9.8.1 ¦ | modification of the quantity or nutritional quality of food available such as through crop regime alteration or export or economic incentives? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| If the answer is "yes" or "potentially" to the above question, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |  |  |
| NA |  |  |  |  |
| P.9.9 ¦ Animal Welfare |  |  |  |  |
| P.9.9.1 ¦ | Does the project involve any risks to animal welfare? Animal welfare shall be ensured by providing access to water and food, appropriate environment, humane treatment, and staff training. Evidence of mistreatment will be treated as an immediate non-conformity. | ☐ YES ☒ NO |  |  |
| P.9.9.2 ¦ | Does the project involve any potential risk of excessive or inadequate use of veterinary medicines? | ☐ YES ☒ NO |  |  |
| P.9.9.4 ¦ | Does the project involve the risk of administering synthetic growth promoters, including hormones? | ☐ YES ☒ NO |  |  |
| If the answer to any of the questions above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |  |  |
| The Project does not modify the involve animal husbandry. |  |  |  |  |
| Would the project involve or lead to: |  |  |  |  |
| P.9.9.1 ¦ | animal husbandry or harvesting of fish populations or other aquatic species? | ☐ YES ☒ No ☐ NA |  |  |
| P.9.9.1 ¦ | limiting access for animals to basic needs like drinking water, adequate food, daylight, appropriate shelter etc.? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.9.9.3 ¦ | inadequate measures to isolate sick animals and control the spread of disease, especially zoonotic diseases? | ☐ YES ☒ NO ☐ NA |  |  |
| P.9.9.5 ¦ | inadequate low-stress methods, equipment, and facilities that facilitate calm animal movement. | ☐ YES ☒ NO ☐ NA |  |  |
| P.9.9.6 ¦ | inadequate measures to ensure that animals are exposed to the least stress possible during transportation and slaughtering? | ☐ YES ☒ No ☐ NA |  |  |
| P.9.9.7 ¦ | inappropriate spacing per animal and stocking rates per land unit | ☐ YES ☒ No ☐ NA |  |  |
| P.9.9.8 ¦ | inadequate measures to address the specific needs of aquatic animals? | ☐ YES ☒ No ☐ NA |  |  |
| P.9.9.9 ¦ P.9.9.10 ¦ | primary production of living natural resources such as animal husbandry, aquaculture, and fisheries? If the answer is yes, implement industry-standard sustainable management practices in line with to one or more relevant and credible standards and utilize available technologies. | ☐ YES ☒ No ☐ NA |  |  |
| If the answer is "yes" or "potentially" to any of the above question, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |  |  |
| N/A |  |  |  |  |
| P.9.10 ¦High Conservation Value Areas and Critical Habitats |  |  |  |  |
| P.9.10.1 ¦ | Does the project have the risk of negatively impacting HCV areas and/or critical habitats? | ☐ YES ☒ NO |  |  |
| P.9.10.2 ¦ | Does the project in the project area or area of downstream impacts have risks to the following: native tree patches, individual native trees, freshwater resources (including rivers, lakes, swamps, temporary water bodies, and wells), habitats of rare, threatened, and endangered species, and biodiversity-enhancing areas? | ☐ YES ☒ NO |  |  |
| If the answer to any of the questions above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |  |  |
| Since the proposed project includes only 8 turbines, it is not expected to create significant impacts on the local biological resources and wildlife in the project site. The project area is not a protected area related with the biodiversity, there are no sensitive genes, species and/or habitats existing within the project projects impact boundaries. The project owner also follows necessary procedures for environmental safety at the project site at international standard (such as Bern Convention) |  |  |  |  |
| Would the project involve or lead to: |  |  |  |  |
| P.9.10.1 ¦ | identified habitats as HCV areas and or Critical habitats? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.9.10.1 ¦ | If answer to above question is yes, does the project have any risks that could negatively impact the catchment, project success, and surrounding HCV and ecological assets, as well as any measurable adverse impacts on the criteria or biodiversity values for which the critical habitat was designated, and on the ecological processes supporting those biodiversity? Is there a robust, appropriately designed, and long-term Habitats and Biodiversity Action Plan in place to achieve net gains of those biodiversity values for which the critical habitat was designated? | ☐ YES ☐ NO ☒ NA |  |  |
| P.9.10.2 ¦ | in the project area or area of downstream impacts have native tree patches, individual native trees, freshwater resources (including rivers, lakes, swamps, temporary water bodies, and wells), habitats of rare, threatened, and endangered species, and biodiversity-enhancing areas? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.9.10.2 ¦ | If the answer to the above question is yes, will the project have any adverse effects on these areas? | ☐ YES ☒ NO ☐ NA |  |  |
| P.9.10.3 ¦ | If the answer to above question is yes, does the project has opportunities to minimise unwarranted conversion or degradation of the habitat and to enhance the habitat as part of its development? | ☐ YES ☒ NO ☐ NA |  |  |
| P.9.10.4 ¦ | Is the project applying Land Use & Forest Activity Requirements and managing a minimum 10% of the project area to protect or enhance the biological diversity of native ecosystems following HCV approach as per the given requirements? | ☐ YES ☒ NO ☐ NA |  |  |
| P.9.10.5 ¦ | Are opinions and recommendations of an Expert Stakeholder(s) sought and demonstrated as being included in the project design? | ☐ YES ☐ NO ☒ NA |  |  |
| If the answer is "yes" or "potentially" to any of the above question, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |  |  |
| The PP has already to implemented measure detailed monitoring which aims to further inspect, control, and record the potential impact of wind power plants especially on birds and bats including before the implantation phase. Furthermore, the fauna and flora inventories in the project area are prepared and as a result it was seen that here is no endangered flora or fauna in the region. |  |  |  |  |
| P.9.11 ¦Endangered Species |  |  |  |  |
| P.9.11.1 ¦ | Does lead to the reduction or negative impact of any recognised Endangered, Vulnerable or Critically Endangered species? | ☒ YES ☒ NO |  |  |
| If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |  |  |
| The physical location of the project is described in above principle. There are no endangered species identified as potentially being present the project boundary. The project activity is not expected either potentially impact other areas where endangered species may be present through transboundary affects |  |  |  |  |
| Would the project involve or lead to: |  |  |  |  |
| P.9.11.2 ¦ | Does the project involve habitats of endangered species and does the project plan to protect and enhance them? | ☐ YES ☒ Potentially ☒ NA |  |  |
| P.9.11.2 ¦ | Are opinions and recommendations of an Expert Stakeholder(s) sought and demonstrated as being included in the project design? | ☒ YES ☐ NO ☐ NA |  |  |
| If the answer is "yes" or "potentially" to any of the above question, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |  |  |
| The project takes a precautionary approach regarding environmental challenges and is not complicit in practices contrary to the precautionary principle. The environment is protected by several Laws and Regulations in Turkey. The purpose of the “Law on Environmental Protection” is to protect the environment with principles of sustainable development and environment. The project owner also follows necessary procedures for environmental safety at the project site at international standard (such as Bern Convention). |  |  |  |  |
| P.9.12 ¦Invasive Alien species |  |  |  |  |
| P.9.12.1 ¦ | Does project introduce any alien species (not currently established in the country or region of the project) into new environments. | ☐ YES ☒ NO |  |  |
| If the answer to question above is "yes," please explain project situation and how the project will ensure compliance with applicable requirements. |  |  |  |  |
| NA |  |  |  |  |
| Would the project involve or lead to: |  |  |  |  |
| P.9.12.1 ¦ | risk of introducing any alien species with a high risk of invasive behaviour regardless of whether such introductions are permitted under the existing regulatory framework? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.9.12.1 ¦ | risk of potential accidental or unintended introductions including the transportation of substrates and vectors (such as soil, ballast, and plant materials) that may harbour alien species. | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| P.9.12.2 ¦ | Risk of spreading alien species into areas in which they have not already been established? | ☐ YES ☐ POTENTIALLY ☒ NO |  |  |
| If the answer is "yes" or "potentially" to any of the above question, please provide a brief description of the project situation below. Also, provide justification and/or evidence as necessary to demonstrate compliance with applicable requirements. |  |  |  |  |
| na |  |  |  |  |

### Appendix 2- Contact information of project developer(s)

| Organization name | Alize Enerji Elektrik Üretim A.Ş. |
| --- | --- |
| Registration number with relevant authority |  |
| Street/P.O. Box | Feneryolu, Mazhar Osman Sk. No:9/1 Kadıköy |
| Building | Güneş Apt. |
| City | Istanbul |
| State/Region | Marmara Region |
| Postcode | 34724 |
| Country | Turkey |
| Telephone | 90 (216) 3360148 |
| E-mail | gokhan.ulug@demirerholding.com |
| Website | www.demirer.com.tr |
| Contact person |  |
| Title | Demirer Enerji Üretim Sanayi ve Ticaret A.Ş. Group Budget & Planning Manager |
| Salutation | Mr. |
| Last name | Uluğ |
| Middle name | - |
| First name | Gökhan |
| Department | Finance |
| Mobile |  |
| Direct tel. |  |
| Personal e-mail | gokhan.ulug@demirerholding.com |

| Organization name | Rüzgar Karbon ve Enerji Danışmanlık Sanayi Ticaret Limited Şirketi |
| --- | --- |
| Registration number with relevant authority |  |
| Street/P.O. Box | Göztepe Mah. Avcı Sok. |
| Building | Nursaray Apt.No:1 D:22 Kadıköy |
| City | Istanbul |
| State/Region | n.a. |
| Postcode | 34720 |
| Country | Turkey |
| Telephone | +90 216 355 09 68 |
| E-mail | cagla@ruzgardanismanlik.net |
| Website | www.ruzgardanismanlik.net |
| Contact person |  |
| Title | Manager |
| Salutation | Mrs. |
| Last name | Balcı Eriş |
| Middle name | - |
| First name | Çağla |
| Department | Management |
| Mobile | - |
| Direct tel. | +90 216 355 09 68 |
| Personal e-mail |  |

### DOCUMENT History

| Version | Date | Remarks |
| --- | --- | --- |
| 1.5 | 29 June 2023 | Editorial changes to match V2.1 of the Safeguarding Principles Requirements |
| 1.4 | 21 June 2023 | Editorial changes to match V2.0 of the Safeguarding Principles Requirements |
| 1.3 | 14 April 2023 | Integrated the design change memo as annex of the document. Editorial changes |
| 1.2 | 14 October 2020 | Hyperlinked section summary to enable quick access to key sections Improved clarity on Key Project Information Inclusion criteria table added Gender sensitive requirements added Prior consideration (1 yr rule) and Ongoing Financial Need added Safeguard Principles Assessment as annex and a new section to include applicable safeguards for clarity Improved Clarity on SDG contribution/SDG Impact term used throughout Clarity on Stakeholder Consultation information required Provision of an accompanying Guide to help the user understand detailed rules and requirements |
| 1.1 | 24 August 2017 | Updated to include section A.8 on ‘gender sensitive’ requirements |
| 1.0 | 10 July 2017 | Initial adoption |

The average value of Cataltepe 16 MW Wind Farm Project, Turkey’s electricity generation between 2012 and 2023. (12 years). The related excel file has been provided to the VVB

Generation License

https://www.enercon.de/en/products/ and registered PDD

https://cdm.unfccc.int/UserManagement/FileStorage/R0IJ1X9LQ7W2GOYHSMBFCPE3VKZ685

https://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-01-v7.0.0.pdf

https://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-02-v7.0.pdf

https://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-03-v3.pdf

https://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-07-v7.0.pdf

https://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-10-v1.pdf

https://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-11-v3.0.1.pdf

- EMRA Generation License

- In case of retrofit or capacity addition for concentrated solar power projects, stakeholders may submit a request for revision to this methodology, providing an apportioning approach to calculate the project emissions due to any fossil fuel consumption attributed to the increased electricity generation from the BESS.

- For example, upon deep discharge of the batteries.

- The Generation License for 49 years obtained for WPP from Electricity Market Regulation Authority (EMRA)

- Project participants wishing to undertake a hydroelectric project activity that results in a new reservoir or an increase in the volume of an existing reservoir, in particular where reservoirs have no significant vegetative biomass in the catchments area, may request a revision to the approved consolidated methodology.

The Generation License for 49 years obtained for WPP from Electricity Market Regulation Authority (EMRA)

https://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-11-v3.0.1.pdf

https://www.teias.gov.tr/tr-TR/turkiye-elektrik-uretim-iletim-istatistikleri

##### https://www.teias.gov.tr/tr-TR/ilgili-raporlar

The calculation detail can be seen in Baseline Calculation Excel Sheet.

Cataltepe 16 MW Wind Farm Project, Turkey’s average annual production value of 12 operation years

https://enerji.gov.tr/Media/Dizin/EVCED/tr/%C3%87evreVe%C4%B0klim/%C4%B0klimDe%C4%9Fi%C5%9Fikli%C4%9Fi/TUESEmisyonFktr/Belgeler/TUESEF_Bilgi_Formu.pdf

CP2 value according to registered second PDD

- “Measurement and Measuring Tools Inspection Regulation”, Date: 24/07/1994, Official Gazette Number: 22000 https://www.mevzuat.gov.tr/mevzuat?MevzuatNo=6381&MevzuatTur=7&MevzuatTertip=5

- Measurement and Measuring Tools Inspection Regulation”, Date: 24/07/1994, Official Gazette Number: 22000 https://www.mevzuat.gov.tr/mevzuat?MevzuatNo=6381&MevzuatTur=7&MevzuatTertip=5

- http://www.mevzuat.gov.tr/MevzuatMetin/1.5.3516.doc

- This value will be changed according to net electicity generation value.

https://enerji.gov.tr/Media/Dizin/EVCED/tr/%C3%87evreVe%C4%B0klim/%C4%B0klimDe%C4%9Fi%C5%9Fikli%C4%9Fi/TUESEmisyonFktr/Belgeler/TUESEF_Bilgi_Formu.pdf

- https://www.mevzuat.gov.tr/mevzuat?MevzuatNo=6381&MevzuatTur=7&MevzuatTertip=5

https://www.resmigazete.gov.tr/arsiv/7217.pdf

http://www.ilo.org/dyn/normlex/en/f?p=1000:11200:0::NO::P11200_COUNTRY_ID:102893

- https://www.mevzuat.gov.tr/MevzuatMetin/1.5.6331.pdf

- https://www.mevzuat.gov.tr/MevzuatMetin/1.5.6701.pdf

Project Introductory Document (PID) page 42

https://kvmgm.ktb.gov.tr/TR-43249/law-on-the-conservation-of-cultural-and-natural-propert-.html

Project Introductory Document (PID) page 34

https://www.mevzuat.gov.tr/MevzuatMetin/1.5.3628.pdf

- http://www.ilo.org/dyn/normlex/en/f?p=1000:11200:0::NO::P11200_COUNTRY_ID:102893

Basic services requirements refer to minimum space, supply of water, adequate sewage and garbage disposal system, appropriate protection against heat, cold, damp, noise, fire, and disease-carrying animals, adequate sanitary and washing facilities, ventilation, cooking and storage facilities and natural and artificial lighting, and in some cases basic medical services.

https://www.mevzuat.gov.tr/MevzuatMetin/1.5.6331.pdf

https://www.mevzuat.gov.tr/MevzuatMetin/1.5.6701.pdf

http://www.ilo.org/dyn/normlex/en/f?p=1000:11200:0::NO::P11200_COUNTRY_ID:102893

Project Introductory Document (PID) page 44

Project Introductory Document (PID) page 17

Project Introductory Document (PID) pages between 56 and 60

Project Introductory Document (PID) pages 41 and 42

Project Introductory Document (PID) pages between 48 and 51

Project Introductory Document (PID) pages between 45 and 47

Project Introductory Document (PID) page 18

'Involve' means if the project mechanism and/or impact(s) are achieved via changing animal husbandry practices in some way.

Project Introductory Document (PID) pages between 38 and 42

Ornithology Report 2018 of Cataltepe 16 MW Wind Farm Project, Turkey page 108