[image: image13.jpg]501000 502000 503000 504000 505000 506000
: 7 :
o o
et o
(<] [s¢]
N N
(s (s
< <
o o
o o
o [ <)
N N
o o
[a2) (s
~ <
A4
M
\Y%
o [
o o
o o
I I
[a2) [sr)
< <
A\SAGIKIRIKLAR ~ A.1
S
|
o o
g i g
g = g
11l
o A2 o
3 M 3
2 ] 2
Q A4 Bakir Cay Q
Il
501000 502000 503000 504000 505000 506000
LEJANT
®  Mevcut Tiirbin
Toprak Ozelliklerinin - D
@ Yeni Turbin Kombiasyonu w Diger Toprak Ozellikleri
DSantra[ Sahasi Biiyiik Toprak Gruplan ———————Jp»M 11 t.2 ————Erozyon Derecesi
K ——— Simdiki Arazi Kullanimi
Arazi Kullanma ’ IV se ‘ Alt Sinif
Biiylik Toprak Gruplari Kestanerengi Topraklar Kabiliyet Sinifi
\:| Aluvyal Topraklar Kirecsiz Kahverengi Orman Topraklari 1
\:| Irmak \:| Kirecsiz Kahverengi Topraklar W E
\:| Kahverengi Orman Topraklari |:| Koluvyal Topraklar !

0 0.5 1Km

.. s——
Projeksiyon:UTM Zon 35 Datum ED50



PROJECT DESIGN DOCUMENT FORM (CDM PDD) - Version 0[image: image14.png]


3
CDM – Executive Board 


page 2

CLEAN DEVELOPMENT MECHANISM

PROJECT DESIGN DOCUMENT FORM (CDM‑PDD)
Version 03 - in effect as of: 28 July 2006

CONTENTS


A. 
General description of project activity

B. 
Application of a baseline and monitoring methodology 


C. 
Duration of the project activity / crediting period 


D. 
Environmental impacts


E. 
Stakeholders’ comments

Annexes


Annex 1:  Contact information on participants in the project activity

Annex 2:  Information regarding public funding 


Annex 3:  Baseline information

Annex 4:  Monitoring plan

SECTION A. 
General description of project activity
A.1. 
Title of the project activity: 

Düzova Wind Power Project, Turkey

Document Version: 15
Date of completion: 13 June 2016
A.2.
Description of the project activity:
Ütopya Elektrik Üretim Sanayi ve Tic. A.Ş. (“Ütopya” or project owner) invests into a new wind power plant i.e. Düzova WEPP (“Duzova”) and granted production licence by EMRA on May 2007 for 15 MW, and amended to 30 MW on April 2010. Second amendment on Licence Regulation on 11 August 2011
,  gave right to the  project owner to increase mechanical installed capacity of the power plant to 40 MW, provided that electrical power capacity to be fed into the grid shall not exceed the electrical installed capacity stated in the licence (30 MWe) and additional turbines shall be built in the project area.
 By third amendment of licence on 13 March 2013, total capacity of the project is increased to 50 MW with 20 turbines each having 2.5 MW capacity. Finally, by the fourth amendment of licence on 19 September 2014, total capacity of project is increased to 51.5 MW without any additional turbines but increasing the capacity of 6 turbines 0.25 MW from 2.5 MW to 2.75 MW. Also, the electricity generation amount stayed at same, 152,000 MWh. 
The purpose of the project is to generate electricity and to feed it into the public grid. Düzova project shall be registered as a Voluntary Emission Reduction project in order to enable the project implementation by means of financial inflows coming from the credits sale. Because of its significant contribution to climate protection and to sustainable development in the region, this project is expected to fulfill the requirements of the Gold Standard.

Annual energy yield of the first 15 MWe capacity was estimated to be 59,300 MWh and 30 MWe was estimated to be 118,100 MWh
. According to the energy yield study of GL Garrad Hassan on 19 July 2013annual energy generation for 50 MW capacity is estimated to be 152,900 MWh/yr
. Thus all electricity generation figures in PDD is revised in accordance with this figure.

The main characteristics of project design changes are given in below table:

	Explanation
	Date Issuance or Amendment of Licence
	Installed Capacity (MWm/MWe)
	Number of Turbines
	Annual Generation (MWh/yr)
	Annual Estimation of Emission Reductions [tCO2e]
	Total Estmation of Emission Reductions
[tCO2e]

	Preliminary Design
	03.05.2007
	15 MWm /15 MWe
	6
	59,300
	35,687
	249,807

	1. Design Change
	08.04.2010
	30 MWm /30 MWe
	12
	97,200
	58,4954
	409,465

	2. Design Change
	01.03.2012
	40 MWm /30 MWe
	16
	118,100
	71,073
	497,508

	3. Design Change
	13.03.2013
	50 MWm /50 MWe
	20
	152,900
	92,015
	644,107


In addition to this, the second crediting period has been started on 11/08/2016 with 20 turbines with 51.5 MW installed capacity. The annual estimation of emission reductions is 85,815 tCO2e and the total estmation of emission reductions are 600,705 tCO2e for 7 years. 
Proposed project activity will generate electricity using renewable wind energy and will transfer to the national electricity system (grid).

The project will help Turkey to stimulate and commercialise the use of grid connected renewable energy technologies and markets. Furthermore, the project will demonstrate the viability of grid connected wind farms which can support improved energy security, improved air quality, alternative sustainable energy futures, improved local livelihoods and sustainable renewable energy industry development. The specific goals of the project are to:

· reduce greenhouse gas emissions in Turkey compared to the business-as-usual scenario;

· help to stimulate the growth of the wind power industry in Turkey;

· create local employment during the construction and the operation phase of the wind farm;

· reduce other pollutants resulting from power generation industry in Turkey, compared to a business-as-usual scenario;

· help to reduce Turkeys increasing energy deficit;

· and differentiate the electricity generation mix and reduce import dependency.

The emission reductions will be generated by substituting electricity produced from the conventional mix representing electricity generation for the Turkish grid, which to a relevant extent depends on fossil fuels. The emission reductions will be calculated based on the Combined Margin (CM) emission factor.

Other than the objective of climate change mitigation through significant reduction in greenhouse gas (GHG) emissions, the project has been carried out to provide social and economical contribution to the region in a sustainable way. The benefits that will be gained by the realization of the project compared to the business-as-usual scenario can be summarized under four main indicators:

Environmental 

In the absence of the project activity, an equivalent amount of electricity would have to be generated from the power plants connected to the grid, majority of which are based on fossil fuels. Thus the project is replacing the anthropogenic emissions (CO2, CH4) and other pollutants (SOX, NOX, particulate matters) occurring from extraction, processing, transportation and burning of fossil fuels for power generation connected to the national grid. Also, by reduction in the consumption of these fuels, it contributes to conservation of water, soil, plant and animal ecosystems and transfers these natural resources and also the additional supply of these primary energy sources to the future generations.

Economical 

The project will help to accelerate the growth of the wind power industry and stimulate the designation and production of renewable energy technologies in Turkey. Other entrepreneurs irrespective of sector will be encouraged to invest in wind power. It will assist to reduce Turkey’s increasing energy deficit and diversify the electricity generation mix while reducing import dependency. Rural development will be maintained in the areas around the project site by providing infrastructural investments to these remote villages.

Social 

The project will enhance local employment during the construction and the operation phase of the wind farm and result in alleviation of poverty and unemployment by increased job opportunities in a diversified range from engineers to simple workers in the vicinity of the project area. Construction materials for the foundations, cables and other auxiliary equipment will preferentially be sourced locally. Rural electrification will be more reliable, available and cost efficient thanks to the decreasing distances between the generation and consumption points.

Technological 

Implementation of the proposed project will contribute to wider deployment of wind power technology on the local and national level. It will demonstrate the viability of larger grid connected wind farms, which will support improved energy security, alternative sustainable energy, and also renewable energy industry development.

The “do no harm assessment“ table and “sustainable development“ matrix in the Gold Standard Passport provide detail information about the project’s contribution to sustainable development in the light of Local Stakeholder Consultation meeting results and Environmental Impact Assessment report. The results from the in-depth assessment of environmental and social impacts confirm the positive influence of the project on all the discussed domains.
A.3. 
Project participants:

	Name of Party involved (*) 

((host) indicates a host Party)
	Private and/or public entity(ies) project participants (*)

(as applicable)
	Kindly indicate if the Party involved wishes to be considered as project participant (Yes/No)

	Turkey (host country)
	Ütopya Elektrik Üretim Sanayi ve Tic. A.Ş.
	No


Ütopya Elektrik Üretim Sanayi ve Tic. A.Ş. is project developer and owner of the project.
Equipment Supplier of this project activity (GE) is not project participant.
The Republic of Turkey is the host country. Turkey ratified the Kyoto Protocol (on 5th February of 2009) and put in effect on 13th May 2009
. Turkish National Focal Point to the UNFCCC is the Ministry of Environment and Forestry
.

A.4. 
Technical description of the project activity:


A.4.1. Location of the project activity:



A.4.1.1.

Host Party(ies): 

The host country is Republic of Turkey.



A.4.1.2.

Region/State/Province etc.: 

The project will be in Aegean Region and province of Izmir in Turkey.



A.4.1.3.

City/Town/Community etc.:

The project will be situated in the district of Bergama and near Aşağıkırıklar village.



A.4.1.4.

Details of physical location, including information allowing the unique identification of this project activity (maximum one page):

The project site is located in the Aşağıkırıklar village, Bergama district, İzmir city, Turkey. The project area is completely plain area without any trees. There are not any agricultural activities on proposed project area. Location of the project and the specific positions of the 20 wind turbines are presented on the following map.
[image: image15.png]R o R e




[image: image16.png]



Map 1 Location of the project and the positions of the 20 wind turbines

The geographical coordinates (coordinate system ED50, Zone 35) of the turbines of the project activity are presented in the table below.

Table 1 Geographical coordinates of the wind turbines of the project activity
	Wind Turbine
	Latitude (N)
	Longitude(E)

	T-1
	39° 2' 51.133"
	27° 1' 5.524"

	T-2
	39° 2' 47.659"
	27° 1' 23.619"

	T-3
	39° 2' 39.806"
	27° 1' 34.267"

	T-4
	39° 2' 30.169"
	27° 1' 42.874"

	T-5
	39° 2' 22.835"
	27° 1' 54.976"

	T-6
	39° 2' 15.500"
	27° 2' 5.871"

	T-7
	39° 2' 36.940"
	27° 2' 15.741"

	T-8
	39° 3' 12.641"
	27° 1' 7.859"

	T-9
	39° 2' 26.619"
	27° 2' 30.502"

	T-10
	39° 2' 15.426"
	27° 2' 34.073"

	T-11
	39° 1' 57.532"
	27° 1' 50.306"

	T-12
	39° 1' 54.025"
	27° 2' 3.240"

	T-13
	39° 2' 27.516" 
	27° 1' 11.175"

	T-14
	39° 2' 35.759"
	27° 0' 46.425"

	T-15
	39° 2' 6.001"
	27° 1' 42.490"

	T-16
	39° 3' 3.713"
	27° 1' 40.807"

	T-17
	39° 2' 56.996"
	27° 1' 50.623"

	T-18
	39° 2' 47.553"
	27° 1' 59.979"

	T-19
	39° 2' 13.563"
	27° 1' 27.185"

	T-20
	39° 2' 31.638"
	27° 0' 58.738"



A.4.2. Category(ies) of project activity:
Using the list of categories of project activities and of registered CDM project activities by category available on the UNFCCC CDM web site
, Duzova WEPP falls in: 

Scope number
: 1
Sectoral scope 
: Energy industries, renewable sources.


A.4.3. Technology to be employed by the project activity: 
The Düzova project will consists of 20 wind turbines. 16 of them are GE 2.5xl
 model turbines with 2.5 MW output each having 100 m diameter rotor, 7,854 m2 swept area and 85 m hub height. 4 of them are GE 2.75-100 model with 103 m diameter rotor, 8,332 m2 swept area and 100 m hub height.
 These turbines will be kept to operate as 2.5 MW (6 of them will operate as 2.75 MW). The wind turbines will be connected to the wind farm substation through 34.5 kV underground cables. The voltage is raised to 154 kV and is transferred to grid via a 3 km long transmission line which is connected to the bypassing Bergama-Ayvalık transmission line of TEIAS. The entire net electricity production is expected to be around 152,900 MWh per year.

Harnessing the wind energy to generate electricity by three blades turbines is reliable and proven technology which starts to be used widely since 1980s. There are enormous amount of wind turbines operating all over the world integrated with the environment. Also, according to manufacturer of the turbines (GE)
 ‘With technology centers of excellence in the United States, Europe, India and China, our teams of engineers and scientists use Six Sigma methodology, coupled with the latest computational modeling and power electronic analysis tools, to manufacture wind turbines with the reliability, efficiency and maintainability necessary to meet the challenges our customers face in today’s energy environment.’ Therefore, environmentally safe and sound technology and know how is being applied by the project activity interalia technology transfer.
The project activity will achieve emission reductions by avoiding CO2 emissions from the business-as-usual scenario electricity generation produced by mainly fossil fuel-fired power plants within the Turkish national grid (Figure 2).

[image: image2.png]Fuel share in electricity generation

; 2013

Renew. an

Wastes Total 240.2 GWh
Motor Oil 0,49%

Lignite
12,60%!

Natural Gas
43,77%





Figure 1 Share of Installed Capacity by Fuel Types in Turkey in 2013


[image: image4.png]Fuel share in energy capacity 2013
Total 50.1 GW

Renew+Waste
0,34%

Wind and Geo.
4,52%

Natural gas
28,30%

39,17%

Liquid Fuels Coal
2,57% 8,75%





Figure 2 Share of Electricity Generation by Fuel Types in Turkey in 2013

Although Turkey has a very good wind resource, substantial space, a reasonably good electrical infrastructure and an approaching shortage of electricity; it uses negligible capacity (less than 5%) of its onshore potential, which is estimated as 53,000 MW by Ministry of Energy and Natural Resources (MENR).
 Lack of attractive incentives and tax advantages, limited grid access and restricted turbine supply constitutes the major barriers in front of the wind energy.

Renewable energy law, enacted in 2005, which had amendments in end of 2010 regarding feed-in tariffs, stipulates a purchase obligation by the retail companies for 10 years with a purchase price 7.3 USDc/kWh (~5.5 €c/kWh) for the power plants put in operation by end of 2015
. This tariff is much below the average remuneration in the leading wind markets and does not constitute a sufficient incentive for investments in little experienced wind energy sector of Turkey. The revenues calculated according to these regulations are considered in the investment planning of the projects and does not lead to returns that let the project be profitable or attractive for capital investors and lenders.

These numbers and figures show the contribution of a wind power project like Duzova WPP to the development of environmental friendly electricity generation instead of above described Turkish mix of hydroelectric and fossil fuelled power plants, which are better known and financially more attractive from an investor’s point of view. The emission reductions would not occur in the absence of the proposed project activity because of various real and perceived risks that impede the provision of financing.

Duzova WPP, as a large wind power plant project, will serve as a perfect project to demonstrate long-term potential of wind energy as a means to efficiently reducing GHG emissions as well as to diversifying and increasing security of the local energy supply and contributing to a sustainable development. Wind driven turbines will rotate in generators and electricity generated here will be transferred to the grid for consumer without any greenhouse gas emissions. The Gold Standard certification shall help to realize this seminal technology by providing an adequate compensation for the lacking financial incentives in the Turkish renewable energy market.





A.4.4.
Estimated amount of emission reductions over the chosen crediting period: 

Table 2: Estimated amount of emission reductions over the second crediting period

	Years
	Annual estimation of emission reductions [tCO2e]

	2016a
	33,621

	2017
	85,815

	2018
	85,815

	2019
	85,815

	2020
	85,815

	2021
	85,815

	2022
	85,815

	2023b
	52,194

	Total emission reductions (tonnes of CO2 e)
	600,705

	Total number of crediting years
	7 years

	Annual average over the crediting period of estimated reductions (tonnes of CO2e)
	85,815


a) from 11.08.2016
b) until 10.08.2023






For 51.5 MWm / 51.5 MWe with 20 turbines
: 152,900 MWh/yr
A.4.5. Public funding of the project activity:

The project activity doesn’t have any public funding or Official Development Assistance (ODA) funding.

SECTION B. 
Application of a baseline and monitoring methodology 

B.1.
Title and reference of the approved baseline and monitoring methodology applied to the project activity: 

For the determination of the baseline, the official methodology ACM0002 version 16.0, “Large-scale Consolidated baseline methodology for grid-connected electricity generation from renewable sources”
, is applied, using conservative options and data as presented in the following section. This methodology refers to four Tools, which are:

1. Tool to calculate the emission factor for an electricity system (Version 04.0.0)
;

2. Tool for the demonstration and assessment of additionality (Version 07.0.0)
;

3. Combined tool to identify the baseline scenario and demonstrate additionality (version 05.0.0)

4. Tool to calculate project or leakage CO2 emissions from fossil fuel combustion (Version 02.0.0)

5. Tool to determine the remaining lifetime of the equipment

For baseline calculation the first tool, for additionality assessment the second tool is used. As third tool is the combination of the first and second tool, it is not used. Since no project emission or leakage calculation is required for wind power project fourth tool is not used, either. And finally to determine the remaining lifetime of the equipment fifth tool is used.


6. 
7. 
8. 
9. 

B.2.
Justification of the choice of the methodology and why it is applicable to the project activity:

The choice of methodology ACM0002, Version 16, is justified as the proposed project activity meets its applicability criteria:
	Applicability Conditions in the ACM002/Version16.0
	Applicability to this project activity

	This methodology is applicable to grid-connected renewable energy power generation project activities that: 

(a) Install a Greenfield power plant; 

(b) Involve a capacity addition to (an) existing plant(s); 

(c) Involve a retrofit of (an) existing operating plants/units; 

(d) Involve a rehabilitation of (an) existing plant(s)/unit(s); or 

(e) Involve a replacement of (an) existing plant(s)/unit(s). 


	The project activity consists of installation of 

Greenfield power plant at a site where no 

renewable power plant was operated prior to 

the implementation of the project activity. 

Thus, it meets the said applicability condition.

	The project activity may include renewable energy power plant/unit of one of the following types: hydro power plant/unit with or without reservoir, wind power plant/unit, geothermal power plant/unit, solar power plant/unit, wave power plant/unit or tidal power plant/unit.
	The project activity is the installation of 20 

wind turbine generators (WTGs). 

Hence, meets this criterion. 

	In the case of capacity additions, retrofits, rehabilitations or replacements (except for wind, solar, wave or tidal power capacity addition projects the existing plant/unit started commercial operation prior to the start of a minimum historical reference period of five years, used for the calculation of baseline emissions and defined in the baseline emission section, and no capacity expansion, retrofit, or rehabilitation of the plant/unit has been undertaken between the start of this minimum historical reference period and the implementation of the project activity. 
	The project activity does not involve capacity 

additions, retrofits, rehabilitations or 

replacements. Hence this criterion is not 

applicable to the project activity. 


following conditions shall apply: 


is greater than 4 W/m2; 


activity; 

	(iii) Installed capacity of the power 

plant(s) with power density lower than 

or equal to 4 W/m2

 shall be:

a. Lower than or equal to 

15 MW; and 

b. Less than 10 per cent of 

the total installed capacity 

of integrated hydro power 

project. 
	The project activity is not a hydro power plant. 

Hence this applicability criterion is not relevant to the project activity. 


project proponent shall: 


hydro power project; or 

	(b) Provide an analysis of the water 

balance covering the water fed to 

power units, with all possible 

combinations of reservoirs and without the construction of reservoirs. The 

purpose of water balance is to 

demonstrate the requirement of 

specific combination of reservoirs 

constructed under CDM project activity 

for the optimization of power output. 

This demonstration has to be carried 

out in the specific scenario of water 

availability in different seasons to 

optimize the water flow at the inlet of 

power units. Therefore this water 

balance will take into account seasonal 

flows from river, tributaries (if any), and 

rainfall for minimum five years prior to 

implementation of CDM project 

activity. 
	The project activity is not a hydro power plant. 

Hence this applicability criterion is not relevant to the project activity.

	The methodology is not applicable to: 

(a) Project activities that involve switching 

from fossil fuels to renewable energy 

sources at the site of the project 

activity, since in this case the baseline 

may be the continued use of fossil 

fuels at the site; 

(b) Biomass fired power plants/units 
	Project activity does not involve: 

• Switching from fossil fuels to renewable 

energy sources at the site of the 

project activity. 

• Biomass fired plants. 

Hence this criterion is not applicable.

	In the case of retrofits, rehabilitations, 

replacements, or capacity additions, this 

methodology is only applicable if the most 

plausible baseline scenario, as a result of the 

identification of baseline scenario, is “the 

continuation of the current situation, i.e. to use 

the power generation equipment that was 

already in use prior to the implementation of 

the project activity and undertaking business 

as usual maintenance”. 
	The project is not a retrofit, rehabilitations, 

replacements or capacity addition; hence this 

applicability criterion is not relevant.

	In addition, the applicability conditions 

included in the tools referred to above apply.
	Applicability conditions of the applied tool are 

justified


From the above it is concluded that the project activity meets all the applicability conditions of the methodology ACM0002 version 16.0 “Grid connected electricity generation from renewable sources”. 

The project activity also meets the following applicability conditions of “Tool to calculate the emission factor for an electricity system”.
	SI No
	Applicability condition
	Applicability to this project activity

	1
	This tool may be applied to estimate the 

OM, BM and/or CM when calculating 

baseline emissions for a project activity 

that substitutes grid electricity, i.e. 

where a project activity supplies 

electricity to a grid or a project activity 

that results in savings of electricity that 

would have been provided by the grid 

(e.g. demand-side energy efficiency projects). 
	The project activity substitutes grid 

electricity by supplying renewable power to grid. Hence this criterion is applicable.

	2
	In case of CDM projects the tool is not 

applicable if the project electricity 

system is located partially or totally in 

an Annex I country. 
	Project electricity system is not located in an Annex I country.


The project activity also meets the applicability conditions given in “Tool for the demonstration and  assessment of additionality”. 

Other tools mentioned in the methodology are not applicable for this project activity. 



B.3.
Description of the sources and gases included in the project boundary: 
The project boundary for the project activity is selected as per the approved methodology ACM0002. As per the methodology, spatial extent of the project boundary includes the project power plant and all power plants connected physically to the electricity system that the CDM project power plant is connected to. Tool to calculate emission factor for an electricity system defines grid/ project electricity system by the spatial extent of the power plants that are physically connected through transmission and distribution lines to the project activity and that can be dispatched without significant transmission constraints. The project activity evacuates power to the National Grid. A diagrammatic presentation of the project boundary is given in Figure 3.


[image: image17.png]



Figure 3 Operation diagram of the project

Based on the above operation diagram, the baseline and project activity related greenhouse gases which are considered in baseline calculation is given below, in Table 3:

Table 3 Emissions sources included in or excluded from the project boundary
	
	
	
	

	
	

	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	


	Source
	GHGs
	Included?
	Justification/Explanation

	Baseline scenario
	CO2 emissions from electricity generation in fossil fuel fired power plants that are displaced due to the

project activity
	CO2
	Yes
	Main emission source

	
	
	CH4
	No
	Minor emission sources

	
	
	N2O
	No
	

	Project scenario
	For geothermal power plants, fugitive emissions of CH4 and  CO2 from non-condensable gases contained in geothermal steam
	CO2
	No
	As per ACM 0002 project emissions are not considered for wind power project.

	
	
	CH4
	No
	As per ACM 0002 project emissions are not considered for wind power project.

	
	
	N2O
	No
	As per ACM 0002 project emissions are not considered for wind power project.

	
	For hydro power plants, emissions of CH4 from the reservoir
	CO2
	No
	As per ACM 0002 project emissions are not considered for wind power project.

	
	
	CH4
	No
	As per ACM 0002 project emissions are not considered for wind power project.

	
	
	N2O
	No
	As per ACM 0002 project emissions are not considered for wind power project.


B.4.
Description of how the baseline scenario is identified and description of the identified baseline scenario: 

The baseline scenario is identified according to the “Baseline Methodology Procedure” of ACM0002 ver.16 (page 10). The project activity is installation of a new grid-connected wind farm and is not modification/retrofit of an existing grid-connected power plant. So, first identification of this procedure is selected for proposed project activity, which is described as: 

“Electricity delivered to the grid by the project activity would have otherwise been generated by the operation of grid-connected power plants and by the addition of new generation sources, as reflected in the combined margin (CM) calculations described in the “Tool to calculate the emission factor for an electricity system”(v.4). 

To describe the baseline and its development for the project activity, long term electricity demand and supply projections for Turkey are assessed.

Demand for electricity in Turkey is growing rapidly with average 6.27%
 for previous ten years. TEİAŞ, who is responsible from the grid reliability has prepared an electricity demand projection for next ten years period (2013-2022) for Turkey and announced on November 2013, given in Table 4, reflecting the continuation of current demand growth. 
 

Table 6: Low and High Demand Projection Scenarios for Ten Years Period (TWh)

	Scenarios
	2013
	2014
	2015
	2016
	2017
	2018
	2019
	2020
	2021
	2022

	High Scenario
	258.14
	278.96
	301.3
	320.47
	340.71
	362.1
	384.67
	408.5
	430.51
	453.56

	Low Scenario
	253.77
	265.78
	278.16
	289.33
	300.39
	314.85
	330.44
	346.51
	362.13
	378



	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	


[image: image5.png]500

450

400

300

453.56

2013

2014

2015

2016

2017

2018

2019

2020

2021

2022

M High Scenario

M Low Scenario





Figure 4: Electricity Demand Projections for Ten Years
In this projection, electricity generation capacity additions are also forecasted taking into account all power plants which are operational, under construction and newly licensed. Generation capacity projection is given in Table 5: 
Table 5 Projection of Total Generation Capacity by Fuel Types (TWh)

	YEARS
	2012
	2013
	2014
	2015
	2016
	2017
	SHARE IN 2017 (%)

	LIGNITE
	52,712
	52,715
	52,939
	56,143
	60,470
	61,870
	14.55%

	HARDCOAL
	3,967
	3,967
	3,967
	4,969
	7,020
	8,070
	1.90%

	IMPORTED COAL
	26,827
	26,827
	26,786
	29,697
	33,356
	42,567
	10.01%

	NATURAL GAS
	149,344
	166,022
	177,262
	180,853
	186,092
	187,249
	44.02%

	GEOTHERMAL
	1,184
	1,294
	1,702
	2,206
	2,410
	2,410
	0.57%

	FUEL OIL
	9,604
	9,604
	9,604
	9,604
	10,009
	10,414
	2.45%

	DIESEL
	148
	148
	148
	148
	148
	148
	0.03%

	NUCLEER
	0
	0
	0
	0
	0
	0
	0.00%

	OTHER
	1,373
	1,373
	1,373
	1,373
	1,373
	1,373
	0.32%

	THERMAL TOTAL
	245,157
	261,948
	273,780
	284,991
	300,879
	314,102
	73.85%

	BIOGAS+WASTE
	1,136
	1,260
	1,404
	1,481
	1,538
	1,538
	0.36%

	HYDRO
	62,413
	66,805
	80,483
	87,269
	96,097
	98,335
	23.12%

	WIND 
	7,950
	8,153
	8,677
	9,724
	10,902
	11,356
	2.67%

	TOTAL
	316,657
	338,166
	364,344
	383,465
	409,416
	425,331
	100.0%


	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	


According to the 5-year projection it is clear that fossil fuels will remain the main sources for electricity generation (73.85 % in 2017). Natural gas will continue to dominate the market. Hydro will account for 23.12% of the mix whereas all non-hydro renewable combined (geothermal/biogas/waste/wind) will only account for 3.03% of all electricity generation. This projection is consistent with continuing fossil fuel dependent characteristics of Turkish electricity sector, which is illustrated in  REF _Ref372204275 \h  \* MERGEFORMAT 
Figure 5. The share of fossil fuels in the mix has been continuously increasing since the 1970s, reaching 71.6% in 2013.



[image: image7.png]Fossil Fuels vs. Renewable

90,0
80,0 \‘\
700 /h/\ /\‘\f/ 71,6
60,0
50,0
20,0 | Fossil Fuels
30,0 \ ——Renewables
K 28,4
w0 |-V A\Vaha\Waed
! A
10,0
00 T T
WO g0 g g0 B P B B S P
DRI R AD AT A AT AR





Figure 4 Fossil Fuels and Renewable in Turkish Electricity Mix (1970-2013)

In the shed of above analysis for the baseline scenario (continuation of current situation) we can conclude that: 

a)  Energy demand in Turkey has been increasing with significant rates since ten years, and it is expected to continue at least for next five years. 
b) Even all operational plants, construction phase plants and licensed ones are taken into account lack of supply is projected after five operational years
.. So, there is significant need for electricity generation investments to satisfy demand, which means electricity to be generated by the project activity would otherwise be generated by new power plants to avoid power shortage in coming years.


c) Fossil fuels will hold the dominance in generation mix till the end of 2021 with 73.85% share. Hydro included renewable will remain low with 23.12% share and non-hydro energy contribution will stay negligible with only 3.03% of total share by the end of that period. This also shows that most of new capacity additions will be fossil fuel fired power plants.
B.5.
Description of how the anthropogenic emissions of GHG by sources are reduced below those that would have occurred in the absence of the registered CDM project activity (assessment and demonstration of additionality):
For the explanation of how and why the project activity leads to emission reductions that are additional to what would have occurred in the absence of the project activity, the Baseline Methodology refers to the consolidated “Tool for the demonstration and assessment of additionality”
 version 7.0.0 (Tool), which defines a step-wise approach to be applied to the proposed project.

Step 1. Identification of alternatives to the project activity consistent with current laws and regulations.

Sub-step 1a. Define Alternatives to the project activity

To identify the realistic and credible alternative scenario(s) for project participants, scenarios in the Tool are assessed:

a) The proposed project activity undertaken without being registered as a GS VER project activity
This alternative is realistic and credible as Düzova WPP may undertake project activity if it sees no risk for project and/or if the project turns out to be financially attractive without GS VER credit income. However, investments analyze shows that the project is not economically feasible without GS VER credit income. Detail information is given in Step-3.

b) Other realistic and credible alternative scenario(s) to the proposed GS VER project activity scenario that deliver electricity with comparable quality, properties and application areas, taking into account, where relevant, examples of scenarios identified in the underlying methodology;

The project activity is power generation activity without any greenhouse gas emission harnessing the energy of the wind. Being a private entity, Düzova doesn’t have to invest power investments even proposed project activity. Also, since Düzova has a license only for wind power investment and since in the proposed project area there is no hydro or other sources for electricity generation, other project activities delivering same electricity in the same project area is not realistic for project participant.

c) Continuation of the current situation, i.e.Düzova WPP is not built

The decision in favor or against a project investment depends on the expected revenues and risks, like for every other private investment. Investment decisions other than Düzova WPP are independent from the question whether Düzova WPP is built or not. This alternative is also realistic and credible. 

According to baseline scenario, which is described in B.4, there is a need for energy investment to satisfy increasing demand and if the Düzova WPP is not built, the same amount of energy will be supplied by other private investors to the grid. Forecasts shows that electricity supplied in the absence of Düzova WPP will be mainly based on fossil fuels as the projections for the year of 2017 forecasts 73.85% share for fossil fuels in the energy mix.

In the absence of the project the power will be produced by new and existing power plants in accordance with the baseline in ACM0002 version 16.

Outcome of Step 1.a: Therefore, two realistic and credible alternative scenarios are identified for the project activity:

a) The proposed project activity undertaken without being registered as a GS VER project activity.

b) Continuation of the current situation, i.e. Düzova WPP is not built.
Sub-step 1b. Consistency with mandatory laws and regulations

Both alternatives are (building or not building the project activity) in compliance with the following identified applicable mandatory laws and regulations:

(1) Electricity Market Law

(2) Law on Utilization of Renewable Energy Resources for the Purpose of Generating Electricity Energy

(3) Environment Law




















Project Implementation Schedule and Early Consideration of VER
	Date (DD/MM/YYYY)
	Activity

	03/05/2007
	Issuance of the Licence

	15/11/2008
	Proposal Requests from Consultants for VER Development

	28/01/2009
	Signature with FutureCamp GmbH for VER Development

	13/02/2009
	Holding of LSC Meeting

	17/02/2009
	Electromechanical Contract Signature with GE

	01/06/2009
	Starting Erection of first 6Turbines

	11/08/2009
	Starting to the Operation of first 6 turbines/start date of the first crediting period

	20/02/2010
	Starting date for construction of additional 6 turbines

	08/04/2010
	Amendment of license to 30 MW.

	20/05/2010
	Issuance of EIA Not Required Certificate for additional 6 turbines

	25/05/2010
	Electromechanical Contract Signature with GE for additional 6 turbines

	01/09/2010
	Starting to the Operation of additional 6 turbines

	05/10/2010
	Final Validation Report

	22/11/2010
	Gold Standard Registration

	31/08/2010
	End of the first monitoring period

	09/06/2011
	Approval Date of first design Change 

	30/09/2011
	End of the second monitoring period

	06/01/2012
	Issuance of EIA exemption for second design change and application to EMRA for licence amendment

	01/03/2012
	Amendment of licence to 30 MWe / 40 MWm by EMRA

	05/04/2012
	Construction start date for second design change

	28/05/2012 13/06/2012
	Brake down of WTG 3 

	14/08/2012 – 26/09/2012
	Brake down of WTG 6

	01/10/2012
	Commercial operation date for the four turbines for second design change

	15/10/2012
	Approval Date of second design Change

	13/03/2013
	Amendment of licence to 50 MWe / 50 MWm by EMRA for third design change

	18/03/2013
	Electromechanical Contract Signature with GE for additional 4 turbines for third design change

	06/05/2013
	Construction start date for third design change

	23/08/2013
	Loan Agreement for additional 4 turbines for third design change

	21/03/2014
	Commercial operation date for the 50 MW (third design change)

	19/09/2014
	Amendment of licence to 51.5 MW

	30/09/2014
	End of the 4th monitoring period

	31/10/2015
	End of the 5th monitoring period

	10/08/2016
	End date of the first crediting period

	10/08/2016
	Start date of the second crediting period


According to Turkish regulations, to get necessary permits for further project implementation, licence issued by EMRA is required. Hence, issuance of licence cannot be considered as ‘Project Start Date’ but a prerequisite to proceed for further project development activities. Date of contract signature with GE for turbine supply is set to be project starting date since, with this contract ÜTOPYA committed to pay considerable amount of investment cost for this project.  You can see from above Implementation Schedule that before starting to the project activity, which is the date of the signature of contract with GE, ÜTOPYA started to analysis of VER, decided to get consultancy for VER development, signed contract with a carbon consultant and held LSC Meeting before the starting to physical construction on site.

Aforementioned schedule shows us that ÜTOPYA started to consideration of VER from the beginning of the project implementation and VER Revenue has decisive impact on decision of proceeding to the project.
In the following, the investment analysis is applied to clearly demonstrate that the project activity is unlikely to be financially/economically attractive without the revenue from the sale of VERs.

Step 2. Investment analysis

Sub-step 2a: Appropriate analysis method
With the help of the investment analysis it shall be demonstrated that the proposed project activity is not economically or financially feasible without the revenue from the sale of VERs. Therefore, the benchmark analysis shall be applied, as identified alternatives P1 and P2 require benchmark analysis, i.e. there is no alternative project activity for a comparison of the attractiveness of an investment.

Sub-step 2b: Option III: Benchmark analysis
As a common means to evaluate the attractiveness of investment projects and compare them with possible alternatives, the IRR (Internal Rate of Return) shall be used.

According to the Tool, benchmark can be derived from ‘Estimates of the cost of financing and required return on capital (e.g. commercial lending rates and guarantees required for the country and the type of project activity concerned), based on bankers views and private equity investors/funds’. As a banker view, according to Worldbank loan appraisal document
, threshold equity IRR for wind power investments (i.e. required returns of equity for wind power investors) in Turkey is 15%.  

Sub-step 2c: Calculation and comparison of the IRR
The IRR is calculated on the basis of expected cash flows (investment, operating costs and revenues from electricity sale), as used in the financial analysis for the feasibility assessment of the project. Calculations are performed for 15 MW and 30 MW installed power (both 12 and 16 turbines) and 50 MW (with 20 turbines). In order to be conservative, for investment analysis of 30 MW capacity with 16 turbines and 50 MW with 20 turbine cases, only turbine costs are considered as additional cost of capacity extension investment. 
The parameters and values used for the IRR calculation are available to DOE during validation. 
The resulting equity IRRs for 20 years, for both 15 MW and 30 MWe installed capacity (with 12 turbines and 16 turbines) and 50 MWe with 20 turbines, are stated in below table:

Table 6 Equity IRR values for project activity

	Period
	IRR – 15 MW (6 turbines)
	IRR – 30 MWe (12 turbines)
	IRR – 30 MWe (16 turbines)
	IRR – 50 MWe (20 turbines)

	20 years
	8.54%
	11.50%
	9.01%
	10.54%


Without adding any risk premium to the benchmark, which is 15%, it does clearly exceed the resulting IRRs, thus rendering the project activity economically unattractive.
Table 9: IRR inputs
	Item
	Value
	Units
	Source
	Date of The Source Document

	Installed Power 
	51.5/51.5
	MWm/MWe
	
	19/09/2014

	Technical lifetime of the project
	25
	years
	Tool to determine the remaining lifetime of equipment (v.1) 

	16/10/2009

	Gross Generation 
	152.9
	GWh
	Power Production Assessment 
	19/06/2013

	Electricity tariff
	55
	EUR Per MWh
	Feed-in-tariff

 
	18/05/2005

	Total Investment Cost
	57,379,000 
	EUR
	
	


Sub-step 2d: Sensitivity analysis

While the main parameter determining the income of the project is the electricity sales price, a variation of the accordant value shall demonstrate the reliability of the IRR calculation. Electricity price (EP) is varied according to regulated prices (50 and 55 €/MWh) and an indicative spot price (60 €/MWh). In reality, spot price occurrences are not used in wind project economic analysis by financiers due to high volatility in this price. In addition to the TL based spot price volatility, Euro/TL exchange rate volatility adds more uncertainty to price evolution in spot market as financing of these projects will be Euro base (complete data and figures on spot market prices and exchange rates are available to DOE). Moreover, emerging market conditions (a new Balancing and Settlement Regulation
 will come into force next year which changes price mechanism in spot market) adds further uncertainties to the prices in spot market in mid/long term period. 

The investment, energy yield and operating cost parameters are varied with +/- 10%. The worst, base and best case results for each parameter variation is given below, in Table 7. The sensitivity analysis confirms that the proposed project activity is unlikely to be economically attractive without the revenues from VERs as even the maximum IRR result for the best case scenario (11.47%, 14.63%, 12.07%, 13.84% for 15 MW, 30 MW (with 12 turbines and 16 turbines cases) and for 50 MW cases, respectively) is below the benchmark, which is 15%. 

Table 7 IRR results according to different parameters (for other parameters 55 €/MWh EP is applied)

	Parameter
	Electricity Price
	Investment Cost
	Energy Yield
	Operating Cost

	Variance
	50
	55
	60
	-10%
	0%
	10%
	-10%
	0%
	10%
	-10%
	0%
	10%

	IRR – 15 MW
	5.81%
	8.54%
	11.27%
	9.45%
	8.54%
	7.73%
	5.59%
	8.54%
	11.47%
	9.41%
	8.54%
	7.65%

	IRR – 30 MW (12 turbines)
	8.44%
	11.50%
	14.62%
	12.67%
	11.50%
	10.48%
	8.37%
	11.50%
	14.63%
	12.29%
	11.50%
	10.70%

	IRR – 30 MW (16 turbines)
	6.06%
	9.01%
	12.03%
	9.98%
	9.01%
	8.16%
	5.97%
	9.01%
	12.07%
	9.81%
	9.01%
	8.21%

	IRR – 50 MW (20 turbines)
	7.34%
	10.53%
	13.84%
	11.58%
	10.53%
	9.60%
	7.56%
	10.53%
	13.51%
	11.18%
	10.53%
	9.88%


Step 4: Common Practice Analysis

Sub-step 4a. Other activities similar to the proposed project activity

At the moment, 92 production licenses for wind power plants are issued by EPDK, the “Electricity Market Regulation Agency”.
 Work flow of the production projects are different in Turkey comparing with other countries. In many countries, the project developer should grant all other permits to be able to have a production licence. In Turkey, to be able to take some permits like construction and building permits and EIA Not Required certificate the project developer should have production licence. So, even 92 licenses have been issued by EPDK, this doesn’t mean that all these companies have taken investment decision and all these projects will be implemented. It is assessed that, the main intention of license applicants-owners is getting the right of building wind farm on proposed area to have a valuable asset, than they wait for appropriate incentive for wind energy or look for VER credits to get necessary finance to implement these projects. 

There are 18 wind projects in operation as May 2009. These projects are given in below table.
Table 8 The wind projects in operation as May 2009
 
	NO.
	 Location
	Company
	Installed Cap. (MW)
	Business Model of the Project
	GS Project ID

	1
	İzmir-Çeşme
	Alize Enerji Elektrik Üretim A.Ş.
	1.50
	IPP
	-

	2
	Çanakkale-İntepe
	Anemon Enerji Elektrik Üretim A.Ş.
	30.40
	IPP-VER
	GS347

	3
	Manisa-Akhisar
	Deniz Elektrik Üretim Ltd. Şti.
	10.80
	IPP-VER
	-

	4
	Çanakkale-Gelibolu
	Doğal Enerji Elektrik Üretim  A.Ş.
	14.90
	IPP-VER
	GS439

	5
	Manisa-Sayalar
	Doğal Enerji Elektrik Üretim  A.Ş.
	30.60
	IPP-VER
	GS369

	6
	İstanbul-Çatalca
	Ertürk Elektrik Üretim A.Ş.
	60.00
	IPP-VER
	GS367

	7
	İzmir-Aliağa
	İnnores Elektrik Üretim A.Ş.
	42.50
	IPP-VER
	GS352

	8
	İstanbul-Gaziosmanpaşa
	Lodos Elektrik Üretim A.Ş.
	24.00
	IPP-VER
	GS503

	9
	İzmir-Çeşme
	Mare Manastır Rüzgar Enerjisi Santralı San. ve Tic. A.Ş.
	39.20
	IPP-VER
	GS368

	10
	İstanbul-Hadımköy
	Sunjüt  Sun’i Jüt San. ve Tic. A.Ş
	1.20
	IPP
	-

	11
	İstanbul-Silivri
	Teperes Elektrik Üretim A.Ş.
	0.85
	IPP
	-

	12
	Balıkesir-Bandırma
	Yapısan Elektrik Üretim A.Ş.
	30.00
	IPP-VER
	-

	13
	Balıkesir-Şamlı
	Baki Elektrik Üretim Ltd. Şti.
	57.00
	IPP-VER
	GS351

	14
	Muğla-Datça
	Dares Datça Rüzgar Enerji Santralı Sanayi ve Ticaret A.Ş.
	17.00
	IPP-VER
	GS438

	15
	Hatay-Samandağ
	Deniz Elektrik Üretim Ltd. Şti. 
	20.00
	IPP-VER
	-

	16
	Aydın-Didim
	Ayen Enerji A.Ş.
	31.50
	IPP-VER
	GS436

	17
	İzmir-Çeşme
	Ares Alaçatı Rüzgar Enerjisi Sant. San. ve Tic. A.Ş.
	7.20
	BOT
	-

	18
	Çanakkale-Bozcaada
	Bores Bozcaada Rüzgar Enj. Sant. San. ve Tic. A.Ş.
	10.20
	BOT
	-


 Sub-step 4b: Discuss any similar options that are occurring

Two of the projects given in Table 8 (No. 17 and 18) are realised as BOT (Build Own Transfer) plants, that means stately owned and with guaranteed income which is different model with IPPs as project activity.

Three of the projects given in Table 8 (No. 1, 10 and 11) there are no further information on the circumstances for their implementation, however, due to small capacity; these projects could be considered as R&D investment of the companies and cannot be considered similar activity. Nevertheless, their size alone gives a reason for not including them into the common practice analysis, as the investment risks are far away from those for Düzova.

All other projects given in Table 8 are realised as VER projects. Karakurt
, Bares
 and Sebenoba
 projects (No. 3, 12 and 15) are registered as VER+. All remaining 12 projects are developed as GS-VER projects
.  

As shown above, the observed activities in the Turkish wind market can either not be considered similar, as they were realised under a different environment, or do not have to be included in this analysis since they are realised as VER or VER applicants. Thus, no similar options occur, showing that wind power is far from being common practice in Turkey.

Summarizing the explanations above one can state that the commercial risks are high for this project. Taking into consideration the significant technological and investment barriers and barriers due to prevailing practice in conjunction with renewable energies and specifically with wind energy in Turkey, investors are unlikely to invest into the project in the absence of carbon finance.

The emissions reductions from the proposed project are therefore additional to what would have occurred in the absence of the GS-VER project activity. 

	B.6.
 Emission reductions:


	B.6.1.
Explanation of methodological choices:


Baseline scenario is identified and described in B.4. Emission reductions due to project activity will be calculated according to “Tool to calculate the emission factor for an electricity system”(v4) (Tool)
 as indicated in ACM0002 ver. 16.0.0.

A brief explanation of this methodology is given in Tool as (page 4): 

“This methodological tool determines the CO2 emission factor for the displacement of electricity generated by power plants in an electricity system, by calculating the “combined margin” emission factor (CM) of the electricity system.”



Corresponding formulations and calculations of CM factor and emission reductions are shown in B.6.3

	B.6.2. 
Data and parameters that are available at validation:


	Data / Parameter
	Gross electricity generation

	Unit
	MWh

	Description
	Gross Electricity supplied to the grid by relevant sources (2011-2013)

	Source of data
	Turkish Electricity Transmission Company (TEİAŞ), Annual Development of Turkey’s Gross Electricity Generation of Primary Energy Resources (2006-2013) TEİAŞ

www.teias.gov.tr/T%C3%BCrkiyeElektrik%C4%B0statistikleri/istatistik2013/uretim%20tuketim(23-47)/37(06-13).xls


	Value(s) applied
	See Table 11

	Choice of data

or

Measurement methods and procedures 
	TEIAS is the national electricity transmission company, which makes available the official data of all power plants in Turkey.

	Purpose of the data
	Data used for emission reduction calculation

	Additional Comment
	


	Data / Parameter:
	Net electricity generation

	Unit:
	GWh

	Description:
	Net Electricity supplied to the grid by relevant sources (2011-2013)

	Source of data:
	Turkish Electricity Transmission Company (TEIAS), Annual Development of Electricity Generation- Consumption and Losses in Turkey (1984-2013) TEIAS, See 

http://www.teias.gov.tr/T%C3%BCrkiyeElektrik%C4%B0statistikleri/istatistik2013/uretim%20tuketim(23-47)/34(84-13).xls


	Value(s) applied:
	See Table 12 and Table 13

	Choice of data

or

Measurement methods and procedures
	This data is used to find relation between the gross and net electricity delivered to the grid by fossil fuel fired power plants (Table 12). 

Import and Export data is used to find total net electricity fed into the grid in the years of 2011, 2012 and 2013 (Table 13)

TEIAS is the national electricity transmission company, which makes available the official data of all power plants in Turkey.

	Purpose of data
	Data used for emission reduction calculation

	Additional comment
	


	Data / Parameter:
	HVi,y

	Unit:
	Mass or volume unit

	Description:
	Heating Values of fuels consumed for electricity generation in the years of 2011, 2012 and 2013

	Source of data:
	Heating Values Of Fuels Consumed In Thermal Power Plants In Turkey By The Electric Utilities, TEİAŞ. See:

http://www.teias.gov.tr/T%C3%BCrkiyeElektrik%C4%B0statistikleri/istatistik2013/yak%C4%B1t48-53/51.xls


	Value(s) applied:
	See Table 18

	Choice of data

or

Measurement methods and procedures
	There is no national NVC data in Turkey. However, TEİAŞ announces Heating values of fuels. This data is used to calculate annual NCVs for each fuel type

TEİAŞ is the national electricity transmission company, which makes available the official data of all power plants in Turkey.


	Purpose of data
	Data used for emission reduction calculation

	Additional comment
	


	Data / Parameter:
	FCi,y

	Unit:
	Mass or volume unit

	Description:
	Amount of fuel type i consumed in the project electricity system in year y

	Source of data:
	Annual Development of Fuels Consumed In Thermal Power Plants In Turkey By The Electric Utilities, TEİAŞ. See:

http://www.teias.gov.tr/T%C3%BCrkiyeElektrik%C4%B0statistikleri/istatistik2012/yak%C4%B1t48-53/49.xls  


	Value(s) applied:
	See Table 19

	Choice of data

or

Measurement methods and procedures
	TEİAŞ is the national electricity transmission company, which makes available the official data of all power plants in Turkey.

	Purpose of data
	Data used for emission reduction calculation

	Additional comment
	


	Data / Parameter:
	NCVi,y

	Unit:
	GJ/mass or volume

	Description:
	Net Calorific Value of fuel types in the years of 2011, 2012 and 2013

	Source of data:
	Calculated by using HVi,y to FCi,y as Net Calorific Values of fuel types are not directly available in Turkey.

	Value(s) applied:
	See Table 18 and Table 19 and Table 20

	Choice of data

or

Measurement methods and procedures
	TEİAŞ is the national electricity transmission company, which makes available the official data of power plants in Turkey. Calculation of NCVs from national HVi,y and FCi,y data, , is preferred to default IPCC data as these are more reliable. 

	Purpose of data
	

	Additional comment
	


	Data / Parameter:
	Sample Group for BM emission factor

	Unit:
	Name of the plants, MW capacities, fuel types, annual electricity generations and dates of commissioning.

	Description:
	Most recent power plants which compromise 20% of total generation

	Source of data:
	Annual Development Of Fuels Consumed In Thermal Power Plants In Turkey By The Electric Utilities, TEIAS:

http://www.teias.gov.tr/YayinRapor/APK/projeksiyon/KAPASITEPROJEKSIYONU2011.pdf 

http://www.teias.gov.tr/YayinRapor/APK/projeksiyon/KAPASITEPROJEKSIYONU2012.pdf
http://www.teias.gov.tr/YayinRapor/APK/projeksiyon/KAPASITEPROJEKSIYONU2013.pdf









	Value(s) applied:
	See Table 22

	Choice of data

or

Measurement methods and procedures
	TEIAS is the national electricity transmission company, which makes available the official data of all power plants in Turkey.

	Purpose of data
	

	Additional comment
	


	Data / Parameter:
	EFi

	Unit:
	tCO2/GJ

	Description:
	CO2 emission factor of fuel type i in year y

	Source of data:
	IPCC default values at the lower limit of the uncertainty at a 95% confidence interval as provided in table 1.4 of Chapter1 of Vol. 2 (Energy) of the IPCC Guidelines on National GHG Inventories.

http://www.ipcc-nggip.iges.or.jp/public/2006gl/pdf/2_Volume2/V2_1_Ch1_Introduction.pdf 

	Value(s) applied:
	See Table 16 and Table 20

	Choice of data

or

Measurement methods and procedures
	No plant specific and national emission factor data is available in Turkey. So, IPCC default data is used.

For Fuel Oil Power Plants: 'Gas/Diesel Oil' data is used for conservativeness.

For Coal Power Plants: In the 205th page of official document given in the link below, it is stated that Çolakoğlu and İçdaş utilizes 'Taşkömürü' (Hardcoal). And at the Table-2 in page 157 of the same document, Taşkömürü is dived in two groups: Bituminous and Antharcite. Since Sub-Bituminous Coal is under Brown Coal in the same table and since Other Bituminous Coal has lower EF than Anthracite in 1.4 of IPCC Guidelines, EF for 'Other Bituminous Coal' is used. See: http://www.dpt.gov.tr/DocObjects/Icerik/4225/Enerji_Hammaddeleri_(Linyit_Taskömuru-Jeotermal)


	Purpose of data
	

	Additional comment
	


	Data / Parameter:
	ηi,y

	Unit:
	-

	Description:
	Average energy conversion efficiency of power unit m in year y

	Source of data:
	TEİAŞ and Annex I of the “Tool to calculate the emission factor for an electricity system”

	Value(s) applied:
	See Table 16

	Choice of data

or

Measurement methods and procedures
	For efficiency rates of Coal and Lignite Power Plants See Annex-1 of the Tool (highest rate is applied to be conservative)
For Natural Gas and Oil plants efficiencies, default value given in the tool is applied:
http://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-07-v2.pdf 








	Purpose of data
	

	Additional comment
	


	B.6.3. 
Ex-ante calculation of emission reductions:


Emission reductions due to project activity are calculated with stepwise guidance of “Tool to calculate the emission factor for an electricity system”.
Step 1. Identify the relevant electric power system
There are 21 regional distribution regions in Turkey but no regional transmission system is defined. In Article 20 of License Regulation it is stated that:

‘TEIAS shall be in charge of all transmission activities to be performed over the existing transmission facilities and those to be constructed as well as the activities pertaining to the operation of national transmission system via the National Load Dispatch Center and the regional load dispatch centers connected to this center and the operation of Market Financial Reconciliation Center
’. 
As it can be understood from this phrase, only one transmission system which is national transmission system is defined and only TEİAŞ is in the charge of all transmission system related activities. Moreover, a communication with representative of TEIAS which indicates that: “There are not significant transmission constraints in the national grid system which is preventing dispatch of already connected power plants” is submitted to the DOE. Therefore, the national grid is used as electric power system for project activity. The national grid of Turkey is connected to the electricity systems of neighbouring countries. Complying with the rules of the tool, the emission factor for imports from neighbouring countries is considered 0 (zero) tCO2e/MWh for determining the OM.

There is no information about interconnected transmission capacity investments, as TEİAŞ, who operates the grid, also didn’t take into account imports-exports for electricity capacity projections.
 Because of that, for BM calculation transmission capacity is not considered.

Step 2: Choose whether to include off-grid power plants in the project electricity system (optional)
According to Tool project participants may choose between the following two options to calculate the operating margin and build margin emission factor:

Option I: Only grid power plants are included in the calculation.

Option II: Both grid power plants and off-grid power plants are included

For this project Option I is chosen.

Step 3: Select an operating margin (OM) method
The Turkish electricity mix does not comprise nuclear energy. Also there is no obvious indication that coal is used as must run resources. Therefore, the only low cost resources in Turkey, which are considered as must-run, are Hydro, Renewables and Waste, Geothermal and Wind (according to statistics of TEIAS).

Table 9 Share of Low Cost Resource (LCR) Production 2009-2013 (Production in GWh) 

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	


	
	2009
	2010
	2011
	2012
	2013

	Gross production
	194,812.9
	211,207.7
	229,395.1
	239,496.8
	240,153.95

	TOTAL LCR Production
	38,229.6
	55,837.6
	58,226.0
	65,345.8
	69,512.70

	    Hydro
	35,958.4
	51,795.5
	52,338.6
	57,865.0
	59,420.47

	    Renewable and Waste
	340.1
	457.5
	469.2
	720.7
	1,171.20

	    Geothermal and Wind
	1,931.1
	3,584.6
	5,418.2
	6,760.1
	8,921.04

	Share of LCRs
	19.62%
	26.44%
	25.38%
	27.28%
	28.95%

	Average of last five years
	25.53%


As average share of low cost resources for the last five years is far below 50% (23.22%), the Simple OM method is applicable to calculate the operating margin emission factor (EFgrid,OM,y)

For the Simple OM method, the emissions factor can be calculated using either of the two following data vintages: 

· Ex ante option: A 3-year generation-weighted average, based on the most recent data available at the time of submission of the CDM-PDD to the DOE for validation, or 

· Ex post option: The year, in which the project activity displaces grid electricity, requiring the emissions factor to be updated annually during monitoring.
The ex ante option is selected for Simple OM method, with the most recent data for the baseline calculation stemming from the years 2011 to 2013.

Step 4: Calculate the operating margin emission factor according to the selected method
The Simple OM emission factor is calculated as the generation-weighted average CO2 emissions per unit electricity generation (tCO2e/MWh) of all generating power plants serving the system, not including low-cost/must-run power plants. The calculation of the simple OM emission factor can be based on:
· data on net electricity generation a CO2 emission factor of each power unit (Option A), or 

· data on the total electricity generation of all power plants serving the system and the fuel types and total fuel consumption of the project electricity system (option B).

Option B is chosen to calculate the Simple OM, as there is no power plant specific data available, renewable power generation are considered as low-cost power sources and amount of electricity supplied to the grid by these sources is known.

Where Option B is used, the simple OM emission factor is calculated based on the electricity supplied to the grid by all power plants serving the system, not including low-cost / must-run power plants, and based on the fuel type(s) and total fuel consumption of the project electricity system, as follows: 


[image: image8.wmf]y

i

y

i

CO

y

i

y

i

y

OMsimple

grid

EG

xEF

xNCV

FC

EF

å

=

,

,

2

,

,

,

,

   
(1)

Where:

	EFgrid,OMsimple,y 
	= 
	Simple operating margin CO2 emission factor in year y (tCO2/MWh) 

	FCi,y 
	= 
	Amount of fossil fuel type i consumed in the project electricity system in year y (mass or volume unit)

	NCVi,y 
	= 
	Net calorific value (of fossil fuel type i in year y (GJ / mass or volume unit) 

	EFCO2,i,y 
	= 
	CO2 emission factor of fossil fuel type i in year y (tCO2/GJ) 

	EGy 
	= 
	Net electricity generated and delivered to the grid by all power sources serving the system, not including low-cost / must-run power plants / units, in year y (MWh)

	i 
	= 
	All fossil fuel types combusted in power sources in the project electricity system in year y

	y 
	= 
	three most recent years for which data is available at the time of submission of the PDD to the DOE for validation


For the calculation of the OM the consumption amount and heating values of the fuels for each sources used for the years 2011, 2012 and 2013, is taken from the TEİAŞ annual statistics, which holds data on annual fuel consumption by fuel types as well as electricity generation amounts by sources and electricity imports. All the data needed for the calculation, including the emission factors and net calorific values (NCVs), are provided in part B of this Annex. Total CO2 emission due to electricity generation in Turkey for the years of 2011, 2012 and 2013 are given in Table 14.

Table 14: CO2 emissions from electricity production 2011-2013 (ktCO2)
	
	2011
	2012
	2013

	CO2-Emmissions
	109,963
	110,931
	104,840




	
	
	
	

	
	
	
	


Table 11 presents the gross electricity production data by all the relevant energy sources. Low-cost/must run resources like hydro, wind, geothermal and biomass do not emit fossil CO2 and thus are not taken into account in calculations.

Table 15: Gross electricity production by fossil energy sources 2011-2013 (GWh)

	Energy Source
	2011
	2012
	2013

	Natural Gas
	104,047.6
	104,499.2
	105,116.3

	Lignite
	38,870.4
	34,688.9
	30,262

	Coal
	27,347.5
	33,324.2
	33,524

	Fuel Oil
	900.5
	 981.3
	1,192.5

	Motor Oil
	3.1
	 657.4
	546.4

	Naphtha
	0.0
	0.0
	0.0

	LPG
	0.0
	0.0
	0.0

	Total fossil fuels
	171,169.1
	174,151.0
	170,641.2



	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


Above table shows gross data, but EGy in the above described formula means electricity delivered to the grid, i.e. net generation, the following table shall help to derive net data by calculating the net/gross proportion on the basis of overall gross and net production numbers.

Table 16: Net/gross electricity production 2011-2013 (GWh) 

	
	2011
	2012
	2013

	Gross Production
	229,395.10
	239,496.80
	240,153.95

	Net Production
	217,557.70
	227,707.30
	228,977.00

	Relation
	94.84%
	95.08%
	95.35%



	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


Multiplying these overall gross/net relation percentages with the fossil fuels generation amount does in fact mean an approximation. However this is a conservative approximation as the consumption of plant auxiliaries of fossil power plants is higher than for the plants that are not included in the baseline calculation. In the end this would lead to a lower net electricity generation and therefore to a higher OM emission factor and higher emission reductions.

Table 13 shows the resulting net data for fossil fuel generation and adds electricity imports.

Table 17: Electricity supplied to the grid, relevant for OM (GWh)

	
	2011
	2012
	2013

	Net El. Prod. by fossil fuels
	162,336.3
	165,578.2
	162,699.4

	Electricity Import
	4,555.8
	5,826.7
	7,429.4

	Electricity supplied to grid by relevant sources
	166,892.1
	171,404.9
	170,128.8



	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


Electricity import is added to the domestic supply in order to fulfill the Baseline Methodology requirements. Imports from connected electricity systems located in other countries are weighted with an emission factor of 0 (zero) tCO2/MWh.

The last step is to calculate EFgrid,OMsimple,y:

Table 18: Calculation of Weighted EFgrid,OMsimple,y (ktCO2/GWh)

	
	2011
	2012
	2013

	CO2-Emmissions (ktCO2)
	109,963
	110,931
	104,840

	Net Electricity Supplied to Grid by relevant sources (GWh) 
	166,892.1
	171,404.9
	170,128.8

	EFgrid,OMsimple,y (ktCO2/GWh)
	0.6589
	0.6472
	0.6162

	3-year Generation Weighted Average EFgrid,OMsimple,y (ktCO2/GWh)
	0.6407



	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	


Step 5: Identify the group of power units to be included in the build margin
Option 1: For the first crediting period, calculate the build margin emission factor ex ante based on the most recent information available on units already built for sample group m at the time of CDM-PDD submission to the DOE for validation. For the second crediting period, the build margin emission factor should be updated based on the most recent information available on units already built at the time of submission of the request for renewal of the crediting period to the DOE. For the third crediting period, the build margin emission factor calculated for the second crediting period should be used. This option does not require monitoring the emission factor during the crediting period.

Option 2: For the first crediting period, the build margin emission factor shall be updated annually,

ex post, including those units built up to the year of registration of the project activity or, if information up to the year of registration is not yet available, including those units built up to the latest year for which information is available. For the second crediting period, the build margin emissions factor shall be calculated ex ante, as described in Option 1 above. For the third crediting period, the build margin emission factor calculated for the second crediting period should be used.

Again, the project proponents can chose between two options according to the calculation tool: calculate the BM ex-ante based on the latest available data or update the BM each year ex post. Option 1, the ex-ante approach, is again chosen.

The sample group of power units m used to calculate the build margin should be determined as per the following procedure, consistent with the data vintage selected above. The last plant of the sample group is built in 2010 and until the end of the 2012 which is the latest year for official statistics published for plants put in operation. VER plants are excluded from sample group. While identifying the sample group dismantled, revised, retrofits are not included. Only new capacity additions (power plants / units) are taken into account. All power plants in operation by 2012 are given in Annex. 

Total electricity generation in 2012 is 239,496.8 GWh and 20% of this generation is 47,899.36 (AEGSET->20%) GWh. Total electricity generation of last five power plants in operation is 369 GWh (AEGSET-5-units) which is lower than 20% total generation in 2012.  Since AEGSET->2%0 is bigger than  AEGSET-5-units , SET->20% is chosen as SETsample. Also in the sample group there is no power plant started supply electricity to grid more than 10 years ago, steps d, e and f are ignored 

Sample group for BM emission factor is given the Annex. The derivation of the values presented in
Table 19 is contained in a separate excel file which is available for validation.







Table 19: Sample group generation for BM emission factor calculation (GWh)
	Energy Source
	2010
	2011
	2012
	Sample Group Total Generation (GWh)

	Natural Gas
	           1,056.3    
	11,815.1
	10,540.0
	23,411.4

	Lignite
	0
	0.0
	40.0
	40.0

	Coal
	           8,012.0    
	4,320.0
	201.0
	12,533.0

	Fuel Oil
	0
	701.2
	0.0
	701.2

	Hydro
	           3,336.8    
	3,730.4
	5,354.0
	12,421.2

	Renewable
	                 2.4    
	150.0
	677.0
	829.4

	TOTAL
	         12,407.5    
	20,716.7
	16,812.0
	49,936.2



	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	




The build margin emissions factor is the generation-weighted average emission factor (tCO2/MWh) of all power units m during the most recent year y for which power generation data is available, calculated as follows:


[image: image9.wmf]å

å

=

m

y

m

m

y

m

EL

y

m

y

BM

grid

EG

xEF

EG

EF

,

,

,

,

,

,



(2)
Where:
	EFgrid,BM,y 
	=
	Build margin CO2 emission factor in year y (tCO2/MWh) 

	EGm,y 
	=
	Net quantity of electricity generated and delivered to the grid by power unit m in year y (MWh) 

	EFEL,m,y 
	=
	CO2 emission factor of power unit m in year y (tCO2/MWh) 

	m 
	=
	Power units included in the build margin 

	y 
	=
	Most recent historical year for which power generation data is available 


Because of only fuel types and electricity generation data are available for the sample group, Option B2 of Simple OM method is used to calculate emission factor. The formulation of emission factor is given below:


[image: image10.wmf]y

m

y

i

m

CO

y

m

EL

x

EF

EF

,

,

,

,

2

,

,

6

.

3

h

=



(3)
Where:

	EFEL,m,y 
	=
	CO2 emission factor of power unit m in year y (tCO2/MWh) 

	EFCO2,m,i,y 
	=
	Average CO2 emission factor of fuel type i used in power unit m in year y (tCO2/GJ) 

	ηm,y 
	=
	Average net energy conversion efficiency of power unit m in year y (%) 

	y 
	=
	Three most recent years for which data is available at the time of submission of the PDD to the DOE for validation


BM emission factor calculation and resulted BM factor is given in the Table 16. For BM factor calculation, since no official emission factors for different fuel types are available, lower confidence default values of IPCC Guidelines are applied. Explanation of emission factor selection for each energy sources and references are given in B.6.2 part of the PDD. 
Table 20: BM emission factor calculation using equation (2) and (3)

	Energy Source
	Sample Group Total Generation (GWh)
	Effective CO2 emission factor (tCO2/TJ)
	Average Efficiency (ηm,y)
	CO2 Emission (ktCO2)

	Natural Gas
	23,411.4
	54.3
	60.00%
	7,627.4

	Lignite
	40.0
	90.9
	50.00%
	26.2

	Coal
	12,533.0
	89.5
	50.00%
	8,076.3

	Fuel Oil
	701.2
	72.6
	46.00%
	398.4

	Hydro
	12,421.2
	0.0
	0.00%
	0.0

	Renewables
	829.4
	0.0
	0.00%
	0.0

	Total
	49,936.2
	 
	 
	16,128.3

	EFgrid,BM,y (tCO2/MWh)
	0.3230


[image: image18.png]




	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	


Step 6: Calculate the combined margin emission factor 

The combined margin emission factor is calculated as follows:


[image: image11.wmf]BM

y

BM

grid

OM

y

OM

grid

y

CM

grid

w

EF

w

EF

EF

*

*

,

,

,

,

,

,

+

=



(4)
Where:

	EFgrid,BM,y 
	=
	Build margin CO2 emission factor in year y (tCO2/MWh) 

	EFgrid,OM,y 
	=
	Operating margin CO2 emission factor in year y (tCO2/MWh) 

	wOM 
	=
	Weighting of operating margin emissions factor (%) 

	wBM 
	=
	Weighting of build margin emissions factor (%) 


According to the Tool for hydro power generation project activities: wOM = 0.75 and wBM = 0.25 will be applied  

Then:

EFgrid,CM,y = 
= 0.66407 tCO2/MWh * 0.75 + 0.3230 tCO2/MWh * 0.25 

= 0.5612tCO2/MWh 
Emission reductions are calculated as follows:

 ERy = BEy − PEy − LEy 

(5)

Where:

ERy  = Emission reductions in year y (t CO2/yr).

BEy    = Baseline emissions in year y (t CO2/yr).

PEy   = Project emissions in year y (t CO2/yr).

LEy = Leakage emissions in year y (t CO2/yr).
Project emissions

The proposed project activity involves the generation of electricity by development of a wind farm. The generation of electricity does not result in greenhouse gas emissions and therefore is taken as 0 tCO2/year.
Leakage

The energy generating equipment is not transferred from or to another activity. Therefore leakage does not has to be taken into account and is taken as 0 tCO2/year.

Then: ERy = BEy 
Baseline emissions

Baseline emissions include only CO2 emissions from electricity generation in fossil fuel fired power plants that are displaced due to the project activity, calculated as follows:

BEy = (EGy - EGbaseline) x EFgrid,CM,y

(6)
Where:

BEy
 = Baseline emissions in year y (tCO2/yr).

EGy 
 = Electricity supplied by the project activity to the grid (MWh).

EGbaseline 
 = Baseline electricity supplied to the grid in the case of modified or retrofit facilities (MWh). For new power plants this value is taken as zero.

EFgrid,CM,y 
 = Combined margin CO2 emission factor for grid connected power generation in year y calculated using the latest version of the “Tool to calculate the emission factor for an electricity system”.

The project activity is the installation of a new grid-connected renewable power plant so, EGbaseline = 0 

Then:
ERy = BEy = EGy * EFgrid,CM,; 



152,900 MWh/yr * 0.5612 tCO2/MWh = 85,815 tCO2/yr.
	B.6.4
Summary of the ex-ante estimation of emission reductions:


	Years
	Annual estimation of emission reductions [tCO2e]
	Years


	Annual estimation of emission reductions [tCO2e]


	Years

	2016a
	33,621
	2016a
	33,621
	2016a

	2017
	85,815
	2017
	85,815
	2017

	2018
	85,815
	2018
	85,815
	2018

	2019
	85,815
	2019
	85,815
	2019

	2020
	85,815
	2020
	85,815
	2020

	2021
	85,815
	2021
	85,815
	2021

	2022
	85,815
	2022
	85,815
	2022

	2023b
	52,194
	2023b
	52,194
	2023b

	Total emission reductions (tonnes of CO2 e)
	600,705
	Total emission reductions (tonnes of CO2 e)
	600,705
	Total emission reductions (tonnes of CO2 e)


For 51.5 MWm / 51.5 MWe with 20 turbines
: 152,900 MWh/yr





	B.7.
Application of the monitoring methodology and description of the monitoring plan:


	B.7.1
Data and parameters monitored:


	Data / Parameter
	EGfacility,y

	Unit
	MWh/yr

	Description
	Quantity of net electricity generation supplied by the project plant to the grid in year y

	Source of data
	Electricty meter(s)

	Value(s) applied
	


152,900 MWh/yr 

	Measurement methods and procedures
	• Regarding the electricity meters: two meters will be placed (one main and one reserve). The fact that two meters are installed in a redundant manner keeps the uncertainty level of the only parameter for baseline calculation low. High data quality of this parameter is not only in the interest of the emission reduction monitoring, but paramount for the business relation between the plant operator and the electricity buyer.

•
On the last day of each month, the production index will be taken from the main as well as the reserve meter by Market Financial Settlement Center (in Turkish PMUM, a state institution responsible for electricity market settlement operations) via Automatic Meter Reading System (OSOS)  In following month, PMUM issue electricity generation records for each generation unit which can be accessed by plant operators via logging to secured website. These records are used to monitor net monthly generation of the power plant. For each month, the net electricity amount supplied to the grid will be calculated by electricity fed into grid minus electricity withdrawn from the grid available in PMUM records.

•
TEIAS notices are used to cross-check the PMUM records. TEIAS sends an electronic spreadsheet which includes daily and monthly electricity generation and withdrawn amounts for each power plant.







• Since the meters are reading electricity supplied to the system and withdrawn from the system separately, the net electricity amount supplied to the grid will be calculated by electricity supplied minus electricity withdrawn.

Thus with this procedure is monitored sufficient and no extra Monitoring has to be implemented.

The above described measurement method follows Article 81 of the official regulation “Electricity Market Balancing And Settlement Regulation”
.


	Monitoring frequency
	Continuous measurement and at least monthly readings 
There are two metering points and each of them have two meters, one main and one reserve, in the power plant. The total generation is being calculated by adding up the metering of two meters. Details are given in the below. Thus, next calibration for the meters in the first metering point will be in 06.2019 and, for the meters in second metering point, it will be in 2023. 

Specification of meters are as follow: First metering point

Serial Number

Device
Manufacturer
Model
Date of installation and calibration
Accuracy

388184

MAIN METER

ELSTER

A-1500-W043

06/07/2009

0.2s

388185

BACK UP METER

ELSTER

A-1500-W043

06/07/2009

0.2s

Specification of meters are as follow: Second metering point

Serial Number

Device
Manufacturer
Model
Date of installation and calibration
Accuracy

65007594

MAIN METER

ITRON

SL 761B

25/12/2013

0.5s

65007595

BACK UP METER

ITRON

SL 761B

25/12/2013

0.5s









	QA/QC procedures
	As stated at the end of the first paragraph of A.2 part of this PDD (page 2), Düzova WEPP will be connected to the grid with 154 kV voltage level. According to the first paragraph of the sub clause b) of  Provisional Article 4 of the 'Communiqué Regarding the Meters to be used in the Electricity Market '
 (Communiqué):

‘The measurement points of the generation facilities connected to the transmission system transformers over high voltage lines (66 kV, 154kV or 380kV) shall be at the exit side of the group step up transformers of the generation facilities.’

According to the Article 2 of the Communiqué : ‘The meters to be used in the electricity market shall be compliant with the standards of Turkish Standards Institute or IEC and have obtained “Type and System Approval” certificate from the Ministry of Trade and Industry.’ Therefore, Ministry of Trade and Industry (Ministry) is responsible from control and calibration of the meters.

Paragraph b) of the Article 9 of the 'Regulation of Metering and Testing of Metering Systems'
 (Regulation) of Ministry states that: ‘ b) Periodic tests of meters of electricity, water, coal gas, natural gas and current and voltage transformers are done every 10 years.’ Therefore periodic calibration of the meters will be done every 10 years.
Also according to Article 67 (page 20) of this regulation, the calibration shall be done in calibration stations which have been tested and approved by Ministry of Trade and Industry. Article 10 d) of Communiqué requires the meters shall be three phase four wire and Article 64 of Regulation clearly states how calibration shall be performed for this kind of meters. 

According to Article 3 of System Usage Agreement
 done by ÜTOPYA and TEIAS; other than periodic tests, if a party alleges the meters are not working appropriately tests of the meters will be done by presence of both parties. If, after controls, it is seen that the meter is not working appropriately, the measurements of reserve meters are taken into account beginning from date both meters are reading the same (page 3, 2-c)

As above mentioned, the data acquisition and management and quality assurance procedures that are anyway in place, no additional procedures have to be established for the monitoring plan.

	Purpose of data
	Calculation of Baseline and Project Emission

	Additional comment
	Plant Manager will be responsible for monitoring data.


	B.7.2.
Description of the monitoring plan:


As the necessary baseline emission factors are all defined ex ante (Operating and Built Margin, see baseline description), the most important information to be monitored is the amount of electricity fed into the grid by Düzova WEPP. This value will be monitored continuously by redundant metering devices, one of them being the main one in the Düzova substation, which provides the data for the monthly invoicing to TEİAŞ.

The collected data will be kept by ÜTOPYA during the crediting period and until two years after the last issuance of VERs for the Düzova WEPP project activity for that crediting period.

Given a data vintage based on ex ante monitoring and selection of a renewable 7 year crediting period, the Combined Margin will be recalculated at any renewal of the crediting period using the valid baseline methodology.

As the proposed project activity does not lead to any project emissions, no data is monitored here.

Potential leakage emissions in the context of power sector projects are emissions arising due to activities such as power plant construction, fuel handling and land inundation. However, according to the methodology, those emission sources do not need to be taken into account.

Operational and Management Structure

As described above, the only relevant data that has to be monitored is the net electricity generation (GENy) per year. These data are subject to the accounting quality systems of both parties to the power purchase agreement, TEİAŞ and ÜTOPYA. The monthly meter reading documents are stored by ÜTOPYA and TEIAS. The settlement notification, which is issued by TEIAS and includes the meter reading data, is stored on a TEIAS file server and accessible for ÜTOPYA via a secured website (http://dgpys.teias.gov.tr/dgpys/ ). The meters themselves can always be read as plausibility check for verification. With this, no additional structures or processes have to be implemented to insure the availability and high quality of the necessary data for monitoring.
Moreover, there are always internal reviews of the meters data which is checked by different parties. First of all, data of the meters is collected by technicians daily in written forms which have to be submitted to local TEIAS center. The data collected daily is saved in plant manager computer and backed up and shared by headquarter of Ütopya in Istanbul. Besides the data that can be get from meters, production amount can be checked from SCADA system of GE.
At the end of each monitoring period, which is planned to generally last one year, the data from the monthly meter reading records will be added up to the yearly net electricity generation and multiplied with the combined margin emission factor with the help of an excel spreadsheet that also contains the combined margin calculation. Thus, the complete baseline approach is always transparent and traceable. For the elaboration and quality assurance of the monitoring report, FutureCamp GmbH, an expert in the project mechanisms who already supported in the project design, is assigned.

For the operation of Düzova wind power plant, below hierarchy is planned:


[image: image12]
Table 17 Descriptions of Jobs and Responsibilities in Düzova WEPP

	Job Name
	Job Description
	Graduation Level
	Staff Quantity
	Prescribed Trainings

	Measurement Technician
	Measuring the electricity generation through the proper methods and instruments. Data storing and reporting to Operational Manager and Grid Operator (TEIAS)
	Technician high school (electricity division)
	1 person/shift (1 shift/day)
	Grid Operator's Trainings

	Maintenance Technician
	Making periodical and failure maintenances programmes and activities. Following and fulfilling the guarantee procedures.
	Technician high school (electricity or mechanical division)
	1 person/shift (1 shift/day)
	Electrical and Mechanical Traininigs by Equipment Supplier (has to be decided)

	Health & Safety Technician
	Fulfilling occupational safety and health necessities. Responding to Environmental issues. For the issues, provide the proper data flow between the company and the stakeholders. Reporting to Operational managers.
	Technician high school
	1 person/shift (1 shift/day)
	Occupational safety and health trainings for Chamber of Mechanical Engineers. First aid trainings from Local Authority of the Ministry of Health.

	Security Guard
	Small local procurements and arrange daily transportation. Controlling and managing the safety guard’s activities.
	High school
	1 person/shift (3 shifts/day)
	Effective team work, Time management trainings from consultancy firms and associations.


ÜTOPYA will keep all the data needed for the calculation of emission reductions during the crediting period and until two years after the last issuance of GS VERs for Düzova WEPP.

Because of the data acquisition and management and quality assurance procedures that are anyway in place, no additional procedures have to be established for the monitoring plan. Dedicated emergency procedures are not provided, as there is no possibility of overstating emission reductions due to emergency cases.
	B.8.
Date of completion of the application of the baseline study and monitoring methodology and the name of the responsible person(s)/entity(ies):


Date of completion: 13 June 2016 (Version 15)
Name of entity determining the baseline: Life İklim ve Enerji Ltd Sti (project consultant)

Tel: +90 03124812142
Fax: +90 312 480 88 10
Email: info@lifenerji.com
Contributor: Ütopya Elektrik Üretim Sanayi ve Tic. A.Ş.
Life Enerji is not a project participant.
SECTION C. 
Duration of the project activity / crediting period 

C.1.
Duration of the project activity:


C.1.1.
Starting date of the project activity: 

During the first crediting period, 17/02/2009 was determined as the starting date of the project activity (Date of contract with GE for the first 6 turbines with 15 MW installed capacity). 

C.1.2.
Expected operational lifetime of the project activity:
The expected lifetime of the Düzova Wind Power Plant project is 20 years
.
C.2.
Choice of the crediting period and related information: 

C.2.1.
Renewable crediting period:
A renewable second crediting period has been selected for the project.



C.2.1.1.
 
Starting date of the second crediting period: 
Tart date of the first crediting period was chosen as 11/08/2016 (start date of operation for the first 6turbines with 15 MW installed capacity). And according to this date, the end date of the first crediting period is 10/08/2016. As a result, the start date of the second crediting period is 11/08/2016.  


C.2.1.2.

Length of the second crediting period:

The length of the first crediting period wass 7 years, 0 months and likewise the length of the second crediting period is 7 years, 0 months. 

C.2.2.
Fixed crediting period: 

Fixed crediting period is not applicable.



C.2.2.1.

Starting date:

Not Applicable.



C.2.2.2.

Length: 
Not Applicable.

SECTION D. 
Environmental impacts

D.1.
Documentation on the analysis of the environmental impacts, including transboundary impacts: 

The regional environmental authority confirmed with a certificate
 that an official Environmental Impact Assessment (EIA) is not required for the proposed project. The need for an EIA is checked by the regional authority on a project specific base taking into account a project specific information file and considering local conditions.

All potential environmental issues were discussed in detail on the stakeholder consultation and no objections or critical opinions were received. The evaluation of social and environmental indicators regarding the project is based on the Sustainable Development Assessment Matrix provided in the Local Stakeholder Consultation Report as well as on common sense regarding the wind power plant technology. This analysis confirmed no EIA is necessary. No negative or critical indicators were identified. The total score of the Sustainable Development Assessment Matrix is +5.
D.2.
If environmental impacts are considered significant by the project participants or the host Party, please provide conclusions and all references to support documentation of an environmental impact assessment undertaken in accordance with the procedures as required by the host Party:

There have not been identified any significant environmental impacts of the project.
SECTION E. 
Stakeholders’ comments

E.1.
Brief description how comments by local stakeholders have been invited and compiled:
The stakeholders were actively invited to the stakeholder consultation meeting by:

· Invitation letter;

· Invitation in the local newspaper;

· Invitation in the national newspaper;

· Invitation on Aşağıkırıklar Village Coffehouse.

The stakeholder meeting was held on 13th of February 2009 at Wedding Hall of Aşağıkırıklar Village, Bergama / İzmir. At the meeting besides project developers, there were six local volunteers of TEMA Foundation one of them was local representative, one local representative of Greenpeace,   three representative of Aliağa Organized Industrial Region Administration (ALOSBİ), two representative of Bergama Trade Registry, and president of Turkish Woman Association, Bergama Branch. Mayor of Aşağıkırıklar Village and many participants from the village were there to participant to the meeting. The number of total participants was more than 200, however, 100 of them signed the participation list.  Supporter of Gold Standard Organizations i.e. WWF, Greenpeace and REC Turkey has been informed about project.

The place of meeting was chosen to be the closest place to the project area and all local people are informed about meeting in advance by coffeehouse, municipality announcements and local newspaper announcements. Additionally, one week before meeting village had been visited and announcement of upcoming meeting had been done. With an announcement in national newspaper there were two participants from Bergama Trade Registry and three participants from Aliağa Organized Industrial Region Administration who were interested in project.

Before presentation, agenda of the meeting and non-technical PDD was distributed to the participants for broader view. Project presentation and description was made including information about project developers, the technology and operation of the power plant, estimated emission reduction amount of the plant, the importance of revenue from emission reduction, information about Gold Standard and the project characteristics which makes this project different from other power plant projects in Turkey. Before passing to blind sustainable development exercise, question and comments were taken from participants about further clarification of project.

After clarification of the project with answering questions, he presented blind sustainable exercise to the participants and wanted them to comment on each indicator as positive, negative and neutral. After presentation some questions were raised by participants, which were answered by project coordinator Mr. Sancar Saraçoğlu and presenter. The questions and answers are given in ‘ii.Assessment of comments’ section of LSC Report. All questions received and minutes of the meeting was taken under protocol signed by Major of Aşağıkırıklar Village Halil Erol and Project Coordinator Mr. Sancar Saraçoğlu. Questions and comments raised by participants were addressed in assessment of comments part. 

The meeting was closed by a general support from participants and of project developer goodwill.
Detailed information regarding the stakeholder consultation and the stakeholders’ comments is provided in the extra document Local Stakeholder Consultation (LSC) Report, which is also available to DOE.
E.2.
Summary of the comments received:
17 original evaluation forms as well as translation version in English are attached in Annex 2 of the LSC Report.  

The overall feedback to the organized consultation, and what follows to the project, has been very positive. The stakeholders consider the project environmental-friendly, which can provide clean energy, help the villages, and provide new employment possibilities in the region. Detail information regarding the stakeholders’ feedback and comments is provided in the LSC Report.

The stakeholders didn’t raise any concerns except some demands for local employment, and affects of project on crops. The concern of local employment was answered clearly by project coordinator as there will be priority to employ local people for project works. The request of villagers in written forms regarding loudspeaker system and graveyard hedge was read by presenter and accepted by project developer.

The comments and question regarding affect of project on crops raised in written forms and passed to us after meeting were explained during presentation as there will be no affect of project on crops. While project area is not an agricultural area, the affects of turbines which could be only in sense of shadowing, agricultural areas and crops which is located 100-200 meter away from project area would not be negatively affected.

All comments and questions from stakeholders were considered as serious and reasonable. An adequate answer has been provided. There have not been raised any critical comments nor objections for the project implementation. Detailed table with all stakeholder comments and the responses is provided in the Section B.5 of Stakeholder Consultation Report.
E.3.
Report on how due account was taken of any comments received:
The stakeholders have not raised any concerns, any important suggestions and negative opinion regarding the project, which may necessitate revisiting sustainability assessment. Concern of local employment and affects to the agricultural activities are evaluated and they are adequate answers have been provided. Since, the project area is plain without any agricultural activity there will be no negative effect. Also, project developer has stated his intention and sensitivity about local employment for this project. Therefore sustainable assessment is not going to be revisited as well as no alteration in project design will be done.
Annex 1
CONTACT INFORMATION ON PARTICIPANTS IN THE PROJECT ACTIVITY

Project Participant
	Organization:
	Ütopya Elektrik Üretim Sanayi ve Tic. A.Ş.

	Street/P.O.Box:
	Kısıklı Cad. Sarkuysan Ak İş Merkezi

	Building:
	No:4 Kat:1 A-Blok

	City:
	Altunizade Üsküdar / İSTANBUL

	State/Region:
	

	Postfix/ZIP:
	34622

	Country:
	Turkey

	Telephone:
	+90 216 554 54 00

	FAX:
	+90 216 474 52 52

	E-Mail:
	finaenerji@finaenerji.com  

	URL:
	http://www.finaenerji.com.tr 

	Represented by: 
	Özlem Çolak

	Title:
	Ms.

	Salutation:
	Project Manager

	Last Name:
	Çolak

	Middle Name:
	

	First Name:
	Özlem

	Department:
	

	Mobile:
	

	Direct FAX:
	

	Direct tel:
	

	Personal E-Mail:
	ozlem.colak@finaenerji.com 


Responsible Entity
	Organization:
	Life İklim ve Enerji Ltd.Şti. 

	Street/P.O.Box:
	Oğuzlar Mahallesi 1377. Sokak 19/9

	Building:
	 -

	City:
	Çankaya

	State/Region:
	Ankara

	Postfix/ZIP:
	

	Country:
	Turkey

	Telephone:
	+90 312 481 21 42

	FAX:
	+90 312 480 88 10

	E-Mail:
	info@lifenerji.com

	URL:
	http://www.lifeenerji.com.tr

	Represented by: 
	

	Title:
	

	Salutation:
	Mrs

	Last Name:
	Şahin

	Middle Name:
	

	First Name:
	İklim

	Department:
	

	Mobile:
	

	Direct FAX:
	

	Direct tel:
	

	Personal E-Mail:
	iklim.sahin@lifenerji.com


Annex 2

INFORMATION REGARDING PUBLIC FUNDING

--- Not applıcable---

Annex 3

BASELINE INFORMATION

Calculation of Total CO2 from OM Power Plants:

Table 22
: HVi,y (Heating Values for Fossil Fuels for Electricity Generation (TCal)

	Energy Sources
	2011
	2012
	2013

	Hard Coal+Imported Coal
	57,567
	71,270
	68,785

	Lignite
	107,210
	93,587
	81,676

	Fuel Oil 
	5.280
	5.625
	5,837

	Diesel Oil
	155
	1.884
	1,363

	LPG
	0
	0
	0

	Naphta
	0
	0
	0

	Natural Gas
	202,064
	203,766
	203,244


Table 23: FCi,y (Fuel Consumptions for Fossil Fuels for Electricity Generation (million m3 for Natural Gas and ton for others)

	Energy Sources
	2011
	2012
	2013

	Hard Coal+Imported Coal
	10,574,434
	12,258,462
	12,105,930

	Lignite
	61,507,310
	55,742,463
	47,120,306

	Fuel Oil 
	531,608
	564.796
	573,534

	Diesel Oil
	15,047
	176.379
	129,359

	LPG
	0
	0
	0

	Naphta
	0
	0
	0

	Natural Gas
	22,804,587
	23,090,121
	22,909,746


	1
	Tcal      =
	4.1868
	TJ


Table 4: NCVi,y (Average Net Calorific Values for Fossil Fuels for Electricity Generation (TJ/million m3 for Natural Gas and TJ/kton for others) and EFi (Emission Factor of Fossil Fuels)

	Energy Sources
	NCVi 2011 (TJ/Gg)
	NCVi 2012 (TJ/Gg)
	NCVi 2013 (TJ/Gg)
	EFCO2, I (kg/TJ)

	Hard Coal+Imported Coal
	22.79
	22.34
	23.79
	89.50

	Lignite
	7.30
	7.03
	7.26
	90.90

	Fuel Oil 
	41.58
	41.70
	42.61
	72.60

	Diesel Oil
	43.15
	44.71
	0.00
	72.60

	LPG
	0.00
	0.00
	0.00
	61.60

	Naphta
	0.00
	0.00
	0.00
	69.30

	Natural Gas
	37.10
	36.95
	37.14
	54.30


Table 25: CO2 Emission by each Fossil Fuels Types (ktCO2e)

	Energy Sources
	2011
	2012
	2013

	Hard Coal+Imported Coal
	21,572
	26,706
	25,775

	Lignite
	40,802
	35,617
	31,084

	Fuel Oil 
	1,605
	1,710
	1,774

	Diesel Oil
	47
	573
	0

	Lpg
	0
	0
	0

	Naphta
	0
	0
	0

	Natural Gas
	45,938
	46,325
	46,206

	TOTAL
	109,963
	110,931
	104,840


Identification of Sample Group



	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	



	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


	
	
	
	



	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	



	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	



Table 27: Sample Group PPs for BM Emission Factor Calculation

	No
	Information to clearly identify the Plant (Name of the Plant)
	Date of Commisioning
	 Capacity
in MW 
	Fuel Type
	Annual Generation (GWh)

	316
	Eren Enerji (Addition)
	2010
	                    600,0    
	Imported coal
	4006,00

	317
	Eren Enerji (Addition)
	2010
	                    600,0    
	Imported coal
	4006,00

	318
	MARMARA PAMUKLU MENS. SN.TİC.A.Ş. (Addition)
	2010
	                      26,2    
	Natural Gas
	203,76

	319
	Aliağa Çakmaktepe Enerji A.Ş.(Aliağa/İZMİR) (Addition)
	2010
	                      69,8    
	Natural Gas
	556,00

	320
	FRİTOLAY GIDA SAN.VE TİC. AŞ. (Addition)
	2010
	                        0,3    
	Biogas
	2,40

	321
	Sönmez Enerji Üretim (Uşak) (Addition)
	2010
	                        2,6    
	Natural Gas
	19,77

	322
	Ak-Enerji (Uşak OSB)
	2010
	-                     15,2    
	Liqued Fuel + N.Gas
	0,00

	323
	Ak-Enerji (DG+N) (Deba-Denizli)
	2010
	-                     15,6    
	Liqued Fuel + N.Gas
	0,00

	324
	Polyplex Europa Polyester Film
	2010
	                        7,8    
	Natural Gas
	61,00

	325
	ALTEK ALARKO Elektrik Santralleri
	2010
	                      21,9    
	Natural Gas
	151,36

	326
	Aksa Enerji (Demirtaş/Bursa)
	2010
	-                       1,1    
	Natural Gas
	0,00

	327
	RASA ENERJİ (VAN) (Addition)
	2010
	                      10,1    
	Natural Gas
	64,41

	328
	SİLOPİ ELEKTRİK ÜRETİM A.Ş.(ESENBOĞA)
	2010
	-                     44,8    
	Fuel Oil
	0,00

	329
	International Hospital Istanbul
	2010
	                        0,8    
	Natural Gas
	6,00

	330
	Tuzla Jeotermal
	2010
	                        7,5    
	Geothermal
	0,00

	331
	Menderes Jeotermal Dora-2
	2010
	                        9,5    
	Geothermal
	0,00

	332
	Selimoğlu Reg. Ve Hes
	2010
	                        8,0    
	Hydro (run of river)
	0,00

	333
	Kulp IV HES
	2010
	                      12,3    
	Hydro (run of river)
	46,00

	334
	Cindere HES (Denizli) (Addition)
	2010
	                        9,1    
	Hydro (With Dam)
	28,29

	335
	Bayburt Hes
	2010
	                      14,6    
	Hydro (run of river)
	51,00

	336
	UZUNÇAYIR HES (Tunceli) (Addition)
	2010
	                      27,3    
	Hydro (With Dam)
	105,00

	337
	Alakır Hes. 
	2010
	                        2,1    
	Hydro (run of river)
	6,00

	338
	Peta Müh. En. (Mursal II Hes.)
	2010
	                        4,5    
	Hydro (run of river)
	19,00

	339
	Asa Enerji (Kale Reg. Ve Hes.)
	2010
	                        9,6    
	Hydro (run of river)
	0,00

	340
	Hetaş Hacısalihoğlu (Yıldızlı Hes)
	2010
	                        1,2    
	Hydro (run of river)
	5,00

	341
	Doğubay Elektrik (Sarımehmet Hes)
	2010
	                        3,1    
	Hydro (run of river)
	10,00

	342
	Nuryol Enerji (Defne Reg. Ve hes.)
	2010
	                        7,2    
	Hydro (run of river)
	22,00

	343
	ÖZGÜR ELEKTRİK (AZMAK I REG.VE HES)
	2010
	                        5,9    
	Hydro (run of river)
	0,00

	344
	Birim Hidr. Üretim A.Ş. (Erfelek Hes)
	2010
	                        3,2    
	Hydro (run of river)
	19,00

	345
	Beytek El. Ür. A.Ş. (Çataloluk Hes.)
	2010
	                        9,5    
	Hydro (run of river)
	0,00

	346
	Nisan E. Mekanik En. (Başak Reg. Hes.)
	2010
	                        6,9    
	Hydro (run of river)
	22,00

	347
	UZUNÇAYIR HES (Tunceli) (Addition)
	2010
	                      27,3    
	Hydro (With Dam)
	105,00

	348
	Fırtına Elektrik Üretim A.Ş. (Sümer Hes)
	2010
	                      21,6    
	Hydro (run of river)
	70,00

	349
	KAR-EN Karadeniz El. A.Ş. Aralık Hes
	2010
	                      12,4    
	Hydro (run of river)
	0,00

	350
	Birim Hidr. Üretim A.Ş. (Erfelek Hes)
	2010
	                        3,2    
	Hydro (run of river)
	19,00

	351
	Karadeniz El. Üret. (Uzundere-1 Hes)
	2010
	                      62,2    
	Hydro (run of river)
	165,00

	352
	Akım Enerji (Cevizli Reg. Ve Hes.)
	2010
	                      91,4    
	Hydro (run of river)
	330,00

	353
	Çakıt Hes. (Çakıt Enerji)
	2010
	                      20,2    
	Hydro (run of river)
	0,00

	354
	Ceyhan Hes. (Oşkan Hes.) (Enova En.)
	2010
	                      23,9    
	Hydro (run of river)
	98,00

	355
	Erenler Reg. Ve Hes. (BME Bir. Müt. En.)
	2010
	                      45,0    
	Hydro (run of river)
	85,00

	356
	Paşa Reg. Ve Hes (Özgür Elektrik)
	2010
	                        8,7    
	Hydro (run of river)
	0,00


	357
	Güzelçay-I-II Hes (İlk Elektrik Enerji)
	2010
	                        8,1    
	Hydro (run of river)
	0,00

	358
	Kale Reg. Ve Hes (Kale Enerji Ür.)
	2010
	                      34,1    
	Hydro (run of river)
	116,00

	359
	Erikli-Akocak Reg. Ve Hes
	2010
	                      82,5    
	Hydro (run of river)
	0,00

	360
	Çamlıkaya Reg. Ve Hes
	2010
	                        5,6    
	Hydro (run of river)
	19,00

	361
	Dinar Hes. (Elda Elekrik Üretim)
	2010
	                        4,4    
	Hydro (run of river)
	15,00

	362
	Damlapınar Hes. (Cenay Elektrik Üretim)
	2010
	                      16,4    
	Hydro (run of river)
	0,00

	363
	Dim Hes (Diler Elektrik Üretim)
	2010
	                      38,3    
	Hydro (run of river)
	123,00

	364
	ÖZGÜR ELEKTRİK (AZMAK I REG.VE HES)
	2010
	                        5,9    
	Hydro (run of river)
	0,00

	365
	Kirpilik Reg. Ve Hes (Özgür Elektrik)
	2010
	                        6,2    
	Hydro (run of river)
	22,00

	366
	Yavuz Reg. Ve Hes (Masat Enerji)
	2010
	                      22,5    
	Hydro (run of river)
	83,00

	367
	Kayabükü Reg. Ve Hes (Elite Elektrik)
	2010
	                      14,6    
	Hydro (run of river)
	0,00

	368
	Gök Reg. Ve Hes (Gök Enerji El. San.)
	2010
	                      10,0    
	Hydro (run of river)
	43,00

	369
	Bulam Reg. Ve Hes (MEM Enerji ELK.)
	2010
	                        7,0    
	Hydro (run of river)
	0,00

	370
	Karşıyaka HES (Akua Enerji Üret.)
	2010
	                        1,6    
	Hydro (run of river)
	8,00

	371
	Ceyhan Hes. (Berkman Hes) (Enova En.)
	2010
	                      25,2    
	Hydro (run of river)
	103,00

	372
	Güdül I Reg. Ve HES (Yaşam Enerji)
	2010
	                        2,4    
	Hydro (run of river)
	14,00

	373
	Tektuğ Elektrik (Andırın Hes)
	2010
	                      40,5    
	Hydro (run of river)
	106,00

	374
	Selen Elektrik (Kepezkaya Hes)
	2010
	                      28,0    
	Hydro (run of river)
	0,00

	375
	REŞADİYE 2 HES (TURKON MNG ELEKT.)
	2010
	                      26,1    
	Hydro (run of river)
	0,00

	376
	Kozan Hes (Ser-Er Enerji)
	2010
	                        4,0    
	Hydro (run of river)
	9,00

	377
	Kahraman Reg. Ve Hes (Katırcıoğlu)
	2010
	                        1,4    
	Hydro (run of river)
	6,00

	378
	Narinkale Reg. Ve Hes (EBD Enerji)
	2010
	                        3,1    
	Hydro (run of river)
	10,00

	379
	Erenköy Reg. Ve Hes (Türkerler)
	2010
	                      21,5    
	Hydro (run of river)
	87,00

	380
	Kahta I HES (Erdemyıldız Elektrik Üretim)
	2010
	                        7,1    
	Hydro (run of river)
	35,00

	381
	Azmak II Reg. Ve Hes
	2010
	-                     18,1    
	Hydro (run of river)
	0,00

	382
	Ulubat Kuvvet Tüneli ve Hes
	2010
	                      97,0    
	Hydro (With Dam)
	372,00

	383
	REŞADİYE 1 HES (TURKON MNG ELEKT.)
	2010
	                      15,7    
	Hydro (run of river)
	0,00

	384
	Egemen 1 HES (Enersis Elektrik)
	2010
	                      19,9    
	Hydro (run of river)
	0,00

	385
	Sabunsuyu II HES (Ang Enerji Elk.)
	2010
	                        7,4    
	Hydro (run of river)
	21,00

	386
	Burç Bendi ve Hes (Akkur Enerji)
	2010
	                      27,3    
	Hydro (run of river)
	113,00

	387
	Murgul Bakır (Ç.kaya) (Addition)
	2010
	                      19,6    
	Hydro (run of river)
	40,50

	388
	Güzelçay II Hes (İlk Elektrik Enerji) (Addition)
	2010
	                        5,0    
	Hydro (run of river)
	0,00

	389
	REŞADİYE 1 HES (TURKON MNG ELEKT.)
	2010
	                      15,7    
	Hydro (run of river)
	0,00

	390
	Egemen 1 HES (Enersis Elektrik)
	2010
	                        8,8    
	Hydro (run of river)
	0,00

	391
	Yedigöze HES (Yedigöze Elektrik)
	2010
	                    155,3    
	Hydro (With Dam)
	474,00

	392
	Umut III Reg. Ve HES (Nisan Elek.)
	2010
	                      12,0    
	Hydro (run of river)
	26,00

	393
	FEKE 2 Barajı ve HES (Nisan Elek.)
	2010
	                      69,3    
	Hydro (With Dam)
	223,00

	394
	Egemen 1B HES (Enersis Elektrik)
	2010
	                      11,1    
	Hydro (run of river)
	0,00

	395
	Kalkandere Reg. Ve Yokuşlu HES.
	2010
	                      14,5    
	Hydro (run of river)
	63,00

	396
	ROTOR ELEKTRİK (OSMANİYE RES)
	2010
	                      55,0    
	Wind
	0,00

	397
	Asmakinsan (Bandırma 3 RES)
	2010
	                      24,0    
	Wind
	0,00

	398
	Soma Enerji Üretim (Soma Res)
	2010
	                      34,2    
	Wind
	0,00

	399
	Deniz Elektrik (Sebenoba Res)
	2010
	                      10,0    
	Wind
	0,00

	400
	Akdeniz Elektrik (Mersin Res)
	2010
	                      33,0    
	Wind
	0,00

	401
	Boreas Enerji (Boreas I Enez Res)
	2010
	                      15,0    
	Wind
	0,00

	402
	Bergama Res En. Ür. A.Ş. Aliağa Res
	2010
	                      90,0    
	Wind
	0,00

	403
	Bakras En. Elek. Ür. A.Ş. Şenbük Res
	2010
	                      15,0    
	Wind
	0,00

	404
	ALİZE ENERJİ (KELTEPE RES)
	2010
	                        1,8    
	Wind
	0,00

	405
	ROTOR ELEKTRİK (Gökçedağ Res)
	2010
	                      22,5    
	Wind
	0,00

	406
	MAZI-3 RES ELEKT.ÜR. A.Ş. (MAZI-3 RES)
	2010
	                        7,5    
	Wind
	0,00

	407
	BORASKO ENERJİ (BANDIRMA RES)
	2010
	                      12,0    
	Wind
	0,00

	408
	Ziyaret Res (Ziyaret Res Elektirk)
	2010
	                      35,0    
	Wind
	0,00

	409
	Soma Res (Bilgin Rüzgar San. En. Ür.)
	2010
	                      90,0    
	Wind
	0,00

	410
	Belen ELEKTRİK BELEN Res (Addition)
	2010
	                        6,0    
	Wind
	0,00

	411
	ÜtOPYA ELEKTRİK (DÜZOVA RES) (Addition)
	2010
	                      15,0    
	Wind
	0,00

	412
	Kuyucak Res (Alize Enerji Ür.)
	2010
	                      25,6    
	Wind
	0,00

	413
	Sares Res (Garet Enerji Üretim)
	2010
	                      15,0    
	Wind
	0,00

	414
	Turguttepe Res (Sabaş Elektrik Ür.)
	2010
	                      22,0    
	Wind
	0,00

	415
	AKIM ENERJİ BAŞPINAR (SÜPER FİLM)
	2011
	                      25,3    
	Natural Gas
	177,00

	416
	AKSA AKRİLİK (İTHAL KÖM.+D.G)
	2011
	                      25,0    
	Natural Gas
	189,08

	417
	AKSA ENERJİ (Antalya)
	2011
	                    600,0    
	Natural Gas
	3600,00

	418
	ALİAĞA ÇAKMAKTEPE ENERJİ (İlave)
	2011
	                    139,7    
	Natural Gas
	1051,60

	419
	BEKİRLİ TES (İÇDAŞ ELEKTRİK EN.)
	2011
	                    600,0    
	Imported coal
	4320,00

	420
	BOLU BELEDİYESİ ÇÖP TOP. TES. BİYOGAZ
	2011
	                        1,1    
	Landfill Gas
	0,00

	421
	BOSEN ENERJİ ELEKTRİK ÜRETİM AŞ.
	2011
	                      93,0    
	Natural Gas
	698,49

	422
	CENGİZ ÇİFT YAKITLI K.Ç.E.S. 
	2011
	                    131,3    
	Natural Gas
	985,00

	423
	CENGİZ ENERJİ SAN.VE TİC.A.Ş.
	2011
	                      35,0    
	Natural Gas
	281,29

	424
	CEV ENERJİ ÜRETİM(GAZİANTEP ÇÖP BİOGAZ)
	2011
	                        5,7    
	Landfill Gas
	0,00

	425
	FRAPORT IC İÇTAŞ ANTALYA HAVALİMANI
	2011
	                        8,0    
	Natural Gas
	64,00

	426
	GLOBAL ENERJİ (PELİTLİK)
	2011
	                        4,0    
	Natural Gas
	29,91

	427
	GORDİON AVM (REDEVCO ÜÇ EMLAK)
	2011
	                        2,0    
	Natural Gas
	15,00


	428
	GOREN-1 (GAZİANTEP ORGANİZE SAN.)
	2011
	                      48,7    
	Natural Gas
	277,00

	429
	GÜLLE ENERJİ(Çorlu) (İlave)
	2011
	                        3,9    
	Natural Gas
	17,97

	430
	HASIRCI TEKSTİL TİC. VE SAN. LTD. ŞTİ.
	2011
	                        2,0    
	Natural Gas
	15,00

	431
	HG ENERJİ ELEKTRİK ÜRET. SAN.TİC. A.Ş.
	2011
	                      52,4    
	Natural Gas
	366,00

	432
	ISPARTA MENSUCAT (Isparta)
	2011
	                        4,3    
	Natural Gas
	33,00

	433
	ITC ADANA ENERJİ ÜRETİM (İlave)
	2011
	                        1,4    
	Landfill Gas
	0,00

	434
	ITC-KA EN. (ASLIM BİYOKÜTLE) KONYA
	2011
	                        5,7    
	Landfill Gas
	0,00

	435
	ITC-KA ENERJİ (SİNCAN) (İlave)
	2011
	                        1,4    
	Landfill Gas
	0,00

	436
	ITC-KA ENERJİ MAMAK KATI ATIK TOP.
	2011
	                        2,8    
	Landfill Gas
	0,00

	437
	İSTANBUL SABİHA GÖKÇEN UL.AR. HAV.
	2011
	                        4,0    
	Natural Gas
	32,00

	438
	KARKEY (SİLOPİ 1)
	2011
	                    100,4    
	Fuel Oil
	701,15

	439
	KAYSERİ KATI ATIK DEPONİ SAHASI
	2011
	                        1,6    
	Landfill Gas
	0,00

	440
	KNAUF İNŞ. VE YAPI ELEMANLARI SN.
	2011
	                        1,6    
	Natural Gas
	12,00

	441
	LOKMAN HEKİM ENGÜRÜ SAĞ.(SİNCAN)
	2011
	                        0,5    
	Natural Gas
	4,00

	442
	MARDİN-KIZILTEPE (AKSA ENERJİ)
	2011
	                      32,1    
	Natural Gas
	225,00

	443
	NUH ENERJİ EL. ÜRT.A.Ş. (ENERJİ SANT.-2)
	2011
	                    120,0    
	Natural Gas
	900,00

	444
	ODAŞ DOĞALGAZ KÇS (ODAŞ ELEKTRİK)
	2011
	                      55,0    
	Natural Gas
	415,00

	445
	POLYPLEX EUROPA POLYESTER FİLM
	2011
	                        3,9    
	Natural Gas
	30,70

	446
	SAMSUN TEKKEKÖY EN. SAN. (AKSA EN.)
	2011
	                    131,3    
	Natural Gas
	980,00

	447
	SAMUR HALI A.Ş.
	2011
	                        4,3    
	Natural Gas
	33,00

	448
	SARAY HALI A.Ş.
	2011
	                        4,3    
	Natural Gas
	33,00

	449
	TEKİRDAĞ-ÇORLU TEKS.TES.(NİL ÖRME)
	2011
	                        2,7    
	Natural Gas
	21,00

	450
	TİRENDA TİRE ENERJİ ÜRETİM A.Ş.
	2011
	                      58,4    
	Natural Gas
	410,00

	451
	YENİ UŞAK ENERJİ ELEKTRİK SANTRALI 
	2011
	                        8,7    
	Natural Gas
	65,00

	452
	ZORLU ENERJİ (B.Karıştıran)
	2011
	                        7,2    
	Natural Gas
	54,07

	453
	ŞANLIURFA OSB (RASA ENERJİ ÜR. A.Ş.)
	2011
	                    116,8    
	Natural Gas
	800,00

	454
	AYDIN/GERMENCİK JEOTERMAL 
	2011
	                      20,0    
	Geothermal
	150,00

	455
	ÇEŞMEBAŞI REG. VE HES (GİMAK EN.)
	2011
	                        8,2    
	Hydro (run of river)
	39,00

	456
	ÇUKURÇAYI HES (AYDEMİR ELEKTRİK ÜR.)
	2011
	                        1,8    
	Hydro (run of river)
	8,00

	457
	DARCA HES (BÜKOR ELEKTRİK ÜRETİM)
	2011
	                        8,9    
	Hydro (run of river)
	0,00

	458
	DERME (KAYSERİ VE CİVARI ENERJİ)
	2011
	                        4,5    
	Hydro (run of river)
	14,00

	459
	DURU 2 REG. VE HES (DURUCASU ELEK.)
	2011
	                        4,5    
	Hydro (run of river)
	22,00

	460
	ERENKÖY REG. VE HES (NEHİR ENERJİ)
	2011
	                      21,5    
	Hydro (run of river)
	87,00

	461
	ERKENEK (KAYSERİ VE CİVARI ENERJİ)
	2011
	                        0,3    
	Hydro (run of river)
	0,00

	462
	EŞEN-1 HES (GÖLTAŞ ENERJİ ELEKTRİK)
	2011
	                      60,0    
	Hydro (run of river)
	240,00

	463
	GİRLEVİK (BOYDAK ENERJİ)
	2011
	                        3,0    
	Hydro (run of river)
	21,00

	464
	GÖKMEN REG. VE HES (SU-GÜCÜ ELEKT.)
	2011
	                        2,9    
	Hydro (run of river)
	13,00

	465
	HACININOĞLU HES (ENERJİ-SA ENERJİ)
	2011
	                    142,3    
	Hydro (run of river)
	360,00

	466
	HAKKARİ (Otluca) (NAS ENERJİ A.Ş.)
	2011
	                        1,3    
	Hydro (run of river)
	6,00

	467
	HASANLAR
	2011
	                        9,4    
	Hydro (run of river)
	39,00

	468
	HASANLAR HES (DÜZCE ENERJİ BİRLİĞİ)
	2011
	                        4,7    
	Hydro (run of river)
	0,00

	469
	İNCİRLİ REG. VE HES (LASKAR ENERJİ)
	2011
	                      25,2    
	Hydro (run of river)
	126,00

	470
	KALKANDERE REG. VE YOKUŞLU HES
	2011
	                      23,4    
	Hydro (run of river)
	0,00

	471
	KARASU 4-2 HES (İDEAL ENERJİ ÜRETİMİ)
	2011
	                      10,4    
	Hydro (run of river)
	0,00

	472
	KARASU 4-3 HES (İDEAL ENERJİ ÜRETİMİ)
	2011
	                        4,6    
	Hydro (run of river)
	0,00

	473
	KARASU 5 HES (İDEAL ENERJİ ÜRETİMİ)
	2011
	                        4,1    
	Hydro (run of river)
	0,00

	474
	KARASU I HES (İDEAL ENERJİ ÜRETİMİ)
	2011
	                        3,8    
	Hydro (run of river)
	0,00

	475
	KARASU II HES (İDEAL ENERJİ ÜRETİMİ)
	2011
	                        3,1    
	Hydro (run of river)
	13,00

	476
	KAZANKAYA REG. VE İNCESU HES (AKSA)
	2011
	                      15,0    
	Hydro (run of river)
	48,00

	477
	KESME REG. VE HES (KIVANÇ ENERJİ)
	2011
	                        4,6    
	Hydro (run of river)
	16,00

	478
	KIRAN HES (ARSAN ENERJİ A.Ş.)
	2011
	                        9,7    
	Hydro (run of river)
	0,00

	479
	KORUKÖY HES (AKAR ENERJİ SAN. TİC.)
	2011
	                        3,0    
	Hydro (run of river)
	22,00

	480
	KOVADA-I (BATIÇİM ENERJİ ELEKTRİK)
	2011
	                      51,2    
	Hydro (run of river)
	36,20

	481
	KOVADA-II (BATIÇİM ENERJİ ELEKTRİK)
	2011
	                        8,3    
	Hydro (run of river)
	4,10

	482
	KOZDERE HES (ADO MADENCİLİK ELKT. )
	2011
	                        3,1    
	Hydro (run of river)
	0,00

	483
	KÖYOBASI HES (ŞİRİKOĞLU ELEKTRİK)
	2011
	                        1,1    
	Hydro (run of river)
	5,00

	484
	KULP I HES (YILDIZLAR ENERJİ ELK.ÜR.)
	2011
	                      22,9    
	Hydro (run of river)
	78,00

	485
	KUMKÖY HES (AES-IC İÇTAŞ ENERJİ)
	2011
	                      17,5    
	Hydro (run of river)
	98,00

	486
	AKSU REG. VE HES (KALEN ENERJİ)
	2011
	                        5,2    
	Hydro (run of river)
	16,00

	487
	ALKUMRU BARAJI VE HES (LİMAK HİD.)
	2011
	                    261,3    
	Hydro (run of river)
	828,00

	488
	AYRANCILAR HES (MURADİYE ELEKTRİK)
	2011
	                      32,1    
	Hydro (run of river)
	0,00

	489
	BALKONDU I HES (BTA ELEKTRİK ENERJİ)
	2011
	                        9,2    
	Hydro (run of river)
	33,00

	490
	BAYRAMHACILI BARAJI VE HES 
	2011
	                      47,0    
	Hydro (run of river)
	175,00

	491
	BERDAN
	2011
	                      10,2    
	Hydro (run of river)
	47,20

	492
	BOĞUNTU HES (BEYOBASI ENERJİ)
	2011
	                        3,8    
	Hydro (run of river)
	17,00

	493
	CEVHER I-II REG. VE HES (ÖZCEVHER EN.)
	2011
	                      16,4    
	Hydro (run of river)
	0,00

	494
	ÇAKIRMAN REG. VE HES (YUSAKA EN.)
	2011
	                        7,0    
	Hydro (run of river)
	22,00

	495
	ÇAMLIKAYA REG.VE HES (ÇAMLIKAYA EN)
	2011
	                        2,8    
	Hydro (run of river)
	0,80

	496
	ÇANAKÇI HES (CAN ENERJİ ENTEGRE)
	2011
	                        9,3    
	Hydro (run of river)
	39,00

	497
	MENGE BARAJI VE HES (ENERJİSA ENERJİ)
	2011
	                      44,7    
	Hydro (run of river)
	0,00

	498
	MOLU ENERJİ (Zamantı-Bahçelik HES) 
	2011
	                        4,2    
	Hydro (run of river)
	30,00

	499
	MURATLI REG. VE HES (ARMAHES EL.)
	2011
	                      26,7    
	Hydro (run of river)
	94,00

	500
	NARİNKALE REG. VE HES (EBD ENERJİ)
	2011
	                      30,4    
	Hydro (run of river)
	108,00

	501
	OTLUCA I HES (BEYOBASI ENERJİ ÜR.)
	2011
	                      37,5    
	Hydro (run of river)
	0,00

	502
	OTLUCA II HES (BEYOBASI ENERJİ ÜR.)
	2011
	                        6,4    
	Hydro (run of river)
	0,00

	503
	ÖREN REG. VE HES (ÇELİKLER ELEKTRİK)
	2011
	                        6,6    
	Hydro (run of river)
	16,00

	504
	POYRAZ HES (YEŞİL ENERJİ ELEKTRİK)
	2011
	                        2,7    
	Hydro (run of river)
	10,00

	505
	SARAÇBENDİ HES (ÇAMLICA ELEKTRİK)
	2011
	                      25,5    
	Hydro (run of river)
	0,00

	506
	SARIKAVAK HES (ESER ENERJİ YAT. AŞ.)
	2011
	                        8,1    
	Hydro (run of river)
	0,00

	507
	SAYAN HES (KAREL ELEKTRİK ÜRETİM)
	2011
	                      14,9    
	Hydro (run of river)
	0,00

	508
	SEFAKÖY HES (PURE ENERJİ ÜRETİM AŞ.)
	2011
	                      33,1    
	Hydro (run of river)
	0,00

	509
	DAREN HES ELEKTRİK (SEYRANTEPE)
	2011
	                      49,7    
	Hydro (run of river)
	181,13

	510
	SIZIR (KAYSERİ VE CİVARI EL. T.A.Ş)
	2011
	                        5,8    
	Hydro (run of river)
	46,00

	511
	SÖĞÜTLÜKAYA (POSOF III) HES 
	2011
	                        6,1    
	Hydro (run of river)
	31,00

	512
	TEFEN HES (AKSU MADENCİLİK SAN.)
	2011
	                      33,0    
	Hydro (run of river)
	141,00

	513
	TUZTAŞI HES (GÜRÜZ ELEKTRİK ÜR.)
	2011
	                        1,6    
	Hydro (run of river)
	10,00

	514
	ÜZÜMLÜ HES (AKGÜN ENERJİ ÜRETİM)
	2011
	                      11,4    
	Hydro (run of river)
	41,00

	515
	YAMAÇ HES (YAMAÇ ENERJİ ÜRETİM A.Ş.)
	2011
	                        5,5    
	Hydro (run of river)
	0,00

	516
	YAPISAN (KARICA REG. ve DARICA I HES)
	2011
	                      13,3    
	Hydro (run of river)
	0,00

	517
	YAPRAK II HES (NİSAN ELEKTROMEK.)
	2011
	                      10,8    
	Hydro (run of river)
	32,00

	518
	YAŞIL HES (YAŞIL ENERJİ ELEKTRİK)
	2011
	                        3,8    
	Hydro (run of river)
	15,00

	519
	YEDİGÖL REG. VE HES (YEDİGÖL HİDR.)
	2011
	                      21,9    
	Hydro (run of river)
	77,00

	520
	YEDİGÖZE HES (YEDİGÖZE ELEK.) (İlave)
	2011
	                    155,3    
	Hydro (run of river)
	425,00

	521
	SARES RES (GARET ENERJİ ÜRETİM)
	2011
	                        7,5    
	Wind
	0,00

	522
	SEYİTALİ RES (DORUK ENERJİ ELEKTRİK)
	2011
	                      30,0    
	Wind
	0,00

	523
	SOMA RES (SOMA ENERJİ) (İlave)
	2011
	                      36,9    
	Wind
	0,00

	524
	SUSURLUK RES (ALANTEK ENERJİ ÜRET.)
	2011
	                      45,0    
	Wind
	0,00

	525
	ŞAH RES (GALATA WİND ENERJİ LTD. ŞTİ)
	2011
	                      93,0    
	Wind
	0,00

	526
	TURGUTTEPE RES (SABAŞ ELEKTRİK)
	2011
	                        2,0    
	Wind
	0,00

	527
	ZİYARET RES (ZİYARET RES ELEKTRİK)
	2011
	                      22,5    
	Wind
	0,00

	528
	AKRES (AKHİSAR RÜZGAR EN. ELEKT.)
	2011
	                      43,8    
	Wind
	0,00

	529
	AYVACIK RES (AYRES AYVACIK RÜZG.)
	2011
	                        5,0    
	Wind
	0,00

	530
	BAKİ ELEKTRİK  ŞAMLI RÜZGAR (İlave)
	2011
	                      24,0    
	Wind
	0,00

	531
	ÇANAKKALE RES (ENERJİ-SA ENERJİ)
	2011
	                      29,2    
	Wind
	0,00

	532
	ÇATALTEPE RES (ALİZE ENERJİ ELEKTRİK)
	2011
	                      16,0    
	Wind
	0,00

	533
	İNNORES ELEKTRİK YUNTDAĞ RÜZGAR
	2011
	                      10,0    
	Wind
	0,00

	534
	KİLLİK RES (PEM ENERJİ A.Ş.)
	2011
	                      40,0    
	Wind
	0,00

	535
	ACARSOY TERMİK KOM.ÇEV.SANT. (ACARSOY EN.)
	2012
	                      50,0    
	Natural Gas
	375,00

	536
	AFYON DGKÇ (DEDELİ DOĞALGAZ ELEKTRİK ÜR.)
	2012
	                    126,1    
	Natural Gas
	945,00

	537
	AGE DOĞALGAZ KOM. ÇEV. SANT. (AGE DENİZLİ)
	2012
	                    141,0    
	Natural Gas
	1057,00

	538
	AKDENİZ KİMYA SAN. VE TİC. A.Ş.
	2012
	                        4,0    
	Natural Gas
	30,00

	539
	AKKÖPRÜ (DALAMAN)
	2012
	                    115,0    
	Hydro (run of river)
	176,00

	540
	AKKÖY II HES (AKKÖY ENERJİ A.Ş.) 
	2012
	                    229,7    
	Hydro (run of river)
	508,00

	541
	AKKÖY-ESPİYE HES (KONİ İNŞAAT SAN. A.Ş.)
	2012
	                        8,9    
	Hydro (run of river)
	40,00

	542
	AKSA AKRİLİK KİMYA SAN. A.Ş. (İTHAL KÖM.+D.G)
	2012
	                      42,5    
	Natural Gas
	298,00

	543
	AKSU RES (AKSU TEMİZ ENERJİ ELEKTRİK ÜRETİM)
	2012
	                      72,0    
	Wind
	0,00

	544
	ALABALIK REG. VE HES SANTRALI I-II (DARBOĞAZ ELK. ÜR. SAN.)
	2012
	                      13,8    
	Hydro (run of river)
	0,00

	545
	ALES DOĞALGAZ KOM. ÇEV. SANT. (ALES ELEKT.)
	2012
	                      49,0    
	Natural Gas
	370,00

	546
	ALPASLAN I (ELEKTRİK ÜRETİM A.Ş.)
	2012
	                      80,0    
	Hydro (run of river)
	0,00

	547
	ALTINYILDIZ MENSUCAT VE KONF. FAB. (Tekirdağ)
	2012
	                        5,5    
	Natural Gas
	38,00

	548
	ANAK HES (KOR-EN KORKUTELİ ELEK. ÜRET. SAN.)
	2012
	                        3,8    
	Hydro (run of river)
	9,00

	549
	ARAKLI-1 REG. VE HES(YÜCEYURT ENERJİ ÜRETİM)
	2012
	                      13,1    
	Hydro (run of river)
	0,00

	550
	ARCA HES (GÜRSU TEMİZ ENERJİ ÜRETİM A.Ş.)
	2012
	                        5,5    
	Hydro (run of river)
	0,00

	551
	AREL ENERJİ BİYOKÜTLE TESİSİ (AREL ÇEVRE)
	2012
	                        2,4    
	Biomass
	0,00

	552
	ARPA REG. VE HES (MCK ELEKTRİK ÜRETİM A.Ş.)
	2012
	                      32,4    
	Hydro (run of river)
	44,00

	553
	ASAŞ ALÜMİNYUM SANAYİ VE TİCARET A.Ş.
	2012
	                        8,6    
	Natural Gas
	65,00

	554
	ATAKÖY (ZORLU DOĞAL ELEKTRİK ÜRETİMİ A.Ş.)
	2012
	                        5,5    
	Hydro (run of river)
	11,00

	555
	AVCILAR HES (AVCILAR ENERJİ ELEKTRİK ÜRET.)
	2012
	                      16,7    
	Hydro (run of river)
	28,00

	556
	AYANCIK HES (İLK ELEKTRİK ENERJİ ÜRETİMİ SN.)
	2012
	                      15,6    
	Hydro (run of river)
	37,00

	557
	AYRANCILAR HES (MURADİYE ELEKTRİK ÜRETİM)
	2012
	                        9,3    
	Hydro (run of river)
	0,00

	558
	BAĞIŞTAŞ II HES (AKDENİZLİ ELEKTRİK ÜRETİM)
	2012
	                      32,4    
	Hydro (run of river)
	69,00

	559
	BALIKESİR RES (BARES ELEKTRİK ÜRETİM A.Ş.)
	2012
	                      30,3    
	Wind
	0,00

	560
	BALIKESİR RES (ENERJİSA ENERJİ ÜRETİM A.Ş.)
	2012
	                      82,5    
	Wind
	0,00

	561
	BALKUSAN BARAJI VE HES 1 NOLU SANT. (KAREN)
	2012
	                      13,0    
	Hydro (run of river)
	0,00

	562
	BALKUSAN BARAJI VE HES 2 NOLU SANT. (KAREN)
	2012
	                      25,0    
	Hydro (run of river)
	0,00

	563
	BALSUYU MENSUCAT SAN. VE TİC. A.Ş.
	2012
	                        9,7    
	Natural Gas
	68,00

	564
	BAMEN KOJENERASYON (BAŞYAZICIOĞLU TEKSTİL)
	2012
	                        2,1    
	Natural Gas
	14,00

	565
	BANDIRMA RES (YAPISAN ELEKTRİK ÜRETİM A.Ş.)
	2012
	                        5,0    
	Wind
	0,00

	566
	BANGAL REG. VE KUŞLUK HES (KUDRET ENERJİ)
	2012
	                      17,0    
	Hydro (run of river)
	32,00

	567
	BEKTEMUR HES (DİZ-EP ELEKTRİK ÜRETİM LTD.)
	2012
	                        3,5    
	Hydro (run of river)
	11,00

	568
	BEREKET ENERJİ ÜRETİM A.Ş. (BİOGAZ)
	2012
	                        0,6    
	Biogas
	5,00

	569
	BEYKÖY (ZORLU DOĞAL ELEKTRİK ÜRETİMİ A.Ş.)
	2012
	                      16,8    
	Hydro (run of river)
	87,00

	570
	BEYPİ BEYPAZARI TARIMSAL ÜRETİM PZ. SN. A.Ş.
	2012
	                        8,6    
	Natural Gas
	63,00

	571
	BİLECİK DOĞALGAZ ÇS. (TEKNO DOĞALGAZ ÇEV.)
	2012
	                      25,8    
	Natural Gas
	190,00

	572
	BİLECİK DOĞALGAZ KÇS. (DEDELİ DOĞALGAZ EL.)
	2012
	                    126,1    
	Natural Gas
	945,00

	573
	BİLKUR TEKSTİL BOYA TİC. A.Ş.
	2012
	                        2,0    
	Natural Gas
	14,00

	574
	BİNATOM ELEKTRİK ÜRETİM A.Ş. (Emet/KÜTAHYA)
	2012
	                      10,4    
	Natural Gas
	78,00

	575
	BİS ENERJİ(Sanayi/ Bursa)
	2012
	                      48,0    
	Natural Gas
	361,00

	576
	BOSEN ENERJİ ELEKTRİK ÜRETİM AŞ.(Bursa)
	2012
	                      27,9    
	Natural Gas
	210,00

	577
	BOYABAT BARAJI VE HES (BOYABAT ELEKTRİK)
	2012
	                    513,0    
	Hydro (run of river)
	830,00

	578
	BOZYAKA RES (KARDEMİR HADDECİLİK VE ELEKT.)
	2012
	                      12,0    
	Wind
	32,00

	579
	BÜYÜKDÜZ HES (AYEN ENERJİ A.Ş.)
	2012
	                      68,9    
	Hydro (run of river)
	192,00

	580
	CAN 1 HES (HED ELEKTRİK ÜRETİM A.Ş.)
	2012
	                        1,8    
	Hydro (run of river)
	6,00

	581
	CEYHAN HES (BERKMAN HES) (ENOVA EN ÜRET.)
	2012
	                      12,6    
	Hydro (run of river)
	31,00

	582
	CUNİŞ REG. VE HES (RİNERJİ RİZE ELEKTRİK ÜR.)
	2012
	                        8,4    
	Hydro (run of river)
	21,00

	583
	ÇAĞLAYAN HES (ÇAĞLAYAN HES ENERJİ ÜRETİM)
	2012
	                        6,0    
	Hydro (run of river)
	12,00

	584
	ÇARŞAMBA HES (ÇARŞAMBA ENERJİ ELEKTRİK)
	2012
	                      11,3    
	Hydro (run of river)
	36,00

	585
	ÇILDIR (ZORLU DOĞAL ELEKTRİK ÜRETİMİ A.Ş.)
	2012
	                      15,4    
	Natural Gas
	20,00

	586
	ÇINAR-1 HES (AYCAN ENERJİ ÜRETİM TİC. VE SN.)
	2012
	                        9,3    
	Hydro (run of river)
	19,00

	587
	ÇUKURÇAYI HES (AYDEMİR ELEKTRİK ÜRETİM A.Ş.)
	2012
	                        1,8    
	Hydro (run of river)
	2,00

	588
	DAĞPAZARI RES (ENERJİSA ENERJİ ÜRETİM A.Ş.)
	2012
	                      39,0    
	Wind
	0,00

	589
	DEMİRCİLER HES (PAK ENERJİ ÜRETİMİ SAN.)
	2012
	                        8,4    
	Hydro (run of river)
	0,00

	590
	DENİZ JEOTERMAL (MAREN MARAŞ ELEKTRİK)
	2012
	                      24,0    
	Geothermal
	0,00

	591
	DENİZLİ JEOTERMAL (ZORLU DOĞAL ELEK. ÜR.A.Ş.)
	2012
	                      15,0    
	Geothermal
	105,00

	592
	DİNAR RES (OLGU ENERJİ YATIRIM ÜRETİM)
	2012
	                      16,1    
	Wind
	51,00

	593
	DOĞANKAYA HES (MAR-EN ENERJİ ÜRET. TİC.)
	2012
	                      20,6    
	Hydro (run of river)
	56,00

	594
	DUMLU HES (DUMLU ENERJİ ELEKTRİK ÜRETİM)
	2012
	                        4,0    
	Hydro (run of river)
	5,00

	595
	DURMAZLAR MAKİNA SANAYİ VE TİCARET A.Ş.
	2012
	                        1,3    
	Natural Gas
	10,00

	596
	DURUM GIDA TERMİK KOJEN. SANT. (DURUM GIDA)
	2012
	                        3,6    
	Natural Gas
	29,00

	597
	EGE SERAMİK ENERJİ SANTRALI
	2012
	                      13,1    
	Natural Gas
	90,00

	598
	EGER HES (EGER ELEKTRİK ÜRETİM LTD. ŞTİ.)
	2012
	                        1,9    
	Hydro (run of river)
	6,00

	599
	EKİM BİYOGAZ (EKİM GRUP ELEKTRİK ÜRETİM)
	2012
	                        1,2    
	Biogas
	10,00

	600
	ENERJİ-SA (ÇANAKKALE)
	2012
	                        0,9    
	Wind
	0,00

	601
	ENERJİ-SA (KÖSEKÖY)
	2012
	                    120,0    
	Natural Gas
	930,00

	602
	ENERJİ-SA (MERSİN)
	2012
	                        1,4    
	Natural Gas
	11,00

	603
	ERDEMİR(F.O+K.G+Y.F.G+DG)(Ereğli-Zonguldak)
	2012
	                      53,9    
	Natural Gas
	355,00

	604
	EREN ENERJİ ELEKTRİK ÜRETİM A.Ş.
	2012
	                      30,0    
	Imported coal
	195,00

	605
	ERİK HES (ELEKTRİK ÜRETİM A.Ş.)
	2012
	                        6,5    
	Hydro (run of river)
	21,00

	606
	ERMENEK (ELEKTRİK ÜRETİM A.Ş.)
	2012
	                    302,4    
	Hydro (run of river)
	1187,00

	607
	ERZURUM MEYDAN AVM (REDEVKO BİR EMLAK)
	2012
	                        2,4    
	Natural Gas
	16,00

	608
	ES ES ESKİŞEHİR ENERJİ SAN. VE TİC. A.Ş.
	2012
	                        2,0    
	Biogas
	15,00

	609
	ESENDURAK HES (MERAL ELEKTRİK ÜRETİM)
	2012
	                        9,3    
	Hydro (run of river)
	0,00

	610
	FEKE 1 HES (AKKUR ENERJİ ÜRETİM TİC. VE SAN.)
	2012
	                      29,4    
	Hydro (run of river)
	0,00

	611
	FEKE 2 BARAJI VE HES (AKKUR ENERJİ ÜRETİM)
	2012
	                      69,3    
	Hydro (run of river)
	0,00

	612
	FINDIK I HES (ADV ELEKTRİK ÜRETİM LTD. ŞTİ.)
	2012
	                      11,3    
	Hydro (run of river)
	27,00

	613
	GOODYEAR (İzmit/Köseköy)
	2012
	                        5,2    
	LPG
	35,00

	614
	GÖKGEDİK HES (UHUD ENERJİ ÜRETİM TİC.)
	2012
	                      24,3    
	Hydro (run of river)
	75,00

	615
	GÖKNUR GIDA MAD. EN. İM. İT. İH. TİC. VE SAN. AŞ.
	2012
	                        1,6    
	Imported coal
	6,00

	616
	GÜDÜL 2 HES (YAŞAM ENERJİ ELEKTRİK ÜRETİM)
	2012
	                        4,9    
	Hydro (run of river)
	15,00

	617
	GÜLLÜBAĞ BARAJI VE HES (SENENERJİ ENERJİ)
	2012
	                      96,0    
	Hydro (run of river)
	280,00

	618
	GÜNAYDIN RES (MANRES ELEKTRİK ÜRETİM A.Ş.)
	2012
	                      10,0    
	Wind
	0,00

	619
	GÜNDER REG. VE HES (ARIK ENERJİ ÜRETİM A.Ş.)
	2012
	                      28,2    
	Hydro (run of river)
	0,00

	620
	GÜRTEKS İPLİK SANAYİ VE TİCARET A.Ş.
	2012
	                        6,7    
	Natural Gas
	53,00

	621
	HATİPOĞLU PLASTİK YAPI ELEMANLARI SAN.
	2012
	                        2,0    
	Natural Gas
	14,00

	622
	HORU REG. VE HES (MARAŞ ENERJİ YATIRIM SN.)
	2012
	                        8,5    
	Hydro (run of river)
	25,00

	623
	HORYAN HES (HORYAN ENERJİ A.Ş.)
	2012
	                        5,7    
	Hydro (run of river)
	15,00

	624
	ITC ADANA ENERJİ ÜRETİM (ADANA BİOKÜTLE SNT)
	2012
	                        4,2    
	Waste
	35,00

	625
	ITC BURSA ENERJİ ÜRETİM SAN. VE TİC. A.Ş. 
	2012
	                        9,8    
	Waste
	37,00

	626
	İKİZDERE (ZORLU DOĞAL ELEKTRİK ÜRETİMİ A.Ş.)
	2012
	                      18,6    
	Hydro (run of river)
	100,00

	627
	İNNORES ELEKTRİK YUNTDAĞ RÜZGAR (Aliağa-İZMİR)
	2012
	                        5,0    
	Wind
	0,00

	628
	İŞBİRLİĞİ ENERJİ ÜRETİM SAN. VE TİC. A.Ş.
	2012
	                      19,5    
	Natural Gas
	146,00

	629
	İZAYDAŞ (İZMİT ÇÖP)(Köseköy)
	2012
	                        0,3    
	Waste
	2,00

	630
	İZMİR BÜYÜK EFES OTELİ KOJENERASYON TES.
	2012
	                        1,2    
	Natural Gas
	9,00

	631
	JTI TORBALI KOJENERASYON SANTR. (JTI TÜTÜN)
	2012
	                        4,0    
	Natural Gas
	30,00

	632
	KARADAĞ RES (GARET ENERJİ ÜRETİM)
	2012
	                      10,0    
	Wind
	0,00

	633
	KARTALKAYA HES (SIR ENERJİ ÜRETİM SAN.)
	2012
	                        8,0    
	Hydro (run of river)
	15,00

	634
	KAYADÜZÜ RES (BAKTEPE ENERJİ A.Ş.)
	2012
	                      39,0    
	Wind
	0,00

	635
	KAYAKÖPRÜ 2 HES (ARSAN ENERJİ A.Ş.)
	2012
	                      10,2    
	Hydro (run of river)
	36,00

	636
	KAYSERİ KATI ATIK DEPONİ SAHASI (HER ENERJİ)
	2012
	                        1,4    
	Waste
	10,00

	637
	KESKİNOĞLU TAVUKÇULUK VE DAMIZLIK İŞLET.
	2012
	                        6,0    
	Natural Gas
	45,00

	638
	KILAVUZLU HES (ELEKTRİK ÜRETİM A.Ş.)
	2012
	                      40,5    
	Hydro (run of river)
	150,00

	639
	KIRIKDAĞ HES (ÖZENİR ENERJİ ELEKTRİK ÜRET.)
	2012
	                      16,9    
	Hydro (run of river)
	40,00

	640
	KIVANÇ TEKSTİL SAN.ve TİC.A.Ş.
	2012
	                        2,1    
	Natural Gas
	11,00

	641
	KOCAELİ ÇÖP BİYOGAZ (LFG) (KÖRFEZ ENERJİ)
	2012
	                        2,3    
	Waste
	18,00

	642
	KOZBEYLİ RES (DOĞAL ENERJİ ELEKTRİK ÜRETİM)
	2012
	                      20,0    
	Wind
	60,00

	643
	KOZDERE HES (ADO MADENCİLİK ELEKTRİK ÜR.)
	2012
	                        6,1    
	Hydro (run of river)
	5,00

	644
	KÖKNAR HES (AYCAN ENERJİ ÜRETİM TİC.)
	2012
	                        8,0    
	Hydro (run of river)
	15,00

	645
	KUZGUN (ZORLU DOĞAL ELEKTRİK ÜRETİMİ A.Ş.)
	2012
	                      20,9    
	Hydro (run of river)
	0,00

	646
	KÜÇÜKER TEKSTİL SAN. VE TİC. A.Ş.
	2012
	                        5,0    
	Lignite
	40,00

	647
	KÜRCE REG. VE HES (DEDEGÖL ENERJİ)
	2012
	                      12,0    
	Hydro (run of river)
	36,00

	648
	MENGE BARAJI VE HES (ENERJİSA ENERJİ)
	2012
	                      44,7    
	Hydro (run of river)
	58,00

	649
	MERCAN (ZORLU DOĞAL ELEKTRİK ÜRETİMİ A.Ş.)
	2012
	                      20,4    
	Hydro (run of river)
	78,00

	650
	METRİSTEPE RES (CAN ENERJİ ENTEGRE ELEKT.)
	2012
	                      39,0    
	Wind
	0,00

	651
	MİDİLLİ REG. VE HES (MASAT ENERJİ ELEKTRİK)
	2012
	                      20,9    
	Hydro (run of river)
	45,00

	652
	MURAT I-II REG. VE HES (MURAT HES ENERJİ EL.)
	2012
	                      35,6    
	Hydro (run of river)
	107,00

	653
	MURATLI REG. VE HES (ARMAHES ELEKTRİK ÜR.)
	2012
	                      11,0    
	Hydro (run of river)
	17,00

	654
	MURSAL I HES (PETA MÜHENDİSLİK ENERJİ)
	2012
	                        4,2    
	Hydro (run of river)
	13,00

	655
	MUTLU MAKARNACILIK SANAYİ VE TİCARET A.Ş.)
	2012
	                        2,0    
	Natural Gas
	18,00

	656
	NAKSAN ENERJİ ELEKTRİK ÜRETİM A.Ş.
	2012
	                      16,0    
	Natural Gas
	120,00

	657
	NİKSAR HES (NİKSAR ENERJİ ÜRETİM LTD. ŞTİ.)
	2012
	                      40,2    
	Hydro (run of river)
	140,00

	658
	ODAŞ DOĞALGAZ KÇS (ODAŞ ELEKTRİK ÜRETİM)
	2012
	                    128,2    
	Natural Gas
	450,00

	659
	OFİM ENERJİ SANTRALI (OSTİM FİNANS VE İŞ MER.)
	2012
	                        2,1    
	Natural Gas
	16,00

	660
	ORTADOĞU ENERJİ (KÖMÜRCÜODA) (Şile/İSTANBUL)
	2012
	                        2,8    
	Waste
	17,00

	661
	ORTADOĞU ENERJİ (ODA YERİ) (Eyüp/İSTANBUL)
	2012
	                        4,1    
	Waste
	22,00

	662
	ÖREN REG. VE HES (ÇELİKLER ELEKTRİK ÜRETİM)
	2012
	                      19,9    
	Hydro (run of river)
	12,00

	663
	ÖZMAYA SANAYİ A.Ş.
	2012
	                        5,4    
	Hydro (run of river)
	40,00

	664
	PAMUKOVA YEN. EN. VE ELEK. ÜR. A.Ş.
	2012
	                        1,4    
	Waste
	0,00

	665
	PANCAR ELEKTRİK ÜRETİM A.Ş.
	2012
	                      34,9    
	Natural Gas
	731,00

	666
	PAPART HES (ELİTE ELEKTRİK ÜRETİM)
	2012
	                      26,6    
	Hydro (run of river)
	80,00

	667
	PİSA TEKSTİL VE BOYA FABRİKALARI (İstanbul)
	2012
	                        1,0    
	Natural Gas
	7,00

	668
	POLAT HES (ELESTAŞ ELEKTRİK ÜRETİM A.Ş.)
	2012
	                        6,6    
	Hydro (run of river)
	20,00

	669
	POYRAZ RES (POYRAZ ENERJİ ELEKTRİK ÜRETİM)
	2012
	                      50,0    
	Wind
	0,00

	670
	SAMSUN AVDAN KATI ATIK (SAMSUN AVDAN EN.)
	2012
	                        2,4    
	Waste
	18,00

	671
	SAMURLU RES (DOĞAL ENERJİ ELEKTRİK ÜRET.)
	2012
	                      22,0    
	Hydro (run of river)
	60,00

	672
	SARIHIDIR HES (MOLU ENERJİ ÜRETİM A.Ş.)
	2012
	                        6,0    
	Hydro (run of river)
	18,00

	673
	SELÇUK İPLİK SAN. VE TİC. A.Ş.
	2012
	                        8,6    
	Natural Gas
	65,00

	674
	SELVA GIDA SAN. A.Ş. 
	2012
	                        1,7    
	Natural Gas
	14,00

	675
	SEYRANTEPE HES (SEYRANTEPE ELEKT. ÜRET.)
	2012
	                      56,8    
	Hydro (run of river)
	161,00

	676
	SEZER BİO ENERJİ (KALEMİRLER ENERJİ ELEKTR.)
	2012
	                        0,5    
	Waste
	4,00

	677
	SIRAKONAKLAR HES (2M ENERJİ ÜRETİM A.Ş.)
	2012
	                      18,0    
	Hydro (run of river)
	39,00

	678
	SİNEM JEOTERMAL (MAREN MARAŞ ELEKTRİK)
	2012
	                      24,0    
	Geothermal
	191,00

	679
	SODA SANAYİ A.Ş. (Mersin)
	2012
	                    252,2    
	Natural Gas
	1765,00

	680
	SOMA RES (SOMA ENERJİ ELEKTRİK ÜRETİM A.Ş.)
	2012
	                      24,0    
	Wind
	0,00

	681
	SÖKE-ÇATALBÜK RES (ABK ENERJİ ELEKTRİK)
	2012
	                      18,0    
	Wind
	0,00

	682
	SÖKE-ÇATALBÜK RES (ABK ENERJİ ELEKTRİK)
	2012
	                      12,0    
	Wind
	0,00

	683
	SULUKÖY HES (DU ELEKTRİK ÜRETİM A.Ş.)
	2012
	                        6,9    
	Hydro (run of river)
	18,00

	684
	ŞANLIURFA OSB (RASA ENERJİ ÜRETİM A.Ş.)
	2012
	                      11,7    
	Natural Gas
	82,00

	685
	ŞENKÖY RES (EOLOS RÜZGAR ENERJİSİ ÜRETİM)
	2012
	                      26,0    
	Wind
	0,00

	686
	ŞİFRİN REG. VE HES (BOMONTİ ELK. MÜH. MÜŞ.)
	2012
	                        6,7    
	Hydro (run of river)
	10,00

	687
	TELEME REG. VE HES (TAYEN ELEKTRİK ÜRET.)
	2012
	                        1,6    
	Hydro (run of river)
	6,00

	688
	TELLİ I-II HES (FALANJ ENERJİ ELEKTRİK ÜRET.)
	2012
	                        8,7    
	Hydro (run of river)
	18,00

	689
	TERCAN (ZORLU DOĞAL ELEKTRİK ÜRETİMİ A.Ş.)
	2012
	                      15,0    
	Hydro (run of river)
	28,00

	690
	TRAKYA YENİŞEHİR CAM SAN. A.Ş.
	2012
	                        6,0    
	Biogas
	45,00

	691
	TUĞRA REG. VE HES (VİRA ELEKTRİK ÜRETİM A.Ş.)
	2012
	                        4,9    
	Hydro (run of river)
	10,00

	692
	TUNA HES (NİSAN ELEKTROMEKANİK ENERJİ)
	2012
	                      37,2    
	Hydro (run of river)
	0,00

	693
	TUZKÖY HES (BATEN ENERJİ ÜRETİMİ A.Ş.)
	2012
	                        8,4    
	Hydro (run of river)
	0,00

	694
	TUZLAKÖY-SERGE REG. VE HES (TUYAT ELEKT.)
	2012
	                        7,1    
	Hydro (run of river)
	0,00

	695
	UMUT I REG. VE HES (NİSAN ELEKTROMEKANİK)
	2012
	                        5,8    
	Hydro (run of river)
	0,00

	696
	ÜÇKAYA HES (ŞİRİKÇİOĞLU ELEKTRİK ÜRETİM A.Ş.)
	2012
	                        1,0    
	Hydro (run of river)
	3,00

	697
	VİZARA REG. VE HES (ÖZTÜRK ELEKT. ÜRET. LTD.)
	2012
	                        8,6    
	Hydro (run of river)
	0,00

	698
	YAĞMUR REG. VE HES (BT BORDO ELK. ÜR.)
	2012
	                        8,9    
	Hydro (run of river)
	0,00

	699
	YAMANLI III KAPS. GÖKKAYA HES (MEM ENERJİ)
	2012
	                      28,5    
	Hydro (run of river)
	0,00

	700
	YAMANLI III KAPS. HİMMETLİ HES (MEM ENERJİ)
	2012
	                      27,0    
	Hydro (run of river)
	0,00

	701
	YAVUZ HES (AREM ENERJİ ÜRETİM A.Ş.)
	2012
	                        5,8    
	Hydro (run of river)
	0,00

	702
	YEDİSU HES (ÖZALTIN ENERJİ ÜRETİM VE İNŞAAT)
	2012
	                      22,7    
	Hydro (run of river)
	41,00

	703
	YENİ UŞAK ENERJİ ELEKTRİK SANTRALI 
	2012
	                        9,7    
	Natural Gas
	62,00

	704
	YILDIRIM HES (BAYBURT ENERJİ ÜRETİM VE TİC.)
	2012
	                      10,7    
	Hydro (run of river)
	22,00

	705
	YOKUŞLU KALKANDERE HES (SANKO ENERJİ)
	2012
	                        5,2    
	Hydro (run of river)
	0,00

	706
	YONGAPAN (KASTAMONU ENTEGRE)(D.İskelesi)
	2012
	                      15,0    
	Natural Gas
	90,00

	707
	ZORLU ENERJİ (B.Karıştıran)
	2012
	                      25,7    
	Natural Gas
	195,00



	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	


Annex 4

MONITORING INFORMATION

No additional information other than given in B.7

1) Wind rotates the blades of the turbine





2) Rotating blade also rotates the shaft in the Generator, and this rotation leads to electricity generation





3) Generated electricity is transferred by underground and overhead cables to the Bergama substation to be distributed for consumption





EFgrid,BM,y = 0.3230 tCO2/MWh





Operation Manager





Measurement Technicians





Administrative Officers





Health&Safety Technicians





Maintenance Technicians








� See: � HYPERLINK "http://www.epdk.org.tr/documents/10157/4282ee6d-0518-4e82-be91-8303f682569d" �http://www.epdk.org.tr/documents/10157/4282ee6d-0518-4e82-be91-8303f682569d� (page 16, Article 13-(11))


� For further information on this design change please refer to the PDD v11: � HYPERLINK "http://mer.markit.com/br-reg/PublicReport.action?getDocumentById=true&document_id=103000000014074" �http://mer.markit.com/br-reg/PublicReport.action?getDocumentById=true&document_id=103000000014074� 


� See PDD v11, page 3


� Energy Production Assessment Report, GL Garrad Hassan Deutschland GmbH, 19 July 2013, page 21, p75 generation


� See Official Gazette, � HYPERLINK "http://rega.basbakanlik.gov.tr/main.aspx?home=http://rega.basbakanlik.gov.tr/eskiler/2009/05/20090513.htm&main=http://rega.basbakanlik.gov.tr/eskiler/2009/05/20090513.htm" ��http://rega.basbakanlik.gov.tr/main.aspx?home=http://rega.basbakanlik.gov.tr/eskiler/2009/05/20090513.htm&main=http://rega.basbakanlik.gov.tr/eskiler/2009/05/20090513.htm� 


� UNFCCC, list of the National Focal Points � HYPERLINK "http://maindb.unfccc.int/public/nfp.pl?mode=wim" ��http://maindb.unfccc.int/public/nfp.pl?mode=wim� (accessed in May 2009)


� For List of Sectoral Scopes see: � HYPERLINK "http://cdm.unfccc.int/DOE/scopelst.pdf" ��http://cdm.unfccc.int/DOE/scopelst.pdf�, page 1


� See � HYPERLINK "http://www.gepower.com/prod_serv/products/wind_turbines/en/downloads/ge_25mw_brochure.pdf" ��http://www.gepower.com/prod_serv/products/wind_turbines/en/downloads/ge_25mw_brochure.pdf� (page 3)


� See: � HYPERLINK "http://www.ge.com/in/products_services/wind-energy/2.75-100-wind-turbine.html" �http://www.ge.com/in/products_services/wind-energy/2.75-100-wind-turbine.html�


� See, � HYPERLINK "http://www.gepower.com/prod_serv/products/wind_turbines/en/downloads/ge_25mw_brochure.pdf" ��http://www.gepower.com/prod_serv/products/wind_turbines/en/downloads/ge_25mw_brochure.pdf� (page 4)


� See, Annual Development of Turkey’s Gross Electricity Generation of Primary Energy Resources (2006-2013): � HYPERLINK "http://www.teias.gov.tr/T%C3%BCrkiyeElektrik%C4%B0statistikleri/istatistik2013/uretim%20tuketim(23-47)/37(06-13).xls" �http://www.teias.gov.tr/T%C3%BCrkiyeElektrik%C4%B0statistikleri/istatistik2013/uretim%20tuketim(23-47)/37(06-13).xls�See, TEİAŞ, Annual Development of Turkey's Installed Capacity by Primary Energy Resources (1984-2007), � HYPERLINK "http://www.teias.gov.tr/ist2007/3.xls" ��http://www.TEİAŞ.gov.tr/ist2007/3.xls� (Multi fuel fired PPs are grouped in liquid fuel fired plants for the sake of simplicity)


� See, The Distribution of Installed Capacity by Primary Energy Resources and The Electricity Utilities in Turkey (2013): �HYPERLINK "../../Engin/AppData/Local/Microsoft/Windows/INetCache/Content.Outlook/QP2S7144/www.teias.gov.tr/T%25C3%25BCrkiyeElektrik%25C4%25B0statistikleri/istatistik2013/kguc(1-13)/8.xls" HYPERLINK "file:///C:\\Users\\Engin\\AppData\\Local\\Microsoft\\Windows\\INetCache\\Content.Outlook\\QP2S7144\\www.teias.gov.tr\\T%25C3%25BCrkiyeElektrik%25C4%25B0statistikleri\\istatistik2013\\kguc(1-13)\\8.xls" ��www.teias.gov.tr/T%C3%BCrkiyeElektrik%C4%B0statistikleri/istatistik2013/kguc(1-13)/8.xls�See, TEİAŞ, Annual Development of Turkey’s Gross Electricity Generation of Primary Energy Resources (1940-2007), � HYPERLINK "http://www.teias.gov.tr/ist2007/31(40-07).xls" �http://www.TEİAŞ.gov.tr/ist2007/31(40-07).xls �


� See, Presentation of Zeynep Günaydın from MENR, � HYPERLINK "http://www.senternovem.nl/mmfiles/MENR_tcm24-287950.pdf" �http://www.senternovem.nl/mmfiles/MENR_tcm24-287950.pdf� page 9


� See : � HYPERLINK "http://www.epdk.org.tr/documents/elektrik/mevzuat/kanun/Elk_Kanun_Yek_Kanun.doc" �http://www.epdk.org.tr/documents/elektrik/mevzuat/kanun/Elk_Kanun_Yek_Kanun.doc� (List I in page 10)


� See, TEİAŞ, � HYPERLINK "http://www.teias.gov.tr/ist2007/31(40-07).xls" �http://www.TEİAŞ.gov.tr/ist2007/31(40-07).xls �


� See, EPDK, � HYPERLINK "http://www.epdk.org.tr/yayin_rapor/elektrik/yayin/uretimKapasiteProjeksiyonu2008_2017.pdf" ��http://www.epdk.org.tr/yayin_rapor/elektrik/yayin/uretimKapasiteProjeksiyonu2008_2017.pdf�, page 50


� See, Presentation of Zeynep Günaydın from MENR, � HYPERLINK "http://www.senternovem.nl/mmfiles/MENR_tcm24-287950.pdf" ��http://www.senternovem.nl/mmfiles/MENR_tcm24-287950.pdf� page 9


�� HYPERLINK "https://cdm.unfccc.int/methodologies/DB/EY2CL7RTEHRC9V6YQHLAR6MJ6VEU83" �https://cdm.unfccc.int/methodologies/DB/EY2CL7RTEHRC9V6YQHLAR6MJ6VEU83� 


� See; � HYPERLINK "http://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-07-v4.0.pdf" �http://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-07-v4.0.pdf� 


� See; http://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-01-v7.0.0.pdf


� See; http://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-02-v5.0.0.pdf


� See; http://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-03-v2.pdf


� See; � HYPERLINK "http://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-10-v1.pdf" �http://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-10-v1.pdf�


� ACM0002 Version 11: (� HYPERLINK "http://cdm.unfccc.int/UserManagement/FileStorage/HGY3TLRFPQVM016WA4I7XCZD92KE5S" �http://cdm.unfccc.int/UserManagement/FileStorage/HGY3TLRFPQVM016WA4I7XCZD92KE5S�)


� See, �HYPERLINK "http://www.teias.gov.tr/KAPASITEPROJEKSIYONU2012.pdf"�http://www.teias.gov.tr/YayinRapor/APK/projeksiyon/KAPASITEPROJEKSIYONU2013.pdf�   (Page 6, Table 1)For demand development see, TEİAŞ, � HYPERLINK "http://www.teias.gov.tr/projeksiyon/KAPASITE%20PROJEKSIYONU%202008.pdf" ��http://www.TEİAŞ.gov.tr/projeksiyon/KAPASITE%20PROJEKSIYONU%202008.pdf� (page 4, Table 1)


� See, �HYPERLINK "http://www.teias.gov.tr/KAPASITEPROJEKSIYONU2012.pdf"�http://www.teias.gov.tr/YayinRapor/APK/projeksiyon/KAPASITEPROJEKSIYONU2013.pdf�  (Page 18-19, Table 7 for High and Table 8 for Low Scenarios)See, TEİAŞ,  (� HYPERLINK "http://www.teias.gov.tr/projeksiyon/KAPASITE%20PROJEKSIYONU%202008.pdf" ��http://www.TEİAŞ.gov.tr/projeksiyon/KAPASITE%20PROJEKSIYONU%202008.pdf�  page 50, Table 26)


� See, �HYPERLINK "http://www.teias.gov.tr/KAPASITEPROJEKSIYONU2012.pdf"�http://www.teias.gov.tr/YayinRapor/APK/projeksiyon/KAPASITEPROJEKSIYONU2013.pdf� (Page 44, Table 26)


� 


See, http://www.teias.gov.tr/T%C3%BCrkiyeElektrik%C4%B0statistikleri/istatistik2013/uretim%20tuketim(23-47)/38.xls


TEİAŞ, � HYPERLINK "http://www.teias.gov.tr/ist2007/32.xls" ��http://www.TEİAŞ.gov.tr/ist2007/32.xls� (Renewable generation is composing of ‘renewable and waste’, ‘hydro’ and ‘geothermal and wind’ data)


� See, �HYPERLINK "http://www.teias.gov.tr/KAPASITEPROJEKSIYONU2012.pdf"�http://www.teias.gov.tr/YayinRapor/APK/projeksiyon/KAPASITEPROJEKSIYONU2013.pdf�  (Page 72)


� See, Ten Years Projection for Electricity Generation Capacity (2008-2017), � HYPERLINK "http://www.teias.gov.tr/projeksiyon/KAPASITE%20PROJEKSIYONU%202008.pdf" ��http://www.TEİAŞ.gov.tr/projeksiyon/KAPASITE%20PROJEKSIYONU%202008.pdf�  page 104


� Version 7, �HYPERLINK "http://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-01-v7.0.0.pdf"�http://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-01-v7.0.0.pdf�  (Page7)


� See, �HYPERLINK "http://www.epdk.gov.tr/documents/elektrik/mevzuat/kanun/Elk_Kanun_6446.doc"�http://www.epdk.gov.tr/documents/elektrik/mevzuat/kanun/Elk_Kanun_6446.doc�  (Enactment Date:2013)


� See, �HYPERLINK "http://www.epdk.org.tr/documents/elektrik/mevzuat/kanun/Elk_Kanun_Yek_Kanun.doc"�http://www.epdk.org.tr/documents/elektrik/mevzuat/kanun/Elk_Kanun_Yek_Kanun.doc�  (Enactment Date: 2005)


� See, �HYPERLINK "http://www2.cevreorman.gov.tr/yasa/k/2872.doc"�http://www2.cevreorman.gov.tr/yasa/k/2872.doc� (Enactment Date: 1983)


� See,, � HYPERLINK "http://cdm.unfccc.int/methodologies/PAmethodologies/AdditionalityTools/Additionality_tool.pdf" ��http://cdm.unfccc.int/methodologies/PAmethodologies/AdditionalityTools/Additionality_tool.pdf� page 4


� See: � HYPERLINK "http://www.epdk.gov.tr/mevzuat/kanun/elektrik/elektrik_piyasalari_kanunu.pdf" ��http://www.epdk.gov.tr/mevzuat/kanun/elektrik/elektrik_piyasalari_kanunu.pdf� (Enactment Date:2001)


� See: � HYPERLINK "http://www.epdk.gov.tr/mevzuat/diger/yenilenebilir/yenilenebilir.doc" ��http://www.epdk.gov.tr/mevzuat/diger/yenilenebilir/yenilenebilir.doc� (Enactment Date: 2005)


� See: � HYPERLINK "http://www2.cevreorman.gov.tr/yasa/k/2872.doc" ��http://www2.cevreorman.gov.tr/yasa/k/2872.doc� (Enactment Date: 1983)


� Worldbank - Project Appraisal Document on a IBRD Loan and a Proposed Loan from Clean Technology Fund to TSKB and TKB with the Guarantee of Turkey, May 2009 (� HYPERLINK "http://www-wds.worldbank.org/external/default/WDSContentServer/WDSP/IB/2009/05/11/000333037_20090511030724/Rendered/PDF/468080PAD0P112101Official0Use0Only1.pdf" ��http://www-wds.worldbank.org/external/default/WDSContentServer/WDSP/IB/2009/05/11/000333037_20090511030724/Rendered/PDF/468080PAD0P112101Official0Use0Only1.pdf�  page 80, paragraph 29 and page 81, Table 11.5)


� See; �HYPERLINK "http://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-10-v1.pdf"�http://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-10-v1.pdf�


� See; �HYPERLINK "http://www.epdk.gov.tr/documents/elektrik/mevzuat/kanun/Elk_Kanun_Yek_Kanun.doc"�http://www.epdk.gov.tr/documents/elektrik/mevzuat/kanun/Elk_Kanun_Yek_Kanun.doc�   (Page 9, Table 1) 


� See, EPDK, � HYPERLINK "http://www.epdk.org.tr/mevzuat/yonetmelik/elektrik/dengeleme/yeni/duyilk.doc" ��http://www.epdk.org.tr/mevzuat/yonetmelik/elektrik/dengeleme/yeni/duyilk.doc� (accessed in April 2009)


� See, EPDK, � HYPERLINK "http://www.epdk.gov.tr/lisans/elektrik/yek/yeklisansgeneltablo.xls" ��http://www.epdk.gov.tr/lisans/elektrik/yek/yeklisansgeneltablo.xls� (accessed in April 2009)


� See, EPDK, � HYPERLINK "http://www.epdk.org.tr/lisans/elektrik/yek/ruzgarprojeleriningelisimi.xls" ��http://www.epdk.org.tr/lisans/elektrik/yek/ruzgarprojeleriningelisimi.xls� (accessed in May 2009) 


� See, � HYPERLINK "http://www.netinform.net/KE/Wegweiser/Guide2.aspx?ID=3784&Ebene1_ID=49&Ebene2_ID=1152&mode=4" ��http://www.netinform.net/KE/Wegweiser/Guide2.aspx?ID=3784&Ebene1_ID=49&Ebene2_ID=1152&mode=4� 


� See, � HYPERLINK "http://www.netinform.net/KE/Wegweiser/Guide2.aspx?ID=6081&Ebene1_ID=49&Ebene2_ID=1943&mode=4" ��http://www.netinform.net/KE/Wegweiser/Guide2.aspx?ID=6081&Ebene1_ID=49&Ebene2_ID=1943&mode=4�


� See, � HYPERLINK "http://www.netinform.net/KE/Wegweiser/Guide2.aspx?ID=3781&Ebene1_ID=49&Ebene2_ID=1116&mode=4" ��http://www.netinform.net/KE/Wegweiser/Guide2.aspx?ID=3781&Ebene1_ID=49&Ebene2_ID=1116&mode=4�


� See, � HYPERLINK "https://gs1.apx.com/myModule/rpt/myrpt.asp?r=111" ��https://gs1.apx.com/myModule/rpt/myrpt.asp?r=111� 


� See, �HYPERLINK "http://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-07-v4.0.pdf"�http://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-07-v4.0.pdf� (Version 04)


� See, � HYPERLINK "http://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-07-v2.pdf" �http://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-07-v2.pdf�   (version 02)


� See, � HYPERLINK "http://www.epdk.org.tr/english/regulations/electric/license/licensing.doc" ��http://www.epdk.org.tr/english/regulations/electric/license/licensing.doc� (page 21)


� See, � HYPERLINK "http://www.epdk.org.tr/yayin_rapor/elektrik/yayin/uretimKapasiteProjeksiyonu2008_2017.pdf" ��http://www.epdk.org.tr/yayin_rapor/elektrik/yayin/uretimKapasiteProjeksiyonu2008_2017.pdf� (page 39)


� See: �HYPERLINK "http://www.teias.gov.tr/T%C3%BCrkiyeElektrik%C4%B0statistikleri/istatistik2012/uretim%20tuketim(23-47)/37(06-12).xls"�http://www.teias.gov.tr/T%C3%BCrkiyeElektrik%C4%B0statistikleri/istatistik2012/uretim%20tuketim(23-47)/37(06-12).xls�  


� See, � HYPERLINK "http://www.teias.gov.tr/istatistik2008/32(75-08).xls" �http://www.teias.gov.tr/istatistik2008/32(75-08).xls� 


� For detail calculation see Annex 3


�See;  �HYPERLINK "http://www.teias.gov.tr/T%C3%BCrkiyeElektrik%C4%B0statistikleri/istatistik2012/uretim%20tuketim(23-47)/37(06-12).xls"�http://www.teias.gov.tr/T%C3%BCrkiyeElektrik%C4%B0statistikleri/istatistik2012/uretim%20tuketim(23-47)/37(06-12).xls� 


� For Net Production See, �HYPERLINK "http://www.teias.gov.tr/T%C3%BCrkiyeElektrik%C4%B0statistikleri/istatistik2013/uretim%20tuketim(23-47)/34(84-13).xls"�www.teias.gov.tr/T%C3%BCrkiyeElektrik%C4%B0statistikleri/istatistik2013/uretim%20tuketim(23-47)/34(84-13).xls� 


� For Net Production See, � HYPERLINK "http://www.teias.gov.tr/istatistik2008/30(84-08).xls" �http://www.teias.gov.tr/istatistik2008/30(84-08).xls�  (column L)


� See, � HYPERLINK "http://epdk.org.tr/documents/elektrik/mevzuat/yonetmelik/elektrik/dengeleme_uzlastirma/DUYson.doc" �http://epdk.org.tr/documents/elektrik/mevzuat/yonetmelik/elektrik/dengeleme_uzlastirma/DUYson.doc�� HYPERLINK "http://www.epdk.org.tr/english/regulations/electric/balancing/balancing.doc" ��http://www.epdk.org.tr/english/regulations/electric/balancing/balancing.doc� page Article 8150 (accessed in MarchApril 201409)


� See, � HYPERLINK "http://www.epdk.org.tr/english/regulations/electric/meters.doc" \t "_blank" �http://www.epdk.org.tr/english/regulations/electric/meters.doc�, page 1


� See, � HYPERLINK "http://www.sanayi.gov.tr/download/osgm/olcu_aletleri_muayene_yonetmelik.zip" \t "_blank" �http://www.sanayi.gov.tr/download/osgm/olcu_aletleri_muayene_yonetmelik.zip� , page 2


� See, � HYPERLINK "http://www.teias.gov.tr/sistemkullanim1.doc" \t "_blank" �http://www.teias.gov.tr/sistemkullanim1.doc� , page 3, 2-b)


� See, � HYPERLINK "http://www.epdk.org.tr/english/regulations/electric/meters.doc" \t "_blank" �http://www.epdk.org.tr/english/regulations/electric/meters.doc�, page 1


� See, � HYPERLINK "http://www.sanayi.gov.tr/download/osgm/olcu_aletleri_muayene_yonetmelik.zip" \t "_blank" �http://www.sanayi.gov.tr/download/osgm/olcu_aletleri_muayene_yonetmelik.zip� , page 2


� See, � HYPERLINK "http://www.teias.gov.tr/sistemkullanim1.doc" \t "_blank" �http://www.teias.gov.tr/sistemkullanim1.doc� , page 3, 2-b)


� See, �HYPERLINK "http://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-10-v1.pdf"�http://cdm.unfccc.int/methodologies/PAmethodologies/tools/am-tool-10-v1.pdf�See, � HYPERLINK "http://www.talentfactory.dk/en/tour/econ/oandm.htm" ��http://www.talentfactory.dk/en/tour/econ/oandm.htm� 


� Available to DOE during validation of the first crediting period and re-validation.


� See; �HYPERLINK "http://www.teias.gov.tr/T%C3%BCrkiyeElektrik%C4%B0statistikleri/istatistik2012/yak%C4%B1t48-53/51.xls"�http://www.teias.gov.tr/T%C3%BCrkiyeElektrik%C4%B0statistikleri/istatistik2012/yak%C4%B1t48-53/51.xls� 


� See; �HYPERLINK "http://www.teias.gov.tr/T%C3%BCrkiyeElektrik%C4%B0statistikleri/istatistik2012/yak%C4%B1t48-53/49.xls"�http://www.teias.gov.tr/T%C3%BCrkiyeElektrik%C4%B0statistikleri/istatistik2012/yak%C4%B1t48-53/49.xls� 





[image: image19.png]


_1288361474.unknown

_1303719173.unknown

_1288380654.unknown

_1288288339.unknown

