## Ghani_500Mw(Zuvan)_VCS
Project VCS ID | 1792
Start Date Of MP | 2021-08-01
End Date Of MP | 2022-10-31
Total electrcity generated in the MP | 1456655.8
Total Days | 457
Actual ERs achieved in this MP | 1380180 | tCO2e
Annual ER Estimated in the PDD | 996010 | tCO2/year
Estimated ER equivalent to this MP | 1247059.0959 | tCO2e
Actual ERs achieved in this MP | 1380180 | tCO2e
% Difference in ER | 10.67%
The PLF estimated as per Registered PD | 24%
Actual PLF achieved during the current monitoring period | 26.82%
% Difference in estimated PLF at the time of validation | 11.75% | Difference due to greater number of sunshine hours during the monitoring period
Period | Baseline emissions or removals (tCO2e) | Project emissions or removals (tCO2e) | Leakage emissions (tCO2e) | Net GHG emission reductions or removals (tCO2e)
2021(01/08/2021 TO 31/10/2022) | 1380180 | 0 | 0 | 1380180
Total | 1380180 |  |  | 1380180

## Generation sheet_PSS 1
| 1_ Divyesh Power ltd. |  |  |  | 2_SEI Baskara Power Ltd. |  |  |  | 3_Shreyash Renewable Energy Pvt. Ltd. |  |  |  | 4_Zuvan Energy Pvt. Ltd. |  |  |  | 5_Aarish Solar Power Pvt. Ltd.
Months | Export | Import | Net Generation as per JMR | Net Generation as per Invoice | Export | Import | Net Generation as per JMR | Net Generation as per Invoice | Export | Import | Net Generation as per JMR | Net Generation as per Invoice | Export | Import | Net Generation as per JMR | Net Generation as per Invoice | Export | Import | Net Generation JMR | Net Generation as per Invoice | Total Net Generation PSS1(MWh) | Emission factor(tCO2/MWh) | Emission Reduction
2021-08-01 | 9073528 | 47357 | 9026171 | 9026171 | 9085594 | 45922 | 9039672 | 9039671 | 9055429 | 63143 | 8992286 | 8992286 | 8980017 | 44487 | 8935530 | 8935530 | 9001133 | 48792 | 8952341 | 8952341 | 44945.999 | 0.9475 | 42586.3341
2021-09-01 | 8953704 | 43562 | 8910142 | 8910142 | 8904269 | 44967 | 8859302 | 8859302 | 8949749 | 59020 | 8890729 | 8890729 | 8910201 | 43562 | 8866639 | 8866639 | 8912178 | 50588 | 8861590 | 8861590 | 44388.402 | 0.9475 | 42058.0109
2021-10-01 | 9916445 | 46145 | 9870300 | 9870300 | 9887748 | 47543 | 9840205 | 9840205 | 9781864 | 58730 | 9723134 | 9723134 | 9780874 | 44746 | 9736128 | 9736128 | 9838269 | 53136 | 9785133 | 9785133 | 48954.9 | 0.9475 | 46384.7677
2021-11-01 | 7345648 | 47286 | 7298362 | 7298362 | 7347168 | 50126 | 7297042 | 7297042 | 7222641 | 60208 | 7162433 | 7162433 | 7251620 | 47570 | 7204050 | 7204050 | 7267224 | 53108 | 7214116 | 7214115 | 36176.003 | 0.9475 | 34276.7628
2021-12-01 | 10448530 | 220823 | 10227707 | 10227707 | 10495452 | 214514 | 10280938 | 10280938 | 10529395 | 264988 | 10264407 | 10264407 | 10476483 | 214514 | 10261969 | 10261969 | 10562340 | 246060 | 10316280 | 10316280 | 51351.301 | 0.9475 | 48655.3577
2022-01-01 | 10617605 | 44985 | 10572620 | 10572620 | 10509353 | 44985 | 10464368 | 10464368 | 10624557 | 52923 | 10571634 | 10571634 | 10604694 | 64831 | 10539863 | 10539863 | 10749692 | 50277 | 10699415 | 10699415 | 52847.9 | 0.9475 | 50073.3852
2022-02-01 | 11065601 | 48722 | 11016879 | 11016879 | 11106715 | 50346 | 11056369 | 11056369 | 11153845 | 58466 | 11095379 | 11095380 | 11137801 | 45473 | 11092328 | 11092328 | 11150837 | 53594 | 11097243 | 11097243 | 55358.199 | 0.9475 | 52451.8936
2022-03-01 | 11778203 | 47740 | 11730463 | 11730463 | 11820061 | 50820 | 11769241 | 11769241 | 11872883 | 67760 | 11805123 | 11805123 | 11817071 | 44660 | 11772411 | 11772411 | 11784182 | 50820 | 11733362 | 11733362 | 58810.6 | 0.9475 | 55723.0435
2022-04-01 | 11484584 | 43232 | 11441352 | 11441352 | 11429824 | 44673 | 11385151 | 11385151 | 11446750 | 64848 | 11381902 | 11381902 | 11471641 | 41791 | 11429850 | 11429850 | 11480601 | 47555 | 11433046 | 11433046 | 57071.301 | 0.9475 | 54075.0577
2022-05-01 | 10159355 | 39370 | 10119985 | 10119985 | 10106270 | 40776 | 10065494 | 10065494 | 10190405 | 64679 | 10125726 | 10125726 | 10183394 | 40776 | 10142618 | 10142618 | 10172376 | 46400 | 10125976 | 10125976 | 50579.799 | 0.9475 | 47924.3596
2022-06-01 | 9815936 | 40168 | 9775768 | 9775768 | 9767328 | 41553 | 9725775 | 9725775 | 9738559 | 59559 | 9679000 | 9679001 | 9627454 | 38783 | 9588671 | 9588671 | 9656223 | 42938 | 9613285 | 9613284 | 48382.5 | 0.9475 | 45842.4187
2022-07-01 | 8070680 | 46613 | 8024067 | 8024067 | 8078697 | 48025 | 8030672 | 8030672 | 8102750 | 62150 | 8040600 | 8040600 | 8117783 | 43788 | 8073995 | 8073996 | 8211989 | 48025 | 8163964 | 8163964 | 40333.299 | 0.9475 | 38215.8008
2022-08-01 | 9309320 | 46056 | 9263264 | 9263264 | 9252501 | 47451 | 9205050 | 9205050 | 9286393 | 64199 | 9222194 | 9222194 | 9221599 | 46056 | 9175543 | 9175543 | 9319288 | 51638 | 9267650 | 9267650 | 46133.701 | 0.9475 | 43711.6817
2022-09-01 | 8859523 | 84524 | 8774999 | 8774999 | 8847600 | 87085 | 8760515 | 8760515 | 8854555 | 115260 | 8739295 | 8739295 | 8760167 | 84524 | 8675643 | 8675644 | 8731354 | 92208 | 8639146 | 8639147 | 43589.599 | 0.9475 | 41301.1451
2022-10-01 | 9767859 | 87695 | 9680164 | 9680164 | 9836971 | 92853 | 9744118 | 9744118 | 9670701 | 113487 | 9557214 | 9557214 | 9706760 | 95432 | 9611328 | 9611327 | 9798909 | 95432 | 9703477 | 9703477 | 48296.3 | 0.9475 | 45760.7443
Total | [20 empty] | 727219.803 |  | 689040
1456655.8
1380180
For theVerification Period Aug'21 to Oct'22
S No. | SPV Name | Net Export | Emission Reductions(VER's)
1 | Divyesh Power Private Limited | 145732243 | 138081.3002
2 | SEI Baskara Power Private Limited | 145523911 | 137883.9057
3 | Shreyas Renewable Energy Private Limited | 145251058 | 137625.3775
4 | Zuvan Energy Private Limited | 145106567 | 137488.4722
5 | Aarish Solar Power Private Limited | 145606023 | 137961.7068
6 | Pratyash Renewable Private Limited | 146094204 | 138424.2583
7 | Elena Renewable Energy Private Limited | 145832904 | 138176.6765
8 | Aashman Energy Private Limited | 145811356 | 138156.2598
9 | SEI Mihir Energy Private Limited | 145723406 | 138072.9272
10 | SEI Enerstar Renewable Energy Private Limited | 145974127 | 138310.4853
|  | Total | 1380181.3696

## Generation sheet_PSS 2
| 6_Pratyash Renewable Pvt. Ltd. |  |  |  | 7_Elena Renewable Energy Pvt. Ltd. |  |  |  | 8_Aashman Energy Pvt. Ltd. |  |  |  | 9_SEI Mihir Energy Pvt. Ltd. |  |  |  | 10_SEI Enerstar Renewable Energy Pvt. Ltd.
Months | Export | Import | Net Generation as per JMR | Net Generation as per Invoice | Export | Import | Net Generation as per JMR | Net Generation as per Invoice | Export | Import | Net Generation as per JMR | Net Generation as per Invoice | Export | Import | Net Generation as per JMR | Net Generation as per Invoice | Export | Import | Net Generation as per JMR | Net Generation as per Invoice | Total Net Generation PSS-2 (MWh) | Emission factor(tCO2/MWh) | Emission Reduction
2021-08-01 | 8974796 | 50560 | 8924236 | 8924236 | 8984848 | 46460 | 8938388 | 8938388 | 8907445 | 46460 | 8860985 | 8860985 | 8850146 | 49193 | 8800953 | 8800953 | 8892366 | 43727 | 8848639 | 8848639 | 44373.201 | 0.9475 | 42043.6079
2021-09-01 | 9134835 | 48414 | 9086421 | 9086421 | 8983067 | 45724 | 8937343 | 8937343 | 9032664 | 45724 | 8986940 | 8986941 | 8890816 | 49759 | 8841057 | 8841057 | 8866017 | 44379 | 8821638 | 8821638 | 44673.4 | 0.9475 | 42328.0465
2021-10-01 | 9769374 | 50896 | 9718478 | 9718478 | 9761466 | 48144 | 9713322 | 9713321 | 9761466 | 52271 | 9709195 | 9709194 | 9789144 | 50896 | 9738248 | 9738248 | 9797052 | 45393 | 9751659 | 9751658 | 48630.899 | 0.9475 | 46077.7768
2021-11-01 | 7175537 | 51629 | 7123908 | 7123908 | 7218907 | 47780 | 7171127 | 7171127 | 7143491 | 54151 | 7089340 | 7089339 | 7200912 | 53620 | 7147292 | 7147292 | 7241754 | 46320 | 7195434 | 7195434 | 35727.1 | 0.9475 | 33851.4273
2021-12-01 | 10623136 | 55752 | 10567384 | 10567384 | 10591069 | 50312 | 10540757 | 10540757 | 10642176 | 54392 | 10587784 | 10587784 | 10578042 | 54392 | 10523650 | 10523650 | 10546977 | 48953 | 10498024 | 10498024 | 52717.599 | 0.9475 | 49949.9251
2022-01-01 | 10801369 | 53646 | 10747723 | 10747723 | 10658357 | 48144 | 10610213 | 10610213 | 10638495 | 50895 | 10587600 | 10587600 | 10582879 | 52271 | 10530608 | 10530608 | 10782500 | 48144 | 10734356 | 10734356 | 53210.5 | 0.9475 | 50416.9488
2022-02-01 | 11113515 | 52347 | 11061168 | 11061168 | 11172656 | 46530 | 11126126 | 11126126 | 11197716 | 50892 | 11146824 | 11146824 | 11132560 | 52347 | 11080213 | 11080213 | 11087453 | 47984 | 11039469 | 11039469 | 55453.8 | 0.9475 | 52542.4755
2022-03-01 | 11668305 | 72849 | 11595456 | 11595456 | 11764127 | 66605 | 11697522 | 11697522 | 11764127 | 77012 | 11687115 | 11687115 | 11827010 | 72849 | 11754161 | 11754161 | 11869930 | 68686 | 11801244 | 11801244 | 58535.498 | 0.9475 | 55462.3844
2022-04-01 | 11426474 | 68896 | 11357578 | 11357578 | 11428469 | 61022 | 11367447 | 11367447 | 11399539 | 70864 | 11328675 | 11328675 | 11474358 | 66927 | 11407431 | 11407431 | 11473361 | 62990 | 11410371 | 11410370 | 56871.501 | 0.9475 | 53885.7472
2022-05-01 | 10306240 | 60189 | 10246051 | 10246051 | 10279171 | 53502 | 10225669 | 10225669 | 10320275 | 60189 | 10260086 | 10260086 | 10353360 | 56846 | 10296514 | 10296513 | 10312255 | 55174 | 10257081 | 10257081 | 51285.4 | 0.9475 | 48592.9165
2022-06-01 | 9824881 | 55701 | 9769180 | 9769180 | 9756322 | 50786 | 9705536 | 9705535 | 9842766 | 55701 | 9787065 | 9787065 | 9759303 | 52425 | 9706878 | 9706877 | 9755328 | 50786 | 9704542 | 9704542 | 48673.199 | 0.9475 | 46117.8561
2022-07-01 | 8254733 | 59912 | 8194821 | 8194821 | 8233670 | 55182 | 8178488 | 8178488 | 8299869 | 59912 | 8239957 | 8239957 | 8330962 | 58335 | 8272627 | 8272627 | 8298866 | 56759 | 8242107 | 8242107 | 41128 | 0.9475 | 38968.78
2022-08-01 | 9331779 | 56672 | 9275107 | 9275107 | 9308902 | 52313 | 9256589 | 9256590 | 9302935 | 59578 | 9243357 | 9243357 | 9306913 | 55219 | 9251694 | 9251694 | 9314870 | 55219 | 9259651 | 9259651 | 46286.399 | 0.9475 | 43856.3631
2022-09-01 | 8943419 | 53239 | 8890180 | 8890180 | 8880891 | 54640 | 8826251 | 8826251 | 8868981 | 57442 | 8811539 | 8811539 | 8844168 | 53239 | 8790929 | 8790930 | 8821341 | 54640 | 8766701 | 8766701 | 44085.601 | 0.9475 | 41771.1069
2022-10-01 | 9593018 | 56504 | 9536514 | 9536513 | 9596009 | 57883 | 9538126 | 9538127 | 9544155 | 59261 | 9484894 | 9484895 | 9634900 | 53748 | 9581152 | 9581152 | 9699718 | 56504 | 9643214 | 9643213 | 47783.9 | 0.9475 | 45275.2452
Total | [20 empty] | 729435.997 |  | 691140

## Calibration Details
S.no | Feeders | Location | SPDs
1 | Feeder -211 | Pooling Substation(PSS) -1 | 1. Divyesh Power Ltd.
2. SEI Baskara Power Ltd.
3. Shreyash Renewable Energy Pvt Ltd.
| Feeder -212 |  | 4.Zuvan Energy Pvt Ltd.
5.Aarish Solar Power Ltd.
2 | Feeder -215 | Pooling Substation(PSS)-2 | 6.Prayatash Renewables Pvt Ltd
7.Elena Renewable Energy Pvt Ltd.
8.Aashman Energy Pvt Ltd
| Feeder-216 |  | 9.SEI Mihir Energy Pvt Ltd
10.SEI Enerstar Renewable Energy Pvt Ltd
PSS - 01 - 220 KV Side at 400 KV Substation* | [6 empty] | PSS - 02 - 220 KV Side at 400 KV Substation*
Meter Details | Main Meter | Check Meter | Standby Meter | Main Meter | Check Meter | Standby Meter | Meter Details | Main Meter | Check Meter | Standby Meter | Main Meter | Check Meter | Standby Meter
Feeder Detail | 211 | 211 | 211 | 212 | 212 | 212 | Feeder Detail | 215 | 215 | 215 | 216 | 216 | 216
Location | PSS 1 | PSS 1 | PSS 1 | PSS 1 | PSS 1 | PSS 1 | Location | PSS 2 | PSS 2 | PSS 2 | PSS 2 | PSS 2 | PSS 2
Meter Serial No | 16196439 | 16196441 | 16196443 | 16196434 | 16196435 | 16196437 | Meter Serial No | 16196452 | 16196456 | 16196449 | 16196455 | 16196458 | 16196460
Meter Make | L & T | L & T | L & T | L & T | L & T | L & T | Meter Make | L & T | L & T | L & T | L & T | L & T | L & T
Accuracy Class | 0.2s | 0.2s | 0.2s | 0.2s | 0.2s | 0.2s | Accuracy Class | 0.2s | 0.2s | 0.2s | 0.2s | 0.2s | 0.2s
Last Calibration date | 2020-10-16 | 2020-10-16 | 2020-10-16 | 2020-10-16 | 2020-10-16 | 2020-10-16 | Last Calibration date | 2020-10-16 | 2020-10-16 | 2020-10-16 | 2020-10-16 | 2020-10-16 | 2020-10-16
Calibration date | 2021-10-28 | 2021-10-28 | 2021-10-28 | 2021-10-28 | 2021-10-28 | 2021-10-28 | Calibration date | 2021-10-28 | 2021-10-28 | 2021-10-28 | 2021-10-28 | 2021-10-28 | 2021-10-28
Due date | 2026-10-27 | 2026-10-27 | 2026-10-27 | 2026-10-27 | 2026-10-27 | 2026-10-27 | Due date | 2026-10-27 | 2026-10-27 | 2026-10-27 | 2026-10-27 | 2026-10-27 | 2026-10-27
S.No | *PSS -1 consist 5 SPDs as follows:- | [5 empty] | S.No | *PSS -2 consist 5 SPDs as follows:-
1 | Divyesh | [5 empty] | 1 | Pratyash
2 | SEI Bhaskar | [5 empty] | 2 | Elena
3 | Shreyas | [5 empty] | 3 | Aashman
4 | Zuvan | [5 empty] | 4 | SEI Mihir
5 | Aarish | [5 empty] | 5 | SEI Enerstar

## Plant specifications
| Name of Investor | Capacity in MW | COD | Connection with Grid | State | Usage
| Aarish Solar Power Private Limited | 50 MW | 2017-03-31 | Indian Grid | Andhra Pradesh | Sale to State DISCOM
| Aashman Energy Private Limited | 50 MW | 2017-03-31
| Divyesh Power Private Limited | 50 MW | 2017-03-31
| Elena Renewable Energy Private Limited | 50 MW | 2017-03-31
| Pratyash Renewable Private Limited | 50 MW | 2017-03-31
| SEI Baskara Power Private Limited | 50 MW | 2017-03-31
| SEI Enerstar Renewable Energy Private Limited | 50 MW | 2017-03-31
| SEI Mihir Energy PrivateLimited | 50 MW | 2017-03-31
| Shreyash Renewable Energy Private Limited | 50 MW | 2017-03-31
| Zuvan Energy Private Limited | 50 MW | 2017-03-31
1)The technical specification for 50 MW solar project by Aarish Solar Power Private Limited. |  |  |  | 6)The technical specification for 50 MW solar project by SEI Baskara Power Private Limited.
Sl. No. | Technical details of the equipment | Description |  | Sl. No. | Technical details of the equipment | Description
1 | Technology Used | Solar PV technology (Poly-Crystaline) |  | 1 | Technology Used | Solar PV technology (Poly-Crystaline)
2 | Module capacity | Module capacity- 315 Wp 320 Wp & 325 Wp |  | 2 | Module capacity | Module capacity- 315 Wp 320 Wp & 325 Wp
3 | Number of Inverters , Inverter Make & Model | 56 Inverters |  | 3 | Number of Inverters , Inverter Make & Model | 56 Inverters
|  | SMA/Sunny Central 1000CP XT |  |  |  | SMA/Sunny Central 1000CP XT
4 | Modules per String | 21 |  | 4 | Modules per String | 21
5 | Tilt | Fixed Tilt |  | 5 | Tilt | Fixed Tilt
2)The technical specification for 50 MW solar project by Aashman Energy Private Limited. |  |  |  | 7)The technical specification for 50 MW solar project by SEI Enerstar Renewable Energy Private Limited.
Sl. No. | Technical details of the equipment | Description |  | Sl. No. | Technical details of the equipment | Description
1 | Technology Used | Solar PV technology (Poly-Crystaline) |  | 1 | Technology Used | Solar PV technology (Poly-Crystaline)
2 | Module capacity | Module capacity- 315 Wp 320 Wp & 325 Wp |  | 2 | Module capacity | Module capacity- 315 Wp 320 Wp & 325 Wp
3 | Number of Inverters , Inverter Make & Model | 56 Inverters |  | 3 | Number of Inverters , Inverter Make & Model | 56 Inverters
|  | SMA/Sunny Central 1000CP XT |  |  |  | SMA/Sunny Central 1000CP XT
4 | Modules per String | 21 |  | 4 | Modules per String | 21
5 | Tilt | Fixed Tilt |  | 5 | Tilt | Fixed Tilt
3)The technical specification for 50 MW solar project by Divyesh Power Private Limited. |  |  |  | 8)The technical specification for 50 MW solar project by Shreyash Renewable Energy Private Limited.
Sl. No. | Technical details of the equipment | Description |  | Sl. No. | Technical details of the equipment | Description
1 | Technology Used | Solar PV technology (Poly-Crystaline) |  | 1 | Technology Used | Solar PV technology (Poly-Crystaline)
2 | Module capacity | Module capacity- 315 Wp 320 Wp & 325 Wp |  | 2 | Module capacity | Module capacity- 315 Wp 320 Wp & 325 Wp
3 | Number of Inverters , Inverter Make & Model | 56 Inverters |  | 3 | Number of Inverters , Inverter Make & Model | 56 Inverters
|  | SMA/Sunny Central 1000CP XT |  |  |  | SMA/Sunny Central 1000CP XT
4 | Modules per String | 21 |  | 4 | Modules per String | 21
5 | Tilt | Fixed Tilt |  | 5 | Tilt | Fixed Tilt
4)The technical specification for 50 MW solar project by Elena Renewable Energy Private Limited. |  |  |  | 9)The technical specification for 50 MW solar project by Shreyash Renewable Energy Private Limited.
Sl. No. | Technical details of the equipment | Description |  | Sl. No. | Technical details of the equipment | Description
1 | Technology Used | Solar PV technology (Poly-Crystaline) |  | 1 | Technology Used | Solar PV technology (Poly-Crystaline)
2 | Module capacity | Module capacity- 315 Wp 320 Wp & 325 Wp |  | 2 | Module capacity | Module capacity- 315 Wp 320 Wp & 325 Wp
3 | Number of Inverters , Inverter Make & Model | 56 Inverters |  | 3 | Number of Inverters , Inverter Make & Model | 56 Inverters
|  | SMA/Sunny Central 1000CP XT |  |  |  | SMA/Sunny Central 1000CP XT
4 | Modules per String | 21 |  | 4 | Modules per String | 21
5 | Tilt | Fixed Tilt |  | 5 | Tilt | Fixed Tilt
5)The technical specification for 50 MW solar project by Pratyash Renewable Private Limited |  |  |  | 10)The technical specification for 50 MW solar project by Zuvan Energy Private Limited.
Sl. No. | Technical details of the equipment | Description |  | Sl. No. | Technical details of the equipment | Description
1 | Technology Used | Solar PV technology (Poly-Crystaline) |  | 1 | Technology Used | Solar PV technology (Poly-Crystaline)
2 | Module capacity | Module capacity- 315 Wp 320 Wp & 325 Wp |  | 2 | Module capacity | Module capacity- 315 Wp 320 Wp & 325 Wp
3 | Number of Inverters , Inverter Make & Model | 56 Inverters |  | 3 | Number of Inverters , Inverter Make & Model | 56 Inverters
|  | SMA/Sunny Central 1000CP XT |  |  |  | SMA/Sunny Central 1000CP XT
4 | Modules per String | 21 |  | 4 | Modules per String | 21
5 | Tilt | Fixed Tilt |  | 5 | Tilt | Fixed Tilt