## Introduction
Project Title | Grid connected 25 MW P V solar power project at Charanka in Gujarat
Project Proponent | M/s GMR Gujarat Solar Power Private Limited
VCS Ref No. | 1685
ER Version No. | V1.3
ER Version Date | 2025-07-15
Monitoring Period | (01-Nov-2020 to 03-March-2022) Inclusive of both days

## Generation and ER calculation
Monitoring Period |  |  | From | To | Number of days
|  |  | 2020-11-01 | 2022-03-03 | 488 | Both dates Inclusive
Meter Reading for Month | Electricity Export kWh | Electricity Import kWh | Quantity of net electricity generation supplied MWh (EGfacility,y ) | Net electricity export as per invoice | Emission Factor (tCO2e/MWh) | Emission Reduction (VERs) (tCO2e)
Nov'20 | 2992023 | 25433 | 2966.59 | 2966.59 | 0.9486 | 2814.1073
Dec'20 | 3023947 | 27002 | 2996.945 | 2996.945 | 0.9486 | 2842.902
Total 2020 | 6015970 | 52435 | 5963.535 | 5963.535 | 0.9486 | 5657
Jan'21 | 3152745 | 30590 | 3122.155 | 3122.155 | 0.9486 | 2961.6762
Feb'21 | 3079595 | 26465 | 3053.13 | 3053.13 | 0.9486 | 2896.1991
Mar'21 | 3590774 | 29359 | 3561.415 | 3561.415 | 0.9486 | 3378.3583
April'21 | 3412904 | 28212 | 3384.692 | 3384.692 | 0.9486 | 3210.7188
May'21 | 3236169 | 28270 | 3207.899 | 3207.899 | 0.9486 | 3043.013
June'21 | 2805942 | 26701 | 2779.241 | 2779.241 | 0.9486 | 2636.388
July'21 | 2269191 | 26835 | 2242.356 | 2242.356 | 0.9486 | 2127.0989
Aug'21 | 2485794 | 28094 | 2457.7 | 2457.7 | 0.9486 | 2331.3742
Sep'21 | 2182605 | 32087 | 2150.518 | 2150.518 | 0.9486 | 2039.9814
Oct'21 | 3164770 | 33980 | 3130.79 | 3130.79 | 0.9486 | 2969.8674
Nov'21 | 2650877 | 34294 | 2616.583 | 2616.583 | 0.9486 | 2482.0906
Dec'21 | 2723002 | 36305 | 2686.697 | 2686.697 | 0.9486 | 2548.6008
Total 2021 | 34754368 | 361192 | 34393.176 | 34393.176 | 0.9486 | 32625
Jan'22 | 2944078 | 35879 | 2908.199 | 2908.199 | 0.9486 | 2758.7176
Feb'22 | 3024316 | 32143 | 2992.173 | 2992.173 | 0.9486 | 2838.3753
01/03/2022 to 03/03/2022* | 329625 | 3243.0968 | 326.3819 | 326.3819 | 0.9486 | 309.6059
Total 2022 | 6298019 | 71265.0968 | 6226.7539 | 6226.7539 | 0.9486 | 5906
Total | 47068357 | 484892.0968 | 46583 | 46583 |  | 44188
*As the end date of the monitoring period is 03 March 2022, apportioning approach has been applied to calculate the net electricity generation for the 3 days of March. Apportioning is conisdered from daily generation records as a conservative approach

## ER comparison
Monitoring period | 01-Nov-2020 to 03-March-2022 (first and last dates included)
Annual emission reductions estimated in the registered PDMR | 34462
Emission reductions for the Monitoring period as per estimates in the registered PDMR | 46075.2219
Actual reductions for the current monitoring period | 44188
Difference in percentage | -4.096%
Vintage Period | Ex-ante estimated reductions | Achieved reductions | Difference
01-Nov-2020 to 31-Dec-2020 | 5759.4027 | 5657 | -1.778%
01-Jan-2021 to 31-Dec-2021 | 34462 | 32625 | -5.331%
01-Jan-2022 to 03-March-2022 | 5853.8192 | 5906 | 0.8914%

## Apportioning Cal
As per Daily Generation Data for 3 days |  |  | As per JMR
Export value (kwh) | Import value (kwh) | Net export (kwh) | Date | Electricity Export kWh | Electricity Import kWh | Net export (kwh)
329625 | 3285 | 326340 | 2022-03-01 | 338524.1613 | 3243.0968 | 335281.0645

## March-22
GGSPPL-25MW GENERATION TRACKING REPORT FOR THE MONTH OF Dec-2021
Date | ABT meter Generation (KWh) | Inverter Generation(KWH) | Line loss(KWH) | 5MW Average Irradiation(Kwh/m2/day) | 20MW Average Irradiation(Kwh/m2/day) | 25MW Average Irradiation(Kwh/m2/day) | 5MW PR % | 20MW PR% | 25 PR % | PLF/day | Auxiliary consumption | Total Reactive power consuption (MVarh) | Night time Power Factor |  |  | Module Temperature(AVG) | 25MW Avg.ambient Temp. | Wind Speed Data | Plant Availability Accept Clint Breakdown | Observations
[13 empty] | T/F-1 | T/F-2 | T/F-3 | Degree | Degree | m/s | %
2022-03-01 | 107955 | 110710 | 2755 | 6.61 | 6.35 | 6.48 | 67.56 | 67.32 | 66.56 | 17.99 | 1080 | 0.5 | 1 | 0.625 | 1 | 40.91 | 29.8 | 1.31 | 100 | 1.Weather is Fully cloudy 2.Increase in generation as compared to previous day. 3.No any loop off .
2022-03-02 | 106020 | 108780 | 2760 | 6.54 | 6.29 | 6.41 | 66.8 | 66.82 | 66.04 | 17.67 | 1125 | 0.4 | 1 | 0.857 | 1 | 43.14 | 30.67 | 1.56 | 100 | 1.Weather is Fully cloudy 2. Decrease in generation as compared to previous day. 3.No any loop off .
2022-03-03 | 115650 | 118355 | 2705 | 6.86 | 6.56 | 6.71 | 69.2 | 69.98 | 68.9 | 19.28 | 1080 | 0.4 | 1 | 0.714 | 1 | 34.72 | 28.14 | 2.96 | 100 | 1.Weather is Fully cloudy 2.Increase in generation as compared to previous day. 3.No any loop off .
2022-03-04 | 119115 | 121887 | 2772 | 7.11 | 6.82 | 6.97 | 68.59 | 69.33 | 68.31 | 19.85 | 1170 | 0.5 | 1 | 0.75 | 1 | 36.71 | 28.55 | 3.7 | 100 | 1.Weather is Fully cloudy 2.Increase in generation as compared to previous day. 3.No any loop off .
2022-03-05 | 115875 | 118720 | 2845 | 7.09 | 6.8 | 6.94 | 66.83 | 67.73 | 66.7 | 19.31 | 1035 | 0.5 | 1 | 0.625 | 1 | 39.86 | 29.76 | 1.3 | 100 | 1.Weather is Fully cloudy 2. Decrease in generation as compared to previous day. 3.No any loop off .
2022-03-06 | 102465 | 105350 | 2885 | 6.3 | 6.03 | 6.17 | 66.31 | 67.54 | 66.39 | 17.08 | 1170 | 0.5 | 1 | 0.857 | 1 | 42.91 | 31.31 | 0.49 | 100 | 1.Weather is Fully cloudy 2. Decrease in generation as compared to previous day. 3.No any loop off .
2022-03-07 | 116145 | 118965 | 2820 | 7.07 | 6.76 | 6.92 | 66.97 | 68.29 | 67.11 | 19.36 | 1170 | 0.4 | 0.8 | 0.75 | 1 | 39.53 | 30.46 | 0.44 | 99.999 | 1.Weather is Fully cloudy 2.Increase in generation as compared to previous day. 3.No any loop off .
2022-03-08 | 110070 | 113107 | 3037 | 6.75 | 6.48 | 6.61 | 66.31 | 67.56 | 66.48 | 18.35 | 1035 | 0.4 | 1 | 0.714 | 1 | 41.02 | 31.97 | 0.42 | 100 | 1.Weather is Fully cloudy 2. Decrease in generation as compared to previous day. 3.No any loop off .
2022-03-09 | 108585 | 111426 | 2841 | 6.6 | 6.33 | 6.47 | 66.56 | 68.3 | 67.08 | 18.1 | 1170 | 0.4 | 1 | 0.857 | 1 | 41.74 | 31.71 | 0.41 | 100 | 1.Weather is Fully cloudy 2. Decrease in generation as compared to previous day. 3.No any loop off .
2022-03-10 | 108585 | 111628 | 3043 | 6.64 | 6.34 | 6.49 | 66.2 | 68.18 | 66.84 | 18.1 | 1080 | 0.5 | 1 | 0.625 | 1 | 41.97 | 32.45 | 0.71 | 100 | 1.Weather is Fully cloudy 2. Decrease in generation as compared to previous day. 3.No any loop off .
2022-03-11 | 107775 | 110760 | 2985 | 6.6 | 6.32 | 6.46 | 65.46 | 68.06 | 66.63 | 17.96 | 1125 | 0.4 | 1 | 0.857 | 1 | 43.4 | 33.41 | 1.5 | 99.992 | 1.Weather is Fully cloudy 2. Decrease in generation as compared to previous day. 3.No any loop off .
2022-03-12 | 110430 | 113612 | 3182 | 6.85 | 6.56 | 6.71 | 64.51 | 67.26 | 65.8 | 18.41 | 1080 | 0.5 | 1 | 0.625 | 1 | 45.49 | 33.51 | 1.12 | 100 | 1.Weather is Fully cloudy 2.Increase in generation as compared to previous day. 3.No any loop off .
2022-03-13 | 110520 | 113745 | 3225 | 6.78 | 6.49 | 6.64 | 65.19 | 68.04 | 66.55 | 18.42 | 1170 | 0.5 | 1 | 0.75 | 1 | 44.79 | 34.75 | 1.07 | 99.999 | 1.Weather is Fully cloudy 2.Increase in generation as compared to previous day. 3.No any loop off .
2022-03-14 | 110250 | 113421 | 3171 | 6.81 | 6.5 | 6.65 | 64.7 | 67.78 | 66.21 | 18.38 | 1035 | 0.5 | 1 | 0.714 | 1 | 45.36 | 35.34 | 0.64 | 99.995 | 1.Weather is Fully cloudy 2. Decrease in generation as compared to previous day. 3.No any loop off .
2022-03-15 | 113670 | 117107 | 3437 | 7.01 | 6.69 | 6.85 | 66.15 | 67.57 | 66.32 | 18.95 | 1125 | 0.4 | 1 | 0.75 | 1 | 41.92 | 35.47 | 2.46 | 99.947 | 1.Weather is Fully cloudy 2.Increase in generation as compared to previous day. 3.No any loop off .
2022-03-16 | 115965 | 119285 | 3320 | 7.13 | 6.78 | 6.96 | 66.92 | 67.81 | 66.61 | 19.33 | 1170 | 0.5 | 1 | 0.75 | 1 | 46.78 | 35.34 | 1.64 | 99.999 | 1.Weather is Fully cloudy 2.Increase in generation as compared to previous day. 3.No any loop off .
2022-03-17 | 118575 | 121896 | 3321 | 7.31 | 6.95 | 7.13 | 66.97 | 67.55 | 66.42 | 19.76 | 1125 | 0.4 | 1 | 0.857 | 1 | 45.39 | 34.98 | 1.07 | 99.998 | 1.Weather is Fully cloudy 2.Increase in generation as compared to previous day. 3.No any loop off .
2022-03-18 | 114255 | 117598 | 3343 | 6.96 | 6.64 | 6.8 | 67.54 | 68.24 | 67.14 | 19.04 | 900 | 0.5 | 1 | 0.625 | 1 | 44.91 | 36.08 | 2.63 | 99.997 | 1.Weather is Fully cloudy 2. Decrease in generation as compared to previous day. 3.No any loop off .
2022-03-19 | 114480 | 117895 | 3415 | 7.03 | 6.7 | 6.86 | 66.98 | 67.81 | 66.65 | 19.08 | 1125 | 0.4 | 1 | 0.857 | 1 | 44.71 | 35.05 | 2.15 | 100 | 1.Weather is Fully cloudy 2.Increase in generation as compared to previous day. 3.No any loop off .
2022-03-20 | 117900 | 121236 | 3336 | 7.16 | 6.8 | 6.98 | 67.52 | 68.78 | 67.47 | 19.65 | 1125 | 0.5 | 1 | 0.857 | 1 | 43.58 | 34.88 | 1.72 | 100 | 1.Weather is Fully cloudy 2.Increase in generation as compared to previous day. 3.No any loop off .
2022-03-21 | 120420 | 123709 | 3289 | 7.32 | 6.97 | 7.15 | 67.25 | 68.62 | 67.34 | 20.07 | 1035 | 0.4 | 1 | 0.714 | 1 | 42.64 | 33.81 | 2.41 | 99.998 | 1.Weather is Fully cloudy 2.Increase in generation as compared to previous day. 3.No any loop off .
2022-03-22 | 115560 | 118716 | 3156 | 6.93 | 6.61 | 6.77 | 67.96 | 69.55 | 68.23 | 19.26 | 1035 | 0.5 | 1 | 0.625 | 1 | 40.64 | 32.65 | 2.15 | 99.999 | 1.Weather is Fully cloudy 2. Decrease in generation as compared to previous day. 3.No any loop off .
2022-03-23 | 108360 | 111337 | 2977 | 6.43 | 6.13 | 6.28 | 68.51 | 70.27 | 68.93 | 18.06 | 1125 | 0.4 | 1 | 0.75 | 1 | 41.96 | 32.37 | 1.89 | 99.996 | 1.Weather is Fully cloudy 2. Decrease in generation as compared to previous day. 3.No any loop off .
2022-03-24 | 112005 | 115015 | 3010 | 6.78 | 6.45 | 6.61 | 66.97 | 69.1 | 67.65 | 18.67 | 1035 | 0.5 | 1 | 0.714 | 1 | 44.68 | 33.13 | 1.11 | 100 | 1.Weather is Fully cloudy 2.Increase in generation as compared to previous day. 3.No any loop off .
2022-03-25 | 108450 | 111702 | 3252 | 6.54 | 6.24 | 6.39 | 67.03 | 69.26 | 67.81 | 18.08 | 1035 | 0.5 | 1 | 0.75 | 1 | 45.34 | 34.95 | 0.68 | 99.997 | 1.Weather is Fully cloudy 2. Decrease in generation as compared to previous day. 3.No any loop off .
2022-03-26 | 111465 | 114808 | 3343 | 6.81 | 6.48 | 6.65 | 66.38 | 68.45 | 67.01 | 18.58 | 1125 | 0.4 | 1 | 0.857 | 1 | 45.95 | 36.69 | 0.57 | 100 | 1.Weather is Fully cloudy 2.Increase in generation as compared to previous day. 3.No any loop off .
2022-03-27 | 114300 | 117695 | 3395 | 6.97 | 6.62 | 6.8 | 66.26 | 68.75 | 67.19 | 19.05 | 1035 | 0.4 | 1 | 0.625 | 1 | 44.23 | 36.46 | 0.91 | 99.992 | 1.Weather is Fully cloudy 2.Increase in generation as compared to previous day. 3.No any loop off .
2022-03-28 | 117540 | 121032 | 3492 | 7.23 | 6.86 | 7.04 | 65.89 | 68.25 | 66.69 | 19.59 | 1125 | 0.6 | 1 | 0.75 | 1 | 45.32 | 36.98 | 1.61 | 99.999 | 1.Weather is Fully cloudy 2.Increase in generation as compared to previous day. 3.No any loop off .
2022-03-29 | 117765 | 121267 | 3502 | 7.2 | 6.84 | 7.02 | 66.72 | 68.44 | 67.02 | 19.63 | 1035 | 0.5 | 1 | 0.667 | 1 | 44.85 | 36.34 | 1.16 | 99.997 | 1.Weather is Fully cloudy 2.Increase in generation as compared to previous day. 3.No any loop off .
2022-03-30 | 113985 | 117226 | 3241 | 7.03 | 6.67 | 6.85 | 66.61 | 67.76 | 66.47 | 19 | 1125 | 0.5 | 1 | 0.857 | 1 | 47.26 | 34.62 | 0.82 | 99.997 | 1.Weather is Fully cloudy 2. Decrease in generation as compared to previous day. 3.No any loop off .
2022-03-31 | 110070 | 113446 | 3376 | 6.82 | 6.47 | 6.65 | 66.69 | 67.36 | 66.17 | 18.35 | 1125 | 0.4 | 1 | 0.75 | 1 | 45.85 | 37.61 | 0.31 | 99.999 | 1.Weather is Fully cloudy 2. Decrease in generation as compared to previous day. 3.No any loop off .