## Index
Project ID | GS 11404
Project title | Lingasugur Wind Power Project in Karnataka
Monitoring Period Start Date | 2023-09-01
Monitoring Period End Date | 2024-03-31
No of Days | 213

## ER Calculation_MP
Lingasugur-Wind-Karnataka |  |  | 20 MW(GKL 11-20) |  |  | 20 MW(GKL 21-30)
Month | Duration |  | Export (KWh) | Import (KWh) | Transmission Losses | Export (KWh) | Import (KWh) | Transmission Losses | Total Net Electricity Generated (KWh) | Total Net Electricity Generated (MWh) | Net Electricity as per Invoice(kWh) | Emission Factor | Baseline Emission | Project Emission (tCO2e) | Leakage Emission (tCO2e) | Emission Reduction (tCO2e) | Vintage Wise GSVER Breakup | Vintage (FY) GSVER Breakup | Vintage wise Net Generation(MWh)
| From | To
2023-09-01 | 2023-09-01 | 2023-09-30 | 5640300 | 5400 | 17988 | 5918400 | 5400 | 18875 | 11509417 | 11509.417 | 11509417 | 0.9305 | 10709 | 0 | 0 | 10709 | 23110 | 36187 | 24838.8415
2023-10-01 | 2023-10-01 | 2023-10-31 | 2290950 | 16200 | 16435 | 2251800 | 13500 | 16154 | 4476006 | 4476.006 | 4476006 | 0.9305 | 4164 | 0 | 0 | 4164
2023-11-01 | 2023-11-01 | 2023-11-30 | 2230200 | 8100 | 20599 | 2104650 | 8100 | 19439 | 4276182 | 4276.182 | 4276182 | 0.9305 | 3978 | 0 | 0 | 3978
2023-12-01 | 2023-12-01 | 2023-12-31 | 2292300 | 8100 | 17914 | 2338200 | 6750 | 18272 | 4577236.5 | 4577.2365 | 4577236.5 | 0.9305 | 4259 | 0 | 0 | 4259
2024-01-01 | 2024-01-01 | 2024-01-31 | 2473200 | 16200 | 19544 | 2469150 | 16200 | 19512 | 4866034 | 4866.034 | 4866034 | 0.9305 | 4527 | 0 | 0 | 4527 | 13077 |  | 14055.419
2024-02-01 | 2024-02-01 | 2024-02-28 | 2793150 | 14850 | 25400 | 2654100 | 13500 | 24135 | 5365112.5 | 5365.1125 | 5365112.5 | 0.9305 | 4992 | 0 | 0 | 4992
2024-03-01 | 2024-03-01 | 2024-03-31 | 1914300 | 18900 | 23214 | 1999350 | 17550 | 24246 | 3824272.5 | 3824.2725 | 3824272.5 | 0.9305 | 3558 | 0 | 0 | 3558
Total |  |  | 19634400 | 87750 | 141094 | 19735650 | 81000 | 140633 | 38894260.5 | 38894.2605 | 38894260.5 |  | 36187 | 0 | 0 | 36187 | 36187 | 36187 | 38894.2605

## ER Calculation_12months
Lingasugur-Wind-Karnataka |  |  | 20 MW(GKL 11-20) |  |  | 20 MW(GKL 21-30)
Month | Duration |  | Export (KWh) | Import (KWh) | Transmission Losses | Export (KWh) | Import (KWh) | Transmission Losses | Total Net Electricity Generated (KWh) | Total Net Electricity Generated (KWh) - After Application of Error Factor. | Total Net Electricity Generated (MWh) | Net Electricity as per Invoice(kWh) | Emission Factor | Baseline Emission | Project Emission (tCO2e) | Leakage Emission (tCO2e) | Emission Reduction (tCO2e) | Vintage Wise GSVER Breakup | Vintage (FY) GSVER Breakup | Vintage wise Net Generation(MWh)
| From | To
2023-04-01 | 2023-04-01 | 2023-04-30 | 2292300 | 20250 | 15468 | 2417850 | 20250 | 16315 | 4631792 | 4631792 | 4631.792 | 6430000 | 0.9305 | 4309 | 0 | 0 | 4309 | 80081 | 93158 | 86066.8735
2023-05-01 | 2023-05-01 | 2023-05-31 | 3543750 | 17550 | 26190 | 3792150 | 17550 | 28026 | 7241319 | 7241319 | 7241.319 | 3355000 | 0.9305 | 6738 | 0 | 0 | 6738
2023-06-01 | 2023-06-01 | 2023-06-30 | 7653150 | 1350 | 42247 | 7817850 | 1350 | 43156 | 15382492 | 15382492 | 15382.492 | 4135000 | 0.9305 | 14313 | 0 | 0 | 14313
2023-07-01 | 2023-07-01 | 2023-07-31 | 9767250 | 0 | 47940 | 9975150 | 0 | 48960 | 19645500 | 19645500 | 19645.5 | 5858000 | 0.9305 | 18280 | 0 | 0 | 18280
2023-08-01 | 2023-08-01 | 2023-08-31 | 6897150 | 2700 | 21479 | 7477650 | 0 | 23287 | 14326929 | 14326929 | 14326.929 | 4630000 | 0.9305 | 13331 | 0 | 0 | 13331
2023-09-01 | 2023-09-01 | 2023-09-30 | 5640300 | 5400 | 17988 | 5918400 | 5400 | 18875 | 11509417 | 11509417 | 11509.417 | 11509417 | 0.9305 | 10709 | 0 | 0 | 10709
2023-10-01 | 2023-10-01 | 2023-10-31 | 2290950 | 16200 | 16435 | 2251800 | 13500 | 16154 | 4476006 | 4476006 | 4476.006 | 4476006 | 0.9305 | 4164 | 0 | 0 | 4164
2023-11-01 | 2023-11-01 | 2023-11-30 | 2230200 | 8100 | 20599 | 2104650 | 8100 | 19439 | 4276182 | 4276182 | 4276.182 | 4276182 | 0.9305 | 3978 | 0 | 0 | 3978
2023-12-01 | 2023-12-01 | 2023-12-31 | 2292300 | 8100 | 17914 | 2338200 | 6750 | 18272 | 4577236.5 | 4577236.5 | 4577.2365 | 4577236.5 | 0.9305 | 4259 | 0 | 0 | 4259
2024-01-01 | 2024-01-01 | 2024-01-31 | 2473200 | 16200 | 19544 | 2469150 | 16200 | 19512 | 4866034 | 4866034 | 4866.034 | 4866034 | 0.9305 | 4527 | 0 | 0 | 4527 | 13077 |  | 14055.419
2024-02-01 | 2024-02-01 | 2024-02-28 | 2793150 | 14850 | 25400 | 2654100 | 13500 | 24135 | 5365112.5 | 5365112.5 | 5365.1125 | 5365112.5 | 0.9305 | 4992 | 0 | 0 | 4992
2024-03-01 | 2024-03-01 | 2024-03-31 | 1914300 | 18900 | 23214 | 1999350 | 17550 | 24246 | 3824272.5 | 3824272.5 | 3824.2725 | 3824272.5 | 0.9305 | 3558 | 0 | 0 | 3558
Total |  |  | 49788000 | 129600 | 294418 | 51216300 | 120150 | 300377 | 100122292.5 | 100122292.5 | 100122.2925 | 63302260.5 |  | 36187 | 0 | 0 | 93158 | 93158 | 93158 | 100122.2925

## ER Comparision
Ex-ante annual emission reduction as per regd PDD | 75502
Ex-ante net electricity generated as per regd PDD | 81142
Actual net electricity generated from this Monitoring | 38894.2605
Actual Emission Reductions from this Monitoring | 36187
Estimated net electricity generated | 47351.3589
Estimated Emission Reduction | 44060.0712
% Difference between Actual and Estimated Emission Reduction (%) | -17.8689
% Difference between Actual and Estimated net electricity generation (%) | -17.8603

## Calibration
Meter Location | Meter No. | Type of Meter | Accuracy Class | Calibration Date | Validity of Calibration | Delay in Calibration
Feeder-1 | 18068227 | Main Meter | 0.2 | 2021-11-27 | 2022-11-26 | No Delay
|  |  |  | 2022-11-25 | 2023-11-24
|  |  |  | 2023-07-20 | 2024-07-19
| 18068230 | Check Meter | 0.2 | 2021-11-27 | 2022-11-26
|  |  |  | 2022-11-25 | 2023-11-24
|  |  |  | 2023-07-20 | 2024-07-19
Feeder-2 | 18068218 | Main Meter | 0.2 | 2021-11-27 | 2022-11-26
|  |  |  | 2022-11-25 | 2023-11-24
|  |  |  | 2023-07-20 | 2024-07-19
| 18068254 | Check Meter | 0.2 | 2021-11-27 | 2022-11-26
|  |  |  | 2022-11-25 | 2023-11-24
|  |  |  | 2023-07-20 | 2024-07-19