## ER calc 1Jan2023 to 31Dec 2023
Achieved GHG emission reductions in the monitoring period: 1 Jan 2023 - 31 Dec 2023
| Version 1.7 | Dated: 07-February-2025
1 | Monitoring data
Quantity of net electricity that is generated and exported through the electricity grid (EGPJ, facility)
Engine-generator 1 & 2
|  |  | EGPJ,facility | EGPJ,facility
| Year | Month | kWh | MWh
| 2023 | Jan | 440474.465 | 440.4745
| 2023 | Feb | 438604.692 | 438.6047
| 2023 | March | 318758.472 | 318.7585
| 2023 | Apr | 418022.336 | 418.0223
| 2023 | May | 145931.109 | 145.9311
| 2023 | Jun | 342253.0713 | 342.2531
| 2023 | Jul | 413698.12 | 413.6981
| 2023 | Aug | 535805.4718 | 535.8055
| 2023 | Sept | 470545.836 | 470.5458
| 2023 | Oct | 424028.765 | 424.0288
| 2023 | Nov | 373207.553 | 373.2076
| 2023 | Dec | 322981.57 | 322.9816
| Total |  | 4644311.4611 | 4644.3115
The quantity of electricity used for the operation of the installed facilities (ECproject,y)
Source: monthly electricity bills of Empresa Eléctrica Regional Centro Sur C.A.
Electricity consumed from the grid (low voltage)
| Year | Month* | A (08h00 - 18h00) | B (18h00 - 22h00) | C (22h00 - 08h00) | Total (kWh) | Total (MWh)
| 2023 | Jan | 5829.3 | 2388.84 | 5909.88 | 14128.02 | 14.128
| 2023 | Feb | 4556.34 | 1924.74 | 4624.68 | 11105.76 | 11.1058
| 2023 | Mar | 4612.44 | 1935.96 | 4852.14 | 11400.54 | 11.4005
| 2023 | Apr | 4851.12 | 1974.72 | 4890.9 | 11716.74 | 11.7167
| 2023 | May | 2078.76 | 834.36 | 2061.42 | 4974.54 | 4.9745
| 2023 | Jun | 4293.18 | 1915.56 | 4563.48 | 10772.22 | 10.7722
| 2023 | Jul | 5141.82 | 2221.56 | 5367.24 | 12730.62 | 12.7306
| 2023 | Aug | 5872.14 | 2477.58 | 5880.3 | 14230.02 | 14.23
| 2023 | Sept | 5910.9 | 2543.88 | 6266.88 | 14721.66 | 14.7217
| 2023 | Oct | 5902.74 | 2539.8 | 6486.18 | 14928.72 | 14.9287
| 2023 | Nov | 5019.42 | 2119.56 | 5200.98 | 12339.96 | 12.34
| 2023 | Dec | 5441.7 | 2339.88 | 5716.08 | 13497.66 | 13.4977
| Total |  |  |  |  | 146546.46 | 146.5465
* Please note that all monthly bills start on the third day of the month and end on the second day of the next month.
Electricity consumed by the genset in mid voltage (22.000 V: substation and 480 V equipment)
ECproject
| Year | Month* | Total (kWh) | File
| 2023 | Jan | 882
| 2023 | Feb | 430
| 2023 | March | 1723
| 2023 | Apr | 1074
| 2023 | May | 1012
| 2023 | Jun | 902
| 2023 | Jul | 312
| 2023 | Aug | 134
| 2023 | Sept | 442
| 2023 | Oct | 672
| 2023 | Nov | 588
| 2023 | Dec | 1159
| Total |  | 9330
* Please note that all monthly bills start on the second day of the month and end on the first day of the next month.
Summary electricity consumption
| ECproject, 2023 | 155.8765 | MWh
2 | Parameters determined at validation not monitored
| Parameter | Value | Unit | Source
| OX | 0.1 | - | Default value
| GWPCH4 | 28 |  | GWP_ch4 IPCC AR5 value
| NCVCH4 | 35.9 |  | Default value
| EEy | 36.1% |  | See details Engine-generator-1 (SFGM560, with electrical efficiency of 36.0%) and Engine-generator 2 (SGE-565SM, with electrical efficiency of 36.1%). Higest value selected as conservative approach.
| DCH4 | 0.0007168 |  | ACM0001
| EFgrid,y | 0.3349 |  | CO2 emission factor of the national Interconnected system determined by the Technical Commission for Determination of Greenhouse Gas Emission Factors.
3 | Emission reduction calculation - landfill methane recovery
PEy=ECproject,y x EFgrid,y
3.1 | Baseline emissions landfill methane recovery
| Year | EGPJ,facility | FCH4,PJ | BECH4,PJ,y
| 1 Jan 2023 - 31 Dec 2023 | 4644.3115 | 924.7412 | 23303.477
| Total | 4644.3115 |  | 23303.477
3.2 | Project emissions landfill methane recovery
PEflare,y=0
| Technical distribution losses | 6.4% | Table 4 page 22 of Estadistica del sector electrico Ecuatoriano, 2023, Agencia de Rugulacion y Control de Energia y Recursos naturales No Renovables | https://www.controlrecursosyenergia.gob.ec/estadisticas-del-sector-electrico-ecuatoriano-buscar/
| Transmission losses | 4.53% | Table 4 page 22 of Estadistica del sector electrico Ecuatoriano, 2023, Agencia de Rugulacion y Control de Energia y Recursos naturales No Renovables | https://www.controlrecursosyenergia.gob.ec/estadisticas-del-sector-electrico-ecuatoriano-buscar/
| TDL,j,y | 10.64% | Calculated combination of technical and transmission losses
|  | ECproject,y | EFgrid,y | PEpower,y
| Year | MWh | t CO2e/MWh | t CO2e
| 1 Jan 2023 - 31 Dec 2023 | 155.8765 | 0.3349 | 57.7575
| Total | 155.8765 |  | 57.7575
3.3 | Emission reduction landfill methane recovery
| Year | BECH4,PJ,y | PECH4,y | ERCH4,y
| 1 Jan 2023 - 31 Dec 2023 | 23303.477 | 57.7575 | 23245.7195
| Total | 23303.477 |  | 23245.7195
4. | Emission reduction calculation - grid connected renewable electricity generation
4.1 | Baseline emissions - grid connected renewable electricity generation
| Year | EGPJ,facility | EFgrid,y | BEelectricity,y
| 1 Jan 2023 - 31 Dec 2023 | 4644.3115 | 0.3349 | 1555.3799
| Total | 4644.3115 |  | 1555.3799
4.2 | Project emissions - grid connected renewable electricity generation
| PEelectricity,y | = | 0
4.3 | Emission reduction - grid connected renewable electricity generation
| Year | BEelectricity,y | PEelectricity,y | ERelectricity,y
| 1 Jan 2023 - 31 Dec 2023 | 1555.3799 | 0 | 1555.3799
| Total | 1555.3799 |  | 1555.3799
5 | Total emission reduction calculation
| Year | Baseline emissions or removals (tCO2e) | Project emissions or removals (tCO2e) | Leakage emissions (tCO2e) | Reduction VCUs (tCO2e) | Removal VCUs (tCO2e) | Total VCUs (tCO2e)
| 2023 (1 Jan - 31 Dec) | 24858.8569 | 57.7575 | 0 | 24801.0994 | 0 | 24801.0994
| Total | 24858.8569 | 57.7575 | 0 | 24801.0994 | 0 | 24801.0994
7 | Comparison with ex-ante determined emission reductions
| Vintage period | Ex-ante estimated reductions/ | Achieved reductions/ | Percent difference
| 1 Jan 2023 - 31 Dec 2023 | 36755 | 24801.0994 | -32.52%
| Total | 36755 | 24801.0994 | -32.52%

## Electricity generation 2023
Electricity production data with discount of 0.5% during the period 27-May-2023 to 9-August-2023 in order to adjust for period that was more than 2 years after the previous calibration (of 27 May 2021), and prior to the next calibration (of 10 August 2023) (see row 42 and below for data before discount)
| Discount rate | 0.5%
Unit: kWh
MONTH DAY | JANUARY | FEBRUARY | MARCH | APRIL | MAY | JUNE | JULY | AUGUST | SEPTEMBER | OCTOBER | NOVEMBER | DECEMBER
1 | 18018.96 | 17764.738 | 18176.717 | 19275.51 | 8485.278 | 0 | 14067.6334 | 16056.6414 | 19713.536 | 11587.27 | 15516.329 | 15291.909
2 | 18340.14 | 17565.103 | 17899.25 | 19160.68 | 18228.375 | 0 | 14000.051 | 13214.3831 | 19661.52 | 13147.539 | 15660.472 | 14321.616
3 | 18907.36 | 17937.976 | 17820.151 | 18142.581 | 18823.733 | 0 | 14139.2356 | 14152.5536 | 19247.405 | 12276.015 | 5606.354 | 15088.182
4 | 18967.64 | 16281.638 | 18847.43 | 19215.314 | 17764.573 | 0 | 11952.9688 | 16297.7179 | 19439.111 | 19294.12 | 0 | 15252.616
5 | 19233.835 | 12950.284 | 18856.624 | 18643.439 | 19320.69 | 167.1998 | 11555.7847 | 16135.8692 | 19598.047 | 18206.212 | 0 | 14999.739
6 | 19009.74 | 17287.345 | 18473.081 | 17986.021 | 19774.82 | 125.4138 | 3198.4146 | 16441.3412 | 12088.29 | 17978.511 | 2888.655 | 15337.379
7 | 19113.377 | 18170.047 | 18440.283 | 19194.817 | 19036.86 | 1009.9071 | 8442.2884 | 15868.5685 | 16609.499 | 17649.668 | 4615.198 | 15100.4
8 | 15685.573 | 17805.571 | 18594.46 | 19437.894 | 19391.14 | 7270.9247 | 14534.4217 | 16441.6656 | 12008.523 | 18380.488 | 9409.949 | 11403.008
9 | 19189.366 | 18383.817 | 17358.29 | 18993.031 | 5105.64 | 15257.7101 | 14374.0595 | 16336.6324 | 0 | 9795.021 | 14701.602 | 14150.728
10 | 18987.059 | 17107.676 | 18415.69 | 19766.22 | 0 | 15034.4669 | 14871.2153 | 17705.083 | 5246.426 | 7862.002 | 14270.048 | 4548.371
11 | 19196.69 | 16795.44 | 19181.386 | 18843.26 | 0 | 15055.9261 | 14999.4588 | 18074.364 | 15910.831 | 11980.58 | 14978.284 | 0
12 | 19198.607 | 16764.2 | 18362.8 | 19541.62 | 0 | 15259.0683 | 14930.9939 | 15635.826 | 17300.825 | 2687.12 | 14966.617 | 0
13 | 18652.19 | 16454.69 | 14644.629 | 19771.45 | 0 | 16021.4701 | 13571.7413 | 17736.901 | 17280.803 | 16200.535 | 14803.57 | 7401.197
14 | 18557.466 | 15876.835 | 0 | 19470.99 | 0 | 13335.6606 | 14882.6757 | 17426.894 | 18187.241 | 16844.372 | 14492.743 | 11295.827
15 | 18205.617 | 16271.358 | 0 | 19749.07 | 0 | 7821.5557 | 14071.9805 | 15166.318 | 16515.596 | 17645.068 | 14751.311 | 2105.701
16 | 18593.255 | 14541.609 | 0 | 19697.73 | 0 | 17403.3052 | 14073.7894 | 16323.784 | 18021.704 | 18296.328 | 14046.442 | 14250.945
17 | 9544.526 | 4716.137 | 0 | 19848.454 | 0 | 17627.1334 | 14173.5073 | 16637.502 | 17265.73 | 17424.569 | 12170 | 14335.599
18 | 603.42 | 4165.84 | 0 | 19845.012 | 0 | 17296.0094 | 14549.7397 | 18050.434 | 6156.476 | 16440.552 | 14697.759 | 14613.729
19 | 14329.655 | 18308.11 | 0 | 19424.527 | 0 | 17173.3697 | 14357.2202 | 17456.019 | 15885.049 | 16722.923 | 14499.024 | 14170.127
20 | 14037.48 | 17936.56 | 0 | 19847.938 | 0 | 17386.5235 | 14239.3953 | 18292.075 | 16957.362 | 13779.854 | 14798.518 | 9799.486
21 | 16370.35 | 13601.869 | 0 | 19845.109 | 0 | 17098.4432 | 13953.8412 | 18845.355 | 10763.472 | 17066.39 | 14631.755 | 9166.008
22 | 1221.37 | 16791.177 | 0 | 12321.669 | 0 | 17626.1852 | 14073.9864 | 19005.15 | 16050.749 | 6258.352 | 15025.286 | 2375.239
23 | 0 | 18280.795 | 0 | 0 | 0 | 9703.2987 | 14071.7576 | 18909.95 | 17372.405 | 0 | 14215.202 | 3008.295
24 | 0 | 18684.625 | 86.385 | 0 | 0 | 16324.173 | 13975.1441 | 18976.24 | 17214.161 | 3759.758 | 15220.845 | 580.186
25 | 3524.027 | 18010.69 | 774.336 | 0 | 0 | 17119.2078 | 7164.6846 | 17086.87 | 17644.286 | 14143.391 | 14354.303 | 2240.577
26 | 17147.806 | 17498.904 | 2828.15 | 0 | 0 | 15005.2885 | 14073.5805 | 18883.91 | 17079.974 | 12477.673 | 12914.012 | 8971.226
27 | 2713.485 | 10299.593 | 4418.816 | 0 | 0 | 14631.1546 | 14362.3136 | 18962.44 | 17771.666 | 15399.417 | 14190.12 | 18003.939
28 | 16515.816 | 12352.065 | 17914.36 | 0 | 0 | 13603.0649 | 15458.8105 | 19306.105 | 18282.887 | 14766.841 | 15182.094 | 15968.822
29 | 11512.171 | - | 18922.3 | 0 | 0 | 13719.7187 | 10218.0669 | 17763.511 | 16570.138 | 14836.536 | 15315.351 | 17945.746
30 | 17829.626 | - | 19370.914 | 0 | 0 | 14176.8923 | 15845.2347 | 19291.856 | 18702.124 | 15459.178 | 15285.71 | 12871.926
31 | 17267.858 | - | 19372.42 | - | 0 | - | 15514.1246 | 19323.512 | - | 15662.482 | - | 8383.047
| 440474.465 | 438604.692 | 318758.472 | 418022.336 | 145931.109 | 342253.0713 | 413698.12 | 535805.4718 | 470545.836 | 424028.765 | 373207.553 | 322981.57
Unit: kWh | DATA AS MEASURED
MONTH DAY | JANUARY | FEBRUARY | MARCH | APRIL | MAY | JUNE | JULY | AUGUST | SEPTEMBER | OCTOBER | NOVEMBER | DECEMBER
1 | 18018.96 | 17764.738 | 18176.717 | 19275.51 | 8485.278 | 0 | 14138.325 | 16137.328 | 19713.536 | 11587.27 | 15516.329 | 15291.909
2 | 18340.14 | 17565.103 | 17899.25 | 19160.68 | 18228.375 | 0 | 14070.403 | 13280.787 | 19661.52 | 13147.539 | 15660.472 | 14321.616
3 | 18907.36 | 17937.976 | 17820.151 | 18142.581 | 18823.733 | 0 | 14210.287 | 14223.672 | 19247.405 | 12276.015 | 5606.354 | 15088.182
4 | 18967.64 | 16281.638 | 18847.43 | 19215.314 | 17764.573 | 0 | 12013.034 | 16379.616 | 19439.111 | 19294.12 | 0 | 15252.616
5 | 19233.835 | 12950.284 | 18856.624 | 18643.439 | 19320.69 | 168.04 | 11613.854 | 16216.954 | 19598.047 | 18206.212 | 0 | 14999.739
6 | 19009.74 | 17287.345 | 18473.081 | 17986.021 | 19774.82 | 126.044 | 3214.487 | 16523.961 | 12088.29 | 17978.511 | 2888.655 | 15337.379
7 | 19113.377 | 18170.047 | 18440.283 | 19194.817 | 19036.86 | 1014.982 | 8484.712 | 15948.31 | 16609.499 | 17649.668 | 4615.198 | 15100.4
8 | 15685.573 | 17805.571 | 18594.46 | 19437.894 | 19391.14 | 7307.462 | 14607.459 | 16524.287 | 12008.523 | 18380.488 | 9409.949 | 11403.008
9 | 19189.366 | 18383.817 | 17358.29 | 18993.031 | 5105.64 | 15334.382 | 14446.291 | 16418.726 | 0 | 9795.021 | 14701.602 | 14150.728
10 | 18987.059 | 17107.676 | 18415.69 | 19766.22 | 0 | 15110.017 | 14945.945 | 17705.083 | 5246.426 | 7862.002 | 14270.048 | 4548.371
11 | 19196.69 | 16795.44 | 19181.386 | 18843.26 | 0 | 15131.584 | 15074.833 | 18074.364 | 15910.831 | 11980.58 | 14978.284 | 0
12 | 19198.607 | 16764.2 | 18362.8 | 19541.62 | 0 | 15335.747 | 15006.024 | 15635.826 | 17300.825 | 2687.12 | 14966.617 | 0
13 | 18652.19 | 16454.69 | 14644.629 | 19771.45 | 0 | 16101.98 | 13639.941 | 17736.901 | 17280.803 | 16200.535 | 14803.57 | 7401.197
14 | 18557.466 | 15876.835 | 0 | 19470.99 | 0 | 13402.674 | 14957.463 | 17426.894 | 18187.241 | 16844.372 | 14492.743 | 11295.827
15 | 18205.617 | 16271.358 | 0 | 19749.07 | 0 | 7860.86 | 14142.694 | 15166.318 | 16515.596 | 17645.068 | 14751.311 | 2105.701
16 | 18593.255 | 14541.609 | 0 | 19697.73 | 0 | 17490.759 | 14144.512 | 16323.784 | 18021.704 | 18296.328 | 14046.442 | 14250.945
17 | 9544.526 | 4716.137 | 0 | 19848.454 | 0 | 17715.712 | 14244.731 | 16637.502 | 17265.73 | 17424.569 | 12170 | 14335.599
18 | 603.42 | 4165.84 | 0 | 19845.012 | 0 | 17382.924 | 14622.854 | 18050.434 | 6156.476 | 16440.552 | 14697.759 | 14613.729
19 | 14329.655 | 18308.11 | 0 | 19424.527 | 0 | 17259.668 | 14429.367 | 17456.019 | 15885.049 | 16722.923 | 14499.024 | 14170.127
20 | 14037.48 | 17936.56 | 0 | 19847.938 | 0 | 17473.893 | 14310.95 | 18292.075 | 16957.362 | 13779.854 | 14798.518 | 9799.486
21 | 16370.35 | 13601.869 | 0 | 19845.109 | 0 | 17184.365 | 14023.961 | 18845.355 | 10763.472 | 17066.39 | 14631.755 | 9166.008
22 | 1221.37 | 16791.177 | 0 | 12321.669 | 0 | 17714.759 | 14144.71 | 19005.15 | 16050.749 | 6258.352 | 15025.286 | 2375.239
23 | 0 | 18280.795 | 0 | 0 | 0 | 9752.059 | 14142.47 | 18909.95 | 17372.405 | 0 | 14215.202 | 3008.295
24 | 0 | 18684.625 | 86.385 | 0 | 0 | 16406.204 | 14045.371 | 18976.24 | 17214.161 | 3759.758 | 15220.845 | 580.186
25 | 3524.027 | 18010.69 | 774.336 | 0 | 0 | 17205.234 | 7200.688 | 17086.87 | 17644.286 | 14143.391 | 14354.303 | 2240.577
26 | 17147.806 | 17498.904 | 2828.15 | 0 | 0 | 15080.692 | 14144.302 | 18883.91 | 17079.974 | 12477.673 | 12914.012 | 8971.226
27 | 2713.485 | 10299.593 | 4418.816 | 0 | 0 | 14704.678 | 14434.486 | 18962.44 | 17771.666 | 15399.417 | 14190.12 | 18003.939
28 | 16515.816 | 12352.065 | 17914.36 | 0 | 0 | 13671.422 | 15536.493 | 19306.105 | 18282.887 | 14766.841 | 15182.094 | 15968.822
29 | 11512.171 | - | 18922.3 | 0 | 0 | 13788.662 | 10269.414 | 17763.511 | 16570.138 | 14836.536 | 15315.351 | 17945.746
30 | 17829.626 | - | 19370.914 | 0 | 0 | 14248.133 | 15924.859 | 19291.856 | 18702.124 | 15459.178 | 15285.71 | 12871.926
31 | 17267.858 | - | 19372.42 | - | 0 | - | 15592.085 | 19323.512 | - | 15662.482 | - | 8383.047
| 440474.465 | 438604.692 | 318758.472 | 418022.336 | 145931.109 | 343972.936 | 415777.005 | 536513.74 | 470545.836 | 424028.765 | 373207.553 | 322981.57
DAY
DAY