## ER sheet
Renewable Energy Project by LNB Group
Monitoring Period |  | From | To
|  | 2013-03-31 | 2015-05-31 | Both dates Inclusive
VERs Calculation for Monitoring Period
Net Electricity Generation supplied by the Project |  | MWh | 57992
Baseline Emission Factor |  | tCO2/MWh | 0.977
Baseline Emissions |  | tCO2 | 56658
Project Emissions |  | tCO2 | 0
Leakage Emissions |  | tCO2 | 0
VERs Generated for the Monitoring Period |  | tCO2 | 56658
Vintage-wise VERs
Year | Baseline emissions or removals (tCO2e) | Project emissions or removals (tCO2e) | Leakage emissions (tCO2e) | Net GHG emission reductions or removals (tCO2e)
2013 | 10338 | 0 | 0 | 10338
2014 | 33421 | 0 | 0 | 33421
2015 (till May-2015) | 12899 | 0 | 0 | 12899
Total | 56658 | 0 | 0 | 56658
Detailed Caluclation of VERs
Client Name | MAPL*** | PWEPL | SPLLP ** | SSUL
Installed Capacity in MW | 10 | 10.2 | 2 | 5
Commissioning Date | 2013-03-31 | 2014-03-29 | 2014-03-31 | 2014-08-11
Vintage-wise Calculation
Year | Net Export (MWh) | Net Export (MWh) | Net Export (MWh) | Net Export (MWh) | Total (MWh) | Baseline Emission Factor (tCO2/MWh) | Baseline Emissions (tCO2e)
2013 | 10581 | 0 | 0 | 0 | 10581 | 0.977 | 10338
2014 | 17442 | 13167 | 0 | 3599 | 34208 | 0.977 | 33421
2015 (till May-2015) | 5691 | 3778 | 0 | 3734 | 13203 | 0.977 | 12899
|  |  |  | Total Net Export | 57992 |  | 56658
Monthly Generation
Billing Month | Net Export in kWh | Net Export in kWh | Net Export in kWh | Net Export in kWh
2013-03-01 | 374
2013-04-01 | 512380
2013-05-01 | 862113
2013-06-01 | 1948141
2013-07-01 | 1666667
2013-08-01 | 1709979
2013-09-01 | 1668689
2013-10-01 | 753245
2013-11-01 | 666786
2013-12-01 | 793081
2014-01-01 | 1499462
2014-02-01 | 1074054
2014-03-01 | 1201812 | 53239.94
2014-04-01 | 637236 | 451538.53
2014-05-01 | 1339456 | 956607.72
2014-06-01 | 3190852 | 2199191.59
2014-07-01 | 2613292 | 3201658.12
2014-08-01 | 1857181 | 2275710.81 |  | 462235.5
2014-09-01 | 1672571 | 1845114.56 |  | 801303.75
2014-10-01 | 897707 | 651658.71 |  | 828411.75
2014-11-01 | 691791 | 821643.38 |  | 766008
2014-12-01 | 766101 | 711002.36 |  | 741335.25
2015-01-01 | 1041543 | 429358.25 |  | 729945
2015-02-01 | 1149454 | 390925.69 |  | 729709.5
2015-03-01 | 1134092 | 563317.74 |  | 858269.25
2015-04-01 | 1234188 | 835130.43 |  | 774741.75
2015-05-01 | 1131417 | 1558922.3 |  | 641119
Total | 33713664 | 16945020 | 0 | 7333079
** 2 MW wind project of M/s. Sidhidata Power LLP, Maharashtra is commissioned but due to ROW issue of the 220KV line connecting to Jath 220 KV GSS WTG is not put into operation mode. Therefore, Generation of the WTG till date is zero.
*** 10 MW wind project of M/s. Manifold Agricrops Pvt. Ltd , All the Five (5) WTGs generation is zero from 6:45 PM on 20th May 2015, due to 33kV feeder damage (force measures) on account of Heavy Storm around 6:45 PM on 20th May 15. Restoration work is in process and one WTG has been restored on 1-June-2015