## ER Calculation
Project Name: RIDI Grouped Hydro Solar Power Project in Nepal | Report Date | 13.05.2025
Project ref: VCS 4234 | Report Version | 7
Monitoring Period | From | To
| 2021-08-22 | 2023-05-31
No of days for current monitoirng period | 648
Total Capacity of the Project (MW) | 15.94 |  | Baseline Emissions | Project Emissions | Leakage Emissions | Total Emission Reduction
Total net electricity supplied to the grid (MWh) | 62606 |  | BEy (tCO2e) | PEy (tCO2e) | LEy (tCO2e) | ERy (tCO2e)
|  |  | 18234 | 0 | 0 | 18234
Annual Estimated Emission Reductions as per PDD | 19547
Estimated Emission Reductions as per Joint PD & MR for the current Monitoring Perod | 24279
Actual VERs Generated for this Monitoring Period | 18234
Change in emission reduction | -24.9%
Total net electricity supplied to the grid (MWh) -Solar | 13627
Total net electricity supplied to the grid (MWh) -Hydro | 48979
Actual VERs Generated for this Monitoring Period -solar | 4040 | -14.86%
Actual VERs Generated for this Monitoring Period -Hydro | 14194 | -27.34%

## Estimated ERs
EX- ANTE EMISSION REDUCTION CALCULATIONS OF PROPOSED PROJECT ACTIVITY -RIDI Power Co. Ltd
S.No. | SPV Name | Location | Capacity (MWp) | PLF |  | Annual Estimated Electricty generation | Annual Estimated Emission reduction | Start Date of instance wise operation (COD Date) | End Date of Current Monitoring Period | No of days in Monitoring period |  |  | Net Generation | Baseline Emission factor | Baseline emissions | Project Emissions | Leakage Emissions | Emission Reductions
|  |  |  | Year 1 | Year 2 (Degradation Factor) |  |  |  |  | Total | Year 1 | Year 2 | (MWh/year) | (tCO2/MWh) | (tCO2e/ year) | (tCO2e/ year) | (tCO2e/ year) | (tCO2e/ year)
1 | chandrapur-Solar Power plant | Chandranigahpur | 4 | 19.77% | 19.67% | 6927.408 | 2053 | 2021-08-22 | 2023-05-31 | 648 | 365 | 283 | 12271.666 | 0.29648 | 3638 | 0 | 0 | 3638
2 | dhalkebar-Solar Power plant | Dhalkebar | 1 | 19.45% | 19.35% | 1703.82 | 505 | 2022-01-16 | 2023-05-31 | 501 | 365 | 136 | 2335.4938 | 0.29648 | 692 | 0 | 0 | 692
3 | simara-Solar Power plant | Simara | 1 | 18.71% | 18.62% | 1638.996 | 485 | 2022-07-24 | 2023-05-31 | 312 | 0 | 312 | 1401.0048 | 0.29648 | 415 | 0 | 0 | 415
4 | cascade Kabeli B1-Hydro Power plant | Ambrapur, Negi | 9.94 | 65.4% | 65.4% | 56946.6576 | 16504 | 2022-03-26 | 2023-05-31 | 432 | 0 | 432 | 67399.8797 | 0.28983 | 19534 | 0 | 0 | 19534
Total |  |  | 15.94 |  |  | 67216.8816 | 19547 | [5 empty] | 83408.0443 |  | 24279 | 0 | 0 | 24279
|  |  | For entire crediting period of 7 years |  |  | 470518.1712 | 136829
[6 empty] | Mwh | tco2
|  | Taplejung | Yangwarak | Chandragadi Airport
|  | 2 | Kaberi-B1 Cascade | 9.94 MW | Hydro |  |  | NEA Grid | Nepal | Pachthar/ Taplejung | Ambarpur, Nagi | Chandragadi Airport
|  | 3 | Chandrapur Solar | 4.0 MW | Solar |  |  | NEA Grid | Nepal | Rautahat | Chandranigahpur | Simara Airport
|  | 4 | Dhalkeber Solar | 1.0 MW | Solar |  |  | NEA Grid | Nepal | Dhanusa | Dhalkebar | Janakpur Airport
|  | 5 | Simara Solar | 1.0 MW | Solar |  |  | NEA Grid | Nepal | Parsa | Simara

## EF & ER
CENTRAL ELECTRICITY AUTHORITY: CO2 BASELINE DATABASE
VERSION | 18
DATE | 2022-12-01
Net Generation in Operating Margin (GWH) (incl. Imports) | [5 empty] | Net Generation in Operating Margin (GWH) (incl. Imports)
|  | 2019-20 | 2020-21 | 2021-22 |  |  |  | 2019-20 | 2020-21 | 2021-22
Indian Grid |  | 965009.1972 | 958218.2696 | 1035672 |  | Indian Grid |  | 965009.1972 | 958218.2696 | 1035672
Simple Operating Margin (tCO2/MWh) (incl. Imports) (1) (2) | [5 empty] | Simple Operating Margin (tCO2/MWh) (incl. Imports) (1) (2)
|  | 2019-20 | 2020-21 | 2021-22 |  |  |  | 2019-20 | 2020-21 | 2021-22
Indian Grid |  | 0.95555 | 0.94055 | 0.9605 |  | Indian Grid |  | 0.95555 | 0.94055 | 0.9605
Build Margin (tCO2/MWh) (not adjusted for imports) | [5 empty] | Build Margin (tCO2/MWh) (not adjusted for imports)
|  |  |  | 2021-22 | [5 empty] | 2021-22
Indian Grid |  |  |  | 0.8687 |  | Indian Grid |  |  |  | 0.8687
Weighted Generation Operating Margin | [5 empty] | Weighted Generation Operating Margin
Indian Grid |  | 0.95242 |  |  |  | Indian Grid |  | 0.95242
Combined Margin Emission Factor | [5 empty] | Combined Margin Emission Factor
Indian Grid |  | 0.9105 |  |  |  | Indian Grid |  | 0.9314
Combined Margin Emission Factor | [5 empty] | Combined Margin Emission Factor
Nepal Grid |  | 0 |  |  |  | Nepal Grid |  | 0
Nepal Generation |  |  | 6052000 | MWh |  | Nepal Generation |  |  | 6052000 | MWh
Power Purchase from India |  |  | 2826000 | MWh |  | Power Purchase from India |  |  | 2826000 | MWh
Connected system weighted average combined Emission Factor for hydro instances |  |  | 0.28983 |  |  | Connected system weighted average combined Emission Factor for solar instances |  |  | 0.29648
|  |  | 0.28983 | [5 empty] | 0.29648
ER calculation |  |  |  |  | site | plant capacity | plf | annual generation
Project capacity (MW) |  |  | 15.94 |  | chandrapur | 4 | 19.77% | 6927.408
PLF (%) |  |  |  |  | dhalkebar | 1 | 19.45% | 1703.82
Annual Generation for first year of crediting period(MWh) |  |  | 0 |  | simara | 1 | 18.71% | 1638.996
Emission Factor (tCO2/MW) |  |  | 0.28983 |  | cascade Kabeli B1 | 9.94 | 65.4% | 56946.6576
Annual Emission Reductions for first year of crediting period (tCO2) |  |  | 0 |  | Total generation |  |  | 67216.8816
Annual degradation from 2nd year onwards (%) |  |  | 0%

## Generation Sheet
M/s RIDI Power
Month | Billing Cyle |  |  |  | 1. Upper ingwa |  |  | Month | Billing Cyle |  |  |  | 2. chandrapur | [5 empty] | Month | Billing Cyle |  |  |  | 3.dhalkebar | [5 empty] | Month | Billing Cyle |  |  |  | 4. simara | [5 empty] | Month | Billing Cyle |  |  |  | 5. cascade Kabeli B1
[5 empty] | Capacity :- 9.7 MW | [7 empty] | Capacity - 4 MW | [10 empty] | Capacity -1 MW | [10 empty] | Capacity :- 1 MW | [10 empty] | Capacity -9.94 MW
[5 empty] | COD - 15-05-2022 | [7 empty] | COD - 22-August-2021 | [10 empty] | COD - 16-Jnauary-2022 | [10 empty] | COD - 24-july-2022 | [10 empty] | COD- 26-March-2022
| Intial Date | Final Date | export | Import | Monthly Genration | Invoice (KWh) | Net Minimum KWh |  | Intial Date | Final Date | export | Import | Monthly Genration | Invoice (KWh) | Net Minimum KWh | emission factor | emission reduction |  |  | Intial Date | Final Date | export | Import | Monthly Genration | Invoice (KWh) | Net Minimum KWh | emission factor | emission reduction |  |  | Intial Date | Final Date | export | Import | Monthly Genration | Invoice (KWh) | Net Minimum KWh | emission factor | emission reduction |  |  | Intial Date | Final Date | export | Import | Monthly Genration | Invoice (KWh) | Net Minimum KWh | emission factor | emission reduction
2021-06-01 | [6 empty] | 0 | 2021-06-01 | [6 empty] | 0 |  |  |  | 2021-06-01 | [6 empty] | 0 |  |  |  | 2021-06-01 | [6 empty] | 0 |  |  |  | 2021-06-01 | [6 empty] | 0
2021-07-01 | [6 empty] | 0 | 2021-07-01 | [6 empty] | 0 |  |  |  | 2021-07-01 | [6 empty] | 0 |  |  |  | 2021-07-01 | [6 empty] | 0 |  |  |  | 2021-07-01 | [6 empty] | 0
2021-08-01 | [6 empty] | 0 | 2021-08-01 | [6 empty] | 0 |  |  |  | 2021-08-01 | [6 empty] | 0 |  |  |  | 2021-08-01 | [6 empty] | 0 |  |  |  | 2021-08-01 | [6 empty] | 0
2021-09-01 | [6 empty] | 0 | 2021-09-01 | 2021-08-22 | 2021-09-17 | 438710 | 2690 | 436020 | 436020 | 436020 | 0.29648 | 129.2706 |  | 2021-09-01 | [6 empty] | 0 | 0 | 0 |  | 2021-09-01 | [6 empty] | 0 | 0 | 0 |  | 2021-09-01 | [6 empty] | 0 | 0 | 0
2021-10-01 | [6 empty] | 0 | 2021-10-01 | 2021-09-18 | 2021-10-18 | 533820 | 3250 | 530570 | 530556 | 530556 | 0.2965 | 157.3099 |  | 2021-10-01 | [6 empty] | 0 | 0.2965 | 0 |  | 2021-10-01 | [6 empty] | 0 | 0.2965 | 0 |  | 2021-10-01 | [6 empty] | 0 | 0 | 0
2021-11-01 | [6 empty] | 0 | 2021-11-01 | 2021-10-19 | 2021-11-17 | 532780 | 3370 | 529410 | 529410 | 529410 | 0.2965 | 156.9701 |  | 2021-11-01 | [6 empty] | 0 | 0.2965 | 0 |  | 2021-11-01 | [6 empty] | 0 | 0.2965 | 0 |  | 2021-11-01 | [6 empty] | 0 | 0 | 0
2021-12-01 | [6 empty] | 0 | 2021-12-01 | 2021-11-18 | 2021-12-16 | 467790 | 3360 | 464430 | 462776 | 462776 | 0.2965 | 137.2131 |  | 2021-12-01 | [6 empty] | 0 | 0.2965 | 0 |  | 2021-12-01 | [6 empty] | 0 | 0.2965 | 0 |  | 2021-12-01 | [6 empty] | 0 | 0 | 0
2022-01-01 | [6 empty] | 0 | 2022-01-01 | 2021-12-17 | 2022-01-15 | 366110 | 4060 | 362050 | 362050 | 362050 | 0.2965 | 107.3478 | 688.1114 | 2022-01-01 | 2021-01-16 | 2022-02-13 | 92250 | 1650 | 90600 | 90600 | 90600 | 0.2965 | 26.8629 |  | 2022-01-01 | [6 empty] | 0 | 0.2965 | 0 |  | 2022-01-01 | [6 empty] | 0 | 0 | 0
2022-02-01 | [6 empty] | 0 | 2022-02-01 | 2022-01-16 | 2022-02-13 | 375030 | 3960 | 371070 | 371070 | 371070 | 0.2965 | 110.0223 |  | 2022-02-01 | 2022-02-14 | 2022-03-15 | 150120 | 1330 | 148790 | 145964 | 145964 | 0.2965 | 43.2783 |  | 2022-02-01 | [6 empty] | 0 | 0.2965 | 0 |  | 2022-02-01 | [6 empty] | 0 | 0 | 0
2022-03-01 | [6 empty] | 0 | 2022-03-01 | 2022-02-14 | 2022-03-15 | 624160 | 3310 | 620850 | 597942 | 597942 | 0.2965 | 177.2898 |  | 2022-03-01 | 2022-03-16 | 2022-04-14 | 131900 | 1410 | 130490 | 130490 | 130490 | 0.2965 | 38.6903 |  | 2022-03-01 | [6 empty] | 0 | 0.2965 | 0 |  | 2022-03-01 | 2022-03-26 | 2022-04-14 | 1612880 | 450 | 1612430 | 1337683 | 1337683 | 0.2898 | 387.6605
2022-04-01 | [6 empty] | 0 | 2022-04-01 | 2022-03-16 | 2022-04-14 | 566160 | 3100 | 563060 | 563060 | 563060 | 0.2965 | 166.9473 |  | 2022-04-01 | 2022-04-15 | 2022-05-15 | 110290 | 1290 | 109000 | 109000 | 109000 | 0.2965 | 32.3185 |  | 2022-04-01 | [6 empty] | 0 | 0.2965 | 0 |  | 2022-04-01 | 2022-04-15 | 2022-05-15 | 3456780 | 670 | 3456110 | 3214120 | 3214120 | 0.2898 | 931.452
2022-05-01 | [6 empty] | 0 | 2022-05-01 | 2022-04-15 | 2022-05-15 | 624160 | 3040 | 621120 | 621120 | 621120 | 0.2965 | 184.1621 |  | 2022-05-01 | 2022-05-15 | 2022-06-15 | 103100 | 1400 | 101700 | 101700 | 101700 | 0.2965 | 30.154 |  | 2022-05-01 | [6 empty] | 0 | 0.2965 | 0 |  | 2022-05-01 | 2022-05-16 | 2022-06-15 | 4295250 | 1970 | 4293280 | 4837798 | 4293280 | 0.2898 | 1244.1925
2022-06-01 | [6 empty] | 0 | 2022-06-01 | 2022-05-16 | 2022-06-15 | 591720 | 3240 | 588480 | 588480 | 588480 | 0.2965 | 174.4843 |  | 2022-06-01 | 2022-06-15 | 2022-07-17 | 144460 | 1360 | 143100 | 143100 | 143100 | 0.2965 | 42.4291 |  | 2022-06-01 | [6 empty] | 0 | 0.2965 | 0 |  | 2022-06-01 | 2022-06-16 | 2022-07-17 | 3015330 | 6220 | 3009110 | 3009110 | 3009110 | 0.2898 | 872.0401
2022-07-01 | [6 empty] | 0 | 2022-07-01 | 2022-06-16 | 2022-07-17 | 570100 | 3560 | 566540 | 566540 | 566540 | 0.2965 | 167.9791 |  | 2022-07-01 | 2022-07-17 | 2022-08-17 | 139450 | 1580 | 137870 | 137870 | 137870 | 0.2965 | 40.8785 |  | 2022-07-01 | 2022-07-24 | 2022-08-17 | 108420 | 1150 | 107270 | 103894.7 | 103894.7 | 0.2965 | 30.8048 |  | 2022-07-01 | 2022-07-18 | 2022-08-17 | 5716970 | 660 | 5716310 | 5716310 | 5716310 | 0.2898 | 1656.5866
2022-08-01 | [6 empty] | 0 | 2022-08-01 | 2022-07-18 | 2022-08-17 | 502890 | 3740 | 499150 | 499150 | 499150 | 0.2965 | 147.998 |  | 2022-08-01 | 2022-08-17 | 2022-09-17 | 104300 | 1470 | 102830 | 102830 | 102830 | 0.2965 | 30.4891 |  | 2022-08-01 | 2022-08-18 | 2022-09-17 | 123280 | 1500 | 121780 | 120744.45 | 120744.45 | 0.2965 | 35.8007 |  | 2022-08-01 | 2022-08-18 | 2022-09-17 | 5169070 | 380 | 5168690 | 5168690 | 5168690 | 0.2898 | 1497.8864
2022-09-01 | [6 empty] | 0 | 2022-09-01 | 2022-08-18 | 2022-09-17 | 525550 | 3910 | 521640 | 521640 | 521640 | 0.2965 | 154.6663 |  | 2022-09-01 | 2022-09-17 | 2022-10-18 | 143090 | 1480 | 141610 | 130241 | 130241 | 0.2965 | 38.6165 |  | 2022-09-01 | 2022-09-18 | 2022-10-18 | 131980 | 1450 | 130530 | 126727 | 126727 | 0.2965 | 37.5746 |  | 2022-09-01 | 2022-09-18 | 2022-10-21 | 5501370 | 580 | 5500790 | 5500790 | 5500790 | 0.2898 | 1594.1289
2022-10-01 | [6 empty] | 0 | 2022-10-01 | 2022-09-18 | 2022-10-18 | 546470 | 3960 | 542510 | 529846 | 529846 | 0.2965 | 157.0993 |  | 2022-10-01 | 2022-10-18 | 2022-11-17 | 140130 | 1180 | 138950 | 122893 | 122893 | 0.2965 | 36.4378 |  | 2022-10-01 | 2022-10-19 | 2022-11-17 | 123040 | 1410 | 121630 | 118663 | 118663 | 0.2965 | 35.1836 |  | 2022-10-01 | 2022-10-22 | 2022-11-17 | 4725330 | 250 | 4725080 | 4725080 | 4725080 | 0.2898 | 1369.3282
2022-11-01 | [6 empty] | 0 | 2022-11-01 | 2022-10-19 | 2022-11-17 | 523610 | 3540 | 520070 | 505819 | 505819 | 0.2965 | 149.9753 |  | 2022-11-01 | 2022-11-17 | 2022-12-16 | 121950 | 1440 | 120510 | 111536 | 111536 | 0.2965 | 33.0704 |  | 2022-11-01 | 2022-12-18 | 2022-12-16 | 102630 | 1400 | 101230 | 101767.9 | 101230 | 0.2965 | 30.0147 |  | 2022-11-01 | 2022-11-18 | 2022-12-16 | 3116840 | 520 | 3116320 | 3116320 | 3116320 | 0.2898 | 903.1095
2022-12-01 | [6 empty] | 0 | 2022-12-01 | 2022-11-18 | 2022-12-16 | 412470 | 3610 | 408860 | 408860 | 408860 | 0.2965 | 121.227 |  | 2022-12-01 | 2022-12-17 | 2023-01-15 | 82510 | 2040 | 80470 | 80470 | 80470 | 0.2965 | 23.8594 | 417.0848 | 2022-12-01 | 2022-12-17 | 2023-01-15 | 59540 | 2070 | 57470 | 56969.9 | 56969.9 | 0.2965 | 16.8916 | 186.2699 | 2022-12-01 | 2022-12-17 | 2023-01-15 | 1566930 | 3020 | 1563910 | 1563910 | 1563910 | 0.2898 | 453.2211 | 10909.6059
2023-01-01 | [6 empty] | 0 | 2023-01-01 | 2022-12-17 | 2023-01-15 | 281590 | 4300 | 277290 | 277290 | 277290 | 0.2965 | 82.2165 |  | 2023-01-01 | 2023-01-16 | 2023-02-13 | 96230 | 1430 | 94800 | 94800 | 94800 | 0.2965 | 28.1082 |  | 2023-01-01 | 2023-01-16 | 2023-02-13 | 77800 | 2060 | 75740 | 75086.5 | 75086.5 | 0.2965 | 22.2631 |  | 2023-01-01 | 2023-01-16 | 2023-02-13 | 1480290 | 30 | 1480260 | 1480260 | 1480260 | 0.2898 | 428.9793
2023-02-01 | [6 empty] | 0 | 2023-02-01 | 2023-01-16 | 2023-02-13 | 351290 | 3690 | 347600 | 347600 | 347600 | 0.2965 | 103.0634 | 1897.1306 | 2023-02-01 | 2023-02-14 | 2023-03-15 | 122800 | 1030 | 121770 | 121770 | 121770 | 0.2965 | 36.1048 |  | 2023-02-01 | 2023-02-14 | 2023-03-15 | 105040 | 1550 | 103490 | 102607.66 | 102607.66 | 0.2965 | 30.4232 |  | 2023-02-01 | 2023-02-14 | 2023-03-15 | 1394920 | 90 | 1394830 | 1394830 | 1394830 | 0.2898 | 404.2217
2023-03-01 | [6 empty] | 0 | 2023-03-01 | 2023-02-14 | 2023-03-15 | 446100 | 3320 | 442780 | 442780 | 442780 | 0.2965 | 131.2843 |  | 2023-03-01 | 2023-03-16 | 2023-04-14 | 156410 | 950 | 155460 | 155460 | 155460 | 0.2965 | 46.0939 |  | 2023-03-01 | 2022-03-16 | 2023-04-14 | 153770 | 1250 | 152520 | 151228.33 | 151228.33 | 0.2965 | 44.8392 |  | 2023-03-01 | 2023-03-16 | 2023-04-14 | 1852300 | 610 | 1851690 | 1851690 | 1851690 | 0.2898 | 536.6198
2023-04-01 | [6 empty] | 0 | 2023-04-01 | 2023-03-16 | 2023-04-14 | 605580 | 3040 | 602540 | 602540 | 602540 | 0.2965 | 178.6531 |  | 2023-04-01 | 2023-04-15 | 2023-05-15 | 143660 | 960 | 142700 | 142700 | 142700 | 0.2965 | 42.3105 |  | 2023-04-01 | 2023-04-15 | 2023-05-15 | 145650 | 1430 | 144220 | 142996.54 | 142996.54 | 0.2965 | 42.3985 |  | 2023-04-01 | 2023-04-15 | 2023-05-15 | 2757790 | 650 | 2757140 | 2757140 | 2757140 | 0.2898 | 799.0192
2023-05-01 | [6 empty] | 0 | 2023-05-01 | 2023-04-15 | 2023-05-15 | 655400 | 3100 | 652300 | 528730 | 528730 | 0.2965 | 156.7684 | 466.7058 | 2023-05-01 | 2023-05-16 | 2023-06-16 | 147580 | 1300 | 146280 | 146280 | 146280 | 0.2965 | 43.372 | 195.9895 | 2023-05-01 | 2023-05-16 | 2023-06-16 | 168670 | 1320 | 167350 | 165933.17 | 165933.17 | 0.2965 | 49.1992 | 189.1232 | 2023-05-01 | 2023-05-16 | 2023-06-16 | 3851150 | 490 | 3850660 | 3850660 | 3850660 | 0.2898 | 1115.9213 | 3284.7613
Total | - | - |  |  | 0 | 0 | 0 | Total | - | - |  |  | 10468340 | 10293279 | 10293279 |  | 3051.9479 |  | Total | - | - |  |  | 2106930 | 2067704 | 2067704 |  | 613.0742 |  | Total | - | - |  |  | 1283230 | 1266619.15 | 1266081.25 |  | 375.3931 |  | Total | - | - |  |  | 49496610 | 49524391 | 48979873 |  | 14194.3672
[47 empty] | Total | 62606937.25
[47 empty] | Hydro | 48979.873
[47 empty] | Solar | 13627.0642

## wintage wise
Months | Net Electricity Generation(KWh) | Net Electricity Generation(MWh)
|  |  | Year | Emission reduction | Hydro | Solar
|  |  | 2021 | 688 | 0 | 688.1114
|  |  | 2022 | 13410 | 10909.6059 | 2500.4853
2021-06-01 | 0 | 0 | 2023 | 4136 | 3284.7613 | 851.8185
2021-07-01 | 0 | 0 |  | 18234 | 14194 | 4040
2021-08-01 | 0 | 0
2021-09-01 | 436020 | 436.02
2021-10-01 | 530556 | 530.556
2021-11-01 | 529410 | 529.41
2021-12-01 | 462776 | 462.776
2022-01-01 | 452650 | 452.65
2022-02-01 | 517034 | 517.034
2022-03-01 | 2066115 | 2066.115
2022-04-01 | 3886180 | 3886.18
2022-05-01 | 5016100 | 5016.1
2022-06-01 | 3740690 | 3740.69
2022-07-01 | 6524614.7 | 6524.6147
2022-08-01 | 5891414.45 | 5891.4145 |  |  |  | 18974
2022-09-01 | 6279398 | 6279.398
2022-10-01 | 5496482 | 5496.482
2022-11-01 | 3834905 | 3834.905
2022-12-01 | 2110209.9 | 2110.2099
2023-01-01 | 1927436.5 | 1927.4365
2023-02-01 | 1966807.66 | 1966.8077
2023-03-01 | 2601158.33 | 2601.1583
2023-04-01 | 3645376.54 | 3645.3765
2023-05-01 | 4691603.17 | 4691.6032
Total | 62606937 | 62606

## Meter details
Calibration Detail
S.No. | Location | Main Meter Serial No. | Check Meter Serial No. | Make | Accuracy class | Year | Date of calibration | Validity of calibration
1 | Simara | 2914526 | 2914527 | Elester | 0.2s | 2021 | 2022-01-19 | 2027-01-18
2 | Dhalkebar | 2914524 | 2914525 | Elester | 0.2s | 2022 | 2022-01-10 | 2027-01-09
3 | Chandranighapur | 210404445 | 210404447 | Ametek | 0.1 | 2021 | 2021-04-19 | 2026-04-18
4 | kabeli B1 | 211304602 | 211304601 | Ametek | 0.1 | 2021 | 2022-03-07 | 2027-03-06
5 | Upper Ingwa

## indian and nepal ele system
INDIA: CENTRAL ELECTRICITY AUTHORITY: CO2 BASELINE DATABASE
VERSION |  |  |  | 18
DATE |  |  |  | 2022-12-01
BASELINE METHODOLOGY |  |  |  | AMS-I.D/ Ver 18.0 and "Tool to Calculate the Emission Factor for an Electricity System", Version 7.0
EMISSION FACTORS
Emission Factors (tCO2/MWh) (excl. Imports) |  |  | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21 |  | Emission Factors (tCO2/MWh) (incl. Imports) | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21
Weighted Average Emission Rate |  |  | 0.82399 | 0.82803 | 0.82223 | 0.82469 | 0.79808 | 0.79303 |  | Weighted Average Emission Rate (2) | 0.82022 | 0.82373 | 0.81813 | 0.82141 | 0.79377 | 0.78664
Simple Operating Margin (1) |  |  | 0.97077 | 0.96951 | 0.95991 | 0.9648 | 0.9618 | 0.9497 |  | Simple Operating Margin (1) (2) | 0.96553 | 0.96363 | 0.95434 | 0.96031 | 0.95555 | 0.94055
Build Margin |  |  | 0.9083 | 0.87233 | 0.86609 | 0.88123 | 0.86821 | 0.86526 |  | Build Margin (not adjusted for imports) | 0.9083 | 0.87233 | 0.86609 | 0.88123 | 0.86821 | 0.86526
Combined Margin (1) |  |  | 0.93953 | 0.92092 | 0.913 | 0.92301 | 0.915 | 0.90748 |  | Combined Margin (1) (2) | 0.93691 | 0.91798 | 0.91021 | 0.92077 | 0.91188 | 0.9029
(1) Operating margin is based on the data for the same year. This corresponds to the ex post option | [9 empty] | (1) Operating margin is based on the data for the same year. This corresponds to the ex post option
given in "Tool to Calculate the Emission Factor for an Electricity System", Ver. 7.0 (p.16) | [9 empty] | given in "Tool to Calculate the Emission Factor for an Electricity System", Ver. 7.0 (p.16)
(2) Adjustments for imports from other Indian grids are based on operating margin of exporting grid.
For imports from other countries, an emission factor of zero is used.
See "Tool to Calculate the Emission Factor for an Electricity System", Ver. 7.0 (p.10 & 11), options a+b
GENERATION DATA | [9 empty] | EMISSION DATA
|  |  | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21 |  |  | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21
Gross Generation Total (GWh) |  |  | 1103173.9069 | 1151479.336 | 1201876.6723 | 1247574.7131 | 1244852.6801 | 1227903.5454 |  | Absolute Emissions Total (tCO2) | 846261119.0127 | 888341293.6666 | 922182365.9522 | 960899216.9745 | 928143461.9824 | 910016017.8375
Net Generation Total (GWh) |  |  | 1027027.8545 | 1072839.3675 | 1121567.2248 | 1165160.2362 | 1162971.1384 | 1147523.1374 |  | Absolute Emissions OM (tCO2) | 846269450.0119 | 888341293.6666 | 922182365.9522 | 960899216.9745 | 928143461.9824 | 910016017.8375
Share of Must-Run (Hydro/Nuclear) (% of Net Generation) |  |  | 15.12% | 14.59% | 14.34% | 14.52% | 17.02% | 16.5% |  | Absolute Emissions BM (tCO2) | 186863158.8001 | 188456478.5985 | 194301044.6787 | 205690708.3055 | 202665681.6012 | 198758357.2942
Net Generation in Operating Margin (GWh) |  |  | 871753.2428 | 916277.8338 | 960692.8819 | 995956.515 | 965009.1972 | 958218.2696 |  | Net Imports (GWh) | 0 | 0 | 0 | 0 | 0 | 0
20% of Net Generation (GWh) |  |  | 205405.5709 | 214567.8735 | 224313.445 | 233032.0472 | 232594.2277 | 229504.6275 |  | Share of Net Imports (% of Net Generation) | 0 | 0 | 0 | 0 | 0 | 0
Net Generation in Build Margin (GWh) |  |  | 205729.5677 | 216036.8896 | 224343.1601 | 233414.2246 | 233429.096 | 229710.3859
NEPAL DATA
Particulars | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021*
Availability (GWh) | [11 empty] | MWh
NEA Own Generation | 2359 | 2292 | 2298 | 2368 | 2133 | 2305 | 2308 | 2548 | 3021 | 2811 |  | 2811000 | 6052000
Power Purchase from IPPs | 1074 | 1176 | 1070 | 1269 | 1166 | 1778 | 2168 | 2190 | 2991 | 3241 |  | 3241000
Power Purchase from India | 746 | 790 | 1319 | 1370 | 1778 | 2175 | 2582 | 2813 | 1729 | 2826 |  | 2826000 | 2826000
Total Availability (GWh) | 4179 | 4258 | 4687 | 5007 | 5077 | 6258 | 7058 | 7551 | 7741 | 8878
Peak Demand (MW) | 1027 | 1095 | 1201 | 1291 | 1385 | 1444 | 1508 | 1320 | 1408 | 1482
* Provisional Figures (Subject to audit)
Peak Demad MW | 102665 | 109462 | 120098 | 129110 | 138530 | 144410 | 150816 | 132028 | 140794 | 148200
| Source: | Nepal Electricity Authority Annual Report 2021-22_ https://www.nea.org.np/annual_report