Project ANNUAL REPORT Form

###### Publication Date  16/08/2022

###### Version 2.0

###### Next Planned Update 16/08/2025

###### Contact Details

The Gold Standard Foundation

International Environment House 2

Chemin de Balexert 7-9

1219 Châtelaine

Geneva, Switzerland

Tel: +41 22 788 70 80

Email: standards@goldstandard.org

SUMMARY

Gold Standard Design Certified Projects are required to submit annual reports to share progress, key updates and confirm that the project is active. This template provides a standardised form to complete annual reporting. The annual reports are required for each monitoring year for which verification is not completed by the end of the following calendar year (section 5.1. (d), Annual Reporting, Gold Standard for the Global Goals Principles and Requirements). The Project Developer shall upload annual reports on the SustainCERT App.

- Scope and Applicability:

The annual report form is applicable to all Gold Standard standalone projects and voluntary project activities (VPAs) of all scales. In case of a Programme of Activities, the Coordinating/Managing Entity may submit one combined annual report for multiple VPAs.

A/R Projects Only - If the project is certified according to the Forest Stewardship Council (FSC), the Certification Status replaces the completion of this template. Please provide the FSC Audit Report and provide a reference to this supporting document in section 5| of this template. In addition, please provide evidence on how the project demonstrates conformity to Gold Standard Safeguarding Principle 3.8.1 on Water (FSC Certification is not deemed as evidence that this Principle is met). For further guidance refer to the section “FSC Dual Certification” in the Land Use and Forests Activity Requirements.

- Entry into force

The annual report form:

- is available for use by all projects from its release date.

- shall be used for annual reports submitted after 15/11/2022.

- Timing for annual report Submission

As per section 5.1 of the Principles and Requirements, annual reports:

- are due until end of next calendar year for which the verification is not completed.

- Are still required by the end of the calendar year if a verification is in progress but not complete.

- For example:

| - Examples - Project Status | - Annual report submission |
| --- | --- |
| - No monitoring report submitted yet, project start date in 2019 | - by end of 2020 |
| - Last monitoring period end: 01 January 2019 | - by end of 2020 |
| - Last monitoring period end: 01 December 2019 | - by end of 2020 |
| - Verification report submitted for monitoring period 01 June 2018 to 31 May 2019 | - for 01 June 2019 to 31 December 2020 by end of 2020 |
| - Last monitoring period end: 01 December 2019, last annual report covering 01 December 2019 to 01 December 2020 | - by end of 2021 |

The Project Developer shall upload the annual report(s) on the SustainCERT App to complete the submission. Note that the annual report shall be made public upon submission.

- PROJECT(S) information Please identify the project activity, Programme of Activity, and/or Voluntary Project Activity/ies (henceforth called ‘project’) and the reporting period to which this annual report applies.

| - Title of Project/ VPA(s) If you are submitting an annual report for a project or number of VPAs, please include the name of the all VPAs as well. | GS10959 VPA01 Safe Water Project in Rwanda I GS10959 VPA02 Safe Water Project in Rwanda II GS10959 VPA03 Safe Water Project in Rwanda III GS10959 VPA04 Safe Water Project in Rwanda IV GS10959 VPA05 Safe Water Project in Rwanda V GS10959 VPA06 Safe Water Project in Rwanda VI GS10959 VPA07 Safe Water Project in Bangladesh I GS10959 VPA08 Safe Water Project in Bangladesh II GS10959 VPA09 Safe Water Project in Bangladesh III GS10959 VPA10 Safe Water Project in Bangladesh IV |
| --- | --- |
| - GS ID(s) | GS11098 GS11133 GS11134 GS11135 GS11136 GS11137 GS11150 GS11151 GS11152 GS11153 |
| - GS Registry project link(s) | https://registry.goldstandard.org/projects/details/3085 https://registry.goldstandard.org/projects/details/3088 https://registry.goldstandard.org/projects/details/3089 https://registry.goldstandard.org/projects/details/3090 https://registry.goldstandard.org/projects/details/3091 https://registry.goldstandard.org/projects/details/3092 https://registry.goldstandard.org/projects/details/3105 https://registry.goldstandard.org/projects/details/3106 https://registry.goldstandard.org/projects/details/3107 https://registry.goldstandard.org/projects/details/3108 |
| - Date of completion of the report | 31/12/2022 |
| - Which monitoring period is the annual report being submitted for? | 30/07/2021 – 29/07/2022 |
| - Is a verification in progress for this monitoring period? Annual reports are still required by the end of the calendar year if a verification is in progress but not complete. Refer to Principles and Requirements 5.1.39 and 5.1.42 | ☒ Yes ☐ No |

| - Annual Report Please use this section to provide a brief summary of the progress of the project(s) during the reporting period and a summary of the monitoring information obtained. |  |
| --- | --- |
| - Has the project been actively implemented/operated during the monitoring period (Q1.5) this report refers to? | ☒ Yes ☐ No If no, please elaborate: |
| - Please list the recent activities, events and actions related to the project that summarize the project’s progress during the monitoring period this report refers to. This may include milestones in implementation, calibration of equipment, carrying out of surveys or monitoring activities, Host Country approvals, etc. Refer to: Principles and Requirements 5.1.42.(a) | For Rwanda VPAs: 23/03/2021 Time of First Submission Date 19/08/2021 Date of project design certification 03/09/2021 Local stakeholder consultation meeting 15/11/2021 Starting sign Donation and Carbon Transfer Agreements with villages 11/2021 Starting repair boreholes 26/11/2021 The first borehole was repaired 16/05/2022-24/05/2022 The first time of water quality test 26/07/2022-18/08/2022 Water consumption field test was conducted 25/07/2022-25/08/2022 Project survey was conducted For Bangladesh VPAs: 23/03/2021 Time of First Submission Date 10/06/2021 Local stakeholder consultation meeting 06/2021 Starting sign Donation and Carbon Transfer Agreements with villages 07/2021 Starting repair boreholes 30/07/2021 The first borehole was repaired 19/08/2021 Date of project design certification 30/12/2021 The first time of water quality test 31/03/2022 The second time of water quality test 27/06/2022 Hygiene campaign held in Dariar Digi village Ramu cell 30/06/2022 The third time of water quality test 06/07/2022 Hygiene campaign held in Sonkhula village Cox’s Bazar cell 07/07/2022 Hygiene campaign held in Dokkin Shairakhali Jolodash Para village Chakaria cell 08/07/2022 Hygiene campaign held in Jolodas Para village Ramu cell 07/08/2022-31/08/2022 Project survey was conducted 08/08/2022-01/09/2022 Water consumption field test was conducted |
| - Have there been any changes to the continuous input/grievance mechanism during the monitoring period this report refers to? | ☐ Yes ☒ No If yes, please ensure that all stakeholders are informed of the new way to provide continuous inputs or file grievances. |
| - Has there been any input/feedback or grievance provided by stakeholders after the validation stage and during the monitoring period this report refers to? Refer to Principles and Requirements 5.1.42.(c) | ☐ Yes ☒ No If yes, please fill out the table below. |
| Stakeholder Engagement Report. Date; Comment; Action point from Project Owner; Response From Project Owner; Responsible person for the issue; Issue resolved?. DD/MM/YYYY; Describe the comment received; Changes expected by the stakeholder; How you will resolve the issue/ Whether you find the issue relevant to be addressed; Person who will take/took the responsibility for resolving and monitoring of the issue; ☐ Yes ☐ No. ☐ Yes ☐ No. ☐ Yes ☐ No. |
| - Have there been any incidents or events that may impact the Outcomes/Impacts delivered to date (in terms of loss) or the ongoing Performance of the Project. Refer to Principles and Requirements 5.1.4.2.(d) | ☐ Yes ☒ No If yes, please elaborate: |
| - Have any legal contests/disputes arisen related to the project? Refer to Principles and Requirements 5.1.4.2.(e) | ☐ Yes ☒ No If yes, please elaborate: |
| - Have there been any updates to the Key Project Information, Project Design Document, Monitoring & Reporting Plan? Refer to Principles and Requirements 5.1.4.2.(f) | ☐ Yes ☒ No If yes, please refer to the section Further communication with Gold Standard below |
| - Please provide a summary of the monitoring information collected during the year. Please only provide information on those indicators monitored during the reporting period. Indicators monitored once per monitoring period are not necessary to be included here. Refer to Principles and Requirements 5.1.42.(g) | For Rwanda VPAs: Data/parameter Qp,y Unit Litres per person per day Description Quantity of safe water in litres consumed in the project scenario p and supplied by project technology per person per day Source of data Water consumption field test Value(s) applied 6.66 Measurement methods and procedures The data obtained by WCFT through sampling survey as per the applied methodology as well as “Standard: Sampling and surveys for CDM project activities and programmes of activities (Version 09.0)” and “Guidelines for sampling and surveys for CDM project activities and programmes of activities (Version 04.0)”. The WCFT was conducted by CME and ARDE from 26/07/2022-18/08/2022. The actual value is 8.96L. According to the applied methodology, the cap value for full-day premises is 7. So we capped this value as 7 for each project borehole. As an average value for all project boreholes, the result is 6.66. Monitoring frequency At least biennially; the above value is valid from 26/11/2021 to no later than 25/11/2023 as per the applied methodology QA/QC procedures Transparent data analysis and reporting Purpose of data Calculation of baseline emissions Additional comment - Data / Parameter Qp,rawboil,y Unit Litres per person per day Description Quantity of raw or unsafe water that is still boiled after installation of the water treatment technology. Source of data Water consumption field test Value(s) applied 0 Measurement methods and procedures The data is obtained by water consumption field test through sampling survey as per the applied methodology as well as “Standard: Sampling and surveys for CDM project activities and programmes of activities (Version 09.0)” and “Guidelines for sampling and surveys for CDM project activities and programmes of activities (Version 04.0)”. The WCFT was conducted by the CME and ARDE from 26/07/2022-18/08/2022 and the result is 0. Monitoring frequency At least biennially; the above value is valid from 26/11/2021 to no later than 25/11/2023 as per the applied methodology QA/QC procedures Transparent data analysis and reporting Purpose of data Calculation of baseline and project emissions Additional comment Data / Parameter Qp,cleanboil,y Unit Litres per person per day Description Quantity of safe (treated, or from safe supply) water boiled in the project scenario p, after installation of project technology Source of data Water consumption field test Value(s) applied 0 Measurement methods and procedures The data is obtained by water consumption field test through sampling survey as per the applied methodology as well as “Standard: Sampling and surveys for CDM project activities and programmes of activities (Version 09.0)” and “Guidelines for sampling and surveys for CDM project activities and programmes of activities (Version 04.0)”. The WCFT was conducted by the CME and ARDE from 26/07/2022-18/08/2022 and the result is 0. Monitoring frequency At least biennially; the above value is valid from 26/11/2021 to no later than 25/11/2023 as per the applied methodology QA/QC procedures Transparent data analysis and reporting Purpose of data Calculation of project emissions Additional comment Data / Parameter Quality of the treated water Unit - Description As a first option, projects shall meet host country standards (where available) for treated water quality. Where national standards are not available, projects shall meet WHO standard of less than 1 Colony Forming Unit (CFU) of E.Coli /100 ml. Source of data Water quality test Value(s) applied Pass Measurement methods and procedures As per the local laboratories’ methods and procedures. The 95/10 precision rule must be followed in calculating the sample size required for testing water quality. Monitoring frequency Quarterly. The first test has been conducted within 6 months of the project start date. The water quality test has been made in the Water Quality Testing Laboratory of the IPRC Kigali. The lab collected the samples from the water sources. At least once every two years, the water quality test should be performed in accredited laboratories. QA/QC procedures Transparent data analysis and reporting Purpose of data Calculation of emission reductions Additional comment - Data / Parameter Unit Description Source of data Value(s) applied Measurement methods and procedures Monitoring frequency QA/QC procedures Purpose of data Additional comment Data / Parameter Np,y Unit Persons.days Description Number of person.days consuming water supplied by project scenario p through year y Source of data D16-22 of sheet SDG13 of Excel table “1-SDG Outcomes Calculation Form-MP1st” Value(s) applied Each VPA is shown as follows: VPA No. Persons.days 01 6,238,172 02 7,106,802 03 7,177,865 04 4,695,103 05 6,851,892 06 4,669,012 Total 36,738,846 Measurement methods and procedures Sum of the total number of people using each borehole in the VPA multiplied by the number of operating days in the monitoring period. The number of days when the boreholes are in operation is monitored through project survey. The number of days when the boreholes are out of use is not taken into account for calculating Np,y. Monitoring frequency At least biennially; the above value is valid from 26/11/2021 to no later than 25/11/2023 as per the applied methodology QA/QC procedures Transparent data analysis and reporting Purpose of data Calculation of baseline emissions and project emissions Additional comment - Data / Parameter LEp,y Unit tCO2e per year Description Leakage in project scenario p during year y Source of data Baseline and monitoring surveys Value(s) applied 0 Measurement methods and procedures The result is 0 and the details are shown in Section E.3. Monitoring frequency Biennially; the above value is valid from 26/11/2021 to no later than 25/11/2023 as per the applied methodology QA/QC procedures Transparent data analysis and reporting Purpose of data Calculation of emission reductions Additional comment - Data / Parameter Ip,y Unit Percentage Description Waterborne illness incidence in the project scenario during year y Source of data B127 of Excel table “2-Data Recording Form for Project Survey” Value(s) applied 0 Measurement methods and procedures The data is obtained by project survey through sampling survey as per the applied methodology as well as “Standard: Sampling and surveys for CDM project activities and programmes of activities (Version 09.0)” and “Guidelines for sampling and surveys for CDM project activities and programmes of activities (Version 04.0)”. The project survey was conducted by the CME and ARDE from 25/07/2022-25/08/2022 and the result is 0. Monitoring frequency At least biennially; the above value is valid from 26/11/2021 to no later than 25/11/2023 as per the applied methodology QA/QC procedures Transparent data analysis and reporting Purpose of data Calculation of reduction of waterborne illness incidence Additional comment Data / Parameter Tp,y Unit Hour Description Time spent to fetch and purify water by women and girls per household in the project scenario during year y Source of data B128 of Excel table “2-Data Recording Form for Project Survey” Value(s) applied 0.44 Measurement methods and procedures The data is obtained by project survey through sampling survey as per the applied methodology as well as “Standard: Sampling and surveys for CDM project activities and programmes of activities (Version 09.0)” and “Guidelines for sampling and surveys for CDM project activities and programmes of activities (Version 04.0)”. The project survey was conducted by the CME and ARDE from 25/07/2022-25/08/2022 and the result is 0.44. Monitoring frequency At least biennially; the above value is valid from 26/11/2021 to no later than 25/11/2023 as per the applied methodology QA/QC procedures Transparent data analysis and reporting Purpose of data Calculation of percentage reduction of time spent to fetch and purify water by women and girls Additional comment Data / Parameter Pp,y Unit Number Description Number of persons consuming water within the project area during year y Source of data Project survey Value(s) applied Each VPA is shown as follows: VPA No. Pp,y 01 34,750 02 31,855 03 32,320 04 33,221 05 33,514 06 32,314 Total 196,974 Measurement methods and procedures The data is obtained from WMC of each borehole as per Document “Sworn Statement” Monitoring frequency At least biennially; the above value is valid from 26/11/2021 to no later than 25/11/2023 as per the applied methodology QA/QC procedures Transparent data analysis and reporting Purpose of data Calculation of number of persons consuming safe water supplied by the project Additional comment For Bangladesh VPAs: Data/parameter Qp,y Unit Litres per person per day Description Quantity of safe water in litres consumed in the project scenario p and supplied by project technology per person per day Source of data Water consumption field test Value(s) applied 7 Measurement methods and procedures The data obtained by WCFT through sampling survey as per the applied methodology as well as “Standard: Sampling and surveys for CDM project activities and programmes of activities (Version 09.0)” and “Guidelines for sampling and surveys for CDM project activities and programmes of activities (Version 04.0)”. The WCFT was conducted by CME and SOCIAL AID from 08/08/2022-01/09/2022. The actual value is 14.28L. According to the applied methodology, the cap value for full-day premises is 7. The actual value is much higher than the capped value. So we choose the smaller value between the cap value and the value from test for conservativeness. The result is 7. Monitoring frequency At least biennially; the above value is valid from 30/07/2021 to no later than 29/07/2023 as per the applied methodology QA/QC procedures Transparent data analysis and reporting Purpose of data Calculation of baseline emissions Additional comment - Data / Parameter Qp,rawboil,y Unit Litres per person per day Description Quantity of raw or unsafe water that is still boiled after installation of the water treatment technology. Source of data Water consumption field test Value(s) applied 0 Measurement methods and procedures The data is obtained by water consumption field test through sampling survey as per the applied methodology as well as “Standard: Sampling and surveys for CDM project activities and programmes of activities (Version 09.0)” and “Guidelines for sampling and surveys for CDM project activities and programmes of activities (Version 04.0)”. The WCFT was conducted by the CME and SOCIAL AID from 08/08/2022-01/09/2022 and the result is 0. Monitoring frequency At least biennially; the above value is valid from 30/07/2021 to no later than 29/07/2023 as per the applied methodology QA/QC procedures Transparent data analysis and reporting Purpose of data Calculation of baseline and project emissions Additional comment Data / Parameter Qp,cleanboil,y Unit Litres per person per day Description Quantity of safe (treated, or from safe supply) water boiled in the project scenario p, after installation of project technology Source of data Water consumption field test Value(s) applied 0 Measurement methods and procedures The data is obtained by water consumption field test through sampling survey as per the applied methodology as well as “Standard: Sampling and surveys for CDM project activities and programmes of activities (Version 09.0)” and “Guidelines for sampling and surveys for CDM project activities and programmes of activities (Version 04.0)”. The WCFT was conducted by the CME and SOCIAL AID from 08/08/2022-01/09/2022 and the result is 0. Monitoring frequency At least biennially; the above value is valid from 30/07/2021 to no later than 29/07/2023 as per the applied methodology QA/QC procedures Transparent data analysis and reporting Purpose of data Calculation of project emissions Additional comment Data / Parameter Quality of the treated water Unit - Description As a first option, projects shall meet host country standards (where available) for treated water quality. Where national standards are not available, projects shall meet WHO standard of less than 1 Colony Forming Unit (CFU) of E.Coli /100 ml. Source of data Water quality test Value(s) applied Pass Measurement methods and procedures As per the local laboratories’ methods and procedures. The 95/10 precision rule must be followed in calculating the sample size required for testing water quality. Monitoring frequency Quarterly. The first test has been conducted within 6 months of the project start date. The water quality test has been made in the Water Quality Testing Laboratory of the NGO Forum. The lab collected the samples from the water sources. At least once every two years, the water quality test should be performed in accredited laboratories. QA/QC procedures Transparent data analysis and reporting Purpose of data Calculation of emission reductions Additional comment - Data / Parameter Np,y Unit Persons.days Description Number of person.days consuming water supplied by project scenario p through year y Source of data D14-18 of sheet SDG13 of Excel table “1-SDG Outcomes Calculation Form-MP1st” Value(s) applied Each VPA is shown as follows: VPA No. Persons.days VPA07 4,393,389 VPA08 4,305,913 VPA09 4,394,453 VPA10 2,019,325 Total 15,113,080 Measurement methods and procedures Sum of the total number of people using each borehole in the VPA multiplied by the number of operating days in the monitoring period. The number of days when the boreholes are in operation is monitored through project survey. The number of days when the boreholes are out of use has not be taken into account for calculating Np,y. Monitoring frequency At least biennially; the above value is valid from 30/07/2021 to 31/07/2022 as per the maintenance log QA/QC procedures Transparent data analysis and reporting Purpose of data Calculation of baseline emissions and project emissions Additional comment - Data / Parameter LEp,y Unit tCO2e per year Description Leakage in project scenario p during year y Source of data Baseline and monitoring surveys Value(s) applied 0 Measurement methods and procedures The result is 0 and the details are shown in Section E.3. Monitoring frequency Biennially; the above value is valid from 30/07/2021 to no later than 31/07/2022 as per the monitoring report QA/QC procedures Transparent data analysis and reporting Purpose of data Calculation of emission reductions Additional comment - Data / Parameter Ip,y Unit Percentage Description Waterborne illness incidence in the project scenario during year y Source of data B127 of Excel table “2-Data Recording Form for Project Survey” Value(s) applied 0 Measurement methods and procedures The data is obtained by project survey through sampling survey as per the applied methodology as well as “Standard: Sampling and surveys for CDM project activities and programmes of activities (Version 09.0)” and “Guidelines for sampling and surveys for CDM project activities and programmes of activities (Version 04.0)”. The project survey was conducted by the CME and SOCIAL AID from 07/08/2022-31/08/2022 and the result is 0. Monitoring frequency At least biennially; the above value is valid from 30/07/2021 to 31/07/2022 as per the project survey QA/QC procedures Transparent data analysis and reporting Purpose of data Calculation of reduction of waterborne illness incidence Additional comment Data / Parameter Tp,y Unit Hour Description Time spent to fetch and purify water by women and girls per household in the project scenario during year y Source of data B128 of Excel table “2-Data Recording Form for Project Survey” Value(s) applied 0.42 Measurement methods and procedures The data is obtained by project survey through sampling survey as per the applied methodology as well as “Standard: Sampling and surveys for CDM project activities and programmes of activities (Version 09.0)” and “Guidelines for sampling and surveys for CDM project activities and programmes of activities (Version 04.0)”. The project survey was conducted by the CME and SOCIAL AID from 07/08/2022-31/08/2022 and the result is 0.42. Monitoring frequency At least biennially; the above value is valid from 30/07/2021 to 31/07/2022 as per the project survey. QA/QC procedures Transparent data analysis and reporting Purpose of data Calculation of percentage reduction of time spent to fetch and purify water by women and girls Additional comment Data / Parameter Pp,y Unit Number Description Number of persons consuming water within the project area during year y Source of data Project survey Value(s) applied Each VPA is shown as follows: VPA No. Py VPA07 13,929 VPA08 12,897 VPA09 14,368 VPA10 13,630 Total 54,824 Measurement methods and procedures The data is obtained from WMC of each borehole as per Document “Sworn Statement” Monitoring frequency At least biennially; the above value is valid from 30/07/2021 to no later than 29/07/2023. QA/QC procedures Transparent data analysis and reporting Purpose of data Calculation of number of persons consuming safe water supplied by the project Additional comment |
| - (For LUF projects) Have there been any updates to the ‘Project Participants and Secured Titles?’ Please ensure that at all times the project is in compliance with section 2 (b) of the Land Use and Forests Activity Requirements. Refer to Principles and Requirements 5.1.4.2.(h) | ☐ Yes ☐ No |
| - Supporting documentation/evidence |  |
| - Please list any supporting documentation or evidence provided along with this annual report Refer to Principles and Requirements 5.1.4.2.(f) | Not Applicable |
| - Declaration of correct project information ☒ I, the undersigned, attest to the accuracy of the information provided in this Annual Report ☒ I, the undersigned, understand that annual reporting does not represent certification nor any decision-making or agreement to any design change by gold standard. Annual reporting is intended as an opportunity to share progress and track key updates and confirms to Gold Standard that the project remains active. With formal review of conformity to requirements; any changes in approach shall be undertaken at performance certification only. |  |
| Project Developer/Representative Entity | Guangzhou Iceberg Environmental Consulting Services Co., Ltd. |
| Signatory names The signatory shall be an individual with legal signing authority within the Project Developer’s organization Refer to Principles and Requirements 5.1.43 | Ji BAO |
| Signature The Project Developer shall attest to the accuracy of the information provided by its signature on the Annual Report Refer to Principles and Requirements 5.1.43 |  |

Document History

| Version | Date | Description |
| --- | --- | --- |
| 1.0 | 01/07/2017 | Initial Adoption |
| 1.1 | 01/03/2018 | Editorial changes |
| 2.0 | 16/08/2022 | - Introduced a checklist format with guidance and references. - Added clarification on timelines and conditions for submission of annual reports and other communication to Gold Standard. - Changed title to differentiate from other annual report templates. |