## Sah RES
[9 empty] | 2022-10-01 | 2024-03-31 | 548
GOLD STANDARD - VOLUNTARY EMISSION REDUCTIONS
Fifth Monitoring Period
Emission Reduction Calucalations
Electricity Generation
Project Name: |  | Sah Wind Power Plant
Gold Satandard Project ID: |  | GS905 | [5 empty] | one year | Monitoring period days
Monitoring Period: |  | from 01/10/2022 to 31/03/2024 |  | Rounded Value |  |  | Expectation value for Emission Reduction in PDD | 171828 | 548 | 257977.3808
Vintage 2021 Emission Reductions |  |  | t CO2-eq |  |  |  | Expectation value for Electricity Generation in PDD | 306566 | 548 | 460268.9534
Vintage 2022 Emission Reductions |  |  | t CO2-eq
Total Emission Reductions for the Third Period |  |  | t CO2-eq |  |  |  | Actual value for Emission Reduction | 272893
[7 empty] | Actual value for Electricity Generation | 486876.207
Baseline Emissions (BE)
[7 empty] | The diffrence comparison for Emission Reduction | 5.782%
Table of values according to EPIAS (values in kWh) | [6 empty] | The diffrence comparison for Electricity Generation | 5.781%
Month | (A) Electricity supplied to the grid [kWh] | (B) Electricity consumption from the grid [kWh] | (C) = (A) - (B) EG (ID 8) Net electricity supplied to the grid [kWh] | EF [tCO2/MWh] | Baseline emission: BR = EG * EF) [t CO2-eq] |  | For A-OSOS (teias protocol) Electricity Supplied Amount (kWh) | For B-OSOS Electricity Consumption Amount (kWh) | (A) için OSOS (tutanak) ile EPIAS farkı | (B) için OSOS (Tutanak) ile EPIAS farkı | İletim Hattı Kaybı (Transmission Lost)*
October 2022 | 35876974 | 20543 | 35856431 | 0.5605 | 20097.5296 |  | 35876950 | 20550 | 24 | -7
November 2022 | 30981523 | 24804 | 30956719 | 0.5605 | 17351.241 |  | 30981530 | 24810 | -7 | -6
Decamber 2022 | 25734120 | 50894 | 25683226 | 0.5605 | 14395.4482 |  | 25734130 | 50890 | -10 | 4
January 2023 | 26522877 | 45353 | 26477524 | 0.5605 | 14840.6522 |  | 26522890 | 45350 | -13 | 3
February 2023 | 23132284 | 40601 | 23091683 | 0.5605 | 12942.8883 |  | 23132270 | 40600 | 14 | 1
March 2023 | 26707192 | 56874 | 26650318 | 0.5605 | 14937.5032 |  | 26707180 | 56880 | 12 | -6
April 2023 | 16326631 | 80508 | 16246123 | 0.5605 | 9105.9519 |  | 16326650 | 80510 | -19 | -2
May 2023 | 23071912 | 48395 | 23023517 | 0.5605 | 12904.6813 |  | 23071900 | 48390 | 12 | 5
June 2023 | 19728204 | 28881 | 19699323 | 0.5605 | 11041.4705 |  | 19727940 | 28870 | 264 | 11
July 2023 | 22418713 | 62571 | 22356142 | 0.5605 | 12530.6176 |  | 22418700 | 62570 | 13 | 1
August 2023 | 38794216 | 37150 | 38757066 | 0.5605 | 21723.3355 |  | 38794240 | 37150 | -24 | 0
September 2023 | 39765234 | 32803 | 39732431 | 0.5605 | 22270.0276 |  | 39765230 | 32800 | 4 | 3
October 2023 | 23061880 | 66238 | 22995642 | 0.5605 | 12889.0573 |  | 23061860 | 66240 | 20 | -2
November 2023 | 28702378 | 32109 | 28670269 | 0.5605 | 16069.6858 |  | 28702370 | 32110 | 8 | -1
December 2023 | 28762937 | 38312 | 28724625 | 0.5605 | 16100.1523 |  | 28762960 | 38310 | -23 | 2
January 2024 | 38451580 | 23741 | 38427839 | 0.5605 | 21538.8038 |  | 38451560 | 23740 | 20 | 1
February 2024 | 26068255 | 67664 | 26000591 | 0.5605 | 14573.3313 |  | 26068280 | 67670 | -25 | -6
March 2024 | 13620840 | 94102 | 13526738 | 0.5605 | 7581.7366 |  | 13620840 | 94100 | 0 | 2
Rounded Value
Sum (01/10/2022 - 31/12/2022) | 92592617 | 96241 | 92496376 | 0.5605 | 51844.2187 | 51844
Sum (01/01/2023- 31/12/2023) | 316994458 | 569795 | 316424663 | 0.5605 | 177356.0236 | 177356
Sum (01/01/2024- 31/03/2024) | 78140675 | 185507 | 77955168 | 0.5605 | 43693.8717 | 43693
Sum (01/10/2022 - 31/03/2024) | 487727750 | 851543 | 486876207 | 0.5605 | 272894.114 | 272893
Project Emissions (PE)
Project emissions are negligable. In accordance to the registered PDD and applicable methodology ACM0002 Version 18.1., no project emissions are to be accounted by the Project.
Leakege (L)
No leakage is to be accounted by the Project. This is in line with the registered PDD and applicable methodology ACM0002 Version 18.1.
Emission Reductions (ER)
Month | Baseline emission: | Project emission: | Leakge: | Emission Reductions:
(ER=BE-PE-L)
| [t CO2-eq] | [t CO2-eq] | [t CO2-eq] | [t CO2-eq]
October 2022 | 20097.5296 | 0 | 0 | 20097.5296
November 2022 | 17351.241 | 0 | 0 | 17351.241
Decamber 2022 | 14395.4482 | 0 | 0 | 14395.4482
January 2023 | 14840.6522 | 0 | 0 | 14840.6522
February 2023 | 12942.8883 | 0 | 0 | 12942.8883
March 2023 | 14937.5032 | 0 | 0 | 14937.5032
April 2023 | 9105.9519 | 0 | 0 | 9105.9519
May 2023 | 12904.6813 | 0 | 0 | 12904.6813
June 2023 | 11041.4705 | 0 | 0 | 11041.4705
July 2023 | 12530.6176 | 0 | 0 | 12530.6176
August 2023 | 21723.3355 | 0 | 0 | 21723.3355
September 2023 | 22270.0276 | 0 | 0 | 22270.0276
October 2023 | 12889.0573 | 0 | 0 | 12889.0573
November 2023 | 16069.6858 | 0 | 0 | 16069.6858
Decamber 2023 | 16100.1523 | 0 | 0 | 16100.1523
January 2024 | 21538.8038 | 0 | 0 | 21538.8038
February 2024 | 14573.3313 | 0 | 0 | 14573.3313
March 2024 | 7581.7366 | 0 | 0 | 7581.7366
|  | 0 |  |  | Rounded Value
Sum (01/10/2022 - 31/12/2022) | 51844.2187 | 0 | 0 | 51844.2187 | 51844
Sum (01/01/2023- 31/12/2023) | 177356.0236 | 0 | 0 | 177356.0236 | 177356
Sum (01/01/2024- 31/03/2024) | 43693.8717 | 0 | 0 | 43693.8717 | 43693
Sum (01/10/2022 - 31/03/2024) | 272894.114 | 0 | 0 | 272894.114 | 272893