## Emission Reduction
Project Title: Solar and Wind Power Project by NTPC Limited
Version: 04
Date: 17/05/2024
Month | Net Generation (MWh) | Emission Factor (tCO2/MWh) | Baseline emissions (tCO2 e) | Project emissions (tCO2 e) | Leakage (tCO2 e) | Emission Reduction (tCO2 e) | Vintage | Generation | Emission Reductions*
[7 empty] | 2022 | 987915.6757 | 953635
2022-01-01 | 79499.063 | 0.9653 | 76740.4455 | 0 | 0 | 76740.4455 | Total | 987915.6757 | 953635
2022-02-01 | 85147.6077 | 0.9653 | 82192.9857 | 0 | 0 | 82192.9857
2022-03-01 | 94610.9578 | 0.9653 | 91327.9576 | 0 | 0 | 91327.9576 | * rounded down values
2022-04-01 | 91581.7117 | 0.9653 | 88403.8263 | 0 | 0 | 88403.8263
2022-05-01 | 98620.7697 | 0.9653 | 95198.629 | 0 | 0 | 95198.629
2022-06-01 | 85430.3653 | 0.9653 | 82465.9316 | 0 | 0 | 82465.9316
2022-07-01 | 71949.1373 | 0.9653 | 69452.5022 | 0 | 0 | 69452.5022
2022-08-01 | 71299.583 | 0.9653 | 68825.4875 | 0 | 0 | 68825.4875
2022-09-01 | 75866.26 | 0.9653 | 73233.7008 | 0 | 0 | 73233.7008
2022-10-01 | 81834.3629 | 0.9653 | 78994.7105 | 0 | 0 | 78994.7105
2022-11-01 | 74153.5471 | 0.9653 | 71580.419 | 0 | 0 | 71580.419
2022-12-01 | 77922.3103 | 0.9653 | 75218.4061 | 0 | 0 | 75218.4061
Total | 987915.6757 | 0 | 953635 | 0 | 0 | 953635
Project wise
Month | Net Generation (MWh) | Emission Factor (tCO2/MWh) | Baseline emissions (tCO2 e) | Project emissions (tCO2 e) | Leakage (tCO2 e) | Emission Reduction (tCO2 e)
Project 1 | 74822.4476 | 0.9653 | 72226.1087 | 0 | 0 | 72226.1087
Project 2 | 431144.88 | 0.9653 | 416184.1527 | 0 | 0 | 416184.1527
Project 3 | 381807.584 | 0.9653 | 368558.8608 | 0 | 0 | 368558.8608
Project 4 | 100140.7641 | 0.9653 | 96665.8796 | 0 | 0 | 96665.8796
[5 empty] | Total | 953635

## 50MW_AP
50 MW Solar power project by NTPC Limited at Anantapur, Andhra Pradesh - Project 1
Monitoring month | Export energy export (kWh) | Export energy after adjust (kWh) | Import energy export (kWh) | Import energy export after adjust(kWh) | Net energy export (MWh) | Net energy export adjusted (MWh) | Export energy export (kWh) | Export energy after adjust (kWh) | Import energy export (kWh) | Import energy export after adjust(kWh) | Net energy export (MWh) | Net energy export adjusted (MWh) | TotalNet energy export (MWh) | Total energy export after Calibration (MWh)
| 1A | [5 empty] | 1 B
2022-01-01 | 3534494.1 | 3527425.1118 | 22547.4 | 22592.4948 | 3511.9467 | 3504.8326 | 3247036.7 | 3240542.6266 | 19371.5 | 19410.243 | 3227.6652 | 3221.1324 | 6739.6119 | 6725.965
2022-02-01 | 4934005.5 | 4924137.489 | 24866.7 | 24916.4334 | 4909.1388 | 4899.2211 | 2300471.7 | 2295870.7566 | 12469.2 | 12494.1384 | 2288.0025 | 2283.3766 | 7197.1413 | 7182.5977
2022-03-01 | 4155907.1 | 4147595.2858 | 23619.9 | 23667.1398 | 4132.2872 | 4123.9281 | 3046663.5 | 3040570.173 | 16434.6 | 16467.4692 | 3030.2289 | 3024.1027 | 7162.5161 | 7148.0308
2022-04-01 | 3739190.2 | 3731711.8196 | 20477.2 | 20518.1544 | 3718.713 | 3711.1937 | 3410608.9 | 3403787.6822 | 17441.8 | 17476.6836 | 3393.1671 | 3386.311 | 7111.8801 | 7097.5047
2022-05-01 | 3318307.4 | 3311670.7852 | 20684.8 | 20726.1696 | 3297.6226 | 3290.9446 | 3028388.3 | 3022331.5234 | 17586.3 | 17621.4726 | 3010.802 | 3004.7101 | 6308.4246 | 6295.6547
2022-06-01 | 3436239.9 | 3429367.4202 | 18674.3 | 18711.6486 | 3417.5656 | 3410.6558 | 3153862.6 | 3147554.8748 | 16963.4 | 16997.3268 | 3136.8992 | 3130.5575 | 6554.4648 | 6541.2133
2022-07-01 | 2895588.8 | 2889797.6224 | 20245.7 | 20286.1914 | 2875.3431 | 2869.5114 | 2653850.6 | 2648542.8988 | 17617.8 | 17653.0356 | 2636.2328 | 2630.8899 | 5511.5759 | 5500.4013
2022-08-01 | 3184195.6 | 3177827.2088 | 20226.7 | 20267.1534 | 3163.9689 | 3157.5601 | 2893984.2 | 2888196.2316 | 17639 | 17674.278 | 2876.3452 | 2870.522 | 6040.3141 | 6028.082
2022-09-01 | 3130029.78 | 3123769.7204 | 19869.3 | 19909.0386 | 3110.1605 | 3103.8607 | 2872329.2 | 2866584.5416 | 17508.2 | 17543.2164 | 2854.821 | 2849.0413 | 5964.9815 | 5952.902
2022-10-01 | 3093942.32 | 3087754.4354 | 21816.3 | 21859.9326 | 3072.126 | 3065.8945 | 2844207.2 | 2838518.7856 | 19455.5 | 19494.411 | 2824.7517 | 2819.0244 | 5896.8777 | 5884.9189
2022-11-01 | 2615891.1 | 2610659.3178 | 21994.6 | 22038.5892 | 2593.8965 | 2588.6207 | 2402840.6 | 2398034.9188 | 19804.5 | 19844.109 | 2383.0361 | 2378.1908 | 4976.9326 | 4966.8115
2022-12-01 | 2905514.3 | 2899703.2714 | 22205.6 | 22250.0112 | 2883.3087 | 2877.4533 | 2646659 | 2641365.682 | 20412.4 | 20453.2248 | 2626.2466 | 2620.9125 | 5509.5553 | 5498.3657
Total | 40943306.1 |  | 257228.5 |  | 40686.0776 | 40603.6765 | 34500902.5 | 34431900.695 | 212704.2 | 213129.6084 | 34288.1983 | 34218.7711 | 74974.2759 | 74822.4476

## 260MW_RJ
260 MW Solar power project by NTPC Limited at Bhadla, Rajasthan - Project 2
SI.No. | Month | Block- P4, Jakson (65MWp) | [6 empty] | Block- P5, Vikram (65MWp) | [6 empty] | Block- P6, Vikram (65MWp) | [6 empty] | Block- P7, Tata (65MWp) | [6 empty] | Net Generation (kWh) | Net Generation (MWh)
|  | Export |  |  | Import |  |  | Net Export (kWh) | Export |  |  | Import |  |  | Net Export (kWh) | Export |  |  | Import |  |  | Net Export (kWh) | Export |  |  | Import |  |  | Net Export (kWh)
|  | Starting Reading | End Reading | Export (kWh) | Starting Reading | End Reading | Import (kWh) |  | Starting Reading | End Reading | Export (kWh) | Starting Reading | End Reading | Import (kWh) |  | Starting Reading | End Reading | Export (kWh) | Starting Reading | End Reading | Import (kWh) |  | Starting Reading | End Reading | Export (kWh) | Starting Reading | End Reading | Import (kWh)
1 | 2022-01-01 | 866025.6 | 879825.3 | 8279820 | 6417 | 6545.6 | 77160 | 8202660 | 899629.8 | 913296.8 | 8200200 | 5975.7 | 6062.7 | 52200 | 8148000 | 789559.2 | 802879.8 | 7992360 | 4726.1 | 4821.1 | 57000 | 7935360 | 904688.7 | 919169.5 | 8688480 | 4621.5 | 4703.4 | 49140 | 8639340 | 32925360 | 32925.36
2 | 2022-02-01 | 879825.3 | 895183.5 | 9214920 | 6545.6 | 6650.5 | 62940 | 9151980 | 913296.8 | 928464.8 | 9100800 | 6062.7 | 6135.5 | 43680 | 9057120 | 802879.8 | 817565.5 | 8811420 | 4821.1 | 4898.1 | 46200 | 8765220 | 919169.5 | 935135.7 | 9579720 | 4703.4 | 4770.7 | 40380 | 9539340 | 36513660 | 36513.66
3 | 2022-03-01 | 895183.5 | 912286.3 | 10261680 | 6650.5 | 6757.1 | 63960 | 10197720 | 928464.8 | 945292.1 | 10096380 | 6135.5 | 6214.8 | 47580 | 10048800 | 817565.5 | 833876.2 | 9786420 | 4898.1 | 4982 | 50340 | 9736080 | 935135.7 | 952867.3 | 10621860 | 4770.7 | 4872.3 | 44700 | 10577160 | 40559760 | 40559.76
4 | 2022-04-01 | 912286.3 | 928397.8 | 9666900 | 6757.1 | 6848.1 | 54600 | 9612300 | 945292.1 | 961179.8 | 9532620 | 6214.8 | 6292.4 | 46560 | 9486060 | 833876.2 | 849311.2 | 9261000 | 4982 | 5065.3 | 49980 | 9211020 | 952867.3 | 969419.6 | 9931380 | 4872.3 | 4944.3 | 43200 | 9888180 | 38197560 | 38197.56
5 | 2022-05-01 | 928397.8 | 944428.1 | 9618180 | 6848.1 | 6937.1 | 53400 | 9564780 | 961179.8 | 977335 | 9693120 | 6292.4 | 6366.1 | 44220 | 9648900 | 849311.2 | 864611.4 | 9180120 | 5065.3 | 5143.3 | 46800 | 9133320 | 969419.6 | 985246.6 | 9496200 | 4944.3 | 5009.8 | 39300 | 9456900 | 37803900 | 37803.9
6 | 2022-06-01 | 944428.1 | 959719.8 | 9175020 | 6937.1 | 7022.8 | 51420 | 9123600 | 977335 | 992877.1 | 9325260 | 6366.1 | 6439.3 | 43920 | 9281340 | 864611.4 | 879714 | 9061560 | 5143.3 | 5219.4 | 45660 | 9015900 | 985246.6 | 1001139 | 9535440 | 5009.8 | 5069 | 35520 | 9499920 | 36920760 | 36920.76
7 | 2022-07-01 | 959719.8 | 973031.5 | 7987020 | 7022.8 | 7115 | 55320 | 7931700 | 992877.1 | 1005668.5 | 7674840 | 6439.3 | 6514.3 | 45000 | 7629840 | 879714 | 892395.4 | 7608840 | 5219.4 | 5301.3 | 49140 | 7559700 | 1001139 | 1014746.6 | 8164560 | 5069 | 5133.7 | 38820 | 8125740 | 31246980 | 31246.98
8 | 2022-08-01 | 973031.5 | 986790.7 | 8255520 | 7115 | 7211.5 | 57900 | 8197620 | 1005668.5 | 1018905.5 | 7942200 | 6514.3 | 6590.3 | 45600 | 7896600 | 892395.4 | 905637 | 7944960 | 5301.3 | 5383.8 | 49500 | 7895460 | 1014746.6 | 1029011.3 | 8558820 | 5133.7 | 5201.2 | 40500 | 8518320 | 32508000 | 32508
9 | 2022-09-01 | 986790.7 | 1002544.6 | 9452340 | 7211.5 | 7305.7 | 56520 | 9395820 | 1018905.5 | 1033904.6 | 8999460 | 6590.3 | 6663.5 | 43920 | 8955540 | 905637 | 920448.3 | 8886780 | 5383.8 | 5464.3 | 48300 | 8838480 | 1029011.3 | 1045056.2 | 9626940 | 5201.2 | 5267.1 | 39540 | 9587400 | 36777240 | 36777.24
10 | 2022-10-01 | 1002544.6 | 1018918.3 | 9824220 | 7305.7 | 7408.3 | 61560 | 9762660 | 1033904.6 | 1049810.3 | 9543420 | 6663.5 | 6742.1 | 47160 | 9496260 | 920448.3 | 936171.7 | 9434040 | 5464.3 | 5555 | 54420 | 9379620 | 1045056.2 | 1062331.8 | 10365360 | 5267.1 | 5338.4 | 42780 | 10322580 | 38961120 | 38961.12
11 | 2022-11-01 | 1018918.3 | 1032748.8 | 8298300 | 7408.3 | 7522.4 | 68460 | 8229840 | 1049810.3 | 1063769.5 | 8375520 | 6742.1 | 6823 | 48540 | 8326980 | 936171.7 | 949795 | 8173980 | 5555 | 5648.8 | 56280 | 8117700 | 1062331.8 | 1077276.2 | 8966640 | 5338.4 | 5414.6 | 45720 | 8920920 | 33595440 | 33595.44
12 | 2022-12-01 | 1032748.8 | 1047204.6 | 8645640 | 7522.4 | 7672.4 | 73740 | 8571900 | 1063769.5 | 1078340.2 | 8726340 | 6823 | 6933.4 | 48420 | 8677920 | 949795 | 964057.6 | 8539740 | 5648.8 | 5770.2 | 56760 | 8482980 | 1077276.2 | 1093025.3 | 9449460 | 5414.6 | 5493.2 | 47160 | 9402300 | 35135100 | 35135.1
Total | [7 empty] | 107942580 | [6 empty] | 106653360 | [6 empty] | 104070840 | [6 empty] | 112478100 | 431144880 | 431144.88

## 250MW_MP
250 MW Solar power project by NTPC Limited at Mandsaur, Madhya Pradesh - Project 3
SI.No. | Months | Sub-Station meter - 1 | [9 empty] | Sub-Station meter - 2 | [9 empty] | Net Gneration (kWh) | Net Gneration (MWh) | Net Gneration adjusted (MWh)
|  | Export |  |  |  | Import |  |  |  | Net Export (kWh) | Net energy export adjusted (kWh) | Export |  |  |  | Import |  |  |  | Net Export (kWh) | Net energy export adjusted (kWh)
|  | Starting Reading | End Reading | Export (kWh) | Adjusted Export (kWh) | Starting Reading | End Reading | Import (kWh) | Adjusted import (kWh) |  |  | Starting Reading | End Reading | Export (kWh) | Adjusted Export (kWh) | Starting Reading | End Reading | Import (kWh) | Adjusted import (kWh)
1 | 2022-01-01 | 686.8 | 696.9 | 16160000 | 16160000 | 8.43 | 8.52 | 144000 | 144000 | 16016000 | 16016000 | 357.93 | 368.02 | 16144000 | 16144000 | 1.09 | 1.19 | 160000 | 160000 | 15984000 | 15984000 | 32000000 | 32000 | 32000
2 | 2022-02-01 | 696.9 | 708.07 | 17872000 | 17872000 | 8.52 | 8.59 | 112000 | 112000 | 17760000 | 17760000 | 368.02 | 379.16 | 17824000 | 17824000 | 1.19 | 1.27 | 128000 | 128000 | 17696000 | 17696000 | 35456000 | 35456 | 35456
3 | 2022-03-01 | 708.07 | 720.02 | 19120000 | 19081760 | 8.59 | 8.68 | 144000 | 144288 | 18976000 | 18937472 | 379.16 | 391.12 | 19136000 | 19097728 | 1.27 | 1.36 | 144000 | 144288 | 18992000 | 18953440 | 37968000 | 37968 | 37890.912
4 | 2022-04-01 | 720.02 | 731.44 | 18272000 | 18235456 | 8.68 | 8.75 | 112000 | 112224 | 18160000 | 18123232 | 391.12 | 402.51 | 18224000 | 18187552 | 1.36 | 1.44 | 128000 | 128256 | 18096000 | 18059296 | 36256000 | 36256 | 36182.528
5 | 2022-05-01 | 731.44 | 743.45 | 19216000 | 19177568 | 8.75 | 8.83 | 128000 | 128256 | 19088000 | 19049312 | 402.51 | 414.49 | 19168000 | 19129664 | 1.44 | 1.51 | 112000 | 112224 | 19056000 | 19017440 | 38144000 | 38144 | 38066.752
6 | 2022-06-01 | 743.45 | 753.58 | 16208000 | 16175584 | 8.83 | 8.9 | 112000 | 112224 | 16096000 | 16063360 | 414.49 | 424.6 | 16176000 | 16143648 | 1.51 | 1.59 | 128000 | 128256 | 16048000 | 16015392 | 32144000 | 32144 | 32078.752
7 | 2022-07-01 | 753.58 | 760.84 | 11616000 | 11592768 | 8.9 | 8.98 | 128000 | 128256 | 11488000 | 11464512 | 424.6 | 431.83 | 11568000 | 11544864 | 1.59 | 1.67 | 128000 | 128256 | 11440000 | 11416608 | 22928000 | 22928 | 22881.12
8 | 2022-08-01 | 760.84 | 768.47 | 12208000 | 12183584 | 8.98 | 9.05 | 112000 | 112224 | 12096000 | 12071360 | 431.83 | 439.55 | 12352000 | 12327296 | 1.67 | 1.75 | 128000 | 128256 | 12224000 | 12199040 | 24320000 | 24320 | 24270.4
9 | 2022-09-01 | 768.47 | 777.33 | 14176000 | 14147648 | 9.05 | 9.13 | 128000 | 128256 | 14048000 | 14019392 | 439.55 | 448.28 | 13968000 | 13940064 | 1.75 | 1.83 | 128000 | 128256 | 13840000 | 13811808 | 27888000 | 27888 | 27831.2
10 | 2022-10-01 | 777.33 | 787.87 | 16864000 | 16830272 | 9.13 | 9.22 | 144000 | 144288 | 16720000 | 16685984 | 448.28 | 458.62 | 16544000 | 16510912 | 1.83 | 1.92 | 144000 | 144288 | 16400000 | 16366624 | 33120000 | 33120 | 33052.608
11 | 2022-11-01 | 787.87 | 798.13 | 16416000 | 16383168 | 9.22 | 9.3 | 128000 | 128256 | 16288000 | 16254912 | 458.62 | 468.39 | 15632000 | 15600736 | 1.92 | 2.01 | 144000 | 144288 | 15488000 | 15456448 | 31776000 | 31776 | 31711.36
12 | 2022-12-01 | 798.13 | 807.74 | 15376000 | 15345248 | 9.3 | 9.39 | 144000 | 144288 | 15232000 | 15200960 | 468.39 | 477.99 | 15360000 | 15329280 | 2.01 | 2.1 | 144000 | 144288 | 15216000 | 15184992 | 30448000 | 30448 | 30385.952
Total | [9 empty] | 191968000 | 191646496 | [8 empty] | 190480000 | 190161088 | 382448000 | 382448 | 381807.584

## 50MW_GJ
SI.No. | Months | 50 MW Wind project ny NTPC Limited at Rojmal, Gujarat - Project 4
|  | Net Energy (kWh) - JMR | Net Export (kWh) | Net Export (MWh) | Total energy export after Calibration (MWh)
1 | 2022-01-01 | 7847738 | 7847738 | 7847.738 | 7847.738
2 | 2022-02-01 | 5995350 | 5995350 | 5995.35 | 5995.35
3 | 2022-03-01 | 9012255 | 9012255 | 9012.255 | 9012.255
4 | 2022-04-01 | 10104119 | 10104119 | 10104.119 | 10104.119
5 | 2022-05-01 | 16454463 | 16454463 | 16454.463 | 16454.463
6 | 2022-06-01 | 9889640 | 9889640 | 9889.64 | 9889.64
7 | 2022-07-01 | 12320636 | 12320636 | 12320.636 | 12320.636
8 | 2022-08-01 | 8493101 | 8493101 | 8493.101 | 8493.101
9 | 2022-09-01 | 5304918 | 5304918 | 5304.918 | 5304.918
10 | 2022-10-01 | 3935716 | 3935716 | 3935.716 | 3935.716
11 | 2022-11-01 | 3887711 | 3887711 | 3887.711 | 3879.9356
12 | 2022-12-01 | 6916726 | 6916726 | 6916.726 | 6902.8925
Total |  | 100162373 | 100162373 | 100162.373 | 100140.7641

## Total
SI.No. | Months | Project 1- 50MW_AP(MWh) | Project 2 - 260MW_RJ(MWh) | Project 3 - 250MW_MP(MWh) | Project 4 - 50MW_GJ(MWh) | Total (MWh)
1 | 2022-01-01 | 6725.965 | 32925.36 | 32000 | 7847.738 | 79499.063
2 | 2022-02-01 | 7182.5977 | 36513.66 | 35456 | 5995.35 | 85147.6077
3 | 2022-03-01 | 7148.0308 | 40559.76 | 37890.912 | 9012.255 | 94610.9578
4 | 2022-04-01 | 7097.5047 | 38197.56 | 36182.528 | 10104.119 | 91581.7117
5 | 2022-05-01 | 6295.6547 | 37803.9 | 38066.752 | 16454.463 | 98620.7697
6 | 2022-06-01 | 6541.2133 | 36920.76 | 32078.752 | 9889.64 | 85430.3653
7 | 2022-07-01 | 5500.4013 | 31246.98 | 22881.12 | 12320.636 | 71949.1373
8 | 2022-08-01 | 6028.082 | 32508 | 24270.4 | 8493.101 | 71299.583
9 | 2022-09-01 | 5952.902 | 36777.24 | 27831.2 | 5304.918 | 75866.26
10 | 2022-10-01 | 5884.9189 | 38961.12 | 33052.608 | 3935.716 | 81834.3629
11 | 2022-11-01 | 4966.8115 | 33595.44 | 31711.36 | 3879.9356 | 74153.5471
12 | 2022-12-01 | 5498.3657 | 35135.1 | 30385.952 | 6902.8925 | 77922.3103
Total |  | 74822.4476 | 431144.88 | 381807.584 | 100140.7641 | 987915.6757

## Comparison
Comparison of Estimated ER and actuals
| Project 1 | Project 2 | Project 3 | Project 4
Start date of monitoring period | 2022-01-01 | 2022-01-01 | 2022-01-01 | 2022-01-01
End date of Monitoring period | 2022-12-31 | 2022-12-31 | 2022-12-31 | 2022-12-31
Actual Emission Reductions (tCO2e) | 72226.1087 | 416184.1527 | 368558.8608 | 96665.8796
Estimated emission reductions for the current monitoring period | 940891
Actual emission reductions | 953635.0018
Difference in Emission reductions | 1.336%