## Emission Factors
Factor | (tCO2/MWh) | Reference:
OM | 0.7258 | https://enerji.gov.tr/Media/Dizin/BHIM/tr/Duyurular//Bilgi_Formu_Web_Sitesi_2019_202110071443.pdf
BM | 0.4153
CM | 0.6482

## Monitoring Plan
Calculation of Emission Reduction of Soma WPP
[6 empty] | Generation During Total Crediting Period |  | Crediting years
Annual Electricity Generation: |  |  |  | 307500 | MWh/year | 2152500 | MWh | 7
Year |  | Days | Estimation of project activity emissions (tonnes of CO2e) | Estimation of baseline emissions (tonnes of CO2e) | Estimation of leakage (tonnes of CO2e) | Estimation of overall emission reductions (tonnes of CO2e)
2017-08-13 | 2017-12-31 | 141 | 0 | 76997.9753 | 0 | 76997.9753 |  |  | Year |  | Days | Generated Electricity by PA (MWh)
2018 |  | 365 | 0 | 199321 | 0 | 199321
2019 |  | 365 | 0 | 199321 | 0 | 199321
2020 |  | 365 | 0 | 199321 | 0 | 199321 |  |  | 2017-08-13 | 2017-12-31 | 141 | 118787.6712
2021 |  | 365 | 0 | 199321 | 0 | 199321 |  |  | 2018 |  | 365 | 307500
2022-07-04 | 2022-12-31 | 181 | 0 | 98841.3726 | 0 | 98841.3726 |  |  | 2019 |  | 365 | 307500
2023 |  | 365 | 0 | 199321 | 0 | 199321 |  |  | 2020 |  | 365 | 307500
2024-01-01 | 2024-08-12 | 225 | 0 | 122869.1096 | 0 | 122869.1096 |  |  | 2021 |  | 365 | 307500
Total (tonnes of CO2e) |  | 771 | 0 | 421031.4822 | 0 | 421031.4822 |  |  | 2022-07-04 | 2022-12-31 | 181 | 152486.3014
[9 empty] | 2023 |  | 365 | 307500
[9 empty] | 2024-01-01 | 2024-08-12 | 225 | 189554.7945
GS4GG MONITORING PLAN, TABLE NO: 1 | [8 empty] | Total (MWh) |  | 771 | 649541.0959
Calculation of Reduction of CO and NMVOC Emission Amounts for Air Quality Indicator of Sustainable Development Matrix
Emissions | Emission Amount due to Electricity Generation in 2019* (tons) | Net Electricity Generation in 2019 (1) (GWh) | Emission per GWh (tons/GWh) | Net Annual Electricity Generation of Project Activity (GWh/y) | Avoided Emission Amount by Project Activity per year (tons/y) |  |  |  | Year |  | Days | Avoided CO Emissions by PA (tons) | Avoided NMVOC Emissions by PA (tons) | Avoided NOx Emissions by PA (tons)
CO* | 29700 | 303897.5 | 0.09773 | 307.5 | 30.0521
NMVOC** | 2860 |  | 0.0094111 |  | 2.8939
NOx*** | 344810 |  | 1.1346 |  | 348.8975 |  |  |  | 2017-08-13 | 2017-12-31 | 141 | 11.6092 | 1.1179 | 134.7796
* For CO: | https://unfccc.int/documents/271541 | [7 empty] | 2018 |  | 365 | 30.0521 | 2.8939 | 348.8975
** For NMVOC | https://unfccc.int/documents/271541 | [7 empty] | 2019 |  | 365 | 30.0521 | 2.8939 | 348.8975
*** For NOx | https://unfccc.int/documents/271541 | [7 empty] | 2020 |  | 365 | 30.0521 | 2.8939 | 348.8975
(1)For Electricity Generation: |  | https://webapi.teias.gov.tr/file/353c7742-77c6-426b-97fc-6220788257e6?download | [6 empty] | 2021 |  | 365 | 30.0521 | 2.8939 | 348.8975
[9 empty] | 2022-07-04 | 2022-12-31 | 181 | 14.9025 | 1.4351 | 173.0149
GS4GG MONITORING PLAN, TABLE NO: 2 | [8 empty] | 2023 |  | 365 | 30.0521 | 2.8939 | 348.8975
[9 empty] | 2024-01-01 | 2024-08-12 | 225 | 18.5253 | 1.7839 | 215.0738
Calculation of Avoidance of Wastewater Discharge Amount for Water Quality and Quantity Indicator of Sustainable Development Matrix | [8 empty] | Total (tons) |  | 771 | 63.4799 | 6.1129 | 736.9862
Total Waste Water Discharged by Thermal Power Plants in 2020 (x1000 m3) (1) | Total Electricty Generation in 2020(GWh) (2) | Average Amount of Waste Water Discharged per each GWh Electricity Generation in 2020 (x1000 m3/GWh) | Annual Electricity Generation of Project Activity (GWh/y) | Amount of Avoided Wastewater Discharge per year by Project Activity (x1000 m3/y) | Amount of Avoided Wastewater Discharge by Project Activity per year (x1000 m3/y) (2) | Net Amount of Avoided Wastewater Discharge by Project Activity per year (x1000 m3/y)
7986526.188 | 306703.1 | 26.0399 | 307.5 | 8007.2774 | 1.0348 | 8006.2426 |  |  |  |  | Year |  | Days | Avoided Wastewater Discharge by PA (x1000m3)
(1) For Wastewater discharged: | https://data.tuik.gov.tr/Bulten/Index?p=Su-ve-Atiksu-Istatistikleri-2020-37197
(2)For Electricity Generation: |  | https://webapi.teias.gov.tr/file/56774b2a-087b-4431-9479-29f1cb5d0d87?download | [8 empty] | 2017-08-13 | 2017-12-31 | 141 | 3092.8225
(3) Water will be used only for daily consumption. 15 workers will be employed during operation. Daily water usage per worker is 0,189 m3 | [6 empty] | https://data.tuik.gov.tr/Bulten/Index?p=Su-ve-Atiksu-Istatistikleri-2020-37197 |  |  |  | 2018 |  | 365 | 8006.2426
Hence total wastewater production in power plant per year becomes: 15*0,189*365= 1035 m3/year | [10 empty] | 2019 |  | 365 | 8006.2426
[11 empty] | 2020 |  | 365 | 8006.2426 | "
[11 empty] | 2021 |  | 365 | 8006.2426
[11 empty] | 2022-07-04 | 2022-12-31 | 181 | 3970.2189
[11 empty] | 2023 |  | 365 | 8006.2426
[11 empty] | 2024-01-01 | 2024-08-12 | 225 | 4935.355
[11 empty] | Total (x1000 m3) |  | 771 | 16911.8166
Note on B9: The period between 13/08/2017 and 3/07/2022 wont be certifiable (both days included)