## ER Summary
Methedology Used: AMS.I.D Version 18.0; ACM0002 Version 16.0; AMS.I.F Version 03.0
Monitoring Period | From | To | Number of days for the current monitoring period
| 2022-09-01 | 2023-10-31 | 426
Net electricity supplied EGPJ,y (MWh) Bhadla | 43290.4512 |  | Name of SPVs | Project Location | Site | Capacity (MW) | Total VCUs
Net Electricity Supplied EGPJ,y (MWh)Achempet | 8868.39 |  | Essel Mining & Industries Limited | Rajasthan | Bhadla | 20 | 42294.7708
Net Electricity Supplied EGPJ,y (MWh) Kalwakurthy | 18687.875 |  |  | Telangana | Achempet | 5 | 8706.0985
Net Electricity Supplied EGPJ,y (MWh) Salakpur | 17378.9 |  |  | Telangana | Kalwakurthy | 10 | 18345.8869
Net Electricity Supplied EGPJ,y (MWh) Alladurg | 17921.8706 |  |  | Telangana | Salakpur | 10 | 17060.8661
Net Electricity Supplied EGPJ,y (MWh) Karnataka | 147044.278 |  |  | Telangana | Alladurg | 10 | 17593.9003
Net Electricity Supplied EGPJ,y (MWh) Bijapur | 14111.143 |  | Aditya Birla Solar Limited | Karnataka | Mulbagal | 20 | 144353.3677
Net Electricity Supplied EGBL,y (MWh) Hotagi | 1665.4442 |  |  | Karnataka | Ramadurg | 20
Net Electricity Supplied EGBL,y (MWh) Gotan | 10684.08 |  |  | Karnataka | Shrihatti | 20
Net Electricity Supplied EGBL,y(MWh) Sevagram | 9645.3372 |  |  | Karnataka | Vijayapura | 17
Net Electricity Supplied EGBL,y (MWh) Pune | 1497.198 |  | Aditya Birla Renewables SPV 1 Limited | Karnataka | Vijayapura | 6.8 | 13852.9091
Total Net Electricity Supplied EGBL,y and EGPJ,y (MWh) | 290794.9672 |  |  | Maharashtra | Hotgi | 0.8 | 1627.139
|  |  |  | Rajasthan | Gotan | 5 | 10438.3462
Net electricity supplied EGPJ,y (MWh) for Instance 1 to Instance 7 | 267302.9078 |  |  | Gujarat | Sewagram | 5 | 9423.4944
Net electricity supplied EGBL,y (MWh) for Instance 8 to Instance 11 | 23492.0594 |  |  | Maharashtra | Pune | 0.8 | 1462.7624
Total Net Electricity Supplied (MWh) | 290794.9672 |  | Total |  |  | 150.4 | 285159.5415
[5 empty] | Estimated tCO2e/annum | Estimated VCUs For the Monitoring Duration | % Change
|  |  | Total Project Capacity (MW) | 150.94 | 247123 | 288423.0082 | -1.131%
|  |  | Vintage | Emission reduction (tCO2e) | Net generation (MWH)
|  |  | 2022 | 77710 | 79249.9092
|  |  | 2023 | 207448 | 211545.058
|  |  | Total | 285158 | 290794.9672

## 1_Bhadla
Month | Duration |  | As per JMR |  |  | As per Invoice |  |  | Net Electricity Generated (MWh) | Emission Factor | Emission Reductions
|  |  | Export (KWh) | Import (KWh) | Net Electricity (KWh) | Export (KWh) | Import (KWh) | Net Electricity (KWh)
| From | To
2022-09-01 | 2022-09-01 | 2022-09-30 | 3268022.4 | 14013.6 | 3254008.8 | 3268022.4 | 14013.6 | 3254008.8 | 3254.0088 | 0.977 | 3179.1666
2022-10-01 | 2022-10-01 | 2022-10-31 | 3346680 | 14973.6 | 3331706.4 | 3347870.4 | 15818.4 | 3332052 | 3331.7064 | 0.977 | 3255.0772
2022-11-01 | 2022-11-01 | 2022-11-30 | 2890248 | 14935.2 | 2875312.8 | 2890248 | 14935.2 | 2875312.8 | 2875.3128 | 0.977 | 2809.1806
2022-12-01 | 2022-12-01 | 2022-12-31 | 3000816 | 16425.6 | 2984390.4 | 3000816 | 16425.6 | 2984390.4 | 2984.3904 | 0.977 | 2915.7494
2023-01-01 | 2023-01-01 | 2023-01-31 | 2966232 | 16497.6 | 2949734.4 | 2966232 | 16497.6 | 2949734.4 | 2949.7344 | 0.977 | 2881.8905
2023-02-01 | 2023-02-01 | 2023-02-28 | 2990258.4 | 13576.8 | 2976681.6 | 2990258.4 | 13576.8 | 2976681.6 | 2976.6816 | 0.977 | 2908.2179
2023-03-01 | 2023-03-01 | 2023-03-31 | 3194889.6 | 14736 | 3180153.6 | 3194889.6 | 14736 | 3180153.6 | 3180.1536 | 0.977 | 3107.0101
2023-04-01 | 2023-04-01 | 2023-04-30 | 3256543.2 | 13593.6 | 3242949.6 | 3256543.2 | 13593.6 | 3242949.6 | 3242.9496 | 0.977 | 3168.3618
2023-05-01 | 2023-05-01 | 2023-05-31 | 3371668.8 | 13346.4 | 3358322.4 | 3371668.8 | 13346.4 | 3358322.4 | 3358.3224 | 0.977 | 3281.081
2023-06-01 | 2023-06-01 | 2023-06-30 | 3054211.2 | 12897.6 | 3041313.6 | 3054211.2 | 12897.6 | 3041313.6 | 3041.3136 | 0.977 | 2971.3634
2023-07-01 | 2023-07-01 | 2023-07-31 | 2898240 | 13432.8 | 2884807.2 | 2898240 | 13432.8 | 2884807.2 | 2884.8072 | 0.977 | 2818.4566
2023-08-01 | 2023-08-01 | 2023-08-31 | 3121761.6 | 13804.8 | 3107956.8 | 3121761.6 | 13804.8 | 3107956.8 | 3107.9568 | 0.977 | 3036.4738
2023-09-01 | 2023-09-01 | 2023-09-30 | 3033804 | 14452.8 | 3019351.2 | 3033804 | 14452.8 | 3019351.2 | 3019.3512 | 0.977 | 2949.9061
2023-10-01 | 2023-10-01 | 2023-10-31 | 3098544 | 14781.6 | 3083762.4 | 3098544 | 14781.6 | 3083762.4 | 3083.7624 | 0.977 | 3012.8359
Total |  |  | 43491919.2 | 201468 | 43290451.2 | 43493109.6 | 202312.8 | 43290796.8 | 43290.4512 | 0.977 | 42294.7708
[6 empty] | Vintage | Generation (MWh) | Emission Reduction (tCO2e)
[6 empty] | 2022 | 12445.4184 | 12159.1738
[6 empty] | 2023 | 30845.0328 | 30135.597
[6 empty] | Total | 43290.4512 | 42294.7708

## 2_Achempet
Month | Duration |  | As per JMR |  |  | As per Invoice |  |  | Net Electricity Generated (MWh) | Emission Factor | Emission Reductions
|  |  | Export (KWh) | Import (KWh) | Net Electricity (KWh) | Export (KWh) | Import (KWh) | Net Electricity (KWh)
| From | To
2022-09-01 | 2022-09-01 | 2022-09-30 | 580210 | 6940 | 573270 | 580210 | 6940 | 573270 | 573.27 | 0.9817 | 562.7792
2022-10-01 | 2022-10-01 | 2022-10-31 | 532270 | 6770 | 525500 | 532270 | 6770 | 525500 | 525.5 | 0.9817 | 515.8834
2022-11-01 | 2022-11-01 | 2022-11-30 | 704540 | 7070 | 697470 | 704540 | 7070 | 697470 | 697.47 | 0.9817 | 684.7063
2022-12-01 | 2022-12-01 | 2022-12-31 | 558640 | 7110 | 551530 | 558640 | 7110 | 551530 | 551.53 | 0.9817 | 541.437
2023-01-01 | 2023-01-01 | 2023-01-31 | 742130 | 7200 | 734930 | 742130 | 7200 | 734930 | 734.93 | 0.9817 | 721.4808
2023-02-01 | 2023-02-01 | 2023-02-28 | 850060 | 6630 | 843430 | 850060.6 | 6630 | 843430.6 | 843.43 | 0.9817 | 827.9952
2023-03-01 | 2023-03-01 | 2023-03-31 | 335610 | 2370 | 333240 | 335610 | 2370 | 333240 | 333.24 | 0.9817 | 327.1417
2023-04-01 | 2023-04-01 | 2023-04-30 | 731190 | 5960 | 725230 | 731190 | 5960 | 725230 | 725.23 | 0.9817 | 711.9583
2023-05-01 | 2023-05-01 | 2023-06-01 | 720580 | 5910 | 714670 | 720580 | 5910 | 714670 | 714.67 | 0.9817 | 701.5915
2023-06-01 | 2023-06-01 | 2023-06-30 | 702470 | 5930 | 696540 | 702470 | 5930 | 696540 | 696.54 | 0.9817 | 683.7933
2023-07-01 | 2023-07-01 | 2023-08-01 | 488210 | 6340 | 481870 | 488210 | 6340 | 481870 | 481.87 | 0.9817 | 473.0518
2023-08-01 | 2023-08-01 | 2023-08-31 | 678600 | 6230 | 672370 | 678600 | 6230 | 672370 | 672.37 | 0.9817 | 660.0656
2023-09-01 | 2023-09-01 | 2023-10-02 | 595540 | 6820 | 588720 | 595540 | 6820 | 588720 | 588.72 | 0.9817 | 577.9464
2023-10-01 | 2023-10-01 | 2023-10-31 | 736120 | 6500 | 729620 | 736120 | 6500 | 729620 | 729.62 | 0.9817 | 716.268
Total |  |  | 8956170 | 87780 | 8868390 | 8956170.6 | 87780 | 8868390.6 | 8868.39 | 0.9817 | 8706.0985
before calibration | 2023-05-01 | 2023-05-10 | 189430 | 1840 | Date in JMR was breaked up between these two dates |  |  |  | Vintage | Generation (MWh) | Emission Reduction (tCO2e)
after calibration | 2023-05-10 | 2023-06-01 | 531150 | 4070 |  |  |  |  | 2022 | 2347.77 | 2304.8058
|  |  | 720580 | 5910 |  |  |  |  | 2023 | 6520.62 | 6401.2927
[9 empty] | Total | 8868.39 | 8706.0985

## 3_Kalwakurthy
Month | Duration |  | As per JMR |  |  | As per invoice |  |  | Net Electricity Generated (MWh) | Emission Factor | Emission Reductions
|  |  | Export (KWh) | Import (KWh) | Net Electricity (KWh) | Export (KWh) | Import (KWh) | Net Electricity (KWh)
| From | To
2022-09-01 | 2022-09-01 | 2022-10-02 | 1175890 | 10500 | 1165390 | 1175890 | 10500 | 1165390 | 1165.39 | 0.9817 | 1144.0634
2022-10-01 | 2022-10-02 | 2022-10-16 | 672630 | 4580 | 668050 | 672630 | 4580 | 668050 | 668.05 | 0.9817 | 655.8247
| 2022-10-16 | 2022-11-01 | 768430 | 5110 | 763320 | 768430 | 5110 | 763320 | 763.32 | 0.9817 | 749.3512
2022-11-01 | 2022-10-20 | 2022-11-20 | 704540 | 7070 | 697470 | 704540 | 7070 | 697470 | 697.47 | 0.9817 | 684.7063
2022-12-01 | 2022-11-20 | 2022-12-20 | 1198290 | 10020 | 1188270 | 1198290 | 10020 | 1188270 | 1188.27 | 0.9817 | 1166.5247
2023-01-01 | 2022-12-20 | 2023-01-20 | 1508010 | 10410 | 1497600 | 1508010 | 10410 | 1497600 | 1497.6 | 0.9817 | 1470.1939
2023-02-01 | 2023-01-20 | 2023-02-20 | 1655480 | 9510 | 1645970 | 1655480 | 9510 | 1645970 | 1645.97 | 0.9817 | 1615.8487
2023-03-01 | 2023-02-20 | 2023-04-01 | 2155150 | 11870 | 2143280 | 2155150 | 11870 | 2143280 | 2143.28 | 0.9817 | 2104.058
2023-04-01 | 2023-04-01 | 2023-05-01 | 1241050 | 8740 | 1232310 | 1241050 | 8740 | 1232310 | 1232.31 | 0.9817 | 1209.7587
2023-05-01 | 2023-05-01 | 2023-06-01 | 1392000 | 8690 | 1383310 | 1392000 | 8690 | 1383310 | 1383.31 | 0.9817 | 1357.9954
2023-06-01 | 2023-06-01 | 2023-07-01 | 1372960 | 8340 | 1364620 | 1372960 | 8340 | 1364620 | 1364.62 | 0.9817 | 1339.6475
2023-07-01 | 2023-07-01 | 2023-08-01 | 958190 | 9190 | 949000 | 958190 | 9190 | 949000 | 949 | 0.9817 | 931.6333
2023-08-01 | 2023-08-01 | 2023-09-01 | 1402620 | 8870 | 1402620 | 1402620 | 10095 | 1392525 | 1392.525 | 0.9817 | 1367.0418
2023-09-01 | 2023-09-01 | 2023-10-02 | 1175890 | 10500 | 1165390 | 1175890 | 10500 | 1165390 | 1165.39 | 0.9817 | 1144.0634
2023-10-01 | 2023-10-02 | 2023-11-01 | 1441060 | 9690 | 1431370 | 1441060 | 9690 | 1431370 | 1431.37 | 0.9817 | 1405.1759
Total |  |  | 18822190 | 133090 | 18697970 |  |  | 18687875 | 18687.875 | 0.9817 | 18345.8869
| 2023-02-20 | 2023-03-20 | 1463000 | 8400 | Date in JMR was breaked up between these two dates
| 2023-03-20 | 2023-04-01 | 692150 | 3470
|  |  | 2155150 | 11870
| 2023-10-02 | 2023-10-16 | 672630 | 4580 | Date in JMR was breaked up between these two dates |  |  | Vintage | Generation (MWh) | Emission Reduction (tCO2e)
| 2023-10-16 | 2023-11-01 | 768430 | 5110 |  |  |  | 2022 | 4482.5 | 4400.4703
|  |  | 1441060 | 9690 |  |  |  | 2023 | 14205.375 | 13945.4166
[8 empty] | Total | 18687.875 | 18345.8869

## 4_Salakpur
Month | Duration |  | As per JMR |  |  | As per Invoice |  |  | Net Electricity Generated (MWh) | Emission Factor | Emission Reductions
|  |  | Export (KWh) | Import (KWh) | Net Electricity (KWh) | Export (KWh) | Import (KWh) | Net Electricity (KWh)
| From | To
2022-09-01 | 2022-08-25 | 2022-09-26 | 1318300 | 8400 | 1309900 | 1248000 | 7800 | 1240200 | 1240.2 | 0.9817 | 1217.5043
2022-10-01 | 2022-09-26 | 2022-10-25 | 1248000 | 7800 | 1240200 | 1248000 | 7800 | 1240200 | 1240.2 | 0.9817 | 1217.5043
2022-11-01 | 2022-10-25 | 2022-11-25 | 1485000 | 8800 | 1476200 | 1233300 | 6900 | 1226400 | 1226.4 | 0.9817 | 1203.9569
2022-12-01 | 2022-11-25 | 2022-12-25 | 1233300 | 6900 | 1226400 | 1532900 | 8300 | 1524600 | 1226.4 | 0.9817 | 1203.9569
2023-01-01 | 2022-12-24 | 2023-01-25 | 1532900 | 8300 | 1524600 | 1691800 | 7700 | 1684100 | 1524.6 | 0.9817 | 1496.6998
2023-02-01 | 2023-01-25 | 2023-02-25 | 1691800 | 7700 | 1684100 | 1423600 | 6800 | 1416800 | 1416.8 | 0.9817 | 1390.8726
2023-03-01 | 2023-02-25 | 2023-03-31 | 1741500 | 8300 | 1733200 | 317900 | 1500 | 316400 | 316.4 | 0.9817 | 310.6099
2023-04-01 | 2023-03-31 | 2023-05-01 | 1466800 | 7400 | 1459400 | 1466800 | 7400 | 1459400 | 1459.4 | 0.9817 | 1432.693
2023-05-01 | 2023-05-01 | 2023-06-01 | 1449200 | 7400 | 1441800 | 1449200 | 7400 | 1441800 | 1441.8 | 0.9817 | 1415.4151
2023-06-01 | 2023-06-01 | 2023-07-01 | 1349000 | 6800 | 1342200 | 1349000 | 6800 | 1342200 | 1342.2 | 0.9817 | 1317.6377
2023-07-01 | 2023-07-01 | 2023-08-01 | 989700 | 7900 | 981800 | 989700 | 7900 | 981800 | 981.8 | 0.9817 | 963.8331
2023-08-01 | 2023-08-01 | 2023-09-01 | 1325700 | 7500 | 1318200 | 1325700 | 7500 | 1318200 | 1318.2 | 0.9817 | 1294.0769
2023-09-01 | 2023-09-01 | 2023-10-01 | 1072000 | 7700 | 1064300 | 1072000 | 7700 | 1064300 | 1064.3 | 0.9817 | 1044.8233
2023-10-01 | 2023-10-01 | 2023-11-01 | 1588000 | 7800 | 1580200 | 1588000 | 7800 | 1580200 | 1580.2 | 0.9817 | 1551.2823
Total |  |  | 19491200 | 108700 | 19382500 | 17935900 | 99300 | 17836600 | 17378.9 | 0.9817 | 17060.8661
| 2023-02-25 | 2023-03-25 | 1423600 | 6800 | Date in invoice was breaked up between these two dates
| 2023-03-25 | 2023-03-31 | 317900 | 1500
|  |  | 1741500 | 8300 |  |  |  |  | Vintage | Generation (MWh) | Emission Reduction (tCO2e)
[9 empty] | 2022 | 4933.2 | 4842.9224
[9 empty] | 2023 | 12445.7 | 12217.9437
[9 empty] | Total | 17378.9 | 17060.8661

## 5_Alladurg
Month | Duration |  | As per JMR |  |  | As per Invoice |  |  | Net Electricity Generated (MWh) | Emission Factor | Emission Reductions
|  |  | Export (KWh) | Import (KWh) | Net Electricity (KWh) | Export (KWh) | Import (KWh) | Net Electricity (KWh)
| From | To
2022-09-01 | 2022-09-01 | 2022-09-19 | 1227460 | 13610 | 743972.5806 | 1227460 | 13610 | 743972.5806 | 743.9726 | 0.9817 | 730.3579
2022-10-01 | 2022-09-19 | 2022-10-19 | 1217280 | 13370 | 1203910 | 1217280 | 13370 | 1203910 | 1203.91 | 0.9817 | 1181.8784
2022-11-01 | 2022-10-19 | 2022-11-19 | 1370640 | 14620 | 1356020 | 1370640 | 14620 | 1356020 | 1356.02 | 0.9817 | 1331.2048
2022-12-01 | 2022-11-19 | 2022-12-20 | 1198650 | 13940 | 1184710 | 1198650 | 13940 | 1184710 | 1184.71 | 0.9817 | 1163.0298
2023-01-01 | 2022-12-20 | 2023-01-19 | 1311210 | 12840 | 1298370 | 1311210 | 12840 | 1298370 | 1298.37 | 0.9817 | 1274.6098
2023-02-01 | 2023-01-19 | 2023-02-20 | 1594640 | 21010 | 1573630 | 1594640 | 21010 | 1573630 | 1573.63 | 0.9817 | 1544.8326
2023-03-01 | 2023-02-20 | 2023-03-20 | 1374420 | 10970 | 1363450 | 1374420 | 10970 | 1363450 | 1363.45 | 0.9817 | 1338.4989
| 2023-03-20 | 2023-04-03 | 729570 | 5060 | 724510 | 729570 | 5060 | 724510 | 724.51 | 0.9817 | 711.2515
2023-04-01 | 2023-04-03 | 2023-05-02 | 1299120 | 10440 | 1288680 | 1299120 | 10440 | 1288680 | 1288.68 | 0.9817 | 1265.0972
2023-05-01 | 2023-05-02 | 2023-06-02 | 1475770 | 10850 | 1464920 | 1475770 | 10850 | 1464920 | 1464.92 | 0.9817 | 1438.112
2023-06-01 | 2023-06-02 | 2023-07-03 | 1362640 | 10440 | 1352200 | 1362640 | 10440 | 1352200 | 1352.2 | 0.9817 | 1327.4547
2023-07-01 | 2023-07-03 | 2023-08-02 | 851410 | 13040 | 838370 | 851410 | 13040 | 838370 | 838.37 | 0.9817 | 823.0278
2023-08-01 | 2023-08-03 | 2023-09-02 | 1179080 | 13360 | 1165720 | 1179080 | 13360 | 1165720 | 1165.72 | 0.9817 | 1144.3873
2023-09-01 | 2023-09-03 | 2023-10-02 | 1017520 | 14240 | 1003280 | 1017520 | 14240 | 1003280 | 1003.28 | 0.9817 | 984.92
2023-10-01 | 2023-10-03 | 2023-10-31 | 1470520 | 13240 | 1360128 | 1470520 | 13240 | 1360128 | 1360.128 | 0.9817 | 1335.2377
Total |  |  | 18679930 | 191030 | 17921870.5806 | 18679930 | 191030 | 17921870.5806 | 17921.8706 | 0.9817 | 17593.9003
The JMR is issued from 19/08/2022 to 19/09/2022 whereas the monitoring period starts from 01/09/2023, hence value is apportioneated.Also,for Oct 2023 JMR is issues for 03/10/2023 to 02/11/2023 whereas end date of monitoring period is 31/10/2023
[7 empty] | Vintage | Generation (MWh) | Emission Reduction (tCO2e)
[7 empty] | 2022 | 4488.6126 | 4406.471
[7 empty] | 2023 | 13433.258 | 13187.4294
[7 empty] | Total | 17921.8706 | 17593.9003

## 6_Karnataka
Month | Duration |  | As per JMR |  |  | As per Invoice |  |  | Net Electricity Generated (MWh) | Emission Factor | Emission Reductions
|  |  | Export (KWh) | Import (KWh) | Net Electricity (KWh) | Export (KWh) | Import (KWh) | Net Electricity (KWh)
| From | To
2022-09-01 | 2022-09-01 | 2022-09-30 | 9852200 | 68450 | 9783750 | 9840037 | 86097 | 9753940 | 9753.94 | 0.9817 | 9575.4429
2022-10-01 | 2022-10-01 | 2022-10-31 | 10426150 | 75050 | 10351100 | 10412044 | 93150 | 10318894 | 10318.894 | 0.9817 | 10130.0582
2022-11-01 | 2022-11-01 | 2022-11-30 | 9915050 | 70550 | 9844500 | 9901819 | 88512 | 9813307 | 9813.307 | 0.9817 | 9633.7235
2022-12-01 | 2022-12-01 | 2022-12-31 | 10544600 | 70600 | 10474000 | 10529957 | 87254 | 10442703 | 10442.703 | 0.9817 | 10251.6015 | Vintage | Generation (MWh) | Emission Reduction (tCO2e)
2023-01-01 | 2023-01-01 | 2023-01-31 | 12434850 | 68150 | 12366700 | 12420024 | 86423 | 12333601 | 12333.601 | 0.9817 | 12107.8961 | 2022 | 40328.844 | 39590.8262
2023-02-01 | 2023-02-01 | 2023-02-28 | 12016000 | 64250 | 11951750 | 11998866 | 79925 | 11918941 | 11918.941 | 0.9817 | 11700.8244 | 2023 | 106715.434 | 104762.5416
2023-03-01 | 2023-03-01 | 2023-03-31 | 13220650 | 68150 | 13152500 | 13200998 | 87093 | 13113905 | 13113.905 | 0.9817 | 12873.9205 | Total | 147044.278 | 144353.3677
2023-04-01 | 2023-04-01 | 2023-04-30 | 12575600 | 62990 | 12512610 | 9634446 | 78074 | 9556372 | 9556.372 | 0.9817 | 9381.4904
2023-05-01 | 2023-05-01 | 2023-05-31 | 12663450 | 65720 | 12597730 | 11797645 | 67433 | 11730212 | 11730.212 | 0.9817 | 11515.5491
2023-06-01 | 2023-06-01 | 2023-06-30 | 10984690 | 62870 | 10921820 | 10970215 | 76728 | 10893487 | 10893.487 | 0.9817 | 10694.1362
2023-07-01 | 2023-07-01 | 2023-07-31 | 7990380 | 68240 | 7922140 | 7980409 | 86028 | 7894381 | 7894.381 | 0.9817 | 7749.9138
2023-08-01 | 2023-08-01 | 2023-08-31 | 11161520 | 65430 | 11096090 | 11148410 | 81052 | 11067358 | 11067.358 | 0.9817 | 10864.8253
2023-09-01 | 2023-09-01 | 2023-09-30 | 9554330 | 66515 | 9487815 | 9541176 | 85209 | 9455967 | 9455.967 | 0.9817 | 9282.9228
2023-10-01 | 2023-10-01 | 2023-10-31 | 8865410 | 70525 | 8794885 | 8846055 | 94845 | 8751210 | 8751.21 | 0.9817 | 8591.0629
Total |  |  | 152204880 | 947490 | 151257390 | 148222101 | 1177823 | 147044278 | 147044.278 | 0.9817 | 144353.3677
Mulbagal
Month | Duration |  | As per JMR |  |  | As per Invoice |  |  | Net Electricity Generated (MWh) | Emission Factor | Emission Reductions
|  |  | Export (KWh) | Import (KWh) | Net Electricity (KWh) | Export (KWh) | Import (KWh) | Net Electricity (KWh)
| From | To
2022-09-01 | 2022-09-01 | 2022-09-30 | 2659200 | 19200 | 2640000 | 2659200 | 22080 | 2637120 | 2637.12 | 0.9817 | 2588
2022-10-01 | 2022-10-01 | 2022-10-31 | 2540400 | 22800 | 2517600 | 2540400 | 26220 | 2514180 | 2514.18 | 0.9817 | 2468
2022-11-01 | 2022-11-01 | 2022-11-30 | 2092800 | 22800 | 2070000 | 2092800 | 26220 | 2066580 | 2066.58 | 0.9817 | 2028
2022-12-01 | 2022-12-01 | 2022-12-31 | 2253600 | 21600 | 2232000 | 2253600 | 24840 | 2228760 | 2228.76 | 0.9817 | 2187
2023-01-01 | 2023-01-01 | 2023-01-31 | 3027600 | 20400 | 3007200 | 3027600 | 23460 | 3004140 | 3004.14 | 0.9817 | 2949
2023-02-01 | 2023-02-01 | 2023-02-28 | 3048000 | 18000 | 3030000 | 3048000 | 20700 | 3027300 | 3027.3 | 0.9817 | 2971
2023-03-01 | 2023-03-01 | 2023-03-31 | 3284400 | 20400 | 3264000 | 3284400 | 23460 | 3260940 | 3260.94 | 0.9817 | 3201
2023-04-01 | 2023-04-01 | 2023-04-30 | 3237600 | 18240 | 3219360 | 3237600 | 20976 | 3216624 | 3216.624 | 0.9817 | 3157
2023-05-01 | 2023-05-01 | 2023-05-31 | 3033600 | 19320 | 3014280 | 3033600 | 22218 | 3011382 | 3011.382 | 0.9817 | 2956
2023-06-01 | 2023-06-01 | 2023-06-30 | 2839440 | 18120 | 2821320 | 2839440 | 20838 | 2818602 | 2818.602 | 0.9817 | 2767
2023-07-01 | 2023-07-01 | 2023-07-31 | 2424480 | 19440 | 2405040 | 2424480 | 22356 | 2402124 | 2402.124 | 0.9817 | 2358
2023-08-01 | 2023-08-01 | 2023-08-31 | 3069120 | 19080 | 3050040 | 3069120 | 21942 | 3047178 | 3047.178 | 0.9817 | 2991
2023-09-01 | 2023-09-01 | 2023-09-30 | 2612880 | 20040 | 2592840 | 2612880 | 22080 | 2590800 | 2590.8 | 0.9817 | 2543
2023-10-01 | 2023-10-01 | 2023-10-31 | 277160 | 20400 | 256760 | 277160 | 23460 | 253700 | 253.7 | 0.9817 | 249
Total |  |  | 36400280 | 279840 | 36120440 | 36400280 | 320850 | 36079430 | 36079.43 | 0.9817 | 35413
| 2023-04-01 | 2023-04-26 | 2791200 | 15600 | Date in JMR was breaked up between these two dates
| 2023-04-26 | 2023-04-30 | 446400 | 2640
|  |  | 3237600 | 18240
Ramadurg
Month | Duration |  | As per JMR |  |  | As per Invoice |  |  | Net Electricity Generated (MWh) | Emission Factor | Emission Reductions
|  |  | Export (KWh) | Import (KWh) | Net Electricity (KWh) | Export (KWh) | Import (KWh) | Net Electricity (KWh)
| From | To
2022-09-01 | 2022-09-01 | 2022-10-01 | 2586000 | 21000 | 2565000 | 2586000 | 24150 | 2561850 | 2561.85 | 0.9817 | 2514
2022-10-01 | 2022-10-01 | 2022-11-01 | 2682000 | 22500 | 2659500 | 2682000 | 25875 | 2656125 | 2656.125 | 0.9817 | 2607
2022-11-01 | 2022-11-01 | 2022-12-01 | 2754000 | 18000 | 2736000 | 2754000 | 20700 | 2733300 | 2733.3 | 0.9817 | 2683
2022-12-01 | 2022-12-01 | 2023-01-01 | 2895000 | 18000 | 2877000 | 2895000 | 20700 | 2874300 | 2874.3 | 0.9817 | 2821
2023-01-01 | 2023-01-01 | 2023-02-01 | 3307500 | 18000 | 3289500 | 3307500 | 20700 | 3286800 | 3286.8 | 0.9817 | 3226
2023-02-01 | 2023-02-01 | 2023-03-01 | 3117000 | 19500 | 3097500 | 3117000 | 22425 | 3094575 | 3094.575 | 0.9817 | 3037
2023-03-01 | 2023-03-01 | 2023-04-01 | 3355500 | 19500 | 3336000 | 3355500 | 22425 | 3333075 | 3333.075 | 0.9817 | 3272
2023-04-01 | 2023-04-01 | 2023-05-01 | 3243000 | 18000 | 3225000 | 319000 | 20700 | 298300 | 298.3 | 0.9817 | 292
2023-05-01 | 2023-05-01 | 2023-06-01 | 3405600 | 18150 | 3387450 | 2557500 | 5348 | 2552152 | 2552.152 | 0.9817 | 2505
2023-06-01 | 2023-06-01 | 2023-07-01 | 2895300 | 18000 | 2877300 | 2895300 | 20700 | 2874600 | 2874.6 | 0.9817 | 2821
2023-07-01 | 2023-07-01 | 2023-08-01 | 1931400 | 21150 | 1910250 | 1931400 | 24495 | 1906905 | 1906.905 | 0.9817 | 1872
2023-08-01 | 2023-08-01 | 2023-09-01 | 2779050 | 19650 | 2759400 | 2779050 | 22425 | 2756625 | 2756.625 | 0.9817 | 2706
2023-09-01 | 2023-09-01 | 2023-10-01 | 2385600 | 20400 | 2365200 | 2385600 | 23460 | 2362140 | 2362.14 | 0.9817 | 2318
2023-10-01 | 2023-10-01 | 2023-11-01 | 2959200 | 22500 | 2936700 | 2959200 | 25875 | 2933325 | 2933.325 | 0.9817 | 2879
Total |  |  | 40296150 | 274350 | 40021800 | 36524050 | 299978 | 36224072 | 36224.072 | 0.9817 | 35553
| 2023-05-01 | 2023-05-24 | 2559000 | 13500 | Date in JMR was breaked up between these two dates
| 2023-05-24 | 2023-06-01 | 846600 | 4650
|  |  | 3405600 | 18150
Shirahatti
Month | Duration |  | As per JMR |  |  | As per Invoice |  |  | Net Electricity Generated (MWh) | Emission Factor | Emission Reductions
|  |  | Export (KWh) | Import (KWh) | Net Electricity (KWh) | Export (KWh) | Import (KWh) | Net Electricity (KWh)
| From | To
2022-09-01 | 2022-09-01 | 2022-10-01 | 2419500 | 19500 | 2400000 | 2419500 | 22425 | 2397075 | 2397.075 | 0.9817 | 2353
2022-10-01 | 2022-10-01 | 2022-11-01 | 2692500 | 21000 | 2671500 | 2692500 | 24150 | 2668350 | 2668.35 | 0.9817 | 2619
2022-11-01 | 2022-11-01 | 2022-12-01 | 2779500 | 21000 | 2758500 | 2779500 | 24150 | 2755350 | 2755.35 | 0.9817 | 2704
2022-12-01 | 2022-12-01 | 2023-01-01 | 2833500 | 21000 | 2812500 | 2833500 | 24150 | 2809350 | 2809.35 | 0.9817 | 2757
2023-01-01 | 2023-01-01 | 2023-02-01 | 3328500 | 21000 | 3307500 | 3328500 | 24150 | 3304350 | 3304.35 | 0.9817 | 3243
2023-02-01 | 2023-02-01 | 2023-03-01 | 3088500 | 18000 | 3070500 | 3088500 | 20700 | 3067800 | 3067.8 | 0.9817 | 3011
2023-03-01 | 2023-03-01 | 2023-04-01 | 3447000 | 19500 | 3427500 | 3447000 | 22425 | 3424575 | 3424.575 | 0.9817 | 3361
2023-04-01 | 2023-04-01 | 2023-05-01 | 3195000 | 18000 | 3177000 | 3195000 | 20700 | 3174300 | 3174.3 | 0.9817 | 3116
2023-05-01 | 2023-05-01 | 2023-06-01 | 3228000 | 19500 | 3208500 | 3228000 | 22425 | 3205575 | 3205.575 | 0.9817 | 3146
2023-06-01 | 2023-06-01 | 2023-07-01 | 2689950 | 18000 | 2671950 | 2689950 | 20700 | 2669250 | 2669.25 | 0.9817 | 2620
2023-07-01 | 2023-07-01 | 2023-08-01 | 1924500 | 18900 | 1905600 | 1924500 | 21735 | 1902765 | 1902.765 | 0.9817 | 1867
2023-08-01 | 2023-08-01 | 2023-09-01 | 2900850 | 19200 | 2881650 | 2900850 | 22080 | 2878770 | 2878.77 | 0.9817 | 2826
2023-09-01 | 2023-09-01 | 2023-10-01 | 2380350 | 18450 | 2361900 | 2380350 | 21218 | 2359132 | 2359.132 | 0.9817 | 2315
2023-10-01 | 2023-10-01 | 2023-11-01 | 2826300 | 19500 | 2806800 | 2826300 | 22425 | 2803875 | 2803.875 | 0.9817 | 2752
Total |  |  | 39733950 | 272550 | 39461400 | 39733950 | 313433 | 39420517 | 39420.517 | 0.9817 | 38690
| 2023-06-01 | 2023-06-14 | 1327500 | 7500 | Date in JMR was breaked up between these two dates
| 2023-06-14 | 2023-07-01 | 1362450 | 10500
|  |  | 2689950 | 18000
Vijayapura
17 MW
Month | Duration |  | As per JMR |  |  | As per Invoice |  |  | Net Electricity Generated (MWh) | Emission Factor | Emission Reductions
|  |  | Export (KWh) | Import (KWh) | Net Electricity (KWh) | Export (KWh) | Import (KWh) | Net Electricity (KWh)
| From | To
2022-09-01 | 2022-09-01 | 2022-10-01 | 2187500 | 8750 | 2178750 | 2175337 | 17442 | 2157895 | 2157.895 | 0.9817 | 2118
2022-10-01 | 2022-10-01 | 2022-11-01 | 2511250 | 8750 | 2502500 | 2497144 | 16905 | 2480239 | 2480.239 | 0.9817 | 2434
2022-11-01 | 2022-11-01 | 2022-12-03 | 2288750 | 8750 | 2280000 | 2275519 | 17442 | 2258077 | 2258.077 | 0.9817 | 2216
2022-12-01 | 2022-12-01 | 2023-01-04 | 2562500 | 10000 | 2552500 | 2547857 | 17564 | 2530293 | 2530.293 | 0.9817 | 2483
2023-01-01 | 2023-01-01 | 2023-02-05 | 2771250 | 8750 | 2762500 | 2756424 | 18113 | 2738311 | 2738.311 | 0.9817 | 2688
2023-02-01 | 2023-02-01 | 2023-03-09 | 2762500 | 8750 | 2753750 | 2745366 | 16100 | 2729266 | 2729.266 | 0.9817 | 2679
2023-03-01 | 2023-03-01 | 2023-04-10 | 3133750 | 8750 | 3125000 | 3114098 | 18783 | 3095315 | 3095.315 | 0.9817 | 3038
2023-04-01 | 2023-04-01 | 2023-05-12 | 2900000 | 8750 | 2891250 | 2882846 | 15698 | 2867148 | 2867.148 | 0.9817 | 2814
2023-05-01 | 2023-05-01 | 2023-06-13 | 2996250 | 8750 | 2987500 | 2978545 | 17442 | 2961103 | 2961.103 | 0.9817 | 2906
2023-06-01 | 2023-06-01 | 2023-07-15 | 2560000 | 8750 | 2551250 | 2545525 | 14490 | 2531035 | 2531.035 | 0.9817 | 2484
2023-07-01 | 2023-07-01 | 2023-08-16 | 1710000 | 8750 | 1701250 | 1700029 | 17442 | 1682587 | 1682.587 | 0.9817 | 1651
2023-08-01 | 2023-08-01 | 2023-09-17 | 2412500 | 7500 | 2405000 | 2399390 | 14605 | 2384785 | 2384.785 | 0.9817 | 2341
2023-09-01 | 2023-09-01 | 2023-10-01 | 2175500 | 7625 | 2167875 | 2162346 | 18451 | 2143895 | 2143.895 | 0.9817 | 2104
2023-10-01 | 2023-10-01 | 2023-11-20 | 2802750 | 8125 | 2794625 | 2783395 | 23085 | 2760310 | 2760.31 | 0.9817 | 2709
Total |  |  | 35774500 | 120750 | 35653750 | 35563821 | 243562 | 35320259 | 35320.259 | 0.9817 | 34665
|  | 2023-09-01 | 2023-09-14 | 938750 | 3750 | Date in JMR was breaked up between these two dates
|  | 2023-09-14 | 2023-10-01 | 1236750 | 3875
|  |  |  | 2175500 | 7625

## 7_Vijayapura
6.8 MW | [11 empty] | 0.8 MW | [9 empty] | 6 MW
Month | Duration |  | As per JMR |  |  | As per Invoice |  |  | Net Electricity Generated (MWh) | Emission Factor | Emission Reductions | Month | Duration |  | As per Invoice |  |  | Net Electricity Generated (MWh) | Emission Factor | Emission Reductions | Vintage wise VCU Breakup | Month | Duration |  | As per Invoice |  |  | Net Electricity Generated (MWh) | Emission Factor | Emission Reductions | Vintage wise VCU Breakup
|  |  | Export (KWh) | Import (KWh) | Net Electricity (KWh) | Export (KWh) | Import (KWh) | Net Electricity (kWh) | [6 empty] | Export (KWh) | Import (KWh) | Net Electricity (MWh) | [7 empty] | Export (KWh) | Import (KWh) | Net Electricity (KWh)
| From | To | [10 empty] | From | To | [8 empty] | From | To
2022-09-01 | 2022-09-01 | 2022-09-30 | 870000 | 2500 | 867500 | 865163 | 4983 | 860180 | 860.18 | 0.9817 | 844.4387 | 2022-09-01 | 2022-09-01 | 2022-10-01 | 100000 | 0 | 100000 | 100 | 0.9817 | 98 | 392 | 2022-09-01 | 2022-09-01 | 2022-10-01 | 765163 | 4983 | 760180 | 760.18 | 0.9817 | 746 | 3302
2022-10-01 | 2022-10-01 | 2022-11-01 | 1005000 | 3750 | 1001250 | 999355 | 7245 | 992110 | 992.11 | 0.9817 | 973.9544 | 2022-10-01 | 2022-10-01 | 2022-11-01 | 100000 | 0 | 100000 | 100 | 0.9817 | 98 |  | 2022-10-01 | 2022-10-01 | 2022-11-01 | 899355 | 7245 | 892110 | 892.11 | 0.9817 | 875
2022-11-01 | 2022-11-01 | 2022-12-01 | 911250 | 2500 | 908750 | 905982 | 4983 | 900999 | 900.999 | 0.9817 | 884.5107 | 2022-11-01 | 2022-11-01 | 2022-12-01 | 100000 | 0 | 100000 | 100 | 0.9817 | 98 |  | 2022-11-01 | 2022-11-01 | 2022-12-01 | 805982 | 4983 | 800999 | 800.999 | 0.9817 | 786
2022-12-01 | 2022-12-01 | 2023-01-01 | 1025000 | 3750 | 1021250 | 1019143 | 6586 | 1012557 | 1012.557 | 0.9817 | 994.0272 | 2022-12-01 | 2022-12-01 | 2023-01-01 | 100000 | 0 | 100000 | 100 | 0.9817 | 98 |  | 2022-12-01 | 2022-12-01 | 2023-01-01 | 919143 | 6586 | 912557 | 912.557 | 0.9817 | 895
2023-01-01 | 2023-01-01 | 2023-02-01 | 1107500 | 3750 | 1103750 | 1101576 | 7763 | 1093813 | 1093.813 | 0.9817 | 1073.7962 | 2023-01-01 | 2023-01-01 | 2023-02-01 | 100000 | 0 | 100000 | 100 | 0.9817 | 98 | 980 | 2023-01-01 | 2023-01-01 | 2023-02-01 | 1001576 | 7763 | 993813 | 993.813 | 0.9817 | 975 | 9170
2023-02-01 | 2023-02-01 | 2023-03-01 | 1107500 | 2500 | 1105000 | 1100631 | 4600 | 1096031 | 1096.031 | 0.9817 | 1075.9736 | 2023-02-01 | 2023-02-01 | 2023-03-01 | 100000 | 0 | 100000 | 100 | 0.9817 | 98 |  | 2023-02-01 | 2023-02-01 | 2023-03-01 | 1000631 | 4600 | 996031 | 996.031 | 0.9817 | 977
2023-03-01 | 2023-03-01 | 2023-04-01 | 1251250 | 2500 | 1248750 | 1243403 | 5367 | 1238036 | 1238.036 | 0.9817 | 1215.3799 | 2023-03-01 | 2023-03-01 | 2023-04-01 | 100000 | 0 | 100000 | 100 | 0.9817 | 98 |  | 2023-03-01 | 2023-03-01 | 2023-04-01 | 1143403 | 5367 | 1138036 | 1138.036 | 0.9817 | 1117
2023-04-01 | 2023-04-01 | 2023-05-01 | 1157500 | 3750 | 1153750 | 1150653 | 6728 | 1143925 | 1143.925 | 0.9817 | 1122.9912 | 2023-04-01 | 2023-04-01 | 2023-05-01 | 100000 | 0 | 100000 | 100 | 0.9817 | 98 |  | 2023-04-01 | 2023-04-01 | 2023-05-01 | 1050653 | 6728 | 1043925 | 1043.925 | 0.9817 | 1024
2023-05-01 | 2023-05-01 | 2023-06-01 | 1192500 | 2500 | 1190000 | 1185453 | 4983 | 1180470 | 1180.47 | 0.9817 | 1158.8674 | 2023-05-01 | 2023-05-01 | 2023-06-01 | 100000 | 0 | 100000 | 100 | 0.9817 | 98 |  | 2023-05-01 | 2023-05-01 | 2023-06-01 | 1085453 | 4983 | 1080470 | 1080.47 | 0.9817 | 1060
2023-06-01 | 2023-06-01 | 2023-07-01 | 1021250 | 3750 | 1017500 | 1015475 | 6210 | 1009265 | 1009.265 | 0.9817 | 990.7955 | 2023-06-01 | 2023-06-01 | 2023-07-01 | 100000 | 0 | 100000 | 100 | 0.9817 | 98 |  | 2023-06-01 | 2023-06-01 | 2023-07-01 | 915475 | 6210 | 909265 | 909.265 | 0.9817 | 892
2023-07-01 | 2023-07-01 | 2023-08-01 | 682500 | 2500 | 680000 | 678521 | 4983 | 673538 | 673.538 | 0.9817 | 661.2123 | 2023-07-01 | 2023-07-01 | 2023-08-01 | 100000 | 0 | 100000 | 100 | 0.9817 | 98 |  | 2023-07-01 | 2023-07-01 | 2023-08-01 | 578521 | 4983 | 573538 | 573.538 | 0.9817 | 563
2023-08-01 | 2023-08-01 | 2023-09-01 | 955000 | 3750 | 951250 | 949810 | 7303 | 942507 | 942.507 | 0.9817 | 925.2591 | 2023-08-01 | 2023-08-01 | 2023-09-01 | 100000 | 0 | 100000 | 100 | 0.9817 | 98 |  | 2023-08-01 | 2023-08-01 | 2023-09-01 | 849810 | 7303 | 842507 | 842.507 | 0.9817 | 827
2023-09-01 | 2023-09-01 | 2023-10-01 | 863875 | 1500 | 862375 | 858652 | 3630 | 855022 | 855.022 | 0.9817 | 839.3751 | 2023-09-01 | 2023-09-01 | 2023-10-01 | 100000 | 0 | 100000 | 100 | 0.9817 | 98 |  | 2023-09-01 | 2023-09-01 | 2023-10-01 | 758652 | 3630 | 755022 | 755.022 | 0.9817 | 741
2023-10-01 | 2023-10-01 | 2023-11-01 | 1121500 | 375 | 1121125 | 1113755 | 1065 | 1112690 | 1112.69 | 0.9817 | 1092.3278 | 2023-10-01 | 2023-10-01 | 2023-11-01 | 100000 | 0 | 100000 | 100 | 0.9817 | 98 |  | 2023-10-01 | 2023-10-01 | 2023-11-01 | 1013755 | 1065 | 1012690 | 1012.69 | 0.9817 | 994
Total |  |  | 14271625 | 39375 | 14232250 | 14187572 | 76429 | 14111143 | 14111.143 | 0.9817 | 13852.9091 | Total |  |  | 1400000 | 0 | 1400000 | 1400 | 0.9817 | 1372 | 1372 | Total |  |  | 12787572 | 76429 | 12711143 | 12711.143 | 0.9817 | 12472 | 12472
| 2023-09-01 | 2023-09-14 | 367500 | 1250
| 2023-09-14 | 2023-10-01 | 496375 | 250
|  |  | Vintage | Generation (MWh) | Emission Reduction (tCO2e)
|  |  | 2022 | 3765.846 | 3696.931
|  |  | 2023 | 10345.297 | 10155.9781
|  |  | Total | 14111.143 | 13852.9091

## 8_Hotgi
Month | Duration |  | As per JMR |  |  | As per Invoice |  |  | Net Electricity Generated (MWh) | Emission Factor | Emission Reductions
|  |  | Export (KWh) | Import (KWh) | Net Electricity (KWh) | Export (KWh) | Import (KWh) | Net Electricity (KWh)
| From | To
2022-09-01 | 2022-08-31 | 2022-09-30 | 95625 | 585 | 91974.1935 | 95625 | 585 | 91974.1935 | 91.9742 | 0.977 | 89.8588
2022-10-01 | 2022-09-30 | 2022-10-31 | 112005 | 630 | 111375 | 112005 | 630 | 111375 | 111.375 | 0.977 | 108.8134
2022-11-01 | 2022-10-31 | 2022-11-30 | 114975 | 585 | 114390 | 114975 | 585 | 114390 | 114.39 | 0.977 | 111.759
2022-12-01 | 2022-11-30 | 2022-12-31 | 98730 | 630 | 98100 | 98730 | 630 | 98100 | 98.1 | 0.977 | 95.8437
2023-01-01 | 2022-12-31 | 2023-01-31 | 110430 | 675 | 109755 | 110430 | 675 | 109755 | 109.755 | 0.977 | 107.2306
2023-02-01 | 2023-01-31 | 2023-02-28 | 126225 | 585 | 125640 | 126225 | 585 | 125640 | 125.64 | 0.977 | 122.7503
2023-03-01 | 2023-02-28 | 2023-03-31 | 143145 | 630 | 142515 | 143145 | 630 | 142515 | 142.515 | 0.977 | 139.2372
2023-04-01 | 2023-03-31 | 2023-04-30 | 142290 | 585 | 141705 | 142290 | 585 | 141705 | 141.705 | 0.977 | 138.4458
2023-05-01 | 2023-04-30 | 2023-05-31 | 150030 | 585 | 149445 | 150030 | 585 | 149445 | 149.445 | 0.977 | 146.0078
2023-06-01 | 2023-05-31 | 2023-06-30 | 144540 | 585 | 143955 | 144540 | 585 | 143955 | 143.955 | 0.977 | 140.644
2023-07-01 | 2023-06-30 | 2023-07-31 | 84510 | 540 | 83970 | 84510 | 540 | 83970 | 83.97 | 0.977 | 82.0387
2023-08-01 | 2023-07-31 | 2023-08-31 | 120645 | 630 | 120015 | 120645 | 630 | 120015 | 120.015 | 0.977 | 117.2547
2023-09-01 | 2023-08-31 | 2023-09-30 | 107550 | 585 | 106965 | 107550 | 585 | 106965 | 106.965 | 0.977 | 104.5048
2023-10-01 | 2023-09-30 | 2023-10-31 | 126225 | 585 | 125640 | 126225 | 585 | 125640 | 125.64 | 0.977 | 122.7503
Total |  |  | 1676925 | 8415 | 1665444.1935 | 1676925 | 8415 | 1665444.1935 | 1665.4442 | 0.977 | 1627.139
[6 empty] | Vintage | Generation (MWh) | Emission Reduction (tCO2e)
[6 empty] | 2022 | 415.8392 | 406.2749
[6 empty] | 2023 | 1249.605 | 1220.8641
[6 empty] | Total | 1665.4442 | 1627.139

## 9_Gotan
Month | Duration |  | As per JMR |  |  | As per Invoice |  |  | Net Electricity Generated (MWh) | Emission Factor | Emission Reductions
|  |  | Export (KWh) | Import (KWh) | Net Electricity (KWh) | Export (KWh) | Import (KWh) | Net Electricity (KWh)
| From | To
2022-09-01 | 2022-09-01 | 2022-09-30 | 727920 | 2880 | 725040 | 727920 | 2880 | 725040 | 725.04 | 0.977 | 708.3641
2022-10-01 | 2022-10-01 | 2022-10-31 | 804960 | 2880 | 802080 | 804960 | 2880 | 802080 | 802.08 | 0.977 | 783.6322
2022-11-01 | 2022-11-01 | 2022-12-01 | 676080 | 2880 | 673200 | 676080 | 2880 | 673200 | 673.2 | 0.977 | 657.7164
2022-12-01 | 2022-12-01 | 2023-01-01 | 670320 | 2880 | 667440 | 670320 | 2880 | 667440 | 667.44 | 0.977 | 652.0889
2023-01-01 | 2023-01-01 | 2023-02-01 | 698400 | 2880 | 695520 | 698400 | 2880 | 695520 | 695.52 | 0.977 | 679.523
2023-02-01 | 2023-02-01 | 2023-03-01 | 730080 | 2880 | 727200 | 730080 | 2880 | 727200 | 727.2 | 0.977 | 710.4744
2023-03-01 | 2023-03-01 | 2023-04-01 | 838800 | 2880 | 835920 | 838800 | 2880 | 835920 | 835.92 | 0.977 | 816.6938
2023-04-01 | 2023-04-01 | 2023-05-01 | 880560 | 2160 | 878400 | 880560 | 2160 | 878400 | 878.4 | 0.977 | 858.1968
2023-05-01 | 2023-05-01 | 2023-06-01 | 931680 | 2160 | 929520 | 931680 | 2160 | 929520 | 929.52 | 0.977 | 908.141
2023-06-01 | 2023-06-01 | 2023-07-01 | 812160 | 2160 | 810000 | 812160 | 2160 | 810000 | 810 | 0.977 | 791.37
2023-07-01 | 2023-07-01 | 2023-08-01 | 757440 | 2880 | 754560 | 757440 | 2880 | 754560 | 754.56 | 0.977 | 737.2051
2023-08-01 | 2023-08-01 | 2023-09-01 | 675360 | 2160 | 673200 | 675360 | 2160 | 673200 | 673.2 | 0.977 | 657.7164
2023-09-01 | 2023-09-01 | 2023-10-01 | 726480 | 2160 | 724320 | 726480 | 2160 | 724320 | 724.32 | 0.977 | 707.6606
2023-10-01 | 2023-10-01 | 2023-11-01 | 790560 | 2880 | 787680 | 790560 | 2880 | 787680 | 787.68 | 0.977 | 769.5634
Total |  |  | 10720800 | 36720 | 10684080 | 10720800 | 36720 | 10684080 | 10684.08 | 0.977 | 10438.3462
[5 empty] | Vintage | Generation (MWh) | Emission Reduction (tCO2e)
[5 empty] | 2022 | 2867.76 | 2801.8015
[5 empty] | 2023 | 7816.32 | 7636.5446
[5 empty] | Total | 10684.08 | 10438.3462

## 10_Sewagram
Month | Duration |  | As per JMR |  |  | As per Invoice |  |  | Net Electricity Generated (MWh) | Emission Factor | Emission Reductions
|  |  | Export (KWh) | Import (KWh) | Net Electricity (KWh) | Export (KWh) | Import (KWh) | Net Electricity (KWh)
| From | To
2022-09-01 | 2022-08-30 | 2022-09-30 | 654000 | 2425 | 651575 | 652692 | 2429 | 650263 | 650.263 | 0.977 | 635.307
2022-10-01 | 2022-09-30 | 2022-10-31 | 735350 | 2675 | 732675 | 733879 | 2679 | 731200 | 731.2 | 0.977 | 714.3824
2022-11-01 | 2022-10-31 | 2022-11-30 | 683600 | 2675 | 680925 | 682232 | 2680 | 679552 | 679.552 | 0.977 | 663.9223
2022-12-01 | 2022-11-30 | 2022-12-31 | 704150 | 2800 | 701350 | 702741 | 2805 | 699936 | 699.936 | 0.977 | 683.8375
2023-01-01 | 2022-12-31 | 2023-01-31 | 772450 | 2750 | 769700 | 770905.1 | 2754.4 | 768150.7 | 768.1507 | 0.977 | 750.4832
2023-02-01 | 2023-01-31 | 2023-02-28 | 764100 | 2375 | 761725 | 762571.8 | 2378.1 | 760193.7 | 760.1937 | 0.977 | 742.7092
2023-03-01 | 2023-02-28 | 2023-03-31 | 784900 | 2600 | 782300 | 783330.2 | 2604.4 | 780725.8 | 780.7258 | 0.977 | 762.7691
2023-04-01 | 2023-03-31 | 2023-04-30 | 781050 | 2325 | 778725 | 779487.9 | 2329.4 | 777158.5 | 777.1585 | 0.977 | 759.2839
2023-05-01 | 2023-04-30 | 2023-05-31 | 763475 | 2550 | 760925 | 761948.1 | 2554.3 | 759393.8 | 759.3938 | 0.977 | 741.9277
2023-06-01 | 2023-05-31 | 2023-06-30 | 589700 | 2300 | 587400 | 588520.6 | 2304.4 | 586216.2 | 586.2162 | 0.977 | 572.7332
2023-07-01 | 2023-06-30 | 2023-07-31 | 576250 | 2175 | 574075 | 575097.5 | 2179.1 | 572918.4 | 572.9184 | 0.977 | 559.7413
2023-08-01 | 2023-07-31 | 2023-08-31 | 511800 | 2300 | 509500 | 510776.4 | 2304.4 | 508472 | 508.472 | 0.977 | 496.7771
2023-09-01 | 2023-08-31 | 2023-09-30 | 626350 | 2375 | 623975 | 625097.3 | 2379.5 | 622717.8 | 622.7178 | 0.977 | 608.3953
2023-10-01 | 2023-09-30 | 2023-10-31 | 752725 | 2775 | 749950 | 751219.6 | 2780.3 | 748439.3 | 748.4393 | 0.977 | 731.2252
Total |  |  | 9699900 | 35100 | 9664800 | 9680498.5 | 35161.3 | 9645337.2 | 9645.3372 | 0.977 | 9423.4944
[6 empty] | Vintage | Generation (MWh) | Emission Reduction (tCO2e)
[6 empty] | 2022 | 2760.951 | 2697.4491
[6 empty] | 2023 | 6884.3862 | 6726.0453
[6 empty] | Total | 9645.3372 | 9423.4944

## 11_Pune
Month | Duration |  | As per JMR |  |  | As per Invoice |  |  | Net Electricity Generated (MWh) | Emission Factor | Emission Reductions
|  |  | Export (KWh) | Import (KWh) | Net Electricity (KWh) | Export (KWh) | Import (KWh) | Net Electricity (KWh)
| From | To
2022-09-01 | 2022-08-31 | 2022-09-30 | 90510 | 618 | 89892 | 90510 | 618 | 89892 | 89.892 | 0.977 | 87.8245
2022-10-01 | 2022-09-30 | 2022-10-31 | 112070 | 704 | 111366 | 112070 | 704 | 111366 | 111.366 | 0.977 | 108.8046
2022-11-01 | 2022-10-31 | 2022-11-30 | 119990 | 669 | 119321 | 119990 | 669 | 119321 | 119.321 | 0.977 | 116.5766
2022-12-01 | 2022-11-30 | 2022-12-31 | 93250 | 661 | 92589 | 93250 | 661 | 92589 | 92.589 | 0.977 | 90.4595
2023-01-01 | 2022-12-31 | 2023-01-31 | 115700 | 712 | 114988 | 115700 | 712 | 114988 | 114.988 | 0.977 | 112.3433
2023-02-01 | 2023-01-31 | 2023-02-28 | 126420 | 590 | 125830 | 126420 | 590 | 125830 | 125.83 | 0.977 | 122.9359
2023-03-01 | 2023-02-28 | 2023-03-31 | 132380 | 626 | 131754 | 132380 | 626 | 131754 | 131.754 | 0.977 | 128.7237
2023-04-01 | 2023-03-31 | 2023-04-30 | 105460 | 532 | 104928 | 105460 | 532 | 104928 | 104.928 | 0.977 | 102.5147
2023-05-01 | 2023-04-30 | 2023-05-31 | 116930 | 580 | 116350 | 116930 | 580 | 116350 | 116.35 | 0.977 | 113.6739
2023-06-01 | 2023-05-31 | 2023-06-30 | 120860 | 555 | 120305 | 120860 | 555 | 120305 | 120.305 | 0.977 | 117.538
2023-07-01 | 2023-06-30 | 2023-07-31 | 82420 | 630 | 81790 | 82420 | 630 | 81790 | 81.79 | 0.977 | 79.9088
2023-08-01 | 2023-07-31 | 2023-08-31 | 93070 | 605 | 92465 | 93070 | 605 | 92465 | 92.465 | 0.977 | 90.3383
2023-09-01 | 2023-08-31 | 2023-09-30 | 95220 | 542 | 94678 | 95220 | 542 | 94678 | 94.678 | 0.977 | 92.5004
2023-10-01 | 2023-09-30 | 2023-10-31 | 101550 | 608 | 100942 | 101550 | 608 | 100942 | 100.942 | 0.977 | 98.6203
Total |  |  | 1505830 | 8632 | 1497198 | 1505830 | 8632 | 1497198 | 1497.198 | 0.977 | 1462.7624
[5 empty] | Vintage | Generation (MWh) | Emission Reduction (tCO2e)
[5 empty] | 2022 | 413.168 | 403.6651
[5 empty] | 2023 | 1084.03 | 1059.0973
[5 empty] | Total | 1497.198 | 1462.7624