## Geral
VTRM 2 Renewable Energy
WPP | Ventos de São Vicente 08 | Ventos de São Vicente 09 | Ventos de São Vicente 10 | Ventos de São Vicente 11 | Ventos de São Vicente 12 | Ventos de São Vicente 13 | Ventos de São Vicente 14
Installed Capacity (MW) | 29.4 | 29.4 | 29.4 | 29.4 | 29.4 | 29.4 | 29.4
Total number of WTGs | 14 | 14 | 14 | 14 | 14 | 14 | 14
Avarage Capacity of each WTG (MW) | 2.1 | 2.1 | 2.1 | 2.1 | 2.1 | 2.1 | 2.1
Load factor (%) | 51.7% | 51.7% | 51.7% | 51% | 51% | 52.4% | 52%
Código de Empreendimento de Geração (CEG)1 | EOL.CV.PI.033144-9 | EOL.CV.PI.033143-0 | EOL.CV.PI.033136-8 | EOL.CV.PI.033141-4 | EOL.CV.PI.033140-6 | EOL.CV.PI.033139-2 | EOL.CV.PI.033138-4
Star Operation1 | 06/10/2017 | 06/12/2017 | 17/11/2017 | 09/11/2017 | 29/08/2017 | 19/09/2017 | 02/08/2017
1Data Source: | SIGA ANEEL | MCTI
Additional Information: | The generation data was extracted from the Electric Energy Commercialization Chamber (Câmara de Comercialização de Energia Elétrica - CCEE) by the project owner. The Emission Factor data was extracted from the Ministry of Science, Technology and Innovation (Ministério da Ciência, Tecnologia e Inovação - MCTI).
Notes: | In this table, the names of the power plants listed in the 'ENERGY_CCEE' tab differ from those presented in the Monitoring Report, as the data downloaded from the CCEE uses the legal owner's corporate name rather than the project's actual name. For the purposes of recordkeeping and consistency, this 'Names_WPP' tab presents the correspondence between the names used, adopting the name as registered in ANEEL's SIGA system.

## ER_year
| Energy CCEE/DRI (MWh/month) | Energy CCEE/SCDE (Meters) (MWh/month) | Diff. ¹ | Energy Adopted (MWh/month) | Efgrid,OM,Y (tCO2e/MWh) | Efgrid,BM,y (tCO2e/MWh) | WOM | WBM | EFgrid,CM,y (tCO2e/MWh) | ER_month
2024-01-01 | 17812.8616 | 18161.768 | -1.921% | 17812.8616 | 0.41636 | 0.0523 | 0.75 | 0.25 | 0.32534 | 5795.3178
2024-02-01 | 44645.1564 | 45896.3707 | -2.726% | 44645.1564 | 0.37498 | 0.0523 | 0.75 | 0.25 | 0.29431 | 13139.6272
2024-03-01 | 30916.1234 | 31832.763 | -2.88% | 30916.1234 | 0.27791 | 0.0523 | 0.75 | 0.25 | 0.22151 | 6848.1476
2024-04-01 | 54403.3078 | 55964.4514 | -2.79% | 54403.3078 | 0.19463 | 0.0523 | 0.75 | 0.25 | 0.15905 | 8652.8903
2024-05-01 | 89008.0378 | 91415.2754 | -2.633% | 89008.0378 | 0.28343 | 0.0523 | 0.75 | 0.25 | 0.22565 | 20084.2363
2024-06-01 | 94138.4309 | 96428.7074 | -2.375% | 94138.4309 | 0.36478 | 0.0523 | 0.75 | 0.25 | 0.28666 | 26985.9122
2024-07-01 | 104872.0029 | 107449.869 | -2.399% | 104872.0029 | 0.55029 | 0.0523 | 0.75 | 0.25 | 0.42579 | 44653.9126
2024-08-01 | 98891.4645 | 101369.4431 | -2.445% | 98891.4645 | 0.60147 | 0.0523 | 0.75 | 0.25 | 0.46418 | 45903.1505
2024-09-01 | 86036.4286 | 88293.3479 | -2.556% | 86036.4286 | 0.6054 | 0.0523 | 0.75 | 0.25 | 0.46713 | 40190.0038
2024-10-01 | 60587.7951 | 62141.8814 | -2.501% | 60587.7951 | 0.64768 | 0.0523 | 0.75 | 0.25 | 0.49884 | 30223.3449
2024-11-01 | 50023.46 | 51357.1589 | -2.597% | 50023.46 | 0.55235 | 0.0523 | 0.75 | 0.25 | 0.42734 | 21377.051
2024-12-01 | 40739.0272 | 41786.5404 | -2.507% | 40739.0272 | 0.49779 | 0.0523 | 0.75 | 0.25 | 0.38641 | 15742.1233
Sum | 772074.0963 | 792097.5765 | -2.528% | 772074.0963 |  |  |  |  | 0.36214 | 279595.7174
¹ | A difference of approximately 2.5% was observed between the net generation data reported by the SCDE/CCEE and those accounted for in the DRI/CCEE. This variation is attributed to the data treatment and adjustment procedures applied by CCEE during the accounting and validation process, which may include the rejection of inconsistent measurements, correction of missing data, and application of network topology and loss adjustments for settlement purposes. Such differences are expected within normal operational and metering tolerances (typically in the range of 1–3%), and therefore the DRI/CCEE data — as the officially accounted figures — were adopted for the purpose of emission reduction calculations in this Monitoring Report.

## Emission Factor 2024
Build Margin
Grid Emission Factor - Average (tCO2/MWh) - ANNUAL
2024 | 0.0523
Operating Margin
Grid Emission Factor - Average (tCO2/MWh) - Monthly
2024 | Month
Annual Average | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
0.44726 | 0.41636 | 0.37498 | 0.27791 | 0.19463 | 0.28343 | 0.36478 | 0.55029 | 0.60147 | 0.6054 | 0.64768 | 0.55235 | 0.49779
The combined margin emission factor is calculated as per equation:
Dafalut values for WOM and WBM are 0.75 and 0.25 for wind power project.
Emission Factor | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
EFgrid,BM,y | 0.0523 | 0.0523 | 0.0523 | 0.0523 | 0.0523 | 0.0523 | 0.0523 | 0.0523 | 0.0523 | 0.0523 | 0.0523 | 0.0523
EFgrid,OM-DD,y | 0.41636 | 0.37498 | 0.27791 | 0.19463 | 0.28343 | 0.36478 | 0.55029 | 0.60147 | 0.6054 | 0.64768 | 0.55235 | 0.49779
wBM | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25
wOM | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75
EFgrid,CM,month | 0.32534 | 0.29431 | 0.22151 | 0.15905 | 0.22565 | 0.28666 | 0.42579 | 0.46418 | 0.46713 | 0.49884 | 0.42734 | 0.38641
EFgrid,CM | Jan: 0.3485
Source: | Jan: https://www.gov.br/mcti/pt-br/acompanhe-o-mcti/cgcl/clima/paginas/metodo-da-analise-de-despacho
Date of Upload: | Jan: 2025-07-14
〖𝐸𝐹〗_(𝑔𝑟𝑖𝑑,𝐶𝑀)=〖𝐸𝐹〗_(𝑔𝑟𝑖𝑑,𝑂𝑀,𝑦) × 𝑤_𝑂𝑀 〖+ 𝐸𝐹〗_(𝑔𝑟𝑖𝑑,𝐵𝑀,𝑦) 〖×𝑤〗_𝐵𝑀
Note on B4: Grid Emission Factor - Annual Average in tCO2/MWh
Note on B9: Grid Emission Factor - Month Average in tCO2/MWh

## PDD_Ex-ante
VTRM 2 Renewable Energy | Energy [MWh] | EFgrid,CM [tCO2/MWh] | ER [tCO2]
Total Ex-ante ¹ | 1060590 | 0.4385 | 465101
Total - 01/01/2024 - 31/12/2024 | 772074.0963 | 0.3485 | 279596
Difference | 27.2% | 20.52% | 39.88%
Performance | 72.8% | - | 60.12%
¹ Value of the PDD

## ENERGY_DRI_CCEE
Data Collection: | DRI CCEE
Request Date: | 2025-10-22
Period: | 01/01/2024 to 31/12/2024
Event | Month/Year | Agent Profile | (S) G p,j | (S) CGF p,j | Net electricity | TOTAL
2024_01 - 4ª RECONTABILIZAÇÃO | 01/2024 | VENTOS DE SANTA ALBERTINA | 2698.5088 | 21.2974 | 2677.2114 | (S) G p,j | (S) CGF p,j | Net electricity
2024_01 - 4ª RECONTABILIZAÇÃO | 01/2024 | VENTOS DE SANTO AFONSO | 2594.7098 | 21.175 | 2573.5348 | 772665.994 | 591.8977 | 772074.0963
2024_01 - 4ª RECONTABILIZAÇÃO | 01/2024 | VENTOS DE SANTO AGOSTINHO | 2821.8593 | 21.847 | 2800.0123
2024_01 - 4ª RECONTABILIZAÇÃO | 01/2024 | VENTOS DE SANTO ALBERTO | 2406.9016 | 22.3262 | 2384.5754
2024_01 - 4ª RECONTABILIZAÇÃO | 01/2024 | VENTOS DE SAO ADEODATO | 2356.2473 | 22.708 | 2333.5393
2024_01 - 4ª RECONTABILIZAÇÃO | 01/2024 | VENTOS DE SAO CASIMIRO | 2531.2085 | 21.2295 | 2509.979
2024_01 - 4ª RECONTABILIZAÇÃO | 01/2024 | VENTOS DE SAO VINICIUS | 2555.8439 | 21.8345 | 2534.0093
2024_02 - 3ª RECONTABILIZAÇÃO | 02/2024 | VENTOS DE SANTA ALBERTINA | 6549.3542 | 20.4118 | 6528.9424
2024_02 - 3ª RECONTABILIZAÇÃO | 02/2024 | VENTOS DE SANTO AFONSO | 6209.9073 | 19.3596 | 6190.5477
2024_02 - 3ª RECONTABILIZAÇÃO | 02/2024 | VENTOS DE SANTO AGOSTINHO | 6475.2483 | 18.4524 | 6456.7959
2024_02 - 3ª RECONTABILIZAÇÃO | 02/2024 | VENTOS DE SANTO ALBERTO | 6597.2975 | 18.1543 | 6579.1433
2024_02 - 3ª RECONTABILIZAÇÃO | 02/2024 | VENTOS DE SAO ADEODATO | 6300.3706 | 19.2529 | 6281.1177
2024_02 - 3ª RECONTABILIZAÇÃO | 02/2024 | VENTOS DE SAO CASIMIRO | 6203.106 | 19.0359 | 6184.0701
2024_02 - 3ª RECONTABILIZAÇÃO | 02/2024 | VENTOS DE SAO VINICIUS | 6443.3874 | 18.8481 | 6424.5393
2024_03 - 3ª RECONTABILIZAÇÃO | 03/2024 | VENTOS DE SANTA ALBERTINA | 4348.5867 | 24.2565 | 4324.3302
2024_03 - 3ª RECONTABILIZAÇÃO | 03/2024 | VENTOS DE SANTO AFONSO | 4753.4791 | 20.2639 | 4733.2153
2024_03 - 3ª RECONTABILIZAÇÃO | 03/2024 | VENTOS DE SANTO AGOSTINHO | 4483.4743 | 24.5537 | 4458.9206
2024_03 - 3ª RECONTABILIZAÇÃO | 03/2024 | VENTOS DE SANTO ALBERTO | 4664.904 | 25.0647 | 4639.8393
2024_03 - 3ª RECONTABILIZAÇÃO | 03/2024 | VENTOS DE SAO ADEODATO | 4377.6201 | 23.3897 | 4354.2304
2024_03 - 3ª RECONTABILIZAÇÃO | 03/2024 | VENTOS DE SAO CASIMIRO | 4442.5722 | 20.2631 | 4422.3091
2024_03 - 3ª RECONTABILIZAÇÃO | 03/2024 | VENTOS DE SAO VINICIUS | 4006.1993 | 22.9209 | 3983.2785
2024_04 - 3ª RECONTABILIZAÇÃO | 04/2024 | VENTOS DE SANTA ALBERTINA | 7640.0929 | 8.0971 | 7631.9959
2024_04 - 3ª RECONTABILIZAÇÃO | 04/2024 | VENTOS DE SANTO AFONSO | 8035.3483 | 7.6755 | 8027.6728
2024_04 - 3ª RECONTABILIZAÇÃO | 04/2024 | VENTOS DE SANTO AGOSTINHO | 7545.7461 | 7.5236 | 7538.2225
2024_04 - 3ª RECONTABILIZAÇÃO | 04/2024 | VENTOS DE SANTO ALBERTO | 8095.6046 | 7.5155 | 8088.089
2024_04 - 3ª RECONTABILIZAÇÃO | 04/2024 | VENTOS DE SAO ADEODATO | 7645.7967 | 8.14 | 7637.6567
2024_04 - 3ª RECONTABILIZAÇÃO | 04/2024 | VENTOS DE SAO CASIMIRO | 7618.2503 | 8.0039 | 7610.2464
2024_04 - 3ª RECONTABILIZAÇÃO | 04/2024 | VENTOS DE SAO VINICIUS | 7877.3177 | 7.8933 | 7869.4244
2024_05 - 3ª RECONTABILIZAÇÃO | 05/2024 | VENTOS DE SANTA ALBERTINA | 12463.5723 | 0.88495 | 12462.6874
2024_05 - 3ª RECONTABILIZAÇÃO | 05/2024 | VENTOS DE SANTO AFONSO | 13102.7567 | 1.1638 | 13101.5929
2024_05 - 3ª RECONTABILIZAÇÃO | 05/2024 | VENTOS DE SANTO AGOSTINHO | 12499.338 | 0.5568 | 12498.7812
2024_05 - 3ª RECONTABILIZAÇÃO | 05/2024 | VENTOS DE SANTO ALBERTO | 13167.9688 | 0.68731 | 13167.2815
2024_05 - 3ª RECONTABILIZAÇÃO | 05/2024 | VENTOS DE SAO ADEODATO | 13015.2291 | 0.96111 | 13014.268
2024_05 - 3ª RECONTABILIZAÇÃO | 05/2024 | VENTOS DE SAO CASIMIRO | 11898.1002 | 1.0931 | 11897.0071
2024_05 - 3ª RECONTABILIZAÇÃO | 05/2024 | VENTOS DE SAO VINICIUS | 12867.3749 | 0.95519 | 12866.4197
2024_06 - 3ª RECONTABILIZAÇÃO | 06/2024 | VENTOS DE SANTA ALBERTINA | 13387.0975 | 0 | 13387.0975
2024_06 - 3ª RECONTABILIZAÇÃO | 06/2024 | VENTOS DE SANTO AFONSO | 13785.8686 | 0 | 13785.8686
2024_06 - 3ª RECONTABILIZAÇÃO | 06/2024 | VENTOS DE SANTO AGOSTINHO | 13128.3312 | 0 | 13128.3312
2024_06 - 3ª RECONTABILIZAÇÃO | 06/2024 | VENTOS DE SANTO ALBERTO | 13795.2767 | 0 | 13795.2767
2024_06 - 3ª RECONTABILIZAÇÃO | 06/2024 | VENTOS DE SAO ADEODATO | 13622.4024 | 0 | 13622.4024
2024_06 - 3ª RECONTABILIZAÇÃO | 06/2024 | VENTOS DE SAO CASIMIRO | 12850.3512 | 0.000113 | 12850.351
2024_06 - 3ª RECONTABILIZAÇÃO | 06/2024 | VENTOS DE SAO VINICIUS | 13569.1033 | 0 | 13569.1033
2024_07 - 2ª RECONTABILIZAÇÃO | 07/2024 | VENTOS DE SANTA ALBERTINA | 14685.2361 | 0.002947 | 14685.2332
2024_07 - 2ª RECONTABILIZAÇÃO | 07/2024 | VENTOS DE SANTO AFONSO | 15875.7182 | 6.1e-05 | 15875.7182
2024_07 - 2ª RECONTABILIZAÇÃO | 07/2024 | VENTOS DE SANTO AGOSTINHO | 14412.3722 | 0 | 14412.3722
2024_07 - 2ª RECONTABILIZAÇÃO | 07/2024 | VENTOS DE SANTO ALBERTO | 14736.8881 | 0 | 14736.8881
2024_07 - 2ª RECONTABILIZAÇÃO | 07/2024 | VENTOS DE SAO ADEODATO | 15015.8464 | 9.1e-05 | 15015.8463
2024_07 - 2ª RECONTABILIZAÇÃO | 07/2024 | VENTOS DE SAO CASIMIRO | 14922.7108 | 0.000509 | 14922.7103
2024_07 - 2ª RECONTABILIZAÇÃO | 07/2024 | VENTOS DE SAO VINICIUS | 15223.2347 | 0 | 15223.2347
2024_08 - 2ª RECONTABILIZAÇÃO | 08/2024 | VENTOS DE SANTA ALBERTINA | 13912.8297 | 0 | 13912.8297
2024_08 - 2ª RECONTABILIZAÇÃO | 08/2024 | VENTOS DE SANTO AFONSO | 14642.8972 | 0 | 14642.8972
2024_08 - 2ª RECONTABILIZAÇÃO | 08/2024 | VENTOS DE SANTO AGOSTINHO | 13681.6599 | 0 | 13681.6599
2024_08 - 2ª RECONTABILIZAÇÃO | 08/2024 | VENTOS DE SANTO ALBERTO | 14087.3779 | 0.003348 | 14087.3745
2024_08 - 2ª RECONTABILIZAÇÃO | 08/2024 | VENTOS DE SAO ADEODATO | 14152.3311 | 0 | 14152.3311
2024_08 - 2ª RECONTABILIZAÇÃO | 08/2024 | VENTOS DE SAO CASIMIRO | 14151.5985 | 0 | 14151.5985
2024_08 - 2ª RECONTABILIZAÇÃO | 08/2024 | VENTOS DE SAO VINICIUS | 14262.7737 | 0 | 14262.7737
2024_09 - 3ª RECONTABILIZAÇÃO | 09/2024 | VENTOS DE SANTA ALBERTINA | 12603.2644 | 0 | 12603.2644
2024_09 - 3ª RECONTABILIZAÇÃO | 09/2024 | VENTOS DE SANTO AFONSO | 12627.8244 | 0.000878 | 12627.8236
2024_09 - 3ª RECONTABILIZAÇÃO | 09/2024 | VENTOS DE SANTO AGOSTINHO | 11780.2215 | 0 | 11780.2215
2024_09 - 3ª RECONTABILIZAÇÃO | 09/2024 | VENTOS DE SANTO ALBERTO | 12259.3236 | 0 | 12259.3236
2024_09 - 3ª RECONTABILIZAÇÃO | 09/2024 | VENTOS DE SAO ADEODATO | 12519.8325 | 0 | 12519.8325
2024_09 - 3ª RECONTABILIZAÇÃO | 09/2024 | VENTOS DE SAO CASIMIRO | 12341.0033 | 0 | 12341.0033
2024_09 - 3ª RECONTABILIZAÇÃO | 09/2024 | VENTOS DE SAO VINICIUS | 11904.9597 | 0 | 11904.9597
2024_10 - 2ª RECONTABILIZAÇÃO | 10/2024 | VENTOS DE SANTA ALBERTINA | 8638.5454 | 3.5565 | 8634.9889
2024_10 - 2ª RECONTABILIZAÇÃO | 10/2024 | VENTOS DE SANTO AFONSO | 8908.7679 | 3.8561 | 8904.9118
2024_10 - 2ª RECONTABILIZAÇÃO | 10/2024 | VENTOS DE SANTO AGOSTINHO | 8800.114 | 3.0534 | 8797.0606
2024_10 - 2ª RECONTABILIZAÇÃO | 10/2024 | VENTOS DE SANTO ALBERTO | 8934.3987 | 3.5529 | 8930.8459
2024_10 - 2ª RECONTABILIZAÇÃO | 10/2024 | VENTOS DE SAO ADEODATO | 8053.982 | 2.923 | 8051.0589
2024_10 - 2ª RECONTABILIZAÇÃO | 10/2024 | VENTOS DE SAO CASIMIRO | 8636.7848 | 3.6903 | 8633.0945
2024_10 - 2ª RECONTABILIZAÇÃO | 10/2024 | VENTOS DE SAO VINICIUS | 8638.9859 | 3.1514 | 8635.8345
2024_11 - 3ª RECONTABILIZAÇÃO | 11/2024 | VENTOS DE SANTA ALBERTINA | 7143.1028 | 5.2819 | 7137.8209
2024_11 - 3ª RECONTABILIZAÇÃO | 11/2024 | VENTOS DE SANTO AFONSO | 7414.0472 | 3.997 | 7410.0502
2024_11 - 3ª RECONTABILIZAÇÃO | 11/2024 | VENTOS DE SANTO AGOSTINHO | 7412.9207 | 4.7972 | 7408.1235
2024_11 - 3ª RECONTABILIZAÇÃO | 11/2024 | VENTOS DE SANTO ALBERTO | 7235.066 | 5.0794 | 7229.9866
2024_11 - 3ª RECONTABILIZAÇÃO | 11/2024 | VENTOS DE SAO ADEODATO | 6677.6546 | 4.529 | 6673.1256
2024_11 - 3ª RECONTABILIZAÇÃO | 11/2024 | VENTOS DE SAO CASIMIRO | 7014.8562 | 4.4291 | 7010.4271
2024_11 - 3ª RECONTABILIZAÇÃO | 11/2024 | VENTOS DE SAO VINICIUS | 7158.015 | 4.089 | 7153.926
2024_12 - 1ª RECONTABILIZAÇÃO | 12/2024 | VENTOS DE SANTA ALBERTINA | 5860.9531 | 3.7705 | 5857.1825
2024_12 - 1ª RECONTABILIZAÇÃO | 12/2024 | VENTOS DE SANTO AFONSO | 6153.3561 | 4.409 | 6148.9471
2024_12 - 1ª RECONTABILIZAÇÃO | 12/2024 | VENTOS DE SANTO AGOSTINHO | 6042.1119 | 3.441 | 6038.671
2024_12 - 1ª RECONTABILIZAÇÃO | 12/2024 | VENTOS DE SANTO ALBERTO | 5703.7741 | 5.9728 | 5697.8012
2024_12 - 1ª RECONTABILIZAÇÃO | 12/2024 | VENTOS DE SAO ADEODATO | 5278.6546 | 4.2856 | 5274.369
2024_12 - 1ª RECONTABILIZAÇÃO | 12/2024 | VENTOS DE SAO CASIMIRO | 6069.1049 | 3.0503 | 6066.0546
2024_12 - 1ª RECONTABILIZAÇÃO | 12/2024 | VENTOS DE SAO VINICIUS | 5659.1802 | 3.1785 | 5656.0017

## ENERGY_METER_BAY_SCDE_CCEE
Analysis Module: Origin of Coleta Dice
Application date 10/22/2025
Requested Period from 01/01/2024 to 12/31/2024
Pro Rata
Data - Base mensal | Ponto / Grupo | Ativa C (kWh) | Ativa G (kWh) | Net electricity (kWh) | Net electricity (MWh) | VDP I (MWh)
2024-01-01 | PICNP2CEVP-08 (L) | 102031.128 | 26695288.344 | 26593257.216 | 26593.2572 | 18161.768
2024-02-01 | PICNP2CEVP-08 (L) | 78408.199 | 53206299.09 | 53127890.891 | 53127.8909 | 45896.3707
2024-03-01 | PICNP2CEVP-08 (L) | 124978.264 | 41083783.064 | 40958804.8 | 40958.8048 | 31832.763
2024-04-01 | PICNP2CEVP-08 (L) | 43776.576 | 63638668.355 | 63594891.779 | 63594.8918 | 55964.4514
2024-05-01 | PICNP2CEVP-08 (L) | 3877.41 | 98651881.15 | 98648003.74 | 98648.0037 | 91415.2754
2024-06-01 | PICNP2CEVP-08 (L) | 0.556 | 103040916.767 | 103040916.211 | 103040.9162 | 96428.7074
2024-07-01 | PICNP2CEVP-08 (L) | 0 | 113294758.779 | 113294758.779 | 113294.7588 | 107449.869
2024-08-01 | PICNP2CEVP-08 (L) | 0 | 107731552.871 | 107731552.871 | 107731.5529 | 101369.4431
2024-09-01 | PICNP2CEVP-08 (L) | 0 | 94444150.505 | 94444150.505 | 94444.1505 | 88293.3479
2024-10-01 | PICNP2CEVP-08 (L) | 4544.326 | 70647593.902 | 70643049.576 | 70643.0496 | 62141.8814
2024-11-01 | PICNP2CEVP-08 (L) | 15378.641 | 60029312.139 | 60013933.498 | 60013.9335 | 51357.1589
2024-12-01 | PICNP2CEVP-08 (L) | 17897.534 | 51089934.877 | 51072037.343 | 51072.0373 | 41786.5404
| Sum | 390892.634 | 883554139.843 | 883163247.209 | 883163.2472 | 792097.5765

## Energy_month
| Real Energy (MWh/month) | Estimated Energy (MWh/month) | Performance
2024-01-01 | 17812.8616 | 79073.064 | 22.53%
2024-02-01 | 44645.1564 | 73971.576 | 60.35%
2024-03-01 | 30916.1234 | 79073.064 | 39.1%
2024-04-01 | 54403.3078 | 76522.32 | 71.09%
2024-05-01 | 89008.0378 | 79073.064 | 112.6%
2024-06-01 | 94138.4309 | 76522.32 | 123%
2024-07-01 | 104872.0029 | 79073.064 | 132.6%
2024-08-01 | 98891.4645 | 79073.064 | 125.1%
2024-09-01 | 86036.4286 | 76522.32 | 112.4%
2024-10-01 | 60587.7951 | 79073.064 | 76.62%
2024-11-01 | 50023.46 | 76522.32 | 65.37%
2024-12-01 | 40739.0272 | 79073.064 | 51.52%
TOTAL | 772074.0963 | 933572.304 | 82.7%

## Estimated_Energy
MWh/month | h/month | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | REAL SUM (MWh/month)
2024-01-01 | 744 | 11308.6512 | 11308.6512 | 11308.6512 | 11155.536 | 11155.536 | 11461.7664 | 11374.272 | 79073.064
2024-02-01 | 696 | 10579.0608 | 10579.0608 | 10579.0608 | 10435.824 | 10435.824 | 10722.2976 | 10640.448 | 73971.576
2024-03-01 | 744 | 11308.6512 | 11308.6512 | 11308.6512 | 11155.536 | 11155.536 | 11461.7664 | 11374.272 | 79073.064
2024-04-01 | 720 | 10943.856 | 10943.856 | 10943.856 | 10795.68 | 10795.68 | 11092.032 | 11007.36 | 76522.32
2024-05-01 | 744 | 11308.6512 | 11308.6512 | 11308.6512 | 11155.536 | 11155.536 | 11461.7664 | 11374.272 | 79073.064
2024-06-01 | 720 | 10943.856 | 10943.856 | 10943.856 | 10795.68 | 10795.68 | 11092.032 | 11007.36 | 76522.32
2024-07-01 | 744 | 11308.6512 | 11308.6512 | 11308.6512 | 11155.536 | 11155.536 | 11461.7664 | 11374.272 | 79073.064
2024-08-01 | 744 | 11308.6512 | 11308.6512 | 11308.6512 | 11155.536 | 11155.536 | 11461.7664 | 11374.272 | 79073.064
2024-09-01 | 720 | 10943.856 | 10943.856 | 10943.856 | 10795.68 | 10795.68 | 11092.032 | 11007.36 | 76522.32
2024-10-01 | 744 | 11308.6512 | 11308.6512 | 11308.6512 | 11155.536 | 11155.536 | 11461.7664 | 11374.272 | 79073.064
2024-11-01 | 720 | 10943.856 | 10943.856 | 10943.856 | 10795.68 | 10795.68 | 11092.032 | 11007.36 | 76522.32
2024-12-01 | 744 | 11308.6512 | 11308.6512 | 11308.6512 | 11155.536 | 11155.536 | 11461.7664 | 11374.272 | 79073.064
2025-01-01 | Total | 133515.0432 | 133515.0432 | 133515.0432 | 131707.296 | 131707.296 | 135322.7904 | 134289.792

## SCDE (EOL + UFV)
Analysis Module: Origin of Coleta Dice
Application date 10/22/2025
Requested Period from 01/01/2024 to 12/31/2024
METER SE | Ponto / Grupo | Month | Ativa C (kWh) | Ativa G (kWh) | Net Energy (kWh) | Net Energy (MWh)
UFV SOL DO PIAUI | PICVPIFSDP-08 (L) | 2024-01-01 | 40491.805 | 8523234.881 | 8482743.076 | 8482.7431
UFV SOL DO PIAUI | PICVPIFSDP-08 (L) | 2024-02-01 | 29647.92 | 7302225.554 | 7272577.634 | 7272.5776
UFV SOL DO PIAUI | PICVPIFSDP-08 (L) | 2024-03-01 | 39225.126 | 9215048.492 | 9175823.366 | 9175.8234
UFV SOL DO PIAUI | PICVPIFSDP-08 (L) | 2024-04-01 | 32871.386 | 7703265.447 | 7670394.061 | 7670.3941
UFV SOL DO PIAUI | PICVPIFSDP-08 (L) | 2024-05-01 | 34116.952 | 7307552.831 | 7273435.879 | 7273.4359
UFV SOL DO PIAUI | PICVPIFSDP-08 (L) | 2024-06-01 | 34204.096 | 6683935.476 | 6649731.38 | 6649.7314
UFV SOL DO PIAUI | PICVPIFSDP-08 (L) | 2024-07-01 | 28534.763 | 5906252.75 | 5877717.987 | 5877.718
UFV SOL DO PIAUI | PICVPIFSDP-08 (L) | 2024-08-01 | 27519.649 | 6425736.459 | 6398216.81 | 6398.2168
UFV SOL DO PIAUI | PICVPIFSDP-08 (L) | 2024-09-01 | 25260.923 | 6210880.493 | 6185619.57 | 6185.6196
UFV SOL DO PIAUI | PICVPIFSDP-08 (L) | 2024-10-01 | 26444.387 | 8574201.148 | 8547756.761 | 8547.7568
UFV SOL DO PIAUI | PICVPIFSDP-08 (L) | 2024-11-01 | 23687.405 | 8727016.609 | 8703329.204 | 8703.3292
UFV SOL DO PIAUI | PICVPIFSDP-08 (L) | 2024-12-01 | 23594.915 | 9355206.008 | 9331611.093 | 9331.6111
VENTOS DE SANTA ALBERTINA | PICVPIVIC1104 (L) | 2024-01-01 | 34621.671 | 2780440.69 | 2745819.019 | 2745.819
VENTOS DE SANTA ALBERTINA | PICVPIVIC1104 (L) | 2024-02-01 | 25159.622 | 6774960.495 | 6749800.873 | 6749.8009
VENTOS DE SANTA ALBERTINA | PICVPIVIC1104 (L) | 2024-03-01 | 31538.566 | 4508897.006 | 4477358.44 | 4477.3584
VENTOS DE SANTA ALBERTINA | PICVPIVIC1104 (L) | 2024-04-01 | 10544.132 | 7903189.302 | 7892645.17 | 7892.6452
VENTOS DE SANTA ALBERTINA | PICVPIVIC1104 (L) | 2024-05-01 | 1604.951 | 12873166.125 | 12871561.174 | 12871.5612
VENTOS DE SANTA ALBERTINA | PICVPIVIC1104 (L) | 2024-06-01 | 23.898 | 13790897.446 | 13790873.548 | 13790.8735
VENTOS DE SANTA ALBERTINA | PICVPIVIC1104 (L) | 2024-07-01 | 40.145 | 15131267.658 | 15131227.513 | 15131.2275
VENTOS DE SANTA ALBERTINA | PICVPIVIC1104 (L) | 2024-08-01 | 158.944 | 14342859.095 | 14342700.151 | 14342.7002
VENTOS DE SANTA ALBERTINA | PICVPIVIC1104 (L) | 2024-09-01 | 178.134 | 13007940.428 | 13007762.294 | 13007.7623
VENTOS DE SANTA ALBERTINA | PICVPIVIC1104 (L) | 2024-10-01 | 7118.515 | 8912150.68 | 8905032.165 | 8905.0322
VENTOS DE SANTA ALBERTINA | PICVPIVIC1104 (L) | 2024-11-01 | 9794.45 | 7376613.278 | 7366818.828 | 7366.8188
VENTOS DE SANTA ALBERTINA | PICVPIVIC1104 (L) | 2024-12-01 | 8961.63 | 6046841.064 | 6037879.434 | 6037.8794
VENTOS DE SANTO AFONSO | PICVPIVIC1407 (L) | 2024-01-01 | 35404.255 | 2675383.226 | 2639978.971 | 2639.979
VENTOS DE SANTO AFONSO | PICVPIVIC1407 (L) | 2024-02-01 | 25150.758 | 6425965.041 | 6400814.283 | 6400.8143
VENTOS DE SANTO AFONSO | PICVPIVIC1407 (L) | 2024-03-01 | 28745.186 | 4928562.488 | 4899817.302 | 4899.8173
VENTOS DE SANTO AFONSO | PICVPIVIC1407 (L) | 2024-04-01 | 9624.627 | 8310706.465 | 8301081.838 | 8301.0818
VENTOS DE SANTO AFONSO | PICVPIVIC1407 (L) | 2024-05-01 | 1883.442 | 13533392.941 | 13531509.499 | 13531.5095
VENTOS DE SANTO AFONSO | PICVPIVIC1407 (L) | 2024-06-01 | 73.184 | 14200990.397 | 14200917.213 | 14200.9172
VENTOS DE SANTO AFONSO | PICVPIVIC1407 (L) | 2024-07-01 | 41.712 | 16356404.497 | 16356362.785 | 16356.3628
VENTOS DE SANTO AFONSO | PICVPIVIC1407 (L) | 2024-08-01 | 427.128 | 15094205.975 | 15093778.847 | 15093.7788
VENTOS DE SANTO AFONSO | PICVPIVIC1407 (L) | 2024-09-01 | 228.804 | 13031636.103 | 13031407.299 | 13031.4073
VENTOS DE SANTO AFONSO | PICVPIVIC1407 (L) | 2024-10-01 | 8250.175 | 9191344.889 | 9183094.714 | 9183.0947
VENTOS DE SANTO AFONSO | PICVPIVIC1407 (L) | 2024-11-01 | 9442.164 | 7658298.169 | 7648856.005 | 7648.856
VENTOS DE SANTO AFONSO | PICVPIVIC1407 (L) | 2024-12-01 | 9361.902 | 6347605.586 | 6338243.684 | 6338.2437
VENTOS DE SANTO AGOSTINHO | PICVPIVIC1003 (L) | 2024-01-01 | 33115.429 | 2905972.718 | 2872857.289 | 2872.8573
VENTOS DE SANTO AGOSTINHO | PICVPIVIC1003 (L) | 2024-02-01 | 22373.058 | 6697009.517 | 6674636.459 | 6674.6365
VENTOS DE SANTO AGOSTINHO | PICVPIVIC1003 (L) | 2024-03-01 | 29836.182 | 4646186.044 | 4616349.862 | 4616.3499
VENTOS DE SANTO AGOSTINHO | PICVPIVIC1003 (L) | 2024-04-01 | 9795.947 | 7804374.159 | 7794578.212 | 7794.5782
VENTOS DE SANTO AGOSTINHO | PICVPIVIC1003 (L) | 2024-05-01 | 869.062 | 12910044.678 | 12909175.616 | 12909.1756
VENTOS DE SANTO AGOSTINHO | PICVPIVIC1003 (L) | 2024-06-01 | 18.406 | 13524431.966 | 13524413.56 | 13524.4136
VENTOS DE SANTO AGOSTINHO | PICVPIVIC1003 (L) | 2024-07-01 | 0 | 14850281.631 | 14850281.631 | 14850.2816
VENTOS DE SANTO AGOSTINHO | PICVPIVIC1003 (L) | 2024-08-01 | 279.298 | 14104738.305 | 14104459.007 | 14104.459
VENTOS DE SANTO AGOSTINHO | PICVPIVIC1003 (L) | 2024-09-01 | 269.455 | 12157186.536 | 12156917.081 | 12156.9171
VENTOS DE SANTO AGOSTINHO | PICVPIVIC1003 (L) | 2024-10-01 | 6139.186 | 9077836.857 | 9071697.671 | 9071.6977
VENTOS DE SANTO AGOSTINHO | PICVPIVIC1003 (L) | 2024-11-01 | 8323.622 | 7653829.575 | 7645505.953 | 7645.506
VENTOS DE SANTO AGOSTINHO | PICVPIVIC1003 (L) | 2024-12-01 | 8098.724 | 6232566.389 | 6224467.665 | 6224.4677
VENTOS DE SANTO ALBERTO | PICVPIVIC0902 (L) | 2024-01-01 | 35485.617 | 2481138.379 | 2445652.762 | 2445.6528
VENTOS DE SANTO ALBERTO | PICVPIVIC0902 (L) | 2024-02-01 | 23048.217 | 6824818.862 | 6801770.645 | 6801.7706
VENTOS DE SANTO ALBERTO | PICVPIVIC0902 (L) | 2024-03-01 | 32222.697 | 4835825.129 | 4803602.432 | 4803.6024
VENTOS DE SANTO ALBERTO | PICVPIVIC0902 (L) | 2024-04-01 | 9580.962 | 8373095.208 | 8363514.246 | 8363.5142
VENTOS DE SANTO ALBERTO | PICVPIVIC0902 (L) | 2024-05-01 | 1329.173 | 13600426.36 | 13599097.187 | 13599.0972
VENTOS DE SANTO ALBERTO | PICVPIVIC0902 (L) | 2024-06-01 | 77.018 | 14211038.727 | 14210961.709 | 14210.9617
VENTOS DE SANTO ALBERTO | PICVPIVIC0902 (L) | 2024-07-01 | 5.04 | 15184234.223 | 15184229.183 | 15184.2292
VENTOS DE SANTO ALBERTO | PICVPIVIC0902 (L) | 2024-08-01 | 493.579 | 14523593.398 | 14523099.819 | 14523.0998
VENTOS DE SANTO ALBERTO | PICVPIVIC0902 (L) | 2024-09-01 | 397.826 | 12652561.216 | 12652163.39 | 12652.1634
VENTOS DE SANTO ALBERTO | PICVPIVIC0902 (L) | 2024-10-01 | 8372.021 | 9218312.74 | 9209940.719 | 9209.9407
VENTOS DE SANTO ALBERTO | PICVPIVIC0902 (L) | 2024-11-01 | 9676.515 | 7472257.676 | 7462581.161 | 7462.5812
VENTOS DE SANTO ALBERTO | PICVPIVIC0902 (L) | 2024-12-01 | 12039.671 | 5885438.418 | 5873398.747 | 5873.3987
VENTOS DE SAO ADEODATO | PICVPIVIC1306 (L) | 2024-01-01 | 37064.983 | 2429888.646 | 2392823.663 | 2392.8237
VENTOS DE SAO ADEODATO | PICVPIVIC1306 (L) | 2024-02-01 | 23997.248 | 6518715.5 | 6494718.252 | 6494.7183
VENTOS DE SAO ADEODATO | PICVPIVIC1306 (L) | 2024-03-01 | 30374.078 | 4538945.431 | 4508571.353 | 4508.5714
VENTOS DE SAO ADEODATO | PICVPIVIC1306 (L) | 2024-04-01 | 9918.952 | 7908586.854 | 7898667.902 | 7898.6679
VENTOS DE SAO ADEODATO | PICVPIVIC1306 (L) | 2024-05-01 | 1585.394 | 13443465.474 | 13441880.08 | 13441.8801
VENTOS DE SAO ADEODATO | PICVPIVIC1306 (L) | 2024-06-01 | 17.008 | 14033468.658 | 14033451.65 | 14033.4517
VENTOS DE SAO ADEODATO | PICVPIVIC1306 (L) | 2024-07-01 | 22.369 | 15471462.778 | 15471440.409 | 15471.4404
VENTOS DE SAO ADEODATO | PICVPIVIC1306 (L) | 2024-08-01 | 347.455 | 14590230.132 | 14589882.677 | 14589.8827
VENTOS DE SAO ADEODATO | PICVPIVIC1306 (L) | 2024-09-01 | 230.919 | 12921991.773 | 12921760.854 | 12921.7609
VENTOS DE SAO ADEODATO | PICVPIVIC1306 (L) | 2024-10-01 | 7032.242 | 8310212.416 | 8303180.174 | 8303.1802
VENTOS DE SAO ADEODATO | PICVPIVIC1306 (L) | 2024-11-01 | 9331.995 | 6898199.134 | 6888867.139 | 6888.8671
VENTOS DE SAO ADEODATO | PICVPIVIC1306 (L) | 2024-12-01 | 9874.311 | 5447097.934 | 5437223.623 | 5437.2236
VENTOS DE SAO CASIMIRO | PICVPIVIC1205 (L) | 2024-01-01 | 35604.28 | 2610558.084 | 2574953.804 | 2574.9538
VENTOS DE SAO CASIMIRO | PICVPIVIC1205 (L) | 2024-02-01 | 23972.053 | 6417389.911 | 6393417.858 | 6393.4179
VENTOS DE SAO CASIMIRO | PICVPIVIC1205 (L) | 2024-03-01 | 27290.211 | 4605505.959 | 4578215.748 | 4578.2157
VENTOS DE SAO CASIMIRO | PICVPIVIC1205 (L) | 2024-04-01 | 9705.711 | 7879399.414 | 7869693.703 | 7869.6937
VENTOS DE SAO CASIMIRO | PICVPIVIC1205 (L) | 2024-05-01 | 1664.893 | 12289758.136 | 12288093.243 | 12288.0932
VENTOS DE SAO CASIMIRO | PICVPIVIC1205 (L) | 2024-06-01 | 64.797 | 13237994.193 | 13237929.396 | 13237.9294
VENTOS DE SAO CASIMIRO | PICVPIVIC1205 (L) | 2024-07-01 | 43.43 | 15375514.588 | 15375471.158 | 15375.4712
VENTOS DE SAO CASIMIRO | PICVPIVIC1205 (L) | 2024-08-01 | 310.23 | 14588666.404 | 14588356.174 | 14588.3562
VENTOS DE SAO CASIMIRO | PICVPIVIC1205 (L) | 2024-09-01 | 197.9 | 12736431.802 | 12736233.902 | 12736.2339
VENTOS DE SAO CASIMIRO | PICVPIVIC1205 (L) | 2024-10-01 | 7292.575 | 8910378.4 | 8903085.825 | 8903.0858
VENTOS DE SAO CASIMIRO | PICVPIVIC1205 (L) | 2024-11-01 | 8846.853 | 7245014.179 | 7236167.326 | 7236.1673
VENTOS DE SAO CASIMIRO | PICVPIVIC1205 (L) | 2024-12-01 | 8072.422 | 6260637.055 | 6252564.633 | 6252.5646
VENTOS DE SAO VINICIUS | PICVPIVIC0801 (L) | 2024-01-01 | 34497.639 | 2634583.117 | 2600085.478 | 2600.0855
VENTOS DE SAO VINICIUS | PICVPIVIC0801 (L) | 2024-02-01 | 22900.41 | 6664692.325 | 6641791.915 | 6641.7919
VENTOS DE SAO VINICIUS | PICVPIVIC0801 (L) | 2024-03-01 | 29893.047 | 4152384.956 | 4122491.909 | 4122.4919
VENTOS DE SAO VINICIUS | PICVPIVIC0801 (L) | 2024-04-01 | 9726.052 | 8147031.341 | 8137305.289 | 8137.3053
VENTOS DE SAO VINICIUS | PICVPIVIC0801 (L) | 2024-05-01 | 1510.331 | 13289975.903 | 13288465.572 | 13288.4656
VENTOS DE SAO VINICIUS | PICVPIVIC0801 (L) | 2024-06-01 | 62.591 | 13977430.945 | 13977368.354 | 13977.3684
VENTOS DE SAO VINICIUS | PICVPIVIC0801 (L) | 2024-07-01 | 0 | 15684355.709 | 15684355.709 | 15684.3557
VENTOS DE SAO VINICIUS | PICVPIVIC0801 (L) | 2024-08-01 | 276.225 | 14702747.091 | 14702470.866 | 14702.4709
VENTOS DE SAO VINICIUS | PICVPIVIC0801 (L) | 2024-09-01 | 293.746 | 12287185.765 | 12286892.019 | 12286.892
VENTOS DE SAO VINICIUS | PICVPIVIC0801 (L) | 2024-10-01 | 6931.205 | 8913334.913 | 8906403.708 | 8906.4037
VENTOS DE SAO VINICIUS | PICVPIVIC0801 (L) | 2024-11-01 | 8524.402 | 7393076.804 | 7384552.402 | 7384.5524
VENTOS DE SAO VINICIUS | PICVPIVIC0801 (L) | 2024-12-01 | 8054.171 | 5838339.234 | 5830285.063 | 5830.2851

## DRI (EOL + UFV)
Data Collection: | DRI CCEE
Request Date: | 2025-10-22
Period: | 01/01/2024 to 31/12/2024
Event | Month/Year | Agent Profile | (S) G p,j | (S) CGF p,j | Net electricity | TOTAL (EOL + UFV)
2024_01 - 4ª RECONTABILIZAÇÃO | 01/2024 | UFV SOL DO PIAUI | 8003.4569 | 39.3556 | 7964.1014 | (S) G p,j | (S) CGF p,j | Net electricity
2024_01 - 4ª RECONTABILIZAÇÃO | 01/2024 | VENTOS DE SANTA ALBERTINA | 2698.5088 | 21.2974 | 2677.2114 | 861396.7038 | 941.6349 | 860455.0689
2024_01 - 4ª RECONTABILIZAÇÃO | 01/2024 | VENTOS DE SANTO AFONSO | 2594.7098 | 21.175 | 2573.5348
2024_01 - 4ª RECONTABILIZAÇÃO | 01/2024 | VENTOS DE SANTO AGOSTINHO | 2821.8593 | 21.847 | 2800.0123
2024_01 - 4ª RECONTABILIZAÇÃO | 01/2024 | VENTOS DE SANTO ALBERTO | 2406.9016 | 22.3262 | 2384.5754
2024_01 - 4ª RECONTABILIZAÇÃO | 01/2024 | VENTOS DE SAO ADEODATO | 2356.2473 | 22.708 | 2333.5393
2024_01 - 4ª RECONTABILIZAÇÃO | 01/2024 | VENTOS DE SAO CASIMIRO | 2531.2085 | 21.2295 | 2509.979
2024_01 - 4ª RECONTABILIZAÇÃO | 01/2024 | VENTOS DE SAO VINICIUS | 2555.8439 | 21.8345 | 2534.0093
2024_02 - 3ª RECONTABILIZAÇÃO | 02/2024 | UFV SOL DO PIAUI | 7060.5201 | 28.5133 | 7032.0068
2024_02 - 3ª RECONTABILIZAÇÃO | 02/2024 | VENTOS DE SANTA ALBERTINA | 6549.3542 | 20.4118 | 6528.9424
2024_02 - 3ª RECONTABILIZAÇÃO | 02/2024 | VENTOS DE SANTO AFONSO | 6209.9073 | 19.3596 | 6190.5477
2024_02 - 3ª RECONTABILIZAÇÃO | 02/2024 | VENTOS DE SANTO AGOSTINHO | 6475.2483 | 18.4524 | 6456.7959
2024_02 - 3ª RECONTABILIZAÇÃO | 02/2024 | VENTOS DE SANTO ALBERTO | 6597.2975 | 18.1543 | 6579.1433
2024_02 - 3ª RECONTABILIZAÇÃO | 02/2024 | VENTOS DE SAO ADEODATO | 6300.3706 | 19.2529 | 6281.1177
2024_02 - 3ª RECONTABILIZAÇÃO | 02/2024 | VENTOS DE SAO CASIMIRO | 6203.106 | 19.0359 | 6184.0701
2024_02 - 3ª RECONTABILIZAÇÃO | 02/2024 | VENTOS DE SAO VINICIUS | 6443.3874 | 18.8481 | 6424.5393
2024_03 - 3ª RECONTABILIZAÇÃO | 03/2024 | UFV SOL DO PIAUI | 8907.8275 | 38.8451 | 8868.9824
2024_03 - 3ª RECONTABILIZAÇÃO | 03/2024 | VENTOS DE SANTA ALBERTINA | 4348.5867 | 24.2565 | 4324.3302
2024_03 - 3ª RECONTABILIZAÇÃO | 03/2024 | VENTOS DE SANTO AFONSO | 4753.4791 | 20.2639 | 4733.2153
2024_03 - 3ª RECONTABILIZAÇÃO | 03/2024 | VENTOS DE SANTO AGOSTINHO | 4483.4743 | 24.5537 | 4458.9206
2024_03 - 3ª RECONTABILIZAÇÃO | 03/2024 | VENTOS DE SANTO ALBERTO | 4664.904 | 25.0647 | 4639.8393
2024_03 - 3ª RECONTABILIZAÇÃO | 03/2024 | VENTOS DE SAO ADEODATO | 4377.6201 | 23.3897 | 4354.2304
2024_03 - 3ª RECONTABILIZAÇÃO | 03/2024 | VENTOS DE SAO CASIMIRO | 4442.5722 | 20.2631 | 4422.3091
2024_03 - 3ª RECONTABILIZAÇÃO | 03/2024 | VENTOS DE SAO VINICIUS | 4006.1993 | 22.9209 | 3983.2785
2024_04 - 3ª RECONTABILIZAÇÃO | 04/2024 | UFV SOL DO PIAUI | 7450.3983 | 31.5983 | 7418.8001
2024_04 - 3ª RECONTABILIZAÇÃO | 04/2024 | VENTOS DE SANTA ALBERTINA | 7640.0929 | 8.0971 | 7631.9959
2024_04 - 3ª RECONTABILIZAÇÃO | 04/2024 | VENTOS DE SANTO AFONSO | 8035.3483 | 7.6755 | 8027.6728
2024_04 - 3ª RECONTABILIZAÇÃO | 04/2024 | VENTOS DE SANTO AGOSTINHO | 7545.7461 | 7.5236 | 7538.2225
2024_04 - 3ª RECONTABILIZAÇÃO | 04/2024 | VENTOS DE SANTO ALBERTO | 8095.6046 | 7.5155 | 8088.089
2024_04 - 3ª RECONTABILIZAÇÃO | 04/2024 | VENTOS DE SAO ADEODATO | 7645.7967 | 8.14 | 7637.6567
2024_04 - 3ª RECONTABILIZAÇÃO | 04/2024 | VENTOS DE SAO CASIMIRO | 7618.2503 | 8.0039 | 7610.2464
2024_04 - 3ª RECONTABILIZAÇÃO | 04/2024 | VENTOS DE SAO VINICIUS | 7877.3177 | 7.8933 | 7869.4244
2024_05 - 3ª RECONTABILIZAÇÃO | 05/2024 | UFV SOL DO PIAUI | 7069.6054 | 32.2369 | 7037.3685
2024_05 - 3ª RECONTABILIZAÇÃO | 05/2024 | VENTOS DE SANTA ALBERTINA | 12463.5723 | 0.88495 | 12462.6874
2024_05 - 3ª RECONTABILIZAÇÃO | 05/2024 | VENTOS DE SANTO AFONSO | 13102.7567 | 1.1638 | 13101.5929
2024_05 - 3ª RECONTABILIZAÇÃO | 05/2024 | VENTOS DE SANTO AGOSTINHO | 12499.338 | 0.5568 | 12498.7812
2024_05 - 3ª RECONTABILIZAÇÃO | 05/2024 | VENTOS DE SANTO ALBERTO | 13167.9688 | 0.68731 | 13167.2815
2024_05 - 3ª RECONTABILIZAÇÃO | 05/2024 | VENTOS DE SAO ADEODATO | 13015.2291 | 0.96111 | 13014.268
2024_05 - 3ª RECONTABILIZAÇÃO | 05/2024 | VENTOS DE SAO CASIMIRO | 11898.1002 | 1.0931 | 11897.0071
2024_05 - 3ª RECONTABILIZAÇÃO | 05/2024 | VENTOS DE SAO VINICIUS | 12867.3749 | 0.95519 | 12866.4197
2024_06 - 3ª RECONTABILIZAÇÃO | 06/2024 | UFV SOL DO PIAUI | 6483.3872 | 32.411 | 6450.9762
2024_06 - 3ª RECONTABILIZAÇÃO | 06/2024 | VENTOS DE SANTA ALBERTINA | 13387.0975 | 0 | 13387.0975
2024_06 - 3ª RECONTABILIZAÇÃO | 06/2024 | VENTOS DE SANTO AFONSO | 13785.8686 | 0 | 13785.8686
2024_06 - 3ª RECONTABILIZAÇÃO | 06/2024 | VENTOS DE SANTO AGOSTINHO | 13128.3312 | 0 | 13128.3312
2024_06 - 3ª RECONTABILIZAÇÃO | 06/2024 | VENTOS DE SANTO ALBERTO | 13795.2767 | 0 | 13795.2767
2024_06 - 3ª RECONTABILIZAÇÃO | 06/2024 | VENTOS DE SAO ADEODATO | 13622.4024 | 0 | 13622.4024
2024_06 - 3ª RECONTABILIZAÇÃO | 06/2024 | VENTOS DE SAO CASIMIRO | 12850.3512 | 0.000113 | 12850.351
2024_06 - 3ª RECONTABILIZAÇÃO | 06/2024 | VENTOS DE SAO VINICIUS | 13569.1033 | 0 | 13569.1033
2024_07 - 2ª RECONTABILIZAÇÃO | 07/2024 | UFV SOL DO PIAUI | 5720.4821 | 27.3859 | 5693.0962
2024_07 - 2ª RECONTABILIZAÇÃO | 07/2024 | VENTOS DE SANTA ALBERTINA | 14685.2361 | 0.002947 | 14685.2332
2024_07 - 2ª RECONTABILIZAÇÃO | 07/2024 | VENTOS DE SANTO AFONSO | 15875.7182 | 6.1e-05 | 15875.7182
2024_07 - 2ª RECONTABILIZAÇÃO | 07/2024 | VENTOS DE SANTO AGOSTINHO | 14412.3722 | 0 | 14412.3722
2024_07 - 2ª RECONTABILIZAÇÃO | 07/2024 | VENTOS DE SANTO ALBERTO | 14736.8881 | 0 | 14736.8881
2024_07 - 2ª RECONTABILIZAÇÃO | 07/2024 | VENTOS DE SAO ADEODATO | 15015.8464 | 9.1e-05 | 15015.8463
2024_07 - 2ª RECONTABILIZAÇÃO | 07/2024 | VENTOS DE SAO CASIMIRO | 14922.7108 | 0.000509 | 14922.7103
2024_07 - 2ª RECONTABILIZAÇÃO | 07/2024 | VENTOS DE SAO VINICIUS | 15223.2347 | 0 | 15223.2347
2024_08 - 2ª RECONTABILIZAÇÃO | 08/2024 | UFV SOL DO PIAUI | 6217.7533 | 25.3224 | 6192.4309
2024_08 - 2ª RECONTABILIZAÇÃO | 08/2024 | VENTOS DE SANTA ALBERTINA | 13912.8297 | 0 | 13912.8297
2024_08 - 2ª RECONTABILIZAÇÃO | 08/2024 | VENTOS DE SANTO AFONSO | 14642.8972 | 0 | 14642.8972
2024_08 - 2ª RECONTABILIZAÇÃO | 08/2024 | VENTOS DE SANTO AGOSTINHO | 13681.6599 | 0 | 13681.6599
2024_08 - 2ª RECONTABILIZAÇÃO | 08/2024 | VENTOS DE SANTO ALBERTO | 14087.3779 | 0.003348 | 14087.3745
2024_08 - 2ª RECONTABILIZAÇÃO | 08/2024 | VENTOS DE SAO ADEODATO | 14152.3311 | 0 | 14152.3311
2024_08 - 2ª RECONTABILIZAÇÃO | 08/2024 | VENTOS DE SAO CASIMIRO | 14151.5985 | 0 | 14151.5985
2024_08 - 2ª RECONTABILIZAÇÃO | 08/2024 | VENTOS DE SAO VINICIUS | 14262.7737 | 0 | 14262.7737
2024_09 - 3ª RECONTABILIZAÇÃO | 09/2024 | UFV SOL DO PIAUI | 6006.773 | 23.0716 | 5983.7013
2024_09 - 3ª RECONTABILIZAÇÃO | 09/2024 | VENTOS DE SANTA ALBERTINA | 12603.2644 | 0 | 12603.2644
2024_09 - 3ª RECONTABILIZAÇÃO | 09/2024 | VENTOS DE SANTO AFONSO | 12627.8244 | 0.000878 | 12627.8236
2024_09 - 3ª RECONTABILIZAÇÃO | 09/2024 | VENTOS DE SANTO AGOSTINHO | 11780.2215 | 0 | 11780.2215
2024_09 - 3ª RECONTABILIZAÇÃO | 09/2024 | VENTOS DE SANTO ALBERTO | 12259.3236 | 0 | 12259.3236
2024_09 - 3ª RECONTABILIZAÇÃO | 09/2024 | VENTOS DE SAO ADEODATO | 12519.8325 | 0 | 12519.8325
2024_09 - 3ª RECONTABILIZAÇÃO | 09/2024 | VENTOS DE SAO CASIMIRO | 12341.0033 | 0 | 12341.0033
2024_09 - 3ª RECONTABILIZAÇÃO | 09/2024 | VENTOS DE SAO VINICIUS | 11904.9597 | 0 | 11904.9597
2024_10 - 2ª RECONTABILIZAÇÃO | 10/2024 | UFV SOL DO PIAUI | 8302.2886 | 24.9708 | 8277.3178
2024_10 - 2ª RECONTABILIZAÇÃO | 10/2024 | VENTOS DE SANTA ALBERTINA | 8638.5454 | 3.5565 | 8634.9889
2024_10 - 2ª RECONTABILIZAÇÃO | 10/2024 | VENTOS DE SANTO AFONSO | 8908.7679 | 3.8561 | 8904.9118
2024_10 - 2ª RECONTABILIZAÇÃO | 10/2024 | VENTOS DE SANTO AGOSTINHO | 8800.114 | 3.0534 | 8797.0606
2024_10 - 2ª RECONTABILIZAÇÃO | 10/2024 | VENTOS DE SANTO ALBERTO | 8934.3987 | 3.5529 | 8930.8459
2024_10 - 2ª RECONTABILIZAÇÃO | 10/2024 | VENTOS DE SAO ADEODATO | 8053.982 | 2.923 | 8051.0589
2024_10 - 2ª RECONTABILIZAÇÃO | 10/2024 | VENTOS DE SAO CASIMIRO | 8636.7848 | 3.6903 | 8633.0945
2024_10 - 2ª RECONTABILIZAÇÃO | 10/2024 | VENTOS DE SAO VINICIUS | 8638.9859 | 3.1514 | 8635.8345
2024_11 - 3ª RECONTABILIZAÇÃO | 11/2024 | UFV SOL DO PIAUI | 8442.0056 | 22.9799 | 8419.0257
2024_11 - 3ª RECONTABILIZAÇÃO | 11/2024 | VENTOS DE SANTA ALBERTINA | 7143.1028 | 5.2819 | 7137.8209
2024_11 - 3ª RECONTABILIZAÇÃO | 11/2024 | VENTOS DE SANTO AFONSO | 7414.0472 | 3.997 | 7410.0502
2024_11 - 3ª RECONTABILIZAÇÃO | 11/2024 | VENTOS DE SANTO AGOSTINHO | 7412.9207 | 4.7972 | 7408.1235
2024_11 - 3ª RECONTABILIZAÇÃO | 11/2024 | VENTOS DE SANTO ALBERTO | 7235.066 | 5.0794 | 7229.9866
2024_11 - 3ª RECONTABILIZAÇÃO | 11/2024 | VENTOS DE SAO ADEODATO | 6677.6546 | 4.529 | 6673.1256
2024_11 - 3ª RECONTABILIZAÇÃO | 11/2024 | VENTOS DE SAO CASIMIRO | 7014.8562 | 4.4291 | 7010.4271
2024_11 - 3ª RECONTABILIZAÇÃO | 11/2024 | VENTOS DE SAO VINICIUS | 7158.015 | 4.089 | 7153.926
2024_12 - 1ª RECONTABILIZAÇÃO | 12/2024 | UFV SOL DO PIAUI | 9066.2119 | 23.0465 | 9043.1654
2024_12 - 1ª RECONTABILIZAÇÃO | 12/2024 | VENTOS DE SANTA ALBERTINA | 5860.9531 | 3.7705 | 5857.1825
2024_12 - 1ª RECONTABILIZAÇÃO | 12/2024 | VENTOS DE SANTO AFONSO | 6153.3561 | 4.409 | 6148.9471
2024_12 - 1ª RECONTABILIZAÇÃO | 12/2024 | VENTOS DE SANTO AGOSTINHO | 6042.1119 | 3.441 | 6038.671
2024_12 - 1ª RECONTABILIZAÇÃO | 12/2024 | VENTOS DE SANTO ALBERTO | 5703.7741 | 5.9728 | 5697.8012
2024_12 - 1ª RECONTABILIZAÇÃO | 12/2024 | VENTOS DE SAO ADEODATO | 5278.6546 | 4.2856 | 5274.369
2024_12 - 1ª RECONTABILIZAÇÃO | 12/2024 | VENTOS DE SAO CASIMIRO | 6069.1049 | 3.0503 | 6066.0546
2024_12 - 1ª RECONTABILIZAÇÃO | 12/2024 | VENTOS DE SAO VINICIUS | 5659.1802 | 3.1785 | 5656.0017

## Pro-rata
Analysis Module: Origin of Coleta Dice
Application date 10/22/2025
Requested Period from 01/01/2024 to 12/31/2024
SCDE | Net electricity - Meter BAY (EOL + UFV) | UFV SOL DO PIAUI | VENTOS DE SANTA ALBERTINA | VENTOS DE SANTO AFONSO | VENTOS DE SANTO AGOSTINHO | VENTOS DE SANTO ALBERTO | VENTOS DE SAO ADEODATO | VENTOS DE SAO CASIMIRO | VENTOS DE SAO VINICIUS | TOTAL Net electricity (EOL) | TOTAL Net electricity (EOL + UFV) | % BAY for VDP I | BAY - VDP I
2024-01-01 | 26593.2572 | 8482.7431 | 2745.819 | 2639.979 | 2872.8573 | 2445.6528 | 2392.8237 | 2574.9538 | 2600.0855 | 18272.171 | 26754.9141 | 68.29% | 18161.768
2024-02-01 | 53127.8909 | 7272.5776 | 6749.8009 | 6400.8143 | 6674.6365 | 6801.7706 | 6494.7183 | 6393.4179 | 6641.7919 | 46156.9503 | 53429.5279 | 86.39% | 45896.3707
2024-03-01 | 40958.8048 | 9175.8234 | 4477.3584 | 4899.8173 | 4616.3499 | 4803.6024 | 4508.5714 | 4578.2157 | 4122.4919 | 32006.407 | 41182.2304 | 77.72% | 31832.763
2024-04-01 | 63594.8918 | 7670.3941 | 7892.6452 | 8301.0818 | 7794.5782 | 8363.5142 | 7898.6679 | 7869.6937 | 8137.3053 | 56257.4864 | 63927.8804 | 88% | 55964.4514
2024-05-01 | 98648.0037 | 7273.4359 | 12871.5612 | 13531.5095 | 12909.1756 | 13599.0972 | 13441.8801 | 12288.0932 | 13288.4656 | 91929.7824 | 99203.2182 | 92.67% | 91415.2754
2024-06-01 | 103040.9162 | 6649.7314 | 13790.8735 | 14200.9172 | 13524.4136 | 14210.9617 | 14033.4517 | 13237.9294 | 13977.3684 | 96975.9154 | 103625.6468 | 93.58% | 96428.7074
2024-07-01 | 113294.7588 | 5877.718 | 15131.2275 | 16356.3628 | 14850.2816 | 15184.2292 | 15471.4404 | 15375.4712 | 15684.3557 | 108053.3684 | 113931.0864 | 94.84% | 107449.869
2024-08-01 | 107731.5529 | 6398.2168 | 14342.7002 | 15093.7788 | 14104.459 | 14523.0998 | 14589.8827 | 14588.3562 | 14702.4709 | 101944.7475 | 108342.9644 | 94.09% | 101369.4431
2024-09-01 | 94444.1505 | 6185.6196 | 13007.7623 | 13031.4073 | 12156.9171 | 12652.1634 | 12921.7609 | 12736.2339 | 12286.892 | 88793.1368 | 94978.7564 | 93.49% | 88293.3479
2024-10-01 | 70643.0496 | 8547.7568 | 8905.0322 | 9183.0947 | 9071.6977 | 9209.9407 | 8303.1802 | 8903.0858 | 8906.4037 | 62482.435 | 71030.1917 | 87.97% | 62141.8814
2024-11-01 | 60013.9335 | 8703.3292 | 7366.8188 | 7648.856 | 7645.506 | 7462.5812 | 6888.8671 | 7236.1673 | 7384.5524 | 51633.3488 | 60336.678 | 85.58% | 51357.1589
2024-12-01 | 51072.0373 | 9331.6111 | 6037.8794 | 6338.2437 | 6224.4677 | 5873.3987 | 5437.2236 | 6252.5646 | 5830.2851 | 41994.0628 | 51325.6739 | 81.82% | 41786.5404
TOTAL | 883163.2472 | 91568.9568 | 113319.4786 | 117625.8624 | 112445.34 | 115130.012 | 112382.4678 | 112034.1828 | 113562.4683 | 796499.8119 | 888068.7687 |  | 792097.5765
DRI | TOTAL Net electricity (EOL + UFV) | UFV SOL DO PIAUI | VENTOS DE SANTA ALBERTINA | VENTOS DE SANTO AFONSO | VENTOS DE SANTO AGOSTINHO | VENTOS DE SANTO ALBERTO | VENTOS DE SAO ADEODATO | VENTOS DE SAO CASIMIRO | VENTOS DE SAO VINICIUS | TOTAL Net electricity (EOL) | % for VDP I |  | Cross Check % VDP I
2024-01-01 | 25776.963 | 7964.1014 | 2677.2114 | 2573.5348 | 2800.0123 | 2384.5754 | 2333.5393 | 2509.979 | 2534.0093 | 17812.8616 | 69.1% |  | -0.8092%
2024-02-01 | 51677.1632 | 7032.0068 | 6528.9424 | 6190.5477 | 6456.7959 | 6579.1433 | 6281.1177 | 6184.0701 | 6424.5393 | 44645.1564 | 86.39% |  | -0.003961%
2024-03-01 | 39785.1058 | 8868.9824 | 4324.3302 | 4733.2153 | 4458.9206 | 4639.8393 | 4354.2304 | 4422.3091 | 3983.2785 | 30916.1234 | 77.71% |  | 0.01119%
2024-04-01 | 61822.1078 | 7418.8001 | 7631.9959 | 8027.6728 | 7538.2225 | 8088.089 | 7637.6567 | 7610.2464 | 7869.4244 | 54403.3078 | 88% |  | 0.001727%
2024-05-01 | 96045.4063 | 7037.3685 | 12462.6874 | 13101.5929 | 12498.7812 | 13167.2815 | 13014.268 | 11897.0071 | 12866.4197 | 89008.0378 | 92.67% |  | -0.004728%
2024-06-01 | 100589.407 | 6450.9762 | 13387.0975 | 13785.8686 | 13128.3312 | 13795.2767 | 13622.4024 | 12850.351 | 13569.1033 | 94138.4309 | 93.59% |  | -0.003895%
2024-07-01 | 110565.0992 | 5693.0962 | 14685.2332 | 15875.7182 | 14412.3722 | 14736.8881 | 15015.8463 | 14922.7103 | 15223.2347 | 104872.0029 | 94.85% |  | -0.009922%
2024-08-01 | 105083.8954 | 6192.4309 | 13912.8297 | 14642.8972 | 13681.6599 | 14087.3745 | 14152.3311 | 14151.5985 | 14262.7737 | 98891.4645 | 94.11% |  | -0.01268%
2024-09-01 | 92020.13 | 5983.7013 | 12603.2644 | 12627.8236 | 11780.2215 | 12259.3236 | 12519.8325 | 12341.0033 | 11904.9597 | 86036.4286 | 93.5% |  | -0.01003%
2024-10-01 | 68865.1129 | 8277.3178 | 8634.9889 | 8904.9118 | 8797.0606 | 8930.8459 | 8051.0589 | 8633.0945 | 8635.8345 | 60587.7951 | 87.98% |  | -0.01437%
2024-11-01 | 58442.4856 | 8419.0257 | 7137.8209 | 7410.0502 | 7408.1235 | 7229.9866 | 6673.1256 | 7010.4271 | 7153.926 | 50023.46 | 85.59% |  | -0.01895%
2024-12-01 | 49782.1926 | 9043.1654 | 5857.1825 | 6148.9471 | 6038.671 | 5697.8012 | 5274.369 | 6066.0546 | 5656.0017 | 40739.0272 | 81.83% |  | -0.01571%
TOTAL | 860455.0689 | 88380.9726 | 109843.5845 | 114022.7801 | 108999.1725 | 111596.4252 | 108929.778 | 108598.8512 | 110083.5049 | 772074.0963

## Names_WPP
Plant Name (Name used in the Monitoring Report) | CEG Code | Source | Owner (Legal Entity) | Plant Name in 'ENERGY_CCEE' tab
Ventos de São Vicente 11 | EOL.CV.PI.033141-4 | Wind | Ventos de Santa Albertina Energias Renováveis S.A. | Ventos de Santa Albertina
Ventos de São Vicente 14 | EOL.CV.PI.033138-4 | Wind | Ventos de Santo Afonso Energias Renováveis S.A. | Ventos de Santo Afonso
Ventos de São Vicente 10 | EOL.CV.PI.033136-8 | Wind | Ventos de Santo Agostinho Energias Renováveis S.A. | Ventos de Santo Agostinho
Ventos de São Vicente 09 | EOL.CV.PI.033143-0 | Wind | Ventos de Santo Alberto Energias Renováveis S.A. | Ventos de Santo Alberto
Ventos de São Vicente 13 | EOL.CV.PI.033139-2 | Wind | Ventos de São Adeodato Energias Renováveis S.A. | Ventos de São Adeodato
Ventos de São Vicente 12 | EOL.CV.PI.033140-6 | Wind | Ventos de São Casimiro Energias Renováveis S.A. | Ventos de São Casimiro
Ventos de São Vicente 08 | EOL.CV.PI.033144-9 | Wind | Ventos de São Vinícius Energias Renováveis S.A. | Ventos de São Vinícius
Data Source: | SIGA ANEEL