## ER Calculation
Wind based power generation by Panama Wind Energy Private Limited in Maharashtra, India Energy Private Limited in Maharashtra, India
Monitoring Period | From | To
| 2016-04-02 | 2017-03-01 | Both dates Inclusive
|  | As per PDD for 1 Year | For Monitoring Period
Particulars | Unit | Ex-ante Values | Ex-ante Values | Actual Values
Installed Power Generation Capacity | MW | 100.8 | 72 | 72
Meter Reading for Period | Days | 365 | 334 | 334
Total Hours | Hrs. | 8760 | 8016 | 8016
Plant Load Factor considered in Financials | % | 22.24% | 22.24% | 24.54%
Net Power Export to Grid | MWh | 196363.319 | 128347.0618 | 141649.263
Baseline emission factor considered | tCO2/MWh | 0.9486 | 0.9486 | 0.9486
Baseline Emissions | tCO2 | 186270.2444 | 121750.0228 | 134368.4909
Project Emissions | tCO2 | 0 | 0 | 0
Leakage Emissions | tCO2 | 0 | 0 | 0
CER Generated for the Monitoring Period | tCO2 | 186270.2444 | 121750.0228 | 134368
Change in Plant Load Factor | % |  | 10.36%
No. of WTGs as for implementation as per PDD | 63
WTGs comissioned/implemented | 45
Yet to commission | 18

## Generaration Data
|  | Feeder 1 - 8 WTGs |  |  | Feeder No 2- 15 WTGs |  |  | Feeder 3-10 WTGs |  |  | Feeder No 4- 12 WTGs |  |  | Total
|  | Location no: 4, 8-13, 49 |  |  | Location no: 14-17, 19-20, 22-23, 25-28, 34,38,43 |  |  | Location no: 5-6, 32, 40-42, 45-48 |  |  | Location no: 7,18,31,37,50-52,55-56,61-63 |  |  | Location no: All Project Activity WTGs
Meter Reading for Period* |  | Break-up of Energy | Meter Reading for Period* |  | Break-up of Energy | Meter Reading for Period* |  | Break-up of Energy | Meter Reading for Period* |  | Break-up of Energy | Meter Reading for Period* |  | Break-up of Energy | Emission factor | Emission Reductions in tCO2
From | To | Credit Note | From | To | Credit Note | From | To | Credit Note | From | To | Credit Note | From | To | Credit Note
2016-04-02 | 2016-05-01 | 1137521.999 | 2016-04-02 | 2016-05-01 | 1878213 | 2016-04-02 | 2016-05-01 | 1964228.999 | 2016-04-02 | 2016-05-01 | 3321387.002 | 2016-04-02 | 2016-05-01 | 8301351 | 0.9486 | 7874.6616
2016-05-01 | 2016-06-01 | 2440941 | 2016-05-01 | 2016-06-01 | 3371574 | 2016-05-01 | 2016-06-01 | 3147746.999 | 2016-05-01 | 2016-06-01 | 4414005 | 2016-05-01 | 2016-06-01 | 13374266.999 | 0.9486 | 12686.8297
2016-06-01 | 2016-07-01 | 3802937.999 | 2016-06-01 | 2016-07-01 | 4739907 | 2016-06-01 | 2016-07-01 | 5093685 | 2016-06-01 | 2016-07-01 | 6354837.001 | 2016-06-01 | 2016-07-01 | 19991367 | 0.9486 | 18963.8107
2016-07-01 | 2016-08-01 | 5625687.001 | 2016-07-01 | 2016-08-01 | 6748455 | 2016-07-01 | 2016-08-01 | 6060489.001 | 2016-07-01 | 2016-08-01 | 7915029.001 | 2016-07-01 | 2016-08-01 | 26349660.003 | 0.9486 | 24995.2875
2016-08-01 | 2016-09-01 | 6604428 | 2016-08-01 | 2016-09-01 | 7929579 | 2016-08-01 | 2016-09-01 | 7127766 | 2016-08-01 | 2016-09-01 | 9434127.002 | 2016-08-01 | 2016-09-01 | 31095900.002 | 0.9486 | 29497.5707
2016-09-01 | 2016-10-01 | 3189420 | 2016-09-01 | 2016-10-01 | 4006488.001 | 2016-09-01 | 2016-10-01 | 4172291.999 | 2016-09-01 | 2016-10-01 | 5354322.003 | 2016-09-01 | 2016-10-01 | 16722522.003 | 0.9486 | 15862.9844
2016-10-01 | 2016-11-01 | 818138.999 | 2016-10-01 | 2016-11-01 | 1067663.999 | 2016-10-01 | 2016-11-01 | 1136030.999 | 2016-10-01 | 2016-11-01 | 1430313.001 | 2016-10-01 | 2016-11-01 | 4452146.998 | 0.9486 | 4223.3066
2016-11-01 | 2016-12-01 | 1415486.999 | 2016-11-01 | 2016-12-01 | 1304835.001 | 2016-11-01 | 2016-12-01 | 1185411 | 2016-11-01 | 2016-12-01 | 1246758 | 2016-11-01 | 2016-12-01 | 5152491 | 0.9486 | 4887.653
2016-12-01 | 2017-01-01 | 2037276 | 2016-12-01 | 2017-01-01 | 2277453 | 2016-12-01 | 2017-01-01 | 2062773 | 2016-12-01 | 2017-01-01 | 2242059 | 2016-12-01 | 2017-01-01 | 8619561 | 0.9486 | 8176.5156 | 127168
2017-01-01 | 2017-02-01 | 790470 | 2017-01-01 | 2017-02-01 | 932904 | 2017-01-01 | 2017-02-01 | 782529 | 2017-01-01 | 2017-02-01 | 761163 | 2017-01-01 | 2017-02-01 | 3267066 | 0.9486 | 3099.1388
2017-02-01 | 2017-03-01 | 939066 | 2017-02-01 | 2017-03-01 | 1209597 | 2017-02-01 | 2017-03-01 | 900963 | 2017-02-01 | 2017-03-01 | 1273305 | 2017-02-01 | 2017-03-01 | 4322931 | 0.9486 | 4100.7323 | 7200
Total |  | 28801373.997 | Total |  | 35466669.001 | Total |  | 33633914.997 | Total |  | 43747305.01 | Total |  | 141649263.005 |  | 134368 | 134368
Formulas:
Meter Reading for Period* = [To, row above]