## ER Estimation
Project Title: Wind power project in Maharashtra, India – Andhra Lake Phase - II
Project ID: 1481
| Duration |  |  | Quantity of electricity exported by the Project to the grid | Quantity of electricity imported by the Project from the grid | Quantity of net electricity generation supplied by the project plant/unit to the grid
|  |  |  | EGexport,y | EGimport,y | EGfacility,y
| Start |  | End | MWh | MWh | MWh
| 2024-01-01 | To | 2024-01-31 | 3429.9796 | 10.0824 | 3419.8972
| 2024-02-01 | To | 2024-02-29 | 2934.8297 | 7.1487 | 2927.681
| 2024-03-01 | To | 2024-03-31 | 4762.5438 | 4.0265 | 4758.5173
| 2024-04-01 | To | 2024-04-30 | 5515.887 | 2.8156 | 5513.0714
| 2024-05-01 | To | 2024-05-31 | 9468.4999 | 6.3691 | 9462.1309
| 2024-06-01 | To | 2024-06-30 | 9898.7217 | 3.9647 | 9894.757
| 2024-07-01 | To | 2024-07-31 | 22534.8836 | 1.2261 | 22533.6575
| 2024-08-01 | To | 2024-08-31 | 14196.4767 | 9.8095 | 14186.6672
| 2024-09-01 | To | 2024-09-30 | 9717.711 | 2.3505 | 9715.3605
| 2024-10-01 | To | 2024-10-31 | 4635.8895 | 9.879 | 4626.0105
| 2024-11-01 | To | 2024-11-30 | 6398.3715 | 3.738 | 6394.6335
| 2024-12-01 | To | 2024-12-31 | 3515.4009 | 8.3158 | 3507.0851
| Total |  |  | 97009.1949 | 69.726 | 96939.4689
Vintage | Duration |  |  | Quantity of electricity exported by the Project to the grid | Quantity of electricity imported by the Project from the grid | Quantity of net electricity generation supplied by the project plant/unit to the grid | Combined Margin CO2 emission factor for NEWNE grid | Baseline Emissions | Project Emissions | Leakage | Emission Reductions
|  |  |  | EGexport,y | EGimport,y | EGfacility,y | EFgrid,CM,y | BEy | PEy | Ly | ERy
|  |  |  | MWh | MWh | MWh | tCO2/MWh | tCO2 | tCO2 | tCO2 | tCO2
2024 | 2024-01-01 | To | 2024-12-31 | 97009.1949 | 69.726 | 96939.4689 | 0.931 | 90250 | 0 | 0 | 90250
Total |  |  |  | 97009.1949 | 69.726 | 96939.4689 |  | 90250 | 0 | 0 | 90250
| Start Date of Monitoring Period |  | End Date of Monitoring Period | No. of Days in Monitoring Period (Including both days) | Estimated ER per year as per Registerd PDD (tCO2) | Estimated ER for the Monitoring Period (tCO2) | Actual ER during the Monitoring period (tCO2) | Difference of Estimated and Actual Emissions
| 2024-01-01 | To | 2024-12-31 | 366 | 74596 | 74800 | 90250 | 20.66%
|  |  | Total | 366 |  | 74800 | 90250 | 20.66%
|  |  | PLF | 19.71%

## Generation Data
Project Title: Wind power project in Maharashtra, India – Andhra Lake Phase - II
Project ID: 1481
#REF!
#REF!
#REF!
Duration |  | Feeder 1 |  |  | Feeder No 2 |  |  | Feeder 3 |  |  | Feeder 5 |  |  | Feeder 8
|  | Location no: 190,191, 193-198, 200,201,199 |  |  | Location no:202, 203, 204-209, 210-214 |  |  | Location no: 19-34, 35, 36, 500 |  |  | Location no: 107-113, 115-124,511 |  |  | Location no: 96,97
|  | Break-up of Energy |  |  | Break-up of Energy |  |  | Break-up of Energy |  |  | Break-up of Energy |  |  | Break-up of Energy*
|  | Electricity Export | Electricity Import | Net Export | Electricity Export | Electricity Import | Net Export | Export | Import | Net | Export | Import | Net | Export | Import | Net | Panel generation for 2 WTG | Panel generation for Feeder | Total Export | Total Import | Net Generation | Total Panel generation (Project) | Total Panel generation (Project+Non-project)
From | To | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh
2024-01-01 | 2024-01-31 | 619505.625 | 2593.125 | 616912.5 | 662336.25 | 2055 | 660281.25 | 1059966 | 2592 | 1057374 | 886941 | 2450.25 | 884490.75 | 201230.6859 | 391.995 | 200838.6909 | 205456.5303 | 1627956.2493 | 3429979.5609 | 10082.37 | 3419897.1909 | 205456.5303 | 1627956.2493
2024-02-01 | 2024-02-29 | 468995.625 | 1620 | 467375.625 | 617606.25 | 1080 | 616526.25 | 900643.5 | 2216.25 | 898427.25 | 833222.25 | 1590.75 | 831631.5 | 114362.1067 | 641.7125 | 113720.3942 | 118822.2289 | 925189.4432 | 2934829.7317 | 7148.7125 | 2927681.0192 | 118822.2289 | 925189.4432
2024-03-01 | 2024-03-31 | 676301.25 | 1104.375 | 675196.875 | 955822.5 | 793.125 | 955029.375 | 1363020.75 | 1298.25 | 1361722.5 | 1602013.5 | 828 | 1601185.5 | 165385.8093 | 2.7938 | 165383.0155 | 168197.3681 | 1337971.1973 | 4762543.8093 | 4026.5438 | 4758517.2656 | 168197.3681 | 1337971.1973
2024-04-01 | 2024-04-30 | 709865.625 | 635.625 | 709230 | 1115956.875 | 451.875 | 1115505 | 1549512 | 960.75 | 1548551.25 | 1963559.25 | 670.5 | 1962888.75 | 176993.2515 | 96.8929 | 176896.3586 | 181772.0693 | 1431875.4046 | 5515887.0015 | 2815.6429 | 5513071.3586 | 181772.0693 | 1431875.4046
2024-05-01 | 2024-05-31 | 1682555.625 | 1603.125 | 1680952.5 | 1784227.5 | 1158.75 | 1783068.75 | 2765034 | 2049.75 | 2762984.25 | 2940826.5 | 1453.5 | 2939373 | 295856.2913 | 103.9253 | 295752.366 | 307394.6866 | 2393477.3963 | 9468499.9163 | 6369.0503 | 9462130.866 | 307394.6866 | 2393477.3963
2024-06-01 | 2024-06-30 | 1814625 | 960 | 1813665 | 2103253.125 | 744.375 | 2102508.75 | 2938002.75 | 1116 | 2936886.75 | 2747576.25 | 1075.5 | 2746500.75 | 295264.5637 | 68.7911 | 295195.7726 | 299988.7968 | 2388690.3207 | 9898721.6887 | 3964.6661 | 9894757.0226 | 299988.7968 | 2388690.3207
2024-07-01 | 2024-07-31 | 4221097.5 | 215.625 | 4220881.875 | 4721889.375 | 193.125 | 4721696.25 | 7238412 | 132.75 | 7238279.25 | 5723482.5 | 612 | 5722870.5 | 630002.2313 | 72.6439 | 629929.5874 | 647012.2915 | 5096718.0509 | 22534883.6063 | 1226.1439 | 22533657.4624 | 647012.2915 | 5096718.0509
2024-08-01 | 2024-08-31 | 2672563 | 2205 | 2670358 | 2418979 | 1392 | 2417587 | 4622380 | 4043 | 4618337 | 4170854 | 2052 | 4168802 | 311700.7144 | 117.5348 | 311583.1796 | 323233.6408 | 2521658.7793 | 14196476.7144 | 9809.5348 | 14186667.1796 | 323233.6408 | 2521658.7793
2024-09-01 | 2024-09-30 | 1717762.5 | 727.5 | 1717035 | 2042227.5 | 255 | 2041972.5 | 3015819 | 882 | 3014937 | 2941902 | 486 | 2941416 | 0 | 0 | 0 | 0 | 0 | 9717711 | 2350.5 | 9715360.5 | 0 | 0
2024-10-01 | 2024-10-31 | 811065 | 3150 | 807915 | 899977.5 | 1140 | 898837.5 | 1439325 | 3294 | 1436031 | 1485522 | 2295 | 1483227 | 0 | 0 | 0 | 0 | 0 | 4635889.5 | 9879 | 4626010.5 | 0 | 0
2024-11-01 | 2024-11-30 | 1186260 | 1080 | 1185180 | 1141537.5 | 885 | 1140652.5 | 1993167 | 711 | 1992456 | 2077407 | 1062 | 2076345 | 0 | 0 | 0 | 0 | 0 | 6398371.5 | 3738 | 6394633.5 | 0 | 0
2024-12-01 | 2024-12-31 | 834277.5 | 2377.5 | 831900 | 837247.5 | 2040 | 835207.5 | 1327050 | 2583 | 1324467 | 516825.9 | 1315.35 | 515510.55 | 0 | 0 | 0 | 0 | 0 | 3515400.9 | 8315.85 | 3507085.05 | 0 | 0
Total |  | 17414874.25 | 18271.875 | 17396602.375 | 19301060.875 | 12188.25 | 19288872.625 | 30212332 | 21878.75 | 30190453.25 | 27890132.15 | 15890.85 | 27874241.3 | 2190795.6541 | 1496.2892 | 2189299.3649 | 2251877.6123 | 17723536.8416 | 97009194.9291 | 69726.0142 | 96939468.9149 | 2251877.6123 | 17723536.8416
*The Power Purchase Agreements (PPAs) of two Wind Turbine Generators (WTGs) (Locations 96 and 97) connected to Feeder 8 expired on 18 August 2024. In line with the conservative approach adopted for emission reduction estimation, the electricity generation from these WTGs, for which PPAs have expired, has not been included in the Emission Reduction calculations for the current monitoring period.

## PPA Expiry Details
Sr. No. | Location No. | Date of WEC commissioning | PPA Expiry Date | Feeder
1 | 19 | 2012-01-07 | 2025-01-06 | 3
2 | 20 | 2012-01-07 | 2025-01-06
3 | 21 | 2012-01-07 | 2025-01-06
4 | 22 | 2012-01-07 | 2025-01-06
5 | 23 | 2012-01-07 | 2025-01-06
6 | 24 | 2012-01-07 | 2025-01-06
7 | 25 | 2012-01-07 | 2025-01-06
8 | 26 | 2012-01-07 | 2025-01-06
9 | 27 | 2012-01-07 | 2025-01-06
10 | 28 | 2012-01-07 | 2025-01-06
11 | 29 | 2012-01-07 | 2025-01-06
12 | 30 | 2012-01-07 | 2025-01-06
13 | 31 | 2012-01-07 | 2025-01-06
14 | 32 | 2012-01-07 | 2025-01-06
15 | 33 | 2012-01-07 | 2025-01-06
16 | 34 | 2012-01-07 | 2025-01-06
17 | 35 | 2012-02-09 | 2025-02-08
18 | 36 | 2012-02-09 | 2025-02-08
19 | 500 | 2012-01-07 | 2025-01-06
20 | 96 | 2011-08-19 | 2024-08-18 | 8
21 | 97 | 2011-08-19 | 2024-08-18
22 | 107 | 2012-01-07 | 2025-01-06 | 5
23 | 108 | 2012-01-07 | 2025-01-06
24 | 109 | 2012-01-07 | 2025-01-06
25 | 110 | 2012-01-07 | 2025-01-06
26 | 111 | 2012-01-07 | 2025-01-06
27 | 112 | 2012-01-07 | 2025-01-06
28 | 113 | 2012-01-07 | 2025-01-06
29 | 115 | 2012-01-07 | 2025-01-06
30 | 116 | 2012-01-07 | 2025-01-06
31 | 117 | 2012-01-07 | 2025-01-06
32 | 118 | 2012-01-07 | 2025-01-06
33 | 119 | 2012-01-07 | 2025-01-06
34 | 120 | 2012-01-07 | 2025-01-06
35 | 121 | 2012-01-07 | 2025-01-06
36 | 122 | 2012-01-07 | 2025-01-06
37 | 123 | 2012-02-09 | 2025-02-08
38 | 124 | 2012-02-09 | 2025-02-08
39 | 511 | 2011-12-12 | 2024-12-11
40 | 190 | 2012-02-13 | 2025-02-12 | 1
41 | 191 | 2012-02-13 | 2025-02-12
42 | 193 | 2012-02-13 | 2025-02-12
43 | 194 | 2012-02-13 | 2025-02-12
44 | 195 | 2012-02-13 | 2025-02-12
45 | 196 | 2012-02-13 | 2025-02-12
46 | 197 | 2012-02-13 | 2025-02-12
47 | 198 | 2012-02-13 | 2025-02-12
48 | 199 | 2012-03-22 | 2025-03-21
49 | 200 | 2012-03-22 | 2025-03-21
50 | 201 | 2012-03-03 | 2025-03-02
51 | 202 | 2012-03-22 | 2025-03-21 | 2
52 | 203 | 2012-03-22 | 2025-03-21
53 | 204 | 2012-03-03 | 2025-03-02
54 | 205 | 2012-03-03 | 2025-03-02
55 | 206 | 2012-03-03 | 2025-03-02
56 | 207 | 2012-03-03 | 2025-03-02
57 | 208 | 2012-03-03 | 2025-03-02
58 | 209 | 2012-03-03 | 2025-03-02
59 | 210 | 2012-03-22 | 2025-03-21
60 | 211 | 2012-03-22 | 2025-03-21
61 | 212 | 2012-03-22 | 2025-03-21
62 | 213 | 2012-03-22 | 2025-03-21
63 | 214 | 2012-03-22 | 2025-03-21