Gold Standard for the Global Goals

Transition Annex

Version 1 – September 2017

KEY PROJECT INFORMATION

| Title of Project/PoA/Activity: | Wind Power Project in Tinwari, Rajasthan |
| --- | --- |
| GS ID of the project/PoA/activity: | GS 6004 |
| GS Version: | 2.2 |
| Brief description of Project: | The Project activity is consists of 25 Wind Energy Converters (WECs) of WWIL make E-53 type WEGs of 800kW capacity each at Tinwari, Jodhpur district of Rajasthan. The WECs generates 3-phase power at 400V, which is stepped up to 33 kV and further transmitted to WWIL Sub-station. From WWIL substation electricity is further evacuated to the Rajasthan regional electricity grid which is part of the NEWNE (Northern, Eastern, Western and North-Eastern) grid in India. Wind world (India) Limited is the project owner and project participant for the project activity. The Project harnesses renewable resources in the region, thereby displacing fossil fuel dominating natural resources and leading to sustainable economic and environmental benefits. Date of issuance of official circular for executing the project (i.e. 07/05/2011) has been considered as the project start date. The first machine under the project activity was commissioned on 30/09/2011 and last machine under the project activity was commissioned on 09/11/2011. The expected operational lifetime of the project is for 20 years. As per Gold Standard guidelines, project activity is eligible to earn labels for the (already realized) emission reductions up to two years prior to Gold Standard registration. The CDM reference number of the project is 6160 and date of registration was 25/07/2012. |
| Project type: Energy/Land Use | Energy |
| For Renewable Energy Projects – intention to apply RECs Labels (y/n) | No |
| GS Stream (CDM/VER): | CDM |
| Scale (large/scale/micro): | Large |
| GS Registration Date: | 19/03/2018 |
| GS Crediting period start date: | 19/03/2016 to 31/07/2022 |
| CDM Registration Date: | 25/07/2012 |
| CDM Crediting period start date: | 01/08/2012 to 31/07/2022 |
| Project Developer: | Wind world (India) Limited |
| Project Representative: | Wind world (India) Limited |
| Project Participants and any communities involved: | Wind world (India) Limited First Climate Markets A.G ACT Financial Solutions B.V. |
| Host Country/Location: | India |
| Methodologies applied: | ACM0002 (Version 17.0, EB 58)- “Grid-connected electricity generation from renewable sources” |
| SDG Impacts: | 1 – SDG 3 : Good Health And Well-Being 2 – SDG 7 : Affordable and Clean Energy 3 – SDG 8 :Decent Work and Economic Growth 4 – SDG 13 : Climate Action |
| Estimated amount of SDG Impact (GSVERs and others) | SDG 3: Atleast 1 initiative like Health Camp to be conducted annually to facilitate better access to health and hygeine for the local populace or any other initative serving the SDG 3 criteria. SDG 7: 34163.85 MWh/year SDG 8: Minimum 1 training to be carried out annually SDG 13: 32,415 tCO2/year |

SECTION A Sustainable Development Goals (SDG) outcomes

A.1	Relevant target for each of the three SDGs

>>

| SDG Goal | Relevant SDG Target | Corresponding Indicator |
| --- | --- | --- |
| SDG 3: Good Health And Well-Being | 3.8 Achieve universal health coverage, including financial risk protection, access to quality essential health-care services and access to safe, effective, quality and affordable essential medicines and vaccines for all | Initiatives like Health Camps conducted in the state, RO installation, basic sanitation & Hygeine awareness program etc. Initiatives related to books, bags & drinking water facility and basic infrastructure or daily usable materials etc. |
| SDG 7: Ensure access to affordable, reliable, sustainable and modern energy for all | 7.2: By 2030, increase substantially the share of renewable energy in the global energy mix | Electricity produced and supplied to the grid in MWh |
| SDG 8: Promote sustained, inclusive and sustainable economic growth, full and productive employment and decent work for all | 8.5: By 2025, achieve full and productive employment and decent work for all women and men, including for young people and persons with disabilities, and equal pay for work of equal value | 1. No. of trainings provided to the employees 2. Employment generated due to project activity during construction as well as O&M phase. |
| SDG 13: Take urgent action to combat climate change and its impacts | 13.2: By 2025, Integrate climate change measures into national policies, strategies and planning | Emission reductions in tCO2 |

A.2	Explanation of methodological choices/approaches for estimating the SDG outcome

>>

Based on the feedback received fom local stakeholders from nearby villages and as per requirement of facilities by the villages, PP identifies and works on several scope(s) of developmental activities such as health camps, distribution of education kits in schools, sanitation, drinking water requirements etc. Apart from these activities, some or all of which will be conducted in any given year, following SDGs will be impacted every year:

| SDG Goal | Monitoring Plan |
| --- | --- |
| SDG 3: Good Health And Well-Being | Method: Total number of initiatives, events and programmes organized to strengthen key aspects of Human and Institutional Capacity, primarily Health and Education. Frequency: Annually QA/QC procedures: Records of such organized events, photographs, proof of payments etc. Purpose: Initiatives, events and programs to strengthen Human and Institutional capacity through better access to Health and Education would be continued throughout the lifetime of the project activity. |
| SDG 7: Ensure access to affordable, reliable, sustainable and modern energy for all | Method: The net electricity supplied to the grid by the wind project has been calculated by Rajasthan state grid on the basis of main meter reading and the meter readings taken at substation meters after adjusting transmission loss. The net electricity generated by the project activity has been taken directly from the JMR issued by the state grid on monthly basis. Frequency: Monthly QA/QC procedures: Net electricity supplied to the grid by the project activity will be cross checked with invoices submitted to EB. The meter(s) shall be calibrated once in a year basis. Purpose: To measure the electricity produced and supplied to the grid |
| SDG 8: Promote sustained, inclusive and sustainable economic growth, full and productive employment and decent work for all | Method: Training records, Attendance Sheet, Employment records data maintained by Project Developer. Project developer has comprehensive internal systems in place wherein all essential norms pertaining to safety, occupational health and working conditions are being followed. Frequency: Annual QA/QC procedures: Continuation of regular trainings/workshops for employees & O&M staffs Purpose: To identify and record the no. of trainings provided to the employees as well as employment generated due to project activity |
| SDG 13: Take urgent action to combat climate change and its impacts | Method: Using processes and equations provided under “Tool to calculate the emission factor for an electricity system”, and referencing data from CEA database. Frequency: Fixed Exante QA/QC procedures: Transparent data collection, analysis, calculation and reporting. Purpose: To calculate emissions avoided due to the project activity |

A.3	Data and parameters fixed ex ante for monitoring contribution to each of the three SDGs

| Relevant SDG Indicator | 13.2.1 Number of countries that have communicated the establishment or operationalization of an integrated policy/strategy/plan which increases their ability to adapt to the adverse impacts of climate change, and foster climate resilience and low greenhouse gas emissions development in a manner that does not threaten food production (including a national adaptation plan, nationally determined contribution, national communication, biennial update report or other) |
| --- | --- |
| Data/parameter | EFOM,y |
| Unit | tCO2e/MWh |
| Description | Operating Margin Emission Factor of NEWNE Electricity Grid |
| Source of data | “CO2 Baseline Database for Indian Power Sector”, version 6.0, published by the Central Electricity Authority, Ministry of Power, Government of India. The “CO2 Baseline Database for Indian Power Sector” is available at http://www.cea.nic.in/reports/others/thermal/tpece/cdm_co2/user_guide_ver6.pdf |
| Value(s) applied | 0.99431 |
| Choice of data or Measurement methods and procedures | Database - Central Electricity Authority, Ministry of Power, Government of India. |
| - Purpose of data | Calculation of Baseline Emissions |
| Additional comment | This value is calculated on ex-ante basis and will remain fixed for the entire crediting period. |

| Relevant SDG Indicator | 13.2.1 Number of countries that have communicated the establishment or operationalization of an integrated policy/strategy/plan which increases their ability to adapt to the adverse impacts of climate change, and foster climate resilience and low greenhouse gas emissions development in a manner that does not threaten food production (including a national adaptation plan, nationally determined contribution, national communication, biennial update report or other |
| --- | --- |
| Data/parameter | EFBM,y |
| Unit | tCO2e/MWh |
| Description | Build Margin Emission Factor of NEWNE Electricity Grid |
| Source of data | “CO2 Baseline Database for Indian Power Sector”, version 6.0, published by the Central Electricity Authority, Ministry of Power, Government of India. The “CO2 Baseline Database for Indian Power Sector” is available at http://www.cea.nic.in/reports/others/thermal/tpece/cdm_co2/user_guide_ver6.pdf |
| Value(s) applied | 0.81231 |
| Choice of data or Measurement methods and procedures | Database - Central Electricity Authority, Ministry of Power, Government of India. |
| - Purpose of data | Calculation of Baseline Emissions |
| Additional comment | This value is calculated on ex-ante basis and will remain fixed for the entire crediting period. |

| Relevant SDG Indicator | 13.2.1 Number of countries that have communicated the establishment or operationalization of an integrated policy/strategy/plan which increases their ability to adapt to the adverse impacts of climate change, and foster climate resilience and low greenhouse gas emissions development in a manner that does not threaten food production (including a national adaptation plan, nationally determined contribution, national communication, biennial update report or other |
| --- | --- |
| Data/parameter | EFCM,y |
| Unit | tCO2e/MWh |
| Description | Combined Margin Emission Factor of NEWNE Electricity Grid |
| Source of data | Combined Margin Emission Factor (EFgrid,CM,y) is calculated as the weighted average of Operating Margin Emission Factor (EFgrid,OM,y) and Build Margin Emission Factor (EFgrid,BM,y). “CO2 Baseline Database for Indian Power Sector”, version 6.0, published by the Central Electricity Authority, Ministry of Power, Government of India. The “CO2 Baseline Database for Indian Power Sector” is available at http://www.cea.nic.in/reports/others/thermal/tpece/cdm_co2/user_guide_ver6.pdf |
| Value(s) applied | 0.94881 |
| Choice of data or Measurement methods and procedures | Database - Central Electricity Authority, Ministry of Power, Government of India. |
| - Purpose of data | Calculation of Baseline Emissions |
| Additional comment | This value is calculated on ex-ante basis and will remain fixed for the entire crediting period. |

SECTION B Safeguarding Principles Assessment

B.1 Analysis of social, economic and environmental impacts

>>

| Safeguarding principles | Assessment questions | Assessment of relevance to the project (Yes/potentially/no) | Justification | Mitigation measure (if required) |
| --- | --- | --- | --- | --- |
| 3.1 Human Rights | 1. The project respects internationally proclaimed human rights including dignity, cultural property and uniqueness of indigenous people. The project is not complicit in Human Rights abuses. 2. The Project shall not discriminate with regards to participation and inclusion. | No | 1. During construction and operation of the project the project proponent respected all the human rights. The project is not in any kind of conflict with the livelihood of local people. Project proponent had conducted stakeholder’s consultation and sought their opinion. 2. The project will not employ any personnel based on gender, race, religion, sexual orientation or any other basis. As the Constitution of the host country prohibits discrimination on the basis of a person's race, sex, religion, place of birth, or social status. The host country has signed the Convention 100 (equal remuneration) and convention 111 (discrimination in employment /occupation) under the ILO Declaration on Fundamental Principles and rights. | Not Required |
| 3.2 Gender Equality and Women’s Rights | The Project shall complete the following gender assessment questions in order to inform Requirements, below: 1. Is there a possibility that the Project might reduce or put at risk women’s access to or control of resources, entitlements and benefits? 2. Is there a possibility that the Project can adversely affect men and women in marginalised or vulnerable communities (e.g., potential increased burden on women or social isolation of men)? 3. Is there a possibility that the Project might not take into account gender roles and the abilities of women or men to participate in the decisions/designs of the project’s activities (such as lack of time, child care duties, low literacy or educational levels, or societal discrimination)? 4. Does the Project take into account gender roles and the abilities of women or men to benefit from the Project’s activities (e.g., Does the project criteria ensure that it includes minority groups or landless peoples)? 5. Does the Project design contribute to an increase in women’s workload that adds to their care responsibilities or that prevents them from engaging in other activities? 6. Would the Project potentially reproduce or further deepen discrimination against women based on gender, for instance, regarding their full participation in design and implementation or access to opportunities and benefits? 7. Would the Project potentially limit women’s ability to use, develop and protect natural resources, taking into account different roles and priorities of women and men in accessing and managing environmental goods and services? 8. Is there a likelihood that the proposed Project would expose women and girls to further risks or hazards? The Project shall not directly or indirectly lead to/contribute to adverse impacts on gender equality and/or the situation of women. 1. Sexual harassment and/or any forms of violence against women - address the multiple risks of gender-based violence, including sexual exploitation or human trafficking. 2. Slavery, imprisonment, physical and mental drudgery, punishment or coercion of women and girls. 3. Restriction of women's rights or access to resources (natural or economic). 4. Recognise women's ownership rights regardless of marital status adopt project measures where possible to support to women's access to inherit and own land, homes, and other assets or natural resources. Projects shall apply the principles of non discrimination, equal treatment, and equal pay for equal work, specifically: 1. Where appropriate for the implementation of a Project, paid, volunteer work or community contributions will be organised to provide th conditions for equitable participation of men and women in the identified tasks/activities. 2. Introduce conditions that ensure the participation of women or men in Project activities and benefits based on pregnancy, maternity/paternity leave, or marital status. 3. Ensure that these conditions do not limit the access of women or men, as the case may be, to Project participation and benefits. The Project shall refer to the country’s national gender strategy or equivalent national commitment to aid in assessing gender risks. | No | 1. No, project does not have any kind of restriction or reduces women’s access to or control of resources entitlements and benefits. 2. No, project does not have any kind of adversely affect men and women in marginalised or vulnerable communities. 3. No, the Project does not consider gender roles and in fact actively engages both women and men. Community meetings are scheduled considering participation by gender basis. 4. The project does not discriminate on basis of gender, caste or religion. 5. No the Project was not designed to increase women´s workload nor add care responsibilities. 6. There is no place for discrimination against women in this Project. The project does not discriminate on basis of gender, caste or religion. 7. The Project will not limit women´s ability regarding natural resources. The project being wind power project thus does not have any major impact on natural resources of the region. 8. No the Project will not expose women and girls to further risks or hazards. The project proponent has a grievance cell which would look into complaints. 1. The project proponent has a Policy in place that ensures that every employee is treated with dignity and respect and afforded equitable treatment. In line with the policy, a grievance cell has been constituted to look into complaints. 2. The project does not involve in slavery, imprisonment or coercion of women and girls. 3. The Project will not restrict women´s rights or access regarding natural resources. The project proponent does not discriminate on gender, caste, religion etc. Marital status is completely irrelevant to the Project. The project proponent does not discriminate on gender, caste, religion etc. Yes, the Project has equal opportunity for women and men to contribute both in volunteer and working positions 1. The project proponent takes into account participation by both men and women. Further, the sustainable development activities projects designed are implemented for equal participation of both men and women. 2. There is no limit on the access to Project participation and benefits from either of these conditions. 3. There are no such conditions that limit the access of women or men for participation. The project is aligned to India’s strategy for elimination of all discrimination. India ratified the International Convention on the Elimination of All Forms of Racial Discrimination on 03/12/1968 with certain reservation . | Not Required |
| 3.3 Community Health, safety and Working Conditions | The Project shall avoid community exposure to increased health risks and shall not adversely affect the health of the workers and the community. | No | The project is in compliance with all relevant local and national laws. The Project does not threaten human health or environment and does not adversely affect the health of the workers and the community. | Not Required |
| 3.4.1 Sites of Cultural and Historical Heritage | Does the Project Area include sites, structures, or objects with historical, cultural, artistic, traditional or religious values or intangible forms of culture (e.g., knowledge, innovations, or practices)? | No | The project does not alter, damage or remove any cultural heritage. As per the list of cultural heritage sites in India by UNESCO , it is clear that the project site is not a cultural heritage site. | Not Required |
| 3.4.2 Forced Eviction and Displacement | Does the Project require or cause the physical or economic relocation of peoples (temporary or permanent, full or partial)? | No | The project does not involve and is not complicit in involuntary resettlement of peoples in any way. The Project Developer has also obtained all necessary clearances from nodal agencies and NOCs from all the Gram Panchayats for establishing the project. | Not Required |
| 3.4.3 Land Tenure and Other Rights | 1. Does the Project require any change to land tenure arrangements and/ or other rights? 2. For Projects involving land-use tenure, are there any uncertainties with regards land tenure, access rights, usage rights or land ownership? | No | 1. The project has all the legal, customary rights on the land and does not require any change to land tenure arrangements. The proponent has also obtained necessary clearances from nodal agencies and NOCs from all the Gram Panchayats for establishing the plant. 2. This is not applicable as the project does not require any change to land tenure arrangements. | Not Required |
| 3.4.4 Indigenous Peoples | Are indigenous peoples present in or within the area of influence of the Project and/or is the Project located on land/territory claimed by indigenous peoples? | No | The project is a wind power project and it is not located on land/territory claimed by any indigenous peoples. | Not Required |
| 3.5 Corruption | The Project shall not involve, be complicit in or inadvertently contribute to or reinforce corruption or corrupt Projects. | No | The proponent confirms that there is no corruption involved in the project activity The host country has strict laws and robust arrangements to prevent such activities. The DOE has been provided with company internal policies and it is clear that it has laid provisions to prevent/identify any corruption. | Not Required |
| 3.6.1 Labour Rights | 1. The Project Developer shall ensure that there is no forced labour and that all employment is in compliance with national labour and occupational health and safety laws, with obligations under international law, and consistency with the principles and standards embodied in the International Labour Organization (ILO) fundamental conventions. Where these are contradictory and a breach of one or other cannot be avoided, then guidance shall be sought from Gold Standard. 2. Workers shall be able to establish and join labour organisations. 3. Working agreements with all individual workers shall be documented and implemented. These shall at minimum comprise: (a) Working hours (must not exceed 48 hours per week on a regular basis), AND (b) Duties and tasks, AND (c) Remuneration (must include provision for payment of overtime), AND (d) Modalities on health insurance, AND (e) Modalities on termination of the contract with provision for voluntary resignation by employee, AND Provision for annual leave of not less than 10 days per year, not including sick and casual leave. 4. The Project Developer shall justify that the employment model applied is locally and culturally appropriate. 5. Child labour, as defined by the ILO Minimum Age Convention is not allowed. The Project Developer shall use adequate and verifiable mechanisms for age verification in recruitment procedures. Exceptions are children for work on their families’ property as long as: (a) Their compulsory schooling (minimum of 6 schooling years) is not hindered, AND (b) The tasks they perform do not harm their physical and mental development, AND (c) The opinions and recommendations of an Expert Stakeholder shall be sought and demonstrated as being included in the Project design. 6. The Project Developer shall ensure the use of appropriate equipment, training of workers, documentation and reporting of accidents and incidents, and emergency preparedness and response measures. | No | 1. The proponent assures that there will be no bonded or forced labor during construction and operation of the project activity. Uniform policy will be implemented for all employees. The host country has robust laws in place prohibiting forced and compulsory labor. 2. The proponent confirms that all the fundamental rights of the employees will be respected. The rights of industrial trade unions and their members have been protected by law in India since 1926 by The Trade Unions Act, 1926: 3. Working agreements with all individual workers are documented and implemented. 4. The Project Developer ensures that local workers/employees are preferred, to the extent possible, for employment during construction as well as operation phase of the project ensuring skill development in the local populace. 5. Child labor is strictly prohibited in the country . The proponent assures that no child labor will be employed during construction and operation of the plant. The project proponent has a set mechanism to ensure the age of all the temporary/ permanent employees during the life time of the project. 6. The Project Developer has an active safety team which ensures that all employees are given appropriate equipment and training. The same is properly documented and appropriate measures taken in case of emergencies. | Not Required |
| 3.6.2 Negative Economic Consequences | 1. The Project Developer shall demonstrate the financial sustainability of the Projects implemented, also including those that will occur beyond the Project Certification period. 2. The Projects shall consider economic impacts and demonstrate a consideration of potential risks to the local economy and how these have been taken into account in Project design, implementation, operation and after the Project. Particular focus shall be given to vulnerable and marginalised social groups in targeted communities and that benefits are socially-inclusive and sustainable. | No | 1. Financial Sustainability of the project has been discussed under Section B.5 of the registered CDM PDD. The calculations are for the entire life of the project. 2. There are no negative economic impacts or potential risks to the local economy due to the project activity. | Not Required |
| 4.1.1 Emissions | Will the Project increase greenhouse gas emissions over the Baseline Scenario? | No | The project is a wind power project and does not lead to any greenhouse gas emissions in project scenario. | Not Required |
| 4.1.2 Energy Supply | Will the Project use energy from a local grid or power supply (i.e., not connected to a national or regional grid) or fuel resource (such as wood, biomass) that provides for other local users? | No | The project is connected to the grid, as well as being a wind power project it will be a net provider of power to the local grid. | Not Required |
| 4.2.1 Impact on natural water patterns and flow | Will the Project affect the natural or pre- existing pattern of watercourses, ground- water and/or the watershed(s) such as high seasonal flow variability, flooding potential, lack of aquatic connectivity or water scarcity? | No | The project being a wind power project will not have any such impacts. | Not Required |
| 4.2.2 Erosion and/or water body stability | 1. Could the Project directly or indirectly cause additional erosion and/or water body instability or disrupt the natural pattern of erosion? If ‘Yes’ or ‘Potentially’ proceed to question 2. Is the Project's area of influence susceptible to excessive erosion and/or water body instability? | No | 1.The project activity has developed activities for prevention of soil erosion by various landscaping measures. 2. The project area is not susceptible to excessive erosion or water body instability. | Not Required |
| 4.3.1 Landscape Modification and Soil | Does the Project involve the use of land and soil for production of crops or other products? | No | The project being a wind power project does not involve the use of land and soil for production of crops or other products. | Not Required |
| 4.3.2 Vulnerability to Natural Disaster | Will the Project be susceptible to or lead to increased vulnerability to wind, earthquakes, subsidence, landslides, erosion, flooding, drought or other extreme climatic conditions? | No | The Project will not be susceptible to or lead to increased vulnerability to wind, earthquakes, subsidence, landslides, erosion, flooding, drought or other extreme climatic conditions. | Not Required |
| 4.3.3 Genetic Resources | Could the Project be negatively impacted by the use of genetically modified organisms or GMOs (e.g., contamination, collection and/or harvesting, commercial development)? | No | The project is a wind power project. The project does not have any impact by use of GMOs. | Not Required |
| 4.3.4 Release of pollutants | Could the Project potentially result in the release of pollutants to the environment? | No | The project being a wind power project does not lead to release of any pollutants. | Not Required |
| 4.3.5 Hazardous and Non- hazardous Waste | Will the Project involve the manufacture, trade, release, and/ or use of hazardous and non- hazardous chemicals and/or materials? | No | The project during operational phase uses various type of oil/lubricants, grease which are classified as hazardous. These waste are handled in line with hazardous waste management rules and are disposed of accordingly. | Not Required |
| 4.3.6 Pesticides and fertilizers | Will the Project involve the application of pesticides and/or fertilisers? | No | The project is a wind power project. The Project will not involve the application of pesticides and/or fertilisers. | Not Required |
| 4.3.7 Harvesting of forests | Will the Project involve the harvesting of forests? | No | The project is a wind power project. The Project does not involve the harvesting of forests. | Not Required |
| 4.3.8 Food | Does the Project modify the quantity or nutritional quality of food available such as through crop regime alteration or export or economic incentives? | No | The project is a wind power project. The Project does not have any impact on the quantity or nutritional quality of food available such as through crop regime alteration or export or economic incentives. | Not Required |
| 4.3.9 Animal Husbandry | Will the Project involve animal husbandry? | No | The project is a wind power project. The Project will not involve animal husbandry. | Not Required |
| 4.3.10 High Conservation Value Areas and Critical Habitats | Does the Project physically affect or alter largely intact or High Conservation Value (HCV) ecosystems, critical habitats, landscapes, key biodiversity areas or sites identified? | No | The project is a wind power project. The Project does not affect or alter largely intact or HCV ecosystems, critical habitats, landscapes, key biodiversity areas or sites identified. | Not Required |
| 4.3.11 Endangered Species | 1. Are there any endangered species identified as potentially being present within the Project boundary (including those that may route through the area)? 2. Does the Project potentially impact other areas where endangered species may be present through transboundary affects? | No | 1. There are no endangered species identified as potentially being present within the Project boundary. 2. The Project does not impact other areas where endangered species may be present through transboundary affects. | Not Required |

Adherence to the Gold Standard Gender Equality Guidelines and Requirements

Question 1: Does the project reflect the key issues and requirements of Gender Sensitive design and implementation as outlined in the Gender Policy? Explain how.

Response: As per Gold Standard Gender Policy, para 13(i) “Foundational gender-sensitive requirement – This strengthens Gold Standard’s ‘do no harm’ approach and addresses safeguards to prevent or mitigate adverse impacts on women or men and girls and boys. Such action is mandatory for all projects seeking Gold Standard certification and includes compliance with the gender ‘do no harm’ safeguards, gender gap analysis and gender sensitive stakeholder consultations.” This project is gender-sensitive in design. All stakeholders, irrespective of the gender, were invited and given a chance to give their feedback during the stakeholder feedback round. All the sustainable development activities activities that are planned and implemented by the project developer takes into account the need of the local people, irrespective of their gender.

Question 2: Does the project align with existing country policies, strategies and best practices? Explain how.

Response: A signatory to the Convention for the Elimination of Discrimination against Women and the UN Convention on the Rights of the Child, India has a number of progressive laws that support gender equality and ending discrimination and violence against women. The Government of India was represented at the 2013 session of the Commission on the Status of Women, where Member States committed to ending all forms of violence against women. They recognized that there is a need to address the economic and political underpinnings of violence; ensure access to justice; strengthen multi-sectoral approaches; and end harmful traditional practices that negatively impact women. Under the Sexual Harassment of Women at the Workplace (Prevention, Prohibition and Redressal) Act 2013, the Government of India has pledged to establish 100 One Stop Crisis Centres and the creation of a INR 1000 Crore Nirbhaya Fund to respond to Violence against Women and Girls. More recently, the Criminal Law (Amendment) Act of 2013 expands the scope of sexual and gender based crimes against women.

The Project aligns with the national policies and thus the Project Developer has a in place to ensure that every employee is treated with dignity and respect and afforded equitable treatment. The project developer also takes into account participation by both men and women. Further, the sustainable development activities designed are implemented for equal participation of both men and women.

Question 3: Does the project address the questions raised in the Gold Standard Safeguarding Principles & Requirements document? Explain how.

Response: Please refer to the responses provided under “Safeguarding Principle 3.2 - Gender Equality and Women’s Rights” under section B.1 - Analysis of social, economic and environmental impacts.

Question 4: Does the project apply the Gold Standard Stakeholder Consultation & Engagement Procedure Requirements? Explain how.

Response: Yes, the project applies the stakeholder-related procedures. From the GS Stakeholder guidelines, section 1.4 “In developing a Project, taking gender issues into account would require that local stakeholder consultation processes reach a wide range of community representatives in ways that ensure equal and effective participation of women and men in consultation, and that gender issues are fully factored into comprehensive social and environmental impact assessments." The Local Stakeholder Consultation Meeting had an overall aim for active participation from men and women equally in the meeting. All the villagers were invited for the consultation through News Paper Advertisement & invitation pasted in Gram Panchayat (local administration) Office. The meeting was conducted in local language.

SECTION C	Monitoring plan

C.1	Data and parameters to be monitored

| Relevant SDG Indicator/Safeguarding Principle | 7.2.1Renewable energy share in the total final energy consumption |
| --- | --- |
| Data / Parameter | EGfacility,y |
| Unit | MWh/annum (Mega-watt hour) |
| Description | Net electricity generation supplied to the grid by the Project activity. |
| Source of data | Generation break-up sheets prepared by the developer (WWIL), which is based on monthly JMR reading recorded at main meter installed at DISCOM sub-station and the LCS controller meter (panel meter) reading. |
| Value(s) applied | 34,163.85 |
| Measurement methods and procedures | The procedures for calculation of net electricity supplied to grid has been followed as per the provisions of the power purchase agreement and details of calculation method has been explained in monitoring plan under registered PDD. - There is a billing metering point (one main & one check meters) located at 132kV Discom’s sub-station at PS-8 Narwa. - There is also a back up metering (one main & one check meter) located at 132kV WWIL sub-station at Salodi. - All the above meters are 0.2% accuracy class. There are other WEGs apart from the project activity WEGs, that are connected to these meters at respective sub-station. - Monthly Joint Meter Recording recorded is done at billing metering point at PS-8 Narwa sub-station by Discom utility in the presence of PP’s representative. - Joint meter reading records the values of export, import based on which the net export by all the WEGs (Project as well as non-project) connected to billing metering point at the DISCOM sub-station (PS-8 Narwa) is calculated. - Based on the monthly JMR reading and the LCS controller reading of Project as well as non-project WEGs, PP prepares the breakup sheet which indicates the energy Exported, Imported & net electricity supplied by the individual WEGs. This breakup sheet is then submitted to Discom authority as well as the individual investors. - Based on this breakup sheet the PP raises an invoice and submits to the Discom. - The Discom authority conducts a thorough review based on the JMR readings, breakup sheets and the invoice raised by individual investors. The audits are conducted by senior official based at the circle office of individual Discom and only after the authorisation of submitted documents/ records by the superintending engineer of the respective Discom, are the payments released to the individual investor. - Net electricity supplied to the grid is a calculated value and is used in calculation of emission reduction of the project activity. Measurement & Recording of electricity: - Main and Back up meters measures the electricity (export & Import) on continuous basis and recorded by state utility on monthly basis. - -Panel meter (LCS controller) measures the net electricity generation (Gross Export – Gross Import) on continuous basis and daily/monthly data can be sourced/recorded from online SCADA system. |
| Monitoring frequency | Measuring frequency: Continuous Recording frequency: Monthly |
| QA/QC procedures | Net Quantity of Electricity exported to the grid shall be crosschecked with invoice copies. |
| Purpose of data | This data is directly used for baseline estimation |
| Additional comment | The data will be archived for the entire crediting period plus two years. |

| Relevant SDG Indicator/Safeguarding Principle | 7.2.1Renewable energy share in the total final energy consumption |
| --- | --- |
| Data / Parameter | EGExport,y |
| Unit | MWh (Mega-watt hour) |
| Description | Electricity export to the grid by the Project activity. |
| Source of data | Generation break-up sheets prepared by the developer (WWIL), which is based on monthly joint meter reading recorded at main meter installed at DISCOM sub-station and the LCS controller meter (panel meter) reading. |
| Value(s) applied | - |
| Measurement methods and procedures | - There is a billing metering point (one main & one check meters) located at 132kV Discom’s sub-station at PS-8 Narwa. - There is also a back up metering (one main & one check meter) located at 132kV WWIL sub-station at Salodi. - All the above meters are 0.2% accuracy class. There are other WEGs apart from the project activity WEGs, that are connected to these meters at respective sub-station. - Monthly Joint Meter Recording recorded is done at billing metering point at PS-8 Narwa sub-station by Discom utility in the presence of PP’s representative. - Joint meter reading records the values of export, import based on which the net export by all the WEGs (Project as well as non-project) connected to billing metering point at the DISCOM sub-station (PS-8 Narwa) is calculated. - Based on the monthly JMR reading and the LCS controller reading of Project as well as non-project WEGs, PP prepares the breakup sheet which indicates the energy Exported, Imported & net electricity supplied by the individual WEGs. This breakup sheet is then submitted to Discom authority as well as the individual investors. - Based on this breakup sheet the PP raises an invoice and submits to the Discom. - The Discom authority conducts a thorough review based on the JMR readings, breakup sheets and the invoice raised by individual investors. The audits are conducted by senior official based at the circle office of individual Discom and only after the authorisation of submitted documents/ records by the superintending engineer of the respective Discom, are the payments released to the individual investor. - Net electricity supplied to the grid is a calculated value and is used in calculation of emission reduction of the project activity. Measurement & Recording of electricity: - Main and Back up meters measures the electricity (export & Import) on continuous basis and recorded by state utility on monthly basis. - Panel meter (LCS controller) measures the net electricity generation (Gross Export – Gross Import) on continuous basis and daily/monthly data can be sourced/recorded from online SCADA system. |
| Monitoring frequency | Measuring frequency: Continuous Recording frequency: Monthly |
| QA/QC procedures | Value of EGExport,y can be cross checked with the invoices raised on the DISCOM. All the billing & Back meters are calibrated by DISCOM annually and the records are available with the representative of PP (WWIL) |
| Purpose of data | This data is directly used for baseline estimation |
| Additional comment | The data will be archived for the entire crediting period plus two years. |

| Relevant SDG Indicator/Safeguarding Principle | 7.2.1Renewable energy share in the total final energy consumption |
| --- | --- |
| Data / Parameter | EGImport,y |
| Unit | MWh (Mega-watt hour) |
| Description | Electricity Import from grid by the Project activity. |
| Source of data | Generation break-up sheets prepared by the developer (WWIL), which is based on monthly JMR reading recorded at main meter installed at DISCOM sub-station and the LCS controller meter (panel meter) reading. |
| Value(s) applied | - (On Actuals) |
| Measurement methods and procedures | - There is a billing metering point (one main & one check meters) located at 132kV Discom’s sub-station at PS-8 Narwa. - There is also a back up metering (one main & one check meter) located at 132kV WWIL sub-station at Salodi. - All the above meters are 0.2% accuracy class. There are other WEGs apart from the project activity WEGs, that are connected to these meters at respective sub-station. - Monthly Joint Meter Recording recorded is done at billing metering point at PS-8 Narwa sub-station by Discom utility in the presence of PP’s representative. - Joint meter reading records the values of export, import based on which the net export by all the WEGs (Project as well as non-project) connected to billing metering point at the DISCOM sub-station (PS-8 Narwa) is calculated. - Based on the monthly JMR reading and the LCS controller reading of Project as well as non-project WEGs, PP prepares the breakup sheet which indicates the energy Exported, Imported & net electricity supplied by the individual WEGs. This breakup sheet is then submitted to Discom authority as well as the individual investors. - Based on this breakup sheet the PP raises an invoice and submits to the Discom. - The Discom authority conducts a thorough review based on the JMR readings, breakup sheets and the invoice raised by individual investors. The audits are conducted by senior official based at the circle office of individual Discom and only after the authorisation of submitted documents/ records by the superintending engineer of the respective Discom, are the payments released to the individual investor. - Net electricity supplied to the grid is a calculated value and is used in calculation of emission reduction of the project activity. Measurement & Recording of electricity: - Main and Back up meters measures the electricity (export & Import) on continuous basis and recorded by state utility on monthly basis. - Panel meter (LCS controller) measures the net electricity generation (Gross Export – Gross Import) on continuous basis and daily/monthly data can be sourced/recorded from online SCADA system. |
| Monitoring frequency | Measuring frequency: Continuous Recording frequency: Monthly |
| QA/QC procedures | Value of EG Import,y can be cross checked with the invoices raised on the DISCOM. All the billing & Back meters are calibrated by DISCOM annually and the records are available with the representative of PP (WWIL). |
| Purpose of data | This data is directly used for baseline estimation |
| Additional comment | The data will be archived for the entire crediting period plus two years. |

| Relevant SDG Indicator/Safeguarding Principle | 7.2.1Renewable energy share in the total final energy consumptio |
| --- | --- |
| Data / Parameter | EGJMR, Export |
| Unit | MWh (Mega-watt hour) |
| Description | Electricity export by project activity & non-project activity recorded by main meter installed at DISCOM sub-station. |
| Source of data | Monthly JMR sheets recorded by representative of both DISCOM & WWIL |
| Value(s) applied | - |
| Measurement methods and procedures | - There is a billing metering point (one main & one check meters) located at 132kV Discom’s sub-station at PS-8 Narwa. - There is also a back up metering (one main & one check meter) located at 132kV WWIL sub-station at Salodi. - All the above meters are 0.2% accuracy class. There are other WEGs apart from the project activity WEGs, that are connected to these meters at respective sub-station. - Monthly Joint Meter Recording recorded is done at billing metering point at PS-8 Narwa sub-station by Discom utility in the presence of PP’s representative. - Joint meter reading records the values of export, import based on which the net export by all the WEGs (Project as well as non-project) connected to billing metering point at the DISCOM sub-station (PS-8 Narwa) is calculated. - Based on the monthly JMR reading and the LCS controller reading of Project as well as non-project WEGs, PP prepares the breakup sheet which indicates the energy Exported, Imported & net electricity supplied by the individual WEGs. This breakup sheet is then submitted to Discom authority as well as the individual investors. - Based on this breakup sheet the PP raises an invoice and submits to the Discom. - The Discom authority conducts a thorough review based on the JMR readings, breakup sheets and the invoice raised by individual investors. The audits are conducted by senior official based at the circle office of individual Discom and only after the authorisation of submitted documents/ records by the superintending engineer of the respective Discom, are the payments released to the individual investor. - Net electricity supplied to the grid is a calculated value and is used in calculation of emission reduction of the project activity. Measurement & Recording of electricity: - Main and Back up meters measures the electricity (export & Import) on continuous basis and recorded by state utility on monthly basis. - Panel meter (LCS controller) measures the net electricity generation (Gross Export – Gross Import) on continuous basis and daily/monthly data can be sourced/recorded from online SCADA system. |
| Monitoring frequency | Measuring frequency: Continuous Recording frequency: Monthly |
| QA/QC procedures | All the billing & Backup meters are calibrated by DISCOM annually and the records are available with the representative of PP (WWIL) |
| Purpose of data | This data is directly used for baseline estimation |
| Additional comment | The data will be archived for the entire crediting period plus two years. |

| Relevant SDG Indicator/Safeguarding Principle | 7.2.1Renewable energy share in the total final energy consumptio |
| --- | --- |
| Data / Parameter | EGJMR,import |
| Unit | MWh (Mega-watt hour) |
| Description | Electricity import by project activity & non project activity recorded by main meter installed at DISCOM sub-station |
| Source of data | Monthly JMR sheets recorded by representative of both DISCOM & WWIL. |
| Value(s) applied |  |
| Measurement methods and procedures | - There is a billing metering point (one main & one check meters) located at 132kV Discom’s sub-station at PS-8 Narwa. - There is also a back up metering (one main & one check meter) located at 132kV WWIL sub-station at Salodi. - All the above meters are 0.2% accuracy class. There are other WEGs apart from the project activity WEGs, that are connected to these meters at respective sub-station. - Monthly Joint Meter Recording recorded is done at billing metering point at PS-8 Narwa sub-station by Discom utility in the presence of PP’s representative. - Joint meter reading records the values of export, import based on which the net export by all the WEGs (Project as well as non-project) connected to billing metering point at the DISCOM sub-station (PS-8 Narwa) is calculated. - Based on the monthly JMR reading and the LCS controller reading of Project as well as non-project WEGs, PP prepares the breakup sheet which indicates the energy Exported, Imported & net electricity supplied by the individual WEGs. This breakup sheet is then submitted to Discom authority as well as the individual investors. - Based on this breakup sheet the PP raises an invoice and submits to the Discom. - The Discom authority conducts a thorough review based on the JMR readings, breakup sheets and the invoice raised by individual investors. The audits are conducted by senior official based at the circle office of individual Discom and only after the authorisation of submitted documents/ records by the superintending engineer of the respective Discom, are the payments released to the individual investor. - Net electricity supplied to the grid is a calculated value and is used in calculation of emission reduction of the project activity. Measurement & Recording of electricity: - Main and Back up meters measures the electricity (export & Import) on continuous basis and recorded by state utility on monthly basis. - Panel meter (LCS controller) measures the net electricity generation (Gross Export – Gross Import) on continuous basis and daily/monthly data can be sourced/recorded from online SCADA system. |
| Monitoring frequency | Measuring frequency: Continuous Recording frequency: Monthly |
| QA/QC procedures | Net Quantity of Electricity exported to the grid shall be crosschecked with invoice copies. |
| Purpose of data | This data is directly used for baseline estimation |
| Additional comment | The data will be archived for the entire crediting period plus two years. |

| Relevant SDG Indicator/Safeguarding Principle | 7.2.1Renewable energy share in the total final energy consumptio |
| --- | --- |
| Data / Parameter | EGController, i |
| Unit | MWh (Mega-watt hour) |
| Description | Net electricity generation (Gross Export – Gross Import) by a WEC of project activity or non-project activity, as measured at the controller (LCS meter) at project site. Each WEC has exclusive LCS meter that records net electricity generation (Gross Export – Gross Import) from the WEC (project or non-project). Where, i is any WEC between 1 to j+ k. j is number of WEC of project activity connected to main meter at DISCOM substation and backup meter at WWIL substation. k is number of WEC of non-project activity connected to main meter at DISCOM substation and backup meter at WWIL substation. |
| Source of data | Monthly controller generation report (LCS) sourced from SCADA system installed at project site. |
| Value(s) applied | - (On Actuals) |
| Measurement methods and procedures | LCS meter measures the net electricity generation (Gross Export – Gross Import) by WEG and doesn’t provide individual reading of Export & Import . The value is monitored continuously and recorded daily by the online monitoring station at the site. In addition to the daily generation report and monthly generation report are also available at monitoring station. |
| Monitoring frequency | Measuring frequency: Continuous Recording frequency: Monthly |
| QA/QC procedures | All the LCS meters are auto calibrated. In case of any fault WEG stops automatically and meter is replaced immediately. |
| Purpose of data | This data is directly used for baseline estimation |
| Additional comment | The data will be archived for the entire crediting period plus two years. |

| Relevant SDG Indicator/Safeguarding Principle | 7.2.1Renewable energy share in the total final energy consumptio |
| --- | --- |
| Data / Parameter | ΣEGController,i |
| Unit | MWh (Mega-watt hour) |
| Description | Summation of net electricity generation (Gross Export – Gross Import) by all WEG (i number of WEGs) of project activity or non project activity, as measured at the controller (LCS meter) at project site, Each WEC has exclusive LCS meter that records net electricity generation (Gross Export – Gross Import) from the WEG (project or non project). Where, i is any WEG between 1 to j+ k, j is number of WEG of project activity connected to main meter at DISCOM substation and backup meter at WWIL substation. k is number of WEG of non project activity connected to main meter at DISCOM substation and backup meter at WWIL substation. |
| Source of data | Monthly controller generation report (LCS) sourced from SCADA system |
| Value(s) applied | - (On Actuals) |
| Measurement methods and procedures | The value is monitored continuously and recorded daily by the online monitoring station at the site. In addition to the daily generation report and monthly generation report are also available at monitoring station. |
| Monitoring frequency | Measuring frequency: Continuous Recording frequency: Monthly |
| QA/QC procedures | Net Quantity of Electricity exported to the grid shall be crosschecked with invoice copies. |
| Purpose of data | This data is directly used for baseline estimation |
| Additional comment | The data will be archived for the entire crediting period plus two years. |

| Relevant SDG Indicator/Safeguarding Principle | 7.2.1Renewable energy share in the total final energy consumptio |
| --- | --- |
| Data / Parameter | ΣEGController, j |
| Unit | MWh (Mega-watt hour) |
| Description | Summation of net electricity generation (Gross Export – Gross Import) by all the WEGs (j number of WEGs) of project activity, as measured at the controller (LCS meter) at project site. Each WEC has exclusive LCS meter that records net electricity generation (Gross Export – Gross Import) from the WEG (project or non project). j is number of WEG of project activity connected to main meter at DISCOM substation and backup meter at WWIL substation. |
| Source of data | Monthly controller generation report (LCS) sourced from SCADA system installed at project site. |
| Value(s) applied |  |
| Measurement methods and procedures | The value is monitored continuously and recorded daily by the online monitoring station at the site. In addition to the daily generation report and monthly generation report are also available at monitoring station. |
| Monitoring frequency | Measuring frequency: Continuous Recording frequency: Monthly |
| QA/QC procedures | All the LCS meters are auto calibrated. In case of any fault WEG stops automatically and meter is replaced immediately. |
| Purpose of data | This data is directly used for baseline estimation |
| Additional comment | The data will be archived for the entire crediting period plus two years. |

| Relevant SDG Indicator |  | 8.5.2 Unemployment rate, by sex, age and persons with disabilities |
| --- | --- | --- |
| Indicator |  | Quality of Employment |
| Mitigation measure |  | N/A |
| Repeat for each parameter |  | Not Applicable |
| Chosen parameter |  | Training records, categories of jobs created, occupational health management, safeguards put in place |
| Current situation of parameter |  | Following training programs have been conducted in order to enhance the safety awareness , operational skill levels and occupational health management for the local staff. |
| Estimation of baseline situation of parameter |  | Project developer has comprehensive internal systems in place wherein all essential norms pertaining to safety, occupational health and working conditions are being followed. |
| Future target for parameter |  | All aspects of occupational health and working conditions would be strengthened through training, capacity building and awareness generation activities. Skill enhancement exercises would be undertaken for the local staff by providing them training on the technical aspects of the project operation. |
| Way of monitoring | How | Documentation pertaining to training programmes, awareness generation activities etc. , photographs , interviews |
|  | When | Annually |
|  | By who | Project Developer |

| Relevant SDG Indicator |  | 3.8.1 Coverage of essential health services (defined as the average coverage of essential services based on tracer interventions that include reproductive, maternal, newborn and child health, infectious diseases, non-communicable diseases and service capacity and access, among the general and the most disadvantaged population |
| --- | --- | --- |
| Indicator |  | Human and institutional capacity |
| Mitigation measure |  | Not Applicable |
| Repeat for each parameter |  | Not Applicable |
| Chosen parameter |  | Total number of beneficiaries of the initiatives undertaken by the project developer to enhance the human and institutional capacity of the local stakeholders. |
| Current situation of parameter |  | Since access to basic education, health, basic amenities and infrastructural facilities are basic factors to facilitate human and institutional capacity development; various initiatives are undertaken by the project developer to contribute to these thematic areas. The contribution will be made during crediting period is mentioned below: HEALTH Healthcare Services As part of its broader endeavour towards better health for the local community, Project participant has initiated an ambitious project to provide primary health care services through the operation of a healthcare services. The health services are rendered through qualified medical staff including an MBBS doctor. Clean Drinking Water Project Proponent understands that provision of clean drinking water is an integral component for a better health ecosystem. In light of this sensitization Project Proponent has initiated a programme to install RO systems in 12 schools in Rajasthan, so that, the children get access to clean drinking water. |
| Estimation of baseline situation of parameter |  | Around 200 people have been directly or indirectly benefitted by various HID and CSR initiatives undertaken by the project developer. |
| Future target for parameter |  | Enhance the scale of HID activities so as the increase the number of direct as well as indirect beneficiaries by 100. |
| Way of monitoring | How | Photographs or cheques or donation receipts and other supportive documentation on reporting as provided. |
|  | When | Annually |
|  | By who | Project Developer |

| Relevant SDG Indicator |  | 8.5.2 Unemployment rate, by sex, age and persons with disabilities |
| --- | --- | --- |
| Indicator |  | Quantitative employment and income generation |
| Mitigation measure |  | Not Applicable |
| Repeat for each parameter |  | Not Applicable |
| Chosen parameter |  | Number of employment opportunities created. |
| Current situation of parameter |  | The project activity is located at Tinwari Site & connected to Salodi Substation. At Salodi Substation various sites are connected where local staff is employed. The number of jobs created due to the project activity is divided under following categories: Service Staff Other Staff 20 local people were employed for the project activity in the baseline scenario. In addition to this, because of the infrastructure development (road construction, road repairs, cleaning of substation etc.), local villagers are getting short time jobs thus leading to income generation. Since this is an indirect benefit of the project activity in terms of income generation, it is not possible to exactly quantify the same. However, it can be conservatively stated that around 50 people have got additional livelihood/income generation opportunities because of the project activity. |
| Estimation of baseline situation of parameter |  | Current situation is the baseline situation |
| Future target for parameter |  | Five additional job opportunities to be created for the local population. Income generation to be enhanced by creating relatively high value job opportunities through training and capacity building |
| Way of monitoring | How | Attendance Sheet, Employment records data maintained by Project Developer |
|  | When | Annual |
|  | By who | Project Developer |

C.1.1	Other elements of monitoring plan (if applicable)

>>

Not Applicable

- SECTION D	Duration and crediting period

D.1	Duration of project

D.1.1	Start date of project

>>

Date of issuance of official circular i.e. 07/05/2011 has been considered as the project start date.

D.1.2	Expected operational lifetime of project

>>

20 Years

D.1	GS Crediting period of the project/activity

D.2.1	Start date of the ongoing GS crediting period

>>

19/03/2016

D.2.3	End date of the ongoing GS crediting period

>>

31/07/2022

D.2.3	Total length of the GS crediting periods

>>

6 years and 3.5months

- SECTION E	Stacking of new assets

- >>

- The project is not looking to stack new assets over GS CERs.

Contact information of project participants

| Organization name | Wind World (India) Limited |
| --- | --- |
| Registration number with relevant authority |  |
| Street/P.O. Box | A-9, Veera Industrial Estate, Veera Desai Road, Andheri (W) |
| Building | Wind World Tower |
| City | Mumbai |
| State/Region | Maharashtra |
| Postcode | 400053 |
| Country | India |
| Telephone | +91-22-6692 4848 |
| Fax | +91-22 - 67040473 / 66921175 |
| E-mail | yogeshh.mehra@windworldindia.com |
| Website |  |
| Contact person |  |
| Title | Managing Director |
| Salutation | Mr. |
| Last name | Mehra |
| Middle name |  |
| First name | Yogesh |
| Department | Corporate |
| Mobile | +91-98200 40301 |
| Direct fax | +91-260-2221508 |
| Direct tel. |  |
| Personal e-mail | yogeshh.mehra@windworldindia.com |

http://www.mfcindia.org/main/bgpapers/bgpapers2013/am/bgpap2013c.pdf

http://whc.unesco.org/en/statesparties/in

http://cbi.nic.in/

http://labour.nic.in/content/

http://ncw.nic.in/acts/TheTradeUnionsAct1926.pdf

http://www.indianchild.com/child_labour_law_in_india.htm

https://treaties.un.org/Pages/ViewDetails.aspx?src=TREATY&mtdsg_no=IV-8&chapter=4&lang=en

https://treaties.un.org/Pages/ViewDetails.aspx?src=TREATY&mtdsg_no=IV-11&chapter=4&clang=_en

http://www.un.org/womenwatch/daw/csw/57sess.htm