## Brief Intro
ER Sheet | Version 1
Date | 2022-08-18
Title | Wind Power Project in Tinwari, Rajasthan
UNFCCC Ref No | 6004
Registration Date | 2012-07-25
Monitoring Period No | 3rd
Monitoring Period | 2021-01-01 | to | 2022-07-31
| 577 | days
Actual ER achieved | 47201 |  | tCO2e
Project Participants | Wind World(India) Private Limited
ACT Commodities B.V. (Netherland)
First Climate Markets A.G. ( Germany)

## Meter Details
Meter Details | [5 empty] | Remark
Location of meter |  | PS-8 Sub-station (Electricity Board) (Billing metering point) |  | Salodi Sub-station (WWIL) (Back metering point) |  | The main and check meters are tested for accuracy on annual basis by state utility and in case of error; meters are calibrated by state utility. Further during the annual meter testing, all the meters were under the permissible limit of error and accordingly none of the meter was replaced during the current monitoring period. However, delay in calibration has been observed in the year 2020 and 2021. Therefore, as per guideline VVS (CDM-EB93-A05-STAN) para 366 (a) & VVS APPENDIX – CALIBRATION, para 2 Table 1, PP has applied maximum permissible error for all measured values of “Electricity Export” & “Electricity Import” taken during the period between the scheduled date of calibration and the actual date of calibration conservatively. Please refer Sheet "Apportioning calculation
Type of meter |  | Main Meter | Check Meter | Main Meter | Check Meter
Meter Sr. No. |  | RJB 00354 | RJB 00356 | RJB 00358 | RJB 00357
Meter Make |  | Secure | Secure | Secure | Secure
Accuracy class |  | 0.2% | 0.2% | 0.2% | 0.2%
Type |  | All the meters are two-way Tri-vector meters capable of recording import and export of electricity.
Calibration Details
Calibration Years | 2019 | 2019-08-14 | 2019-08-14 | 2019-08-14 | 2019-08-14
| Calibration Due date | 2020-08-13 | 2020-08-13 | 2020-08-13 | 2020-08-13
| 2021 | 2021-02-09 | 2021-02-09 | 2021-02-09 | 2021-02-09
| Calibration Due date | 2021-02-08 | 2021-02-08 | 2021-02-08 | 2021-02-08
| 2022 | 2022-07-23 | 2022-07-23 | 2022-07-23 | 2022-07-23

## Combined Margin Calculation
CENTRAL ELECTRICITY AUTHORITY: CO2 BASELINE DATABASE
Simple Operating Margin
VERSION |  |  | 6.0 |  | NEWNE Grid (tCO2e/MWh) | Net Generation Total (MWh)
DATE |  |  | 2011-03-01 | Simple Operating Margin – 2013-14 | 0.9999 | 496.119
BASELINE METHODOLOGY |  |  | ACM0002 | Simple Operating Margin – 2014-15 | 1.0066 | 510.6927
|  |  |  | Simple Operating Margin – 2015-16 | 0.97774 | 544.9152
Simple Operating Margin (tCO2/MWh) (incl. Imports) |  |  |  | Weighted Average Operating Margin * |  | 0.99431
| 2007-08 | 2008-09 | 2009-10 | * Calculated as per Option A, i.e. generation weighted average CO2 emissions per unit electricity generation has been used
NEWNE | 0.9999 | 1.0066 | 0.97774
|  |  |  | Build Margin |  | Indian Grid (tCO2e/MWh)
Build Margin (tCO2/MWh) (not adjusted for imports) |  |  |  |  | NEWNE Grid (tCO2e/MWh) | 2015-16
| 2009-10 |  |  | Build Margin- 2009-10 | 0.81231 | 0.9083
NEWNE | 0.81231
Combined Margin Calculations
Net Generation Total (GWh) |  |  |  |  | Weights | NEWNE Grid (tCO2e/MWh)
| 2007-08 | 2008-09 | 2009-10 | Weighted Average Operating Margin | 0.75 | 0.99431
NEWNE | 496119.0335 | 510692.735 | 544915.1644 | Build Margin | 0.25 | 0.81231
|  |  |  | Combined Margin |  | 0.94881

## Apportioning Calculation
Year | Month* | No. of WEGs | Capacity | EGJMR, Export | EGJMR, Import | ∑EGController,j | ∑EGController,i | EGExport,y ( Calcualted as per apportioning procedure from JMR) | EGExport,y ( Value as per Invoice) | EGExport,y ( Cross-check Value between JMR and Invoice) | EGExport,y ( With Error factor) | EGImport,y ( Calcualted as per apportioning procedure from JMR) | EGImport,y ( Value as per Invoice) | EGImport,y ( Cross-check Value between JMR and Invoice) | EGImport,y ( With Error Factor) | EGfacitlity,y ( Value as per JMR) | EGfacitlity,y ( Value as per Invoice) | EGfacitlity,y ( Cross-check Value between JMR and Invoice) | EGfacitlity,y ( With Error Factor)
|  |  | MW | (kWh) | (kWh) | (kWh) | (kWh) | (kWh) | (kWh) | (kWh) | (kWh) | (kWh) | (kWh) | (kWh) | (kWh) | (kWh) | (kWh) | (kWh) | (kWh)
2021 | 2021-01-01 | 25 | 20 | 10141200 | 11340 | 2280879 | 10399137 | 2224305 | 2224305 | 2224305 | 2219856 | 2487 | 2487 | 2487 | 2492 | 2221818 | 2221818 | 2221813 | 2217364
| 2021-02-01 | 25 | 20 | 5809860 | 21060 | 1350495 | 5992973 | 1309231 | 1309231 | 1309231 | 1306612 | 4746 | 4746 | 4746 | 4756 | 1304485 | 1304485 | 1304475 | 1301856
| 2021-03-01 | 25 | 20 | 11808720 | 15120 | 2607035 | 12129914 | 2538002 | 2538002 | 2538002 | 2538002 | 3250 | 3250 | 3250 | 3250 | 2534752 | 2534752 | 2534752 | 2534752
| 2021-04-01 | 25 | 20 | 12441600 | 9180 | 2769686 | 12792080 | 2693802 | 2693802 | 2693802 | 2693802 | 1988 | 1988 | 1988 | 1988 | 2691814 | 2691814 | 2691814 | 2691814
| 2021-05-01 | 25 | 20 | 15877620 | 8640 | 3437477 | 16308800 | 3346595 | 3346595 | 3346595 | 3346595 | 1821 | 1821 | 1821 | 1821 | 3344774 | 3344774 | 3344774 | 3344774
| 2021-06-01 | 25 | 20 | 18154260 | 8100 | 3945384 | 18643680 | 3841813 | 3841813 | 3841813 | 3841813 | 1714 | 1714 | 1714 | 1714 | 3840099 | 3840099 | 3840099 | 3840099
| 2021-07-01 | 25 | 20 | 19010160 | 6480 | 3979907 | 19492930 | 3881339 | 3881339 | 3881339 | 3881339 | 1323 | 1323 | 1323 | 1323 | 3880016 | 3880016 | 3880016 | 3880016
| 2021-08-01 | 25 | 20 | 16825860 | 2700 | 3655617 | 17298859 | 3555662 | 3555662 | 3555662 | 3555662 | 571 | 571 | 571 | 571 | 3555091 | 3555091 | 3555091 | 3555091
| 2021-09-01 | 25 | 20 | 5839020 | 24300 | 1303529 | 6057956 | 1256419 | 1256419 | 1256419 | 1256419 | 5229 | 5229 | 5229 | 5229 | 1251190 | 1251190 | 1251190 | 1251190
| 2021-10-01 | 25 | 20 | 7468200 | 18360 | 1713630 | 7699908 | 1662063 | 1662063 | 1662063 | 1662063 | 4086 | 4086 | 4086 | 4086 | 1657977 | 1657977 | 1657977 | 1657977
| 2021-11-01 | 25 | 20 | 7145820 | 19980 | 1581344 | 7361413 | 1535031 | 1535031 | 1535031 | 1535031 | 4292 | 4292 | 4292 | 4292 | 1530739 | 1530739 | 1530739 | 1530739
| 2021-12-01 | 25 | 20 | 9343620 | 14580 | 2086204 | 9570207 | 2036810 | 2036810 | 2036810 | 2036810 | 3178 | 3178 | 3178 | 3178 | 2033632 | 2033632 | 2033632 | 2033632
2022 | 2022-01-01 | 25 | 20 | 7110180 | 18360 | 1602583 | 7330529 | 1554411 | 1554411 | 1554411 | 1554411 | 4014 | 4014 | 4014 | 4014 | 1550397 | 1550397 | 1550397 | 1550397
| 2022-02-01 | 25 | 20 | 9720540 | 8640 | 2158716 | 10004248 | 2097498 | 2097498 | 2097498 | 2093303 | 1864 | 1864 | 1864 | 1868 | 2095634 | 2095634 | 2095630 | 2091435
| 2022-03-01 | 25 | 20 | 8274420 | 9180 | 1911499 | 8513493 | 1857821 | 1857821 | 1857821 | 1854105 | 2061 | 2061 | 2061 | 2066 | 1855760 | 1855760 | 1855755 | 1852039
| 2022-04-01 | 25 | 20 | 11377260 | 12960 | 2636111 | 11672010 | 2569542 | 2569542 | 2569542 | 2564402 | 2927 | 2927 | 2927 | 2933 | 2566615 | 2566615 | 2566609 | 2561469
| 2022-05-01 | 25 | 20 | 26030700 | 6480 | 5719594 | 26800283 | 5555353 | 5555353 | 5555353 | 5544242 | 1383 | 1383 | 1383 | 1386 | 5553970 | 5553970 | 5553967 | 5542856
| 2022-06-01 | 25 | 20 | 21163140 | 4860 | 4610852 | 21726155 | 4491366 | 4491366 | 4491366 | 4482383 | 1031 | 1031 | 1031 | 1034 | 4490335 | 4490335 | 4490332 | 4481349
| 2022-07-01 | 25 | 20 | 8283600 | 27540 | 1901860 | 8563685 | 1839658 | 1839658 | 1839658 | 1835978 | 6116 | 6116 | 6116 | 6129 | 1833542 | 1833542 | 1833529 | 1829849
* Billing meter has the locking function, which can store the reading on 00:00 Hrs. For the project activity JMR value is recorded on at 00:00 Hrs in the presence of both State utility officials and PP representative.
Delay in Meter Calibration
Jan 2021 to Feb 2021 | 2 Months
Feb 2022 to July 2022 | 6 Months
Applied maximum permissible error | 0.2%

## EGcontroller,i
|  |  |  | 2021-01-01 | 2021-02-01 | 2021-03-01 | 2021-04-01 | 2021-05-01 | 2021-06-01 | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01 | 2022-04-01 | 2022-05-01 | 2022-06-01 | 2022-07-01 | Total (kWh)
S. Nos. | Investors Name | No. of M/c | Total capacity (MW) | EGController,i | EGController,i | EGController,i | EGController,i | EGController,i | EGController,i | EGController,i | EGController,i | EGController,i | EGController,i | EGController,i | EGController,i | EGController,i | EGController,i | EGController,i | EGController,i | EGController,i | EGController,i | EGController,i
|  |  |  | KWH | KWH | KWH | KWH | KWH | KWH | KWH | KWH | KWH | KWH | KWH | KWH | KWH | KWH | KWH | KWH | KWH | KWH | KWH
1 | SANGHVI FOODS PRIVATE LIMITED | 2 | 1.6 | 122737 | 82034 | 176666 | 177691 | 236348 | 282206 | 300974 | 260368 | 81723 | 107691 | 88886 | 111048 | 94369 | 137645 | 127477 | 183759 | 439788 | 347375 | 132884 | 3491669
2 | INFRASTRUCTURE DEVELOPMENT FINANCE COMPANY LIMITED (COMMISSIONED ON 1st APRIL-2008) | 19 | 15.2 | 1593946 | 884452 | 1809406 | 1884206 | 2494657 | 2891516 | 3048438 | 2690423 | 919090 | 1151480 | 1107951 | 1428986 | 1085839 | 1526935 | 1223497 | 1683502 | 4129046 | 3354968 | 1279252 | 36187590
| INFRASTRUCTURE DEVELOPMENT FINANCE COMPANY LIMITED (COMMISSIONED ON 13th APRIL-2008) | 1 | 0.8 | 77320 | 42033 | 91718 | 86283 | 118067 | 135284 | 125940 | 121882 | 44349 | 51005 | 49027 | 67391 | 51108 | 74240 | 61970 | 81480 | 194658 | 149368 | 51423 | 1674546
| INFRASTRUCTURE DEVELOPMENT FINANCE COMPANY LIMITED (COMMISSIONED ON 25th MAY-2008) | 5 | 4 | 336953 | 187089 | 403802 | 412219 | 575259 | 674209 | 684267 | 595220 | 207049 | 243736 | 232452 | 303154 | 235100 | 337041 | 279053 | 385574 | 980907 | 752586 | 297214 | 8122884
3 | K. S. OILS LIMITED | 10 | 8 | 857972 | 496258 | 1032207 | 1087284 | 1409536 | 1563565 | 1701460 | 1479737 | 508087 | 632367 | 593333 | 779744 | 604994 | 825740 | 697461 | 964653 | 2217306 | 1823702 | 713927 | 19989333
4 | MAGMA FINCORP LIMITED | 5 | 4 | 442641 | 231348 | 496842 | 517075 | 704379 | 806698 | 903083 | 777877 | 246188 | 311630 | 291192 | 386122 | 301223 | 391844 | 334979 | 467243 | 1094022 | 979105 | 349654 | 10033145
5 | KISHCO LIMITED | 2 | 1.6 | 178384 | 80750 | 187370 | 193272 | 273513 | 330024 | 360573 | 306013 | 88903 | 117900 | 102694 | 143958 | 103910 | 150228 | 117163 | 173072 | 440873 | 394137 | 122027 | 3864764
6 | RAMGAD MINERALS & MINING PVT. LTD. | 11 | 8.8 | 973073 | 540274 | 1109299 | 1165528 | 1446593 | 1634152 | 1774883 | 1555871 | 522759 | 694351 | 678422 | 886185 | 687898 | 885576 | 759366 | 1010223 | 2420444 | 1949127 | 783155 | 21477179
7 | PARANJAPE AUTOCAST PVT. LTD. - I | 2 | 1.6 | 196293 | 104160 | 194504 | 221099 | 253243 | 296951 | 292172 | 263669 | 109757 | 129390 | 147408 | 181089 | 136760 | 169833 | 142322 | 177482 | 422062 | 342983 | 137032 | 3918209
8 | TEXONIC INSTRUMENTS | 1 | 0.8 | 65125 | 31334 | 71490 | 77055 | 111813 | 141587 | 154991 | 124961 | 41005 | 46100 | 43400 | 60126 | 42527 | 59427 | 47937 | 67442 | 190781 | 163299 | 56048 | 1596448
9 | RAMGAD MINERALS & MINING LTD. | 2 | 1.6 | 218827 | 132836 | 243368 | 266356 | 304397 | 336070 | 369134 | 322467 | 116575 | 151262 | 159142 | 205125 | 153752 | 199505 | 170350 | 225063 | 494032 | 401526 | 168559 | 4638346
10 | PARANJAPE AUTOCAST PVT. LTD. - II | 2 | 1.6 | 159860 | 94245 | 198341 | 209514 | 257776 | 308456 | 327878 | 299375 | 99101 | 119741 | 114068 | 144120 | 118124 | 155588 | 137170 | 192179 | 451000 | 383426 | 160184 | 3930146
11 | PROTECTRON ELECTROMECH PVT. LTD. - I | 1 | 0.8 | 92613 | 49980 | 109431 | 108657 | 142667 | 171336 | 182290 | 147476 | 48314 | 62231 | 57625 | 77810 | 54418 | 84503 | 72798 | 97808 | 228811 | 199718 | 67436 | 2055922
12 | PROTECTRON ELECTROMECH PVT. LTD. - II | 1 | 0.8 | 86091 | 57335 | 114426 | 107425 | 150832 | 165847 | 165284 | 148958 | 56009 | 68867 | 63465 | 85955 | 64698 | 87709 | 87650 | 118949 | 247115 | 180126 | 60770 | 2117511
13 | BLACK ROSE INDUSTRIES LTD. | 1 | 0.8 | 89719 | 51958 | 97326 | 104994 | 125870 | 115185 | 139249 | 129448 | 57275 | 60650 | 64102 | 86053 | 64111 | 82047 | 76710 | 99722 | 188285 | 159971 | 67112 | 1859787
14 | MANGAT ENERVENT PVT. LTD. | 1 | 0.8 | 80833 | 46408 | 94731 | 88875 | 108790 | 133448 | 138615 | 121593 | 50228 | 55043 | 57254 | 75062 | 55985 | 78581 | 70128 | 91259 | 203705 | 152193 | 67301 | 1770032
15 | CEPCO INDUSTRIES PVT. LTD. | 7 | 5.6 | 540513 | 325325 | 695382 | 669528 | 923165 | 1046587 | 1079917 | 958522 | 331274 | 406506 | 367118 | 498520 | 386900 | 543708 | 501005 | 694915 | 1526711 | 1234731 | 449379 | 13179706
16 | CEPCO INDUSTRIES PVT. LTD. | 5 | 4 | 368406 | 207073 | 435233 | 467600 | 602770 | 737544 | 789183 | 673456 | 236158 | 276512 | 247873 | 330970 | 244210 | 365259 | 292811 | 423272 | 1052165 | 861679 | 339050 | 8951224
17 | Vish Wind Infrastructure LLP | 16 | 12.8 | 1345691 | 851013 | 1619399 | 1824783 | 2155079 | 2404405 | 2372729 | 2147162 | 812304 | 1093447 | 1126303 | 1366033 | 1053686 | 1416704 | 1190759 | 1600389 | 3375689 | 2633024 | 1122941 | 31511540
18 | Vish Wind Infrastructure LLP | 4 | 3.2 | 291261 | 146573 | 341938 | 352950 | 476569 | 523226 | 601963 | 518764 | 178279 | 206369 | 188354 | 266552 | 188334 | 273419 | 211388 | 297913 | 783289 | 652259 | 236477 | 6735877
19 | Wind World (India) Ltd (Previous Name - Enercon (India) Ltd) | 25 | 20 | 2280879 | 1350495 | 2607035 | 2769686 | 3437477 | 3945384 | 3979907 | 3655617 | 1303529 | 1713630 | 1581344 | 2086204 | 1602583 | 2158716 | 1911499 | 2636111 | 5719594 | 4610852 | 1901860 | 51252402
|  | 123 | 98.4 | 10399137 | 5992973 | 12129914 | 12792080 | 16308800 | 18643680 | 19492930 | 17298859 | 6057956 | 7699908 | 7361413 | 9570207 | 7330529 | 10004248 | 8513493 | 11672010 | 26800283 | 21726155 | 8563685 | 238358260

## CER Calculation
Emission reduction calculation for project activity
Monitoring Period | Electricity export by project activity & non project activity recorded by main meter installed at DISCOM sub-stations | Electricity import by project activity & non project activity recorded by main meter installed at DISCOM sub-station | Summation of Panel Generation by project activity & non project activity recorded at the controller (LCS meter) at project site | Summation of Panel Generation by project activity recorded at the controller (LCS meter) at project site | Electricity export to the grid by the Project activity | Electricity import from the grid to the Project activity | Net electricity generation supplied to the grid by the Project activity | Baseline Emission Factor | Baseline Emissions | Project Emissions | Emission Reductions
| (MWh) | (MWh) | (MWh) | (MWh) | (MWh) | (MWh) | (MWh) | (tCO2e/MWh) | (tCO2e) | (tCO2e) | (tCO2e)
| [EGJMR, Export ] | [EGJMR, Import ] | [∑EGController,i ] | [∑EGController,j ] | [EGExport,y] | [EGImport,y] | [EGfacitlity,y] | [EFy] | [BEy] = [EGfacitlity,y] * [EFy] | [PEy] | [ERy] = [BEy]- [PEy]
01/01/2021 to 31/12/2021 | 139865.94 | 159.84 | 143747.857 | 30711.187 | 29881.072 | 34.685 | 29839.304 | 0.94881 | 28311 | 0 | 28311
01/01/2022 to 31/07/2022 | 91959.84 | 88.02 | 94610.403 | 22627.419 | 22002.459 | 19.396 | 19909.394 | 0.94881 | 18890 | 0 | 18890
Total | 231825.78 | 247.86 | 238358.26 | 53338.606 | 51883.531 | 54.081 |  |  | 0 | 0 | 47201
As per Reg PDD | Annual GHG ER | 32415 | tCO2e/annum
| Per day | 88.8082 | tCO2e/day
| Monitring Period | 2021-01-01
2022-07-31
| Total no. of days | 577
| Estimated ER as per reg PDD | 51242 | tCO2e
| Actual ER | 47201 | tCO2e
% Change in actual ER generation as compared to Reg PDD |  | 7.886%